## Light Fittings
T1 LOUNGES - DOMESTIC LOUNGE PHASE 2
DECORATIVE LIGHT FIXTURES
| Furniture Code No. | Location | Item Description | Image | Unit | Qty
| DL-01 | WELCOME LOUNGE & Lelevl -1 Enterance Lift lobby | Chandelier Manufacturer - White Teak Finish •All metal to be in Bronze/copper finish Technical Specifications •6 nos - 9 watts LED bulbs/equivalent •With provision for dimming Note - With adjustable hanging arrangement |  | nos | 4 | Furniture Code No. DL-01 Location WELCOME LOUNGE & Lelevl -1 Enterance Lift lobby Item Description Chandelier Manufacturer - White Teak Finish •All metal to be in Bronze/copper finish Technical Specifications •6 nos - 9 watts LED bulbs/equivalent •With provision for dimming Note - With adjustable hanging arrangement
| DL-02 | SPORTS LOUNGE | Table Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •4 nos - 9 watts LED bulbs/equivalent •With provision for dimming |  | nos | 4 | Furniture Code No. DL-02 Location SPORTS LOUNGE Item Description Table Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •4 nos - 9 watts LED bulbs/equivalent •With provision for dimming
| DL-03 | SPORTS LOUNGE, RELAX LOUNGE, TEA GARDEN | Floor Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •13 nos - 9 watts LED bulbs/equivalent •With provision for dimming |  | nos | 13 | Furniture Code No. DL-03 Location SPORTS LOUNGE, RELAX LOUNGE, TEA GARDEN Item Description Floor Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •13 nos - 9 watts LED bulbs/equivalent •With provision for dimming
| DL-04 | RELAX LOUNGE | Table Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •9 nos - 9 watts LED bulbs/equivalent •With provision for dimming |  | nos | 9 | Furniture Code No. DL-04 Location RELAX LOUNGE Item Description Table Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •9 nos - 9 watts LED bulbs/equivalent •With provision for dimming
| DL-05 | TEA GARDEN | Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •5 nos - 9 watts LED bulbs/equivalent •With provision for dimming Quantity 5 nos. |  | nos | 5 | Furniture Code No. DL-05 Location TEA GARDEN Item Description Lamp Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •5 nos - 9 watts LED bulbs/equivalent •With provision for dimming Quantity 5 nos.
| DL-06 | TEA GARDEN | Hanging Chandelier Manufacturer - UniLights Finish •All metal to be in Bronze/copper finish Technical Specifications •5 nos - 9 watts LED bulbs/equivalent •With provision for dimming |  | nos | 7 | Furniture Code No. DL-06 Location TEA GARDEN Item Description Hanging Chandelier Manufacturer - UniLights Finish •All metal to be in Bronze/copper finish Technical Specifications •5 nos - 9 watts LED bulbs/equivalent •With provision for dimming
| DL-07 | DINING AREA | Hanging Light Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •3 nos - 9 watts LED bulbs/equivalent •With provision for dimming Note - With adjustable hanging arrangement |  | nos | 3 | Furniture Code No. DL-07 Location DINING AREA Item Description Hanging Light Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •3 nos - 9 watts LED bulbs/equivalent •With provision for dimming Note - With adjustable hanging arrangement
| DL-08 | SALON | Hanging Light Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/black finish Technical Specifications •3 nos - 9 watts LED bulbs/equivalent •With provision for dimming Note - With adjustable hanging arrangement |  | nos | 3 | Furniture Code No. DL-08 Location SALON Item Description Hanging Light Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/black finish Technical Specifications •3 nos - 9 watts LED bulbs/equivalent •With provision for dimming Note - With adjustable hanging arrangement
| DL-09 | SALON | Hanging Light Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications • LED Tube /equivalent •With provision for dimming Note - With adjustable hanging arrangement |  | nos | 1 | Furniture Code No. DL-09 Location SALON Item Description Hanging Light Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications • LED Tube /equivalent •With provision for dimming Note - With adjustable hanging arrangement
| Dl-10 | LIFT WALL ( Lvl- 2 Liff walls & lvl-1 Lift walls ) | Wall lights Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •- LED bulbs/equivalent |  | nos | 6 | Furniture Code No. Dl-10 Location LIFT WALL ( Lvl- 2 Liff walls & lvl-1 Lift walls ) Item Description Wall lights Manufacturer - The Kaleido Store Finish •All metal to be in Bronze/copper finish Technical Specifications •- LED bulbs/equivalent
ARCHITECTURE LIGHT FIXTURES (Make- Cenzer /Philips/Tulip/Wipro )
| L-01 |  | 2'x2' Square -36 W- LED PANEL LIGHT Fully defused, recess mounted, indoor application, Color - 4000 K Driver - 40W, IP-43 |  | nos | 36 | Furniture Code No. L-01 Location Item Description 2'x2' Square -36 W- LED PANEL LIGHT Fully defused, recess mounted, indoor application, Color - 4000 K Driver - 40W, IP-43
| L-02 |  | SPOT LIGHT 12 WATT ( for Water lounge ) Beam angle - 36 Deg Color - 4000 K CRI - >80 Housing - Al die cast Driver - 15W, IP-43 |  | nos | 30 | Furniture Code No. L-02 Location Item Description SPOT LIGHT 12 WATT ( for Water lounge ) Beam angle - 36 Deg Color - 4000 K CRI - >80 Housing - Al die cast Driver - 15W, IP-43
| L-03 |  | SPOT LIGHT 22 WATT ( for Salon and overall lounge ) Beam angle - 36 Deg Color - 4000 K CRI - >80 Housing - Al die cast Dirver - 25W, IP-43 |  | nos | 84 | Furniture Code No. L-03 Location Item Description SPOT LIGHT 22 WATT ( for Salon and overall lounge ) Beam angle - 36 Deg Color - 4000 K CRI - >80 Housing - Al die cast Dirver - 25W, IP-43
| L-04 |  | LINEAR/Strip light with Aluminium profile with deffuger, leader cable, mounting clips for COVE Wattage - 15W per mtr, IP-44 Suitable driver based on the length required in pieces as per site |  | Rmt | 250 | Furniture Code No. L-04 Location Item Description LINEAR/Strip light with Aluminium profile with deffuger, leader cable, mounting clips for COVE Wattage - 15W per mtr, IP-44 Suitable driver based on the length required in pieces as per site
| L-05 |  | 1200 X 75, WALL WASHER LED BAR FOR BUFFET COUNTER, Including - LED Tube - 1 x 28W color - 4000K Housing - Extruded AL. in Grey Reflector - Anodized AL. in Mirror Bright Finish Protection - Toughened Clear Glass |  | nos | 6 | Furniture Code No. L-05 Location Item Description 1200 X 75, WALL WASHER LED BAR FOR BUFFET COUNTER, Including - LED Tube - 1 x 28W color - 4000K Housing - Extruded AL. in Grey Reflector - Anodized AL. in Mirror Bright Finish Protection - Toughened Clear Glass