## commercial lights
LIGHTING DOCKET | [9 empty] | DATE: 21_12_24
INTERNATIONAL LOUNGE_NOIDA AIRPORT
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 | CEILING MOUNTED ADJUSTABLE SPOT | RA1 |  | 18 | ceiling suspended hanging spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | FOH AREA | DIMMABLE | 3000 K | 12W | 60 mm ring
2 | CEILING MOUNTED COB | CS1 |  | 38 | Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | FOH AREA | DIMMABLE | 3000 K | 12W | 60 mm ring
3 | 2' x 2' CONCEALED PANEL LIGHT | PL1 |  | 5 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Kitchen area | NON DIMMABLE | 6000K | 36 W | 595 mm
3 | 2' x 2' CONCEALED PANEL LIGHT | PL1 |  | 1 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Live kitchen | NON DIMMABLE | 3000K | 36 W | 595 mm
4 | FLEXIBLE L.E.D COVE LIGHT | SL1 |  | RFT - 140 | flexible led cove | False ceiling, buffet counter , bar back display, live kitchen bulkhead and washroom mirror. | DIMMABLE | 3000K | 5W each | -
5 | PROFILE FOR STRIP LED | SL1 |  | RFT - 140 | Aluminium profile with diffuser | False ceiling, buffet counter , bar back display, live kitchen bulkhead and washroom mirror. | - | - | - | 8 mm profile

## decorative lights
LIGHTING DOCKET | [9 empty] | DATE: 21_12_24
INTERNATIONAL LOUNGE_NOIDA AIRPORT
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 | WALL MOUNTED LIGHT | LT1 |  | 2 | Metal pipe with milky glass front | Entrance column | DIMMABLE | 3000K | 4W each | 300 x 1650 mm ht
2 | DECORATIVE CEILING HANGING LIGHT | LT2 |  | 1 | The Ceiling Plate And Frame Are Constructed From Metal, Finished In Gold And Feature milky glass globe hanging fixture | Reception area | DIMMABLE | 3000 K | 10W each | 750mm Dia and height 550mm ( adjustable )
3 | TABLE LAMP | LT3 |  | 6 | STAND - SS BRASS FINISH BASE STAND LAMP - SS FRAME INSIDE & FINISHED WITH PARCHMENT PAPER FROM OUTSIDE | side table | DIMMABLE | 3000 K | 40W each | 200 mm Ø and height 350 mm
4 | DECORATIVE CEILING HANGING LIGHT | LT4 |  | 2 | Metal framework internally & parchment paper from outside hanging fixture | Spa area | DIMMABLE | 3000 K | 10W each | 600 mm x 450 mm ht
5 | WALL MOUNTED LIGHT | LT5 |  | 3 | Metal pipe with texture / fluted Acrylic front | WASHROOM | DIMMABLE | 3001 K | 10W each | 250 mm x 300 mm ht