## commercial lights
LIGHTING DOCKET | [9 empty] | DATE: 21_12_24
INTERNATIONAL LOUNGE_NOIDA AIRPORT
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 | CEILING MOUNTED ADJUSTABLE SPOT | RA1 |  | 18 | ceiling suspended hanging spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | FOH AREA | DIMMABLE | 3000 K | 12W | 60 mm ring | DESCRIPTION CEILING MOUNTED ADJUSTABLE SPOT CODE RA1 DESCRIPTION ceiling suspended hanging spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 LOCATION FOH AREA TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 12W SIZE 60 mm ring
2 | CEILING MOUNTED COB | CS1 |  | 38 | Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | FOH AREA | DIMMABLE | 3000 K | 12W | 60 mm ring | DESCRIPTION CEILING MOUNTED COB CODE CS1 DESCRIPTION Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 LOCATION FOH AREA TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 12W SIZE 60 mm ring
3 | 2' x 2' CONCEALED PANEL LIGHT | PL1 |  | 5 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Kitchen area | NON DIMMABLE | 6000K | 36 W | 595 mm | DESCRIPTION 2' x 2' CONCEALED PANEL LIGHT CODE PL1 DESCRIPTION Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver LOCATION Kitchen area TRANSFORMER TYPE NON DIMMABLE COLOUR TEMPERATURE 6000K WATTAGE 36 W SIZE 595 mm
3 | 2' x 2' CONCEALED PANEL LIGHT | PL1 |  | 1 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Live kitchen | NON DIMMABLE | 3000K | 36 W | 595 mm | DESCRIPTION 2' x 2' CONCEALED PANEL LIGHT CODE PL1 DESCRIPTION Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver LOCATION Live kitchen TRANSFORMER TYPE NON DIMMABLE COLOUR TEMPERATURE 3000K WATTAGE 36 W SIZE 595 mm
4 | FLEXIBLE L.E.D COVE LIGHT | SL1 |  | RFT - 140 | flexible led cove | False ceiling, buffet counter , bar back display, live kitchen bulkhead and washroom mirror. | DIMMABLE | 3000K | 5W each | - | DESCRIPTION FLEXIBLE L.E.D COVE LIGHT CODE SL1 DESCRIPTION flexible led cove LOCATION False ceiling, buffet counter , bar back display, live kitchen bulkhead and washroom mirror. TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000K WATTAGE 5W each SIZE -
5 | PROFILE FOR STRIP LED | SL1 |  | RFT - 140 | Aluminium profile with diffuser | False ceiling, buffet counter , bar back display, live kitchen bulkhead and washroom mirror. | - | - | - | 8 mm profile | DESCRIPTION PROFILE FOR STRIP LED CODE SL1 DESCRIPTION Aluminium profile with diffuser LOCATION False ceiling, buffet counter , bar back display, live kitchen bulkhead and washroom mirror. TRANSFORMER TYPE - COLOUR TEMPERATURE - WATTAGE - SIZE 8 mm profile

## decorative lights
LIGHTING DOCKET | [9 empty] | DATE: 21_12_24
INTERNATIONAL LOUNGE_NOIDA AIRPORT
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
1 | WALL MOUNTED LIGHT | LT1 |  | 2 | Metal pipe with milky glass front | Entrance column | DIMMABLE | 3000K | 4W each | 300 x 1650 mm ht | DESCRIPTION WALL MOUNTED LIGHT CODE LT1 DESCRIPTION Metal pipe with milky glass front LOCATION Entrance column TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000K WATTAGE 4W each SIZE 300 x 1650 mm ht
2 | DECORATIVE CEILING HANGING LIGHT | LT2 |  | 1 | The Ceiling Plate And Frame Are Constructed From Metal, Finished In Gold And Feature milky glass globe hanging fixture | Reception area | DIMMABLE | 3000 K | 10W each | 750mm Dia and height 550mm ( adjustable ) | DESCRIPTION DECORATIVE CEILING HANGING LIGHT CODE LT2 DESCRIPTION The Ceiling Plate And Frame Are Constructed From Metal, Finished In Gold And Feature milky glass globe hanging fixture LOCATION Reception area TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 10W each SIZE 750mm Dia and height 550mm ( adjustable )
3 | TABLE LAMP | LT3 |  | 6 | STAND - SS BRASS FINISH BASE STAND LAMP - SS FRAME INSIDE & FINISHED WITH PARCHMENT PAPER FROM OUTSIDE | side table | DIMMABLE | 3000 K | 40W each | 200 mm Ø and height 350 mm | DESCRIPTION TABLE LAMP CODE LT3 DESCRIPTION STAND - SS BRASS FINISH BASE STAND LAMP - SS FRAME INSIDE & FINISHED WITH PARCHMENT PAPER FROM OUTSIDE LOCATION side table TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 40W each SIZE 200 mm Ø and height 350 mm
4 | DECORATIVE CEILING HANGING LIGHT | LT4 |  | 2 | Metal framework internally & parchment paper from outside hanging fixture | Spa area | DIMMABLE | 3000 K | 10W each | 600 mm x 450 mm ht | DESCRIPTION DECORATIVE CEILING HANGING LIGHT CODE LT4 DESCRIPTION Metal framework internally & parchment paper from outside hanging fixture LOCATION Spa area TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3000 K WATTAGE 10W each SIZE 600 mm x 450 mm ht
5 | WALL MOUNTED LIGHT | LT5 |  | 3 | Metal pipe with texture / fluted Acrylic front | WASHROOM | DIMMABLE | 3001 K | 10W each | 250 mm x 300 mm ht | DESCRIPTION WALL MOUNTED LIGHT CODE LT5 DESCRIPTION Metal pipe with texture / fluted Acrylic front LOCATION WASHROOM TRANSFORMER TYPE DIMMABLE COLOUR TEMPERATURE 3001 K WATTAGE 10W each SIZE 250 mm x 300 mm ht