## BASE BUILD PHE ..PART ( A,B,C )
Project: Proposed street pizza Gordan Ramsay |  |  | Revision | R0 | Date : 15.12.2024 | 14
Client: | Gordan Ramsey
Architect: Rathi Associates
Consultants: harivu engineering consultants
Service: PHE system
Purpose : Tender - BOQ - Plumbing
a) All the works to be carried out as per relevant IS specifications, whether so mentioned in description of works or not. b) The quoted rate shall include for providing brackets, clamps etc., in ducts and in ceiling for drawing and supporting the pipes etc., a coat of primer two coats of enamel painting for the brackets, colour coding the exposed pipe works, identification labels, making bores in masonary, chasing the surfaces for concealed plumbing and making good the chased surfaces and bores in CM 1:4/PCC 1:2:4 curing etc., complete. c) Only electric groove cutting, hammer drilling, core cutting and other equipment shall be allowed for cutting and drilling etc.
A | INTERNAL WATER SUPPLY | Unit | Quantity | Rate | Total Amount
1 | Supply, Installation, Testing and Commissioning of approved make Chlorinated Polyvinyl Chloride pipes (CPVC) of SDR 11 conforming IS 15778 with all CPVC fittings and specials such as tees, Elbows, Couplers etc with CPVC Brass Threaded combination/ Transition specials such as male adopters, female adopters,FABT tee & Reducer tee, FABT Elbow & Reducer Elbow, conforming to ASTM - D 2846,up to 50 mm dia etc where connection with metal is to be made including cutting holes and chases in walls & make the wall good and Joints to be made with CPVC solvent as per ASTM F 493, with suitable clamps & supports like GI with threaded rod with grip bolts & Nuts,etc complete.
1.1 | Hot Water Supply : HWS
a | 20 | R.mtrs | 55 | 220 | 12100
b | 25 | R.mtrs | 5 | 291 | 1455
c | 32 | R.mtrs | 2 | 404 | 808
1.2 | Domestic Water Supply : DWS
a | 20 | R.mtrs | 55 | 220 | 12100
b | 25 | R.mtrs | 5 | 291 | 1455
c | 32 | R.mtrs | 10 | 404 | 4040
1.2 | Ro Water Supply : RO
a | 20 | R.mtrs | 30 | 220 | 6600
b | 25 | R.mtrs | 15 | 291 | 4365
c | 32 | R.mtrs | 5 | 404 | 2020
2 | Supply,Installation,Testing and Commissioning of lever operated forged brass Ball valve PN 25( Screw Ends) conforming to IS 778 & Testing Conforming to IS 6517 of approved make and provided with forged brass chromiu finish ball (AISI 304) and spindle (AISI 410), glass filled Teflon seating and gland packing etc., complete. The quoted rate shall also include the cost of the, Brass Threaded fittings like Male adaptor, cPVC fittings like Male adaptor, union, Hexnipples etc., complete.
Screw Ends:
b | 25 | No's | 2 | 1693 | 3386
c | 32 | No's | 2 | 3189 | 6378
| TOTAL ABSTRACT - PART A - WATER SUPPLY |  |  |  | 54707
B | INTERNAL SEWAGE
Inside The Building : From Kitchen
1 | Supplying, fixing, testing and commisioning of C.I (hub less) centrifugal cast pipe and fititngs (epoxy coated - inside and out side) for waste water application conforming to IS0 6594 / IS 15905 laid under floor, fixed on walls and shafts etc. The rate shall Including MS angle supports, Hanger, nuts bolts, anchor fasteners, fittings & specials like bend, branches, clean out, shoes, collar, boss connection, reducers, door bends, junctions, cowls etc,.complete. Supports shall be painted 2 coats of enamel paint, pipe joint shall be Stainless steel coupling with EPDM rubber and SS bolt and screw housing elastomeric gasket per relevant Indian standard. The rate shall include the cost of galvanized U clamps, bolts & nuts, painting of pipes with 1 coats of enamel paint.of approved color.
a | 75 | R.mtrs | 10 | 430 | 4300
b | 100 | R.mtrs | 65 | 607 | 39455
b | 150 | R.mtrs | 15 | 901 | 13515
2 | Supply,Installation,Testing & Commissioning of class III (6 kg/cm2) Rigid PVC pipes conforming to IS - 4985, waste pipes jointed with solvent cement of good quality lubricant inclusive of all necessary specials like bends, tees, offsets, junctions,Y Fittings,Clean out,end caps,etc., laid under floor / under ceiling / on walls with suitable U clamps / GI supports,Threaded Rods Grip bolts , nuts etc complete.
b | 50 | R.mtrs | 20 | 168 | 3360
3 | Grease separator plant as per suitable for kitchen working.For indoors installation – frost free; With integrated sludge trap; Operating side: right/left; Draining connection with all fittings & Supply,Installation,Testing and Commissioning of approved make flow:0.5lps & capcity:32lts | No's | 6 | 37500 | 225000
4 | 50 lph ro water purifier plant as per suitable for kitchen. connection with all fittings & Supply,Installation,Testing and Commissioning of approved make. capcity:lts/hr | No's | 1 | 48000 | 48000
5 | waste water liftng station pump(1w+1S) capacity : 1cum/hour head : 5mts dim : 850mm(l) x 650mm(w) x 850mm(h) | No's | 2 | 65000 | 130000
| TOTAL ABSTRACT - PART B - DRAINAGE |  |  |  | 463630
C | DRAINAGE CORE CUT
1 | Drilling with Core cutting machine in RCC slabs, floors etc., for laying pipes and rendering the same in RCC 1:2:4, finishing the same to the satisfaction of the owner or his authorized representatives etc., The quoted rate shall also include for providing Bore Packing with appropriate materials & Fosroc / equivalent based water proofing compound for sealing the joints around the pipes etc., complete.
c | 150(for 110mm pipe) | No's | 1 | 1050 | 1050
d | 200 | No's | 1 | 1150 | 1150
C | TOTAL ABSTRACT - PART C - DRAINAGE CORE CUTS |  |  |  | 2200
| TOTAL ABSTRACT - PART A,B C |  |  |  | 520537
Note : Inclusions
1 | Internal water supply & Drainage piping works & valve.
Note : Exclusions
1 | SS Drain Grating not included in the BOQ.
2 | All Civil works not included in the BOQ.
3 | Pump for Wash Cycle,Pump for Rinse & ALL KITCHEN EQUIPMENTS not included in the BOQ.
4 | Structural Platforms, Cat Ladder, Shaft Access Doors for PHE Ducts not included in the BOQ
5 | Water Boiler (Geyser) not included in the BOQ.
6 | Rates Mentioned is Excluding all Applicable Taxes.
7 | Grease separator plant remove in bar area and added waste water liftng station pump(1w+1S)

## Arch- Summary (hidden)
ABSTRACT:PROPOSED COMMERCIAL DEVELOPMENT AT DEVANAHALLI
PHASE 1
ARCHITECTURAL WORKS SUMMARY | [8 empty] | Date:09-02-2016
S.no | Description | Unit | Retail Amount | Rate/Sft | Office Amount | Rate/Sft | Total Amount | Rate/Sft | Remarks
1 | Masonry Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | Flooring Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | Dado / cladding Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | Plaster Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | Painting Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | Non-structural metal works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | Doors and Joineries | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | Aluminium Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | Architecutural Finishing Works | Rs. | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | Miscellaneous Works | Rs. |  |  |  |  | #REF! | #REF!
| TOTAL |  | #REF! |  | #REF! |  | #REF!
| BUILT UP AREA ( SFT) | [5 empty] | #REF!
| COST /SFT |  | #REF! |  | #REF! |  | #REF!