## Additional Qty
HVAC WORK -DOMINOS -BOLLYWOOD GULLY_BANUR
S.N. | DESCRIPTION OF ITEMS | UNIT | QTY | RATE | AMOUNT
3(A) | Supply, installation, Testing & commissioning of pair of copper refrigerant pipe (Soft Pipe)work insulated with 15 mm Thick elastomeric nitrile rubber tubular insulation, complete with refrigerant topping for Cassette units | Rmt | 39.2 | 1450 | 56840
3(B) | Supply, installation, Testing & commissioning of pair of copper refrigerant pipe (Soft Pipe)work insulated with 15 mm Thick elastomeric nitrile rubber tubular insulation, complete with refrigerant topping for split units | Rmt | 6.3 | 1300 | 8190
4 | Power and Control Cable
| Supply and laying of the following 1100 volt grade armoured PVC/XLPE insulated and sheathed copper conductor armoured cable in cable Tray/clamped to wall with suitable clamps saddles and bolts as required and including testing and commissioning complete as required. The costs shall include providing a gap of 1D between all the cables being laid and proper clamping with cable clamps and ties. Prices shall include providing and fixing of Identification tags for all cables etc. and as per specification and / or as per direction of Project in-charge. Sizes as per requirement | Rmt | 88.35 | 210 | 18553.5
| TOTAL |  |  |  | 83583.5
| GST 18% |  |  |  | 15045.03
| G. Total |  |  |  | 98628.53