## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
| Industrial Socket ( 3 Phase) for Coffee Machine with GI conduit & 3 Phase wiring inclusive as per Airport specification | NO | 1
| 5 AMP Plug Point with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | NO | 12
| 15 AMP Switch socket with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | NO | 15
| Light Points with GI conduit & cable pulling inclusive as per Airport specification up to 4 mtrs tolerance 1 mtrs | NO | 12
| 12 Watt Ceiling round panel light | NO | 8
| LED profile light for front counter | RFT | 15
| Data point with GI conduit & cable pulling inclusive as per Airport specification | NO | 1
| Double Door 12 Way mcb box Distribution Board (3 phase ) | NO | 1
| 3 Phase Electrical Meter of Approved make (Brand List) | NO | 1