## BIRYANI CONCEPT@FC-DELHI - T1
BIRYANI CONCEPT
|  | EQUIPMENT SCHEDULE |  | DATE | 2024-11-08
FC-DELHI -T1
SR.No. | Eq.No. | DESCRIPTION | BRAND/MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH | CFM
FOH AREA
1 | BK-01 | POS | STD | IT | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
2 | BK-02 | MARKETING SCREEN | MARKETING | STD | 1 |  |  | 0
3 | BK-03 | UNDERNEATH GARBAGE BIN | SOE | STD (BY OPS) | 1
4 | BK-04 | POS COUNTER WITH STORAGE BELOW | AS PE INTERIOR/CARPENTRY | 1425 x 825 x 850Ht. | 1
5 | BK-05 | SS HOT BAIN MARIE FOR BIRYANI DISPLAY WITH 5Nos.ROUND SLOTS OF 350DIA x200Deep PANLE AT FRONT | FABRICATED | 1250 x 800 x 850Ht. | 2 | 1PH | 3 | 6 | 32 | Metal Clad
6 | BK-06 | COUNTER WITH STORAGE BELOW | AS PE INTERIOR/CARPENTRY | 475 x 825 x 850Ht. | 1
7 | BK-07 | SALADETTES /PREP 2 DOORS COUNTER WITH RAISED BAIN MARIE | BLUESTAR- SC2100GA | 900 x 700 x 990 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
8 | BK-08 | JUICE DISPENSER 2 X 10 Ltrs. | COFRIMELL- CAPRI 2M | 270 x 400 x 680 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
9 | BK-09 | BACK SIDE COUNTER WITH PROVISION FOR FOUNTAIN BIBs, SUNK IN SINK & STORAGE | AS PE INTERIOR/CARPENTRY | 3270 x 700 x 850 Ht. | 1
10 | BK-10 | WATER BOILER NO INSULATED 12 LTRS. | PRADEEP-111312 | 290 DIA x 560Ht. | 1 | 1PH | 3 | 3 | 5 / 15 Amp | Switch Socket
11 | BK-11 | GREASE TRAP | NUGREEN-NGT 8 | 337x 404 x 303Ht. | 1
12 | BK-12 | SUNK IN SINK (BOWL SIZE-350x350x250 Deep) | CIVIL CARPENTRY WORK | 350 x 350 x 250Deep | 1
13 | BK-13 | UNDERNEATH GARBAGE BIN | SOE | STD (BY OPS) | 1
14 | BK-14 | FOUNTAIN MACHINE 4 TAP | RENTAL SOE/OPS | 550 x 610 x 645Ht. | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket
15 | BK-15 | 1500 Ht.BOXING WITH DOOR IN FRONT FOR Co₂Cylinde | CARPENTRY WORK AS PER INTERIOR DESIGNER | 300 x 700 x 1500Ht. | 1
16 | BK-16 | CO2 CYLINDER (1 FOR FOUNTAIN MACHINE ) | SOE/OPS | STD | 1
17 | BK-17 | 4 ZONE ELECTRIC HOT PLATE WITH OVEN BELOW | ELECTROLUX-391167 (E9ECEH4QEN) | 800 x 930 x 850 | 1 | 3PH | 22 | 22 | 5 PIN POLE INDUSTRIAL SOCKET | MCB
18 | BK-18 | SS WORK TABLE WITH 2 U/S | FABRICATED | 400 x 930 x 850 +50SPL | 1 |  |  | 0
19 | BK-19 | TABLE TOP HOT PLATE | KARMA-CE270-114 | 550 x 430 x 240 | 1 | 1PH | 3 | 3 | 32 | Metal Clad
20 | BK-20 | SS WORK TABLE WITH 1 U/S STEP TYPE | FABRICATED | 600 x 930 x 610 & 850 (ON BACK)+50SPL | 1
21 | BK-21 | EXHAUST HOOD WITH BAFFLE FILTERS & FIRE SUPPRESSION SYSTEM , FRESHER GRILL & LED LIGHTS (BOX TYPE) IN 2 PARTS | FABRICATED | 4100 x 1100 x 600Ht. ( Made in 2 parts ) | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | 2400
22 | BK-22 | SS WORK TABLE WITH 2 U/S | FABRICATED | 625 x 930 x 850 +50SPL | 1 |  |  | 0
23 | BK-23 | SS LOW HIEGHT TABLE WITH CROSS SUPPORT | FABRICATED | 750 x 800 x 500 & 850 (ON BACK)+50SPL | 1
24 | BK-24 | TABLE TOP INDUCTION FOR KEBAB WITH TAWA | LORMAN-LT-PT-28 | 700 x 700 x 350Ht. | 1 | 1PH | 3.5 | 3.5 | 32 | Metal Clad
25 | BK-25 | SS TABLE TOP ELECTRICAL SINGLE DEEP FAT FRYER | SIRMAN ELDORADO-8LTR | 270 x 420 x 360 | 2 | 1PH | 3.3 | 6.6 | 32 | Metal Clad
26 | BK-26 | SS WORK TABLE WITH 1 U/S STEP TYPE | FABRICATED | 650 x 830 x 490 & 850Ht. (ON BACK) +50SPL | 1
27 | BK-27 | SS WORK TABLE WITH 2 U/S | FABRICATED | 450 x 930 x 850 +50SPL | 1 |  |  | 0
28 | BK-28 | SS WORK TABLE WITH SINK ON RHS W / 2 OHS & CROSS SUPPORT BELOW | FABRICATED | 975 x 700 x 850 + 150 | 1
29 | BK-28a | GREASE TRAP | NUGREEN-NGT 8 | 337x 404 x 303Ht. | 1
30 | BK-29 | MENUMASTER OVEN 25 LTR | RMS 510 TSIA | 500 x 425 x 325 | 1 | 1PH | 1.6 | 1.6 | 5 / 15 Amp | Switch Socket
31 | BK-30 | 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | Bluestar- 4 Feet UCH2D0300S | 1200 x 700 x 850 | 2 | 1PH | 1 | 2 | 5 / 15 Amp | Switch Socket
32 | BK-31 | WALL SHELF | FABRICATED | 1200 X 375 | 2
33 | BK-32 | 2 DOOR VERTICAL CHILLER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUE STAR-RC2D550N | 700 x 765 x 1997 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
34 | BK-33 | 2 DOOR VERTICAL FREEZER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUESTAR- RF2D550N | 700 x 765 x 1997 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
35 | BK-34 | SS STORAGE RACK 4 TIER SHELF | FABRICATED | 900 x 450 x 1800 | 2
36 | BK-35 | KNEE OPERATED HAND WASH SINK WITH HOT & COLD WATER CONNECTION & WITH TISSUE HOLDER & SOAP DISPENSER PROVISION OPEN FROM BACK SIDE & DOOR INFRONT | FABRICATED | 550 x 550 x 300+450Spl. | 1
37 | BK-35a | GREASE TRAP | NUGREEN-NGT 8 | 262 x 355 x 280Ht. | 1
38 | BK-36 | SS DISH RACK 4 TEIR | FABRICATED | 900 x 450 x 1600 | 1
39 | BK-37 | SS POT RACK 4 TEIR ON WHEEL | FABRICATED | 800 x 500 x 1600 | 1
40 | BK-38 | GREASE TRAP | NUGREEN-NGT 20 | 362 x 503 x 303Ht. | 1
41 | BK-39 | POT WASH SINK WITH CROSS SUPPORT | FABRICATED | 850 x 750 x 850 + 150 | 1 | 1PH | 3.3 | 3.3 | 32 | Metal Clad | FOR GEYSER
42 | BK-40 | WALL SHELF | FABRICATED | 850 x 375 | 1
43 | BK-41 | WALKIN CHILLER | REVAC/BLUESTAR OR EQUIVALENT | 2800 x 1500 x 2700 | 1 | 1PH | 3 | 3 | 5 / 15 Amp | Switch Socket
44 | BK-42 | 4 TIER - MOBILE CHILLER STORAGE RACK (36" X 21") | FABRICATED | 850 x 450 x 1500 | 3
Total Kw-A | [7 empty] | 60.5

## Safal upload
BIRYANI CONCEPT
|  | EQUIPMENT SCHEDULE |  | DATE | 2024-11-08
FC-DELHI -T1
SR.No. | Eq.No. | DESCRIPTION | BRAND/MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH | CFM
5 | BK-05 | SS HOT BAIN MARIE FOR BIRYANI DISPLAY WITH 5Nos.ROUND SLOTS OF 350DIA x200Deep PANLE AT FRONT | FABRICATED | 1250 x 800 x 850Ht. | 2 | 1PH | 3 | 6 | 32 | Metal Clad |  | Eq.No. BK-05 DESCRIPTION SS HOT BAIN MARIE FOR BIRYANI DISPLAY WITH 5Nos.ROUND SLOTS OF 350DIA x200Deep PANLE AT FRONT BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 1250 x 800 x 850Ht.
7 | BK-07 | SALADETTES /PREP 2 DOORS COUNTER WITH RAISED BAIN MARIE | BLUESTAR- SC2100GA | 900 x 700 x 990 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-07 DESCRIPTION SALADETTES /PREP 2 DOORS COUNTER WITH RAISED BAIN MARIE BRAND/MODEL NO BLUESTAR- SC2100GA DIMENSIONS(L x W x HT) 900 x 700 x 990
8 | BK-08 | JUICE DISPENSER 2 X 10 Ltrs. | COFRIMELL- CAPRI 2M | 270 x 400 x 680 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-08 DESCRIPTION JUICE DISPENSER 2 X 10 Ltrs. BRAND/MODEL NO COFRIMELL- CAPRI 2M DIMENSIONS(L x W x HT) 270 x 400 x 680
10 | BK-10 | WATER BOILER NO INSULATED 12 LTRS. | PRADEEP-111312 | 290 DIA x 560Ht. | 1 | 1PH | 3 | 3 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-10 DESCRIPTION WATER BOILER NO INSULATED 12 LTRS. BRAND/MODEL NO PRADEEP-111312 DIMENSIONS(L x W x HT) 290 DIA x 560Ht.
11 | BK-11 | GREASE TRAP | NUGREEN-NGT 8 | 337x 404 x 303Ht. | 1 | [6 empty] | Eq.No. BK-11 DESCRIPTION GREASE TRAP BRAND/MODEL NO NUGREEN-NGT 8 DIMENSIONS(L x W x HT) 337x 404 x 303Ht.
17 | BK-17 | 4 ZONE ELECTRIC HOT PLATE WITH OVEN BELOW | ELECTROLUX-391167 (E9ECEH4QEN) | 800 x 930 x 850 | 1 | 3PH | 22 | 22 | 5 PIN POLE INDUSTRIAL SOCKET | MCB |  | Eq.No. BK-17 DESCRIPTION 4 ZONE ELECTRIC HOT PLATE WITH OVEN BELOW BRAND/MODEL NO ELECTROLUX-391167 (E9ECEH4QEN) DIMENSIONS(L x W x HT) 800 x 930 x 850
18 | BK-18 | SS WORK TABLE WITH 2 U/S | FABRICATED | 400 x 930 x 850 +50SPL | 1 |  |  | 0 |  |  |  | Eq.No. BK-18 DESCRIPTION SS WORK TABLE WITH 2 U/S BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 400 x 930 x 850 +50SPL
19 | BK-19 | TABLE TOP HOT PLATE | KARMA-CE270-114 | 550 x 430 x 240 | 1 | 1PH | 3 | 3 | 32 | Metal Clad |  | Eq.No. BK-19 DESCRIPTION TABLE TOP HOT PLATE BRAND/MODEL NO KARMA-CE270-114 DIMENSIONS(L x W x HT) 550 x 430 x 240
20 | BK-20 | SS WORK TABLE WITH 1 U/S STEP TYPE | FABRICATED | 600 x 930 x 610 & 850 (ON BACK)+50SPL | 1 | [6 empty] | Eq.No. BK-20 DESCRIPTION SS WORK TABLE WITH 1 U/S STEP TYPE BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 600 x 930 x 610 & 850 (ON BACK)+50SPL
21 | BK-21 | EXHAUST HOOD WITH BAFFLE FILTERS & FIRE SUPPRESSION SYSTEM , FRESHER GRILL & LED LIGHTS (BOX TYPE) IN 2 PARTS | FABRICATED | 4100 x 1100 x 600Ht. ( Made in 2 parts ) | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket | 2400 | Eq.No. BK-21 DESCRIPTION EXHAUST HOOD WITH BAFFLE FILTERS & FIRE SUPPRESSION SYSTEM , FRESHER GRILL & LED LIGHTS (BOX TYPE) IN 2 PARTS BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 4100 x 1100 x 600Ht. ( Made in 2 parts )
22 | BK-22 | SS WORK TABLE WITH 2 U/S | FABRICATED | 625 x 930 x 850 +50SPL | 1 |  |  | 0 |  |  |  | Eq.No. BK-22 DESCRIPTION SS WORK TABLE WITH 2 U/S BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 625 x 930 x 850 +50SPL
23 | BK-23 | SS LOW HIEGHT TABLE WITH CROSS SUPPORT | FABRICATED | 750 x 800 x 500 & 850 (ON BACK)+50SPL | 1 | [6 empty] | Eq.No. BK-23 DESCRIPTION SS LOW HIEGHT TABLE WITH CROSS SUPPORT BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 750 x 800 x 500 & 850 (ON BACK)+50SPL
24 | BK-24 | TABLE TOP INDUCTION FOR KEBAB WITH TAWA | LORMAN-LT-PT-28 | 700 x 700 x 350Ht. | 1 | 1PH | 3.5 | 3.5 | 32 | Metal Clad |  | Eq.No. BK-24 DESCRIPTION TABLE TOP INDUCTION FOR KEBAB WITH TAWA BRAND/MODEL NO LORMAN-LT-PT-28 DIMENSIONS(L x W x HT) 700 x 700 x 350Ht.
25 | BK-25 | SS TABLE TOP ELECTRICAL SINGLE DEEP FAT FRYER | SIRMAN ELDORADO-8LTR | 270 x 420 x 360 | 2 | 1PH | 3.3 | 6.6 | 32 | Metal Clad |  | Eq.No. BK-25 DESCRIPTION SS TABLE TOP ELECTRICAL SINGLE DEEP FAT FRYER BRAND/MODEL NO SIRMAN ELDORADO-8LTR DIMENSIONS(L x W x HT) 270 x 420 x 360
26 | BK-26 | SS WORK TABLE WITH 1 U/S STEP TYPE | FABRICATED | 650 x 830 x 490 & 850Ht. (ON BACK) +50SPL | 1 | [6 empty] | Eq.No. BK-26 DESCRIPTION SS WORK TABLE WITH 1 U/S STEP TYPE BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 650 x 830 x 490 & 850Ht. (ON BACK) +50SPL
27 | BK-27 | SS WORK TABLE WITH 2 U/S | FABRICATED | 450 x 930 x 850 +50SPL | 1 |  |  | 0 |  |  |  | Eq.No. BK-27 DESCRIPTION SS WORK TABLE WITH 2 U/S BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 450 x 930 x 850 +50SPL
28 | BK-28 | SS WORK TABLE WITH SINK ON RHS W / 2 OHS & CROSS SUPPORT BELOW | FABRICATED | 975 x 700 x 850 + 150 | 1 | [6 empty] | Eq.No. BK-28 DESCRIPTION SS WORK TABLE WITH SINK ON RHS W / 2 OHS & CROSS SUPPORT BELOW BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 975 x 700 x 850 + 150
29 | BK-28a | GREASE TRAP | NUGREEN-NGT 8 | 337x 404 x 303Ht. | 1 | [6 empty] | Eq.No. BK-28a DESCRIPTION GREASE TRAP BRAND/MODEL NO NUGREEN-NGT 8 DIMENSIONS(L x W x HT) 337x 404 x 303Ht.
30 | BK-29 | MENUMASTER OVEN 25 LTR | RMS 510 TSIA | 500 x 425 x 325 | 1 | 1PH | 1.6 | 1.6 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-29 DESCRIPTION MENUMASTER OVEN 25 LTR BRAND/MODEL NO RMS 510 TSIA DIMENSIONS(L x W x HT) 500 x 425 x 325
31 | BK-30 | 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | Bluestar- 4 Feet UCH2D0300S | 1200 x 700 x 850 | 2 | 1PH | 1 | 2 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-30 DESCRIPTION 2 DOOR U/C CHILLER. WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN BRAND/MODEL NO Bluestar- 4 Feet UCH2D0300S DIMENSIONS(L x W x HT) 1200 x 700 x 850
32 | BK-31 | WALL SHELF | FABRICATED | 1200 X 375 | 2 | [6 empty] | Eq.No. BK-31 DESCRIPTION WALL SHELF BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 1200 X 375
33 | BK-32 | 2 DOOR VERTICAL CHILLER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUE STAR-RC2D550N | 700 x 765 x 1997 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-32 DESCRIPTION 2 DOOR VERTICAL CHILLER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN BRAND/MODEL NO BLUE STAR-RC2D550N DIMENSIONS(L x W x HT) 700 x 765 x 1997
34 | BK-33 | 2 DOOR VERTICAL FREEZER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN | BLUESTAR- RF2D550N | 700 x 765 x 1997 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-33 DESCRIPTION 2 DOOR VERTICAL FREEZER WITH LOCKABLE CASTOR WHEELS (2 Nos.WITH BREAK INFRONT & 2 Nos. WITHOUT BREAK) & HEATING ELEMENT FOR DRAIN BRAND/MODEL NO BLUESTAR- RF2D550N DIMENSIONS(L x W x HT) 700 x 765 x 1997
35 | BK-34 | SS STORAGE RACK 4 TIER SHELF | FABRICATED | 900 x 450 x 1800 | 2 | [6 empty] | Eq.No. BK-34 DESCRIPTION SS STORAGE RACK 4 TIER SHELF BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 900 x 450 x 1800
36 | BK-35 | KNEE OPERATED HAND WASH SINK WITH HOT & COLD WATER CONNECTION & WITH TISSUE HOLDER & SOAP DISPENSER PROVISION OPEN FROM BACK SIDE & DOOR INFRONT | FABRICATED | 550 x 550 x 300+450Spl. | 1 | [6 empty] | Eq.No. BK-35 DESCRIPTION KNEE OPERATED HAND WASH SINK WITH HOT & COLD WATER CONNECTION & WITH TISSUE HOLDER & SOAP DISPENSER PROVISION OPEN FROM BACK SIDE & DOOR INFRONT BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 550 x 550 x 300+450Spl.
37 | BK-35a | GREASE TRAP | NUGREEN-NGT 8 | 262 x 355 x 280Ht. | 1 | [6 empty] | Eq.No. BK-35a DESCRIPTION GREASE TRAP BRAND/MODEL NO NUGREEN-NGT 8 DIMENSIONS(L x W x HT) 262 x 355 x 280Ht.
38 | BK-36 | SS DISH RACK 4 TEIR | FABRICATED | 900 x 450 x 1600 | 1 | [6 empty] | Eq.No. BK-36 DESCRIPTION SS DISH RACK 4 TEIR BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 900 x 450 x 1600
39 | BK-37 | SS POT RACK 4 TEIR ON WHEEL | FABRICATED | 800 x 500 x 1600 | 1 | [6 empty] | Eq.No. BK-37 DESCRIPTION SS POT RACK 4 TEIR ON WHEEL BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 800 x 500 x 1600
40 | BK-38 | GREASE TRAP | NUGREEN-NGT 20 | 362 x 503 x 303Ht. | 1 | [6 empty] | Eq.No. BK-38 DESCRIPTION GREASE TRAP BRAND/MODEL NO NUGREEN-NGT 20 DIMENSIONS(L x W x HT) 362 x 503 x 303Ht.
41 | BK-39 | POT WASH SINK WITH CROSS SUPPORT | FABRICATED | 850 x 750 x 850 + 150 | 1 | 1PH | 3.3 | 3.3 | 32 | Metal Clad | FOR GEYSER | Eq.No. BK-39 DESCRIPTION POT WASH SINK WITH CROSS SUPPORT BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 850 x 750 x 850 + 150
42 | BK-40 | WALL SHELF | FABRICATED | 850 x 375 | 1 | [6 empty] | Eq.No. BK-40 DESCRIPTION WALL SHELF BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 850 x 375
43 | BK-41 | WALKIN CHILLER | REVAC/BLUESTAR OR EQUIVALENT | 2800 x 1500 x 2700 | 1 | 1PH | 3 | 3 | 5 / 15 Amp | Switch Socket |  | Eq.No. BK-41 DESCRIPTION WALKIN CHILLER BRAND/MODEL NO REVAC/BLUESTAR OR EQUIVALENT DIMENSIONS(L x W x HT) 2800 x 1500 x 2700
44 | BK-42 | 4 TIER - MOBILE CHILLER STORAGE RACK (36" X 21") | FABRICATED | 850 x 450 x 1500 | 3 | [6 empty] | Eq.No. BK-42 DESCRIPTION 4 TIER - MOBILE CHILLER STORAGE RACK (36" X 21") BRAND/MODEL NO FABRICATED DIMENSIONS(L x W x HT) 850 x 450 x 1500
Total Kw-A | [7 empty] | 59