## MASTER SUMMARY (hidden)
SUMMARY-DHABA,HEALTHY EATS,KARIMS & BERCOS
| SIMNA | RUDRA | BUILD DESIGN | AKK | BRIGHT | VISHWAKARMA | INTERCARE | BUDGET | MINIMUM
DHABA-interior | 0 | #REF! | #REF! | #REF! | #REF! |  | #REF! | 4625724 | #REF!
DHABA-plumbing | #REF! |  |  | #REF! | #REF! |  | #REF! | 100875 | #REF!
Karims & Berco's-SH2-interior |  |  |  | #REF! |  | #REF! | #REF! | 2759306 | #REF!
Subway-interior |  |  |  | #REF! |  | #REF! | #REF! | 955420 | #REF!
Healthy-interior | #REF! |  |  | #REF! | #REF! |  | #REF! | 1497792 | #REF!
Healthy-plumbing | #REF! |  |  | #REF! | #REF! |  | #REF! | 85355 | #REF!
| #REF! |  |  | #REF! | #REF! | #REF! | #REF! | 10024472 | #REF!
#REF!

## Dhaba-interior
DETAILED BOQ OF PROPOSED DHABA AT DELHI AIRPORT
All componets of carpentry (Plywood / WPC boards / Gypsum boards) to be of 1Hr Fire rating
Sl/no | Item | Description | Qty | Unit
PRELIMINARY WORKS (WATER PROOFING & RAISED FLOOR WORKS)
1 | Waterproofing of BOH area | Providing,laying and testing of chemical waterproofing at BOH area . Specifications and Method to be followed as specified by airport (Refer Annexture-01) | 105.932 | Sq.Mt | 0
2 | 150mm thick x 300mm high masonry wall with Siporex block along periphery of water-proofing area | Providing,laying 150mm thick x 300mm high masonry wall with Siporex block with Cement mortar along periphery of water-proofing area | 48.67 | R.Mt | 0
3 | 100mm thick x 300mm high masonry wall with Siporex block for Trenches | Providing,laying 100mm thick x 300mm high masonry wall with Siporex block with Cement mortar for Trenches (Length considered = Length of Drain pipe x 2 sides) | 57.53 | R.Mt | 0
4 | Inspection Chamber - 600 x600 x350(external dimensions) | Providing Inspection chamber with 100 mm thk Siporex walls Plasterd with cement mortar & waterproof chemical .with necessary PCC bedding to required slope. | 1 | nos | 0
5 | Inspection Chamber cover - (Perforated S.S) 600 x600mm | Providing and fixing of S.S. perforated Inspection chamber cover with necessary fittings | 1 | nos | 0
6 | Floor filling + Screed (raised floor) (+350mm to the top of the Floor finish) | Cinder Filling over finish level of waterproofing layers to achieve a finihsed floor level of +350mm . Screed as per mandatory floor PCC norms from airport | 105.932 | Sq.Mt | 0
7 | Ramps & Steps with PCC (To enter BOH & Training room) | Providing Ramps with PCC of M15 mix , rendered to fhave anti-slip grooves with cement mortar ,as per design and details provided | 0.45 | Cum | 0
8 | Kota Flooring over Ramp & Steps (To enter BOH & Training room) (Optional) | Providing & laying of 600x600 mm Kota stone tiles (anti slip finish ), Fixed with Cement mortar. Surface to have anti-slip grooves , including edge polish and finish | 2.75 | Sq.Mt | 0 | Optional Floor finish
METAL WORKS
A | M.S. FRAMING
1 | 100x100 mm M.S. Box section columns to support Metal platform | Providing and fixing of 100x100 mm Sq.Box section columns , fixed to floor and wall (as per design) ,made factory conditions . Finished with necessary coats of enamel paint all inclusive | 10.9 | R.Mt | 0
2 | 150 ISMC beams | Providing & fixing of 150x150 ISMC beams (as per design) , painted with enamel paint as per specifications , all inclusive | 15 | R.Mt | 0
3 | Platform with 5mm thk Chequered plate | Providing & Fixing of Platform with 5mm thk Chequered plate as per specifications , all inclusive | 3.75 | R.Mt | 0
4 | 25x25 mm framing for metal mesh ceiling element | Providing and fixing of 25 x 25 mm Sq.Box section framing for metal mesh ceiling element (as per design) ,made factory conditions . Finished with necessary coats of enamel paint , all inclusive | 39.125 | R.Mt | 0
5 | M.S. Metal mesh to be welded to the frame | Providing and fixing of MS metal mesh to the frame (as per design) ,made factory conditions . Fixed to Structural slab/beam (as per site conditions)Finished with necessary coats of enamel paint , all inclusive | 9.92 | Sq.Mt | 0
6 | Decorative metal work at Front counter (Truck design element) | Providing and fixing of (decorative) metal tubes of 18SWG (as per design) ,made factory conditions . To receive finishes as per schedule | 28.26 | R.Mt | 0
0
CARPENTRY WORKS |  |  |  |  | 0
B | PARTITIONS/ BOXING |  |  |  | 0
1 | Periphery Common wall -100mm THK. (3300 high from airport FFL) W1 | Providing and fixing of 100mm THK , 3300mm high partition wall with 12mm thk Fire rated Gypsum board on both sides of Alu. Framing ( maximum 600mm spacing between the frames).all inclusive. The partition wall to take finishes as per details and design. | 142.24 | Sq.Mt | 0
2 | Periphery Secondary wall paneling -100mm THK. W2 (3150 high from airport FFL) | Providing and fixing of 100mm THK , 3150mm high wall paneling with 18mm thk FR+WP Ply on one side of Alu.framing ( maximum 600mm spacing between the frames). The partition wall to take finishes as per details and design. | 128.68 | Sq.Mt | 0
3 | Partition wall -W3-100mm THK. (3150 high from airport FFL) | Providing and fixing of 100mm THK , 3150mm high partition wall with 18mm thk FR+WP Ply on both side of Alu.framing ( maximum 600mm spacing between the frames). The partition wall to take finishes as per details and design. | 85.54 | Sq.Mt | 0
4 | Partition wall -W4-100mm THK. (2100 high from airport FFL) | Providing and fixing of 100mm THK , 2100mm high partition wall with 18mm thk FR+WP Ply on both side of Alu.framing ( maximum 600mm spacing between the frames).. The partition wall to take finishes as per details and design. | 22.35 | Sq.Mt | 0
5 | Partition wall -W3-100mm THK. (1200 high from airport FFL) | Providing and fixing of 100mm THK , 1200mm high partition wall with 18mm thk FR+WP Ply on both side of Alu.framing ( maximum 600mm spacing between the frames)... The partition wall to take finishes as per details and design. | 2.52 | Sq.Mt | 0
6 | Boxing 01, 02 ,03 & 04 (Perimeter x 3150 mm high) | Providing and fixing Boxing with 18mm thk FR+WP Ply , 3150 mm high . The partition wall to take finishes as per details and design. | 11.35 | Sq.Mt | 0
7 | Front counter Carcass -100mm thk (Carcass Only) | Providing and fixing 100 mm THK. carcass at front counter with 18mm ply on both sides of SW/Alu framing , to take finishes as per design and details | 6 | Sq.Mt | 0
8 | Front counter Facade Truck design carpentry | Grill pattern with fret cut 18mm thk. WPC board ,as per design & details , to receive finishes as per schedule | 2.45 | Sq.Mt | 0
|  | Reflector & Nameplate ledge boxing with 18mm thk. WPC board , as per design & details , to receive finishes as per schedule | 0.62 | Sq.Mt | 0
|  | Providing and fixing of Tyre on Ply base | 4 | nos | 0
|  | Number plate (5mm thk WPC) | 0.2 | Sq.Mt | 0
|  | Wheel flap sticker base (5mm thk WPC) | 0.76 | Sq.Mt | 0
9 | Designer Side wall paneling over Wall at Servery area (both sides) | Providing and fixing side wall paneling with 18mm thk WPC board over side walls in servery area (Design element). as per design & details , to receive finishes as per schedule | 21.29 | Sq.Mt | 0
10 | Back wall Truck design carpentry (Carpentry only) | Providing and fixing truck design elements at back wall with WPC board (Varying thickness),as per design & details to receive finishes as per schedule |  |  | 0
|  | Foods carrier' boxing with Band (18mm thk. WPC) | 0.45 | Sq.Mt | 0
|  | Blue border around opening (25mm thk WPC) | 4.48 | Sq.Mt | 0
|  | Yellow border around opening (12mm thk WPC) | 1.34 | Sq.Mt | 0
|  | paneling with groves on Boxing-04 (18mm thk. WPC) | 1.36 | Sq.Mt | 0
|  | Rhombus shaped elements at Front counter , Back wall ,sides | 1 | Sq.Mt | 0
|  | 'Horn Not OK Please ' , board (18mm thk WPC)' | 0.3 | Sq.Mt | 0
0
C | DOORS / FIXED GLASS |  |  |  | 0
0
1 | Fixed glass at BOH wall (Truck glass shape) | Providing & fixing of 12mm thk. fixed glass (Transparent) with powder coated aluminium / S.W. frame, with necessary fittings ( as per design) . | 3.03 | Sq.Mt | 0
2 | Door- D1 (1075W x 2100 H | Providing & fixing of Flush code door with - 50x100 Wood Frame - 35mm thk flush core shutter , edge to be sealed with teak wood lipping - 8mm thk. toughened glass vision panel secured with aluminium holder - S.S. handles on both sides - All to be painted to approved specs - with necessary fittings & iron mongery to receive finishes as per schedule all as per design | 1 | Nos | 0
3 | Door- D2 (950W x 2100 H | Providing & fixing of Flush code door with - 50x100 Wood Frame - 35mm thk flush core shutter , edge to be sealed with teak wood lipping - 8mm thk. toughened glass vision panel secured with aluminium holder - S.S. handles on both sides - All to be painted to approved specs - with necessary fittings & iron mongery to receive finishes as per schedule all as per design | 1 | Nos | 0
4 | Door- D3 (750W x 2100 H | Providing & fixing of Flush code door with - 50x100 Wood Frame - 25mm thk flush core shutter , edge to be sealed with teak wood lipping - 8mm thk. toughened glass vision panel secured with aluminium holder - S.S. handles on both sides - All to be painted to approved specs - with necessary fittings & iron mongery to receive finishes as per schedule all as per design | 1 | Nos | 0
5 | Door- D4 (750W x 2100 H | Providing & fixing of Flush code door with - 50x100 Wood Frame - 25mm thk flush core shutter , edge to be sealed with teak wood lipping - S.S. handles on both sides - All to be painted to approved specs - with necessary fittings & iron mongery to receive finishes as per schedule all as per design | 1 | Nos | 0
0
D | STORAGE UNITS/ SHELVES |  |  |  | 0
1 | Front counter (Storage unit + Box unit) (3.98L x 0.70D x 0.98 H) Finished height after fixing Engg stone shoud be 1M.To be co-ordinated with selected Engg stone thickness | Providing and fabrication of Front Counter Storage unit & Box unit with - 18mm thk FR+WP Ply carcass as per design & specified finishes - 18mm thk FR+WP Ply Shutters & Shelvesand shelves as per design & specified finishes - Edges to be finished with 2mm plastic edge binding -Cabinet counter-top prepped to receive Engineered stone as per details and design. | 1 | Nos | 0
2 | Rear counter (3.95L x 0.80D x 0.93 H) Finished height after fixing Engg stone shoud be 0.95M. To be co-ordinated with selected Engg stone thickness | Providing and fabrication of Rear counter with - 18mm thk FR+WP Ply framing as per design & specified finishes - 18mm thk FR+WP Ply Shutters & Shelvesand shelves as per design & specified finishes - Edges to be finished with 2mm plastic edge binding -Cabinet counter-top prepped to receive Engineered stone as per details and design. | 1 | Nos | 0
0
FALSE CEILING |  |  |  |  | 0
E | FLOORING & WALL CLADDING |  |  |  | 0
1 | Gypsum ceiling | Providing & fixing of false ceiling with fire rated Gypsum board , incl of all cuts & grooves required for services & lights ,Hvac etc not to be paid separate , to receive finishes as per specifications | 52.31 | Sq.Mt | 0
2 | Metal Grid ceiling | Providing & fixing of false ceiling with metal grid ceiling panels, as per specifications,ncl of all cuts & grooves required for services & lights ,Hvac etc not to be paid separate | 70.9 | Sq.Mt | 0
Note: Engineered Stone cost to be priced separately and has been included in the Finishes schedule |  |  |  |  | 0
FINISHES |  |  |  |  | 0
F | FLOORING & WALL CLADDING |  |  |  | 0
1 | Servery & Training room Flooring | Providing & Laying of 600x600 mm Vitrified tiles flooring (Base price Rs.60/sqft) with Cement mortar, as per finishes schedule | 42.9 | Sq.Mt | 0
2 | Servery & Training room Skirting | Providing & Laying of 100 high skirting with same 600x600 mm Vitrified tiles used for flooring, with cement mortar, as per finishes schedule | 39.8 | R.Mt | 0
3 | BOH & Dishwash area Flooring | Providing & Laying of 600x600 mm Kota stone tiles flooring, with cement mortar , as per finishes , schedule | 84.25 | Sq.Mt | 0
4 | BOH & Dishwash area Skirting | Providing & Laying of 100 high skirting with same 600x600 mm Kota stone tiles, with cement mortar , as per finishes schedule | 88.43 | R.Mt | 0
5 | Ceramic tile dado on BOH & Dishwash walls | Providing & Fixing of Ceramic tile (600 x 300mm - Kajaria-Oxford Blanco)cladding over BOH & Dishwashing walls with cement mortar ,as per design ,details &finishes specified. | 181.9 | Sq.Mt | 0
6 | 15/18 mm THK. engineered stone as countertop (Front counter & Rear counter) | Providing and installing 15/18mm thick engineered stone (base cost of stone Rs.400 per Sft) counter-top fixed to Ply carcass/ base ,Polished and edge finished as per design & detail | 8.45 | Sq.Mt | 0
G | PAINTING |  |  |  | 0
1 | Paint Finish (A) (Training room & BOH walls above tiles + Gyp Ceiling) | Primer + Emulsion Paint over Training room walls & Area above tiles in BOH & Dishwash area & Gypsum ceiling | 185.61 | Sq.Mt | 0
2 | Paint Finish (B) - Various Colors- Enamel paint | Primer + Enamel Paint over over Front & Sides & Boxings at Servery area ( colors consistent to design & details) | 68 | Sq.Mt | 0
MISCELLANEOUS |  |  |  |  | 0
0
M.1 | Truck mirror sign board | Custom made Truck mirror sign board , with metal frame and acrylic sign board | 2 | Nos | 0
M.2 | Truck horn (Muted horn) | Brass finish Truck horn (as per finishes schedule & specifications) | 2 | Nos | 0
M.3 | Triangle reflector (Truck detail) | Providing & Fixing reflector (triangle shape , as per details) on WPC board | 4 | Nos | 0
M.3 | M.S hooks Truck detail) | Providing & Fixing reflector (M.S. Hooks , as per details) | 6 | Nos | 0
0
IMP NOTE: The description of works provided above along with the drawings are meant only to describe the intent for the design. The vendor/ contractor is expected to develop his/her details/shop drawings as required to fulfil the design intent whilst ensuring functional compliance and structural stability. These details are to be reviewed with the architect/ project manager prior to commencement of work at site. If there are any discrepancies between the drawing and the BOQ provided, please consult/ clarify with the designer.
No wastage % considered for Interior works

## Annexture-1 (hidden)
Annexture-1
Water Proofing Method for the F&B outlet:
1. Surface preparation - Cleaning of slab free of dust, cracks to be filled with PU sealer (Dr. Fixit) & filling holes. Making of corners by cement mortar (of 1:4 mix) to be mixed with LW+ chemical (Dr. Fixit).
2. Providing and laying of Dr. Fixit URP admixed with cement and let it dry. Repeat second layer next day and let it dry.
3. Day 3 - Apply Davco Primer/Dr. Fixit Primer Coat and let it dry.
4. Day 4 - Apply a layer of Davco K10 Polyurethane plus/Dr. Fixit Flexi PU 270-I and let it dry. Repeat second layer next day and let it dry for next three days.
5. Day 8 - Fill the treated area with water (ponding) for next 48 hours for testing of water proofing.
6. Covering the treated area with 20-25mm (1:4) Mortar protection plaster and let it dry.
7. Apply one coat of Dr. Fixit URP admixed with cement on top of protection plaster and let it dry.
8. Next day lay block filling as per the procedure below:(150mm thk after laying pipe)
A. Area needs to be dust free before starting the laying process of AAC block.
B. Block panels are then laid on area to be raised and secured by means of binding wire (3mm thick). The panel to panel joints area secured by overlapping jointing mesh to defeat any possibility of cracks at the joints.
C. If any corner or curve is to be created in the panels, corner meshes are used to secure the joints.
9. Once all the concealed services are in place, floor to be finished with PCC (35mm thick) of (M20 1:1.5:3 concrete) mixed with LW+ chemical.
10.Davco K10 to be applied on the PCC.
11.For laying of bedding for tiles, use either Litecrete 100 chemical or cement sand mortar with LW+ chemical.