## Kitchen BOQ
Area Code | ITEM NO. | DESCRIPTION | OVERALL SIZE | QTY | Make | Model | ELECTRICAL | [5 empty] | PLUMBING / DRAINAGE | [5 empty] | LPG / PNG |  |  |  | EXHAUST CFM | REMARK
|  |  | All Dimensions in MM L x W x H |  |  |  | HP | Watts | Electrical Load In KW | Phase | Amps | Type Of Socket | Hot ( mm Ø ) | Cold ( mm Ø ) | RO ( mm Ø ) | Optimum Pressure Psi / Bar | Waste ( mm Ø ) | Tape Model Number/Make | Type of Burner | No Of Burner | Consumption Per Burner Per Hour | BTU Per Burner Per Hour
DISHWASHER ACCESSORIES
|  | Pump for Wash Cycle (Aqua Make) |  | 1 |  | AD0A00401
|  | Pump for Rinse (Aqua Make) |  | 1 |  | AD01001030B
|  | Liquid Soap – Powerkleen | 35 Litres Capacity | 1
|  | Soap – Powerinze | 35 Litres Capacity | 1
|  | Basket – Plate Racks |  | 3
|  | Basket – Cutlery Rack |  | 3
|  | Basket – Glass Rack |  | 2
|  | Extender for Glass Rack |  | 2
EXTRA | EXT - 01 | Hot Water Geyser | 35 Litres Capacity | 1 | Racold |  |  |  | 3 | 230V 1 PH | 20 | Industrial