## Sheet1
Sr. Nos. | Work description | Unit | Qty. | Rate | Amount
1 | Remove all existing damage POP sheet and Plywood above MS chanel in mezzanine floor | sqft | 3800 |  | 0
2 | Anti rust colour for MS piller mezzanine | Sq. ft | 1080 |  | 0
3 | alluminium Framing with white ACP sheet on all piller including AC back panel and below Accounts cupboard(Fixing the same after final work) | Sq. ft | 980 |  | 0
4 | Mezzanine ceiling and wall painting (Asian paint enamal white ) | Sq. ft | 1250 |  | 0
5 | Ground floor area Fixing alluminium support with white ACP sheet AC back panel of 4 cabin and reception | Sq. ft | 72 |  | 0
6 | Making new head board at mezzanine with brown fabric | Nos. | 4 |  | 0
7 | Ground floor passage area painting of all wall including scapfolding | Sq. ft | 580 |  | 0
8 | Ceiling cover with Aluminium framing and ACP in cafeteria middle passage area | Sq. ft | 36 |  | 0
9 | Making sliding window with alluminium framing in cafeteria windowwith clear glass 2 railing sliding | Sq. ft | 210 |  | 0
10 | Replacment of damaged wires with cable allignment, All electrical point fixing properly and rest area painting in cafeteria | Sq. ft | 430 |  | 0
11 | Existing caffeteria wooden door repairing jali door | L/s | 1 |  | 0
12 | New commode cover for Ashay sir toilet(Soncera) | Nos | 1 |  | 0
13 | Pedestial/ cupboard repairing and lock, Chanel fixing | Nos | 16 |  | 0
14 | New lights for entrance and office area 7 watts surface white light | Nos | 20 |  | 0
15 | New lights for caffeteria area profile light with 3 hanging lights | Nos | 10 |  | 0
16 | Installation of new MS "I" chanel 2 nos. for new water tank support along with kaddapa base | L/s | 1 |  | 0
17 | New water tank 2500 ltrs & Transportation | Nos. | 1 |  | 0
18 | Plumbing work for new water tank with require materials overall plumbing | L/s | 1 |  | 0
19 | New floor spring replacement of glass door ozone make | Nos | 8 |  | 0
20 | New door closer for gent toilet door | Nos | 1 |  | 0
21 | All wall painting in ground floor | Sq. ft | 1550 |  | 0
22 | Debries | L/s | 1 |  | 0
23 | Whie ant treatment | L/s | 1 |  | 0
Air conditioner work
Sr. Nos. | Work description | Unit | Qty. | Nova
1 | Mezzanine split AC's found pipe leak, Copper pipes and cable | Nos. | 3 |  | 0
2 | Split ac removing and re installation with gas top up of Mezzanine 7 Acs, Reception, Ashay sir, Abhishek sir, Arindham sir and Marketing AC | Nos. | 11 |  | 0