## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
INTERNAL WATER SUPPLY SYSTEM
a | Providing & fixing on walls / ceiling / floors, medium grade having embossed ISI Mark CPVC pipes of diameter as mentioned below with fittings i.e.connector, clamps, tees, elbows, reducers, male-female etc. necessary fittings. (Supreme / Prince/Astral or as approved. )
a.1 | 15mm nominal bore | RMT | 0
a.2 | 20mm nominal bore for sink+ gyser+ RO+ Basin+papsi machine | RMT | 46
a.3 | 25mm nominal bore for main water supply | RMT | 45
a.4 | 32mm nominal bore | RMT | 1
a.5 | 40mm nominal bore | RMT | 6
b | Providing & fixing of ISI Mark CPVC ball valves of followig dia pipes as mentioned below (Make - supreme/prince/astral or as approved)
b.1 | 15mm nominal bore | Nos. | 0
b.2 | 20mm nominal bore for sink+ gyser+ RO+ Basin+papsi machine | Nos. | 0
b.3 | 25mm nominal bore for main water supply | Nos. | 0
b.4 | 32mm nominal bore | Nos. | 0
b.5 | 40mm nominal bore | Nos. | 0
c | Providing & fixing on walls / ceiling / floors,C class G I C class pipe of diameter as mentioned below with screwed sockets, joints & necessary. (Supreme / Prince/Astral or as approved. )
c.1 | 25MM nominal bore | RMT | 0
c.2 | 50 MM nominal bore | RMT | 0
d | Providing, Fixing, testing and commissioning of ISI marked Gun Metal Screwed pattern full way Gate valve with wheel tested to non shock cold working pressure upto 10 kg /sq cm(Stop Valve) conforming to IS 778 class 1 including jointing, supporting etc complete and as directed.(Danfoss/Jayhiwa/Zoloto or equivalent)
d.1 | 20mm class 1.0 | Nos | 4
d.2 | 25mm class 1.0 | Nos | 4
c.3 | 32mm class 1.0 | Nos | 3
c.4 | 40mm class 1.0 | Nos | 0
c.5 | 50 mm class 1.0 | Nos | 0
e | Providing & Fixing 15 mm C.P brass angle valve with C.P copper connecting pipe 375 mm long and nuts washer and C.P brass flange complete ,including cutting and making good the walls where required | Nos | 0
f | Providing and fixing brass ball balve with SS 304 stem and ball,teflon seat complete.
f.1 | 25 mm nominal bore | Nos | 0
f.2 | 32 mm nominal bore | Nos | 0
f.3 | 40 mm nominal bore | Nos | 0
INTERNAL DRAINAGE SYSTEM
a | Providing and fixing UPVC SOIL / VENT / WASTE SWR pipe of required diameter conforming to I.S.-13592, and I.S.-4985 to withstand continous internal hydroulic pressure of 4 kg/cm2 including necessary fixtures and fittings, such as bends, tees,Clean out plugs (for the downtakes near bends). single junctions, double junctions and joining with rubber rings and lubricants, on wall by means of clips or in ground including necessary excavation, laying refilling, trench testing etc. complete. (Prior approval of sample and brand by Ex.Engineer is necessary before use.) (Supreme / Prince/Astral or as approved. )
a.1 | 32 mm dia | m | 0
a.2 | 40 mm dia | m | 14
a.3 | 50 mm dia. | m | 0
a.4 | 65mm dia | m | 0
a.5 | 75 mm dia. | m | 21
a.6 | 110 mm dia. | m | 21
a.7 | 150 mm dia. | m | 0
b | Providing ,laying, testing & commissioning of approved Multi floor trap / Nahani trap with Chilly trap of required sizes, including jointing etc. complete and as directed. (GMGR/Chilly or equivalent) | Nos. | 5
e | SITC RO Water booster pump upto 1 HP Auto Cut Type , mounting with rubber pad & nut bolt (Make Crompton Grundfoss,Danfoss ,Kirloskar or equivalent) | Nos. | 1
d | SITC RO Water booster pump 0.5 HP Auto Cut Type , mounting with rubber pad & nut bolt (Make Crompton Grundfoss,Danfoss ,Kirloskar or equivalent) |  | 0
f | Providing and fixing of PVC water vertical type storage tanks of the approved quality, including making solid work complete in all respects with gate valve, float valve and necessary accessiories .(Sintex or equivalent make of Capacity - 200-250 ltrs) | Nos | 1
g | Providing and fixing of PVC water storage tanks of the approved quality, including making solid work complete in all respects with gate valve and necessary accessiories(Sintex or equivalent make ) | Ltr | 0
EXTERNAL SEWERAGE
a | Constructing brick masonry manhole with 1st class bricks in cement mortar 1:5(1 cement:5 fine sand) RCC top slab with 1:2:4 mix (1 cement :2coarse sand:4graded stone aggregate 20mm nominal size) foundation concrete 1:4:8 mix (1 cement:4 coarse sand :8 graded stone aggregate 40mm nominal size) inside and out side plastering 12mm thick with cement mortar 1:3(1 cement :3 coarse sand) finished with a floating coat of neat cement inside and rough plaster on outside and making channels in cement concrete 1:2:4 mix(1 cement:2 coarse sand:4 graded stone aggregate 20mm nominal size) neatly finished complete as per standard design including excavation refilling and disposal of surplus earth.Inside size 80X80 cms and 60 cms deep including C.I cover with frame (light duty) 455 x 610 mm internal dimensions total weight of cover and frame not less than 38 kg(wt. Of cover 23 kg and wt.of frame15kg). | Each | 0
b | Gt (18" x18") with 1 st Class brick in cement mortar 1:5 (1 cement : 5 cement) m.s grating with pcc & SS Cover, 18" x 18" inside size complete and inside chamber base finish in PCC and brick surface to be finished with tile | Each | 1
b(i) | Providing and fixing SS open grating of size 600X300MM with MS jali inside size complete and inside chamber base finish in PCC and brick surface to be finished with tile | Each | 2
b(ii) | Providing and fixing SS open grating of size 450X300MM with MS jali inside size complete and inside chamber base finish in PCC and brick surface to be finished with tile | Each | 0
Sanitarywares & Fittings
a | Providing & Fixing following fixtures, the rate for the following shall be inclusive of all necessary fixtures, accessories & attachments to make them operational, etc. complete to the satisfaction of the Architect COST EXCLUDES INTERNAL CONCEALED PLUMBING WITH C.P.V.C. / P.V.C. PIPES ONLY (part of plumbing boq)
a.1 | Hindware - Enigma or equivalent- wall mounted closet with Quiet-Close seat and cover (Catalogue no. 92024, Colour - Star white) | No. | 0 |  | WC (Details - Refer Toilet Specs.)
a.2 | Hindware or equivalent- Conceale Cistern (Concealo) and Face Plate (Concealo - Shell) / Flushing cistern can be identify from Vendor according to WC. | No. | 0 |  | Cocealed Cistern with flush plate
a.3 | Hindware Magma -1719 Artistic Basin-510X360X120 wall hung (white) or equivalent. | No. | 0 |  | Wash Basin (Details - Refer Toilet Specs.)
a.4 | Hindware table top wash basin Fornte white 91043 or equivalent | No. | 0 |  | Wash Basin
a.5 | Toilet paper holder with cover - Hindware - (Catalogue no. F880003) or equivalent | No. | 0 |  | Toilet accessories
a.6 | Dolphy White ABS Wall Mounted 400 ml Liquid Soap Dispenser/ Dolphy – DSDR 0065 which is manual not automatic. But the alternative specs are mentioned for Automatic.- will use current only of Dolphy/censor one will be use for flagship stores only. | No. | 1 |  | Soap Dispenser Wash Basin (Details - Refer Toilet Specs.)
a.7 | Dolphy Multifold Stainless Steel Towel Paper Dispenser | No. | 1 |  | Tissue Dispenser
a.8 | Hindware - Quadra Pillar cock - (Catalogue no. F380001CP, Finish - Chrome) or equivalent | No. | 0 |  | Pillar Cock for Wash Basin
a.9 | Hindware -Quadra which is actually “Quadra Bib Cock 2 in 1 with wall flange” or equivalent | No. | 1 |  | Bib cock
a.10 | Hindware-Health Faucet F 160013 CP ABS With Rubbit Cleaning System | No. | 0 |  | Jet Spray (Health Faucet) (Details - Refer Toilet Specs.)
a.11 | Hindware-Addons - Bottle Trap 32mm With 125mm & 175mm Long Wall Connection Pipe &Wall Flange (ECONOMY MODEL) | No. | 1 |  | Bottle Trap
a.12 | Providing and fixing C.P brass wall mounted sink mixer with swinging spout including cutting and making good the walls where required. (3 way Sink ) | Each | 1 |  | Sink Mixer For 3 way Sink
a.13 | 40 mm CPVC Dia Pipe for 3 way sink for all inclusive fittings | Each | 1 |  | 40 mm Dia Pipe
a.14 | SS Kitchen Paper Holder 9" (Make : Hindware chrome F840008CP or equivalent) | Each | 1 |  | Kitchen Paper Holder
a.15 | Waste Coupling for 3Way sink and Makeline sink | No. | 1 |  | Waste Coupling
a.16 | PVC Waste flexible Pipe of 1.0m length and 25 mm dia (make :SBD/Shineman etc) | No. | 0 |  | Waste Flexible Pipe
a.17 | Conceal coak for makeline sink (Make- Hindware F310003ACP OR equivalent) Regular Body Suitable for 15mm Pipe Line with Spindle Extension & Plastic Protection Cap (without Exposed Parts) OR equivalent | NO. | 1 |  | Conceal Coak