## Sheet1
NON-PO ITEMS - 3
Sr. No. | Name of Item | Description of Item | Unit | QTY | Location | Length | Breath |  | Rate | Amount
1 | ANLGLE VOLVE | MAKE : HINDWARE | NOS | 6 |  |  |  |  | 1100 | 6600
2 | Water Meter | MAKE : KRANTI | NOS | 1 |  |  |  |  | 4250 | 4250
3 | Brass Ball Valve | MAKE : SANT | NOS | 2 |  |  |  |  | 900 | 1800
4 | Water Meter Installation |  | JOB | 1 |  |  |  |  | 1500 | 1500
5 | Cockroch Jali | SS 304 GRADE WITH INSTALLATION & FINISHING WITH GROUT i/c all COMPLETE | NOS | 6 |  |  |  |  | 1150 | 6900
6 | Connection Pipe | From Angle Volve to Equipments i/c all labour and Installation | NOS | 4 |  |  |  |  | 600 | 2400
7 | Grease Trap Fitting | Grease Trap Installation i/c all labour and fittings complete | NOS | 1 |  |  |  |  | 2000 | 2000
8 | Pressure Pump | Pressure Pump Crompton Make with 0.5 hp Motar (Booster Pump) i/c all | NOS | 1 |  |  |  |  | 18000 | 18000
9 | Pressure Pump Fitting | with all necessary fitting (Elbow,Union,PVC Pipe,Tee, Brass Connector) of needed sizes | NOS | 1 |  |  |  |  | 4200 | 4200
10 | Water Tank 100 Ltr | supply & installation of 100 liter water storage tank above loft | NOS | 1 |  |  |  |  | 5000 | 5000
11 | Manager Cable | supply & installation of manager cable i/c all necessary cutting & fixing | NOS | 6 |  |  |  |  | 200 | 1200
12 | Manager Table | Providing and fixing of manager table of size 1200x750x600 with keyboard holder and shutter as per drawing finished with approved colour laminate as per engineer incharge | NOS | 1 |  |  |  |  | 18500 | 18500
13 | Over Head Cabinet | Providing and fixing of manager table of size 1200x700 with approved laminate and shutter as per drawing finished as per engineer incharge | NOS | 1 |  |  |  |  | 15500 | 15500
14 | Flap Door | Providing and fixing of Flap Door 19mm thik Front Side laminate finish with Haring Bone Pattern Back Side Colour Laminate with Tower bolt, Buffer, necessary hinges all complete | NOS | 1 |  |  |  |  | 7000 | 7000
15 | Buffer | Providing and Fixing of Buffers of required sizes behind the equipments | NOS | 6 |  |  |  |  | 50 | 300
16 | Electrical Meter | Providing and Fixing Electric Meter of approved Brand as per airport | NOS | 1 |  |  |  |  | 26000 | 26000
17 | Sink Installation |  | NOS | 1 |  |  |  |  | 1000 | 1000
18 | Sink Jali Installation |  | NOS | 1 |  |  |  |  | 300 | 300
19 | Sink Over Head Cabinet Installation |  | NOS | 1 |  |  |  |  | 1000 | 1000
20 | Makeline Installation |  | NOS | 2 |  |  |  |  | 300 | 600
21 | Tray Installation |  | NOS | 1 |  |  |  |  | 300 | 300
22 | Sink Near Cold Room |  | NOS | 1 |  |  |  |  | 1500 | 1500
23 | CPVC Union | MAKE : SUPREME | NOS | 3 |  |  |  |  | 320 | 960
24 | DMB Switch Socket | Providing and Fixing of 6 way Plate with 2 Socket 2 Switch With Installation complete | NOS | 2 |  |  |  |  | 800 | 1600
25 | Airport Networking | Providing and Fixing Cat-6A Cable for Airport CCTV, POS & Data Points (Approx 20 Meter Each length) @ 70 per meter | Pt | 6 |  |  |  |  | 1000 | 6000
26 | Signages Point | Providing and Fixing Electrical Points For Signages (16 Meter 2.5 Sqmm 3 Wires ) | Pt | 4 |  |  |  |  | 2500 | 10000
27 | Cold Room Corner Cover | Providing and Fixing Corner Joints of Cold Room Existing wall | NOS | 2 |  |  |  |  | 2100 | 4200
28 | Ceilling Trap Door | Providing and Fixing Ceilling Trap Door for Excecing AHU and Cold Room Top | NOS | 3 |  |  |  |  | 400 | 1200
29 | Industrial Socket 32 Amp |  | NOS | 4 |  |  |  |  | 900 | 3600
30 | 4Cx6mm FRLS Cable 100 Meter | Supply of 4Cx6mm FRLS Cable | Bundle | 2 |  |  |  |  | 42500 | 85000
31 | MCB GI Box |  | NOS | 2 |  |  |  |  | 1200 | 2400
32 | 32 Amp 4 Pole MCCB |  | NOS | 2 |  |  |  |  | 3400 | 6800
33 | 6 Amp 3 Pin Top |  | NOS | 4 |  |  |  |  | 250 | 1000
34 | False Ceiling | Providing and Fixing in position suspended type 8 mm Bison Board False Ceiling with required M.S frame (40x40 mm ,18 gauge with 1 coat of primer & 2 or more coat of paint until achieved smooth finish as per drawing) work/ fixing arrangement of 2'x2' c/c and accessories, including groove joint filler, tapes, cut out for lights, & fixing for cove/ pelmet / box of approved size with necessary M.S. brackets / supports for light fittings / A.C. grills / Blinds, cleaning etc. complete as per detail drawing, as specified and as directed by Site Engineer. | Sqft | 516 | Kitchen+Cold Store | 16.7 | 25.8 | 430.86 | 455
[5 empty] | BOH | 14.6 | 6.8 | 99.28
|  | Rework of Above Item | Sqft | 40 | BOH |  |  | 40
[6 empty] | Total |  | 570.14 |  | 259413.7
35 | Painting - Asain coal mine 8301 (Ceiling) | Providing and applying Plastic Emulsion Paint on Ceiling of approved make & shade filling the dents with approved Acrylic putty gypsum / or approved crack filler, binder, cleaning and making the surface dust free, preparing surfaces, applying a coat of sealer or primer as per the manufacturers specifications, applying two under coats and one finished coat of paint to achieve the required finish including scrapping the existing paint, scaffolding, cleaning etc. complete as per detail drawing, as specified and as directed by Engineer-in-charge. | Sqft | 516 | Qty As in Item No 34 |  |  | 570.14 | 70
|  | Rework of Above Item | Sqft | 516 |  |  |  | 530.14
[6 empty] | Total |  | 1100.28 |  | 77019.6
36 |  | REMOVAL OF GYPSUM PARTITION BOARD IN THE EXISTING STRUCTURE | Sqft | 100 |  |  |  |  | 80 | 8000
37 |  | SHERA BOARD PANNELLING ABOVE FRAME STRUCTURE MADE OF MS WORK | Sqft | 100 |  |  |  |  | 455 | 45500
[8 empty] | Total |  | 638543.3