## Summary Sheet
Comparative Statement 3rd Wave + Wrapafella
S.NO | Description | Vsas Group- Shubham Singh | Thinking Beyond- Reena vashist | Blue Print- Md. Shakir | Picture Perefect- Pawan Sharma
|  | 9582408654 | 9717595665 | 9891400780 | 8097344059
|  | R-2 (21-12-23) | R-1 (21-12-23) | R-1 (21-12-23) | R-0
1 | Civil | 3803200 | 5763074 | 4580245 | 6672760
2 | Electrical | 509090 | 1182477 | 932735
3 | PHE | 140025 | 291209 | 601970
4 | Fire Alarm | 78900 | 132940 | 91700
5 | Music System | 55700 | 75600 | 77450
6 | CCTV | 98900 | 235950 | 154660
Total Amount Rs |  | 4685815 | 7681250 | 6438760 | 6672760
5529261.7

## BOQ-Civil
FOOD SERVICES |  |  |  |  | DATE- 24-11-2023
BOQ FOR 3RD WAVE COFFEE & WRAPAFELLA, LUCKNOW- QSR FORMAT
[10 empty] | Vsas GroupR-2 (21-12-23) |  | Picture Perefect |  | Thinking Beyond R-1 (21-12-23) |  | Blue Print R-1 (21-12-23)
SR. NO. | WBS LEVEL 2 | SHORT ITEM DESCRIPTION | LONG ITEM DESCRIPTION | DIMENSIONS | UOM | QTY. | TOTAL RATE | AMOUNT | BASIC RATE | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | REMARK/SUGGESTION
1 | Chemical Waterproofing | MAIN floor | P&A Waterproofing on mother slabs/ granite & wall till 1000mm height, with 4 coats of chemical (Zypex or Equivalent chemical to be used) treatment on the mother slab, before doing the treatment mother slab needs to clean properly up to the mark & dust free surface needs to achieve to apply the chemical (proof bond /BASF, Dr. Fixit / Equivalent make) & chemical needs to dry properly, After all there should be a water pond testing to be done for water tightness & rectifications of defects if any. Complete with 10 years performance guarantee with client's satisfaction. Entire process to be done under guideline & supervision of appointed engineering team. | N.A | Sqft | 1200 |  |  |  | 55 | 66000 | 175 | 210000 | 55 | 66000 | 120 | 144000
2 | False Flooring | Base plateform to run the services | Providing and supplying fixing false flooring with steel frame height upto FFH-150mm - 200mm.of grid size 600mm x 600mm to hold cement board sheet (excluding) and tile Including all hardware fixture corner caps, verticals to fix the skirting, welding work, loading/ unloading, cutting, chamfering, rounding, required hardware, adhesives all including as per PMC/ Architect approval. |  | Sqft | 600 |  |  |  | 121 | 72600 | 550 | 330000 | 185 | 111000 | 140 | 84000 | LKO_CHI_3WC & WRP_D-02_GFC_R1_FLOORING LAYOUT
3 | Cement/ bison board | Cement/ bison board on top of flase flooring paltform | Providing and fixing of 25-30mm cement/ bison board sheet on top of steel plateform to recieve heavy duty tiles. Rate to include, cutting, cleaning of joints, finishing junction, skirting backing, adhesive, hardware Complete in all aspect as per as per PMC/ Architect approval. |  | Sqft | 600 |  |  |  | 130 | 78000 | 175 | 105000 | 180 | 108000 | 220 | 132000
4 | VITRIFIED TILES Flooring | Heavy duty tiles on top of bison board | Providing & Laying pre-polished 1st quality full body heavy ducy 10-15mm VITRIFIED TILES (water absorption less than 0.08%; confirming to IS 15622) flooring of any size , laid to pattern & design, with paper thin joint, set over cement mortar in 1 : 4 proportion & mortar bedding with thick grey cement slurry complete with filling up of the joints in colour pigments etc. All complete as per instructions & satisfaction of Architect / Client. The rate shall be including laying of 12mm thk P.O.P. on floor to protect the floor tiles by using 6 micron single PVC sheet.Cost to include 3 x 10mm Stain free epoxy grout of Bal / Laticrete make. ¦ Kajaria / Somany / Johnson make | Tile size - 600x 300mm | Sqft | 600 |  |  | BASIC RATE OF TILE - 120/- SQFT | 180 | 108000 | 287 | 172200 | 230 | 138000 | 130 | 78000 | COLUR :STEEL GREY BRAND : RESTILE CODE- GRANAMITE SIZE: 600 X 300 X 9MM (FULL BODY) LKO_CHI_3WC & WRP_D-02_GFC_R1_FLOORING LAYOUT
|  | Wooden pvc tile in dining area | Providing & Fixing 6-8 mm thk. click & lock wooden finished pvc tiles interlocking at joints without grouts with pvc/ ss band to keep the flooring intact in place. | Tile size - 225x 1220mm | Sqft | 1000 |  |  | BASIC RATE OF TILE - 200/- SQFT | 180 | 180000 | 375 | 375000 | 290 | 290000 | 320 | 320000 | COLOUR : ICED OAK BRAND :WELSPUN CODE- CLICK & LOCK TILES SIZE: 225 X 1220 MM LKO_CHI_3WC & WRP_D-02_GFC_R1_FLOORING LAYOUT
5 | Frame Work/ support structure | Main MS structure to support ceiling | P/F MS framework of various section sizes finished with approved shade of powder coating with all necessary hardware with base plate/ self standing support from the floor. the cost include welding, grinding, chemfuring, grounding on the floor till RCC slab level, anchor fastner, required hardware, repair work of damage flooring, cleaning. etc complete | [7 empty] | 0 | [5 empty] | 0
|  | a | 75X50mm MS box section (main vertical support) |  | RFT | 164 |  |  |  | 700 | 114800 | 275 | 45100 | 300 | 49200 | 305 | 50020
|  | b | 50X50mm MS box section (main horizontal frame) |  | RFT | 330 |  |  |  | 275 | 90750 | 225 | 74250 | 250 | 82500 | 205 | 67650
6 | Loading unloading |  | Loading unloading- All material shifting & loading, unloading |  | JOB | 1 |  |  |  | 10000 | 10000 | 35000 | 35000 |  | 0 | 75000 | 75000
7 | Parametric structure | 25mm thk birch plywood rafter from floor to ceiling | Providing and fixing of 25mm thk birch ply lasercut in specific pattern with interlocking provision having supports from MS framework finished with PU polish with color pigment as per specification/ approved shade.Rate to include corner clips, hardware to support the framework cutting, cleaning of joints, finishing junction, suspended kit, adhesive Complete in all aspect as per as per PMC/ Architect approval. | Plank size 600mm wide | Sq ft | 3200 |  |  |  | 340 | 1088000 | 775 | 2480000 | 690 | 2208000 | 400 | 1280000 | LKO_CHI_3WC & WRP_D-02_GFC_R0_CEILING LAYOUT LKO_CHI_3WC & WRP_D-02_GFC_R2_CEILING STRUCTURE DETAIL
8 | Plywood partition | 75mm thk plywood partition behind the counter | Providing, making and fixing of 18 thk plywood partition having 25mm x 40mm aluminium framework @ 600mm c/c in vertical and horizontal direction with all necessary required framing. plywood partition to be finished with approved veneer on both side with PU polish. The partition bottom to have 200 x 200 mm plywood boxing for drain pipe finished with veneer on top & 150 mm ss skirting all aroung.Cost including grooved/ pattern as per approved design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | Sq ft | 380 |  |  |  | 950 | 361000 | 750 | 285000 | 1140 | 433200 | 600 | 228000 | LKO_CHI_3WC & WRP_D-02_GFC_R3_BACK PANEL DETAIL
9 | Existing column Ply Boxing | 12mm thk plywood boxing to hide existing MS column | Providing, making and fixing of 12mm thk plywood boxing to be finished with approved veneer on both side with PU polish cost including grooved/ pattern as per approved design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | Sq ft | 380 |  |  |  | 380 | 144400 | 650 | 247000 | 1285 | 488300 | 450 | 171000 | LKO_CHI_3WC & WRP_D-02_GFC_R2_ELEVATIONS
10 | Wall/ partition tile dry cladding | handmade subway Tiles Size 100 x 200 WRAPAFELLA | Providing and fixing handmade subway Tiles dry Cladding / Dado as per approved shade, size and pattern on dry partition as per specific pattern as approved by PMC/ architect. the cost include required chemical/ adhesive, epoxy grouted with app. shade (Sal Grout), Tile cutting, cleaning of joints, finishing junction of plaster, curing etc. Complete and as per drawing. | Tile size - 100 x 200mm | Sqft | 60 |  |  | BASIC RATE OF TILE - 280/- SQFT | 130 | 7800 | 473 | 28380 | 410 | 24600 | 390 | 23400
|  | handmade subway Tiles Size 100 x 200 3RD WAVE COFFEE | Providing and fixing handmade subway Tiles dry Cladding / Dado as per approved shade, size and pattern on dry partition as per specific pattern as approved by PMC/ architect. the cost include required chemical/ adhesive, epoxy grouted with app. shade (Sal Grout), Tile cutting, cleaning of joints, finishing junction of plaster, curing etc. Complete and as per drawing. | Tile size - 100 x 200mm | Sqft | 60 |  |  | BASIC RATE OF TILE - 280/- SQFT | 130 | 7800 | 473 | 28380 | 410 | 24600 | 390 | 23400
11 | Sada/ basic tile dry cladding | Sada/ basic tile dry cladding behind the counter/ inside/ BOH area | Providing and fixing 600 x 600mm sada/ basic Tiles dry Cladding / Dado as per approved shade, size and pattern on dry partition as per specific pattern as approved by PMC/ architect. the cost include required chemical/ adhesive, epoxy grouted with app. shade (Sal Grout), Tile cutting, cleaning of joints, finishing junction of plaster, curing etc. Complete and as per drawing. | Tile size - 600 x 600mm | Sqft | 120 |  |  | BASIC RATE TILE - 45/- SQFT | 120 | 14400 | 175 | 21000 | 142 | 17040 | 150 | 18000
12 | Flutted veneer paneling | 12mm thk flutted veneer panelling on plywood | Providing, making and fixing of 12mm thk fluted veneer paneling on existing plywood finished with PU polish include all necessary required framing. the cost including grooved/ pattern as per approved design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | Sq ft | 380 |  |  | BASIC RATE FLUTTED VENEER - 400/- SQFT | 540 | 205200 | 870 | 330600 | 885 | 336300 | 625 | 237500
13 | Tv Boxing | Plywood boxing for Led TV | Providing, making and fixing of 150mm deep plywood boxing with 18mm thk plywood having 25mm x 25 mm aluminium framework @ 600mm c/c in vertical and horizontal direction with all necessary required framing. the boxing to be finished with approved veneer on all visible side with PU polish. cost including grooved/ pattern as per approved design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. | 2400mm L X 300mm H X 150mm D & 1750mmL X 300mmH X 150mmD | Sq ft | 30 |  |  | BASIC RATE OF PLAIN VENEER - 150/- SQFT | 700 | 21000 | 950 | 28500 | 1285 | 38550 | 350 | 10500 | LKO_CHI_3WC & WRP_D-02_GFC_R3_BACK PANEL DETAIL
13 | SS decorating Railing | Steel railing with SS laser cut sheet and toughned glass | Providing, making and fixing of railing made of 25 x 50mm MS PVD coated box section main vertical and horizontal support at every 800mm c/c interval having top handrail with similar section fixed on floor/ self supporting structure. the railing to have 2-3mm thk SS LASER cut sheet in specific pattern & PVD coated and fixed on the main member. all the vertical member should have 12mm thk toughnned glass inbetween including patch fitting. all the metal member to be finished in approved champaion pvd coating. rate including all necessary required groove, framing, hardware, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc all complete. | 1000mm height | RFT | 115 |  |  |  | 2000 | 230000 | 3625 | 416875 | 2350 | 270250 | 2745 | 315675 | LKO_CHI_3WC & WRP_D-02_GFC_R0_RAILING DETAIL
14 | Glass partition/ screen | Flutted glass partition having MS framework | Providing, making and fixing of flutted glass partition of 20 x 50 MS box section main vertical and horizontal support as per design fixed on floor/ self supporting structure. the railing to have 6mm thk flutted glass in specific pattern and fixed on the main member with 10-15mm bidding patti including patch fitting. All the metal member to be finished in approved Black PVD coating. Rate including all necessary required groove, framing, hardware, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc all complete. | 2800L x 3000mm H | Sq ft | 95 |  |  |  | 700 | 66500 | 950 | 90250 | 1850 | 175750 | 850 | 80750 | LKO_CHI_3WC & WRP_D-02_GFC_R1_SCREEN PARTITION DETAIL
15 | Low height Plywood partition | 75mm thk plywood low height partition near railing of 3RD WAVE COFFEE | Providing, making and fixing of 12mm thk plywood partition having 25mm x 40mm aluminium framework @ 600mm c/c in vertical and horizontal direction with all necessary required framing. plywood partition to be finished with approved veneer on both side with PU polish cost including grooved/ pattern as per approved design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | Sq ft | 25 |  |  |  | 600 | 15000 | 750 | 18750 | 1140 | 28500 | 800 | 20000 | LKO_CHI_3WC & WRP_D-02_GFC_R1_SIGNAGE DETAIL 1
|  | 75mm thk plywood low height partition near railing of WRAPAFELLA | Providing, making and fixing of 12mm thk plywood partition having 25mm x 40mm aluminium framework @ 600mm c/c in vertical and horizontal direction with all necessary required framing. plywood partition to be finished with approved 12mm corian on both side. cost including grooved/ pattern as per approved design, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc. all complete. |  | Sq ft | 25 |  |  |  | 1050 | 26250 | 750 | 18750 | 2180 | 54500 | 1850 | 46250 | LKO_CHI_3WC & WRP_D-02_GFC_R1_SIGNAGE DETAIL 2
16 | Back counter | 750mm deep back counter unit madeup of plywood and veneer for 3RD WAVE COFFEE | Providing and fixing of 750mm deep back service unit/ plateform to be made of 18 thk marine plywood, having 12mm thk corian top finished and 150mm high Veneer back splash including all nessasry vertical supports. The storages under the platforms should be provided with a horizontal shelf and openable shutters made out of 20mm thk. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 150mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. cost to include counter cutting to fit the double sink unit and repairing cleaning and finishing of the area. | 5065mm L X 1100mm H X 750mm D | RFT | 13 |  |  | BASIC RATE OF VENEER - 450/- SQFT | 7500 | 97500 | 14875 | 193375 | Base rate of Veneer- 120 rs sqft | 79200 | 12850 | 167050 | LKO_CHI_3WC & WRP_D-02_GFC_R3_BACK COUNTER DETAIL
17 | Back counter | 750mm deep back unit (EP/DB/UPD) madeup of plywood and veneer for 3RD WAVE COFFE | Providing and fixing of 750mm deep back storages to be made of 18mm thk. marine plywood with a horizontal shelf and openable shutters. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 150mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. | 1400MM L X 2685MM H X 750MM D | NOS. | 1 |  |  |  | 90000 | 90000 | 14875 | 14875 | 52300 | 52300 | 85000 | 85000 | LKO_CHI_3WC & WRP_D-02_GFC_R3_BACK COUNTER DETAIL
| Back counter | 750mm deep back counter unit madeup of plywood and veneer for WRAPAFELLA | Providing and fixing of 750mm deep back service unit/ plateform to be made of 18 thk marine plywood, having 12mm thk corian top finished and 150mm high veneer finished back splash including all nessasry vertical supoorts. The storages under the platforms should be provided with a horizontal shelf and openable shutters made out of 18mm thk. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 100mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. cost to include counter cutting to fit the double sink unit and repairing cleaning and finishing of the area. | 4290L X 1100MM H X 750MM D | RFT | 15 |  |  | BASIC RATE OF CORIAN - 450/- SQFT | 7500 | 112500 | 14875 | 223125 | BASIC RATE OF CORIAN - 450/- SQFT | 102750 | 10980 | 164700 | LKO_CHI_3WC & WRP_D-02_GFC_R2_BACK COUNTER DETAIL
17 | Front counter of 3RD WAVE COFFEE | 950mm deep counter unit madeup of plywood and flutted veneer and corion top | Providing and fixing of 950mm deep service unit/ plateform to be made of 18 thk marine plywood, having 12mm thk corian top finished and front appron to be finished with 12mm thk flutted veneer finished with green colored polish from outside (customer visible side) and having 150mm high pvd coated SS skirting including all nessasry vertical supoorts. The storages under the platforms should be provided with a horizontal shelf and openable shutters made out of 18mm thk. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 150mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. cost to include counter cutting to fit the double sink unit and repairing cleaning and finishing of the area. | 5065mm L X 1100mm H X 950mm D | RFT | 10 |  |  | BASIC RATE OF CORIAN - 450/- SQFT | 11500 | 115000 | 16625 | 166250 | BASIC RATE OF CORIAN - 450/- SQFT | 68240 | 13500 | 135000 | LKO_CHI_3WC & WRP_D-02_GFC_R3_FRONT COUNTER DETAIL
|  | 600mm deep counter unit madeup of plywood, corian and veneer with corion top | Providing and fixing of 600mm deep back service unit/ plateform to be made of 18 thk marine plywood, having 12mm thk corian top finished front appron to be finished with 12mm thk flutted veneer finished with green colored polish and corian from outside (customer visible side)) and having 150mm high pvd coated SS skirting side including all nessasry vertical supoorts. The storages under the platforms should be provided with a horizontal shelf and openable shutters made out of 18mm thk. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 150mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. cost to include counter cutting to fit the double sink unit and repairing cleaning and finishing of the area. | 2800L X 1100MM H X 600 MM DEEP | RFT | 9 |  |  | BASIC RATE OF CORIAN - 450/- SQFT | 9900 | 89100 | 13125 | 118125 | BASIC RATE OF CORIAN - 450/- SQFT | 65115 | 14500 | 130500 | LKO_CHI_3WC & WRP_D-02_GFC_R3_FRONT COUNTER DETAIL
18 | Wicket Door | Making of 75mm thk low height wicket door | Providing and fixing 750mm X 1100 mm x 75mm thk wicket door made of 18 thk fire retardent plywood and finished with corian on top and front to be finished with flutted veneer and finished with green colored polish and back to be finished with laminate. All complete including necessary hardwares, heavy duty spring hinges, handles, locks etc. | 750L X 1100MM H | no | 1 |  |  |  | 10000 | 10000 | 13950 | 13950 | 19800 | 19800 | 9750 | 9750 | LKO_CHI_3WC & WRP_D-02_GFC_R2_ELEVATION
19 | Front counter of Wrapafella | 900mm deep counter unit madeup of plywood and flutted veneer and corion top | Providing and fixing of 900mm deep service unit/ plateform to be made of 18 thk marine plywood, having 12mm thk corian top finished and front appron to be finished with 12mm thk flutted veneer finished with melamine polish from outside (customer visible side) and having 150mm high pvd coated SS skirting including all nessasry vertical supoorts. The storages under the platforms should be provided with a horizontal shelf and openable shutters made out of 18mm thk. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 100mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. cost to include counter cutting to fit the double sink unit and repairing cleaning and finishing of the area. | 4290mm L X 1100mm H X 950mm D | RFT | 14 |  |  |  | 9900 | 138600 | 16625 | 232750 | 7235 | 101290 | 16500 | 231000 | LKO_CHI_3WC & WRP_D-02_GFC_R2_FRONT COUNTER DETAIL
|  | 600mm deep counter unit madeup of plywood and flutted veneer and corion top | Providing and fixing of 600mm deep back service unit/ plateform to be made of 18 thk marine plywood, having 12mm thk corian top finished front appron to be finished with 12mm thk MDF finished with PU paint from outside (customer visible side) and having 150mm high pvd coated SS skirting including all nessasry vertical supoorts. The storages under the platforms should be provided with a horizontal shelf and openable shutters made out of 18mm thk. plywood and outer side to be finished in veneer and inter side finished in 1mm thk. laminate. the unit tot have 100mm SS skiritng all around. The shutters to be provided with fittings such as hinges; handles; ball catch etc. complete in all respect as per design and details. cost to include counter cutting to fit the double sink unit and repairing cleaning and finishing of the area. | 2800L X 1100MM H X 600 MM D | RFT | 9 |  |  |  | 12000 | 108000 | 16625 | 149625 | 7235 | 65115 | 14500 | 130500 | LKO_CHI_3WC & WRP_D-02_GFC_R2_FRONT COUNTER DETAIL
20 | Wicket Door | Making of 75mm thk low height wicket door | Providing and fixing 750mm X 1100 mm x 75mm thk wicket door made of 18 thk fire retardent plywood and finished with corian on top and front to be finished with flutted veneer and finished with melamine polish and back to be finished with laminate. All complete including necessary hardwares, heavy duty spring hinges, handles, locks etc. | 750mm L X 1100mm H | no | 1 |  |  |  | 10000 | 10000 | 13950 | 13950 | 19800 | 19800 | 9750 | 9750 | LKO_CHI_3WC & WRP_D-02_GFC_R2_ELEVATION
21 | Foot rail/ guard rail | SS Guard rail for counters | Providing and fixing of 35mm Dia SS pipe Foot rest/ rail guard finished with brass antique brushed coating to be fix on floor with required vertical support as per drawing. Rate including all nessasary hardware fixture, adherive, cutting, chamfing, rounding, end cape all complete in all respect. |  | RFT | 60 |  |  |  | 550 | 33000 | 1950 | 117000 | 2240 | 134400 | 750 | 45000 | LKO_CHI_3WC & WRP_D-02_GFC_R2_ELEVATION
| over head Sheleving box of 3RD WAVE COFFEE | 250mm Deep plywood planter box | Providing and fixing of 300mm deep overhead box made out 18mm thk. marine plywood with a horizontal shelf finished to | 480mm L x 425mm H x 300mm D | no. | 1 |  |  |  | 8000 | 8000 | 4800 | 4800 | 5500 | 5500 | 2250 | 2250
23 | Plywood planter box | 250mm Deep plywood planter box | Providing, making and fixing of 200mm deep bxoes made out of 20 x 20mm MS box section main support having 250mm deep 12mm thk plywood box finished with approved veneer and PU polish. All the metal member to be finished in approved champaion pvd coating. rate including all necessary required groove, framing, hardware, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc all complete. | 600mm L x 300mm H x 200mm D | no | 8 |  |  |  | 3500 | 28000 | 6500 | 52000 | 10800 | 86400 | 4950 | 39600 | LKO_CHI_3WC & WRP_D-02_GFC_R2_ELEVATION
24 | Implus buy display | plywood impluse buy 3 level unit | Providing, making and fixing of 350mm deep impluse buy unit made out of 18mm thk plywood finished with veneer and melamine polish. rate including all necessary required groove, framing, hardware, approved make adhesive and fasteners, cutting/ chamfering/ groove/rounding wherever required, at all height with lead and lift, finishing, cleaning as per design and drawing etc all complete. | 1000mm L X 350MM DEEP AND 600MM HEIGHT | no | 2 |  |  |  | 28000 | 56000 | 16450 | 32900 | 9437 | 18874 | 12500 | 25000
|  | GRAND TOTAL | [8 empty] | 3803200 |  | 6672760 |  | 5763074 |  | 4580245
BOQ NOTES The Mode of Measurement (in order of priority) is as follows: (i) As defined in relevant item in the BOQ (ii) As defined in the specification (iii) As defined in IS-1200 (latest version) for relevant trade. (iv) if mode is not defined in (i), (ii) and (iii), the standard industry practice shall be adopted. GENERAL NOTES Please refer to "Exhibit A - Basic rate of material" for the applicable base rates of materials Items of works shall to be read in conjunction with Drawings, Specifications, Contractual terms and conditions and Trade Preambles to this BOQ as included in the RFP. The quantities mentioned in the BOQ is tentative and may increase or decrease. Payment shall be restricted to the quantum of work executed and measured as per the defined mode of measurement. Items of work and trade preambles are essential parts of the bill of quantities and are to be taken as mutually explanatory of one another. Requirement occurring in one is binding as though occurring in both. In resolving conflicts, discrepancies, errors or omissions as regards trade preambles & bill of quantities the following order of precedence shall be used but subject to PRIORITY OF DOCUMENTS as included in General Conditions of Contract: a. General Notes as included in this bill of quantities. b. Trade Preambles as included in RFP. c. Item Description as included in this bill of quantities.

## ELE BOQ
THIRD WAVE & WRPAFELLA @ LUCKNOW
ELECTRICAL BOQ
DATE : 29.11.2023_R03
[6 empty] | Vsas Group R-2 |  | Picture Perefect |  | Thinking Beyond R-1 (21-12-23) |  | Blue Print R-1 (21-12-23)
SR. No | DESCRIPTION | THIRD WAVE | WRPAFELLA | TOTAL QTY. | UNIT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT
I | PANEL & SWITCHGEAR
1 | Supply, installation, testing & commissioning of free standing, floor mounting compartmentalized panels fabricated out of CRCA sheet steel sections after carrying out 7 tank cleaning process and duly powder coated using Siemens Grey Shade No. RAL 7032. The frame structure, doors and gland plates shall have 2.0 mm thick sheets and partitions shall be with 1.6 mm thick CRCA sheet. Base channel size 75 x 40 x 6 mm of ISMC shall be provided. The panel shall be dust and vermin proof with neoprene gasket. The doors shall be provided with concealed hinges and with brazing wherever required to avoid deformation and shall be earthed. The bus bar shall be of tinned Copper with epoxy supports and shall be insulated with colour coded heat shrink sleeves. The control wiring min. 2,5 Sq.mm shall be ZHLS type. The Panel shall be provided with CTs, phase indication lamps, meters, relays and all switchgear, etc. as per the SLD. The panel shall be complete in all aspects as per the final approval of the Consultant. All componants for Switchgears shall be L&T/Legrand
0
a | Providing & installing MAIN LT PANEL as per SLD: | 1 |  | RO | Set | 320000 | [5 empty] | 65000
[7 empty] | 0 |  | 0 |  |  |  | 0
2 | Supply, installation, testing & commissioning of Switchgears.(Standard Product) | [5 empty] | 0 |  | 0 |  |  |  | 0
[7 empty] | 0 |  | 0 |  |  |  | 0
a | Supply,Installation,Testing and Commissioning of 40 Amps,4Pole MCB with ELCB at 300mAh for HVAC Outdoor Isolation all complete with mounting accessories |  |  | RO | Nos.
b | Supply,Installation,Testing and Commissioning of 32 Amps,4Pole MCB for HVAC Outdoor Isolation all complete with mounting accessories. |  |  | RO | Nos.
c | Supply,Installation,Testing and Commissioning of 20 Amps, DP, MCB for UPS/INVERTER Isolation all complete with mounting accessories for UPS. | 1 | 1 | 2 | Nos. | 1300 | 2600 |  | 0 | 1200 | 2400 | 1350 | 2700
d | Supply & installation of DOL starter L&T/Siemens/Legrand for 3 kW load |  |  | RO | Nos.
e | Supply & installation of DOL starter L&T/Siemens/Legrand for 4 kW load |  |  | RO | Nos.
f | Supply & installation of Star Delta starter as per Type-2 Coordination for 3 kW (4HP) load with on / off / trip indication Lamp, on off push button, & phase indication Lamp .(For Exhaust air fan)(EXISTING UNIT PROVIDED BY MALL) |  |  | RO | Nos.
g | Supply & installation of Star Delta starter as per Type-2 Coordination for 9.3 kW (12.5HP) load with on / off / trip indication Lamp, on off push button, & phase indication Lamp .(For Exhaust air fan) |  |  | RO | Nos.
h | Supply & installation of Star delta starter as per Type-2 Coordination for 5.5 kW (7.5HP) load with on / off / trip indication Lamp, on off push button, & phase indication Lamp .(For Fresh air fan) |  |  | RO | Nos.
i | Supply & installation of DOL starter as per Type-2 Coordination for 2.2 kW (3.0HP) load with on / off / trip indication Lamp, on off push button, & phase indication Lamp .(For AHU) |  |  | RO | Nos.
j | Supply & installation of DOL starter as per Type-2 Coordination for 1.5 kW (2.0HP) pump load with on / off / trip indication Lamp, on off push button, & phase indication Lamp .(For Scrubber) |  |  | RO | Nos.
k | 80 amps 4P ELMCB 300mA with 63A 5 Pin Ray Roll Socket complete with all mounting accessories – for Indoor Legrand make model No. 6078 80 |  |  | RO | Nos.
l | 63 amps 4P ELMCB 300mA with 63A 5 Pin Ray Roll Socket complete with all mounting accessories – for Indoor Legrand make model No. 6078 80 |  |  | RO | Nos.
m | 40 amps 4P MCB with 40A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make model No. 6078 80 | 2 |  | 2 | Nos. | 3000 | 6000 |  | 0 | 17752 | 35504 | 3725 | 7450
n | 25 amps 4P MCB with 25A 5 Pin Ray Roll Socket complete with all mounting accessories – for Kitchen Legrand make model No. 6078 80 |  |  | RO | Nos.
o | 25A Rey roll socket complete with 25 amps SPMCB with 3 pin metal clad socket - Legrand make Model No. 6078 41 |  |  | RO | Nos.
p | 20A Rey roll socket complete with 32 amps DPMCB with 3 pin metal clad socket - Legrand make Model No. 6078 41 | 4 | 2 | 6 | Nos. | 2800 | 16800 |  | 0 | 3213 | 19278 | 3500 | 21000
q | 5/15A Rey roll socket complete with 15 amps SPMCB with 3 pin metal clad socket - Legrand make Model No. 6078 41 | 3 |  | 3 | Nos. | 2500 | 7500 |  | 0 | 2677 | 8031 | 3000 | 9000
r | Set of 1no 25A Metal clad Socket with MCB, and 2nos 6/16A Switch sockets housed in Fabricated SS Panel suitable for hanging arrangement for Kitchen equipments. |  |  | RO | Nos.
q | 5/15A Swicth socket complete (IP-65) for Kitchen | 14 | 19 | 33 | Nos. | 500 | 16500 |  | 0 | 250 | 8250 | 1750 | 57750
3 | SITC of Standalone Gas leak detector with inbuilt sounder for Kitchen |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR MAIN PANEL & SWITCHGEAR | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
II | INVERTER / UPS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
1 | Supply, Installation, testing and commissioning of 1.5 KVA UPS System Single Phase I/C & Single Phase O/G complete with 30 Minutes Battery Back-up the required accessories as specified in the drawings & the specifications. | 1 | 1 | 2 | Nos | 18000 | 36000 |  | 0 | 60000 | 120000 | 38500 | 77000
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR UPS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
III' | DISTRIBUTION BOARDS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Supply, installation, testing & commissioning of Distribution Boards surface / flush mounted with Double door containing MCB/ELMCB as incomer and SPMCB as outgoing. All MCBs are of 10KA breaking capacity and ELMCBs/RCCB should be of 30mA/100 mA sensivity. The DB shall have appropriate no. of top and bottom knock outs for outgoing circuits and shall be complete with necessary busbars, interconnection terminals and earth studs. All terminations in DB shall be complete with ferulling, dressing and all circuits shall be properly labeled with PVC strip (sticker type) having identification as per the final approval of Consultant. For UPS DB MCB shall be 'D' type and other MCBs shall be 'C' category for lighting and raw power DB LEGRAND/L&T | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
1 | Lighting Distribution Board - LPDB |  |  | RO | Nos.
| 12 WAY TPN DB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| I/C- 1 # 40A FP MCB , 16KA | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| SUB I/C - 3 # 25A DP RCCB 30mA per phase | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| O/G - 30 # 10/20A SP MCB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
2 | LIGHTING Power Distribution Board - LPDB | 1 | 1 | 2 | Nos. | 12500 | 25000 |  | 0 | 26400 | 52800 | 28500 | 57000
| 8 WAY TPN DB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| I/C- 1 #40 A FP MCB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| SUB I/C- 3#25 DP ELCB 100mA per ph | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| O/G - 18 # 16/20A SP MCB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
3 | Kitchen Power DB - (KPDB-1) |  |  | RO | Nos.
| 8 WAY TPN DB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| I/C- 1 #40 A FP MCB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| SUB I/C- 3#32 DP ELCB 100mA per ph | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| O/G - 18 # 16/20A SP MCB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
4 | EMERGENCY LIGHTING DB (ELDB/UPSDB) | 1 | 1 | 2 | Nos. | 5000 | 10000 |  | 0 | 14800 | 29600 | 10800 | 21600
| 12 way SPN DB | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Incomer: 25A DP RCBO 30mA | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Outgoings :10/16 SP MCB, 'D' Type – 8 Nos | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR DISTRIBUTION BOARDS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
IV | CABLES & ACCESSORIES | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Supply & installation of following LT XLPE FRLSH cables (FINOLEX/RR KABLE/POLYCAB) rated for 600 / 1100 volts AC as per IS standard 1554 Part 1 with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with temporary labelling at every 20 mtrs and ten finally with metal identification tags showing the size and the location from/to the specific Panel/DB at both ends. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
1 | 3.5C x 300 Sq. mm A2XFY |  |  | RO | Mtr.
2 | 3.5C x 240 Sq. mm A2XFY |  |  | RO | Mtr.
3 | 3.5C x 185 Sq. mm A2XFY |  |  | RO | Mtr.
4 | 3.5C x 150 Sq. mm A2XFY |  |  | RO | Mtr.
5 | 3.5C x 120 Sq. mm A2XFY |  |  | RO | Mtr.
6 | 3.5C x 95 Sq. mm A2XFY |  |  | RO | Mtr.
7 | 3.5C x 70 Sq. mm A2XFY |  |  | RO | Mtr.
8 | 3.5C x 50 Sq. mm A2XFY |  |  | RO | Mtr.
9 | 3.5C x 25 Sq. mm A2XFY | 50 |  | 50 | Mtr. | 429 | 21450 |  | 0 | 500 | 25000 | 1050 | 52500
10 | 4C x 16 Sq. mm A2XFY | 10 | 50 | 60 | Mtr. | 372 | 22320 |  | 0 | 400 | 24000 | 650 | 39000
11 | 4C x 10 Sq. mm A2XFY |  |  | RO | Mtr.
12 | 4C x 10 Sq. mm 2XFY ( Cu ) |  |  | RO | Mtr.
13 | 4C x 16 Sq. mm 2XFY ( Cu ) |  |  | RO | Mtr.
14 | 4C x 6 Sq. mm 2XFY Cable ( Cu ) |  |  | RO | Mtr.
15 | 4C x 4 Sq. mm 2XFY Cable ( Cu ) | 50 |  | 50 | Mtr. | 557 | 27850 |  | 0 | 530 | 26500 | 255 | 12750
16 | 4C x 2.5 Sq. mm 2XFY Cable ( Cu ) |  |  | RO | Mtr.
17 | 3C x 6sq. mm YWY cable ( Cu ) |  |  | RO | Mtr.
18 | 3C x 4sq. mm YWY cable ( Cu ) | 10 | 10 | 20 | Mtr. | 240 | 4800 |  | 0 | 490 | 9800 | 255 | 5100
19 | 3C x 2.5 Sq. mm YWY cable ( Cu ) |  |  | RO | Mtr.
20 | 1C x 10 Sq. mm YY cable ( Cu ) |  |  | RO | Mtr.
21 | 1C x 6 Sq. mm YY cable ( Cu ) |  |  | RO | Mtr.
22 | 1C x 4 Sq. mm YY cable ( Cu ) |  |  | RO | Mtr.
23 | 5Rx1Cx16 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Mtr.
24 | 5Rx1Cx10 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Mtr.
25 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Mtr.
26 | 5Rx1Cx4 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Mtr.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
B | Termination of following sizes of cables with Single compression cable gland.(COMET/BRAKO) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
1 | 3.5C x 300 Sq. mm A2XFY |  |  | RO | Nos.
2 | 3.5C x 240 Sq. mm A2XFY |  |  | RO | Nos.
3 | 3.5C x 185 Sq. mm A2XFY |  |  | RO | Nos.
4 | 3.5C x 150 Sq. mm A2XFY |  |  | RO | Nos.
5 | 3.5C x 120 Sq. mm A2XFY |  |  | RO | Nos.
6 | 3.5C x 95 Sq. mm A2XFY |  |  | RO | Nos.
7 | 3.5C x 70 Sq. mm A2XFY |  |  | RO | Nos.
8 | 3.5C x 50 Sq. mm A2XFY |  |  | RO | Nos.
9 | 3.5C x 25 Sq. mm A2XFY | 2 |  | 2 | Nos. | 250 | 500 |  | 0 | 1249 | 2498 | 550 | 1100
10 | 4C x 16 Sq. mm A2XFY | 2 | 2 | 4 | Nos. | 300 | 1200 |  | 0 | 934 | 3736 | 550 | 2200
11 | 4C x 10 Sq. mm A2XFY |  |  | RO | Nos.
12 | 4C x 10 Sq. mm 2XFY ( Cu ) |  |  | RO | Nos.
13 | 4C x 16 Sq. mm 2XFY ( Cu ) |  |  | RO | Nos.
14 | 4C x 6 Sq. mm 2XFY Cable ( Cu ) |  |  | RO | Nos.
15 | 4C x 4 Sq. mm 2XFY Cable ( Cu ) | 4 |  | 4 | Nos. | 300 | 1200 |  | 0 | 620 | 2480 | 255 | 1020
16 | 4C x 2.5 Sq. mm 2XFY Cable ( Cu ) |  |  | RO | Nos.
17 | 3C x 6sq. mm YWY cable ( Cu ) |  |  | RO | Nos.
18 | 3C x 4sq. mm YWY cable ( Cu ) | 4 | 4 | 8 | Nos. | 250 | 2000 |  | 0 |  | 0 | 250 | 2000
19 | 3C x 2.5 Sq. mm YWY cable ( Cu ) |  |  | RO | Nos.
20 | 1C x 10 Sq. mm YY cable ( Cu ) |  |  | RO | Nos.
21 | 1C x 6 Sq. mm YY cable ( Cu ) |  |  | RO | Nos.
22 | 1C x 4 Sq. mm YY cable ( Cu ) |  |  | RO | Nos.
23 | 5Rx1Cx16 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Nos.
24 | 5Rx1Cx10 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Nos.
25 | 5Rx1Cx6 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Nos.
26 | 5Rx1Cx4 Sq.mm YY FRLS Cable (Cu) |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR CABLES & ACCESSORIES | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
V | WIRING & ACCESSORIES | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| Notes : | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 1) Rates for point wiring shall include supply & installation of Wires & wiring acccessories such as angle holders/ceiling roses as required. conduits, conduit accessories such as junction boxes, Ts, elbows etc,Switches, sockets & fixtures shall not be included in the point wiring rates. These will be counted & paid separately. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 2) Unless otherwise specified, all wires in point wiring shall be 2.5 sq.mm | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Stranded copper conductor 1.1 KV grade, I.S.I. marked (P+N+E), | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| LSZH) PVC insulated . | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Wires shall be colour coded (Red, Yellow and Blue for Phases, | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Black for Neutral & Green for earth). | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 3) Looping of wires shall be in fittings and switch boxes only | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 4) Location of switches/sockets/ DBs shown on the drawings shall | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| be confirmed with the Architect/ Consultant/ Project Manager | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| before installation. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 5) All Surface and concealed Conduits shall be rigid GI conduits of | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| size not less than 20 mm dia as per applicable IS. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 6)The Contractor can take more than one circuit in the same conduit | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| provided they are of the same phase. The size of conduit shall be | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| decided according to the number of wires in it as per applicable IS & as | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| specified. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 7) Payments for light fixtures & fans will be made separately as per the | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| items given in 'Light Fixtures & Accessories'. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 8) Type & location of light fixtures shown in the drawings are | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| tentative and subject to revision as per the recommendation of | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Architect/ Consultant. The quantities (number of points and accessories) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| of point wiring will be revised as actual installed on account of such | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| revisions in the layouts. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 9) Circuit wiring from DBs to the switch boards or first light point shall | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Be included as primary points & remaining points of the same looping | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| shall be considered as Secondary points and shall be counted in nos. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| 10) Circuit Wiring from DB to Kitchen Power points shall be measured in running meters | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
1 | Supply, installation, testing & commissioning of point wiring for light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points shall also be measured in nos and shall include the remaining light points of the circuit controlled from same distribution board where primary points are controlling. The Power points shall be measured in Nos. Cost of GI conduits and accessories shall be included. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Averagepoint length of primary&secondaryto be derived by Contractor, fromthe drawing provided AND+/-1MtrMeasured Radially | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a) | Primary Light points controlled by MCB (3R x 2.5 sqmm wire) |  |  | RO | Nos.
b) | Secondary Light points looped in the same circuit. (3R x 2.5 sqmm wire) |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
2 | Supply, installation, testing & commissioning of point wiring for light points, power points. Point wiring for primary point shall include wiring from Switch Board upto First point of the circuit and shall be measured in nos. Secondary points shall also be measured in nos and shall include the remaining light points of the circuit controlled from same switch board where primary points are controlling. The Power points shall be measured in Nos. Cost of GI. conduits, 6A switch & switch board and accessories shall be included. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a) | Primary Light points controlled by Switch (3R x 2.5 sqmm wire) | 4 | 6 | 10 | Nos. | 1500 | 15000 |  | 0 | 500 | 5000 | 1560 | 15600
b) | Secondary Light points looped in the same circuit. (3R x 2.5 sqmm wire) | 8 | 8 | 16 | Nos. | 1500 | 24000 |  | 0 | 400 | 6400 | 1360 | 21760
c) | DB to SB & SB to SB circuit wiring : For Switch Operated Primary point @ SB to SB loop point. Wiring for switch board controlled by MCB already installed in DB by using 3 X 2.5 sq. mm flexible LSZH copper wires in 25mm GI conduits as per IS 9537 part-3 or surface mounted. | 15 | 15 | 30 | Mtrs | 400 | 12000 |  | 0 | 2200 | 66000 | 235 | 7050
[7 empty] | 0 |  | 0 |  | 0 |  | 0
3 | Supply, installation, testing & commissioning of point wiring for Emargency light points, power points. Point wiring for primary point shall include wiring from Distribution Board upto First point of the circuit and shall be measured in nos. Secondary points shall also be measured in nos and shall include the remaining light points of the circuit controlled from same distribution board where primary points are controlling. The Power points shall be measured in Nos. Cost of GI conduits and accessories shall be included. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Averagepoint length of primary&secondaryto be derived by Contractor, fromthe drawing provided AND+/-1MtrMeasured Radially | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a) | Primary Light points controlled by MCB (3R x 2.5 sqmm wire) | 1 | 1 | 2 | Nos. | 650 | 1300 |  | 0 | 500 | 1000 | 1330 | 2660
b) | Secondary Light points looped in the same circuit. (3R x 2.5 sqmm wire) | 1 | 1 | 2 | Nos. | 650 | 1300 |  | 0 | 400 | 800 | 1045 | 2090
[7 empty] | 0 |  | 0 |  | 0 |  | 0
5 | Providing point wiring for Raw Power/UPS points 1no. 6/16A switch socket outlet on Skirting level to be looped from the nearest point using 2 x 4.0 sq. mm copper conductor wires and minimum 4.0 sq. mm copper conductor PVC insulated green colour earth wire as per approval of Architect / Consultant. (Cost of GI Conduit / Floor Raceway and switch sockets are considered elsewhere). ( Wires shall be LSZH type ) Note: Average primary / secondary point length to be derived by Contractor, from the drawing / site provided AND +/- 1 Mtr Measured Radially. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a) | Primary Point | 2 | 2 | 4 | Nos. | 650 | 2600 |  | 0 | 500 | 2000 | 1945 | 7780
b) | Secondary points | 4 | 2 | 6 | Nos. | 650 | 3900 |  | 0 | 400 | 2400 | 1560 | 9360
[7 empty] | 0 |  | 0 |  | 0 |  | 0
6 | Providing point wiring for Raw Power points 1no. 6A switch socket outlet on Skirting level to be looped from the nearest point using 2 x 2.5 sq. mm copper conductor wires and minimum 2.5 sq. mm copper conductor PVC insulated green colour earth wire as per approval of Architect / Consultant. (Cost of Conduit / Floor Raceway and switch sockets are considered elsewhere). ( Wires shall be FRLS type ) Note: Average primary / secondary point length to be derived by Contractor, from the drawing / site provided AND +/- 1 Mtr Measured Radially. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a) | Primary Point |  |  | RO | Nos.
b) | Secondary points |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
8 | Supply and laying of following PVC insulated copper conductor 1100 volt grade stranded flexible LSZH wire in already laid GI conduit concealed or surface mounted making connections where ever required to complete the installation.(For Kitchen and Bar Power Points) Conduit rate shall be paid separately. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a) | 2R x 2.5Sqmm + 1R x 2.5Sqmm Cu. Wires | 85 | 135 | 220 | Mtr. | 120 | 26400 |  | 0 | 215 | 47300 | 210 | 46200
b) | 3R x 4Sqmm Cu. Wires | 140 | 180 | 320 | Mtr. | 170 | 54400 |  | 0 | 265 | 84800 | 251 | 80320
c) | 4R x 4Sqmm + 2R x 2.5Sqmm Cu. Wires |  |  |  | Mtr. |  | 0 |  | 0 |  | 0 |  | 0
d) | 4R x 6Sqmm + 2R x 2.5Sqmm Cu. Wires |  |  |  | Mtr. |  | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
9 | Supply & installation of 25 mm dia. GI conduit with pull box / junction box & all accessories for Kitchen & Bar Power wiring as per the requirement | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | - do - but conduit pipe shall be Rigid type. | 175 | 220 | 395 | Mtr. | 70 | 27650 |  | 0 | 290 | 114550 | 135 | 53325
b | - do - but flexible conduit pipe |  |  | 0 | Mtr. |  | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
10 | Supply & installation of 20 mm dia. GI conduit with pull box / junction box & all accessories for Lighting & Power wiring as per the requirement | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | - do - but conduit pipe shall be Rigid type. |  |  | RO | Mtr.
b | - do - but flexible conduit pipe |  |  | RO | Mtr.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
11 | Supply and installation of Perforated Cable Tray (ASIAN)out of 14 gauge GI sheet complete with necessary fixing arrangement with Anchor Fastener and all other accessories as per the final approval of the Consultant/Architect | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | 300 x 50 x 2mm | 20 | 20 | 40 | Mtr. | 70 | 2800 |  | 0 | 900 | 36000 | 950 | 38000
b | 200 x 50 x 2mm |  |  | RO | Mtr.
c | 150 x 50 x 2mm |  |  | RO | Mtr.
d | 100 x 50 x 2mm |  |  | RO | Mtr.
e | 50 x 50 x 2mm |  |  | RO | Mtr.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
12 | Supply and installation of GI trunking (SV POWER/ASIAN) with 2 mm thickness & properties/clamps for suspension at appropriate intervals & as per the route approved by Architect/Consultant. (For DATA/CONTROL WIRING/LIGHTING & POWER CIRCUITS / KITCHEN) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | 300 x 50 x 2mm |  |  | RO | Mtr.
b | 200 x 50 x 2mm |  |  | RO | Mtr.
c | 150 x 50 x 2mm |  |  | RO | Mtr.
d | 100 x 50 x 2mm |  |  | RO | Mtr.
e | 50 x 50 x 2mm | 15 | 15 | 30 | Mtr. | 300 | 9000 |  | 0 | 650 | 19500 | 550 | 16500
[7 empty] | 0 |  | 0 |  | 0 |  | 0
13 | Supply and installation of GI raceway with 2 mm thickness & proper ties/clamps at appropriate intervals & as per the route approved by Architect/Consultant. (Cost of cutting the floor for laying of raceways to be included). | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | 3 runs of underfloor raceways of size 100 x 40 mm |  |  | RO | Mtr.
b | 2 runs of underfloor raceways of size 100 x 40 mm |  |  | RO | Mtr.
c | 1 runs of underfloor raceways of size 100 x 40 mm | 20 | 20 | 40 | Mtr. | 385 | 15400 |  | 0 | 665 | 26600 | 750 | 30000
d | 1 runs of underfloor raceway of size 85 x 40 mm |  |  | RO | Mtr.
e | 2 runs of underfloor raceway of size 65 x 40 mm |  |  | RO | Mtr.
f | 1 runs of underfloor raceway of size 65 x 40 mm |  |  | RO | Mtr.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
14 | Supply & installation of GI junction boxes with 2 mm thickness, 2mm thick SS cover with 2” extra on all sides SS cover on top and having screw fixed plates on all four sides with knock out holes for conduits. The plates shall be retained on the sidezs having no conduit or raceway so as to avoid the entry of any unwanted material. Earth stud to be provided for all Junction boxes for earthing. Junction box to be prepared as per the final approval of Architect/Consultant. The junction boxes shall be protected from the entry of unwanted material till the completion of the project & the SS plates shall be installed after the final polishing of flooring. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | suitable for 450 x 450 x 50 mm |  |  | RO | Nos.
b | suitable for 350 x 350 x 50 mm | 1 | 1 | 2 | Nos. | 350 | 700 |  | 0 | 8000 | 16000 | 3850 | 7700
c | suitable for 250 x 250 x 50 mm | 4 | 4 | 8 | Nos. | 350 | 2800 |  | 0 | 6500 | 52000 | 3500 | 28000
d | suitable for 150 x 150 x 50 mm |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
15 | Supply, installation, testing & commissioning of flush mounted plate type switch and switch + sockets with hot dipped GI box complete as per the final approval of Architect/Consultant | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | 6A one way plate type switch | 4 | 6 | 10 | Nos. | 70 | 700 |  | 0 | 150 | 1500 | 1660 | 16600
b | 6A 5 pin Socket outlet |  |  | RO | Nos.
c | 6A 5pin switch socket outlet for CCTV & Charging point | 2 | 2 | 4 | Nos. | 150 | 600 |  | 0 | 350 | 1400 | 1660 | 6640
f | 3 nos. 6A socket controlled by 1no 16A switch | 1 | 1 | 2 | Nos. | 450 | 900 |  | 0 | 350 | 700 | 2040 | 4080
g | 2 nos. 6A socket controlled by 2no 16A switch |  |  | RO | Nos.
| USB Point |  |  | RO | Nos.
h | 1 nos. 6/16A socket controlled by1nos 6/16A switch | 5 | 5 | 10 | Nos. | 600 | 6000 |  | 0 | 650 | 6500 | 1660 | 16600
[7 empty] | 0 |  | 0 |  | 0 |  | 0
l | I phase, 2 Nos x 5/15 amp, bakelite socket & switch, housed in Fabricated SS Panel suitable for hanging arrangement for Kitchen equipments. (having Two outlet /6 modular plate) | 1 | 1 | 2 | Nos. | 1000 | 2000 |  | 0 | 1300 | 2600 | 2705 | 5410
[7 empty] | 0 |  | 0 |  | 0 |  | 0
16 | Supplying, installation, Testing and commissioning flush mounting floor metallic boxes IP 66 (at terrace level) with 2 nos of 6/16A International switch & socket outlet + 1 set of blanking plate for 2 data/voice outlet suitable for AMP tyco I/o's of following modules complete with all installation kits, accessories, required to finish the installation – Sample will Approved by Client/Consultant. Cost of Switches, sockets outlet & blanking plat for Data/Voice outlets shall be included. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
16.1 | 300mm x 300mm x 65/75 mm |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
17 | Supply, installation of temporary lighting & power arrangement for construction purpose of with industrial type switch & sockets/MCB's/ELCB's & lighting fittings as required to finish the work for interior contractor & necessary electrical protections throughout the site for construction work till the handover of site. Contractor shall maintain the saftey rules & regulations as per Airport Security Department. The material shall be taken back by the contractor. | 1 | 1 | 2 | Job | 1000 | 2000 |  | 0 | 3500 | 7000 | 15000 | 30000
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR WIRING & ACCESSORIES | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
VI | LIGHTING FITTINGS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Installation, testing & commissioning of the following concealed / surface mounted or suspended light fixtures AS PER FINAL APPROVAL FROM ARCHITECT/CLIENT/CONSULTANT with lamps, ballast & all necessary mounting & supporting accessories. No additional cost shall be paid for supporting. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
1 | CONNECTED LIGHT (CHANDELIER TYPE) | 2 | 5 | 7 | Nos. | 2500 | 17500 |  | 0 | 2000 | 14000 | 475 | 3325
2 | SPOT LIGHT | 10 | 8 | 18 | Nos. | 2000 | 36000 |  | 0 | 1000 | 18000 | 330 | 5940
3 | LED STRIP LIGHT | 10 | 15 | 25 | Mtr. | 400 | 10000 |  | 0 | 150 | 3750 | 235 | 5875
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR LIGHTING FIXTURES | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
VII | EARTHING | [5 empty] | 0 |  | 0 |  | 0 |  | 0
1 | Supply and Installation of Maintenance Free Chemical earthing using Electrode of Size approx. 38 mm dia +/- 2mm, 3 metres long bonded with 50x6 copper internal strip complete with excavation, civil works, cast iron cover with backfill compound min. 40 KG. The system shall be CPRI tested. Warranty period of chemical earthing from the date of commissioning shall be 5 years. Warranty implies the voltage between earth and neutral will not exceed 0 volts for earthing pits installed. (Note: Body earthing provided by Base builder. We have considered Neutral earthing for UPS & Server racks.) |  |  | RO | Nos.
2 | Supply & erection of G.I. strip of 50 x 6 mm used for earthing on wall, cable trays with necessary clamps fixed on wall painted with bituminous paint in an approved manner. |  |  | RO | Mtr.
3 | Supply & erection of G.I. strip of 25 x 3 mm used for earthing on wall, cable trays with necessary clamps fixed on wall painted with bituminous paint in an approved manner. | 60 | 60 | 120 | Mtr. | 25 | 3000 |  | 0 | 375 | 45000 | 135 | 16200
4 | 1 no. 4 sq. mm YY cable in 25mm GI conduit for earthing FOR NETWORK RACK | 25 | 25 | 50 | Mtr. | 100 | 5000 |  | 0 |  | 0 | 120 | 6000
5 | Supplying & erecting bare copper conductor of 8 swg for earthing purpose | 20 | 20 | 40 | Mtr. | 110 | 4400 |  | 0 | 1800 | 72000 | 130 | 5200
7 | Supplying & erecting bare GI conductor of 8 swg for earthing purpose |  |  |  | Mtr. |  | 0 |  | 0 |  | 0 |  | 0
8 | Supplying & erecting bare CU conductor of 12 swg for earthing purpose |  |  |  | Mtr. |  | 0 |  | 0 |  | 0 |  | 0
9 | Supplying & installation testing & commissioning of earth terminal box |  |  |  | Nos. |  | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR EARTHING | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
VIII | MISCELLANEOUS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
1 | Supply & Installation of 6A 3 pin plug top |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
2 | Supply & Installation of 16A 3 pin plug top |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
3 | Supply, installation, testing & commissioning of Cat-6 FRLS Cable for Lighting Automation |  |  | RO | Mtr.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
4 | Supply & laying of Rubber Mats, CPRI tested conforming to standards like BS 921, ASTM-D 178 & IEC 479 for different operatng voltage ratings as below. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
| Supply of 2M x 1M Rubber mat suitable for operatng voltage upto 1.1 KV |  |  | RO | Set
[7 empty] | 0 |  | 0 |  | 0 |  | 0
5 | Supply & fixing of approved shock treatment chart written in English and in local Language. The chart shall be framed in Teakwood and covered with glass. |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
6 | Supply & fixing of approved Fire Alarm evacuation plan chart written in English and in local Language approved by cleint requrements. |  |  | RO | Nos
[7 empty] | 0 |  | 0 |  | 0 |  | 0
7 | Supply & fixing of the best quality LT Danger Boards(415V) for of approved shape and size as specified by the local electrical authorities written in English, and local Language | 1 | 1 | 2 | Nos. | 200 | 400 |  | 0 | 6000 | 12000 | 1425 | 2850
[7 empty] | 0 |  | 0 |  | 0 |  | 0
8 | Supply & handed over to client of First Aid Box |  |  | RO | Set
[7 empty] | 0 |  | 0 |  | 0 |  | 0
9 | SITC of Emergency Exit signage (battery operated) approval by client / architect / consultant. Make: Prolite or Equivalent |  |  | RO | Nos.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| TOTAL FOR MISELANIOUS | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
IX | LOW VOLTAGE SYSTEM | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
A | DATA AND TELEPHONE SYSTEM | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
1 | Supply & Installation of 25mm.dia. GI conduit with pull box/ junction box & all accessories for DATA /VOICE/WIFI wiring as per the requirement. | 50 | 50 | 100 | Mtr. | 50 | 5000 |  | 0 | 350 | 35000 | 135 | 13500
[7 empty] | 0 |  | 0 |  | 0 |  | 0
2 | Providing DATA wiring inside 25mm dia GI conduit from each Data outlet to ICT CP Point by using Indoor Type CAT6A, | 80 | 80 | 160 | Mtr. | 20 | 3200 |  | 0 | 300 | 48000 | 165 | 26400
[7 empty] | 0 |  | 0 |  | 0 |  | 0
3 | Supply & Installation of Internet Jack Unit RJ-45 suitable for CAT6A | 2 | 2 | 4 | Nos. | 20 | 80 |  | 0 | 700 | 2800 | 300 | 1200
[7 empty] | 0 |  | 0 |  | 0 |  | 0
4 | Supply & Installation of make Cat 6A, UTP Patch Cords, with snagless boots, color matched, Blue, 3 Feet | 2 | 2 | 4 | Nos. | 235 | 940 |  | 0 | 500 | 2000 | 750 | 3000
[7 empty] | 0 |  | 0 |  | 0 |  | 0
5 | Supply & Installation of make Cat 6A, UTP Patch Cords, with snagless boots, color matched, Blue, 7 Feet | 2 | 2 | 4 | Nos. | 400 | 1600 |  | 0 | 1000 | 4000 | 1250 | 5000
[7 empty] | 0 |  | 0 |  | 0 |  | 0
6 | Supply & laying indoors multi-pair 0.5mm dia copper PVC insulated and sheathed, armoured telephone cables on walls, ceiling, cable trays, trunking complete with clamps, cable markers etc. from MDF to the various tag blocks as specified | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | 10 pair cable armoured | 40 | 40 | 80 | Mtr. | 100 | 8000 |  | 0 | 250 | 20000 | 270 | 21600
b | 5 pair cable |  |  | RO | Mtr.
c | 3 pair cable |  |  | RO | Mtr.
d. | 2 pair cable |  |  | RO | Mtr.
[7 empty] | 0 |  | 0 |  | 0 |  | 0
7 | Supply & installation of telephone tag block with KRONE terminal connectors, G.I.J.B as specified & com-plete with all interconnections and jumper connections bet-ween the two tag blocks on all floors as shown on drgs. | [5 empty] | 0 |  | 0 |  | 0 |  | 0
a | 50 pair tel. tag block |  |  | RO | Nos.
b | 20 pair tel. tag block | 1 | 1 | 2 | Nos. | 400 | 800 |  | 0 | 18000 | 36000 | 900 | 1800
c | 10 pair tel. tag block |  |  | RO | Nos.
| TOTAL FOR DATA AND TELEPHONE SYSTEM | [5 empty] | 509090 |  | 0 |  | 1182477 |  | 932735

## PHE BOQ
CBTL AND WRAPAFELLA -LUCKNOW-PHE BOQ | [5 empty] | Rev: | R3
[6 empty] | Date: | 24.11.2023
[6 empty] | Vsas Group |  | Picture Perefect |  | Thinking Beyond R-1 (21-12-23) |  | Blue Print R-1 (21-12-23)
Item No. | Description | Unit | Qty | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT
A | WATER SUPPLY PIPING
1 | CPVC Pipes conforming to ASTM D-2846, SDR-11 grade and CPVC solvent weld fittings like elbows, tees, couplars, brass threaded adaptors, insert ring etc. suitable for (domestic and flushing) cold applications rated, concealed piping within wall / floor including jointing with fittings using solvent cement, brass threaded end fittings for making connection to fixtures. The work shall also include chasing the walls with machine wherever required for concealed piping and making good the same after laying of pipes & necessary pressure testing Chasing finishing shall be done with 1:1 cement mixed mortar, restore the same original condition for internal and shaft piping, including necessary hot deep galvanised supports vertical / horizontal, as per direction of Site incharge direction. [The rate shall include supply of S.S.screws and nut bolts etc.chasing in walls done by machine] (For Domestic and Flushing water-Toilet internal) (Pipe shall be tested with 1.5 times working pressure as covered in specifications)
1.1 | 20 mm Dia | R.mt | 40 | 85 | 3400 | 800 | 32000 |  | 0 | 685 | 27400 | 315 | 12600
1.2 | 25 mm Dia | R.mt | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.3 | 32mm Dia | R.mt | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.4 | 40mm Dia | R.mt | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | Providing & Fixing of gun metal heavy Ball Valves-PN-16 (approved makes as covered in specification) screwed type for water system of the following diameters. Valve shall have with unions. |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2.1 | 20mm Dia | Nos. | 4 | 700 | 2800 | 2250 | 9000 |  | 0 | 2240 | 8960 | 1150 | 4600
2.2 | 25mm Dia | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2.3 | 32mm Dia | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2.4 | 40mm Dia | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
3 | Providing ,fixing, testing and commissioning capstan make Water Meter including providing & fixing matching Isolation valves ,strainer, non-return valve,complete with all necessary fittings etc screwed type(15Kgs/Sq.cm). Valve shall have with union. |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3.1 | 20 mm Dia incoming line | Nos. | 1 | 3500 | 3500 | 3500 | 3500 |  | 0 | 5200 | 5200 | 6250 | 6250
3.2 | 25 mm Dia incoming line | Nos. | RO
3.3 | 32 mm Dia incoming line | Nos. | RO
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 | Supply, installation,testing & commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG/cm2 pressure, Wall Mounted / Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
4.1 | 5 L Capacity- | Nos. | RO
4.2 | 20 L Capacity | Nos. | 1 | 12000 | 12000 | 38000 | 38000 |  | 0 | 17799 | 17799 | 235000 | 235000
4.3 | 35 L Capacity- For shower | Nos. | RO
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | Supply, installation,testing & commissioning of Stiebel Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG/cm2 pressure, Wall Mounted / Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories (Optional in pantry) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
5.1 | 3.5kw in pantry- optional | Nos. | RO
5.2 | 8kw | Nos. | RO
5.3 | 13kw-3ph- Subject to load permits | Nos. | RO
0
6 | SITC of Eco smart RO-50 with all required accessories .( Prior to order cpacaity and model to need to be confirmed by the kitchen consultant) | Nos | RO
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
7 | SITC of ACO grease trap -model Lipumobil 0.8 -Capacity -48 lit ( 0.8 LPS) with all required accessories ( Order shall be placed as per space available below the counter) | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
8 | SITC of ACO grease trap -model Lipumobil S -Capacity -32 lit ( 0.5 LPS) with all required accessories | Nos | 2 | 35000 | 70000 | 52000 | 104000 |  | 0 | 62650 | 125300 | 139800 | 279600
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
A | SUB TOTAL OF A |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
B | DRAINAGE |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1 | uPVC-SWR pipes conforming to IS 13592/92 including fittings conforming to IS-14935/99 and agri type pipes above 100 mm dia. conforming to IS: 4985, cutting the pipes to required lengths, laying in the position to required grade and level, jointing, supporting with PVC cleat,hot deep galvanised bracket supports,hot deep galvanised nut-bolts, anchor fastners, PVC coated U-clamp, testing and rectifying leakages for piping within vertical shafts / supported on wall / hung below slab etc. with all material & labor complete and as directed. [The Rate shall include supply and fixing of hotdip galvanised bracket nut bolts/ PVC Coated U-Clamp and screws] Vertical line bracket shall be fixed at every 0.8 mtr to 1.00 mtr.] (For Soil , Waste, Vent and RWP-Internal and vertical shaft ). |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.1 | 40mm Dia | R.mt | 2 | 250 | 500 |  | 5000 |  | 0 | 2100 | 4200 | 330 | 660
1.2 | 50mm Dia | R.mt | 4 | 250 | 1000 |  | 6000 |  | 0 | 2350 | 9400 | 380 | 1520
1.3 | 65mm Dia | R.mt | 0 |  | 0 |  |  |  | 0 |  | 0 | 440 | 0
1.4 | 75mm Dia | R.mt | 5 | 265 | 1325 |  | 6000 |  | 0 | 3200 | 16000 | 550 | 2750
1.5 | 100 mm Dia | R.mt | 10 | 350 | 3500 |  | 6000 |  | 0 | 3200 | 32000 | 620 | 6200
1.6 | 150 mm Dia | R.mt | RO
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | Supply, Install PVC Floor Trap for the following pipes including making all approved quality Solvent cement joints with material & labour etc. all complete as per direction of the engineer-in-charge. | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
3 | Supply, Install PVC Multi Floor Trap for the following pipes including making all approved quality Solvent cement joints with material & labour etc. all complete as per direction of the engineer-in-charge. | Nos. | 5 | 500 | 2500 | 320 | 1600 |  | 0 | 2400 | 12000 | 1250 | 6250
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 | Supply, Install PVC urinal Traps including fixing with necessary consumables with Circular SS Grating with anti cockroach jali Suitable for 75mm Dia outlet | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | Supply, Install PVC P- Traps including fixing with necessary consumables with Circular SS Grating with anti cockroach jali Suitable for 75mm Dia outlet | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
| SUB TOTAL OF B |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
C | SANITARY AND C. P. FITTINGS & FIXTURES |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Only installation, testing and commissioning of sanitary and C.P. fittings |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.1 | EWC with seat cover | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.2 | Concealed flush tank | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.3 | Concealed flush valve | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.4 | Health Faucet | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.5 | 2 Way Bib-Cock with connection for Health Faucet | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.6 | Bided | Nos | R.O.
1.7 | Under Counter Wash Basin including waste Coupling | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.8 | Wash Basin Cock | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.9 | shower and mixer | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.1 | Jet Spray | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.11 | Bath Tub including waste Coupling and nessessary connections | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.12 | Under Counter Sink including waste Coupling | Nos | 2 | 9000 | 18000 | 15000 | 30000 |  | 0 | 3000 | 6000 | 7500 | 15000
1.13 | Sink Pillar Cock | Nos | 2 | 2000 | 4000 | 3000 | 6000 |  | 0 | 1500 | 3000 | 2950 | 5900
1.14 | Bottle Trap for WHB/ sink and urinal with all connecting pipes | Nos | 2 | 1250 | 2500 | 3000 | 6000 |  | 0 | 2000 | 4000 | 1550 | 3100
1.15 | Angle Cock with PVC pipe connection upto WHB/sink/Geyser connection | Nos | 7 | 1000 | 7000 | 1050 | 7350 |  | 0 | 1050 | 7350 | 1570 | 10990
1.16 | Urinal | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
1.17 | Auto Flush Valve & Sensor with connecting piping & spreader for urinal(DC) | Nos | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
| SUB TOTAL -C-SANITARY AND C. P. FITTINGS & FIXTURES ( ONLY INSTALLATIONS) |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
D | S.S. GRATING |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| Only installations/ testing and commissioning of S.S.Gratings |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
1 | Making chamber in brick work including internal tiling etc for S.S Grating size, 1200mm x 200mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing & Site Engineer's instruction. | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | Making chamber in brick work including internal tiling etc for S.S Grating size, 600mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing & Site Engineer's instruction. | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 | Making chamber in brick work including internal tiling etc for S.S Grating size, 300mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing & Site Engineer's instruction | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | Making chamber in brick work including internal tiling etc for S.S Grating size, 300mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS non perforated tray (304 SWR). Complete as per architectural detail drawing & Site Engineer's instruction. ( OPTIONAL-IN CASE REQUIRED AT SITE) | Nos. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
E | FIRE EXTINGUISHERS |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
1 | 6kg capacity ABC type dry chemical powder fire Extinguishers with wall mounting brackets | Nos. | 3 | 2666.6667 | 8000 | 11050 | 33150 |  | 0 | 4200 | 12600 | 3850 | 11550
[7 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0 |  | 0
| SUB TOTAL -D-S.S. GRATING INSTALLATION ( ONLY INSTALLATIONS) | [5 empty] | 0 |  | 0 |  | 0 |  | 0
[7 empty] | 0 |  | 0 |  | 0
| GRAND - TOTAL A , B, C,D & E |  |  |  | 140025 |  | 293600 |  | 0 |  | 291209 |  | 601970
NOTES :
1. Taxes and duties shall be Extra as actual
2. Supply and installation of Sanitary fixtures and fitting in th kitchen and toilets
3. Supply of S.S. gratings in kitchen

## FIRE ALARM BOQ
ADDRESSABLE FIRE ALARM BOQ FOR THIRD WAVE & WRPAFELLA @ LUCKNOW
DATE: 24.11.2023_R2
[6 empty] | VSAS R-2 |  |  |  | Picture perfect |  |  |  | Thinking Beyond R-1 (21-12-23) |  |  |  | Blue Print R-1 (21-12-23)
SR.NO | DESCRIPTION | UNIT | THIRD WAVE | WRPAFELLA | TOTAL QTY. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS.
A | ADDRESSABLE FIRE ALARM SYSTEM - NOTIFIER MAKE
1 | Analog Addressable Fire Alarm Control panel with battery back up for 24 hours normal operation and 15 minutes alarm operation. The control panel, battery charger etc. The panel shall be with 1 loop and expandable upto 2 loop capacity. The Fire Alarm Control Panel shall include a full featured operator interface control and annunciation panel that shall include a backlit 640-character liquid crystal display, individual, color coded system status LEDs, and a QWERTY style alphanumeric keypad for the field programming and control of the fire alarm system. Number of Loops / Fire alarm panels should be worked out based on loop capacity, It shall be selected keeping atlest 20 addresses as spare capacity in each loop. The control panel shall be capable of network expandable upto multiple panels. The panel & all devises should be FM approved and comply UL 864 or equivalent. The enclosure shall also be UL listed or equivalent The quoted rate shall include supply of necessary software and harware for progamming the panel with all necessary licence. Should have the Facility to get integrated with the MAIN FAS Panel of the Building. Electrical main LT panel, (PRO).Connecting to BMS on Bacnet or TCP/IP. | Nos |  |  | RO | [6 empty] | 0 | [5 empty] | 250000 | 15000 | 265000
| i) Each loop with Min. 125 Devices & Detectors modules connection capability of Addressable FACP) 2 Loop Panel. | [10 empty] | 0 | 0 | [6 empty] | 0 | 0
| ii) FACP with all in-built modules & displays. | [10 empty] | 0 | 0 | [6 empty] | 0 | 0
| iii) 240 volts AC power supply, automatic battery charger, 24 volts sealed lead acid batteries sufficient for 24 hours normal working. | [10 empty] | 0 | 0 | [6 empty] | 0 | 0
| iv) Programming & setting up | [10 empty] | 0 | 0 | [6 empty] | 0 | 0
| v) system to be capable of operating the system for 2 hours during an emergency condition including all necessary software for remote programming of fire alarm system through central control station. | [10 empty] | 0 | 0 | [6 empty] | 0 | 0
[12 empty] | 0 | 0 | [6 empty] | 0 | 0
2 | Passive Repeater Panel with 80-Character (2x40) display with supervised power supply from FACP. Repeater Panel shall monitor and control (Scroll, Acknowledge, Reset & Mute) all the events of the FACP to which it is connected and it shall have Port Vectoring / Event Filtering capability of showing only ALARMS, TROUBLES or SUPERVISORY or customized combinations of user selected events. | Nos |  |  | RO. | [6 empty] | 0 | [7 empty] | 0
2.1 | Supply installation and testing of signal loop components in a suitable galvanised steel junction box. | Nos. | 1 | 1 | 2 | 850 | 100 | 950 | 1900 |  |  | 0 | 0 | 350 | 250 | 600 | 1200 | 500 | 250 | 750 | 1500
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3 | Detectors and Devices | [10 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3.1 | Supply,Installation,Testing & Commissioning of Analogue Addressable Monitor module having Rotary, decimal addressing system for monitoring the field devices & shall be capable of providing DPDTcontact rated at 24V DC, 2A. | Nos | 1 | 1 | 2 | 4000 | 500 | 4500 | 9000 |  |  | 0 | 0 | 5000 | 500 | 5500 | 11000 | 9500 | 1500 | 11000 | 22000
[8 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3.2 | Supply,Installation,Testing & Commissioning of Analogue Addressable Relay module having Rotary, decimal addressing system and shall be capable of providing DPDTcontact rated at 24v DC, 2A. | Nos | 1 | 1 | 2 | 4000 | 400 | 4400 | 8800 |  |  | 0 | 0 | 4500 | 500 | 5000 | 10000 | 4500 | 1500 | 6000 | 12000
[8 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3.3 | Supply,Installation,Testing & Commissioning of wall / ceiling mounted Horn cum Strobe rated at 82 dBA @ 3m for Audible annunciation and 75cd flashing at 1 Hz for visual indication and necessary accessories including back box. | Nos | 1 | 1 | 2 | 4500 | 400 | 4900 | 9800 |  |  | 0 | 0 | 6500 | 500 | 7000 | 14000 | 3850 | 400 | 4250 | 8500
[8 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3.5 | Supply,Installation,Testing & Commissioning of above / below ceiling mounted Analogue Addressable Flash scan Type Photoelectric smoke detectors having Rotary, decimal addressing system with standard base, built in isolation function and junction box. The detector shall be capable to address in the range of 1-159. The detector shall be with Visible bi-color LEDs for 360 deg viewing and shall blink green every time the detector is addressed, and illuminate steady red on alarm. | Nos | 2 | 2 | 4 | 2800 | 400 | 3200 | 12800 |  |  | 0 | 0 | 4198 | 100 | 4298 | 17192 | 2650 | 400 | 3050 | 12200
[8 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3.6 | Supply,Installation,Testing & Commissioning of above / below ceiling mounted Analogue Addressable Heat / Thermal detectors having Rotary, decimal addressing system with standard base, built in isolation function and junction box. The detector shall be capable to address in the range of 1-159. The detector shall be with Visible bi-color LEDs for 360 deg viewing and shall blink green every time the detector is addressed, and illuminate steady red on alarm. | Nos | 1 | 1 | 2 | 3500 | 400 | 3900 | 7800 |  |  | 0 | 0 | 3994 | 100 | 4094 | 8188 | 2550 | 400 | 2950 | 5900
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3.7 | Supply,Installation,Testing & Commissioning of Addressable Break Glass Manual Call Point having Rotary, decimal addressing system and having an integrally mounted addressabla module that monitors and reports contact status. | Nos |  |  | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
4 | Response indicator. | Nos |  |  | 0 | [6 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
| NOTE: FIRE PANEL SHALL BE PROVIDED WITH FACILITY TO INTEGRATE WITH AIRPORT PANEL | [10 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
5 | CABLES | [10 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
| Supplying, laying, testing and commissioning of 1100V grade FIRE RESISTANCE LOW SMOKE multicore, round type, insulated, sheathed, flexible copper conductor control cables with Including necessary end terminations with copper lugs, junction box, crimping identification tags at each end etc.,) RED COLOUR ONLY (MAKE: RR CABLE) | [10 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
a | 2 core x 1.5 Sq.mm armoured cable(Un-screened, LSZH armoured) | Mtr | 80 | 80 | 160 | 170 | 10 | 180 | 28800 |  |  | 0 | 0 | 296 | 150 | 446 | 71360 | 130 | 55 | 185 | 29600
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
6 | REWORKS | [10 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[12 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
| Shifting , relocation and reworking including extending of cable & testing and commissioning of the following devices | [10 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
a | Photoelectric Smoke Detectors (BFC) at actuals. | Nos. |  |  | R.O. | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0
b | Response Indicator of AFC detectors at actuals | Nos. |  |  | R.O. | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0
| TOTAL FOR ADDRESSABLE FIRE ALARM SYSTEM | [7 empty] | 78900 | [7 empty] | 132940 |  |  |  | 91700

## MUSIC SYSTEM BOQ
THIRD WAVE & WRPAFELLA @ LUCKNOW
PA SYSTEM BOQ
DATE: 24.11.2023_R2
[6 empty] | Vsas Group R-2 |  | Picture Perefect |  | Thinking Beyond R-1 (21-12-23) |  | Blue Print R-1 (21-12-23)
SR. No | DESCRIPTION | THIRD WAVE | WRPAFELLA | TOTAL QTY. | UNIT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT | UNIT RATE | TOTAL AMOUNT
A | PA/MUSIC SYSTEM EQUIPMENTS SUPPLY
1 | Supply & Installation of JBL make Loudspeaker (6 watt) CEILING SPKR to match with Airport PA System | 3 | 3 | 6 | Nos. | 1800 | 10800 |  | 0 | 3800 | 22800 | 2150 | 12900
[9 empty] | 0 |  | 0 |  | 0
2 | Supply of JBL make Loudspeaker 20 watt wall mount SPKR |  |  |  | Nos. |  |  |  | 0 |  | 0 |  | 0
[9 empty] | 0 |  | 0 |  | 0
3 | Supply, installation, testing & commissioning of Control 24CT Microplus JBL make Speakers |  |  | RO | Nos.
[9 empty] | 0 |  | 0 |  | 0
4 | Supply of Amplifier with Line matching transformers |  |  | RO | Nos.
[9 empty] | 0 |  | 0 |  | 0
5 | Supply of DSP with Card Model No. BLU-100/BLU 102 |  |  | RO | Nos.
[9 empty] | 0 |  | 0 |  | 0
6 | Supply of ZONE CONTROLLER Model No. BLU-3 |  |  | RO | Nos.
[9 empty] | 0 |  | 0 |  | 0
7 | Supply of Paging Mic Model No. DST-995 |  |  | RO | Nos.
[9 empty] | 0 |  | 0 |  | 0
8 | Supply of DVD Player for BGM |  |  | RO | Nos.
[9 empty] | 0 |  | 0 |  | 0
9 | Supply & Laying of 2x2.5 Sq.mm FRLS Speaker Cable. The cost of conduit shall be paid separately. | 30 | 30 | 60 | Mtr. | 40 | 2400 |  | 0 | 380 | 22800 | 155 | 9300
[9 empty] | 0 |  | 0 |  | 0
10 | Supply of 3x1.5 Sq.mm FRLS Microphone Cable The cost of conduit shall be paid separately. |  |  | RO | Mtr.
[9 empty] | 0 |  | 0 |  | 0
11 | Supply of 12U (600mmx800mm) Equipment Rack | 1 | 1 | 2 | Nos. | 20000 | 40000 |  | 0 | 7500 | 15000 | 24500 | 49000
[9 empty] | 0 |  | 0 |  | 0
12 | Supply & Laying of 25mm dia. GI Conduit | 25 | 25 | 50 | Mtr. | 50 | 2500 |  | 0 | 300 | 15000 | 125 | 6250
SUB TOTAL FOR MUSIC SYSTEM EQUIPMENTS
| TOTAL FOR MUSIC SYSTEM EQUIPMENTS | [5 empty] | 55700 |  |  |  | 75600 |  | 77450

## CCTV BOQ
CCTV BOQ FOR THIRD WAVE & WRPAFELLA @ LUCKNOW
DATE: 24.11.2023 _R2
[6 empty] | VSAS R-2 |  |  |  | VSAS R-1 | Picture perfect |  |  |  | Thinking Beyond R-1 (21-12-23) |  |  |  | Blue Print R-1 (21-12-23)
SR.NO | DESCRIPTION | UNIT | THIRD WAVE | WRPAFELLA | TOTAL QTY. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS. | SUPPLY RATE | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS.
II | CCTV SURVIELLIANCE SYSTEM
1 | Supply, Istallation, Testing & Commissioning of 5MP HD Dome Camera Model No. DS-2CE76HOTITMFS | Nos. | 5 | 5 | 10 | 1800 | 200 | 2000 | 20000 | 2000 |  |  | 0 | 0 | 3200 | 1300 | 4500 | 45000 | 4100 | 665 | 4765 | 47650
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
2 | Supply & Installation of 230/12V -20A DC Power Supply Unit for Camera Make: MRE/ACOORD | Set | 1 | 1 | 2 | 1500 | 200 | 1700 | 3400 | 1800 |  |  | 0 | 0 | 1500 | 500 | 2000 | 4000 | 2760 | 237.5 | 2997.5 | 5995
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
3 | 4-Channel Embedded DVR, Real Time Recording @ CIF Resolution for all Channels or D1 Resolution on 1st Channel and rest at Real Time @ CIF , Support English OSD, 1 SATA slot available, 230VAC & TCP/IP Connectivity. (Honeywell Make, HDDVR1004 Model) | Nos | [5 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
4 | 8-Channel Embedded DVR, Real Time Recording @ CIF Resolution for all Channels or D1 Resolution on 1st Channel and rest at Real Time @ CIF , Support English OSD, 1 SATA slot available, 230VAC & TCP/IP Connectivity. (Honeywell Make, HDDVR1008 Model) | Nos | 1 | 1 | 2 | 7000 | 500 | 7500 | 15000 | 7000 |  |  | 0 | 0 | 8500 |  | 8500 | 17000 | 9215 | 712.5 | 9927.5 | 19855
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
5 | VGA Flat screen TFT 21" high resolution Monitor with power supply complete | No. |  |  | RO |  |  | 0 |  | 12000 |  |  | 0 |  |  |  | 0 |  |  |  | 0
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
6 | 8 TB Hard Disk (15 Days) | No. | 1 | 1 | 2 | 20000 | 500 | 20500 | 41000 | 22000 |  |  | 0 | 0 | 25000 |  | 25000 | 50000 | 9215 | 380 | 9595 | 19190
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
7 | Supply & Instllation of Power connector | No. | 5 | 5 | 10 | 150 | 50 | 200 | 2000 | 150 |  |  | 0 | 0 | 150 | 50 | 200 | 2000 | 290 | 237.5 | 527.5 | 5275
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
8 | Supply & Installation of co-axial connector | No. | 10 | 10 | 20 | 60 | 10 | 70 | 1400 | 60 |  |  | 0 | 0 | 150 | 80 | 230 | 4600 | 388 | 237.5 | 625.5 | 12510
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
9 | Supply & laying of 2C x 1.5 sq. mm non-FRLS flexible PVC insulated cable with GI conduit FOR POWER SUPPLY | Mtr | 30 | 30 | 60 | 40 | 10 | 50 | 3000 | 40 |  |  | 0 | 0 | 250 | 60 | 310 | 18600 | 138 | 61.75 | 199.75 | 11985
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
10 | Supply & laying of RT-3 Co-axial & Power FRLS Cable | Mtr | 75 | 75 | 150 | 30 | 20 | 50 | 7500 | 30 |  |  | 0 | 0 | 285 | 80 | 365 | 54750 | 90 | 50 | 140 | 21000
[8 empty] | 0 | 0 |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0
11 | Supply & Laying of 25mm dia. GI Conduit | Mtr | 40 | 40 | 80 | 50 | 20 | 70 | 5600 | 50 |  |  | 0 | 0 | 500 |  | 500 | 40000 | 80 | 60 | 140 | 11200
[13 empty] | 0 | 0 |  |  | 0 | 0 | 70 |  | 70 | 0
12 | Supply & laying of RG6 cable for video transmission from all cameras to DVR located in Server Room with PVC conduit. | Mtr |  |  | RO | [7 empty] | 0 |  |  |  | 0 |  |  |  | 0
| TOTAL FOR CCTV SYSTEM | [7 empty] | 98900 | [8 empty] | 235950 |  |  |  | 154660

## SUMMARY
THIRD WAVE & WRPAFELLA @ LUCKNOW
SUMMARY FOR ELECTRICAL WORKS
DATE : 29.11.2023_R03
Sr. No. | DESCRIPTION |  | TOTAL AMOUNT IN Rs.
I | PANEL & SWITCHGEAR | Rs. | 0
II | UPS | Rs. | 0
III | DISTRIBUTION BOARDS | Rs. | 0
IV | CABLES & ACCESSORIES | Rs. | #VALUE!
V | WIRING & ACCESSORIES | Rs. | 0
VI | LIGHTING FITTINGS INSTALLATION | Rs. | 0
VII | EARTHING | Rs. | 0
VIII | MISCELLANEOUS | Rs. | 0
IX | LOW VOLTAGE SYSTEM (WIRING)
A | DATA AND TELEPHONE SYSTEM | Rs. | 0
| SUB TOTAL AMOUNT IN RS. | Rs. | #VALUE!
TAXES EXTRA AS APPLICABLE

## General Notes
GENERAL NOTES
1 | The items given in this schedule are provisional. The Contractor shall be paid for the actual quantity of work executed as measured at the site at the rates tendered. The Owner reserves the right to increase or decrease any of the quantities, or to ommit totally any item of work. Any claim by the Contractor on these accounts will not be entertained.
2 | All the items of work given in this schedule of quantities shall be executed strictly in accordance with the latest Indian Standard Specifications.
3 | The Contractor shall visit the site and shall satisfy himself as to the conditions under which the work is to be performed. He shall also check and ascertain the location of any existing structure or equipment or any other situation which may affect the work. No extra claim as a consequence of ignorance or on ground of insufficient description will be allowed at a later date.
4 | All equipment and material shall be IS approved.
5 | All approvals shall be obtained from Owner / Consultant
6 | All equipment and material shall be inspected at manufacturer’s works as per relevant IS by the Owner or his representative before despatch to site.
7 | All vendor drawings shall be approved by the Owner/Consultant before fabrication work starts.
8 | All Testing and Commissioning shall be as per relevant details covered in the specifications. All these testing records are to be maintained and submitted for Owner / Owner’s representative.
9 | All items of work under this Contract shall be executed strictly to fulfill the requirements laid down under “Basis of Design” in the specifications. Type of equipment, material specification, methods of installation and testing and type of control shall be in accordance with the specifications, approved shop drawings and the relevant Indian Standards, however capacity of each component and their quantities shall be such as to fulfill the above mentioned requirement.
10 | The unit rate for all equipment or materials shall include cost in INDIAN RUPEES (INR) for equipment and materials including all taxes and duties and also including forwarding, freight, insurance and transport into Contractor’s store at site, storage, installation, testing, balancing, commissioning and other works required.
11 | The rate for each item of work included in the Schedule of Quantities shall, unless expressly stated otherwise, include cost of :
a | All materials, fixing materials, accessories, appliances tools, plants, equipment, transport, labour and incidentals required in preparation for and in the full and entire execution, testing, balancing, commissioning and completion of work called for in the item and as per Specifications and Drawings.
b | Wastage on materials and labour.
c | Loading, transporting, unloading, handling/double handling, hoisting to all levels, setting, fitting and fixing in position, protecting, disposal of debris and all other labour necessary in and for the full and entire execution and for the job in accordance with the contract documents, good practice and recognize principles.
d | Liabilities, obligations and risks arising out of Conditions of Contract.
e | All requirements of Specifications, whether such requirements are mentioned in the item or not. The Specifications and Drawings where available, are to be read as complimentary to and part of the Schedule of Quantities and any work called for in one shall be taken as required for all.
f | BOQ shall be read in conjuction with technical specification, drawings,In the event of conflict between Bill of Quantities and other documents including the Specifications and drawings, the most stringent shall apply. The interpretation of the Consultant/Project Manager shall be final and binding.
12 | The Contractor shall procure and bring Materials/Equipment to the site only on the basis of drawings approved for construction and shop drawings and not on the basis of Bill of Quantities which are approximate only. This also applies to the Contractor’s requisition for Owner supplied materials.
13 | The contractor shall cooperate with all trades and agencies working on the site. He shall make provision for hangers, sleeves, structural openings and other requirements well in advance to prevent hold up of progress of the construction schedule. All supports to the civil structure shall be provided with anchor fasteners.
14 | On award of the work, contractor shall submit a schedule of construction in the form i.e BAR chart for approval of the Project Manager.
15 | On award of the work the contractor shall be issued three (3) sets of consultant’s drawings. The drawings shall be the basis of contractor’s shop drawings.
16 | Shop drawings are detailed working drawings coordinated with other trading work, which incorporate the contractor’s details for execution of the work and incorporate equipment manufacturer’s details and dimensions to ensure that the same can be installed in the space provided.
17 | All shop drawings will be made on AutoCAD and colored prints has to be produced for site work.
18 | This Schedule shall be fully priced and the extensions and totals duly checked. The rates for all items shall be filled in INK including NIL items.
19 | No alteration whatsoever is to be made to the text or quantities of this Schedule unless such alteration is authorised in writing by Consultant. Any such alterations, notes or additions shall, unless authorized in writing, be disregarded when tender documents are considered.
20 | In the event of an error occurring in the amount of the Schedule, as a result of wrong extension of the unit rate and quantity, the unit rate quoted by the tenderer shall be regarded as firm and the extensions shall be amended on the basis of rates.
21 | Any error in totaling in the amount column and in carrying forward total shall be corrected. Any error, in description or in quantity, omission of items from this Schedule shall not vitiate this Contract but shall be corrected and deemed to be variation required by the Consultant/Project Manager.
22 | Rates have been called for a number of items of works, as alternatives which, for the present do not form part of the total value of tender. However the rates for these items shall be quoted, with due care so that in the event of choice of an alternative item of work, said rate shall form part of the contract and shall not violate the contract any way.
23 | The contractor shall , from time to time, clear away all debris and excess materials accumulated at the site failing which the same shall be done by Project Manager at contractor’s risk and cost and cost of clean up shall be deducted from the contractors prorata bill.
24 | After the devices and equipment have been installed and commissioned, contractor shall cleanup the same and remove all plaster, paints, stains, stickers and other foreign matter or discoloration leaving the same in a ready to use condition.
25 | On completion of all works, contractor shall demolish all stores, remove all surplus materials and leave the site in a broom clean condition, failing which the same shall be done by the Project Manager at the Contractor'’ risk and cost. Cost of the cleanup shall be deducted from the contractor’s bills on pro-rata basis in proportion to his contact value.
26 | Provision for scaffolding if any required at site , contactor shall need to be provided.
27 | Remove existing drain and water supply lines which are not required. Clean the site for new installations.