## Sheet1
HYD AIRSIDE KITCHEN LIGHTING SCHEDULE
S. No | LIGHT TYPE | LOCATION | TEMPERATURE | WATTS | QTY | BODY COLOUR | REFERENCE PICTURE | VENDOR
L-01 | 2'X2' GRID CEILING PANEL LIGHT | COMMON AREA | 4000K | 36W | 10 | - |  | Deepesh Light Cube +91-9811388922
L-02 | CONCEALED CEILING COB LIGHT | COMMON AREA | 4000K | 15W | 27 | WHITE BODY COLOR |  | Deepesh Light Cube +91-9811388922

## Sheet2
UNA BASEMENT LIGHTING SCHEDULE
S. No | LIGHT TYPE | LOCATION | TEMPERATURE | WATTS | QTY | BODY COLOUR | REFERENCE PICTURE | VENDOR
UN-L-06 | DRY & COLD STORAGE | SURFACE PANEL LIGHT | 4000K | 15W | 6 | WHITE BODY
UN-L-06 | DISH WASHING AREA | SURFACE PANEL LIGHT | 4000K | 15W | 6 | WHITE BODY
UN-L-06 | ADMIN ROOM | SURFACE PANEL LIGHT | 4000K | 15W | 6 | WHITE BODY