## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
| buffing- solid acrylic surfaces - Buffing entire white solid acrylic surfaces of front counter until uniform semi-gloss appearance is achieved. Including all required material for the activity. - LOCATION - Buffing white solid acrylic surfaces of front counter | SQMT | 4.9318
| re-painting of wall, ceiling - 1. Scraping of old wall paints or Ceiling paints. 2. Doing New paint on surface of existing walls or ceiling in approved shade as per instruction from EIC.Include 2 coats of primer and 2rd coat of final paint.. - LOCATION - outlet BOH walls & entire outlet ceilings | SQMT | 71.5
| new concealed light of 12 watt warm white and 4000 lux level each - 1. Removing of existing light fittings & handingover to EIC. 2. Providing & fixing of new approved light fittings on same location as per instruction from EIC. Includes all neceassry electrical wirings & electrical hardware items. - LOCATION - FOH | NOS | 15
| Buffing of existing SS skirting - Buffing of existing SS skirting 220 mm Ht. in entier outlet with neceassry cleaning agent. - LOCATION - skirting of front counter | SQMT | 1.0333
| New Signages - providing and fixing of new signages of height 600mm and length to be in proportion to the height. Diamention ht=600mm length=3650mm | NOS | 1
| Cleaning of existing floor tiles or dados in kitchen, store, behind front counter - Deep Cleaning of existing floor tiles or dados in kitchen, store, behind front counter and smoking room with chemical including rectification of damages. - LOCATION - kitchen, store, smoking room, behind front counter | SQMT | 71.5
| Replacement of damaged floor tiles if required - 1. Removal of old damage floor tile. 2. Providing & Fixing of floor tile matching with the existing floor. - LOCATION - Replacement of existing floor tile | SQMT | 11
| 6mm ply fire rated ply - providing and fixing 6 mm fire rated ply on the existing ply under the front and back counters of BOH area | SQMT | 15
| vinyl print - providing and fixing of vinyl print of approved design on existing wall surface of FOH - LOCATION - FOH | SQMT | 23.8728
| DMB - panasonic 43 inch inch DMB with accessories to support - LOCATION - FOH | NOS | 6
| SELF EXHAUST CHIMNEY STRUCTURE - SS support as per drawing to me mounted on existing front counter top - LOCATION - FOH | NO | 1