## HVAC & Fire
ANJLE MEP PROJECTS PVT LTD
FINAL PI FOR HVAC AND FIRE FOR Jamies Pizzeria hydrabad
|  |  |  | AS PER |  | PO QTY |  | AS PER SIGND MB SHEET |  | Invoice QTY |  | New PR Qty
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Unit Price | Amount | Final qty | Final Amount | Final qty | Final Amount | Final qty | Final Amount
1 |  | Hvac - High side | Hvac - High side | NOS | 1 |  | 353000 |  | 353000 |  | 353000 |  | 0 | 0
1 | A | HVAC SYSTEM EQUIPMENTS | HVAC SYSTEM EQUIPMENTS
2 |  | AC EQUIPMENT (CHILLED WATER - TYPE) | AC EQUIPMENT (CHILLED WATER - TYPE)
3 | A.1 | Supply, installation, testing and commissioning of chilled water type High static Fan coil unit of approved make comprises with evaporator coil, high efficiency fan-motor assembly, 4RD chilled water cooling coil section, pre-filters with EU3 G4 class filters, condensate drain pan (SS 18G) duly insulated with cross linked polymer, insulated drain piping; Units shall be equipped with valve package comprises of ball valve with strainer on the inlet side and PICV with two isolation ball valves on the outlet side. The unit shall be suitable for 230 volts, 50 Hz, 1 phase AC supply with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. Fan coil units shall be selected for the lowest operating noise level. (Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval) | Supply, installation, testing and commissioning of chilled water type High static Fan coil unit of approved make comprises with evaporator coil, high efficiency fan-motor assembly, 4RD chilled water cooling coil section, pre-filters with EU3 G4 class filters, condensate drain pan (SS 18G) duly insulated with cross linked polymer, insulated drain piping; Units shall be equipped with valve package comprises of ball valve with strainer on the inlet side and PICV with two isolation ball valves on the outlet side. The unit shall be suitable for 230 volts, 50 Hz, 1 phase AC supply with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. Fan coil units shall be selected for the lowest operating noise level. (Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval)
4 | A.1.1 | 2.5 TR - (1000 CFM @ 70-80 PASCAL -ESP) | 2.5 TR - (1000 CFM @ 70-80 PASCAL -ESP) | Nos | 1 | 75000 | 75000 | 1 | 75000 | 1 | 75000 | 0 | 0 | 0
5 | A.1.2 | 4.0 TR - (1600 CFM @ 90-100 PASCAL -ESP) | 4.0 TR - (1600 CFM @ 90-100 PASCAL -ESP) | Nos | 1 | 105000 | 105000 | 1 | 105000 | 1 | 105000 | 0 | 0 | 0
6 |  | KITCHEN EQUIPMENTS | KITCHEN EQUIPMENTS | [6 empty] | 0 | 0 |  | 0
7 | A.2 | Supply, installation, testing and commissioning of Double Skinned ceiling suspended Electrostatic Precipitator(ESP) of approved make with minimum 25 mm thick panels of minimum 40 Kg m3 density with 0.60 mm precoated GSS outer skin and 0.60 plain inner skin, including EU4 Pre Filter, ionizer, collection plate .The Unit shall be suitable for 230V, 1 Phase, 50 Hz AC supply. Auto power cut-off when door is opened, short circuit, arc protection and auto restore power supply, Quote shall be inclusive of all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above. (Make Rydair, Trion or equivalent with airport approval). | Supply, installation, testing and commissioning of Double Skinned ceiling suspended Electrostatic Precipitator(ESP) of approved make with minimum 25 mm thick panels of minimum 40 Kg m3 density with 0.60 mm precoated GSS outer skin and 0.60 plain inner skin, including EU4 Pre Filter, ionizer, collection plate .The Unit shall be suitable for 230V, 1 Phase, 50 Hz AC supply. Auto power cut-off when door is opened, short circuit, arc protection and auto restore power supply, Quote shall be inclusive of all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above. (Make Rydair, Trion or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
8 | A.2.1 | 3700 CFM | 3700 CFM | Nos | 1 | 173000 | 173000 | 1 | 173000 | 1 | 173000 | 0 | 0 | 0
2 |  | Hvac-Low side | Hvac-Low side | NOS | 1 |  | 456690 |  | 479435 | 0 | 402505 |  | 76930 | 0
9 | B | AC PIPING AND ACCESSORIES | AC PIPING AND ACCESSORIES | [6 empty] | 0 | 0 |  | 0
10 |  | AC CONDENSATE DRAIN PIPE | AC CONDENSATE DRAIN PIPE | [6 empty] | 0 | 0 |  | 0
11 | B.1 | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval). | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
12 | B.1.1 | 25 mm Ø | 25 mm Ø | Mtr | 18 | 200 | 3600 | 26 | 5200 | 18 | 3600 | 8 | 1600 | 0
13 | B.1.2 | 32 mm Ø | 32 mm Ø | Mtr | 4 | 220 | 880 | 5.5 | 1210 | 4 | 880 | 1.5 | 330 | 0
14 |  | AC CHILLED WATER PIPING | AC CHILLED WATER PIPING | [6 empty] | 0 | 0 |  | 0
15 | B.2 | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe of approved make with expanded polyurethane foam (PUF) insulation of 36 kg m3 minimum density, thickness as specified below and 26 G aluminum cladding with supports and all fittings such as bends, tees, elbows, reducers, flanges, special fittings, suspension hangers, supports as applicable as per site conditions. The insulation shall completely fill the annular space between service pipe and jacket and shall be bonded to both by Cold adhesive. Rubber saddles shall be considered below supports for all the piping works. (Make Jindal (Hissar), Tata steel, Sail) | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe of approved make with expanded polyurethane foam (PUF) insulation of 36 kg m3 minimum density, thickness as specified below and 26 G aluminum cladding with supports and all fittings such as bends, tees, elbows, reducers, flanges, special fittings, suspension hangers, supports as applicable as per site conditions. The insulation shall completely fill the annular space between service pipe and jacket and shall be bonded to both by Cold adhesive. Rubber saddles shall be considered below supports for all the piping works. (Make Jindal (Hissar), Tata steel, Sail) | [6 empty] | 0 | 0 |  | 0
16 | B.2.1 | 25 mm Ø - (Insulation - 30 mm thick) | 25 mm Ø - (Insulation - 30 mm thick) | Mtr | 7 | 1070 | 7490 | 26 | 27820 | 7 | 7490 | 19 | 20330 | 0
17 | B.2.2 | 32 mm Ø - (Insulation - 30 mm thick) | 32 mm Ø - (Insulation - 30 mm thick) | Mtr | 36 | 1210 | 43560 | 5.5 | 6655 | 5.5 | 6655 | -30.5 |  | 0
18 | C | AC PIPING VALVES ACCESSORIES | AC PIPING VALVES ACCESSORIES | [6 empty] | 0 | 0 |  | 0
19 | C.1 | Supply, Installation, Testing, and Commissioning BTU Meter of approved make with direct pipe connection type or operated via sensor module connected supply and return pipe with all necessary fixing and valve arrangements. LCD display (shows all water parameters), with flow rate, temperature inputs, data storage up to 365 days. The display panel shall be mounted at readable height and it shall include interconnecting wiring between the flow meter and the display panel. The unit shall be housed in a totally tamper proof box with all necessary fixing arrangements. Unit shall be compatible with facility Building Management System. (Make and model shall be as per Airport requirement) | Supply, Installation, Testing, and Commissioning BTU Meter of approved make with direct pipe connection type or operated via sensor module connected supply and return pipe with all necessary fixing and valve arrangements. LCD display (shows all water parameters), with flow rate, temperature inputs, data storage up to 365 days. The display panel shall be mounted at readable height and it shall include interconnecting wiring between the flow meter and the display panel. The unit shall be housed in a totally tamper proof box with all necessary fixing arrangements. Unit shall be compatible with facility Building Management System. (Make and model shall be as per Airport requirement) | [6 empty] | 0 | 0 |  | 0
20 | C.1.1 | 32 mm Ø | 32 mm Ø | Nos | 1 | 63500 | 63500 | 1 | 63500 | 1 | 63500 | 0 | 0 | 0
21 | C.2 | Supply, Installation, Testing, and Commissioning of Pressure Independent Control Valve (PICV) with Electric actuators with selectable control modes, with a pressure rating of PN 16 of approved make with threaded or flange connection ends with all necessary fixing arrangements. (Make Danfoss,Siemen,Flowcon,Honeywell,Anergy,Belimo,Johnsons Control ) | Supply, Installation, Testing, and Commissioning of Pressure Independent Control Valve (PICV) with Electric actuators with selectable control modes, with a pressure rating of PN 16 of approved make with threaded or flange connection ends with all necessary fixing arrangements. (Make Danfoss,Siemen,Flowcon,Honeywell,Anergy,Belimo,Johnsons Control ) | [6 empty] | 0 | 0 |  | 0
22 | C.2.1 | 32 mm Ø (9.6 gpm) | 32 mm Ø (9.6 gpm) | Nos | 1 | 36500 | 36500 | 1 | 36500 | 1 | 36500 | 0 | 0 | 0
23 | C.2.2 | 25 mm Ø (6.0 gpm) | 25 mm Ø (6.0 gpm) | Nos | 1 | 24500 | 24500 | 1 | 24500 | 1 | 24500 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0
24 |  | Supply, Installation, Testing, and Commissioning of Thermostate | [7 empty] | 0 | 0 | 0 | 0
25 |  | 32 mm Ø (9.6 gpm) |  | No. |  | 7500 |  | 1 | 7500 | 0 | 0 | 1 | 7500 | 0
26 |  | 25 mm Ø (6.0 gpm) |  | No. |  | 6500 |  | 1 | 6500 | 0 | 0 | 1 | 6500 | 0
27 | C.3 | Supply, Installation, Testing, and Commissioning of Forged Brass Ball Valve with Y - Strainer of approved make with full bore lever operated and removable perforated SS mesh screen with a pressure rating of PN 16. Valve insulation shall be same thickness for corresponding size as chilled hot water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool,RB,Emerald,Sant,Zoloto (It should be PN 16).) | Supply, Installation, Testing, and Commissioning of Forged Brass Ball Valve with Y - Strainer of approved make with full bore lever operated and removable perforated SS mesh screen with a pressure rating of PN 16. Valve insulation shall be same thickness for corresponding size as chilled hot water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool,RB,Emerald,Sant,Zoloto (It should be PN 16).) | [6 empty] | 0 | 0 |  | 0
28 | C.3.1 | 32 mm Ø | 32 mm Ø | Nos | 1 | 3550 | 3550 | 1 | 3550 | 1 | 3550 | 0 | 0 | 0
29 | C.3.2 | 25 mm Ø | 25 mm Ø | Nos | 1 | 2650 | 2650 | 1 | 2650 | 1 | 2650 | 0 | 0 | 0
30 | C.4 | Supply, Installation, Testing, and Commissioning Forged Brass Ball Valve of approved make with full bore lever operated with a pressure rating of PN 16. Valve insulation shall be same thickness for corresponding size as chilled hot water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool,RB,Emerald,Sant,Zoloto (It should be PN 16).) | Supply, Installation, Testing, and Commissioning Forged Brass Ball Valve of approved make with full bore lever operated with a pressure rating of PN 16. Valve insulation shall be same thickness for corresponding size as chilled hot water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool,RB,Emerald,Sant,Zoloto (It should be PN 16).) | [6 empty] | 0 | 0 |  | 0
31 | C.4.1 | 32 mm Ø | 32 mm Ø | Nos | 5 | 3450 | 17250 | 2 | 6900 | 2 | 6900 | -3 |  | 0
32 | C.4.1 | 25 mm Ø | 25 mm Ø | Nos | 5 | 2250 | 11250 | 10 | 22500 | 5 | 11250 | 5 | 11250 | 0
33 | C.5 | Supply, Installation, Testing, and Commissioning of Analog type Pressure Gauge of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald) | Supply, Installation, Testing, and Commissioning of Analog type Pressure Gauge of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald) | [6 empty] | 0 | 0 |  | 0
34 | C.5.1 | Dial Size - 63 mm Ø | Dial Size - 63 mm Ø | Nos | 4 | 1650 | 6600 | 4 | 6600 | 4 | 6600 | 0 | 0 | 0
35 | C.6 | Supply, Installation, Testing, and Commissioning of Analog type Thermometer of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald) | Supply, Installation, Testing, and Commissioning of Analog type Thermometer of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald) | [6 empty] | 0 | 0 |  | 0
36 | C.6.1 | Dial Size - 63 mm Ø | Dial Size - 63 mm Ø | Nos | 4 | 1650 | 6600 | 4 | 6600 | 4 | 6600 | 0 | 0 | 0
37 | C.7 | Supply, Installation, Testing, and Commissioning of Forged Brass Drain Valve Drain Cock, of approved make rubber seal, O rings e with all necessary fixing arrangements. (Make shall be as per Airport requirement) | Supply, Installation, Testing, and Commissioning of Forged Brass Drain Valve Drain Cock, of approved make rubber seal, O rings e with all necessary fixing arrangements. (Make shall be as per Airport requirement) | [6 empty] | 0 | 0 |  | 0
38 | C.7.1 | Drain Valve connected in chilled water supply line | Drain Valve connected in chilled water supply line | Nos | 2 | 1450 | 2900 | 5 | 7250 | 2 | 2900 | 3 | 4350 | 0
39 | C.8 | Supply, Installation, Testing, and Commissioning of Forged Brass Automatic Air Vent of approved make with all necessary fixing arrangements. (Make shall be as per Airport requirement) | Supply, Installation, Testing, and Commissioning of Forged Brass Automatic Air Vent of approved make with all necessary fixing arrangements. (Make shall be as per Airport requirement) | [6 empty] | 0 | 0 |  | 0
40 | C.8.1 | Automatic Air Vent connected in chilled water return line | Automatic Air Vent connected in chilled water return line | Nos | 2 | 1850 | 3700 | 2 | 3700 | 2 | 3700 | 0 | 0 | 0
41 | C.9 | Supply, installation, testing commissioning of Test point of approved make with all necessary fixing arrangements. (Make shall be as per Airport requirement) | Supply, installation, testing commissioning of Test point of approved make with all necessary fixing arrangements. (Make shall be as per Airport requirement) | [6 empty] | 0 | 0 |  | 0
42 | C.9.1 | Test point for supply and return lines | Test point for supply and return lines | Nos | 4 | 1850 | 7400 | 4 | 7400 | 4 | 7400 | 0 | 0 | 0
43 | D | AIR DISTRIBUTION DUCTS | AIR DISTRIBUTION DUCTS | [6 empty] | 0 | 0 |  | 0
44 |  | RECTANGULAR DUCTS | RECTANGULAR DUCTS | [6 empty] | 0 | 0 |  | 0
45 | D.1 | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
46 | D.1.1 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | Sq.Mtr | 28 | 1230 | 34440 | 32 | 39360 | 28 | 34440 | 4 | 4920 | 0
47 | D.1.2 | 24 Gauge - (0.70 mm Thick) - Kitchen Supply Air Duct | 24 Gauge - (0.70 mm Thick) - Kitchen Supply Air Duct | Sq.Mtr | 12 | 1230 | 14760 | 14 | 17220 | 12 | 14760 | 2 | 2460 | 0
48 | D.2 | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
49 | D.2.1 | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct | Sq.Mtr | 24 | 2610 | 62640 | 24 | 62640 | 24 | 62640 | 0 | 0 | 0
50 | E | AIR DISTRIBUTION DUCT INSULATION LINNING | AIR DISTRIBUTION DUCT INSULATION LINNING | [6 empty] | 0 | 0 |  | 0
51 |  | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS | [6 empty] | 0 | 0 |  | 0
52 | E.1 | Supply, installation, and testing of Thermal Insulation of ducting using closed-cell elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.036 W (m-K) at 0° C and Fire performance according to building regulations - Class O as per BS 476. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation, and testing of Thermal Insulation of ducting using closed-cell elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.036 W (m-K) at 0° C and Fire performance according to building regulations - Class O as per BS 476. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
53 | E.1.1 | 19 mm thicknesses - (SAD) - External Duct Insulation | 19 mm thicknesses - (SAD) - External Duct Insulation | Sq.Mtr | 22 | 720 | 15840 | 32 | 23040 | 22 | 15840 | 10 | 7200 | 0
54 | E.1.2 | 19 mm thicknesses - (KSAD) - External Duct Insulation | 19 mm thicknesses - (KSAD) - External Duct Insulation | Sq.Mtr | 12 | 720 | 8640 | 14 | 10080 | 12 | 8640 | 2 | 1440 | 0
55 | E.2 | Supply, installation testing of Thermal Insulation of ducting using glass wool with silver foil covering, density 40 Kg m3, Thermal Conductivity ? - 0.030 W (m-K) at 0° C and Fire performance according to building regulations - Class O as per BS 476. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation testing of Thermal Insulation of ducting using glass wool with silver foil covering, density 40 Kg m3, Thermal Conductivity ? - 0.030 W (m-K) at 0° C and Fire performance according to building regulations - Class O as per BS 476. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
56 | E.2.1 | 50 mm thicknesses - (KEAD) - External Duct Insulation | 50 mm thicknesses - (KEAD) - External Duct Insulation | Sq.Mtr | 24 | 750 | 18000 | 24 | 18000 | 24 | 18000 | 0 | 0 | 0
57 |  | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS | [6 empty] | 0 | 0 |  | 0
58 | E.3 | Supply, installation of Acoustic Lining of approved makes for duct insulation using open cell processed elastomeric nitrile rubber, with having a density of 150 ± 10 Kg m3 Quote shall be inclusive of necessary Adhesive. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation of Acoustic Lining of approved makes for duct insulation using open cell processed elastomeric nitrile rubber, with having a density of 150 ± 10 Kg m3 Quote shall be inclusive of necessary Adhesive. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
59 | E.3.1 | 15 mm thicknesses - (SAD) | 15 mm thicknesses - (SAD) | Sq.Mtr | 6 | 1140 | 6840 | 4 | 4560 | 4 | 4560 | -2 |  | 0
60 | F | AIR DISTRIBUTION DUCT ACCESSORIES -DUCT AIR CONTROL DAMPERS | AIR DISTRIBUTION DUCT ACCESSORIES -DUCT AIR CONTROL DAMPERS | [6 empty] | 0 | 0 |  | 0
61 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Low Leakage square rectangular Volume Control Damper with aero-foil opposed blades and nylon gears system outside air stream with adjustable handle with position arresting bolt. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) | Supply, installation, tetsing and commissioning of Extruded Aluminium Low Leakage square rectangular Volume Control Damper with aero-foil opposed blades and nylon gears system outside air stream with adjustable handle with position arresting bolt. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) | [6 empty] | 0 | 0 |  | 0
62 | F.1.1 | Size - 400 x 150 mm | Size - 400 x 150 mm | Nos | 1 | 2650 | 2650 | 1 | 2650 | 1 | 2650 | 0 | 0 | 0
63 | F.1.2 | Size - 450 x 150 mm | Size - 450 x 150 mm | Nos | 1 | 2650 | 2650 | 1 | 2650 | 1 | 2650 | 0 | 0 | 0
64 | F.1.3 | Size - 400 x 200 mm MS FLANGE | Size - 400 x 200 mm MS FLANGE | Nos | 1 | 3250 | 3250 | 1 | 3250 | 1 | 3250 | 0 | 0 | 0
65 | F.1.4 | Size - 350 x 150 mm MS FLANGE | Size - 350 x 150 mm MS FLANGE | Nos | 1 | 3650 | 3650 | 1 | 3650 | 1 | 3650 | 0 | 0 | 0
66 | F.1.5 | Size - 600 x 250 mm MS FLANGE | Size - 600 x 250 mm MS FLANGE | Nos | 1 | 4250 | 4250 | 1 | 4250 | 1 | 4250 | 0 | 0 | 0
67 | F.1.6 | Size - 500 x 200 mm MS FLANGE | Size - 500 x 200 mm MS FLANGE | Nos | 1 | 4850 | 4850 | 1 | 4850 | 1 | 4850 | 0 | 0 | 0
68 | G | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS LOUVERS) | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS LOUVERS) | [6 empty] | 0 | 0 |  | 0
69 | G.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Single Deflection Grille with opposed blade collar damper aerofoil adjustable front and rear blades with collar damper frame of 20mm flange, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Single Deflection Grille with opposed blade collar damper aerofoil adjustable front and rear blades with collar damper frame of 20mm flange, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
70 | G.1.1 | Neck Size - 750 x 150 mm | Neck Size - 750 x 150 mm | Nos | 3 | 1250 | 3750 | 2 | 2500 | 2 | 2500 | -1 |  | 0
71 | G.1.2 | Neck Size - 750 x 150 mm - without damper | Neck Size - 750 x 150 mm - without damper | Nos | 5 | 1050 | 5250 | 6 | 6300 | 5 | 5250 | 1 | 1050 | 0
72 | G.2 | Supply, installation, tetsing and commissioning of Extruded Aluminium Double Deflection Grille with opposed blade collar damper aerofoil adjustable blades with of 20mm flange, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Double Deflection Grille with opposed blade collar damper aerofoil adjustable blades with of 20mm flange, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | [6 empty] | 0 | 0 |  | 0
73 | G.2.1 | Neck Size - 350 x 350 mm | Neck Size - 350 x 350 mm | Nos | 7 | 1550 | 10850 | 7 | 10850 | 7 | 10850 | 0 | 0 | 0
74 | G.2.2 | Neck Size - 350 x 350 mm - without damper | Neck Size - 350 x 350 mm - without damper | Nos | 4 | 1350 | 5400 | 3 | 4050 | 3 | 4050 | -1 |  | 0
75 | G.2.1 | Neck Size - 400 x 400 mm | Neck Size - 400 x 400 mm | Nos | 1 | 2050 | 2050 | 0 | 0 | 0 | 0 | -1
76 | H | HVAC SERVICE IDENTIFICATION LABELS, SIGNS TAGS | HVAC SERVICE IDENTIFICATION LABELS, SIGNS TAGS | [6 empty] | 0 | 0 |  | 0
77 | H.1 | All services like Ducts, Pipes need to be clearly labelled or tagged at site with service identification flow direction etc. And all equipment needs to tagged as per Airport requirements. | All services like Ducts, Pipes need to be clearly labelled or tagged at site with service identification flow direction etc. And all equipment needs to tagged as per Airport requirements. | [6 empty] | 0 | 0 |  | 0
78 | H.1.1 | Labelling Tagging for Services and Equipment s | Labelling Tagging for Services and Equipment s | Lot | 1 | 5000 | 5000 | 1 | 5000 | 1 | 5000 | 0 | 0 | 0
79 | J | TESTING AND BALANCING | TESTING AND BALANCING | [6 empty] | 0 | 0 |  | 0
80 | J.1 | Air balancing of Supply, Fresh air and Exhaust air system to arrive as per design air flow rates | Air balancing of Supply, Fresh air and Exhaust air system to arrive as per design air flow rates | Lumpsum | 0 | 8000 | 0 | 1 | 8000 | 0 | 0 | 1 | 8000
81 | J.2 | Water balancing of Entire Chilled Water piping system to arrive the designed flow rates. | Water balancing of Entire Chilled Water piping system to arrive the designed flow rates. | Lumpsum | 0 | 8000 | 0 |  | 0 | 0 | 0 | 0 | 0
82 | J.3 | Any service penetration to be made good after installation. Fire sealing to be done for penetrations as per Airport requirement. | Any service penetration to be made good after installation. Fire sealing to be done for penetrations as per Airport requirement. | Lumpsum | 0 | 15000 | 0 |  | 0 | 0 | 0 | 0 | 0
83 |  | NOTE The quantities mentioned in the above BOQ includes services only inside the site location (building). If any termination of services required outside the site location contractor to verify at site and provide the quantity and cost over and above this BOQ.Any service penetration to be made good after installation. Fire sealing to be done for penetrations as per Airport requirement. | NOTE The quantities mentioned in the above BOQ includes services only inside the site location (building). If any termination of services required outside the site location contractor to verify at site and provide the quantity and cost over and above this BOQ.Any service penetration to be made good after installation. Fire sealing to be done for penetrations as per Airport requirement. | [6 empty] | 0 | 0 |  | 0
3 |  | FAS | FAS | % | 1 |  | 31000 |  | 90000 | 0 | 31000 |  | 59000 | 0
84 | B | FIRE ALARM SYSTEM ( ADDRESSABLE TYPE ) | FIRE ALARM SYSTEM ( ADDRESSABLE TYPE ) | [6 empty] | 0 | 0 |  | 0
85 |  | FIRE ALARM SYSTEM - DETECTION DEVICES | FIRE ALARM SYSTEM - DETECTION DEVICES | [6 empty] | 0 | 0 |  | 0
83 | B.1 | Supply, Installation, Testing, and Commissioning of Addressable Type (Optical Smoke Heat) Smoke Detector Conforming to EN54, with standard detector mounting base, IP30 Ingress Protection, Area Coverage of 50 sq. mm (subject to local standard), 360° Angle Visibility, Operating Temperature (-10°C to +50°C), approved by LPCB, of approved make along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles with all necessary mounting and fixing arrangements. (Above Below Ceiling) Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | Supply, Installation, Testing, and Commissioning of Addressable Type (Optical Smoke Heat) Smoke Detector Conforming to EN54, with standard detector mounting base, IP30 Ingress Protection, Area Coverage of 50 sq. mm (subject to local standard), 360° Angle Visibility, Operating Temperature (-10°C to +50°C), approved by LPCB, of approved make along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles with all necessary mounting and fixing arrangements. (Above Below Ceiling) Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | [6 empty] | 0 | 0 |  | 0
84 | B.1.1 | Below ceiling level | Below ceiling level | Nos | 1 | 4550 | 4550 | 5 | 22750 | 1 | 4550 | 4 | 18200 | 0
85 | B.2 | Supply, Installation, Testing, and Commissioning of Addressable Type Fixed Temperature Heat Detector Conforming to EN54, with standard detector mounting base, IP30 Ingress Protection, Area Coverage of 50 sq. mm (subject to local standard), 360° Angle Visibility, Operating Temperature (-10°C to +50°C), approved by LPCB, of approved make along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles with all necessary mounting and fixing arrangements. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | Supply, Installation, Testing, and Commissioning of Addressable Type Fixed Temperature Heat Detector Conforming to EN54, with standard detector mounting base, IP30 Ingress Protection, Area Coverage of 50 sq. mm (subject to local standard), 360° Angle Visibility, Operating Temperature (-10°C to +50°C), approved by LPCB, of approved make along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles with all necessary mounting and fixing arrangements. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | [6 empty] | 0 | 0 |  | 0
86 | B.2.1 | Heat Detector - 58°C fixed temperature | Heat Detector - 58°C fixed temperature | Nos | 1 | 4550 | 4550 | 1 | 4550 | 1 | 4550 | 0 | 0 | 0
84 | B.3 | Supply, Installation, Testing, and Commissioning of Addressable Type Manual Call Point Conforming to EN54 with Break glass, ABS material enclosure, IP30 Ingress Protection, Operating Temperature (-10°C to +50°C) of approved make along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles suitable for flush and surface mounting with all necessary mounting, termination and fixing arrangements. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | Supply, Installation, Testing, and Commissioning of Addressable Type Manual Call Point Conforming to EN54 with Break glass, ABS material enclosure, IP30 Ingress Protection, Operating Temperature (-10°C to +50°C) of approved make along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles suitable for flush and surface mounting with all necessary mounting, termination and fixing arrangements. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | [6 empty] | 0 | 0 |  | 0
85 | B.3.1 | Manual Call Point - (Wall Partition Mounted) | Manual Call Point - (Wall Partition Mounted) | Nos | 1 | 4650 | 4650 | 1 | 4650 | 1 | 4650 | 0 | 0 | 0
86 |  | FIRE ALARM SYSTEM - MODULE DEVICES | FIRE ALARM SYSTEM - MODULE DEVICES | [6 empty] | 0 | 0 |  | 0
87 | B.4 | Supply, Installation, Testing, and Commissioning of Addressable Type Monitor Module along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | Supply, Installation, Testing, and Commissioning of Addressable Type Monitor Module along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | [5 empty] | 0 | 0 | 0 |  | 0
88 | B.4.1 | Monitor Module | Monitor Module | Nos | 2 | 6800 | 13600 | 8 | 54400 | 2 | 13600 | 6 | 40800 | 0
89 | B.5 | Supply, Installation, Testing, and Commissioning of Addressable Type Isolation Module along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | Supply, Installation, Testing, and Commissioning of Addressable Type Isolation Module along with suitable size 2 core cable clipped to structure wall ceiling through GI or Heavy Duty PVC Conduits with suitable cable clips saddles. Make Fire Alarm Devices Johnson or as directed by the Airport. Make PVC Conduits Sudhakar, Shakti or equivalent | [6 empty] | 0 | 0 |  | 0
90 | B.5.1 | Isolation Module | Isolation Module | Nos | 1 | 3650 | 3650 | 1 | 3650 | 1 | 3650 | 0 | 0 | 0
4 |  | Fire Sprinkler | Fire Sprinkler | NOS | 1 |  | 64690 |  | 148495 | 0 | 60490 |  | 88005 | 0
91 | A | FIRE SPRINKLER SYSTEM | FIRE SPRINKLER SYSTEM | [6 empty] | 0 | 0 |  | 0
92 |  | AUTOMATIC FIRE SPRINKLER HEADS ACCESSORIES | AUTOMATIC FIRE SPRINKLER HEADS ACCESSORIES | [6 empty] | 0 | 0 |  | 0
93 | A.1 | Supply, Installation, Testing Commissioning of Automatic Concealed Fire Sprinkler Heads (Bulb type Sprinklers) with adjustable Escutcheon plates (Rosette plates). Standard Temperature Response with 5mm glass bulb, Temperature rating of 68° C, K-factor of 80, Nominal Thread size of 1 2 NPT (15mm) and a Orifice size of 13mm with a Max. Working Pressure of 12 Bar (Factory hydrostatic test presure of 35 Bar) and to be Manufactured Certified to UL 199. Shall also include suspending arrangement with ceiling wall etc. (Make Ansul, Buckeye, Smog Hog, Gem-Tyco, Spray safe or equivalent with airport approval) | Supply, Installation, Testing Commissioning of Automatic Concealed Fire Sprinkler Heads (Bulb type Sprinklers) with adjustable Escutcheon plates (Rosette plates). Standard Temperature Response with 5mm glass bulb, Temperature rating of 68° C, K-factor of 80, Nominal Thread size of 1 2 NPT (15mm) and a Orifice size of 13mm with a Max. Working Pressure of 12 Bar (Factory hydrostatic test presure of 35 Bar) and to be Manufactured Certified to UL 199. Shall also include suspending arrangement with ceiling wall etc. (Make Ansul, Buckeye, Smog Hog, Gem-Tyco, Spray safe or equivalent with airport approval) | [6 empty] | 0 | 0 |  | 0
94 | A.1.1 | Pendant type of 68° C (Finishing - Chrome Plated) | Pendant type of 68° C (Finishing - Chrome Plated) | Nos | 4 | 750 | 3000 | 9 | 6750 | 4 | 3000 | 5 | 3750 | 0
95 | A.1.2 | Pendant type of 79° C (Finishing - Chrome Plated) | Pendant type of 79° C (Finishing - Chrome Plated) | Nos | 5 | 850 | 4250 | 10 | 8500 | 5 | 4250 | 5 | 4250 | 0
96 | A.1.3 | Upright Pendant type of 68° C (Finishing - Chrome Plated) | Upright Pendant type of 68° C (Finishing - Chrome Plated) | Nos | 7 | 850 | 5950 | 12 | 10200 | 7 | 5950 | 5 | 4250 | 0
97 |  | FIRE SPRINKLER PIPE VALVES ACCESSORIES | FIRE SPRINKLER PIPE VALVES ACCESSORIES | [6 empty] | 0 | 0 |  | 0
98 | A.3 | Supply, Installation, Testing Commissioning of Cast Iron Butterfly Valve slimseal PN16 (working pressure of 16 Bar), standard flow control lever operated with stainless steel shaft disc, seat material with Black Nitrile EPDM, flanges nuts and bots etc. (Make Tyco Viking Victualic HD fire Newage or equivalent with airport approval.) | Supply, Installation, Testing Commissioning of Cast Iron Butterfly Valve slimseal PN16 (working pressure of 16 Bar), standard flow control lever operated with stainless steel shaft disc, seat material with Black Nitrile EPDM, flanges nuts and bots etc. (Make Tyco Viking Victualic HD fire Newage or equivalent with airport approval.) | [6 empty] | 0 | 0 |  | 0
99 | A.3.1 | 65 mm Dia | 65 mm Dia | Nos | 1 | 5100 | 5100 | 1 | 5100 | 1 | 5100 | 0 | 0 | 0
100 |  | FIRE SPRINKLER PIPING | FIRE SPRINKLER PIPING | [6 empty] | 0 | 0 |  | 0
101 | A.6 | Supply, Installation, Testing Commissioning of MS C Class Fire Sprinkler Pipe confirming to IS 1239 with all fittings like bends, tees, flanges, nut, bolt and washers etc, and proper pipe supports to not more than 3 meter apart of the pipe length. The pipe work shall be hydrostatically tested for not less than 2 hours at 15 Bar (or 1.5 times the working) pressure without leak. The pipes are to be applied with 2 coats of primer (indicated film thickness, dry 50 microns) and 2 coats of enamel finish paint of approved colour (indicated film thickness, dry 30 microns) (Make HSL, Mukut, Lalit steel or equivalent) | Supply, Installation, Testing Commissioning of MS C Class Fire Sprinkler Pipe confirming to IS 1239 with all fittings like bends, tees, flanges, nut, bolt and washers etc, and proper pipe supports to not more than 3 meter apart of the pipe length. The pipe work shall be hydrostatically tested for not less than 2 hours at 15 Bar (or 1.5 times the working) pressure without leak. The pipes are to be applied with 2 coats of primer (indicated film thickness, dry 50 microns) and 2 coats of enamel finish paint of approved colour (indicated film thickness, dry 30 microns) (Make HSL, Mukut, Lalit steel or equivalent) | [6 empty] | 0 | 0 |  | 0
102 | A.6.1 | 25 mm Dia | 25 mm Dia | Mtr | 35 | 590 | 20650 | 56 | 33040 | 35 | 20650 | 21 | 12390 | 0
103 | A.6.1 | 32 mm Dia | 32 mm Dia | Mtr | 6 | 700 | 4200 | 4 | 2800 | 4 | 2800 | -2 |  | 0
104 | A.6.2 | 40 mm Dia | 40 mm Dia | Mtr | 7 | 900 | 6300 | 9 | 8100 | 7 | 6300 | 2 | 1800 | 0
105 | A.6.3 | 50 mm Dia | 50 mm Dia | Mtr | 4 | 1010 | 4040 | 10.5 | 10605 | 4 | 4040 | 6.5 | 6565 | 0
106 | A.6.4 | 65 mm Dia | 65 mm Dia | Mtr | 8 | 1400 | 11200 | 6 | 8400 | 6 | 8400 | -2 |  | 0
Extra Work
1 |  | Dismentaling & modification of Airport Duct |  | LS | 1 | 25000 |  |  | 25000 |  | 0 |  | 25000
2 |  | Excort and passess charges |  | set | 1 | 30000 |  |  | 30000 |  | 0 |  | 30000
|  | Total |  |  |  |  | 905380 |  | 1070930 |  | 846995 |  | 223935
[5 empty] | Additonal po amount |  | 165550
GST Extra
Updated Quntities are Highlighted | [10 empty] | 1070930
Diffrence amount (Rs.165550.00) as per the Signed MB sheet | [10 empty] | 165550
We are Raising Invoice As per Purchase Order Rest Will Be raise After receiving Confirmation with PO.