## FIRE ALARM BOQ
SUBWAY @ DELHI
FIRE ALARM SYSTEM BOQ
DATE:30.11.2023
SR.NO | DESCRIPTION | UNIT | TOTAL QTY. | SUPPLY RATE | INSTALLATION RATE | TOTAL RATE | TOTAL AMOUNT IN RS.
I | CONVENTIONAL FIRE ALARM SYSTEM
1 | 2 Zone Microprocessor Based UL Listed Conventional Fire Alarm Panel with Battery Backup & LCD Display. | Nos. | 1 |  |  | 0 | 0
2 | Supply, Installation ,Commissioning & testing of conventional Optical type smoke detector with base. | Nos. |  |  |  | 0 | 0
3 | Supply, Installation, Commissioning & testing of conventional multi sensor detector with base. | Nos. | 7 |  |  | 0 | 0
4 | Supply, Installation, Commissioning & testing of conventional Heat detector, rate of rise cum fixed temp type. | Nos. | 7 |  |  | 0 | 0
5 | Response Indicator (Reputed Make) | Nos. | 7 |  |  | 0 | 0
6 | Supply, Installation, Commissioning & testing of conventional sounder mounted on wall / ceiling. | Nos. | 3 |  |  | 0 | 0
7 | Supply, Installation, Commissioning & testing of conventional glass break Manual Call point flush mounted. | Nos. | 3 |  |  | 0 | 0
8 | Junction Box and Gland For AFC Smoke Detectors (Reputed Make) | Nos. | 7 |  |  | 0 | 0
9 | Supply, Laying, Commissioning & testing of 2c x 1.5 sqmm CU AR. PVC insulated, and overall PVC sheathed cable ; FR ,laid on wall / ceiling using GI clamps and spacers as per the route decided at site, by looping all smoke detectors as required including final termination on fire panel. | Mtr. | 100 |  |  | 0 | 0
10 | Supply, installation of Monitor Module for FACP to Client's Fire Alarm Panel Integration - FMM1 | Nos. | 2 |  |  | 0 | 0
11 | Supply, installation of Control Module | Nos. | 1 |  |  | 0 | 0
| TOTAL FOR FIRE ALARM SYSTEM | [5 empty] | 0