## Idli.Com Final-1
EQUIPMENT SCHEDULE
W2-0048 Idli.com @ DOM DEPARTURE PIER
|  | Navi Mumbai Airport | DATE | 2024-12-21
SR.No. | Eq.No. | DESCRIPTION | MODEL NO | DIMENSIONS(L x W x HT) | QTY | ELECTRIC SUPPLY 3PH/1PH | Per Kw | TOTAL KW | AMPS | TYPE OF SWITCH | EXHAUST CFM
FOH-IDLI.COM
1 | ID-01 | POS | IT | STD | 1 | 1PH | 0.5 | 0.5 | 5 / 15 Amp | Switch Socket
2 | ID-02 | POS COUNTER 900mm HT.WITH IPROVISION OF STORAGE BELOW & CUTOUT FOR 3 NOS OF 1/3GN PANS & 1/1 HOT BAIN MARIE | CARPENTRY WORKS AS PER INTERIOR DESIGN | 1355 x 800 x 900Ht. | 1
3 | ID-03 | DROP IN HOT BAIN MARIE WITH 1/1 GN PAN | FABRICATED | 420 x 630 x 300 | 1 | 1PH | 2 | 2 | 5 / 15 Amp | Switch Socket
4 | ID-04 | SS Round Dustbin | BOUGHTOUT | 300mm Dia x 600mm ht | 4
5 | ID-05A | WORK TABLE WITH 1 US. | FABRICATED | 900 x 700 x 650 | 1
6 | ID-05 | ELECTRIC OPERATED FLOOR MOUNTED HOT PLATE WITH 1 U/S LEG OFFSET FROM BACK SIDE. | KARMA - CE-270-115 | 730 x 470 x 240 | 1 | 1PH | 4.4 | 4.4 | 32 Amps | Metal Clad | 1300
7 | ID-05A | BOX TYPE EXHAUST HOOD WITH BAFFLE FILTERS & FRESHER GRILL & LED LIGHTS- | FABRICATED | 900 x 1000 x 500 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
|  | FIRE SUPPRESSION SYSTEM | FABRICATED | 900 x 1000 x 500 | 1
8 | ID-06 | Ambient BAIN MARIE WITH 6 Nos. OF 1/6 GN PANS 150 mm DEEP & LEG OFFSET FROM RIGHT SIDE & BACK. | FABRICATED | 450 x 650 x 850+150 | 1
9 | ID-07 | Combi Oven Stand with L-angles Below, CUTOUT AT BACK FOR DRAIN OUTLET AND OFFSET AT LEG AND BACK | FABRICATED | 800 X 800 X 850Ht. | 1
10 | ID-07A | COMBI OVEN - UNOX (ELECTRIC OPERATED) | UNOX Model - XEVC-0711-EPRM | 750 x 783 x 843Ht. | 1 | 3 PH | 11 | 11 | 32 Amp | Inductrial Socket | 700
11 | ID-07B | BOX TYPE EXHAUST HOOD WITH BAFFLE FILTERS and FRESHER GRILL & LED LIGHTS- | FABRICATED | 900 x 1100 x 500 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
|  | FIRE SUPPRESSION SYSTEM | FABRICATED | 900 x 1100 x 500 | 1
12 | ID-08 | SUNK IN SINK | FABRICATED | 400 x 400 x 250 | 1
13 | ID-09 | GREASE TRAP | NUGREEN-NGT-14 | 355 x 262 x 280Ht. | 2
14 | ID-10 | FILTER COFFEE MACHINE-2Ltrs Cap. | GEMINI-2000 | 220 x 390 x 600Ht. | 1 | 1PH | 2 | 2 | 5 / 15 Amp | Switch Socket
15 | ID-11 | WATER BOILER INSULATED - 12Ltrs.Cap. | PRADEEP - 111612 | 320DIA x 580Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
16 | ID-11A | MILK BOILER INSULATED - 12Ltrs.Cap. | PRADEEP - 111612 | 320DIA x 580Ht. | 1 | 1PH | 1.5 | 1.5 | 5 / 15 Amp | Switch Socket
17 | ID-12 | WALL MOUNTED SHELF | FABRICATED | 600 x 400 x 150 | 1
18 | ID-12A | MICROWAVE OVEN | BUTTLER - MWO25 | 511 x 432 x 311Ht. | 1 | 1PH | 1.6 | 1.6 | 5 / 15 Amp | Switch Socket
19 | ID-13 | SINGLE DOOR UNDER COUNTER CHILLER | HOSHIZAKI | 700 x 750 x 850 | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
20 | ID-14 | COUNTER 925mm HT.WITH IPROVISION OF U/c Chiller Below | CARPENTRY WORKS AS PER INTERIOR DESIGN | 2132 x 800 x 925Ht. | 1
21 | ID-15 | HOT BAIN MARIE WITH 3 Nos. OF 1/1 GN PANS 200mm DEEP | FABRICATED | 1125 x 700 x 850+150 | 1 | 1PH | 3 | 3 | 32 Amps | Metal Clad
22 | ID-16 | 2 DOOR UNDER COUNTER CHILLER | BLUE STAR-UC2100GC | 1365 x 700 x 850ht | 1 | 1PH | 1 | 1 | 5 / 15 Amp | Switch Socket
23 | ID-17 | WORK TABLE WITH SINK UNIT | FABRICATED | 900 x 700 x 850 + 150 | 1
24 | ID-18 | 2 ZONE INDUCTION HOT RANGE WITH 1 US | FABRICATED | 1100 x 700 x 850 + 150 | 1 | 1PH | 1PH | 7 | 32 Amps | Metal Clad | 1300
25 | ID-19 | WORK TABLE WITH 2 U/S | FABRICATED | 900 x 700 x 850 +150 | 1
26 | ID-20 | TABLE TOP DEEP FRYER | SIRMAN - ELDORADO 8 | 270 x 420 x 360 | 1 | 1PH | 3 | 3 | 32 Amps | Metal Clad | 200
27 | ID-21 | Ambient BAIN MARIE WITH 6 Nos. OF 1/6 GN PANS 150 mm DEEP & LEG OFFSET FROM RIGHT SIDE & BACK. | FABRICATED | 450 x 700 x 850 | 1
28 | ID-22A | WORK TABLE WITH 1 US. | FABRICATED | 900 x 700 x 650 | 1
29 | ID-22 | ELECTRIC OPERATED FLOOR MOUNTED HOT PLATE WITH 1 U/S LEG OFFSET FROM BACK SIDE. | KARMA - CE-270-115 | 730 x 470 x 240 | 1 | 1PH | 4.4 | 4.4 | 32 Amps | Metal Clad | 1300
30 | ID-22A | BOX TYPE EXHAUST HOOD WITH BAFFLE FILTERS & FRESHER GRILL & LED LIGHTS-(1100CFM) | FABRICATED | 3450 x 1000 x 500 | 1 | 1HP | 1 | 1 | 5 / 15 Amp | Switch Socket
|  | FIRE SUPPRESSION SYSTEM | FABRICATED | 3450 x 1000 x 500 | 1
31 | ID-23 | FOOT OPERATED HAND WASH SINK WITH HOT & COLD WATER CONNECTION & WITH TISSUE HOLDER & SOAP DISPENSER PROVISION | FABRIATED | 450 x 500 x 850+450 | 1
32 | ID-24 | SS. STORGE RACK | FABRIATED | 750 x 450 x 2100Ht | 2
33 | ID-25 | 2 Door Vertical Freezer | BLUESTAR - RF2D550N | 700 x 760 x 1997Ht | 1 | 1PH | 2 | 2 | 5 / 15 Amp | Switch Socket
Total Kw-A IDLI.COM FOH | [7 empty] | 48.9
POT WASH AREA
32 | PW-01 | SOILED DISH RECEIVING TABLE WITH CHUTE AND PRE RINSE SINK UNIT | FABRICATED | 2160 x 700 x 900 + 150 | 1
33 | PW-01A | SS Round Dustbin Below with wheels | FABRICATED | 450mm Dia x 450mm ht | 1
34 | PW-02 | GREASE TRAP | NUGREEN-NGT-20 | 503 x 362 x 303Ht. | 1
35 | PW-03 | PRE-RINSE UNIT | T&S |  | 1
36 | PW-04 | WALL MOUNTED 2 TIER SHELF | FABRICATED | 900 x 300 x 150 | 1
37 | PW-05 | UNDERCOUNTER DISHWASHER MACHINE | ELECTROLUX - 400202 | 600 x 648 x 820 | 1 | 1PH | 3.65 | 3.65 | 32 AMP | Metal Clad
38 | PW-06 | TWO TIER WALL MOUNTED DISH DRAIN RACK | FABRICATED | 600 x 350 x 600 | 1
39 | PW-07 | POT RACK Floor Mounted | FABRIATED | 800 x 400 x 1800Ht. | 1
Total Kw-B- BACK KITCHEN
SOE
40 | SO-01 | RO SYSTEM | SOE (AS PER MEP) |  | 1 | AS PER MEP
41 | SO-02 | GEYSER (Cap. AS PER MEP) | RACOLD - 35 Ltrs |  | 1 | 1PH | 3 | 3 | 32 | Metal Clad
42 | SO-03 | INSECT KILLERS | SOE |  | 2 | 1PH | 0.5 | 1 | 5 / 15 Amp
43 | SO-04 | FIRE EXTINGUISHER ABC-4KG | SOE (AS PER MEP) |  | 2
44 | SO-05 | FIRE EXTINGUISHER CO/2-4.5KG | SOE (AS PER MEP) |  | 1
45 | SO-06 | FIRE EXTINGUISHER KTYPE - 6KG | SOE (AS PER MEP) |  | 2
46 | SO-07 | FIRE BLANKET - 6' X 4' | SOE (AS PER MEP) |  | 2
47 | SO-07 | FIRE SUPPRESSION SYSTEM | As per Hoods |  | 1
Total Kw-D SOE | [7 empty] | 4
Total (Kw) A+B | [7 empty] | 52.9 |  |  | 4800