## FAS
FAS
SL. No | Description | Unit | Qty | Rate | Amount
1 | Supplying, installation, testing & commissioning of intelligent analog addressable photothermal detector complete with mounting base complete as required. | Each | 8 |  | 0
2 | Supplying, installation, testing & commisssioning of intelligent addressable programmable sounder complete as required. | Each | 2 |  | 0
3 | Supplying, installation, testing & commissioning of Controle Module complete with base as required. | Each | 2 |  | 0
4 | Supplying, installation, testing & commissioning of addressable fire control or monitoring module complete as required. | Each | 4 |  | 0
5 | Supplying, installation, testing & commissioning of intelligent addressable duct detector including suitable Photo detector complete with base as required. | Each | 1 |  | 0
6 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | Each | 2 |  | 0
7 | Supplying, installation, testing & commissioning of addressable horn cum strobe complete as required. | Each | 2 |  | 0
8 | Supplying and drawing of cable Fire Retardant PVC insulated copper conductor cable in the existing surface / recessed steel conduit of following pairs, cores and size including connections and interconnections etc. as required. Speaker cable Single pair, 2-core, 1.5 sqmm | Meter | 100 |  | 0
| Integration Of FAS System | Each | 1 |  | 0
0