## Sheet1
CENTRAL KITCHEN IT ROOM-EXTRA ELECTRICAL WORKS
NT WORK
SR. NO. | DESCRIPTION | UNIT | QTY | RATE IN Rs. | TOTAL AMOUNT IN Rs.
1 | DATA System
| Supply, laying, testing of CAT-6 Cable for DATA. Including conduit | Mtr | 185 | 210 | 38850
2 | MODULAR SWITCHES
Supply, installation, testing & commissioning of following types of modular switches, cover plates, 5 sided G.I. Boxes for housing the modular switches & earthing complete as required. GI Boxes to have earth pin for body earthing. The Circuit No. and DB no. label shall be provided on all UPS ,RAW sockets and switchboards with label printer.(Make- Legrand Aretor Series)
a | 6A One Way Switch | Nos | 3 | 240 | 720 | Ret ref-central kitchen:PO/MOPA/22-23/000250
b | 6A 5 pin Socket - 1Nos. & 6A Switch - 1Nos. | Nos | 2 | 580 | 1160 | Ret ref-central kitchen:PO/MOPA/22-23/000250
c | 6/16A Socket outlet - 1Nos. & 16A Switch - 1Nos.(Raw/UPS Power) | Nos | 12 | 700 | 8400 | Ret ref-central kitchen:PO/MOPA/22-23/000250
d | Data Outlet (RJ-45) | Nos | 6 | 425 | 2550 | Ret ref-central kitchen:PO/MOPA/22-23/000250
| TOTAL AMOUNT |  |  | Rs. | 51680
|  |  |  | GST | 9302.4
M/s. ARROW ELECTRICAL |  |  |  | TOTAL | 60982.4
FINAL- Measurement Sheet
Client : | TFS
Name of Site: | CENTRAL KITCHEN IT ROOM
Nature of Work: Electrical Works
Order Number PO | NT WORK
S. No | Description | Unit | Quantity
1 | Supply, laying, testing of CAT-6 Cable for DATA. Including conduit
| Server to D1 |  | 25
| Server TO D2 |  | 25
| Server TO D3 |  | 25
| Server TO D4 |  | 25
| Server TO D5 |  | 25
| Server TO D6 |  | 30
| Server To D7 |  | 30
|  | Total Mtr | 185
2 | MODULAR ,SWITCHES&SOCKET
a | 6A One Way Switch |  | 3
b | 6A 5 pin Socket - 1Nos. & 6A Switch - 1Nos. |  | 2
c | 6/16A Socket outlet - 1Nos. & 16A Switch - 1Nos.(Raw/UPS Power) |  | 12
d | IO socket |  | 6