## TechItemDoc
ItemCode | Item Name | UOM | Qty | Unit Price | Remarks
1 | DATA System |  |  |  | Vendor Arrow Electricals
| Supply, laying, testing of CAT-6 Cable for DATA. Including conduit | Mtr | 185
2 | MODULAR SWITCHES
Supply, installation, testing & commissioning of following types of modular switches, cover plates, 5 sided G.I. Boxes for housing the modular switches & earthing complete as required. GI Boxes to have earth pin for body earthing. The Circuit No. and DB no. label shall be provided on all UPS ,RAW sockets and switchboards with label printer.(Make- Legrand Aretor Series)
a | 6A One Way Switch | Nos | 3
b | 6A 5 pin Socket - 1Nos. & 6A Switch - 1Nos. | Nos | 2
c | 6/16A Socket outlet - 1Nos. & 16A Switch - 1Nos.(Raw/UPS Power) | Nos | 12
d | Data Outlet (RJ-45) | Nos | 6