## Covering Letter DX
DX SYSTEM HVAC OFFER
To, | Date: | 21.08.2024
Blue Sea Catering & Banquets
11, Khan Abdul Gaffar Khan Road, | Ref: | NHVAC/BLU/029/24-25/R2
Worli Sea Face, Worli, Mumbai - 400030. | Tel: | 022 49397000
| Mob: | 91-83699 39694
| Email: | projects@cateringcollective.in
Kind Attn:- Mr. Pravin and Sandeep
Dear Sir,
Sub : Removing and Installation of Existing AC Units for your project at Worli, Mumbai.
We thank you for inviting us to quote for the subject site, referring to layout shared by you, please find attached the Air conditioning quote for the same.
We have quoted for DX system as per mentioned BOQ.
Scope of Work:-
Ø Removing of Existing Ductable and Hi Wall AC unit, etc.
Ø Supply & Installation of Existing Ductable AC unit, etc.
Ø Supply & Installation of Refrigerant Copper pipe with Rubber Nitrate Insulation and Clamps/Cables, etc.
Ø Supply & Installation of Drain pipe with Rubber Nitrate Insulation and Clamps/Cables, etc.
Ø Nitrogen Leak testing of refrigerant copper pipe, vaccumising and satisfactory commissioning.
Ø SITC of all material as mentioned in BOQ.
Terms & Conditions:-
As per attached Annexure -I
We hope the same is in line with your requirement. In case you need any clarification please feel free to contact us. Looking forward to hearing from you soon.
Assuring you of our best services always, we remain
Thanks & Regards,
For NOVA HVAC SYSTEM (I) PVT.LTD.
Sandip Dhepe
Design and Estimation Engineer
7738162704
Annexure I
Terms and Conditions:
For AC Equipment Supply:
The Supply of Equipment will be as per Approved Drawing from Architect/Client. The Order for the supply of Air-conditioning equipment shall be on:
M/s NOVA HVAC SYSTEMS (INDIA) PVT. LTD.
Price Basis : The rates quoted are inclusive of taxes.
Note : Statutory variations if any at the time of billing will be charged extra.
Delivery of Equipment : 1 to 2 weeks at site from the date of receipt of payment and confirm order.
Payment Equipment : 100% advance in favor of NOVA HVAC SYSTEM (I) PVT. LTD.
2
Warranty : The warranty for One year from the date of installation & Commissioning or 15 months from the date of Delivery which ever is earlier, during the period, service shall be provided quarterly. After the Warranty period your Air conditioners would be services and Maintained under a Comprehensive or Ordinary Annual Maintenance Contract (*AMC)
For Low side (Installation) works :
The Installation of Material will be as per approved Drawing from Architect, Final bill will raised as per Actual Measurement/installed at site. Any change in Drawing Layout thereafter will be charged as per Actual, the attached quote is a Budgetary Quote.
A safe storage area with proper locking arrangement has to be provided for our equipment and material, the responsibility of the equipment and material would be the sole responsibility of the site in charge.
Shop drawings : We require approximately 7-10 Days time to prepare our shop drawings, after receipt of down payment and full set of architectural, structural and electrical drawings.
Terms of Payment - Low Side Work
50% advance against PO on installation
30% delivery of material on site
10% after installation of material at site
10% after commissioning of system
Job Completion : 1-2 Months from receipt of AC Equipment at Site.
Exclusions :
Three phase power supply to be provided by Client near each condensing (outdoor) & Evaporator (indoor) unit of Ducted A/C’s.
Weather proof MCCB's(TPN) near each Outdoor A/C unit to be provided by Electrical Contractor.
Carpentry work/Removing of Window/Door Frames.
AC Condensate Drain point to be provided by Plumbing Contractor in Shaft/Toilets.
Civil work of any type like Hole opening, Trenching, chiseling, making Good of Walls, etc.
Validity of Quote : 30 days from the date of quote.

## Summary
DX HVAC SYSTEM
21.08.2024
Sr.No. | Desctiption | Basic Cost Amount (without GST) | GST Applicable (18 % for Item a) | Total Cost (including GST)
a | Low Side Works | 150920 | 27165.6 | 178085.6
Total Project Cost |  | 150920 | 27165.6 | 178085.6
Notes :
1 | All the Civil, Carpentary & Electrical Power supply point to indoor & outdoor units are in client scope except communication between Indoor & Outdoor units.
2 | Under deck insulation on roof will be done by client. (if required)
3 | Final billing will be done as per approved measurement.
4 | Any Item not mentioned in BOQ will be charged as extra.
5 | Scaffolding is not in our scope.
6 | Any kind of color coating on ducting work will be done by client. (if required)
7 | Mathadi union and warai charges are in customer/client/architect scope.
2

## HVAC
PROJECT: | BLUE SEA BANQUETS |  |  |  |  | 18.06.2024
ARCHITECT: ABM ARCHITECTS |  | ADD BOQ FOR HVAC WORKS
BILL OF QUANTITIES |  |  |  | RATE |  | AMOUNT
SR. NO. | PARTICULARS | UNIT | QTY | Supply | Installation | Supply | Installation | Remarks
4 | Removing of toilet area exhaust air ducting and neccessories items. | Lot | 1 | 0 | 3600 | 0 | 3600 | # New Item - For client approval
5 | Modification and Installation of toilet area exahust air ducting with accessories
5.1 | GI Sheet metal ducting work - 20 Gauge | Sq.m | 20 | 1106 | 448 | 22120 | 8960 | # New Item - For client approval
5.2 | 13mm thick Al.Faced XLPE insulation ('Aerofoam' or approved equivalent) | Sq.m | 20 | 276 | 162 | 5520 | 3240 | # BOQ Ref. 6.1 - For client approval
5.3 | Supply and installation of return air Disc valve (TOILET EXHAUST & FRESH AIR) 150 dia | Nos | 10 | 780 | 132 | 7800 | 1320 | # BOQ Ref. 5.9 - For client approval
5.4 | Supply Installation testing and comissioning of insulated flexible duct of given sizes. Make Twiga or equal 200 dia | Rmt | 20 | 348 | 132 | 6960 | 2640 | # BOQ Ref. 5.10 - For client approval
6 | Capacity: 400 cfm @ 15 mm WC static pressure - Exhaust Air Fan ( In-Line Direct Driven Fan) | Nos | 1 | 26824 | 2800 | 26824 | 2800 | # New Item - For client approval
7 | Capacity: 100 cfm @ 15 mm WC static pressure - Exhaust Air Fan (In-line Mixed Flow Duct Fan) MTD Silent Series | Nos | 2 | 17388 | 2100 | 34776 | 4200 | # New Item - For client approval
8 | Modification and Installation of indoor unit L-angle with required accessories. | Lot | 1 | 8960 | 11200 | 8960 | 11200 | # New Item - For client approval
[5 empty] | Sub Total | 112960 | 37960
[5 empty] | Total |  | 150920
Taxes Extra as applicable
[5 empty] | GST 18% |  | 27165.6
[5 empty] | Total with GST |  | 178085.6