## Price Comparison
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | Comp. Date : 03/08/2024 | Comp. Date : 03/08/2024 | Comp. Date : 03/08/2024 | Vendor Name : AD ASSOCIATES (RV242523197)
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ #: R1478 | RFQ #: R1478 | RFQ #: R1478 | Contact Name : DINESH BHATKAR
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ Date : 31/07/2024 17:00:37 | RFQ Date : 31/07/2024 17:00:37 | RFQ Date : 31/07/2024 17:00:37 | Vendor City :
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | BCD Date : 01/08/2024 12:00:00 | BCD Date : 01/08/2024 12:00:00 | BCD Date : 01/08/2024 12:00:00 | Telephone # :
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT |  |  |  | Mobile # : 99200 23333
PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | Email : dinesh@adaepl.com
Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Round # : 1 (RFQ) |  |  |  |  | Round # : 2 (Auction) |  |  |  |  | Round # : 3 (RFQ)
Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : |  |  |  |  | Buyer Remark : |  |  |  |  | Buyer Remark : .
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Technical | Unit Price | Total
1 |  | Blue sea refurbishment | EA | 1.00 |  | 4237288.00 | AD ASSOCIATES | 4574142.00 | 0.00 | 18.00 | 4,574,142.00 | 4,574,142.00 | 4574142.00 | 0.00 | 0.00 | 4,455,000.00 | 4,455,000.00 | 4574142.00 | 0.00 | 18.00 |  | 4,237,288.00 | 4,237,288.00
Item Total | [8 empty] | .00 | 823,345.56 |  | 4,574,142.00 |  | .00 | .00 |  | 4,455,000.00 |  | .00 | 762,711.84 |  |  | 4,237,288.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [11 empty] | 823,345.56 |  |  |  |  | .00 | [5 empty] | 762,711.84
Net Landed Cost | [10 empty] | INR | 5,397,487.56 |  |  |  | INR | 4,455,000.00 |  |  |  |  | INR | 4,999,999.84
Vendor Status | [7 empty] | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (Auction) | Round # : 2 (Auction) | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks | Status | Remarks | Status | Remarks
1 | RV242523189 | BAKAR INTERIOR | [5 empty] | Participate |  | Participate |  | Participate
2 | T055029 | ANTARA ELECTRICAL | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
3 | T054974 | UNITY ELECTRICAL | [5 empty] | Participate |  | Participate |  | Participate
4 | RV242522873 | ALEX ELECTRICAL | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
5 | T054976 | THE MAKERS | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
6 | T054970 | DESIGNWORX | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
7 | T054962 | HR INTERIORS | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
8 | T054415 | Iconic interior | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
9 | T055097 | ALEX ELECTRICALS | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
10 | T054745 | NEO ELECTRICAL | [5 empty] | Not Participate |  | Not Participate |  | Not Participate
11 | RV242523197 | AD ASSOCIATES | [5 empty] | Participate |  | Participate |  | Participate
12 | T055107 | INTER CARE ENTERPRISES | [5 empty] | Participate |  | Participate |  | Participate
13 | RV242522607 | ARROW ELECTRICALS | [5 empty] | Participate |  | Participate |  | Participate
14 | RV232422514 | Electech Enterprises | [5 empty] | Participate |  | Participate |  | Participate
15 | T055028 | AKHIL CHIRAG ELECTRICAL | [5 empty] | Participate |  | Participate |  | Participate
16 | T054523 | Gold Fingers | [5 empty] | Participate |  | Participate |  | Participate

## BOQ Price Bid
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | Comp. Date : 03/08/2024 | Comp. Date : 03/08/2024 | Comp. Date : 03/08/2024 | Vendor Name : AD ASSOCIATES | Vendor Name : AD ASSOCIATES
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ #: R1478 | RFQ #: R1478 | RFQ #: R1478 | Contact Name : DINESH BHATKAR | Contact Name : DINESH BHATKAR
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ Date : 31/07/2024 17:00:37 | RFQ Date : 31/07/2024 17:00:37 | RFQ Date : 31/07/2024 17:00:37 | Vendor City : | Vendor City :
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | BCD Date : 01/08/2024 12:00:00 | BCD Date : 01/08/2024 12:00:00 | BCD Date : 01/08/2024 12:00:00 | Telephone # : | Telephone # :
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT |  |  |  | Mobile # : 99200 23333 | Mobile # : 99200 23333
PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | Email : dinesh@adaepl.com | Email : dinesh@adaepl.com
Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :4,500,000.00 | BUDGET PRICE :4,500,000.00 | BUDGET PRICE :4,500,000.00 | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount
1 |  | Blue sea refurbishment | Blue sea refurbishment BOQ attached of Electrical | EA | 1.000 |  |  | 4,237,288.00
1 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
2 |  | MAIN PANEL SWITCHGEAR ( MAKE DB ELECTRICALS PVT LTD ) | MAIN PANEL SWITCHGEAR ( MAKE DB ELECTRICALS PVT LTD ) | 0 | 0.000 |  | 0.00 | .00
3 |  | Supply, Installation, Testing Commissioning of free standing, floor mounting compartmentalized panels fabricated out of CRCA sheet steel sections after carrying out 7 tank cleaning process duly powder coated using Siemens Grey shade no. RAL- 7032. The | Supply, Installation, Testing Commissioning of free standing, floor mounting compartmentalized panels fabricated out of CRCA sheet steel sections after carrying out 7 tank cleaning process duly powder coated using Siemens Grey shade no. RAL- 7032. The | 0 | 0.000 |  | 0.00 | .00
4 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
5 |  | Supply, Installation, Testing Commissioning of MAIN LT PANEL as per SLD | Supply, Installation, Testing Commissioning of MAIN LT PANEL as per SLD | Nos | 1.000 |  | 0.00 | .00
6 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
7 |  | Supply, Installation, Testing Commissioning of KITCHEN PANEL as per SLD | Supply, Installation, Testing Commissioning of KITCHEN PANEL as per SLD | Nos | 1.000 |  | 0.00 | .00
8 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
9 |  | Supply, Installation, Testing Commissioning of APFC PANEL as per SLD | Supply, Installation, Testing Commissioning of APFC PANEL as per SLD | Nos | 1.000 |  | 0.00 | .00
10 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
11 |  | Supply, Installation, Testing Commissioning of switchgear with enclosure which shall be dust vermin proof with blank plates if required as per the final approval of Consultant. | Supply, Installation, Testing Commissioning of switchgear with enclosure which shall be dust vermin proof with blank plates if required as per the final approval of Consultant. | 0 | 0.000 |  | 0.00 | .00
12 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
13 |  | 250 A TPN MCCB Thermal magnetic type (25KA) in MS powdercoated enclosure complete with all mounting accessories like cable end box etc. as per site requirement. | 250 A TPN MCCB Thermal magnetic type (25KA) in MS powdercoated enclosure complete with all mounting accessories like cable end box etc. as per site requirement. | Nos. | 0.000 |  | 0.00 | .00
14 |  | 100 A TPN MCCB Thermal magnetic type (16KA) in MS powdercoated enclosure complete with all mounting accessories like cable end box etc. as per site requirement. | 100 A TPN MCCB Thermal magnetic type (16KA) in MS powdercoated enclosure complete with all mounting accessories like cable end box etc. as per site requirement. | Nos. | 0.000 |  | 0.00 | .00
15 |  | 63 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. | 63 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. | Nos. | 8.000 |  | 0.00 | .00
16 |  | 40 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. | 40 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. | Nos. | 0.000 |  | 0.00 | .00
17 |  | 25 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. | 25 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. | Nos. | 3.000 |  | 0.00 | .00
18 |  | SCAME ominia series switched socket outlets with interlock, flush mounting back box, frame complete with gasket. IP 67 Rating 32 A 2 pin Earth Socket outlet plug. | SCAME ominia series switched socket outlets with interlock, flush mounting back box, frame complete with gasket. IP 67 Rating 32 A 2 pin Earth Socket outlet plug. | Nos. | 12.000 |  | 0.00 | .00
19 |  | SCAME ominia series switched socket outlets with interlock, flush mounting back box, frame complete with gasket. IP 67 Rating 32 A 3 phase + Neutral Earth Socket outlet plug. | SCAME ominia series switched socket outlets with interlock, flush mounting back box, frame complete with gasket. IP 67 Rating 32 A 3 phase + Neutral Earth Socket outlet plug. | Nos. | 12.000 |  | 0.00 | .00
20 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
21 |  | TOTAL FOR MAIN PANEL SWITCHGEAR | TOTAL FOR MAIN PANEL SWITCHGEAR | 0 | 0.000 |  | 0.00 | .00
22 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
23 |  | DISTRIBUTION BOARDS | DISTRIBUTION BOARDS | 0 | 0.000 |  | 0.00 | .00
24 |  | Supply, Installation, Testing Commissioning of Distribution boards surface flush mounted with Double Door containing MCB ELMCB as incomer and SP MCB as outgoing. All MCB s are of 10KA breaking capacity ELMCB RCCB should be of 30mA 100mA sensitivity. | Supply, Installation, Testing Commissioning of Distribution boards surface flush mounted with Double Door containing MCB ELMCB as incomer and SP MCB as outgoing. All MCB s are of 10KA breaking capacity ELMCB RCCB should be of 30mA 100mA sensitivity. | 0 | 0.000 |  | 0.00 | .00
25 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
26 |  | Normal Power Light DB | Normal Power Light DB | Nos | 5.000 |  | 0.00 | .00
27 |  | 6 way TPN DB - Model NO. 507671 | 6 way TPN DB - Model NO. 507671 | 0 | 0.000 |  | 0.00 | .00
28 |  | Incomer 1 X 63A 4 POLE MCB | Incomer 1 X 63A 4 POLE MCB | 0 | 0.000 |  | 0.00 | .00
29 |  | Sub Incomer 3 X 40A 2P RCCB-100mA | Sub Incomer 3 X 40A 2P RCCB-100mA | 0 | 0.000 |  | 0.00 | .00
30 |  | Outgoing 12 # 10 16 20 A SP MCB C Type | Outgoing 12 # 10 16 20 A SP MCB C Type | 0 | 0.000 |  | 0.00 | .00
31 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
32 |  | TOTAL FOR DISTRIBUTION BOARDS | TOTAL FOR DISTRIBUTION BOARDS | 0 | 0.000 |  | 0.00 | .00
33 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
34 |  | CABLES AND ACCESSORIES | CABLES AND ACCESSORIES | 0 | 0.000 |  | 0.00 | .00
35 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
36 |  | Supply and installation of following LT cables rated for 600 1100 volt AC as per IS standard1554 part-I with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with temporary labe | Supply and installation of following LT cables rated for 600 1100 volt AC as per IS standard1554 part-I with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with temporary labe | 0 | 0.000 |  | 0.00 | .00
37 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
38 |  | 31 2C x 240 Sq. mm Al. conductor armoured cable | 31 2C x 240 Sq. mm Al. conductor armoured cable | Mtr | 0.000 |  | 0.00 | .00
39 |  | 3.5C x 95 Sq. mm Al. conductor armoured cable | 3.5C x 95 Sq. mm Al. conductor armoured cable | Mtr | 0.000 |  | 0.00 | .00
40 |  | 4C x 50 Sq. mm Al. conductor armoured cable | 4C x 50 Sq. mm Al. conductor armoured cable | Mtr | 0.000 |  | 0.00 | .00
41 |  | 4C x 25 sq.mm. Al. conductor armoured cable | 4C x 25 sq.mm. Al. conductor armoured cable | Mtr. | 0.000 |  | 0.00 | .00
42 |  | 4C x 10 sq.mm. Copper conductor armoured cable - AC Unit, DB etc. | 4C x 10 sq.mm. Copper conductor armoured cable - AC Unit, DB etc. | Mtr. | 500.000 |  | 0.00 | .00
43 |  | 4C x 6 sq.mm. Copper conductor armoured cable - AC Unit, DB etc | 4C x 6 sq.mm. Copper conductor armoured cable - AC Unit, DB etc | Mtr. | 220.000 |  | 0.00 | .00
44 |  | 3C x 6 sq.mm. Copper conductor armoured cable | 3C x 6 sq.mm. Copper conductor armoured cable | Mtr. | 0.000 |  | 0.00 | .00
45 |  | 4C x 4 sq.mm. Copper conductor armoured cable. | 4C x 4 sq.mm. Copper conductor armoured cable. | Mtr. | 140.000 |  | 0.00 | .00
46 |  | 3C x 4 sq.mm. Copper conductor armoured cable. (AC, Power socket) | 3C x 4 sq.mm. Copper conductor armoured cable. (AC, Power socket) | Mtr. | 0.000 |  | 0.00 | .00
47 |  | 3C x 2.5 sq.mm. Copper conductor armoured cable (AC, Power socket) | 3C x 2.5 sq.mm. Copper conductor armoured cable (AC, Power socket) | Mtr. | 140.000 |  | 0.00 | .00
48 |  | 3C x 1.5 sq.mm. Copper conductor armoured cable (AC, Power socket) | 3C x 1.5 sq.mm. Copper conductor armoured cable (AC, Power socket) | Mtr. | 275.000 |  | 0.00 | .00
49 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
50 |  | Terminations for following sizes of cables | Terminations for following sizes of cables | 0 | 0.000 |  | 0.00 | .00
51 |  | Termination of the below sizes of cables with Heavy duty double compression Brass cable glands Alluminium or copper heavy duty lugs as per requirements. (4c 3.5c 3c) | Termination of the below sizes of cables with Heavy duty double compression Brass cable glands Alluminium or copper heavy duty lugs as per requirements. (4c 3.5c 3c) | 0 | 0.000 |  | 0.00 | .00
52 |  | 31 2C x 240 Sq. mm Al. conductor armoured cable | 31 2C x 240 Sq. mm Al. conductor armoured cable | Nos. | 2.000 |  | 0.00 | .00
53 |  | 3.5C x 95 Sq. mm Al. conductor armoured cable | 3.5C x 95 Sq. mm Al. conductor armoured cable | Nos. | 1.000 |  | 0.00 | .00
54 |  | 3.5 4C x 50 Sq. mm Al. conductor armoured cable | 3.5 4C x 50 Sq. mm Al. conductor armoured cable | Nos. | 1.000 |  | 0.00 | .00
55 |  | 4C x 25 16 sq.mm. Al.conductor armoured cable. | 4C x 25 16 sq.mm. Al.conductor armoured cable. | Nos. | 24.000 |  | 0.00 | .00
56 |  | 3c 4C x 10 16 sq.mm. Copper conductor armoured cable - AC Unit, DB etc. | 3c 4C x 10 16 sq.mm. Copper conductor armoured cable - AC Unit, DB etc. | Nos. | 24.000 |  | 0.00 | .00
57 |  | 3c 4C x 6 4 sq.mm. Copper conductor armoured cable. | 3c 4C x 6 4 sq.mm. Copper conductor armoured cable. | Nos. | 10.000 |  | 0.00 | .00
58 |  | 4c 3C x 2.5 1.5 sq.mm. Copper conductor armoured cable (AC, Power socket) | 4c 3C x 2.5 1.5 sq.mm. Copper conductor armoured cable (AC, Power socket) | Nos. | 20.000 |  | 0.00 | .00
59 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
60 |  | TOTAL FOR CABLES AND ACCESSORIES | TOTAL FOR CABLES AND ACCESSORIES | 0 | 0.000 |  | 0.00 | .00
61 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
62 |  | WIRING ACCESSORIES – | WIRING ACCESSORIES – | 0 | 0.000 |  | 0.00 | .00
63 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
64 |  | Supply, installation, testing commissioning of wiring for light points, power points including Circuit wiring from Distribution Board upto switch board or first light point for circuits controlled directly by MCB and shall be measured on per point basi | Supply, installation, testing commissioning of wiring for light points, power points including Circuit wiring from Distribution Board upto switch board or first light point for circuits controlled directly by MCB and shall be measured on per point basi | 0 | 0.000 |  | 0.00 | .00
65 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
66 |  | PRIMARY POINT WIRING from switch board to first light point in 25 mm dia. PVC conduit using 2 x 1.5 sq. mm PVC insulated copper wires and 1.5 sq. mm green color PVC insulated copper wire for earthing. Conduits to be surface mounted on ceiling, concealed | PRIMARY POINT WIRING from switch board to first light point in 25 mm dia. PVC conduit using 2 x 1.5 sq. mm PVC insulated copper wires and 1.5 sq. mm green color PVC insulated copper wire for earthing. Conduits to be surface mounted on ceiling, concealed | Nos | 55.000 |  | 0.00 | .00
67 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
68 |  | Providing point wiring for Secondary light points using 2 x 1.0 sq. mm copper conductor PVC insulated wires and 1.0 sq. mm PVC insulated green color copper earth wire for continuous earthing up to fixture in PVC conduits of 20 mm dia, surface mounted on c | Providing point wiring for Secondary light points using 2 x 1.0 sq. mm copper conductor PVC insulated wires and 1.0 sq. mm PVC insulated green color copper earth wire for continuous earthing up to fixture in PVC conduits of 20 mm dia, surface mounted on c | Nos | 350.000 |  | 0.00 | .00
69 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
70 |  | Providing Automation light points wiring using 2 runs x 2.5 sq. mm copper conductor PVC insulated wires and 1 run of 2.5 sq. mm PVC insulated green colour copper earth wire for continuous earthing upto fixture switch board in PVC conduits of 20 mm dia, | Providing Automation light points wiring using 2 runs x 2.5 sq. mm copper conductor PVC insulated wires and 1 run of 2.5 sq. mm PVC insulated green colour copper earth wire for continuous earthing upto fixture switch board in PVC conduits of 20 mm dia, | Mtr | 2000.000 |  | 0.00 | .00
71 |  | Providing Automation Light light points using 2 core x 1 sq. mm copper conductor PVC insulated flexible cable upto fixture from automation DB in PVC conduits of 20 mm dia, surface mounted on ceiling, concealed in wall and or through partitions with necess | Providing Automation Light light points using 2 core x 1 sq. mm copper conductor PVC insulated flexible cable upto fixture from automation DB in PVC conduits of 20 mm dia, surface mounted on ceiling, concealed in wall and or through partitions with necess | Mtr | 500.000 |  | 0.00 | .00
72 |  | Providing wiring in existing conduits 3 runs of 2.5 sq.mm. PVC insulated wires FRLS grade for Power socket outlets. | Providing wiring in existing conduits 3 runs of 2.5 sq.mm. PVC insulated wires FRLS grade for Power socket outlets. | mtr | 1000.000 |  | 0.00 | .00
73 |  | Providing wiring in existing conduits 2 runs of 4 sq.mm. 1 runs of 2.5 sq.mm.PVC insulated wires FRLS grade for Power socket outlets. | Providing wiring in existing conduits 2 runs of 4 sq.mm. 1 runs of 2.5 sq.mm.PVC insulated wires FRLS grade for Power socket outlets. | mtr | 500.000 |  | 0.00 | .00
74 |  | Providing 3 core x 2.5 sq.mm. PVC insulated flexible cables for Power socket outlets through existing conduits trays raceways. | Providing 3 core x 2.5 sq.mm. PVC insulated flexible cables for Power socket outlets through existing conduits trays raceways. | mtr | 1500.000 |  | 0.00 | .00
75 |  | Providing 3 core x 4 sq.mm. PVC insulated flexible cables for Power socket outlets through existing conduits trays raceways. | Providing 3 core x 4 sq.mm. PVC insulated flexible cables for Power socket outlets through existing conduits trays raceways. | mtr | 1000.000 |  | 0.00 | .00
76 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
77 |  | Supply Installation of Hot dipped Cable Tray complete with necessary fixing arrangements like threaded rod,or angle supports, Anchor Fastner and all other accessories, as per the final approval of the Consultant Architect. | Supply Installation of Hot dipped Cable Tray complete with necessary fixing arrangements like threaded rod,or angle supports, Anchor Fastner and all other accessories, as per the final approval of the Consultant Architect. | 0 | 0.000 |  | 0.00 | .00
78 |  | 150 x 50 x1.6 mm Ladder type Cable tray. | 150 x 50 x1.6 mm Ladder type Cable tray. | Mtr | 20.000 |  | 0.00 | .00
79 |  | 300 x 50 x1.6 mm Ladder type Cable tray. | 300 x 50 x1.6 mm Ladder type Cable tray. | Mtr | 100.000 |  | 0.00 | .00
80 |  | 150 x 50 x1.6 mm Perforated type Cable tray. | 150 x 50 x1.6 mm Perforated type Cable tray. | Mtr | 30.000 |  | 0.00 | .00
81 |  | 300 x 50 x1.6 mm Perforated type Cable tray. | 300 x 50 x1.6 mm Perforated type Cable tray. | Mtr | 50.000 |  | 0.00 | .00
82 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
83 |  | Supply installation of AL raceway with 1.6 mm thickness having fixed with clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included wherever required) DATA | Supply installation of AL raceway with 1.6 mm thickness having fixed with clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included wherever required) DATA | 0 | 0.000 |  | 0.00 | .00
84 |  | a) 1 Runs of underfloor Electrical Al. raceways of size 63x38 mm | a) 1 Runs of underfloor Electrical Al. raceways of size 63x38 mm | Mtr | 100.000 |  | 0.00 | .00
85 |  | b) 1 Runs of underfloor Data Al. raceways of size 100x40 mm | b) 1 Runs of underfloor Data Al. raceways of size 100x40 mm | Mtr | 100.000 |  | 0.00 | .00
86 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
87 |  | Supply installation of GI junction boxes with 2mm thickness, openable cover on top having screw-fixed plates on all four sides with knock-out holes for conduits. The plates shall be retained on the sides having no conduit or raceway so as to avoid the | Supply installation of GI junction boxes with 2mm thickness, openable cover on top having screw-fixed plates on all four sides with knock-out holes for conduits. The plates shall be retained on the sides having no conduit or raceway so as to avoid the | 0 | 0.000 |  | 0.00 | .00
88 |  | a) suitable for 550 x 550 x 50 65 | a) suitable for 550 x 550 x 50 65 | Nos | 1.000 |  | 0.00 | .00
89 |  | b) suitable for 450 x 450 x 50 65 | b) suitable for 450 x 450 x 50 65 | Nos | 1.000 |  | 0.00 | .00
90 |  | c) suitable for 350 x 350 x 50 65 | c) suitable for 350 x 350 x 50 65 | Nos | 1.000 |  | 0.00 | .00
91 |  | d) suitable for 300 X 300 x 50 65 | d) suitable for 300 X 300 x 50 65 | Nos | 5.000 |  | 0.00 | .00
92 |  | e) suitable for 150 X 150 x 50 65 | e) suitable for 150 X 150 x 50 65 | Nos | 5.000 |  | 0.00 | .00
93 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
94 |  | Supply Installation of 25mm.dia. Medium gauge (MMS) PVC conduit with pull box junction box all accessories for Voice Data Power wiring as per the requirement. | Supply Installation of 25mm.dia. Medium gauge (MMS) PVC conduit with pull box junction box all accessories for Voice Data Power wiring as per the requirement. | Mtr | 500.000 |  | 0.00 | .00
95 |  | Supply Installation of 25mm.dia. PVC flexible conduit pipe | Supply Installation of 25mm.dia. PVC flexible conduit pipe | Mtr | 50.000 |  | 0.00 | .00
96 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
97 |  | Supply, Installation, Testing Commissioning of flush mounted plate type switch switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant. | Supply, Installation, Testing Commissioning of flush mounted plate type switch switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant. | 0 | 0.000 |  | 0.00 | .00
98 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
99 |  | 6A One way plate type switch - SWITCH Myris NG Black color finish. | 6A One way plate type switch - SWITCH Myris NG Black color finish. | Nos | 30.000 |  | 0.00 | .00
100 |  | 3M Plate for above Switch - Myris NG Plate Pearl Chapagne or black color finish. | 3M Plate for above Switch - Myris NG Plate Pearl Chapagne or black color finish. | Nos | 10.000 |  | 0.00 | .00
101 |  | 3M Box for above Switch - Myris NG. | 3M Box for above Switch - Myris NG. | Nos | 10.000 |  | 0.00 | .00
102 |  | 6A switch controlling 1 no. 3 pin 6A socket outlet complete with Modular plate metal back box. Myris or equivalent Plate Pearl Chapagne cover plate or black color finish | 6A switch controlling 1 no. 3 pin 6A socket outlet complete with Modular plate metal back box. Myris or equivalent Plate Pearl Chapagne cover plate or black color finish | Nos | 5.000 |  | 0.00 | .00
103 |  | 2 nos. x 16A switch controlling 2 nos. 6 pin 6 16A socket outlet complete with Modular plate metal back box. Myris or equivalent Plate Pearl Chapagne or black finish cover plate | 2 nos. x 16A switch controlling 2 nos. 6 pin 6 16A socket outlet complete with Modular plate metal back box. Myris or equivalent Plate Pearl Chapagne or black finish cover plate | Sets | 20.000 |  | 0.00 | .00
104 |  | 2 nos. 16A switch controlling 2 nos. 6 pin 6 16 A socket outlet complete with Modular plate metal back box. Myris or equivalent WHITE | 2 nos. 16A switch controlling 2 nos. 6 pin 6 16 A socket outlet complete with Modular plate metal back box. Myris or equivalent WHITE | Nos | 20.000 |  | 0.00 | .00
105 |  | 1 x 16A switch controlling 1 no. 6 pin 6 16 A socket outlet complete with Modular plate metal back box. Myris or equivalent WHITE | 1 x 16A switch controlling 1 no. 6 pin 6 16 A socket outlet complete with Modular plate metal back box. Myris or equivalent WHITE | Nos | 5.000 |  | 0.00 | .00
106 |  | 6A switch controlling 1 no. 3 pin 6A socket, 1no. C Power outlet, 1 no. USB outlet,1 no. Blank plate complete with Modular plate metal back box. Myris NG Plate Pearl Chapagne or black color finish. | 6A switch controlling 1 no. 3 pin 6A socket, 1no. C Power outlet, 1 no. USB outlet,1 no. Blank plate complete with Modular plate metal back box. Myris NG Plate Pearl Chapagne or black color finish. | Nos | 5.000 |  | 0.00 | .00
107 |  | Back box suitable for mounting Network Outlets. | Back box suitable for mounting Network Outlets. | Nos | 5.000 |  | 0.00 | .00
108 |  | Arranging temporary Power Lighting for all agencies to work including suitable protection through MCBs ELCBs MCCBs wiring cabling. The temporary switch Boards should have minimum 4 Nos of 6A 16A Switch sockets plus two nos of Metal Clad sockets (Sin | Arranging temporary Power Lighting for all agencies to work including suitable protection through MCBs ELCBs MCCBs wiring cabling. The temporary switch Boards should have minimum 4 Nos of 6A 16A Switch sockets plus two nos of Metal Clad sockets (Sin | Lumpsum | 1.000 |  | 0.00 | .00
109 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
110 |  | TOTAL FOR WIRING ACCESSORIES | TOTAL FOR WIRING ACCESSORIES | 0 | 0.000 |  | 0.00 | .00
111 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
112 |  | EARTHING | EARTHING | 0 | 0.000 |  | 0.00 | .00
113 |  | 0 | 0 | 0 | 0.000 |  | 0.00 | .00
114 |  | Supplying and erecting GI strip of 25 x 6 mm used for earthing on wall with necessary MS clamps fixed on wall painted with bituminous paint in an approved manner (Joints are to be Bolted Welded ) | Supplying and erecting GI strip of 25 x 6 mm used for earthing on wall with necessary MS clamps fixed on wall painted with bituminous paint in an approved manner (Joints are to be Bolted Welded ) | Mtr. | 100.000 |  | 0.00 | .00
115 |  | Supplying and erecting Earth tap off box with Cu strip of 30 x 6 mm of 300mm length in 350X200X85 box with acralic facia used for earthing on wall with necessary clamps fixed on wall painted with bituminous paint in an approved manner (Joints are to be ti | Supplying and erecting Earth tap off box with Cu strip of 30 x 6 mm of 300mm length in 350X200X85 box with acralic facia used for earthing on wall with necessary clamps fixed on wall painted with bituminous paint in an approved manner (Joints are to be ti | Nos. | 2.000 |  | 30.00 | 60.00
116 |  | Supplying and erecting bare copper conductor of 14 SWG for earthing purpose of DBs AC machine | Supplying and erecting bare copper conductor of 14 SWG for earthing purpose of DBs AC machine | Mtr | 300.000 |  | 40.00 | 12,000.00
117 |  | 0 | 0 | 0 | 0.000 |  | 40.00 | .00
118 |  | TOTAL FOR EARTHING | TOTAL FOR EARTHING | 0 | 0.000 |  | 40.00 | .00
119 |  | 0 | 0 | 0 | 0.000 |  | 40.00 | .00
120 |  | LOW VOLTAGE SYSTEM | LOW VOLTAGE SYSTEM | 0 | 0.000 |  | 50.00 | .00
121 |  | 0 | 0 | 0 | 0.000 |  | 60.00 | .00
122 |  | ADDRESSABLE FIRE ALARM SYSTEM( RAVEL MAKE - UL APPROVED) | ADDRESSABLE FIRE ALARM SYSTEM( RAVEL MAKE - UL APPROVED) | 0 | 0.000 |  | 60.00 | .00
123 |  | 0 | 0 | 0 | 0.000 |  | 70.00 | .00
124 |  | 2 Loop Addressable Fire Alarm Panel Intelligent Fire Alarm Control Panel - Addressable Devices, Bell Circuit, Integrated PSU with Battery Charger Batteries, (Certificated by LPCB or UL) | 2 Loop Addressable Fire Alarm Panel Intelligent Fire Alarm Control Panel - Addressable Devices, Bell Circuit, Integrated PSU with Battery Charger Batteries, (Certificated by LPCB or UL) | Nos. | 1.000 |  | 70.00 | 70.00
125 |  | 0 | 0 | 0 | 0.000 |  | 70.00 | .00
126 |  | Addressable Manual Call Point Semi FlushMounting Re-settable, Supplied with Special Reset Tool | Addressable Manual Call Point Semi FlushMounting Re-settable, Supplied with Special Reset Tool | Nos. | 3.000 |  | 70.00 | 210.00
127 |  | 0 | 0 | 0 | 0.000 |  | 80.00 | .00
128 |  | Addressable Combined Sounder and Strobe, Loop Powered and 24VDC. | Addressable Combined Sounder and Strobe, Loop Powered and 24VDC. | Nos. | 3.000 |  | 80.00 | 240.00
129 |  | 0 | 0 | 0 | 0.000 |  | 90.00 | .00
130 |  | Addressable Smoke Detector Intelligent Optical Detector, Above False Below Ceiling | Addressable Smoke Detector Intelligent Optical Detector, Above False Below Ceiling | Nos. | 70.000 |  | 90.00 | 6,300.00
131 |  | 0 | 0 | 0 | 0.000 |  | 100.00 | .00
132 |  | Addressable hEAT Detector, Above False Below Ceiling | Addressable hEAT Detector, Above False Below Ceiling | Nos. | 5.000 |  | 110.00 | 550.00
133 |  | 0 | 0 | 0 | 0.000 |  | 120.00 | .00
134 |  | Response Indicator for AFC Detectors | Response Indicator for AFC Detectors | Nos. | 20.000 |  | 120.00 | 2,400.00
135 |  | 0 | 0 | 0 | 0.000 |  | 140.00 | .00
136 |  | AUTO DIALLYING System | AUTO DIALLYING System | Nos. | 0.000 |  | 140.00 | .00
137 |  | 0 | 0 | 0 | 0.000 |  | 160.00 | .00
138 |  | Short Circuit Isolator Module | Short Circuit Isolator Module | Nos. | 3.000 |  | 160.00 | 480.00
139 |  | 0 | 0 | 0 | 0.000 |  | 170.00 | .00
140 |  | Addressable Relay Module. | Addressable Relay Module. | Nos. | 3.000 |  | 170.00 | 510.00
141 |  | 0 | 0 | 0 | 0.000 |  | 180.00 | .00
142 |  | MS Junction Box with GI Glands for AFC True Ceiling Detectors Modules | MS Junction Box with GI Glands for AFC True Ceiling Detectors Modules | Nos. | 40.000 |  | 180.00 | 7,200.00
143 |  | 0 | 0 | 0 | 0.000 |  | 180.00 | .00
144 |  | Supply, installation of 2C x 1.0 sq. mm FRLS armoured cable RED in color for Fire Alarm Works System. The cost is inclusive of termination as per standard practice or as advised by Consultant. MAKE -CENTURY CABLE | Supply, installation of 2C x 1.0 sq. mm FRLS armoured cable RED in color for Fire Alarm Works System. The cost is inclusive of termination as per standard practice or as advised by Consultant. MAKE -CENTURY CABLE | Mtr | 1050.000 |  | 190.00 | 199,500.00
145 |  | 0 | 0 | 0 | 0.000 |  | 210.00 | .00
146 |  | SUB TOTAL FOR FIRE ALARM SYSTEM | SUB TOTAL FOR FIRE ALARM SYSTEM | 0 | 0.000 |  | 230.00 | .00
147 |  | 0 | 0 | 0 | 0.000 |  | 250.00 | .00
148 |  | CCTV SYSTEM cabling | CCTV SYSTEM cabling | 0 | 0.000 |  | 280.00 | .00
149 |  | 0 | 0 | 0 | 0.000 |  | 300.00 | .00
150 |  | SITC of CAT 6 - 4 Pair UTP Cable (1 Box = 305 Mtrs ) ( Make COMMSCOPE ), including termination, connection, testing etc | SITC of CAT 6 - 4 Pair UTP Cable (1 Box = 305 Mtrs ) ( Make COMMSCOPE ), including termination, connection, testing etc | Mtr | 610.000 |  | 320.00 | 195,200.00
151 |  | Co-ordination charges for CCTV equipments. | Co-ordination charges for CCTV equipments. | LS | 1.000 |  | 370.00 | 370.00
152 |  | 0 | 0 | 0 | 0.000 |  | 370.00 | .00
153 |  | SUB TOTAL FOR CCTV EQUIPMENTS | SUB TOTAL FOR CCTV EQUIPMENTS | 0 | 0.000 |  | 370.00 | .00
154 |  | 0 | 0 | 0 | 0.000 |  | 370.00 | .00
155 |  | DJ CONSOLE PROJECTOR TV CABLING | DJ CONSOLE PROJECTOR TV CABLING | 0 | 0.000 |  | 370.00 | .00
156 |  | 0 | 0 | 0 | 0.000 |  | 370.00 | .00
157 |  | Removing relaying speaker MIC cables as directed by Architect Consultants.(Labour charges only) | Removing relaying speaker MIC cables as directed by Architect Consultants.(Labour charges only) | Mtr | 100.000 |  | 370.00 | 37,000.00
158 |  | Removing relaying HDMI cables as directed by Architect Consultants.(Labour charges only) | Removing relaying HDMI cables as directed by Architect Consultants.(Labour charges only) | Mtr | 100.000 |  | 370.00 | 37,000.00
159 |  | Removing relaying Power cables as directed by Architect Consultants.(Labour charges only) | Removing relaying Power cables as directed by Architect Consultants.(Labour charges only) | Mtr | 100.000 |  | 400.00 | 40,000.00
160 |  | 0 | 0 | 0 | 0.000 |  | 410.00 | .00
161 |  | TOTAL FOR PA SYSTEM | TOTAL FOR PA SYSTEM | 0 | 0.000 |  | 410.00 | .00
162 |  | 0 | 0 | 0 | 0.000 |  | 410.00 | .00
163 |  | TELEPHONE SYSTEM – MAIN WIRING | TELEPHONE SYSTEM – MAIN WIRING | 0 | 0.000 |  | 420.00 | .00
164 |  | 0 | 0 | 0 | 0.000 |  | 450.00 | .00
165 |  | Supply Installation of 25mm.dia. Medium gauge (MMS) PVC conduit with pull box junction box all accessories for Voice Data Power wiring as per the requirement. | Supply Installation of 25mm.dia. Medium gauge (MMS) PVC conduit with pull box junction box all accessories for Voice Data Power wiring as per the requirement. | Mtr | 500.000 |  | 450.00 | 225,000.00
166 |  | 25 dia flexible conduit | 25 dia flexible conduit | Mtr. | 75.000 |  | 460.00 | 34,500.00
167 |  | Supply, installation of CAT 6 - 4 Pair UTP Cable ( 1 Box = 305 Mtrs ) ( Make COMMSCOPE ) | Supply, installation of CAT 6 - 4 Pair UTP Cable ( 1 Box = 305 Mtrs ) ( Make COMMSCOPE ) | Mtr. | 305.000 |  | 480.00 | 146,400.00
168 |  | Testing of all Terminations using Fluke Cable Analyser. The cost quoted is including Information outlet. | Testing of all Terminations using Fluke Cable Analyser. The cost quoted is including Information outlet. | Nos | 8.000 |  | 520.00 | 4,160.00
169 |  | Supply Installation of Dual I O Face Plate ( Make COMMSCOPE ) | Supply Installation of Dual I O Face Plate ( Make COMMSCOPE ) | Nos | 8.000 |  | 580.00 | 4,640.00
170 |  | Supply Installation of CAT 6 I O ( Make COMMSCOPE ) | Supply Installation of CAT 6 I O ( Make COMMSCOPE ) | Nos | 8.000 |  | 600.00 | 4,800.00
171 |  | Telephone patch cord | Telephone patch cord | Nos. | 8.000 |  | 640.00 | 5,120.00
172 |  | 0 | 0 | 0 | 0.000 |  | 770.00 | .00
173 |  | TOTAL FOR TELEPHONE DISTRIBUTION | TOTAL FOR TELEPHONE DISTRIBUTION | 0 | 0.000 |  | 820.00 | .00
174 |  | 0 | 0 | 0 | 0.000 |  | 830.00 | .00
175 |  | DATA (NETWORK SYSTEM) | DATA (NETWORK SYSTEM) | 0 | 0.000 |  | 840.00 | .00
176 |  | 0 | 0 | 0 | 0.000 |  | 850.00 | .00
177 |  | Supply, installation of CAT 6 - 4 Pair UTP Cable ( 1 Box = 305 Mtrs ) ( Make COMMSCOPE ) | Supply, installation of CAT 6 - 4 Pair UTP Cable ( 1 Box = 305 Mtrs ) ( Make COMMSCOPE ) | Mtr. | 610.000 |  | 1040.00 | 634,400.00
178 |  | Testing of all Terminations using Fluke Cable Analyser. The cost quoted is including Information outlet. | Testing of all Terminations using Fluke Cable Analyser. The cost quoted is including Information outlet. | Nos | 8.000 |  | 1170.00 | 9,360.00
179 |  | Supply Installation of Dual I O Face Plate ( Make COMMSCOPE ) | Supply Installation of Dual I O Face Plate ( Make COMMSCOPE ) | Nos | 8.000 |  | 1190.00 | 9,520.00
180 |  | Supply Installation of CAT 6 I O ( Make COMMSCOPE ) | Supply Installation of CAT 6 I O ( Make COMMSCOPE ) | Nos | 8.000 |  | 1200.00 | 9,600.00
181 |  | Supply, Installation, testing commissioning of 48 port patch panel ( Make COMMSCOPE ) | Supply, Installation, testing commissioning of 48 port patch panel ( Make COMMSCOPE ) | Nos. | 0.000 |  | 1290.00 | .00
182 |  | Supply, installation of 1 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) | Supply, installation of 1 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) | Nos | 8.000 |  | 1500.00 | 12,000.00
183 |  | Supply, installation of 2 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) | Supply, installation of 2 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) | Nos | 8.000 |  | 1600.00 | 12,800.00
184 |  | Supply, installation of 5 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) | Supply, installation of 5 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) | Nos | 0.000 |  | 2050.00 | .00
185 |  | PVC Horizontal Cable Manager | PVC Horizontal Cable Manager | Nos | 0.000 |  | 2210.00 | .00
186 |  | Jack panel 24 Port (Voice Data) | Jack panel 24 Port (Voice Data) | Nos | 1.000 |  | 2300.00 | 2,300.00
187 |  | Supply, Installation of 6 core multimode armoured OFC cable on existing cable tray (Make COMMSCOPE) | Supply, Installation of 6 core multimode armoured OFC cable on existing cable tray (Make COMMSCOPE) | Mtr. | 0.000 |  | 2430.00 | .00
188 |  | OFC Termination of Fiber Cores using Fusion Splicing Method | OFC Termination of Fiber Cores using Fusion Splicing Method | Nos. | 0.000 |  | 2440.00 | .00
189 |  | OFC Testing of Fiber Cores After Termination | OFC Testing of Fiber Cores After Termination | Nos. | 0.000 |  | 2440.00 | .00
190 |  | Documentation Includes Updation of Drawing Specifying Data, Voice Points on Floor Plan, Soft Copy Hard Copy of all Test Reports Certification 20 year performance guarantee Certificate by Schneider ensuring installation is done as per TIA EIA or | Documentation Includes Updation of Drawing Specifying Data, Voice Points on Floor Plan, Soft Copy Hard Copy of all Test Reports Certification 20 year performance guarantee Certificate by Schneider ensuring installation is done as per TIA EIA or | LS | 0.000 |  | 2730.00 | .00
191 |  | HEAT MAP ANALYSIS TEST FOR WIFI NETWORK Test to plan and create Wi-Fi networks according to client performance and capacity requirements and simulating real-life application usage such as VoIP, HD video streaming and web browsing. | HEAT MAP ANALYSIS TEST FOR WIFI NETWORK Test to plan and create Wi-Fi networks according to client performance and capacity requirements and simulating real-life application usage such as VoIP, HD video streaming and web browsing. | LS | 0.000 |  | 3220.00 | .00
192 |  | 0 | 0 | 0 | 0.000 |  | 3220.00 | .00
193 |  | TOTAL FOR NETWORKING | TOTAL FOR NETWORKING | 0 | 0.000 |  | 3800.00 | .00
194 |  | 0 | 0 | 0 | 0.000 |  | 4140.00 | .00
195 |  | LIGHTING FIXTURES Labour charges towards Installation Only | LIGHTING FIXTURES Labour charges towards Installation Only | 0 | 0.000 |  | 4140.00 | .00
196 |  | 0 | 0 | 0 | 0.000 |  | 4300.00 | .00
197 |  | Linear profile light for ceiling Cove light | Linear profile light for ceiling Cove light | mtr. | 165.000 |  | 5980.00 | 986,700.00
198 |  | Flexible profile light for Cove light for wall paneling skirting etc. | Flexible profile light for Cove light for wall paneling skirting etc. | mtr. | 100.000 |  | 8120.00 | 812,000.00
199 |  | Wall mounted light Ceiling mounted decorative indoor lights. | Wall mounted light Ceiling mounted decorative indoor lights. | Nos. | 20.000 |  | 9210.00 | 184,200.00
200 |  | Decorative table lamps | Decorative table lamps | Nos. | 10.000 |  | 9210.00 | 92,100.00
201 |  | Spot light upto 24 Watts | Spot light upto 24 Watts | Nos. | 66.000 |  | 9870.00 | 651,420.00
202 |  | Spot light upto 12 15 Watts | Spot light upto 12 15 Watts | Nos. | 100.000 |  | 14480.00 | 1,448,000.00
203 |  | Decorative outdoor 3 watt uplighter | Decorative outdoor 3 watt uplighter | Nos. | 200.000 |  | 65810.00 | 13,162,000.00
204 |  | 6w grazer spot light | 6w grazer spot light | Nos. | 20.000 |  | 69040.00 | 1,380,800.00
205 |  | Submersible light for waterbody | Submersible light for waterbody | Nos. | 15.000 |  | 78240.00 | 1,173,600.00
206 |  | Occupancy sensor for Washroom | Occupancy sensor for Washroom | Nos. | 4.000 |  | 150480.00 | 601,920.00
207 |  | LIGHTING AUTOMATION PROVISIONAL BUDGET. | LIGHTING AUTOMATION PROVISIONAL BUDGET. | LS | 0.000 |  | 501938.00 | .00

## Technical Score Detail
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | Comp. Date : 03/08/2024 | Comp. Date : 03/08/2024 | Comp. Date : 03/08/2024 | Vendor Name : AD ASSOCIATES
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ #: R1478 | RFQ #: R1478 | RFQ #: R1478 | Contact Name : DINESH BHATKAR
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ Date : 31/07/2024 17:00:37 | RFQ Date : 31/07/2024 17:00:37 | RFQ Date : 31/07/2024 17:00:37 | Vendor City :
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | BCD Date : 01/08/2024 12:00:00 | BCD Date : 01/08/2024 12:00:00 | BCD Date : 01/08/2024 12:00:00 | Telephone # :
|  | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT | RFQ No: R1478 COST COMPARISON REPORT |  |  |  | Mobile # : 99200 23333
PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | PR Number : KAPCO-2425-00189 | Email : dinesh@adaepl.com
Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Package / RFQ Name : TFAS / RFQ / KAPCO-2425-00189 | Round # : 1 (RFQ) |  | Round # : 2 (Auction) |  | Round # : 3 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | 4,500,000.00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | Blue sea refurbishment |  | EA | 1.000 | 4500000.00 | 0.00
2 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
3 |  | MAIN PANEL SWITCHGEAR ( MAKE DB ELECTRICALS PVT LTD ) |  | 0 | 0.000 | 0.00 | 0.00
4 |  | Supply, Installation, Testing Commissioning of free standing, floor mounting compartmentalized panels fabricated out of CRCA sheet steel sections after carrying out 7 tank cleaning process duly powder coated using Siemens Grey shade no. RAL- 7032. The |  | 0 | 0.000 | 0.00 | 0.00
5 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
6 |  | Supply, Installation, Testing Commissioning of MAIN LT PANEL as per SLD |  | Nos | 1.000 | 0.00 | 0.00
7 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
8 |  | Supply, Installation, Testing Commissioning of KITCHEN PANEL as per SLD |  | Nos | 1.000 | 0.00 | 0.00
9 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
10 |  | Supply, Installation, Testing Commissioning of APFC PANEL as per SLD |  | Nos | 1.000 | 0.00 | 0.00
11 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
12 |  | Supply, Installation, Testing Commissioning of switchgear with enclosure which shall be dust vermin proof with blank plates if required as per the final approval of Consultant. |  | 0 | 0.000 | 0.00 | 0.00
13 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
14 |  | 250 A TPN MCCB Thermal magnetic type (25KA) in MS powdercoated enclosure complete with all mounting accessories like cable end box etc. as per site requirement. |  | Nos. | 0.000 | 0.00 | 0.00
15 |  | 100 A TPN MCCB Thermal magnetic type (16KA) in MS powdercoated enclosure complete with all mounting accessories like cable end box etc. as per site requirement. |  | Nos. | 0.000 | 0.00 | 0.00
16 |  | 63 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. |  | Nos. | 8.000 | 0.00 | 0.00
17 |  | 40 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. |  | Nos. | 0.000 | 0.00 | 0.00
18 |  | 25 A 4P RCCB 300mA type In Enclosure Outdoor Type (IP–65-Model No.601994) for AC Outdoor Unit. |  | Nos. | 3.000 | 0.00 | 0.00
19 |  | SCAME ominia series switched socket outlets with interlock, flush mounting back box, frame complete with gasket. IP 67 Rating 32 A 2 pin Earth Socket outlet plug. |  | Nos. | 12.000 | 0.00 | 0.00
20 |  | SCAME ominia series switched socket outlets with interlock, flush mounting back box, frame complete with gasket. IP 67 Rating 32 A 3 phase + Neutral Earth Socket outlet plug. |  | Nos. | 12.000 | 0.00 | 0.00
21 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
22 |  | TOTAL FOR MAIN PANEL SWITCHGEAR |  | 0 | 0.000 | 0.00 | 0.00
23 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
24 |  | DISTRIBUTION BOARDS |  | 0 | 0.000 | 0.00 | 0.00
25 |  | Supply, Installation, Testing Commissioning of Distribution boards surface flush mounted with Double Door containing MCB ELMCB as incomer and SP MCB as outgoing. All MCB s are of 10KA breaking capacity ELMCB RCCB should be of 30mA 100mA sensitivity. |  | 0 | 0.000 | 0.00 | 0.00
26 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
27 |  | Normal Power Light DB |  | Nos | 5.000 | 0.00 | 0.00
28 |  | 6 way TPN DB - Model NO. 507671 |  | 0 | 0.000 | 0.00 | 0.00
29 |  | Incomer 1 X 63A 4 POLE MCB |  | 0 | 0.000 | 0.00 | 0.00
30 |  | Sub Incomer 3 X 40A 2P RCCB-100mA |  | 0 | 0.000 | 0.00 | 0.00
31 |  | Outgoing 12 # 10 16 20 A SP MCB C Type |  | 0 | 0.000 | 0.00 | 0.00
32 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
33 |  | TOTAL FOR DISTRIBUTION BOARDS |  | 0 | 0.000 | 0.00 | 0.00
34 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
35 |  | CABLES AND ACCESSORIES |  | 0 | 0.000 | 0.00 | 0.00
36 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
37 |  | Supply and installation of following LT cables rated for 600 1100 volt AC as per IS standard1554 part-I with necessary M.S. clamps. All cables shall be properly clamped or tied when run on cable trays. All such cables shall be provided with temporary labe |  | 0 | 0.000 | 0.00 | 0.00
38 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
39 |  | 31 2C x 240 Sq. mm Al. conductor armoured cable |  | Mtr | 0.000 | 0.00 | 0.00
40 |  | 3.5C x 95 Sq. mm Al. conductor armoured cable |  | Mtr | 0.000 | 0.00 | 0.00
41 |  | 4C x 50 Sq. mm Al. conductor armoured cable |  | Mtr | 0.000 | 0.00 | 0.00
42 |  | 4C x 25 sq.mm. Al. conductor armoured cable |  | Mtr. | 0.000 | 0.00 | 0.00
43 |  | 4C x 10 sq.mm. Copper conductor armoured cable - AC Unit, DB etc. |  | Mtr. | 500.000 | 0.00 | 0.00
44 |  | 4C x 6 sq.mm. Copper conductor armoured cable - AC Unit, DB etc |  | Mtr. | 220.000 | 0.00 | 0.00
45 |  | 3C x 6 sq.mm. Copper conductor armoured cable |  | Mtr. | 0.000 | 0.00 | 0.00
46 |  | 4C x 4 sq.mm. Copper conductor armoured cable. |  | Mtr. | 140.000 | 0.00 | 0.00
47 |  | 3C x 4 sq.mm. Copper conductor armoured cable. (AC, Power socket) |  | Mtr. | 0.000 | 0.00 | 0.00
48 |  | 3C x 2.5 sq.mm. Copper conductor armoured cable (AC, Power socket) |  | Mtr. | 140.000 | 0.00 | 0.00
49 |  | 3C x 1.5 sq.mm. Copper conductor armoured cable (AC, Power socket) |  | Mtr. | 275.000 | 0.00 | 0.00
50 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
51 |  | Terminations for following sizes of cables |  | 0 | 0.000 | 0.00 | 0.00
52 |  | Termination of the below sizes of cables with Heavy duty double compression Brass cable glands Alluminium or copper heavy duty lugs as per requirements. (4c 3.5c 3c) |  | 0 | 0.000 | 0.00 | 0.00
53 |  | 31 2C x 240 Sq. mm Al. conductor armoured cable |  | Nos. | 2.000 | 0.00 | 0.00
54 |  | 3.5C x 95 Sq. mm Al. conductor armoured cable |  | Nos. | 1.000 | 0.00 | 0.00
55 |  | 3.5 4C x 50 Sq. mm Al. conductor armoured cable |  | Nos. | 1.000 | 0.00 | 0.00
56 |  | 4C x 25 16 sq.mm. Al.conductor armoured cable. |  | Nos. | 24.000 | 0.00 | 0.00
57 |  | 3c 4C x 10 16 sq.mm. Copper conductor armoured cable - AC Unit, DB etc. |  | Nos. | 24.000 | 0.00 | 0.00
58 |  | 3c 4C x 6 4 sq.mm. Copper conductor armoured cable. |  | Nos. | 10.000 | 0.00 | 0.00
59 |  | 4c 3C x 2.5 1.5 sq.mm. Copper conductor armoured cable (AC, Power socket) |  | Nos. | 20.000 | 0.00 | 0.00
60 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
61 |  | TOTAL FOR CABLES AND ACCESSORIES |  | 0 | 0.000 | 0.00 | 0.00
62 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
63 |  | WIRING ACCESSORIES – |  | 0 | 0.000 | 0.00 | 0.00
64 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
65 |  | Supply, installation, testing commissioning of wiring for light points, power points including Circuit wiring from Distribution Board upto switch board or first light point for circuits controlled directly by MCB and shall be measured on per point basi |  | 0 | 0.000 | 0.00 | 0.00
66 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
67 |  | PRIMARY POINT WIRING from switch board to first light point in 25 mm dia. PVC conduit using 2 x 1.5 sq. mm PVC insulated copper wires and 1.5 sq. mm green color PVC insulated copper wire for earthing. Conduits to be surface mounted on ceiling, concealed |  | Nos | 55.000 | 0.00 | 0.00
68 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
69 |  | Providing point wiring for Secondary light points using 2 x 1.0 sq. mm copper conductor PVC insulated wires and 1.0 sq. mm PVC insulated green color copper earth wire for continuous earthing up to fixture in PVC conduits of 20 mm dia, surface mounted on c |  | Nos | 350.000 | 0.00 | 0.00
70 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
71 |  | Providing Automation light points wiring using 2 runs x 2.5 sq. mm copper conductor PVC insulated wires and 1 run of 2.5 sq. mm PVC insulated green colour copper earth wire for continuous earthing upto fixture switch board in PVC conduits of 20 mm dia, |  | Mtr | 2000.000 | 0.00 | 0.00
72 |  | Providing Automation Light light points using 2 core x 1 sq. mm copper conductor PVC insulated flexible cable upto fixture from automation DB in PVC conduits of 20 mm dia, surface mounted on ceiling, concealed in wall and or through partitions with necess |  | Mtr | 500.000 | 0.00 | 0.00
73 |  | Providing wiring in existing conduits 3 runs of 2.5 sq.mm. PVC insulated wires FRLS grade for Power socket outlets. |  | mtr | 1000.000 | 0.00 | 0.00
74 |  | Providing wiring in existing conduits 2 runs of 4 sq.mm. 1 runs of 2.5 sq.mm.PVC insulated wires FRLS grade for Power socket outlets. |  | mtr | 500.000 | 0.00 | 0.00
75 |  | Providing 3 core x 2.5 sq.mm. PVC insulated flexible cables for Power socket outlets through existing conduits trays raceways. |  | mtr | 1500.000 | 0.00 | 0.00
76 |  | Providing 3 core x 4 sq.mm. PVC insulated flexible cables for Power socket outlets through existing conduits trays raceways. |  | mtr | 1000.000 | 0.00 | 0.00
77 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
78 |  | Supply Installation of Hot dipped Cable Tray complete with necessary fixing arrangements like threaded rod,or angle supports, Anchor Fastner and all other accessories, as per the final approval of the Consultant Architect. |  | 0 | 0.000 | 0.00 | 0.00
79 |  | 150 x 50 x1.6 mm Ladder type Cable tray. |  | Mtr | 20.000 | 0.00 | 0.00
80 |  | 300 x 50 x1.6 mm Ladder type Cable tray. |  | Mtr | 100.000 | 0.00 | 0.00
81 |  | 150 x 50 x1.6 mm Perforated type Cable tray. |  | Mtr | 30.000 | 0.00 | 0.00
82 |  | 300 x 50 x1.6 mm Perforated type Cable tray. |  | Mtr | 50.000 | 0.00 | 0.00
83 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
84 |  | Supply installation of AL raceway with 1.6 mm thickness having fixed with clamps at appropriate intervals as per the route approved by Architect Consultant. (Cost of cutting the floor for laying of raceways to be included wherever required) DATA |  | 0 | 0.000 | 0.00 | 0.00
85 |  | a) 1 Runs of underfloor Electrical Al. raceways of size 63x38 mm |  | Mtr | 100.000 | 0.00 | 0.00
86 |  | b) 1 Runs of underfloor Data Al. raceways of size 100x40 mm |  | Mtr | 100.000 | 0.00 | 0.00
87 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
88 |  | Supply installation of GI junction boxes with 2mm thickness, openable cover on top having screw-fixed plates on all four sides with knock-out holes for conduits. The plates shall be retained on the sides having no conduit or raceway so as to avoid the |  | 0 | 0.000 | 0.00 | 0.00
89 |  | a) suitable for 550 x 550 x 50 65 |  | Nos | 1.000 | 0.00 | 0.00
90 |  | b) suitable for 450 x 450 x 50 65 |  | Nos | 1.000 | 0.00 | 0.00
91 |  | c) suitable for 350 x 350 x 50 65 |  | Nos | 1.000 | 0.00 | 0.00
92 |  | d) suitable for 300 X 300 x 50 65 |  | Nos | 5.000 | 0.00 | 0.00
93 |  | e) suitable for 150 X 150 x 50 65 |  | Nos | 5.000 | 0.00 | 0.00
94 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
95 |  | Supply Installation of 25mm.dia. Medium gauge (MMS) PVC conduit with pull box junction box all accessories for Voice Data Power wiring as per the requirement. |  | Mtr | 500.000 | 0.00 | 0.00
96 |  | Supply Installation of 25mm.dia. PVC flexible conduit pipe |  | Mtr | 50.000 | 0.00 | 0.00
97 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
98 |  | Supply, Installation, Testing Commissioning of flush mounted plate type switch switch + sockets with hot dipped GI box complete as per the final approval of Architect Consultant. |  | 0 | 0.000 | 0.00 | 0.00
99 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
100 |  | 6A One way plate type switch - SWITCH Myris NG Black color finish. |  | Nos | 30.000 | 0.00 | 0.00
101 |  | 3M Plate for above Switch - Myris NG Plate Pearl Chapagne or black color finish. |  | Nos | 10.000 | 0.00 | 0.00
102 |  | 3M Box for above Switch - Myris NG. |  | Nos | 10.000 | 0.00 | 0.00
103 |  | 6A switch controlling 1 no. 3 pin 6A socket outlet complete with Modular plate metal back box. Myris or equivalent Plate Pearl Chapagne cover plate or black color finish |  | Nos | 5.000 | 0.00 | 0.00
104 |  | 2 nos. x 16A switch controlling 2 nos. 6 pin 6 16A socket outlet complete with Modular plate metal back box. Myris or equivalent Plate Pearl Chapagne or black finish cover plate |  | Sets | 20.000 | 0.00 | 0.00
105 |  | 2 nos. 16A switch controlling 2 nos. 6 pin 6 16 A socket outlet complete with Modular plate metal back box. Myris or equivalent WHITE |  | Nos | 20.000 | 0.00 | 0.00
106 |  | 1 x 16A switch controlling 1 no. 6 pin 6 16 A socket outlet complete with Modular plate metal back box. Myris or equivalent WHITE |  | Nos | 5.000 | 0.00 | 0.00
107 |  | 6A switch controlling 1 no. 3 pin 6A socket, 1no. C Power outlet, 1 no. USB outlet,1 no. Blank plate complete with Modular plate metal back box. Myris NG Plate Pearl Chapagne or black color finish. |  | Nos | 5.000 | 0.00 | 0.00
108 |  | Back box suitable for mounting Network Outlets. |  | Nos | 5.000 | 0.00 | 0.00
109 |  | Arranging temporary Power Lighting for all agencies to work including suitable protection through MCBs ELCBs MCCBs wiring cabling. The temporary switch Boards should have minimum 4 Nos of 6A 16A Switch sockets plus two nos of Metal Clad sockets (Sin |  | Lumpsum | 1.000 | 0.00 | 0.00
110 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
111 |  | TOTAL FOR WIRING ACCESSORIES |  | 0 | 0.000 | 0.00 | 0.00
112 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
113 |  | EARTHING |  | 0 | 0.000 | 0.00 | 0.00
114 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
115 |  | Supplying and erecting GI strip of 25 x 6 mm used for earthing on wall with necessary MS clamps fixed on wall painted with bituminous paint in an approved manner (Joints are to be Bolted Welded ) |  | Mtr. | 100.000 | 0.00 | 0.00
116 |  | Supplying and erecting Earth tap off box with Cu strip of 30 x 6 mm of 300mm length in 350X200X85 box with acralic facia used for earthing on wall with necessary clamps fixed on wall painted with bituminous paint in an approved manner (Joints are to be ti |  | Nos. | 2.000 | 0.00 | 0.00
117 |  | Supplying and erecting bare copper conductor of 14 SWG for earthing purpose of DBs AC machine |  | Mtr | 300.000 | 0.00 | 0.00
118 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
119 |  | TOTAL FOR EARTHING |  | 0 | 0.000 | 0.00 | 0.00
120 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
121 |  | LOW VOLTAGE SYSTEM |  | 0 | 0.000 | 0.00 | 0.00
122 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
123 |  | ADDRESSABLE FIRE ALARM SYSTEM( RAVEL MAKE - UL APPROVED) |  | 0 | 0.000 | 0.00 | 0.00
124 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
125 |  | 2 Loop Addressable Fire Alarm Panel Intelligent Fire Alarm Control Panel - Addressable Devices, Bell Circuit, Integrated PSU with Battery Charger Batteries, (Certificated by LPCB or UL) |  | Nos. | 1.000 | 0.00 | 0.00
126 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
127 |  | Addressable Manual Call Point Semi FlushMounting Re-settable, Supplied with Special Reset Tool |  | Nos. | 3.000 | 0.00 | 0.00
128 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
129 |  | Addressable Combined Sounder and Strobe, Loop Powered and 24VDC. |  | Nos. | 3.000 | 0.00 | 0.00
130 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
131 |  | Addressable Smoke Detector Intelligent Optical Detector, Above False Below Ceiling |  | Nos. | 70.000 | 0.00 | 0.00
132 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
133 |  | Addressable hEAT Detector, Above False Below Ceiling |  | Nos. | 5.000 | 0.00 | 0.00
134 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
135 |  | Response Indicator for AFC Detectors |  | Nos. | 20.000 | 0.00 | 0.00
136 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
137 |  | AUTO DIALLYING System |  | Nos. | 0.000 | 0.00 | 0.00
138 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
139 |  | Short Circuit Isolator Module |  | Nos. | 3.000 | 0.00 | 0.00
140 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
141 |  | Addressable Relay Module. |  | Nos. | 3.000 | 0.00 | 0.00
142 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
143 |  | MS Junction Box with GI Glands for AFC True Ceiling Detectors Modules |  | Nos. | 40.000 | 0.00 | 0.00
144 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
145 |  | Supply, installation of 2C x 1.0 sq. mm FRLS armoured cable RED in color for Fire Alarm Works System. The cost is inclusive of termination as per standard practice or as advised by Consultant. MAKE -CENTURY CABLE |  | Mtr | 1050.000 | 0.00 | 0.00
146 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
147 |  | SUB TOTAL FOR FIRE ALARM SYSTEM |  | 0 | 0.000 | 0.00 | 0.00
148 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
149 |  | CCTV SYSTEM cabling |  | 0 | 0.000 | 0.00 | 0.00
150 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
151 |  | SITC of CAT 6 - 4 Pair UTP Cable (1 Box = 305 Mtrs ) ( Make COMMSCOPE ), including termination, connection, testing etc |  | Mtr | 610.000 | 0.00 | 0.00
152 |  | Co-ordination charges for CCTV equipments. |  | LS | 1.000 | 0.00 | 0.00
153 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
154 |  | SUB TOTAL FOR CCTV EQUIPMENTS |  | 0 | 0.000 | 0.00 | 0.00
155 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
156 |  | DJ CONSOLE PROJECTOR TV CABLING |  | 0 | 0.000 | 0.00 | 0.00
157 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
158 |  | Removing relaying speaker MIC cables as directed by Architect Consultants.(Labour charges only) |  | Mtr | 100.000 | 0.00 | 0.00
159 |  | Removing relaying HDMI cables as directed by Architect Consultants.(Labour charges only) |  | Mtr | 100.000 | 0.00 | 0.00
160 |  | Removing relaying Power cables as directed by Architect Consultants.(Labour charges only) |  | Mtr | 100.000 | 0.00 | 0.00
161 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
162 |  | TOTAL FOR PA SYSTEM |  | 0 | 0.000 | 0.00 | 0.00
163 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
164 |  | TELEPHONE SYSTEM – MAIN WIRING |  | 0 | 0.000 | 0.00 | 0.00
165 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
166 |  | Supply Installation of 25mm.dia. Medium gauge (MMS) PVC conduit with pull box junction box all accessories for Voice Data Power wiring as per the requirement. |  | Mtr | 500.000 | 0.00 | 0.00
167 |  | 25 dia flexible conduit |  | Mtr. | 75.000 | 0.00 | 0.00
168 |  | Supply, installation of CAT 6 - 4 Pair UTP Cable ( 1 Box = 305 Mtrs ) ( Make COMMSCOPE ) |  | Mtr. | 305.000 | 0.00 | 0.00
169 |  | Testing of all Terminations using Fluke Cable Analyser. The cost quoted is including Information outlet. |  | Nos | 8.000 | 0.00 | 0.00
170 |  | Supply Installation of Dual I O Face Plate ( Make COMMSCOPE ) |  | Nos | 8.000 | 0.00 | 0.00
171 |  | Supply Installation of CAT 6 I O ( Make COMMSCOPE ) |  | Nos | 8.000 | 0.00 | 0.00
172 |  | Telephone patch cord |  | Nos. | 8.000 | 0.00 | 0.00
173 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
174 |  | TOTAL FOR TELEPHONE DISTRIBUTION |  | 0 | 0.000 | 0.00 | 0.00
175 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
176 |  | DATA (NETWORK SYSTEM) |  | 0 | 0.000 | 0.00 | 0.00
177 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
178 |  | Supply, installation of CAT 6 - 4 Pair UTP Cable ( 1 Box = 305 Mtrs ) ( Make COMMSCOPE ) |  | Mtr. | 610.000 | 0.00 | 0.00
179 |  | Testing of all Terminations using Fluke Cable Analyser. The cost quoted is including Information outlet. |  | Nos | 8.000 | 0.00 | 0.00
180 |  | Supply Installation of Dual I O Face Plate ( Make COMMSCOPE ) |  | Nos | 8.000 | 0.00 | 0.00
181 |  | Supply Installation of CAT 6 I O ( Make COMMSCOPE ) |  | Nos | 8.000 | 0.00 | 0.00
182 |  | Supply, Installation, testing commissioning of 48 port patch panel ( Make COMMSCOPE ) |  | Nos. | 0.000 | 0.00 | 0.00
183 |  | Supply, installation of 1 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) |  | Nos | 8.000 | 0.00 | 0.00
184 |  | Supply, installation of 2 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) |  | Nos | 8.000 | 0.00 | 0.00
185 |  | Supply, installation of 5 Mtr UTP Patch Cord CAT 6 ( Make COMMSCOPE ) |  | Nos | 0.000 | 0.00 | 0.00
186 |  | PVC Horizontal Cable Manager |  | Nos | 0.000 | 0.00 | 0.00
187 |  | Jack panel 24 Port (Voice Data) |  | Nos | 1.000 | 0.00 | 0.00
188 |  | Supply, Installation of 6 core multimode armoured OFC cable on existing cable tray (Make COMMSCOPE) |  | Mtr. | 0.000 | 0.00 | 0.00
189 |  | OFC Termination of Fiber Cores using Fusion Splicing Method |  | Nos. | 0.000 | 0.00 | 0.00
190 |  | OFC Testing of Fiber Cores After Termination |  | Nos. | 0.000 | 0.00 | 0.00
191 |  | Documentation Includes Updation of Drawing Specifying Data, Voice Points on Floor Plan, Soft Copy Hard Copy of all Test Reports Certification 20 year performance guarantee Certificate by Schneider ensuring installation is done as per TIA EIA or |  | LS | 0.000 | 0.00 | 0.00
192 |  | HEAT MAP ANALYSIS TEST FOR WIFI NETWORK Test to plan and create Wi-Fi networks according to client performance and capacity requirements and simulating real-life application usage such as VoIP, HD video streaming and web browsing. |  | LS | 0.000 | 0.00 | 0.00
193 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
194 |  | TOTAL FOR NETWORKING |  | 0 | 0.000 | 0.00 | 0.00
195 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
196 |  | LIGHTING FIXTURES Labour charges towards Installation Only |  | 0 | 0.000 | 0.00 | 0.00
197 |  | 0 |  | 0 | 0.000 | 0.00 | 0.00
198 |  | Linear profile light for ceiling Cove light |  | mtr. | 165.000 | 0.00 | 0.00
199 |  | Flexible profile light for Cove light for wall paneling skirting etc. |  | mtr. | 100.000 | 0.00 | 0.00
200 |  | Wall mounted light Ceiling mounted decorative indoor lights. |  | Nos. | 20.000 | 0.00 | 0.00
201 |  | Decorative table lamps |  | Nos. | 10.000 | 0.00 | 0.00
202 |  | Spot light upto 24 Watts |  | Nos. | 66.000 | 0.00 | 0.00
203 |  | Spot light upto 12 15 Watts |  | Nos. | 100.000 | 0.00 | 0.00
204 |  | Decorative outdoor 3 watt uplighter |  | Nos. | 200.000 | 0.00 | 0.00
205 |  | 6w grazer spot light |  | Nos. | 20.000 | 0.00 | 0.00
206 |  | Submersible light for waterbody |  | Nos. | 15.000 | 0.00 | 0.00
207 |  | Occupancy sensor for Washroom |  | Nos. | 4.000 | 0.00 | 0.00
208 |  | LIGHTING AUTOMATION PROVISIONAL BUDGET. |  | LS | 0.000 | 0.00 | 0.00