## SUMMARY
| SHAH ENTERPRISES | IMULSE R0 | IMULSE R1 | INVENTECH
CIVIL | 1920637 | 1630600 | 1330160 | 1551660
PLUMBING | 760651 | 363950 | 306000 | 306000
ELECTRICAL | 728709 | 510485 | 381665 | 381665
FIRE | 42770 | 77600 | 59800 | 54017
SPRINLER | 88421 | 139990 | 80520 | 67466
HVAC HI SIDE | 270985 | 325000 | 220000 | 289800
HVAC LOW SIDE | 201503 | 215400 | 159380 | 185318
Total | 4013676 | 3263025 | 2537525 | 2835926

## Idli.com CIVIL
IDLI.COM BILL OF QUANTITIES
Project : IDLI.COM |  | Date : 08/05/2024
Client : TRAVEL FOOD SERVICES |  | Contractor Name :
Location : AHEMDABAD AIRPORT |  | Contractor Firm Name :
[7 empty] | SHAH ENTERPRISES |  | IMPULSE R0 |  | IMPULSE R1 |  | INVENTECH |  | LOWEST
S. NO. | DESCRIPTION |  | QTY. | UNIT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
A | CIVIL
1 | ENDURA GREY (MAKE JOHNSON) TILE
| Providing and Fixing 600x600mm vitrified tile flooring with cement-sand mortar bedding of appd proportions as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile. Flooring should be fixed in proper plumb line. Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 32 | Sq.m. |  | 0 | 2690 | 86080 | 2350 | 75200 | 2350 | 75200 | 2690 | 86080 | 2350 | 75200
2 | SS Skirting - 3" height
| Providing and Fixing appvd ss skirting fixed on plywood base as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile. Skirting should be fixed in proper plumb line. Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 7 | R.M |  | 0 | 1476 | 10332 | 7500 | 52500 | 550 | 3850 | 400 | 2800 | 400 | 2800
3 | Commercial Tiles for Wall TL-04
| Providing and Fixing of 200x300mm Commerical wall tile as appvd with cement-sand mortar bedding of appd proportions as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile/stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 40 | Sq.m. |  | 0 | 2950 | 118000 | 2400 | 96000 | 2200 | 88000 | 2160 | 86400 | 2160 | 86400
4 | Terracota Tiles for Wall TL-03
| Providing and Fixing of 75x300mm Terracota Tiles on wall as appvd with cement-sand mortar bedding of appd proportions as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile/stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 5 | Sq.m. |  | 0 | 4842 | 24210 | 3200 | 16000 | 3200 | 16000 | 3750 | 18750 | 3200 | 16000
5 | Decorative Wall Tiles TL-05, TL-06
| Providing and Fixing of 100x300mm Decorative tiles on wall as appvd with cement-sand mortar bedding of appd proportions as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile/stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 15 | Sq.m. |  | 0 | 6085 | 91275 | 3600 | 54000 | 3600 | 54000 | 4840 | 72600 | 3600 | 54000
6 | Decorative Wall Tiles TL-02
| Providing and Fixing of 300x300mm Decorative tiles on wall as appvd with adhesive of appd proportions as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile/stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 12 | Sq.m. |  | 0 | 5872 | 70464 | 3600 | 43200 | 3600 | 43200 | 4840 | 58080 | 3600 | 43200
7 | Granite on wall and Front Counter ST-01
| Providing and Fixing of 18mm th. Red Granite on wall and Front counter top as appvd with adhesive as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile/stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. |  | 10 | Sq.m. |  | 0 | 8070 | 80700 | 5400 | 54000 | 5400 | 54000 | 7500 | 75000 | 5400 | 54000
8 | Granite on Jambs, Back counter top ST-02
| Providing and Fixing of 18mm th. Black Granite on wall, Floor jambs and Back counter top as appvd with adhesive as per the design & specifications. Joints to be filled properly with pigmented cement / epoxy grouts matching the tile/stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, watage, chmafering, polishing of edges, cartage, loading, unloading, cutting, fixing and grouting. |  | 6 | Sq.m. |  | 0 | 6994 | 41964 | 5400 | 32400 | 5400 | 32400 | 6500 | 39000 | 5400 | 32400
9 | Siporex/Light wt Cinder filling
| Providing and filling upto 250mm high Siporex/light wt cinder filling on floor as per design. Measurement as per plan |  | 30 | Sq.m. |  | 0 | 2858 | 85740 | 3400 | 102000 | 2900 | 87000 | 2800 | 84000 | 2800 | 84000
10 | Providing and laying plain cement concrete of specified grade, 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm and down gauge) as bed concrete in locations as called for laid, consolidated and cured etc. complete upto maximun 100mm thickness as per specification and drawing including the cost of centering and shuttering. |  | 30 | Sq.m. |  | 0 | 1750 | 52500 | 3200 | 96000 | 1500 | 45000 | 1500 | 45000 | 1500 | 45000
11 | Providing and erecting 100 mm thick ACC siporex Block work with Chemical ) in true line, level and plumb for wall compound walls, steps, complete with necessary scaffolding, raking of joints, curing etc., . Rate to include soaking of bricks adequately before construction, complete as directed and specified. (Brick of min strength 100kg./sq.cm.) rate are including all type of scaffolding and required arrangements for making brick wall. |  | 20 | Sq.m. |  | 0 | 1778 | 35560 | 3600 | 72000 | 1850 | 37000 | 2100 | 42000 | 1778 | 35560
12 | Providing & laying 60-70 mm thick RCC band with 10mm dia bar in brick wall at every 1200 mm height in brick wall with M25 grade concreete ratio 1:1:2 (1 is cement 1 is sand & 2 is aggregate ) in true line ,level and plumb for wall. |  | 15 | R.M |  | 0 | 1650 | 24750 | 3200 | 48000 | 1650 | 24750 | 3200 | 48000 | 1650 | 24750
13 | Providing & Laying:- Of 12-15mm thick plaster in cement mortar 1:4 (1 cement : 4 coarse sand) to ceiling, all types of RCC. work, brick work surfaces at all levels in line, level and plumb including smooth cement finish or roughening of surface to hold tiles and providing necessary grooves at junctions of walls and ceiling, door/window frames inclusive of racking the joints, roughing the RCC. surface, necessary curing scaffolding etc., completed as per details given in drawing or as directed by Architect. |  | 50 | Sq.m. |  | 0 | 915 | 45750 | 750 | 37500 | 750 | 37500 | 1500 | 75000 | 750 | 37500
14 | Applying and grouting a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with propeirtary water proofing compound(Davco K10 Polyurethane plus/Dr. Fixit Flexi PU 270-I)conforming to IS : 2645 over the RCC slab including cleaning the surfacebefore treatment cement morter 1:5 (1 cement : 5 coarse sand)admixed with proprietary water proofing compound conforming to IS :2645 over 20 mm thick layer of cement morter of mix 1:5 ( 1 cement : 5coarse sand) admixed with proprietary water proofing compound conforming to IS : 2645 to required slope and treating similary the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.Finishing the surface with 20 mm thick jointless cement morter of mix1:4 (1 cement : 4 coarse sand) admixed with proprietary water proofing compound conforming to IS : 2645 and finally finishing the surface with trowel with neat cement slurry and making of 300x300 mm square. |  | 50 | Sq.m. |  | 0 | 2260 | 113000 | 1260 | 63000 | 1260 | 63000 | 1350 | 67500 | 1260 | 63000
15 | Debris disposal from site |  | 1 | LS |  | 0 | 20856 | 20856 | 25000 | 25000 | 21000 | 21000 | 25000 | 25000 | 20856 | 20856
16 | Miscellaneous Points, if any please specify |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
TOTAL PART A : | [5 empty] | 0 |  | 901181 |  | 866800 |  | 681900 |  | 825210 |  | 674666
B | CEILING WORKS
1 | Gypsum False ceiling |  | 22 | Sq.m. |  | 0 | 2475 | 54450 | 2500 | 55000 | 1750 | 38500 | 1600 | 35200 | 1600 | 35200
| Providing and fixing :-in position Saint Gobain Gyproc make, Gypsum Board False Ceiling as per manufacturer's specifications and instructions with 12.5 mm thick `Gypboard' Screw-fixed to the underside Of suspended G.I. grid. G.I. grid should be Constructed and suspended from the main ceiling as per manufacturer's instructions and as per specifications using Original Co. Specified GypRock Framework Sections G.I.24 gauge The Gypboard should be fixed to G.I. grid with 25 mm long Drawali Screws. The `Gypboard ' to be used should be 12.5mm thick FireRated Saint-Gobain make Tapered edge boards. The boards should Be taped and filled from underside to give smooth, seamless ceiling. The rate should include necessary additional ceiling sections and intermediate channels openings for light fixtures, A.C. ducts, vertical drops, offsets. etc. Additional Intermediate channels should be fixed to strap hangers for additional support to prevent strap hangers from buckling/swaying at every 1200 mm. Item to be completed in all respect including necessary sleeves for ducts finishing of joints cut outs supports for A.C. grills, light fixtures, speakers etc. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | Miscellaneous Points, if any please specify
TOTAL PART B : | [5 empty] | 0 |  | 54450 |  | 55000 |  | 38500 |  | 35200 |  | 35200
C | PAINTING AND POLISHING
1 | Asian Royale Paint : Morning Glory- 0765 PT-01 |  | 22 | Sq.m. |  | 0 | 807 | 17754 |  | 0 | 430 | 9460 | 430 | 9460 | 430 | 9460
| Sand papering the finished gypsum ceiling surface, filling in the cracks on the surface if any, Apply a coat of cement primer on the surface, Applying enamel putty making the surface smooth, applying one more coat of cement primer on the surface & applying two or more coats of approved Black Royale paint in approved hue to achieve uniform shade. |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
2 | Miscellaneous Points, if any please specify |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
TOTAL PART C : | [5 empty] | 0 |  | 17754 |  | 0 |  | 9460 |  | 9460 |  | 9460
D | CARPENTERY
1 | IDLI.COM FRONT COUNTER
| Providing and Fixing in place 900mm high from MOH fflvl., Front counter made out of 50x50mm MS tubular section in 600x600mm grid in both directions, fixed to the base slab and side walls to create rigidity, clad with 19mm th, HDHMR ply covered with SS sheet on the internal (MOH) side and covered with 19mm th. Router cut HDHMR ply, PU painted in approved shade PT-02 on the outside. Outer fascia is then further clad with 6mm th. router cut HDHMR ply. PU painted in approved shade PT-03. Rate inclusive of 19mm th. HDHMR ply top, creating flap door with one end hinged as per details, all necessary hardware, wastage, making provision for electrical wiring, lighting etc complete in all respects as per drawings. Measurement as per elevation |  | 7 | Sq.m. |  | 0 | 40350 | 282450 | 35000 | 245000 | 26500 | 185500 | 25840 | 180880 | 25840 | 180880
2 | IDLI.COM SIGNAGE BOARD |  | 1 | No. |  | 0 | 60000 | 60000 | 43000 | 43000 | 42000 | 42000 | 42000 | 42000 | 42000 | 42000
Providing and Fixing 1' high Green ACP base with 6" thick verticals of approved make and shade alongwith Logo in Front Lit Acrylic Signage of approved wattage and electrical points . Job to include cost of labour, material, cartage, loading,unloading, glazing, hardware, adhesives/resins, edgeband, etc.
3 | IDLI.COM MENU BOARD
| Providing and Fixing boxing for fixing 2 No.s 43" DMB's on back of MOH wall, made out of 19mm th. HDHMR ply, as per the design finished with Laminate as per approved shade, complete with hardware, locks etc. Job to include cost of labour, material, cartage, loading,unloading, glazing, hardware, adhesives/resins, edgeband, etc. Measurement as per elevation |  | 2 | Sq.m. |  | 0 | 38560 | 77120 | 3500 | 7000 | 3500 | 7000 | 12000 | 24000 | 3500 | 7000
4 | IDLI.COM FRONT AND BACK UNDER COUNTER STORAGE
| Providing & fixing in place under Counter storage approx. 750mm deep and 900mm high, made out of 19mm marine ply complete with drawers & pedestal storage units duly finished in appvd laminate as per the dwg. Counter to be finished in Granite of approved make and shade (taken seperately). Job to include cost of labour, material, cutting and finishing top, 150mm high back support cartage, loading,unloading, hardware, adhesives/resins, edgeband and appvd coatings/ polishing. Measurement as per elevation. |  | 7 | Sq.m. |  | 0 | 28540 | 199780 | 27500 | 192500 | 23500 | 164500 | 22580 | 158060 | 22580 | 158060
5 | P/F Single Side Partition approx. 2700mm high, in 12mm thk Shera board fixed on Framework of MS Box section 50x50mm ,18 gauge at a spacing of 600 mm c/c in both direction to achieve rigidity in the frame of approved sections supported/hung from existing airport structure, floor with rust-free treatment & enamel paint of colour as specified ready to recieve finish on top. Rate inclusive of all necessary hardware, wastage, making provision for electrical points, Fire paint coating on shera board etc complete fascia and edges with grooves, provision for fixing concealed LED lights, edge finishing as per detailed drawing. Measurement as per elevation. |  | 50 | Sq.m. |  | 0 | 5918 | 295900 | 3450 | 172500 | 3450 | 172500 | 4795 | 239750 | 3450 | 172500
6 | Providing and fixing in place Flap door for shaft access approx. 1050mm high, made out of 19mm th. HDHMR ply, laminated on all visible faces, higed as per details. Rate inclusive of all necessary hardware, wastage, etc complete in all respects as per drawings |  | 1 | No. |  | 0 | 12502 | 12502 | 23000 | 23000 | 15000 | 15000 | 24500 | 24500 | 12502 | 12502
TOTAL PART D : | [5 empty] | 0 |  | 927752 |  | 683000 |  | 586500 |  | 669190 |  | 572942
E | MISCELLANEOUS
1 | P/F in place 50mm dia SS foot rail, fixed to the floor/counter/wall with 25mm dia members and cleats of the same finish. Rate inclusive of all necessary hardware, wastage, fixing, etc complete in all respects as per details. |  | 6 | R.M |  | 0 | 3250 | 19500 | 4300 | 25800 | 2300 | 13800 | 2100 | 12600 | 2100 | 12600
TOTAL PART E : | [5 empty] | 0 |  | 19500 |  | 25800 |  | 13800 |  | 12600 |  | 12600
[6 empty] | 0 |  | 1920637 |  | 1630600 |  | 1330160 |  | 1551660 |  | 1304868

## Idli.com-Plumbing
Idli.com @ Ahemdabad |  |  |  |  | DATE | [5 empty] | DATE |  |  | DATE |  |  | DATE |  |  | DATE
[5 empty] | REV | [5 empty] | REV |  |  | REV |  |  | REV |  |  | REV
PLUMBING WORKS-WATER SUPPLY AND DRAINAGE WORKS |  |  |  |  | STATUS | [5 empty] | STATUS |  |  | STATUS |  |  | STATUS |  |  | STATUS
[7 empty] | SHAH ENTERPRISES |  |  | IMPULSE R0 |  |  | IMPULSE R1 |  |  | INVENTECH R1 |  |  | LOWEST
S.NO | DESCRIPTION | UNIT | QTY | RATE |  |  | RATE |  |  | RATE |  |  | RATE |  |  | RATE |  |  | RATE
|  |  |  | SUPPLY + Insta | INSTALLATION | Total | SUPPLY + Insta | INSTALLATION | Total | SUPPLY + Insta | INSTALLATION | Total | SUPPLY + Insta | INSTALLATION | Total | SUPPLY + Insta | INSTALLATION | Total | SUPPLY + Insta | INSTALLATION | Total
I | INTERNAL WATER SYSTEM
(A) | WATER DISTRIBUTION FOR ALL THE AREAS
1 | Supplying, installing, fixing, jointing, testing and commissioning of approved make Chlorinated Polyvinyl Chloride pipes (CPVC) up to 50mm dia SDR.11, ASTM CTS, and above 50mm dia CPVC schedule 40 ASTM IPS. Fittings up to 50mm dia SDR.11, The fittings and specials such as tees, elbows, couplers, bends, enlargers etc, with CPVC brass threaded combination / transition specials such as male adapters brass threaded female adapters, brass FPT Tee, Brass FPT elbow, clamps, supports etc., where connection with metal is to be made including necessary drilling holes, chasing walls and the same original condition neately as directed by the Engineer in-charge. Joints to be made with CPVC solvent cement up to 50mm dia as per ASTM D-2846 and above 50mm dia primer P-70, and solvent confirming to ASTM F-4931 / 724. (DWS AND HWS)
1.1 | 20 mm dia (DWS & HWS) | Rmt | 100 |  |  | 0 | 1050 |  | 105000 | 340 |  | 34000 | 340 |  | 34000 | 612 |  | 61200 | 340 |  | 34000
1.2 | 25 mm dia -287 rate | Rmt | 40 |  |  | 0 | 1254 |  | 50160 | 400 |  | 16000 | 400 |  | 16000 | 710 |  | 28400 | 400 |  | 16000
1.3 | 32 mm dia | Rmt | 10 |  |  | 0 | 2050 |  | 20500 | 470 |  | 4700 | 470 |  | 4700 | 950 |  | 9500 | 470 |  | 4700
2 | Supplying, installing and testing, 32 mm dia (Screwed ends), approved make GM ball valves PN10 conforming to IS 1703 with unions etc., complete. | Nos | 1 |  |  | 0 | 25864 |  | 25864 | 2500 |  | 2500 | 1950 |  | 1950 | 1950 |  | 1950 | 1950 |  | 1950
3 | Supplying, installing and testing, Digital Water Flow meter for measuring water consumption for the unit with all the mounting accessories with 32mm dia inlet and outlet size. Endress Hauser Flow Meters. | Nos | 1 |  |  | 0 | 75890 |  | 75890 | 14500 |  | 14500 | 14500 |  | 14500 | 15500 |  | 15500 | 14500 |  | 14500
(A) | SUB-TOTAL FOR WATER DISTRIBUTION FOR ALL THE AREAS
(B) | INTERNAL SEWERAGE WATER SYSTEM + BOH/BAR AREA
1 | Supplying, fixing, testing and commissioning PVC, waste pipes (SWR) confirming to IS13592 :1992, type B with rubber ring (confirming IS:5382) joint inclusive of all necessary specials like bends, tees, offsets, door ends, junctions, cowls, etc., laid under floor/fixed on walls and in pipe shafts etc., complete.The quoted rate should include necessary earthwork,chasing in walls, making bores in walls, foundations and slabs and making good the chased surfaces, Anchor fasteners, supports like hanger supports, MS brackets with GI clamps, grip bolts, etc., complete. (Note:GI brackets/Supports shall be provided at every 1.5m c/c)
INTERNAL DIA
1.1 | 50 mm dia | Rmt | 15 |  |  | 0 | 1850 |  | 27750 | 650 |  | 9750 | 650 |  | 9750 | 1250 |  | 18750 | 650 |  | 9750
1.2 | 75 mm dia | Rmt | 30 |  |  | 0 | 2250 |  | 67500 | 850 |  | 25500 | 850 |  | 25500 | 1480 |  | 44400 | 850 |  | 25500
2 | Supplying, fixing and testing PVC pressure pipes (6Kg/sqcm) confirming to IS 4985 for waste connection from wash basin to 'P' trap and sink outlet pipe with solvent joints, including all the fittings, laid above false ceiling concealed in wall etc, complete. The quoted rate should include necessary chasing in walls making good the same in C.M 1:4, necessary fittings viz., supports like Hi-tech supports, grip bolts elbows, tees etc., with G.I clamps and Brackets, Anchor fasteners, Grip bolts, nuts and bolts, etc, complete.
2.1 | 40mm dia | Rmt | 10 |  |  | 0 | 4573 |  | 45730 | 540 |  | 5400 | 540 |  | 5400 | 650 |  | 6500 | 540 |  | 5400
3 | 40mm dia Flexible pipe for the drawing from the sink to the grease trap + from the sink to the outlet pipe | Rmt | 5 |  |  | 0 | 4573 |  | 22865 | 400 |  | 2000 | 400 |  | 2000 | 650 |  | 3250 | 400 |  | 2000
4 | Sink Tap Goft Swivel Spout Chrome Plated Foam Flow 15mm, Sink Cock complete with all accessories to function | Nos. | 4 |  |  | 0 | 3252 |  | 13008 | 15400 |  | 61600 | 3500 |  | 14000 | 7500 |  | 30000 | 3252 |  | 13008
6 | Supply & Fixing of Floor drain with anticockroached trap Chilly make model number CCT-SG-129 Square Gypsy 129*129 mm & 31mm hole for waste pipe with necessary fittings etc., complete. | Each | 4 |  |  | 0 | 2856 |  | 11424 | 3500 |  | 14000 | 1050 |  | 4200 | 950 |  | 3800 | 1050 |  | 4200
7 | Supply & Fixing of Water heater of 15lts of Jaquar Make Model No. ELM-WHT-V025, Angular stop cock with wall flange of Jaquar Make Model No CON-CHR-059KN, 2nos 450mm long SS brided hose with M10x1nipple,15mm nut,O-ring & rubber wahser with necessary fittings etc., complete. Water heater to be rated for 7 Kg/cm2 inlet pressure. | Each | 12 |  |  | 0 | 24580 |  | 294960 | 14500 |  | 174000 | 14500 |  | 174000 | 1662.3333 |  | 19948 | 14500 |  | 174000
(B) | SUB -TOTAL FOR INTERNAL SEWERAGE WATER SYSTEM ALL AREAS
| GRAND TOTAL FOR PHE WATER SUPPLY SYSTEM |  |  |  |  | 0 |  |  | 760651 |  |  | 363950 |  |  | 306000 |  |  | 243198 |  |  | 305008
EXCLUSIONS
1 | Sink is excluded from BOQ/ To be supplied by TFS
2 | Grease trap is excluded. Grease traps will be supplied by TFS/ Client
GENERAL NOTES :
1 | Necessary consumables like brass screws of approved make, dia and length, wooden plugs, white cement, sealants etc., required if any, shall be arranged by the contractor.
2 | All works to be carried out to relevant specifications as enumerated elsewhere in the Tender and as per the latest IS specifications.
3 | All chasing in wall for CPVC pipes shall be carried out by electric chasing machine.
4 | Any bore to be done in RCC wall, slab and beams shall be done by core cutting machine In consultation with structural consultants.

## ELECTRICAL
IDLI.COM ,T-1_L-16, Ahemdabad Airport.
Schedule Of Quantities Cost - Electrical Works Dated 03rd May. 2024
The prices are to be quoted in the section mentioned below and shall include the supply, Installation, Testing and commissioning at site of all the equipments, ancillary materials as specified and all such items what so ever required to fulfill the intent and purpose as laid down in the specifications and/or drawings and shall include all taxes and duties on works contract basis. | [5 empty] | SHAH ENTERPRISES |  | IMPULSE R0 |  | IMPULSE R1 |  | LOWEST
S. No. | Description | Unit | Qty. | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount
|  |  |  | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.) | (Rs.)
1 | DISTRIBUTION BOARDS
Supply, erection, testing and commissioning of the following sheet steel clad wall recess mounting dust and vermin proof double door type distribution boards constructed from 16 SWG sheet steel IP 42 construction, finished with rust proof duly powder coated in approved shade with hinged gasketed door and housing the following complete with P.V.C. insulated copper busbars rated 200 amp with interconnections, neutral and earth bar assembly per phase, earthing terminals complete as approved by Architects.
Note : All MCBs in distribuition board for power circuits shall be of C curve
i | Type A
| 1-80amp FP MCB with 3 single phase banks each comprising of 80A DP RCCB(30 mA) and 10 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | 1 | Set |  | 0 | 35680 | 35680 | 25000 | 25000 | 25000 | 25000 | 25000 | 25000
iii | Type C
| 1-25 amp DP MCB + DP RCCB ( 100mA) and 6 nos. 6/16/20/25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | 1 | Set |  | 0 | 28564 | 28564 | 17500 | 17500 | 14500 | 14500 | 14500 | 14500
2 | Supply installation testing and commisioning 1.6 kVA online ( 1ph input and 1ph output) UPS with 15 Min power back up complete with in buit Static by pass switch , Mannual external maintenance by pass switch , Rectifiers , Sealed MF batteries etc as required | 1 | No. |  | 0 | 155620 | 155620 | 65000 | 65000 | 18600 | 18600 | 18600 | 18600
3 | Supply, laying, testing & commissioning of following sizes of Al/Cu. conductor 1.1 kV grade, armoured, XLPE insulated FRLS LT Cables/ Control Cables including necessary cleats, clamps etc. (Cables shall be partly laid in Pipes, O/H cable tray, on wall as required )
3.1 | 4C – 16.0 (Cu.) FRLS Armoured XLPE Cable * | 40 | Mtrs |  | 0 | 1250 | 50000 | 950 | 38000 | 950 | 38000 | 950 | 38000
3.2 | 3C – 6.0 (Cu.) FRLS Armoured XLPE Cable | 10 | Mtrs |  | 0 | 1010 | 10100 | 650 | 6500 | 270 | 2700 | 270 | 2700
* Approximate and shall be as per point of supply from Airport Panel/ Isolator
4 | Supply, erection, testing & commissioning of following sizes of cable end terminations with Single compression gland for 1.1 kV grade, XLPE insulated, Al/Cu Conductor cable
4.1 | 4C – 16.0 (Cu.) FRLS Armoured XLPE Cable | 2 | Nos. |  | 0 | 1560 | 3120 | 1400 | 2800 | 750 | 1500 | 750 | 1500
4.2 | 3C – 6.0 (Cu.) FRLS Armoured XLPE Cable | 2 | Nos. |  | 0 | 850 | 1700 | 1400 | 2800 | 500 | 1000 | 500 | 1000
5 | Wiring for DB Submains with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in surface/concealed MS surface/concealed conduit including cost of providing saddles etc as required for surface conduiting and/or cost of cutting and filling chases as required and making suitable end termination with copper lugs complete as required and as below
5.3 | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit | 15 | Mtrs |  | 0 | 450 | 6750 | 430 | 6450 | 430 | 6450 | 430 | 6450
5.4 | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit | 180 | Mtrs |  | 0 | 580 | 104400 | 350 | 63000 | 330 | 59400 | 330 | 59400
6 | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts/ in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043:1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required
6.2 | 25X3 mm GI Strip | 20 | Mtrs |  | 0 | 240 | 4800 | 180 | 3600 | 180 | 3600 | 180 | 3600
6.3 | 8 SWG Copper Wire | 30 | Mtrs |  | 0 | 95 | 2850 | 160 | 4800 | 90 | 2700 | 90 | 2700
6.4 | 8 SWG GI Wire | 20 | Mtrs |  | 0 | 85 | 1700 | 120 | 2400 | 25 | 500 | 25 | 500
6.5 | 1 Core 6.0 Sq. Mm FRLS Green Wire | 10 | Mtrs |  | 0 | 125 | 1250 | 210 | 2100 | 45 | 450 | 45 | 450
7 | Supply, erection, testing & commissioning of prefabricated GI Perforated type cable trays including Tees / Bends / Crossing / Reducers / Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as required including support at every 1500mm as required
7.1 | 150 mm x 40 x 40 x 2 mm thick with 2 Nos. 25X3mm GI Earth Strip | 20 | Mtrs |  | 0 | 810 | 16200 | 1850 | 37000 | 1150 | 23000 | 810 | 16200
8 | Wiring for MCB controlled normal primary light points/ Wall Point/ Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | 6 | Pt |  | 0 | 1950 | 11700 | 3800 | 22800 | 3000 | 18000 | 1950 | 11700
9 | Wiring for secondary MCB controlled normal light points/ Wall Point/ Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | 12 | Pt |  | 0 | 1750 | 21000 | 2300 | 27600 | 2100 | 25200 | 1750 | 21000
10 | Wiring for MCB controlled Emergency primary light points/ Wall Point/ Floor Point with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | 1 | Pt |  | 0 | 2450 | 2450 | 3800 | 3800 | 2500 | 2500 | 2450 | 2450
11 | Wiring for secondary MCB controlled Emergency light points/ Wall Point/ Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall / ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | 3 | Pt |  | 0 | 1850 | 5550 | 2300 | 6900 | 1500 | 4500 | 1500 | 4500
15 | Wiring for a 5 pin 240 volt 6 amp single phase and neutral switch socket outlet with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall / ceiling including cost of providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade wires and including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and providing and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires complete as requied( Switch and socket shall be as approved by the architect / Client) | 2 | Pt. |  | 0 | 5850 | 11700 | 2100 | 4200 | 2000 | 4000 | 2000 | 4000
16 | Wiring same as in Item 15 above looped from an adjacent 6 amp switch socket outlet as required and providing and fixing of a modular type 5 pin 240 Volt 6 amp shuttered socket outlet and a modular type 6 amp 240 Volt single pole switch in a recessed GI boxes with internal wiring and moulded front plates complete as required. ( Switch and socket shall be as approved by the architect / Client) | 3 | Pt. |  | 0 | 4850 | 14550 | 2300 | 6900 | 1500 | 4500 | 1500 | 4500
18 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 2.5 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall / Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect / Client) | 3 | Pt. |  | 0 | 6220 | 18660 | 3200 | 9600 | 2900 | 8700 | 2900 | 8700
19 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall / Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect / Client) | 10 | Pt. |  | 0 | 6220 | 62200 | 2500 | 25000 | 2500 | 25000 | 2500 | 25000
20 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the second outlet in 25mm dia 16 SWG MS conduit in wall / Ceiling including cost of providing saddles etc as required for surface conduiting and/or cost of cutting and filling chases and including providing and fixing of two sets of 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted switches with moulded cover plate in a recessed GI box including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch/Socket Shall be as per approved sample by Architect) | 5 | Pt. |  | 0 | 6220 | 31100 | 2700 | 13500 | 2700 | 13500 | 2700 | 13500
21 | Wiring for primary switch board consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A switch with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall / Ceiling including cost of providing saddles etc as required for surface conduiting and/or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 3 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with 3 Nos. 6A modular switch , safety shutters in a recessed/surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch/Socket Shall be as per approved sample by Architect) Note- Conduits shall be 16 SWG MS on surface and FRLS PVC for wall concealed | 2 | Pt. |  | 0 | 5650 | 11300 | 3700 | 7400 | 3700 | 7400 | 3700 | 7400
22 | Supply installation testing and fixing 3 pin 20A , 240V , single Phase metal Clad industrial socket outlet with 20A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | 3 | Nos. |  | 0 | 5520 | 16560 | 1700 | 5100 | 1700 | 5100 | 1700 | 5100
23 | Supply installation testing and fixing 3 pin 25A/32A , 240V , single Phase metal Clad industrial socket outlet with 25A/32A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | 8 | Nos. |  | 0 | 5850 | 46800 | 1500 | 12000 | 1500 | 12000 | 1500 | 12000
25 | Supply , fixing & Laying 2.0mm Thick FRLS PVC conduits on surface or concealed complete with PVC junction boxes, cover plates, PVC bends, PVC saddles, base and other accessories all made in PVC with GI screws as required to complete the job. .
i | 25 mm dia FRLS PVC conduit | 20 | Mtrs |  | 0 | 110 | 2200 | 75 | 1500 | 75 | 1500 | 75 | 1500
ii | 20 mm dia FRLS PVC conduit | 25 | Mtrs |  | 0 | 95 | 2375 | 65 | 1625 | 65 | 1625 | 65 | 1625
27 | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic. Dust cover / blank shall be provided to protect unused faceplate openings. Termination caps and plastic cover shall be provided to protect jack wiring.
i | Single outlet face plate with RJ-45 Jack with information outlet | 3 | Nos. |  | 0 | 750 | 2250 | 3200 | 9600 | 750 | 2250 | 750 | 2250
ii | Duplex outlet face plate with RJ-45 Jack with information outlet | 2 | Nos. |  | 0 | 950 | 1900 | 4300 | 8600 | 950 | 1900 | 950 | 1900
28 | Supply,installtion testing and commisioning of Cat-6A UTP cables in existing Conduit complete as required for Telephone and Data System | 140 | Mtrs |  | 0 | 110 | 15400 | 120 | 16800 | 55 | 7700 | 55 | 7700
29 | Supplying,installation and commisioning of CAT-6A patch cords 2 mtrs. | 7 | Nos |  | 0 | 1050 | 7350 | 650 | 4550 | 250 | 1750 | 250 | 1750
30 | Supplying,installation and commisioning of CAT-6A patch cords 1 mtr. | 7 | Nos |  | 0 | 750 | 5250 | 380 | 2660 | 325 | 2275 | 325 | 2275
32 | Installation of following light fixtures including connections and complete in all respects
i | 25/15/12Watt Recessed Down Lighter | 15 | No. |  | 0 | 310 | 4650 | 2400 | 36000 | 2100 | 31500 | 310 | 4650
ii | LED Strip Light ( Per Meter) | 6 | Mtrs |  | 0 | 175 | 1050 | 350 | 2100 | 220 | 1320 | 175 | 1050
iii | Signage | 1 | No. |  | 0 | 980 | 980 | 3500 | 3500 | 245 | 245 | 245 | 245
iv | 2X20W FTL LED TUBE | 4 | No. |  | 0 | 2250 | 9000 | 450 | 1800 | 450 | 1800 | 450 | 1800
Total For Electrical Works - INR |  |  |  |  | 0 |  | 728709 |  | 510485 |  | 381665 |  | 337195
THE ABOVE EXCLUDES THE FOLLOWING:-
1 | Equipment ( Server , Ports etc) for networking / LAN system / EPABX and Centrex system , however infrastructure like Conduits / Pipes /RJ-45 sockets have been considered
2 | Fire Alarm System
3 | Supply of light fixtures. However installation and Wiring considered

## FIRE BOQ
BILL OF QUANTITIES FOR FIRE WORK LOCATION:-Ahemdabad Idli.com | [7 empty] | SHAH ENT |  | IMPUSE R0 |  | IMPUSE R1 |  | INVENTECH |  | LOWEST
S. NO. | DESCRIPTION | DIAGRAM | UNIT | QTY. | RATE | TOTAL | REMARKS | RATE | TOTAL | RATE | TOTAL | RATE | TOTAL | RATE | TOTAL | RATE | TOTAL
1 | R1 (RESPONSE INDICATORS)
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Response indicators are connected to automatic fire detectors in order to indicate quickly the source of an alarm signal from detectors which are not easily accessible or visible. They light up as soon as the connected fire detector gives an alarm.(Wiring from switches to panel and stair case pressurization not included) |  | Nos | 4 |  | 0 | 0 | 5890 | 23560 | 3500 | 14000 | 2500 | 10000 | 2100 | 8400 | 2100 | 8400
2 | HD (HEAT DETECTOR) INSTALL NEAR HOOD
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) A heat detector is a fire alarm device designed to respond when the convected thermal energy of a fire increases the temperature of a heat sensitive element. The thermal mass and conductivity of the element regulate the rate flow of heat into the element. All heat detectors have this thermal lag (Wiring from switches to panel and stair case pressurization not included) Honeywell Notifier |  | Nos | 1 |  | 0 | ADDRESSABLE TYPE HEAT DETECTOR | 850 | 850 | 4500 | 4500 | 2600 | 2600 | 2257 | 2257 | 850 | 850
#REF! | MCP (MANUAL CALL POINT)
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Manual call points are used to initiate an alarm signal, and operate by means of a simple button press or when glass is broken revealing a button. They can form part of a manual alarm system or an automatic alarm system.Model : Honeywell Notifier and FM approved with GI mounting Box |  | Nos | 1 |  | 0 | ADDRESSABLE TYPE MCP | 5950 | 5950 | 4300 | 4300 | 3200 | 3200 | 2800 | 2800 | 2800 | 2800
#REF! | H (HOOTER)
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Fire Alarm Systems. A fire alarm system is a electrical / electronic system which is connected with many type of devices such as main panel, smoke / heat detectors, mcp, sounder etc.. to detect the fire event by indiacating audio or visualize signal at the main or individual devices.Model : Honeywell Notifier with GI mounting Box |  | Nos | 1 |  | 0 | 0 | 3800 | 3800 | 4500 | 4500 | 3500 | 3500 | 2800 | 2800 | 2800 | 2800
7 | SD (SMOKE DETECTOR BELOW CEILING)
| Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model : Honeywell Notifier. |  | NOS | 4 |  | 0 | 0 | 1540 | 6160 | 4200 | 16800 | 3500 | 14000 | 4745 | 18980 | 1540 | 6160
9 | FIRE ALARM SYSTEM LOOPING |  | RMT. | 200 |  | 0 |  |  | 0 | 145 | 29000 | 120 | 24000 | 90 | 18000 | 90 | 18000
#REF! | Acrylic EXIT Glow Sign Board with LED Lights, Size 10 x 6.5 inch, |  | NOS | 1 |  | 0 | 0 | 2450 | 2450 | 4500 | 4500 | 2500 | 2500 | 780 | 780 | 780 | 780
NOTE: KINDLY FOLLOW THE GUIDELINES ISSUED BY AIRPORT AUTHORITY FOR THE DETAILED SPECIFICATIPONS OF DIFFERENT ITEMS MENTIONED IN THIS BOQ.
| TOTAL |  |  |  |  | 0 |  |  | 42770 |  | 77600 |  | 59800 |  | 54017 |  | 39790

## SPRINKLER
BILL OF QUANTITIES FOR SPRINKLER WORK LOCATION:- Ahemdabad Idli.com | [6 empty] | SHAH ENT |  | IMPULSE R0 |  | IMPULSE R1 |  | INVENTECH |  | LOWEST
SR. NO. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT | Remarks | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT | RATE | AMOUNT
1 | Providing, Laying, Jointing & Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C' Heavy Pipe & with necessary support & anchore fastening from slab.
a. | 25 mm dia | Rmt. | 3.5 |  | 0 |  | 750 | 2625 | 950 | 3325 | 950 | 3325 | 250 | 875 | 250 | 875
c. | 40 mm dia | Rmt. | 7 |  | 0 |  | 975 | 6825 | 1340 | 9380 | 1340 | 9380 | 350 | 2450 | 350 | 2450
e. | 65mm dia | Rmt. | 3.5 |  | 0 |  | 1425 | 4987.5 | 1750 | 6125 | 1750 | 6125 | 550 | 1925 | 550 | 1925
2 | Synthetic Enamel Paint.
a. | 25 mm dia | Rmt. | 3.5 |  | 0 |  | 66 | 231 | 40 | 140 | 27 | 94.5 | 27 | 94.5 | 27 | 94.5
c. | 40 mm dia | Rmt. | 7 |  | 0 |  | 85 | 595 | 40 | 280 | 27 | 189 | 27 | 189 | 27 | 189
e. | 65mm dia | Rmt. | 3.5 |  | 0 |  | 99 | 346.5 | 40 | 140 | 35 | 122.5 | 35 | 122.5 | 35 | 122.5
3 | Providing & Fixing of Butterfly Valve.
a. | 65mm dia | No. | 1 |  | 0 |  | 7850 | 7850 | 12500 | 12500 | 8500 | 8500 | 8500 | 8500 | 7850 | 7850
4 | Providing & Fixing of Ball Valve.
e. | 65 mm dia | No. | 1 |  | 0 |  |  | 0 | 9500 | 9500 | 3500 | 3500 | 2800 | 2800 | 2800 | 2800
5 | HEADER FITTING.
a. | Flow Switch | No. | 1 |  | 0 |  | 6330 | 6330 | 5400 | 5400 | 3250 | 3250 | 3250 | 3250 | 3250 | 3250
b | Pressure Gauge | No. | 1 |  | 0 |  | 2758 | 2758 | 7500 | 7500 | 2250 | 2250 | 2250 | 2250 | 2250 | 2250
c | Air Release Valve | No. | 1 |  | 0 |  | 2854 | 2854 | 4500 | 4500 | 1580 | 1580 | 1580 | 1580 | 1580 | 1580
d | 80 mm dia NRV | No. | 1 |  | 0 |  | 6854 | 6854 | 15400 | 15400 | 6854 | 6854 | 6890 | 6890 | 6854 | 6854
7 | Providing & Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make : Tyco / viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed & EN approved for high temperature area in Kitchen temprating shall be 79degree c (QR)
a. | Pendant Type | No. | 7 |  | 0 |  | 1850 | 12950 | 650 | 4550 | 650 | 4550 | 1200 | 8400 | 650 | 4550
b. | UP Right Type | No. | 7 |  | 0 |  | 2120 | 14840 | 650 | 4550 | 650 | 4550 | 1500 | 10500 | 650 | 4550
8 | Flexible Sprinkler Drop.
a. | 25mm | No. | 21 |  | 0 |  | 875 | 18375 | 2700 | 56700 | 1250 | 26250 | 840 | 17640 | 840 | 17640
NOTE: KINDLY FOLLOW THE GUIDELINES ISSUED BY MALL AUTHORITY FOR THE DETAILED SPECIFICATIPONS OF DIFFERENT ITEMS MENTIONED IN THIS BOQ. SPRINKLER TAP OFF TO BE TAKEN FROM EXISTING SPRINKLER LINE
Total |  |  |  |  | 0 |  |  | 88421 |  | 139990 |  | 80520 |  | 67466 |  | 56980

## HVAC - HI SIDE
PROJECT : IDLI.COM , AHMEDABAD AIRPORT
SUMMARY TO SCHEDULE OF PRICES - HVAC WORKS
[5 empty] | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.)
Part A | Hi Side Works |  |  |  | 0 |  | 270985 |  | 325000 |  | 220000 |  | 289800 |  | 210000
Part B | Low Side Works |  |  |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
| Grand Total |  |  |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
PROJECT : IDLI.COM , AHMEDABAD AIRPORT
SUMMARY TO SCHEDULE OF PRICES - HVAC WORKS
The prices are to be quoted in the below mentioned form and shall include the supply, installation, Testing and Commissioning at site of all the equipments, ancillary materials except where specified otherwise and all such items whatsoever which may be required to fulfill the intent and purpose as laid down in the drawings and specifications shall include all taxes and duties on a basis works contract. | [5 empty] | SHAH ENT |  | IMPULSE R0 |  | IMPULSE R1 |  | INVENTECH |  | LOWEST
S.No. | Description | Unit | Qty. | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.)
Part A | Hi Side Works
1 | Kitchen Scrubber (Dry Type)-With Fan Section
1.1 | Supply , Installation, Testing and Commissioning of Dry Type Scrubber each comprising of extract air intake section, electrostatic precipitation technology, dry type air cleaner to remove oil, smoke and fumes from exhaust air, as per the Specifications. Electrostatic section shall be made of 16 gauge galvanised sheet, high bake epoxy powder coated, washable type aluminium mesh filters, stainless steel spiked ionizers to create high voltage DC field, aluminum collector plates which should be alternatively charged positive and negative with large collecting area with 14" deep cell, to work as magnet for charged smoke and oil particles. Average efficiency of 90-95% in single pass as per ASHRAE test method. Electrostatic Precipitator should be able to charge particles from 0.01 micron to 10 microns through solid state power supply. Collector cell should be of permanent type and incorporate slide out facility for easy removal for cleaning. Power supplies shall be 100% solid state UL Listed, Module of capacity above 3000 CFM shall be equipped with Pulse width modulating (PWM)
The system should be fitted with interlock switch for safety . The system should allow connection to a fan section to achieve 500 FPM velocity across the air
Operating Voltage : 220V, 50 Hz
Ionizing Voltage : 12.5 to 13 KVDC
Collector Cell Voltage : 6 to 6.5 KVDC
Power Consumption : Not more than 50W per cell.
| Capacities :2500 CFM | Nos | 1 |  | 0 | 175125 | 175125 | 180000 | 180000 | 175000 | 175000 | 254800 | 254800 | 175000 | 175000
2 | Inline Fans (Cabinet Type with acoustic enclosure)
2.1 | Supply, Installation, Testing and Commissioning of Inline fan as per specifications and drawings .
2.1.1 | 2000 CFM at 15 MM ESP | Nos | 1 |  | 0 | 95860 | 95860 | 145000 | 145000 | 45000 | 45000 | 35000 | 35000 | 35000 | 35000
| Sub-Total Part-'A' Rs. |  |  |  | 0 |  | 270985 |  | 325000 |  | 220000 |  | 289800 |  | 210000

## HVAC - LOW SIDE
PROJECT : IDLI.COM , AHMEDABAD AIRPORT
SUMMARY TO SCHEDULE OF PRICES - HVAC WORKS
[5 empty] | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.) |  | Amount(Rs.)
Part A | Hi Side Works |  |  |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
Part B | Low Side Works |  |  |  | 0 |  | 201503 |  | 215400 |  | 159380 |  | 185318 |  | 133240.5
| Grand Total |  |  |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
PROJECT : IDLI.COM , AHMEDABAD AIRPORT
SUMMARY TO SCHEDULE OF PRICES - HVAC WORKS
The prices are to be quoted in the below mentioned form and shall include the supply, installation, Testing and Commissioning at site of all the equipments, ancillary materials except where specified otherwise and all such items whatsoever which may be required to fulfill the intent and purpose as laid down in the drawings and specifications shall include all taxes and duties on a basis works contract. | [5 empty] | SHAH ENT |  | IMPULSE R0 |  | IMPULSE R1 |  | INVENTECH |  | LOWEST
S.No. | Description | Unit | Qty. | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.) | Rate(Rs.) | Amount(Rs.)
Part B | Low Side Works
1 | DUCTING
1.1 | G.I. Sheet Metal Ducting - Site Fabricated
Installation, Testing and Commissioning of site fabricated GSS sheet metal rectangular ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required.
i. | 0.63 MM (24 Gauge) | Sqm. | 55 |  | 0 | 1990 | 109450 | 1450 | 79750 | 1406 | 77330 | 1406 | 77330 | 1406 | 77330
2 | INSULATION
2.1 | Nitrile Rubber Insulation- Class 'O'
Supplying and fixing of closed cell elastomeric insulation of density 55 kg/cu.m.and K valueof not less than 0.037W/mk at 20 deg C as per specifications and drawings (For indoor applications) with factory Laminated 7 mill woven glass cloth
i. | 25 mm thick (Exhaust / Supply Air ducts) | Sqm. | 30 |  | 0 | 2260 | 67800 | 850 | 25500 | 850 | 25500 | 1650 | 49500 | 850 | 25500
3 | DUCT ACCESSORIES
i. | Supply, Installation, Testing and Commissioning of GI multiblade volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc., as per specifications. | Sqm. | 1 |  | 0 | 2690 | 2690 | 16500 | 16500 | 1500 | 1500 | 758 | 758 | 758 | 758
ii. | Supply, Installation, Testing and Commissioning & fixing of powder coated extruded aluminium Supply / Exhaust Air Grills with damper as per specifications | Sq.m | 0.5 |  | 0 | 2690 | 1345 | 17500 | 8750 | 14500 | 7250 | 6854 | 3427 | 1345 | 672.5
iii. | Supply, Installation, Testing and Commissioning of Exhaust Air Opening damper complete with suitable links, lever and quadrants for manual control of airflow and with suitable links , lever and quadrants for manual control of airflow and neoprene rubber gaskets, nuts, bolts, screws, flanges etc., as per specifications | Sqm | 1 |  | 0 | 2690 | 2690 | 7500 | 7500 | 3500 | 3500 | 11394 | 11394 | 2690 | 2690
iv. | Supply, Installation, Testing and Commissioning of multiblade Al volume control Collar / Grille damper complete with suitable links, lever and quadrants for manual control of airflow and with suitable links , lever and quadrants for manual control of airflow and neoprene rubber gaskets, nuts, bolts, screws, flanges etc., as per specifications. | Sqm. | 1 |  | 0 | 2690 | 2690 | 15700 | 15700 | 4500 | 4500 | 14750 | 14750 | 2690 | 2690
a.) | Continuos Grille 200MM Wide | RM | 6 |  | 0 | 2098 | 12588 | 5600 | 33600 | 3200 | 19200 | 1500 | 9000 | 1500 | 9000
4 | Canvas
i. | Supply & Installation of double skin fire retardant canvas connection for AHU Fan Section , Exhaust Units etc. | Sqm. | 5 |  | 0 |  | 0 | 4500 | 22500 | 3000 | 15000 | 1800 | 9000 | 1800 | 9000
5 | Louvers
i. | Providing and fixing of powder coated extruded aluminium exhaust air louvers/ fresh air louvers with bird screen and mounting arrangement as per specification and drawings. Free Area shall be more than 60% of gross area.
a.) | Fresh Air / Exhaust Air Louvers with Bird Screen Mesh | Sqm. | 1 |  | 0 | 2250 | 2250 | 5600 | 5600 | 5600 | 5600 | 10159 | 10159 | 5600 | 5600
| Sub-Total Part-'B' Rs. |  |  |  | 0 |  | 201503 |  | 215400 |  | 159380 |  | 185318 |  | 133240.5

## Brand List
BRAND LIST
Sr. | MATERIALS | BRAND/QUALITY
1 | Plywood | Green Ply
2 | Veneers | Uro
3 | Laminates | Formica / Green Lam
4 | Adhesive | Fevicol
5 | Bonding Resins | Araldite
6 | Wood | BTC Only For Exterior
7 | Glass | Saint Goblin
8 | Calcium Silicate Boards | Hilux From Ramco
9 | Acrylic Emulsion | Asian Paint
10 | Gypsum Sheet | India Gypsum
11 | Grid Ceiling | Armstrong
12 | Solid Acrylic Surface | Corian
13 | Patch Fitting | Ingersoll Rand
14 | Cement (53 Grade Ordinary Portland) | Guj,Ambuja,L & T Etc.
15 | Waterproofing Chemical | Roff
16 | Tile Grouts | Bal,Laticrete.
17 | CPVC Pipe & Fitting | Astroal
18 | Wood Internal Frame Work | C.P.Wood.