## Summary
Supplier Name → |  | Climatrol | [5 empty] | Technochill | [5 empty] | Rinac India
S No | Description | Initial Quote |  |  | Final Quote |  |  | Initial Quote |  |  | Final Quote |  |  | Initial Quote |  |  | Final Quote
|  | Supply | Installation & Dismantle | Basic Amount | Supply | Installation & Dismantle | Basic Amount | Supply | Installation & Dismantle | Basic Amount | Supply | Installation & Dismantle | Basic Amount | Supply | Installation & Dismantle | Basic | Supply | Installation & Dismantle | Basic
1 | Walk in Freezer Room Domestic adani launge | 160294.5 | 90000 | 250294.5 | 143950.625 | 90000 | 233950.625 | 209058.19 | 93000 | 302058.19 | 194504.5 | 50000 | 244504.5 | 212330.344 | 72355.3116 | 284685.6556 | 212330.344 | 72355.3116 | 284685.6556
2 | Walk in Chiller Room Domestic adani launge | 151473.313 | 90000 | 241473.313 | 137138.438 | 90000 | 227138.438 | 200507.4829 | 111000 | 311507.4829 | 186120.703 | 85000 | 271120.703 | 157849.574 | 71454.0354 | 229303.6094 | 157849.574 | 71454.0354 | 229303.6094
3 | Walk in Freezer Room International Adani launge | 169419.79 | 90000 | 259419.79 | 151999.625 | 90000 | 241999.625 | 239723.487 | 93000 | 332723.487 | 222554.145 | 50000 | 272554.145 | 182855.5968 | 71161.8785 | 254017.4753 | 182855.5968 | 71161.8785 | 254017.4753
4 | Walk in Chiller Room International Adani launge | 152050.045 | 90000 | 242050.045 | 137755.67 | 90000 | 227755.67 | 202567.6237 | 111000 | 313567.6237 | 187999.624 | 85000 | 272999.624 | 155656.6836 | 71359.1142 | 227015.7978 | 155656.6836 | 71359.1142 | 227015.7978
5 | Walk in Chiller Room International Adani launge | 163831.048 | 90000 | 253831.048 | 148339.298 | 90000 | 238339.298 | 219719.9209 | 76000 | 295719.9209 | 203754.838 | 50000 | 253754.838 | 184152.8358 | 72679.8039 | 256832.6397 | 184152.8358 | 72679.8039 | 256832.6397
6 | Freight | 0 | 0 | 90000 | 0 | 0 | 70000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70000 | 0 | 0 | 70000
Total |  | 797068.696 | 450000 | 1337068.696 | 719183.656 | 450000 | 1239183.656 | 1071576.7045 | 484000 | 1555576.7045 | 994933.81 | 320000 | 1314933.81 | 892845.0342 | 359010.1436 | 1321855.1778 | 892845.0342 | 359010.1436 | 1321855.1778
[7 empty] | L1 | [5 empty] | L2 | [5 empty] | L3

## Freezer + Chiller 1
Offer for the Freezer |  | Climatrol Corporation |  | Technochill |  | Rinac
FREEZER Room (100 mm PP/PP) | Qty | Rate | Amount | Rate | Amount | Qty & AMT
SIZE IN METER
Width (Meters) | 2.05 |  |  |  |  | 1.42
Depth (Meters) | 1.45 |  |  |  |  | 2.19
Hight (Meters) | 2.743 |  |  |  |  | 2.43
Wall | 19.201 | 3750 | 72003.75 | 5790 | 111173.79 | 17.5446
Ceiling | 2.9725 | 3750 | 11146.875 | 5790 | 17210.775 | 3.1098
Door with Double Handle | 1 | 49000 | 49000 | 43750 | 43750 | 1
Kick Plates | 2 | 2000 | 4000 | 3890 | 7780 | 2
Strip Curtains | 1 | 5800 | 5800 | 7500 | 7500 | 1
PUF Slabs | 2.9725 | 2150 | 6390.875 | 2050 | 6093.625 | 3.1098
View Port for Freezer Room | 1 | 5953 | 5953 | 12950 | 12950 | 1
LED Lights | 4 | 1500 | 6000 | 650 | 2600 | 4
10,000 BTU/HR IDU & ODU | 0 |  | 0
Supply Price- Freezer |  |  | 160294.5 |  | 209058.19 | 212330.344
GST @ 18% |  |  | 28853.01 |  | 37630.4742 | 38219.4619
Total Supply Price-Freezer |  |  | 189147.51 |  | 246688.6642 | 250549.806
Installation Price of Freezer | 1 | 50000 | 50000 | 48000 | 48000 | 1
ODU stand for Freezer | 0 |  |  |  |  | 1
Dismantle of Old Room | 1 | 25000 | 25000 | 25000 | 25000 | 1
Kota Finishing | 1 | 15000 | 15000 | 20000 | 20000 | NA
Installation Price Freezer |  |  | 90000 |  | 93000 | 72355.3116
GST @ 18% |  |  | 16200 |  | 16740 | 13023.9561
Total Installation Price Freezer |  |  | 106200 |  | 109740 | 85379.2677
Total Freezer (Supply+ Installation) without GST |  |  | 250294.5 |  | 302058.19 | 284685.6556
Total Freezer (Supply+ Installation) with GST |  |  | 295347.51 |  | 356428.6642 | 335929.0737
Chiller Room (60 mm PP/PP) | Qty | Rate | Amount
SIZE IN METER
Width (Meters) | 2.05 |  |  |  |  | 1.47
Depth (Meters) | 1.71 |  |  |  |  | 2.19
Hight (Meters) | 2.743 |  |  |  |  | 2.49
Wall | 20.6274 | 3300 | 68070.288 | 5265 | 108603.0504 | 12.7737
Ceiling | 3.5055 | 3300 | 11568.15 | 5265 | 18456.4575 | 3.2193
Door with Double Handle | 1 | 46000 | 46000 | 40550 | 40550 | 1 | Flush Type Door (SS/SS)
Kick Plates | 2 | 2000 | 4000 | 3865 | 7730 | 2
Strip Curtain | 1 | 5500 | 5500 | 6500 | 6500 | 1
Puf Slabs | 3.5055 | 1250 | 4381.875 | 1450 | 5082.975 | 3.2193
View Port for Chiller Room | 1 | 5953 | 5953 | 10985 | 10985 | 1
LED Lights | 4 | 1500 | 6000 | 650 | 2600 | 4
10,000 BTU/Hr Climatrol Make R404a IDU | 0 |  | 0
15,000 BTU/Hr Climatrol Make R404a IDU | 0 |  | 0
Supply Price- Chller |  |  | 151473.313 |  | 200507.4829 | 157849.574
GST @ 18% |  |  | 27265.1963 |  | 36091.3469 | 28412.9233
Total Supply Price- Chller |  |  | 178738.5093 |  | 236598.8298 | 186262.4973
Installation Price of Chiller | 1 | 50000 | 50000 | 38000 | 38000 | 1
ODU stand for Chiller | 0 | 0 | 0
Dismantle of Old Room | 1 | 25000 | 25000 | 18000 | 18000 | 1
Kota Finishing | 1 | 15000 | 15000 | 20000 | 20000 | NA
Debri remove & dump out site | 1 |  |  | 35000 | 35000 | NA
Installation Price of Chiller |  |  | 90000 |  | 111000 | 71454.0354
GST @ 18% |  |  | 16200 |  | 19980 | 12861.7264
Total Installation Price Chiller |  |  | 106200 |  | 130980 | 84315.7618
Total Chiller (Supply+ Installation) without GST |  | 0 | 241473.313 |  | 311507.4829 | 229303.6094
Total Chiller (Supply+ Installation) with GST |  |  | 284938.5093 |  | 367578.8298 | 270578.2591
Extra Coper piping for frezer |  | 850 Extra
Extra Coper piping for Chiller |  | 850 Extra

## Freezer + Chiller 2
Offer for the Freezer |  | Climatrol Corporation |  | Technochill |  |  | Rinac
FREEZER Room (100 mm PP/PP) | Qty | Rate | Amount | Qty | Rate | Amount | Rate AMT
SIZE IN METER
Width (Meters) | 2.28 |  |  | 2.31 |  |  | 1.27
Depth (Meters) | 1.54 |  |  | 1.84 |  |  | 1.82
Hight (Meters) | 2.743 |  |  | 2.743 |  |  | 2.122
Wall | 20.8468 | 3750 | 78175.5 | 22.7669 | 5790 | 131820.351 | 13.114
Ceiling | 3.4731 | 3750 | 13024.125 | 4.2504 | 5790 | 24609.816 | 2.3114
Door with Double Handle | 1 | 49000 | 49000 | 1 | 43750 | 43750 | 1 | Flush Type Door (SS/SS)
Kick Plates | 2 | 2000 | 4000 | 2 | 3890 | 7780 | 2
Strip Curtains | 1 | 5800 | 5800 | 1 | 7500 | 7500 | 1
PUF Slabs | 3.4731 | 2150 | 7467.165 | 4.2504 | 2050 | 8713.32 | 2.3114
View Port for Freezer Room | 1 | 5953 | 5953 | 1 | 12950 | 12950 | 1
LED Lights | 4 | 1500 | 6000 | 4 | 650 | 2600 | 4
10,000 BTU/HR IDU & ODU | 0 |  | 0
Supply Price- Freezer |  |  | 169419.79 |  |  | 239723.487 | 182855.5968
GST @ 18% |  |  | 30495.5622 |  |  | 43150.2277 | 32914.0074
Total Supply Price-Freezer |  |  | 199915.3522 |  |  | 282873.7147 | 215769.6042
Installation Price of Freezer | 1 | 50000 | 50000 | 1 | 48000 | 48000 | 1
ODU stand for Freezer | 0 | 0 | 0 |  |  |  | 1
Dismantle of Old Room | 1 | 25000 | 25000 | 1 | 25000 | 25000 | 1
Kota Finishing | 1 | 15000 | 15000 | 1 | 20000 | 20000 | NA
Installation Price Freezer |  |  | 90000 |  |  | 93000 | 71161.8785
GST @ 18% |  |  | 16200 |  |  | 16740 | 12809.1381
Total Installation Price Freezer |  |  | 106200 |  |  | 109740 | 83971.0166
Total Freezer (Supply+ Installation) without GST |  |  | 259419.79 |  |  | 332723.487 | 254017.4753
Total Freezer (Supply+ Installation) with GST |  |  | 306115.3522 |  |  | 392613.7147 | 299740.6208
Chiller Room (60 mm PP/PP) | Qty | Rate | Amount
SIZE IN METER
Width (Meters) | 2.28 |  |  | 2.31 |  |  | 1.93
Depth (Meters) | 1.53 |  |  | 1.52 |  |  | 1.64
Hight (Meters) | 2.743 |  |  | 2.743 |  |  | 2.255
Wall | 20.8468 | 3300 | 68794.44 | 21.0114 | 5265 | 110624.9157 | 12.4025
Ceiling | 3.4731 | 3300 | 11461.23 | 3.5112 | 5265 | 18486.468 | 3.1652
Door with Double Handle | 1 | 46000 | 46000 | 1 | 40550 | 40550 | 1 | Flush Type Door (SS/SS)
Kick Plates | 2 | 2000 | 4000 | 2 | 3865 | 7730 | 2
Strip Curtain | 1 | 5500 | 5500 | 1 | 6500 | 6500 | 1
Puf Slabs | 3.4731 | 1250 | 4341.375 | 3.5112 | 1450 | 5091.24 | 3.1652
View Port for Chiller Room | 1 | 5953 | 5953 | 1 | 10985 | 10985 | 1
LED Lights | 4 | 1500 | 6000 | 4 | 650 | 2600 | 4
10,000 BTU/Hr Climatrol Make R404a IDU | 0 | 78000 | 0
15,000 BTU/Hr Climatrol Make R404a IDU | 0 | 95000 | 0
Supply Price- Chller |  |  | 152050.045 |  |  | 202567.6237 | 155656.6836
GST @ 18% |  |  | 27369.0081 |  |  | 36462.1723 | 28018.203
Total Supply Price- Chller |  |  | 179419.0531 |  |  | 239029.796 | 183674.8866
Installation Price of Chiller | 1 | 50000 | 50000 | 1 | 38000 | 38000 | 1
ODU stand for Chiller | 0 | 0 | 0 |  |  |  | 1
Dismantle of Old Room | 1 | 25000 | 25000 | 1 | 18000 | 18000 | 1
Kota Finishing | 1 | 15000 | 15000 | 1 | 20000 | 20000
Debri remove & dump out site | 1 |  |  | 1 | 35000 | 35000
Installation Price of Chiller |  |  | 90000 |  |  | 111000 | 71359.1142
GST @ 18% |  |  | 16200 |  |  | 19980 | 12844.6406
Total Installation Price Chiller |  |  | 106200 |  |  | 130980 | 84203.7548
Total Chiller (Supply+ Installation) without GST |  | 0 | 242050.045 |  |  | 313567.6237 | 227015.7978
Total Chiller (Supply+ Installation) with GST |  |  | 285619.0531 |  |  | 370009.796 | 267878.6414
Extra copper piping for frezer |  | 850 Extra
Extra copper piping for frezer |  | 850 Extra

## Chiller
|  | Climatrol Corporation |  | Technochill |  | Rinac
Chiller Room (60 mm PP/PP) | Qty | Rate | Amount | Rate | Amount | RATE Qty AMT
SIZE IN METER
Width (Meters) | 2.1 |  |  |  |  | 1.935
Depth (Meters) | 2.11 |  |  |  |  | 1.99
Hight (Meters) | 2.743 |  |  |  |  | 2.255
Wall | 23.0961 | 3300 | 76216.998 | 5265 | 121600.7559 | 17.7018
Ceiling | 4.431 | 3300 | 14622.3 | 5265 | 23329.215 | 3.8506
Door with Double Handle | 1 | 46000 | 46000 | 40550 | 40550 | 1
Kick Plates | 2 | 2000 | 4000 | 3865 | 7730 | 2
Strip Curtain | 1 | 5500 | 5500 | 6500 | 6500 | 1
Puf Slabs | 4.431 | 1250 | 5538.75 | 1450 | 6424.95 | 3.8506
View Port for Chiller Room | 1 | 5953 | 5953 | 10985 | 10985 | 1
LED Lights | 4 | 1500 | 6000 | 650 | 2600 | 4
10,000 BTU/Hr Climatrol Make R404a IDU | 0 | 78000 | 0
15,000 BTU/Hr Climatrol Make R404a IDU | 0 | 95000 | 0
Supply Price- Chller |  |  | 163831.048 |  | 219719.9209 | 184152.8358
GST @ 18% |  |  | 29489.5886 |  | 39549.5858 | 33147.5104
Total Supply Price- Chller |  |  | 193320.6366 |  | 259269.5067 | 217300.3462
Installation Price of Chiller | 1 | 50000 | 50000 | 38000 | 38000 | 1
ODU stand for Chiller | 0 |  | 0 |  |  | 1
Dismantle of Old Room | 1 | 25000 | 25000 | 18000 | 18000 | 1
Kota Finishing | 1 | 15000 | 15000 | 20000 | 20000 | NA
Installation Price of Chiller |  |  | 90000 |  | 76000 | 72679.8039
GST @ 18% |  |  | 16200 |  | 13680 | 13082.3647
Total Installation Price Chiller |  |  | 106200 |  | 89680 | 85762.1686
Total Chiller (Supply+ Installation) without GST |  | 0 | 253831.048 |  | 295719.9209 | 256832.6397
Total Chiller (Supply+ Installation) with GST |  |  | 299520.6366 |  | 348949.5067 | 303062.5148
Copper Pipping for Frezer |  | 850 Extra
Copper Pipping for Frezer |  | 850 Extra