## commercial lights
COPPER CHIMNEY_VIVIANA_THANE LIGHTING DOCKET | [7 empty] | DATE: 12/09/24
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE
[11 empty] | Jordans |  | Fusion Design (R0) |  | Fusion Design (R1) |  | J C Lumieres
1 | SPOT LIGHT | LT1 |  | 15 | Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | Near Live Kitchen & Bar Area | DIMMABLE | 3000 K | 12W | 60 mm ring | 2850 | 42750 | 950 | 14250 | 950 | 14250 | 1250 | 18750
2 | CEILING SUSPENDED HANGING SPOT LIGHT | LT2 |  | 20 | ceiling suspended hanging spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | Restaurant Area | DIMMABLE | 3000 K | 12W | 60 mm ring | 3150 | 63000 | 2000 | 40000 | 2000 | 40000 | 1850 | 37000
3 | 2' x 2' CONCEALED LIGHT | LT3 |  | 2 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Live Kitchen | NON DIMMABLE | 3000K | 36 W | 595 mm | 1650 | 3300 | 1850 | 3700 | 1550 | 3100 | 1550 | 3100
4 | 2' x 2' CONCEALED LIGHT | LT4 |  | 10 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Kitchen Area | NON DIMMABLE | 6000K | 36 W | 595 mm | 1650 | 16500 | 1850 | 18500 | 1550 | 15500 | 1550 | 15500
5 | FLEXIBLE L.E.D COVE LIGHT | LT5 |  | 35 | flexible led cove | Bar counter & Bar back display | DIMMABLE | 3000K | 5W each | - | 1600 | 56000 | 411.5854 | 14405.4878 | 350 | 12250 | 300 | 10500
6 | PROFILE FOR STRIP LED | LT5 |  | 35 RFT | Aluminium profile with diffuser | Bar Display | - | - | - | 8 mm profile
7 | TRACK LIGHT | TL1 |  | 10 | ceiling suspended Antique brass track | Bar Counter, Restaurant Area |  |  |  | 1000MM LENGTH | 750 | 7500 | 900 | 9000 | 900 | 9000 | 1050 | 10500
8 | TRACK LIGHT SPOT | TL1 |  | 20 | Antique brass Cylindric lights with inbuild driver | Bar Counter, Restaurant Area | DIMMABLE | 3000K | 10 W | Ø 55 mm | 3500 | 70000 | 1800 | 36000 | 1560 | 31200 | 2250 | 45000
[10 empty] | Total |  | 259050 |  | 135855.4878 |  | 125300 |  | 140350
[10 empty] | Packing | [7 empty] | 2250
[10 empty] | Freight |  | 4000 |  | 13585.5488 |  | 12530
[10 empty] | GST 18% |  | 47349 |  | 26899.3866 |  | 24809.4 |  | 25668
[10 empty] | Grand Total |  | 310399 |  | 176340.4232 |  | 162639.4 |  | 168268
Packaging included