## Summary
Outlet- CHN SUBWAY T4 - SHA
Budget- 14,11,985
RFQ No: R2125,R2127,R2128 COST COMPARISON REPORT | Comp. Date : 05/11/2024
| Yashvas Interiors |  | FL Group |  | Inventech Solutions
Rounds | R0 | R1/Auction | R0 | R1/Auction | R0 | R1/Auction
Interior Work | 650690 | 569990 | 659350 | 574990 | 800810 | 600000
Plumbing Work | 216000 | 166450 | 182900 | 167850 | 221895 | 221895
Electrical | 371810 | 339130 | 431725 | 343010 | 376440 | 376440
Total | 1238500 | 1075570 | 1273975 | 1085850 | 1399145 | 1198335
|  | L1 |  | L2 |  | L3

## Comparative
|  |  |  | 1273975 |  | 1085850 |  | 1238500 |  | 1075570 |  | 1399145 |  | 1399145
| RFQ No: R2125,R2127,R2128 COST COMPARISON REPORT | Comp. Date : 04/11/2024 |  | Vendor Name : FL Traders |  |  |  | Vendor Name : Yashvas Interiors |  |  |  | Vendor Name : Inventech Solutions | Vendor Name : Inventech Solutions | Vendor Name : Inventech Solutions | Vendor Name : Inventech Solutions
|  |  |  | R0 |  | R1 Auction |  | R0 |  | R1 Auction |  | R0 |  | R1 Auction
Sr No. | Item Description | UOM | Qty | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
[5 empty] | 778033 |  |  |  | 767814.2 |  |  |  | 944955.8
1 | Interior Work | NOS | 1 |  | 659350 |  | 574990 |  | 650690 |  | 569990 |  | 800810 |  | 800810
1 | DEMOLITION REMOVAL
2 | Dismantling front back counter Removing dubris to out side of Airport campus | No | 1 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 25000 | 25000 | 25000 | 25000
3 | Existing false ceiling rework - Repairing existing fall ceiling Repainting | sqft | 122 | 200 | 24400 | 120 | 14640 | 120 | 14640 | 120 | 14640 | 130 | 15860 | 130 | 15860
4 | Wall tiles removng - removing wall tiles making surface smooth for new tiles fixing (4 X11 1 ) | sqft | 45 | 130 | 5850 | 100 | 4500 | 100 | 4500 | 100 | 4500 | 130 | 5850 | 130 | 5850
5 | Back kitchen- back kitchen wall laminate removing , making smooth surface for new tiles fixing (11 2 X10 ) | sqft | 310 | 100 | 31000 | 100 | 31000 | 100 | 31000 | 100 | 31000 | 180 | 55800 | 180 | 55800
6 | Temporary Barrication - Using 50mm x 50mm wood framework, covered with 6mm plywood vinyl film, up to 2.1 meter height, including door opening in barirication with lockable door arrangement.(existing at site) | sqft | 150 | 130 | 19500 | 95 | 14250 | 95 | 14250 | 95 | 14250 | 120 | 18000 | 120 | 18000
7 | TV- Shifting Tv in new cc tv room | nos | 1 | 3000 | 3000 | 3000 | 3000 | 4000 | 4000 | 2000 | 2000 | 12000 | 12000 | 12000 | 12000
8 | Removing breaking ply partition , dubris should be throught outside of campus | nos | 1 | 15000 | 15000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 32000 | 32000 | 32000 | 32000
9 | shifting table desk into new cctv room | nos | 1 | 4000 | 4000 | 4000 | 4000 | 6000 | 6000 | 3000 | 3000 | 10000 | 10000 | 10000 | 10000
10 | Painting- Repairing painting in fall ceiling | sqft | 200 | 130 | 26000 | 100 | 20000 | 100 | 20000 | 100 | 20000 | 120 | 24000 | 120 | 24000
11 | DOORS
12 | Door - providing fixing door in back kitchen including frame both side laminate finish with all necessary hardware hinges,door closer, handle , stopper (7 X3 ) | nos | 1 | 20000 | 20000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18500 | 18500 | 18500 | 18500
13 | Pass counter- at 4 X3 wide tops, including drawer made using 18 mm ply 25mm thk marine block board with supports as shown in drawing, counter top,fascia finished in Granite as per details in mirror polish, front apron finished in 1mm thick approved lami | no | 1 | 24000 | 24000 | 24000 | 24000 | 25000 | 25000 | 23000 | 23000 | 35500 | 35500 | 35500 | 35500
14 | Back counter - Overall size 11 long x 2 6 deep x 3 ht in profile made made using 18 mm ply 25mm thk marine block board with supports as shown in drawing, counter top,50mm fascia finished in granite as per details in mirror polish.including shutters 3 | no | 1 | 71300 | 71300 | 71300 | 71300 | 90000 | 90000 | 71300 | 71300 | 78200 | 78200 | 78200 | 78200
15 | Coffee counter- overall size( 2 X3 ) 3 ht profil;e made up 18mm ply 25mm thk blockboard with support as shown in drawing counter top should be 50mm finished ijn granite as per details in mirror finish polish includding shutters intermidiate selves | no | 1 | 32000 | 32000 | 30000 | 30000 | 30000 | 30000 | 30000 | 30000 | 37700 | 37700 | 37700 | 37700
16 | Ledge wall - Providing fixing ledge wall 14 X3 X9 thk using 18 mm plywood for frame covering all with plywood top 1 is corian and the pending Area is laminate finish | sqft | 54 | 1950 | 105300 | 1450 | 78300 | 1450 | 78300 | 1450 | 78300 | 1850 | 99900 | 1850 | 99900
17 | MISCELLANEOUS WORKS
18 | Providing fixing laminate for signage 6 x4 | no | 1 | 10400 | 10400 | 7000 | 7000 | 7000 | 7000 | 7000 | 7000 | 12000 | 12000 | 12000 | 12000
19 | Co2 cylinder boxing - Overall size 1600X330X750mm using 18mm thk ply for boxing for oxygen cylinder including door both side should be laminate finish | Sqm | 2.5 | 8000 | 20000 | 8000 | 20000 | 10000 | 25000 | 8000 | 20000 | 14000 | 35000 | 14000 | 35000
20 | Civil works
21 | Tiles - Providing fixing shadow wall tiles 24 x12 near pass through Window groove should be fill with grey grout (3 6 X2 6 )(5 8 X8 )(8 8 X2 4 )(4 8 X8 8 ) tiles should be provide by TFS team | sqft | 150 | 250 | 37500 | 140 | 21000 | 140 | 21000 | 140 | 21000 | 190 | 28500 | 190 | 28500
22 | Back kitchen - providing fixing back kitchen wall tiles( 11 2 X 10 )4 sides | sqft | 400 | 300 | 120000 | 300 | 120000 | 320 | 128000 | 300 | 120000 | 350 | 140000 | 350 | 140000
23 | back kitchen - Providing Making chamber including ss chamber jali, cutting floor tiles , chipping for laying drain pipe line | nos | 1 | 0 | 0 | 0 | 0 | 40000 | 40000 | 10000 | 10000 | 37000 | 37000 | 37000 | 37000
24 | Waterproofing - Providing making waterproofing in whole back kitchen area in (Dr Fixit)+on in betwwen granites to make 3 mm gape need to apply apoxy grout | nos | 1 | 20100 | 20100 | 20000 | 20000 | 20000 | 20000 | 10000 | 10000 | 28000 | 28000 | 28000 | 28000
25 | Carpentry works
26 | Back kitchen
27 | Partition- providing fixing Aluminum frame with both side ply panelling one laminate finish (10 X4 ) (8 X5 ) | sqft | 100 | 500 | 50000 | 440 | 44000 | 440 | 44000 | 420 | 42000 | 520 | 52000 | 520 | 52000
1 | Plumbing Work | NOS | 1 |  | 182900 |  | 167850 |  | 216000 |  | 166450 |  | 221895 |  | 221895
1 | Plumbing works Subway Back kitchen
2 | Pipe - Providing laying 20 mm cpvc pipe line for Ro domestic water | rft | 60 | 750 | 45000 | 750 | 45000 | 890 | 53400 | 750 | 45000 | 950 | 57000 | 950 | 57000
3 | Angle cock - Providnig fixing angle cock in jaguar brand | nos | 10 | 900 | 9000 | 900 | 9000 | 1800 | 18000 | 900 | 9000 | 1620 | 16200 | 1620 | 16200
4 | Ball valve - Providing fixing ball valve | nos | 4 | 3500 | 14000 | 2250 | 9000 | 2250 | 9000 | 2250 | 9000 | 2500 | 10000 | 2500 | 10000
5 | Geaser - providing fixing geaser with hot cold mixture | nos | 2 | 18000 | 36000 | 18000 | 36000 | 22000 | 44000 | 18000 | 36000 | 26000 | 52000 | 26000 | 52000
6 | Sink - providing fixing sink on top of back counter | nos | 1 | 6000 | 6000 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 7100 | 7100 | 7100 | 7100
7 | Drain - providing laying drain pipe line 3 cpvc | rmt | 22 | 1100 | 24200 | 775 | 17050 | 1150 | 25300 | 775 | 17050 | 775 | 17050 | 775 | 17050
8 | Hose pipe - Providing fixing hose pipe for geaser | nos | 6 | 1000 | 6000 | 600 | 3600 | 600 | 3600 | 600 | 3600 | 650 | 3900 | 650 | 3900
9 | Meter - Providing fixing Ro water meter | nos | 1 | 4500 | 4500 | 4500 | 4500 | 4750 | 4750 | 4500 | 4500 | 7000 | 7000 | 7000 | 7000
10 | tap - Providing fixing tap | nos | 11 | 1500 | 16500 | 1500 | 16500 | 1650 | 18150 | 1500 | 16500 | 2175 | 23925 | 2175 | 23925
11 | Hanging light - proving fixing plyboxing for strip light on front facia finish should in green lam should be provide by tfs team | sqft | 14 | 1550 | 21700 | 1550 | 21700 | 2450 | 34300 | 1450 | 20300 | 1980 | 27720 | 1980 | 27720
1 | Electrical | NOS | 1 |  | 431725 |  | 343010 |  | 371810 |  | 339130 |  | 376440 |  | 376440
1 | Light Point Wiring
2 | Providing ceiling light 2 X2 X2 nos 6A socket outletpoint wiring using 4mm2 stranded class 2 copper conductor ZHFR insulated wires laid in 1.60mm thick MS BSE conduits; installed surface to ceiling concealed in walls, within timber partitions complete as directed and as per the layout drgs. Conduits shall be cleated to the surface walls with HG gauge GI saddles and spacers as per engg practice. Rate to include all conduits and accessories, wires. modular type wiring accessories with flush mounting MS yellow zinc passivated switch socket boxes complete and civil works and making good. NOTE ALL LIGHT POINTS SHALL BE TERMINATED WITH 3 WAY 20A CONNECTORS WITH SUFFICIENT SLACK OF WIRES in GI FLEXIBLE CONDUITS ONLY | nos | 2 | 2800 | 5600 | 2300 | 4600 | 2300 | 4600 | 2300 | 4600 | 2500 | 5000 | 2500 | 5000
3 | Rate to include supply and installation of
4 | Primary light point with DB controlled | nos | 6 | 2950 | 17700 | 1535 | 9210 | 2500 | 15000 | 1535 | 9210 | 1535 | 9210 | 1535 | 9210
5 | Signage point directly DB controlled | nos | 2 | 3500 | 7000 | 1535 | 3070 | 3000 | 6000 | 1535 | 3070 | 1535 | 3070 | 1535 | 3070
6 | Control circuit wiring with 3 x 2.5mm2 wires for dimming | nos | 2 | 2600 | 5200 | 600 | 1200 | 2500 | 5000 | 600 | 1200 | 600 | 1200 | 600 | 1200
7 | Power point wiring for 16A, 3 pin socket outlets - for general power only
8 | Providing power point wiring to 16A socket outlets using 2 x 4.0mm2 + 1 x 2.5mm2 stranded class 2 copper conductor ZHFR insulated wires laid in 1.60mm thick MS BSE conduits; installed surface to ceiling concealed in walls, within timber partitions complete as directed and as per the layout drgs. Conduits shall be cleated to the surface walls with HG gauge GI saddles and spacers as per engg practice. Rate to include all conduits and accessories, wires. modular type wiring accessories with flush mounting MS yellow zinc passivated switch socket boxes complete and civil works and making good. | nos | 8 | 2200 | 17600 | 1800 | 14400 | 2000 | 16000 | 1800 | 14400 | 1800 | 14400 | 1800 | 14400
9 | GENERAL POWER SOCKET (4mm2 wiring)
10 | 3pin 16A switched socket outlet with indicator as first point in circuit | nos | 2 | 3600 | 7200 | 3100 | 6200 | 3100 | 6200 | 3100 | 6200 | 3300 | 6600 | 3300 | 6600
11 | 3pin 16A switched socket outlet with indicator looping point in circuit - max 3 sockets to be looped | nos | 6 | 2800 | 16800 | 2400 | 14400 | 2500 | 15000 | 2400 | 14400 | 2400 | 14400 | 2400 | 14400
12 | EQUIPMENT WIRING
13 | Input Power Wiring from Cafe Panel DBs, laid partly in ceiling trunking and partly in surface trunking or conduits in walls partition drops etc. Rate to include supply and installation of 1.60mm thick MS BSE conduits. Wires shall be 650V, stranded class 2 copper conductor ZHFR insulated wires to IS 8130 latest. Wires shall be ISI branded and BIS approved. All connections at DB and Panel end shall be provided with lugs and ferrules for identification of DB and circuit no. Wires shall be colour coded as per the phase. Rate to exclude S I of Trunking and Wiring Accessories which is covered separately.
14 | Wiring for 16A 20A 25A 1PH Power Point with 2x4mm2 +1x2.5mm2 wires | m | 350 | 280 | 98000 | 250 | 87500 | 250 | 87500 | 250 | 87500 | 275 | 96250 | 275 | 96250
15 | WIRING ACCESSORIES FOR EQUIPMENT
16 | S I T C of the following wiring accessories complete with flush mounting boxes and connections and earth as directed and as per specifications. All respective civil works are included in the quoted rate
17 | 3pin 16A switched socket outlet with indicator | nos | 42 | 600 | 25200 | 550 | 23100 | 550 | 23100 | 550 | 23100 | 550 | 23100 | 550 | 23100
18 | Industrial type 20A plastic plug socket with 20A SP MCB in surface or concelaed as single point in circuit | nos | 14 | 2600 | 36400 | 2350 | 32900 | 2550 | 35700 | 2350 | 32900 | 2350 | 32900 | 2350 | 32900
19 | TABLE SOCKET POWER WIRING ACCESSORIES
20 | Table socket power wiring with 3c x 2.5mm2 copper flexible ZHFR ZHFR cable in under floor raceways under floor conduits. (Note raceways and conduits measured separately) for RAW power. Flex Cable shall be ZHFR insulated, ZHFR outersheath. | m | 150 | 200 | 30000 | 170 | 25500 | 170 | 25500 | 170 | 25500 | 210 | 31500 | 210 | 31500
21 | WIRING ACCESSORIES FOR ABOVE
22 | S I of 3pin,6A switch socket outlet for RAW power.Configuration shall be 2 nos for RAW power with 1no 16A switch with I no. of USB port shall be fixed on wall partition or as per the architect directed at site. All sockets shall be provided with surface mounting PVC or flush mounting MS concealed back box. Colour of SSO will be WHITE. Rate to consider with MS concealed back box and all the necessary hardware required. | sets | 4 | 900 | 3600 | 750 | 3000 | 750 | 3000 | 750 | 3000 | 850 | 3400 | 850 | 3400
23 | 100x100x50mm GI Back box for Data voice TV outlets concealed inside the wall partitions including all civil works | nos | 10 | 220 | 2200 | 170 | 1700 | 170 | 1700 | 170 | 1700 | 210 | 2100 | 210 | 2100
24 | MS BSE Conduits (for surface wiring only)
25 | S I of 1.60mm MS BSE conduits with all the accessories bolts,screw,coupler,jb,3 4ways,etc, installed surface on ceiling, walls, partitions etc complete as per the specifications
26 | 25mm dia 1.60mm thick MS BSE conduit | m | 50 | 220 | 11000 | 150 | 7500 | 150 | 7500 | 150 | 7500 | 220 | 11000 | 220 | 11000
27 | 25mm dia GI flexible conduits complete with coupler at both ends with all hardware | m | 15 | 125 | 1875 | 90 | 1350 | 100 | 1500 | 90 | 1350 | 90 | 1350 | 90 | 1350
28 | PANELS DISTRIBUTION BOARDS
29 | S I T C of the following panels,DBs with all fuses switches, MCBs, ELCBs, busbars interconnections, earthing, angle iron frame work, etc complete as per the specifications and drgs.
30 | REFER SLD FOR DETAILS
31 | MAIN DB WITH ELR, CBCT SHUNT TRIP | nos | 1 | 75000 | 75000 | 75000 | 75000 | 75000 | 75000 | 74500 | 74500 | 78000 | 78000 | 78000 | 78000
32 | TOTAL FOR PANELS DISTRIBUTION BOARDS
33 | CABLES TERMINATION
34 | SI T C of 1100V grade, stranded copper aluminum conductor, XLPE insulated, inner sheathed, armoured and overall FRLS PVC sheathed, cable to IS 7098 Pt (I) latest; cable installed within raised access floors, cleated on walls, trays etc with AL clamps, as indicated on the drg and as directed by the Architects Consultant. Rate to exclude all excavation, ducts, trays etc - measured sep. Rate to include all clamps GI saddles and spacers, hardware, cable identification tags, etc as per specifications.
35 | REFER SLD CABLE SCHEDULE FOR DETAILS
36 | AL. ARMOURED XLPE CABLES
37 | 3.5c x 35mm2 A2XFY AL XLPE PVC cable | m | 25 | 350 | 8750 | 310 | 7750 | 310 | 7750 | 250 | 6250 | 380 | 9500 | 380 | 9500
38 | Cable end terminations with Double Compression type cable glands and crimping type copper or aluminium lugs, connections, hardware and earth and shrouds covering the gland. Note the earth shall be provided in continuity for all the glands within a panel with 2.5mm2 wire and the cost for the same shall be included in the quoted rate. Aluminium cables will be provided with aluminium lugs; copper cables shall be provided with copper lugs. In case the busbar material and lug material are different Bi metallic washers shall be provided for the same. note that the lug dimension and bolt dimension shall be same and there shall not be any play between the two. Spring and plain washers shall be provided for each lug
39 | AL. ARMOURED XLPE CABLES
40 | 3.5c x 25mm2 A2XFY AL XLPE PVC cable | nos | 3 | 1200 | 3600 | 950 | 2850 | 950 | 2850 | 950 | 2850 | 1200 | 3600 | 1200 | 3600
41 | TOTAL FOR CABLES TERMINATION
42 | EARTHING AND GROUNDING SYSTEMS
43 | S I of the following sizes of earthing conductors laid in ground cleated on wall ceiling etc complete with all joints welding brazing etc and all hardware as per specs.
44 | GI Earth Strips
45 | 8SWG GI wire | m | 10 | 465 | 4650 | 315 | 3150 | 420 | 4200 | 300 | 3000 | 315 | 3150 | 315 | 3150
46 | TOTAL FOR EARTHING AND GROUNDING SYSTEMS
47 | MISCELLANEOUS ITEMS
48 | Providing the following safety equipments accessories of I.S. approved make.
49 | First aid boxes with all standard contents. | set | 1 | 1200 | 1200 | 1000 | 1000 | 1000 | 1000 | 500 | 500 | 1980 | 1980 | 1980 | 1980
50 | Shock treatment instruction charts in Local Language English in good quality frame glass cover. | nos | 1 | 2300 | 2300 | 1200 | 1200 | 1900 | 1900 | 500 | 500 | 1200 | 1200 | 1200 | 1200
51 | Providing the Floor SLD printed on A2 A3 size paper and sticked on high quality wooden frame with glass cover in the floor electrical room | nos | 1 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 500 | 500 | 2100 | 2100 | 2100 | 2100
52 | Providing the 16 amp socket for geasur | nos | 2 | 850 | 1700 | 165 | 330 | 280 | 560 | 150 | 300 | 165 | 330 | 165 | 330
53 | TV SYSTEM WIRING
54 | Providing and pulling co axial RG 11 armoured cable for SMATV system main run per floor including all end connections and terminations (Considering RG 11 cable will be provided by airport authority team upto the store outlet, further cabling will be in scope of contractor) | m | 0 | 210 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | Providing and pulling co axial armoured RG6 cable for taps offs to TV outlets in different areas | m | 100 | 373 | 37300 | 130 | 13000 | 220 | 22000 | 130 | 13000 | 130 | 13000 | 130 | 13000
56 | Providing and fixing at approved locations the following Splitters Tapp offs for SMATV System
57 | 3 Ways Tap offs Splitters. | nos | 1 | 450 | 450 | 100 | 100 | 250 | 250 | 100 | 100 | 100 | 100 | 100 | 100
58 | Providing and fixing Modular TV Outlet BNC type connector in concealed MS Box. | nos | 4 | 2600 | 10400 | 500 | 2000 | 500 | 2000 | 500 | 2000 | 2000 | 8000 | 2000 | 8000