## Summery
Turn-Key
Jaipur Basemnet Area | Vart Infracon (R0) | Vart Infracon (R1) | Pikture Perfect (R0) | Pikture Perfect (R1) | FL Group | Fallow Dezience (R0) | Fallow Dezience (R1) | Cubicon | Akhil Chirag | Anjle | Crystal Aircool | Pioneer Project | Zenco Fire
Item Name | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount | Amount
Interior | 1881165 | 1709200 | 2069558 | 1969558 | 2795960 | 2955150 | 2438640 | 3413685 |  |  | 22099.5 |  | 26519.4
Electrcial | 450206.25 | 311989 |  |  |  | 523975 | 500000 |  | 315550
Fire Fighting |  | 149945 | [7 empty] | 165640 | 182650 | 173650 | 220670
FAS |  | 53400 | [7 empty] | 68650 | 93500 | 84300 | 91400
Total | 2331371.25 | 2224534 | 2069558 | 1969558 | 2795960 | 3479125 | 2938640 | 3413685 | 315550 | 234290 | 298249.5 | 257950 | 338589.4
Total with 18% GST | 2751018.075 | 2624950.12 | 2442078.44 | 2324078.44 | 3299232.8 | 4105367.5 | 3467595.2 | 4028148.3 | 372349 | 276462.2 | 351934.41 | 304381 | 399535.492
L1

## Interior
|  | RFQ No: R2046 COST COMPARISON REPORT | RFQ No: R2046 COST COMPARISON REPORT | Comp. Date : 23/10/2024 | Comp. Date : 23/10/2024 | Comp. Date : 23/10/2024 | VART INFRACON PRIVATE LIMITED (R0) | Vendor Name : VART INFRACON PRIVATE LIMITED | VART INFRACON PRIVATE LIMITED (R1) | Vendor Name : VART INFRACON PRIVATE LIMITED | Pikture Perfect Design Studio Pvt. Ltd. (R0) | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd. | Pikture Perfect Design Studio Pvt. Ltd. (R1) | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd. | Vendor Name : FL Group | Vendor Name : FL Group | FALLOW DEZIENCE TREE LLP (R0) |  | FALLOW DEZIENCE TREE LLP (R1) |  | Vendor Name : Cubicon Building Services Pvt Ltd | Vendor Name : Cubicon Building Services Pvt Ltd
|  | RFQ No: R2046 COST COMPARISON REPORT | RFQ No: R2046 COST COMPARISON REPORT | RFQ #: R2046 | RFQ #: R2046 | RFQ #: R2046 | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry |  |  | Contact Name : Pavan Sharma | Contact Name : Pavan Sharma | Contact Name : Julia | Contact Name : Julia | Contact Name : Khursheed Ahmad/Jasmine Grover | Contact Name : Khursheed Ahmad/Jasmine Grover |  |  | Contact Name : Mohammad Shoeb | Contact Name : Mohammad Shoeb
|  | RFQ No: R2046 COST COMPARISON REPORT | RFQ No: R2046 COST COMPARISON REPORT | RFQ Date : 22/10/2024 15:03:44 | RFQ Date : 22/10/2024 15:03:44 | RFQ Date : 22/10/2024 15:03:44 | Vendor City : | Vendor City : | Vendor City : | Vendor City : |  |  | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : |  |  | Vendor City : | Vendor City :
|  | RFQ No: R2046 COST COMPARISON REPORT | RFQ No: R2046 COST COMPARISON REPORT | BCD Date : 23/10/2024 19:04:00 | BCD Date : 23/10/2024 19:04:00 | BCD Date : 23/10/2024 19:04:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : |  |  | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : |  |  | Telephone # : | Telephone # :
|  | RFQ No: R2046 COST COMPARISON REPORT | RFQ No: R2046 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : |  |  | Mobile # : 9999102099 | Mobile # : 9999102099
PR Number : Semolina-2425-00834 | PR Number : Semolina-2425-00834 | PR Number : Semolina-2425-00834 | PR Number : Semolina-2425-00834 | PR Number : Semolina-2425-00834 | PR Number : Semolina-2425-00834 | PR Number : Semolina-2425-00834 | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com |  |  | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com | Email : julia.roberts@flgroup.in | Email : julia.roberts@flgroup.in | Email : accounts@fallowdezience.com | Email : accounts@fallowdezience.com |  |  | Email : cubicon.bspl@gmail.com | Email : cubicon.bspl@gmail.com
Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Package / RFQ Name : PR for Interior work for Jaipur BASEMENT STORAGE AREA... | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) |  |  | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) |  |  | Round # : 5 (RFQ) | Round # : 5 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : |  |  | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : |  |  | Techanical Score : | Techanical Score :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : |  |  | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : |  |  | Quotation Date : | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : |  |  | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : |  |  | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Interior Work | Interior Work | NOS | 1 |  |  | 1881165 |  | 1709200 |  | 2069558 |  | 1969558 |  | 2795960 |  | 2955150 |  | 2438640 |  | 3413685
1 | 1 | LOCATION DESCRIPTION ANTI-TERMITE TREATMENT WORK | LOCATION DESCRIPTION ANTI-TERMITE TREATMENT WORK
2 | 1.1 | LOCATION BASEMENT STORE DESCRIPTION Providing doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3 in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4 center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated). | LOCATION BASEMENT STORE DESCRIPTION Providing doing anti termite treatment with IMIDACLOPRID (OZIER) for entire area (Pest control) Diluting and injecting chemical emulsion 3 in floor for pre constructional Anti Termite treatment and creating a continuous chemical @ 4 center to center barrier all over as per manufacturer specification and ISI standards. (OR AS APPVD.) including a 1 year guarantee under suitable undertaking on stamp paper etc, complete as directed by Architect.(Mode of measurement is to be carpet area of floor and not the area of surface treated). | Sq. ft. | 606 | 10908 | 40 | 24240 | 25 | 15150 | 18 | 10908 | 18 | 10908 | 85 | 51510 | 25 | 15150 | 20 | 12120 | 55 | 33330
3 |  | LOCATION DESCRIPTION Total of Antitermite Treatment Work | LOCATION DESCRIPTION Total of Antitermite Treatment Work
4 | 2 | CIVIL WORK | CIVIL WORK
5 | 2.01 | LOCATION DESCRIPTION WATERPROOFING (MEMBRANE) | LOCATION DESCRIPTION WATERPROOFING (MEMBRANE)
6 |  | LOCATION DESCRIPTION Providing and laying water- proofing treatment to hand wash, BOH area consisting of 4mm Thk Apex Apcon Sheild Dr Fixit Torchsheild or equivalent polyster reinforced APP modified bitumen membrane sheet(Basic Rate Rs.2000 Roll of 10mX1m) as approved, cleaning and smoothing of entire surface, smooth plaster upto 300mm from floor rising lvl, 12mmx12mm groove at 150mm from floor rising lvl, one coat of Bitcote Dr Fixit Apex equivalent (as approved)-heavy body bitumen primer (Basic Rate Rs.82 Kg) coating as a primer on surface and till 300mm from floor rising lvl, application of membrane sheet as per application detail and packing the hole cuts for pipe line and checking the area which is water proofed. Rate includes of laying the protective layer of Plaster with curing and testing with a gaurantee of 10 years. | LOCATION DESCRIPTION Providing and laying water- proofing treatment to hand wash, BOH area consisting of 4mm Thk Apex Apcon Sheild Dr Fixit Torchsheild or equivalent polyster reinforced APP modified bitumen membrane sheet(Basic Rate Rs.2000 Roll of 10mX1m) as approved, cleaning and smoothing of entire surface, smooth plaster upto 300mm from floor rising lvl, 12mmx12mm groove at 150mm from floor rising lvl, one coat of Bitcote Dr Fixit Apex equivalent (as approved)-heavy body bitumen primer (Basic Rate Rs.82 Kg) coating as a primer on surface and till 300mm from floor rising lvl, application of membrane sheet as per application detail and packing the hole cuts for pipe line and checking the area which is water proofed. Rate includes of laying the protective layer of Plaster with curing and testing with a gaurantee of 10 years. | Sq. ft. | 0 | 0 | 175 | 0 | 175 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 |  | 0 | 0 | 0
7 | 2.02 | LOCATION DESCRIPTION WATERPROOFING (TAPECRETE) | LOCATION DESCRIPTION WATERPROOFING (TAPECRETE)
8 |  | LOCATION BASEMENT STORE DESCRIPTION Providing and laying water- proofing treatment to toilet, kitchen etc., consisting of 4 coats of Tape Crete to floors and vertical sides with Ist coat of TapeCrete mixed with white cement in proportion of 1 2, sealing all junctions, corners etc.and 10-12 mm thick protection plaster in cement mortar 1 4(1 cement 4 coarse sand) complete with curing and testing with a gaurantee of 10 years. | LOCATION BASEMENT STORE DESCRIPTION Providing and laying water- proofing treatment to toilet, kitchen etc., consisting of 4 coats of Tape Crete to floors and vertical sides with Ist coat of TapeCrete mixed with white cement in proportion of 1 2, sealing all junctions, corners etc.and 10-12 mm thick protection plaster in cement mortar 1 4(1 cement 4 coarse sand) complete with curing and testing with a gaurantee of 10 years. | Sq. ft. | 855 | 76950 | 95 | 81225 | 90 | 76950 | 225 | 192375 | 225 | 192375 | 280 | 239400 | 290 | 247950 | 250 | 213750 | 255 | 218025
9 | 2.03 | LOCATION DESCRIPTION CINDER LIGHT WT. SIPORAX BLOCK BATS FILLING | LOCATION DESCRIPTION CINDER LIGHT WT. SIPORAX BLOCK BATS FILLING
10 |  | LOCATION BASEMENT STORE DESCRIPTION Providing Filling light wt. Siporex block bats to conceal drainage plumbing lines for Grease trap of average thk of 150 mm . The rates shall include for Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect. | LOCATION BASEMENT STORE DESCRIPTION Providing Filling light wt. Siporex block bats to conceal drainage plumbing lines for Grease trap of average thk of 150 mm . The rates shall include for Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect. | Sq. ft. | 545 | 81750 | 180 | 98100 | 160 | 87200 | 185 | 100825 | 185 | 100825 | 330 | 179850 | 250 | 136250 | 250 | 136250 | 150 | 81750
11 | 2.04 | LOCATION DESCRIPTION PCC LAYER | LOCATION DESCRIPTION PCC LAYER
12 |  | LOCATION BASEMENT STORE DESCRIPTION Providing Laying P.C.C 1 3 6 of average thickness 75mm of M 10 grade of concrete ( 1 cement 3 coarse sand 6 graded stone aggregate 20 mm nominal size) as floor base. | LOCATION BASEMENT STORE DESCRIPTION Providing Laying P.C.C 1 3 6 of average thickness 75mm of M 10 grade of concrete ( 1 cement 3 coarse sand 6 graded stone aggregate 20 mm nominal size) as floor base. | Sq. ft. | 545 | 51775 | 150 | 81750 | 120 | 65400 | 95 | 51775 | 95 | 51775 | 200 | 109000 | 200 | 109000 | 150 | 81750 | 130 | 70850
13 | 2.05 | LOCATION DESCRIPTION BLOCK MASONARY WORK | LOCATION DESCRIPTION BLOCK MASONARY WORK
14 |  | LOCATION BASEMENT STORE DESCRIPTION Providing Laying of Light Wt. Foam Fly Ash Block masonry (Siporex AAC make) of thickness 100mm in super structure for any shapes, fins, projections, in shafts, under counter platform cupboards, using in cement mortar 1 4 (1 cement 4 coarse sand) mix, joints finished including scaffolding, curing complete as per specification and drawing or as directed by Project Manager. | LOCATION BASEMENT STORE DESCRIPTION Providing Laying of Light Wt. Foam Fly Ash Block masonry (Siporex AAC make) of thickness 100mm in super structure for any shapes, fins, projections, in shafts, under counter platform cupboards, using in cement mortar 1 4 (1 cement 4 coarse sand) mix, joints finished including scaffolding, curing complete as per specification and drawing or as directed by Project Manager. | Sq. ft. | 2000 | 280000 | 140 | 280000 | 140 | 280000 | 165 | 330000 | 165 | 330000 | 165 | 330000 | 400 | 800000 | 290 | 580000 | 300 | 600000
15 | 2.06 | LOCATION DESCRIPTION BRICK MASONARY WORK | LOCATION DESCRIPTION BRICK MASONARY WORK
16 |  | LOCATION DESCRIPTION Providing constructing Brick Masonry of 115 mm thk with CM 1 4 in proper line, level plumb . At every 4th coarse ht.02 nos 6mm dia round bars as stiffeners should provided. Rate should be include the cost of stiffeners,scaffolding completing with curing as per drawings or as directed by Architect site Incharge. | LOCATION DESCRIPTION Providing constructing Brick Masonry of 115 mm thk with CM 1 4 in proper line, level plumb . At every 4th coarse ht.02 nos 6mm dia round bars as stiffeners should provided. Rate should be include the cost of stiffeners,scaffolding completing with curing as per drawings or as directed by Architect site Incharge. | Sq. ft. | 0 | 0 | 160 | 0 | 160 | 0 | 0 | 0 | 0 | 0 | 1890 | 0 | 0 | 0 |  | 0 | 400 | 0
17 |  | LOCATION DESCRIPTION Providing constructing Brick Masonry of 230 mm thk with CM 1 4 in proper line, level plumb At every 1 tm ht. interval stiffener should be provided. Rate to include the cost of stiffener, the necessary curing scaffolding etc. complete as directed by Architect. | LOCATION DESCRIPTION Providing constructing Brick Masonry of 230 mm thk with CM 1 4 in proper line, level plumb At every 1 tm ht. interval stiffener should be provided. Rate to include the cost of stiffener, the necessary curing scaffolding etc. complete as directed by Architect. | Sq. ft. | 0 | 0 | 250 | 0 | 250 | 0 | 0 | 0 | 0 | 0 | 2200 | 0 | 0 | 0 |  | 0 | 350 | 0
18 | 2.07 | LOCATION DESCRIPTION PLASTER | LOCATION DESCRIPTION PLASTER
19 |  | LOCATION BASEMENT STORE DESCRIPTION P L12-15mm thick plaster in cement mortar 1 4 (1 cement 4coarse sand) to ceiling, all typesof R.C.C. work, brick work surfaces at all levels in line,level and plumb including smooth cement finish and providing necessary grooves at junctions of walls.Rate shall be inclusive of scaffolding and complete with curing etc | LOCATION BASEMENT STORE DESCRIPTION P L12-15mm thick plaster in cement mortar 1 4 (1 cement 4coarse sand) to ceiling, all typesof R.C.C. work, brick work surfaces at all levels in line,level and plumb including smooth cement finish and providing necessary grooves at junctions of walls.Rate shall be inclusive of scaffolding and complete with curing etc | Sq. ft. | 4000 | 280000 | 80 | 320000 | 70 | 280000 | 75 | 300000 | 75 | 300000 | 95 | 380000 | 110 | 440000 | 90 | 360000 | 300 | 1200000
20 | 2.08 | LOCATION DESCRIPTION RCC WORKS | LOCATION DESCRIPTION RCC WORKS
21 |  | LOCATION BASEMENT STORE DESCRIPTION Providing laying RCC slab lintel of size 41 2 x 6 over door in FOH area. Rates include the centerring shuttering and steel reinforcement at all levels, excluding underplaster. | LOCATION BASEMENT STORE DESCRIPTION Providing laying RCC slab lintel of size 41 2 x 6 over door in FOH area. Rates include the centerring shuttering and steel reinforcement at all levels, excluding underplaster. | Rft. | 30 | 5250 | 1200 | 36000 | 750 | 22500 | 175 | 5250 | 175 | 5250 | 650 | 19500 | 750 | 22500 | 750 | 22500 | 750 | 22500
22 | 2.09 | LOCATION DESCRIPTION LT PANEL, SERVER COUNTER BASE WORK | LOCATION DESCRIPTION LT PANEL, SERVER COUNTER BASE WORK
23 | 2.1 | LOCATION DESCRIPTION IPS FLOORING | LOCATION DESCRIPTION IPS FLOORING
24 |  | LOCATION DESCRIPTION 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1 2 4 (1 cement 2 coarse sand 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1 2 (1 cement hardener mix 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | LOCATION DESCRIPTION 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1 2 4 (1 cement 2 coarse sand 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1 2 (1 cement hardener mix 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | Sq. ft. | 0 | 0 | 150 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 3000 | 0 | 0 | 0 |  | 0 | 750 | 0
25 |  | LOCATION DESCRIPTION SUB TOTAL OF CIVIL WORK | LOCATION DESCRIPTION SUB TOTAL OF CIVIL WORK
26 | 3 | LOCATION DESCRIPTION FLOORING | LOCATION DESCRIPTION FLOORING
27 | 3.01 | LOCATION BASEMENT STORE DESCRIPTION FLOORING TILE Providing laying Olive Matt Max Stone tiles of size of 600 x 600 mm on 40 mm thk of cement sand bedding with CM 1 4 (fixing to be done with cement slurry paste) for dinning area with all grouting.Marfil Make (Basic Rate of tile Rs.65 - per sq.ft.) including necessary wastage ,cutting, covering protection Sheet ( PVC )_ complete. | LOCATION BASEMENT STORE DESCRIPTION FLOORING TILE Providing laying Olive Matt Max Stone tiles of size of 600 x 600 mm on 40 mm thk of cement sand bedding with CM 1 4 (fixing to be done with cement slurry paste) for dinning area with all grouting.Marfil Make (Basic Rate of tile Rs.65 - per sq.ft.) including necessary wastage ,cutting, covering protection Sheet ( PVC )_ complete. | Sq. ft. | 0 | 0 | 250 | 0 | 250 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0 |  | 0 | 400 | 0
28 | 3.02 | LOCATION BASEMENT STORE DESCRIPTION Providing fixing of 12 mm thk. 0 -4 high Tile Skirting (Olive Matt Max Stone tiles ( Marfil Make ) over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the colour of tile including necessary wastage ,cutting, covering protection Sheet ( PVC ) complete. | LOCATION BASEMENT STORE DESCRIPTION Providing fixing of 12 mm thk. 0 -4 high Tile Skirting (Olive Matt Max Stone tiles ( Marfil Make ) over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the colour of tile including necessary wastage ,cutting, covering protection Sheet ( PVC ) complete. | Rft | 0 | 0 | 150 | 0 | 150 | 0 | 0 | 0 | 0 | 0 | 250 | 0 | 0 | 0 |  | 0 | 300 | 0
29 | 3.03 | LOCATION GRANITE Door Cill 6 BASEMENT FLOOR DESCRIPTION Providing fixing of 19 mm thk. granite 6 wide door Cill over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding polishing, covering protection Sheet ( PVC ) complete. complete. (Base Rate of granite is Rs 180 - sq.ft.) | LOCATION GRANITE Door Cill 6 BASEMENT FLOOR DESCRIPTION Providing fixing of 19 mm thk. granite 6 wide door Cill over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the colour of granite including necessary wastage ,cutting ,grinding polishing, covering protection Sheet ( PVC ) complete. complete. (Base Rate of granite is Rs 180 - sq.ft.) | Rft | 16 | 7200 | 600 | 9600 | 500 | 8000 | 450 | 7200 | 450 | 7200 | 900 | 14400 | 450 | 7200 | 450 | 7200 | 600 | 9600
30 | 3.04 | LOCATION DESCRIPTION Providing laying of 25 thk. 560mmX560mm Kota Stone flooring over a bed of 20mm thk. Cement mortar (1 4) jointed with cement slurry mixed with pigment to match the color of kota stone including hole cutting for traps etc. necessary cutting, rubbing, grinding and mirror polishing, covering protection Sheet ( PVC ) complete as per the details are provided in drawings or as directed by Architect Engineer. | LOCATION DESCRIPTION Providing laying of 25 thk. 560mmX560mm Kota Stone flooring over a bed of 20mm thk. Cement mortar (1 4) jointed with cement slurry mixed with pigment to match the color of kota stone including hole cutting for traps etc. necessary cutting, rubbing, grinding and mirror polishing, covering protection Sheet ( PVC ) complete as per the details are provided in drawings or as directed by Architect Engineer. | Sq. ft. | 595 | 119000 | 220 | 130900 | 200 | 119000 | 275 | 163625 | 275 | 163625 | 300 | 178500 | 250 | 148750 | 220 | 130900 | 250 | 148750
31 | 3.05 | LOCATION DESCRIPTION Providing fixing of 25mm thk. kota stone 4 high over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the coloure of KOTA including necessary wastage ,cutting ,grinding polishing, Covering Protection sheet ( PVC ) completed as per the details are provided in drawings or as directed by Architect Engineer. | LOCATION DESCRIPTION Providing fixing of 25mm thk. kota stone 4 high over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the coloure of KOTA including necessary wastage ,cutting ,grinding polishing, Covering Protection sheet ( PVC ) completed as per the details are provided in drawings or as directed by Architect Engineer. | Rft | 230 | 23000 | 120 | 27600 | 100 | 23000 | 175 | 40250 | 175 | 40250 | 200 | 46000 | 175 | 40250 | 150 | 34500 | 150 | 34500
32 |  | LOCATION DESCRIPTION SUB TOTAL OF FLOORING WORK | LOCATION DESCRIPTION SUB TOTAL OF FLOORING WORK
33 | 4 | LOCATION DESCRIPTION WALL TILING | LOCATION DESCRIPTION WALL TILING
34 | 4.01 | LOCATION BASEMENT STORE WALL TILES DESCRIPTION P fixing glazed ceramic (Kajaria Johnson Make) White- (8 x 12 ) Wall tiles as approved in kitchen over a base of 20-25mm thick plaster with cement mortar 1 3 (1 cement 3 fine sand) as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as spec.(Basic cost of tile Rs.25 - per sft.) (TILES TO BE PASTED ABOVE 4 HIGH. TILE SKIRTING TILL FALSE CEILING NO TILE TO BE CUT IN VERTICAL) | LOCATION BASEMENT STORE WALL TILES DESCRIPTION P fixing glazed ceramic (Kajaria Johnson Make) White- (8 x 12 ) Wall tiles as approved in kitchen over a base of 20-25mm thick plaster with cement mortar 1 3 (1 cement 3 fine sand) as per approved pattern, setting the tiles in cement slurry, joints filled and finished neat with white cement as spec.(Basic cost of tile Rs.25 - per sft.) (TILES TO BE PASTED ABOVE 4 HIGH. TILE SKIRTING TILL FALSE CEILING NO TILE TO BE CUT IN VERTICAL) | Sq. ft. | 1800 | 234000 | 135 | 243000 | 130 | 234000 | 225 | 405000 | 225 | 405000 | 325 | 585000 | 230 | 414000 | 180 | 324000 | 180 | 324000
35 |  | LOCATION DESCRIPTION SUB TOTAL OF WALL TILING | LOCATION DESCRIPTION SUB TOTAL OF WALL TILING
36 | 5 | LOCATION DESCRIPTION WOODWORK | LOCATION DESCRIPTION WOODWORK
37 | 5.01 | LOCATION DOOR FRAMES BASEMENT STORE DESCRIPTION P F HARD Wood door frames i.e Sal wood or Equivalent 2.5 X 5 complete with grooves as specified complete polished matching to the laminate as specified, with all necessary hardware such as hold fasts with polish finish of approved shade etc. completed as per design details given in drawing Architect instruction. Architect to mention the size and number of HOLD FASTS, door frames to be manufactured with horns minimum 3 , rebate size and a temporary wooden strip to retain the shape of the frame etc.including polish of approved shade. Basic cost of wood is Rs..2000.00 per Cu. ft. | LOCATION DOOR FRAMES BASEMENT STORE DESCRIPTION P F HARD Wood door frames i.e Sal wood or Equivalent 2.5 X 5 complete with grooves as specified complete polished matching to the laminate as specified, with all necessary hardware such as hold fasts with polish finish of approved shade etc. completed as per design details given in drawing Architect instruction. Architect to mention the size and number of HOLD FASTS, door frames to be manufactured with horns minimum 3 , rebate size and a temporary wooden strip to retain the shape of the frame etc.including polish of approved shade. Basic cost of wood is Rs..2000.00 per Cu. ft. | Rft | 78 | 42900 | 750 | 58500 | 550 | 42900 | 550 | 42900 | 550 | 42900 | 800 | 62400 | 800 | 62400 | 690 | 53820 | 2550 | 198900
38 | 5.02 | LOCATION Cashier Entry Door DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, without vision panel. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. ( Door Size 3 -0 x 7 0 ) | LOCATION Cashier Entry Door DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, without vision panel. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. ( Door Size 3 -0 x 7 0 ) | No | 1 | 22500 | 42000 | 42000 | 42000 | 42000 | 40950 | 40950 | 40950 | 40950 | 68000 | 68000 | 38000 | 38000 | 38000 | 38000 | 22500 | 22500
39 | 5.03 | LOCATION KFC DRY STORE Entry Door DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. ( Door Size 3 -6 x 7 0 ) | LOCATION KFC DRY STORE Entry Door DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. ( Door Size 3 -6 x 7 0 ) | No | 1 | 32500 | 43000 | 43000 | 43000 | 43000 | 47775 | 47775 | 47775 | 47775 | 74000 | 74000 | 45000 | 45000 | 45000 | 45000 | 32500 | 32500
40 | 5.04 | LOCATION MAIN ENTRY DOOR CHILLER STORE ENTRY DOOR DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. ( Door Size 4 -0 x 7 0 ) | LOCATION MAIN ENTRY DOOR CHILLER STORE ENTRY DOOR DESCRIPTION Flush door ((32 mm thk, 2 hour Fire Rated) finished with 1mm thk. Laminate on both side, having vision panel of size 1 -0 x 1 -0 at eye level. All necessary hardware (i.e. Lock, Handle, Hinges, Latch or Tower Bolt, Door Closer, Door Stopper, Door PVC Buffer, 2mm thick SS kick push plate both sides etc ) complete of approved make. All to be completed as per the details are provided in drawings or as directed by Architect Engineer. ( Door Size 4 -0 x 7 0 ) | No | 2 | 81000 | 47000 | 94000 | 47000 | 94000 | 54600 | 109200 | 54600 | 109200 | 77000 | 154000 | 48500 | 97000 | 48500 | 97000 | 40500 | 81000
41 | 5.05 | LOCATION KEY BOX DESCRIPTION Key Box (As per Standard Design) | LOCATION KEY BOX DESCRIPTION Key Box (As per Standard Design) | No. | 1 | 0 | 8000 | 8000 | 8000 | 8000 | 6500 | 6500 | 6500 | 6500 | 2000 | 2000 | 0 | 0 |  | 0 | 56500 | 56500
42 |  | LOCATION DESCRIPTION SUB TOTAL OF WOODWORK | LOCATION DESCRIPTION SUB TOTAL OF WOODWORK
43 | 6 | LOCATION DESCRIPTION FALSE CEILING WORK | LOCATION DESCRIPTION FALSE CEILING WORK
44 | 6.01 | LOCATION Metal Grid Ceiling in BASEMENT STORE DESCRIPTION Supply and Installation of powder quoted , metal grid false ceiling with tiles of 600 x 600 mm of 0.4mm thick of approved make with necessary supporting Grid system of approved make and accessories to hold in position as per the manufacturers specifications adhering to detail drawings. Make shall be of DMC approved equivalent make as approved by the Architects. Rate includes all lead,lifts for all scafolding, necessary hardware, wastage labour etc complete. ( Base Rate of Metal Grid Ceiling @ Rs. 150 - Sqft ) | LOCATION Metal Grid Ceiling in BASEMENT STORE DESCRIPTION Supply and Installation of powder quoted , metal grid false ceiling with tiles of 600 x 600 mm of 0.4mm thick of approved make with necessary supporting Grid system of approved make and accessories to hold in position as per the manufacturers specifications adhering to detail drawings. Make shall be of DMC approved equivalent make as approved by the Architects. Rate includes all lead,lifts for all scafolding, necessary hardware, wastage labour etc complete. ( Base Rate of Metal Grid Ceiling @ Rs. 150 - Sqft ) | Sq. ft. | 545 | 149875 | 450 | 245250 | 400 | 218000 | 275 | 149875 | 275 | 149875 | 400 | 218000 | 450 | 245250 | 410 | 223450 | 320 | 174400
45 |  | LOCATION DESCRIPTION SUB TOTAL OF FALSE CEILING | LOCATION DESCRIPTION SUB TOTAL OF FALSE CEILING
46 | 7 | LOCATION DESCRIPTION MISC. WORK | LOCATION DESCRIPTION MISC. WORK
47 | 7.01 | LOCATION BASEMENT STORE DESCRIPTION Providing fixing of 25mm x 25mm SS (202 Grade) Tile Guard in Stainless Steel ( Brushed surface finished 1mm thk.) complete as per approved specification, completed as per the details are provided in drawings or as directed by Architect Engineer. | LOCATION BASEMENT STORE DESCRIPTION Providing fixing of 25mm x 25mm SS (202 Grade) Tile Guard in Stainless Steel ( Brushed surface finished 1mm thk.) complete as per approved specification, completed as per the details are provided in drawings or as directed by Architect Engineer. | Rft | 56 | 10080 | 450 | 25200 | 350 | 19600 | 375 | 21000 | 375 | 21000 | 800 | 44800 | 650 | 36400 | 650 | 36400 | 180 | 10080
48 | 7.02 | LOCATION BASEMENT STORE DESCRIPTION Providing appling 6mm thick POP Punning on Walls with necessary grooves ( if required ) as per design for all heights levels. | LOCATION BASEMENT STORE DESCRIPTION Providing appling 6mm thick POP Punning on Walls with necessary grooves ( if required ) as per design for all heights levels. | Sqft | 230 | 11500 | 60 | 13800 | 55 | 12650 | 60 | 13800 | 60 | 13800 | 50 | 11500 | 90 | 20700 | 90 | 20700 | 80 | 18400
49 | 7.03 | LOCATION BASEMENT STORE DESCRIPTION Providing applying Of Two or more coats of roller applied premium acrylic emulsion(Asian -8473- Grey) paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams litre of approved brand and manufacture (Asian Paints applyingTwo coats birla putty to achive smooth surface of FOH Wall area and one coats primer and two or more coats of paint to achieve even shade and colour as per direction and satisfaction of Architect | LOCATION BASEMENT STORE DESCRIPTION Providing applying Of Two or more coats of roller applied premium acrylic emulsion(Asian -8473- Grey) paint of interior grade,having VOC (Volatile Organic Compound ) content less than 50 grams litre of approved brand and manufacture (Asian Paints applyingTwo coats birla putty to achive smooth surface of FOH Wall area and one coats primer and two or more coats of paint to achieve even shade and colour as per direction and satisfaction of Architect | Sqft | 230 | 10350 | 50 | 11500 | 45 | 10350 | 95 | 21850 | 95 | 21850 | 70 | 16100 | 95 | 21850 | 60 | 13800 | 70 | 16100
50 | 7.04 | LOCATION BASEMENT STORE DESCRIPTION Exhaust fan - 15 | LOCATION BASEMENT STORE DESCRIPTION Exhaust fan - 15 | no | 1 | 7500 | 7500 | 7500 | 7500 | 7500 | 8500 | 8500 | 8500 | 8500 | 12000 | 12000 | 7500 | 7500 | 7500 | 7500 | 60000 | 60000

## Electrical
|  | RFQ No: R2078 COST COMPARISON REPORT | RFQ No: R2078 COST COMPARISON REPORT | Comp. Date : 23/10/2024 | Comp. Date : 23/10/2024 | Comp. Date : 23/10/2024 | Vendor Name : AKHIL CHIRAG ELECTRICAL | Vendor Name : AKHIL CHIRAG ELECTRICAL | VART INFRACON PRIVATE LIMITED (R0) | Vendor Name : VART INFRACON PRIVATE LIMITED | VART INFRACON PRIVATE LIMITED (R1) | Vendor Name : VART INFRACON PRIVATE LIMITED | FALLOW DEZIENCE TREE LLP (R0) |  | FALLOW DEZIENCE TREE LLP (R1)
|  | RFQ No: R2078 COST COMPARISON REPORT | RFQ No: R2078 COST COMPARISON REPORT | RFQ #: R2078 | RFQ #: R2078 | RFQ #: R2078 | Contact Name : CHIRAG | Contact Name : CHIRAG |  |  | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Khursheed Ahmad/Jasmine Grover | Contact Name : Khursheed Ahmad/Jasmine Grover
|  | RFQ No: R2078 COST COMPARISON REPORT | RFQ No: R2078 COST COMPARISON REPORT | RFQ Date : 22/10/2024 18:06:33 | RFQ Date : 22/10/2024 18:06:33 | RFQ Date : 22/10/2024 18:06:33 | Vendor City : | Vendor City : |  |  | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R2078 COST COMPARISON REPORT | RFQ No: R2078 COST COMPARISON REPORT | BCD Date : 23/10/2024 18:06:00 | BCD Date : 23/10/2024 18:06:00 | BCD Date : 23/10/2024 18:06:00 | Telephone # : | Telephone # : |  |  | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R2078 COST COMPARISON REPORT | RFQ No: R2078 COST COMPARISON REPORT |  |  |  | Mobile # : 9560263557 | Mobile # : 9560263557 |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : Semolina-2425-00835 | PR Number : Semolina-2425-00835 | PR Number : Semolina-2425-00835 | PR Number : Semolina-2425-00835 | PR Number : Semolina-2425-00835 | PR Number : Semolina-2425-00835 | PR Number : Semolina-2425-00835 | Email : contactchiragelectrical@gmail.com | Email : contactchiragelectrical@gmail.com |  |  | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@fallowdezience.com | Email : accounts@fallowdezience.com
Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Package / RFQ Name : Electrical work- Jaipur Base Kitchen | Round # : 3 (RFQ) | Round # : 3 (RFQ) |  |  | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : |  |  | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : |  |  | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : |  |  | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical | Electrical | NOS | 1 |  |  | 315550 |  | 450206.25 |  | 311989 |  | 523975 |  | 500000
1 | 1 | DISTRIBUTION BOARDS | DISTRIBUTION BOARDS
2 |  | Supply, erection, testing and commissioning of the following sheet steel clad wall recess mounting dust and vermin proof double door type distribution boards constructed from 16 SWG sheet steel IP 42 construction, finished with rust proof duly powder coated in approved shade with hinged gasketed door and housing the following complete with P.V.C. insulated copper busbars rated 200 amp with interconnections, neutral and earth bar assembly per phase, earthing terminals complete as approved by Architects. | Supply, erection, testing and commissioning of the following sheet steel clad wall recess mounting dust and vermin proof double door type distribution boards constructed from 16 SWG sheet steel IP 42 construction, finished with rust proof duly powder coated in approved shade with hinged gasketed door and housing the following complete with P.V.C. insulated copper busbars rated 200 amp with interconnections, neutral and earth bar assembly per phase, earthing terminals complete as approved by Architects.
3 |  | Note All MCBs in distribuition board for power circuits shall be of C curve | Note All MCBs in distribuition board for power circuits shall be of C curve
4 | i | Type A | Type A
5 |  | 1-40 amp FP MCB with 3 single phase banks each comprising of 40A DP RCCB(30 mA) and 6 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | 1-40 amp FP MCB with 3 single phase banks each comprising of 40A DP RCCB(30 mA) and 6 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | Set | 1 | 30000 | 30000 | 30000 | 33750 | 33750 | 31500 | 31500 | 38500 | 38500 | 37600 | 37600
6 | ii | Type B | Type B
7 |  | 1-32 amp DP MCB + DP RCCB ( 30mA) and 8 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | 1-32 amp DP MCB + DP RCCB ( 30mA) and 8 nos. 6 16 20 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | Set | 1 | 1500 | 5500 | 5500 | 18750 | 18750 | 1500 | 1500 | 32750 | 32750 | 31000 | 31000
8 | 2 | Supply installation testing and commisioning 3.0 kVA online ( 1ph input and 1ph output) UPS with 15 Min power back up complete with in buit Static by pass switch , Mannual external maintenance by pass switch , Rectifiers , Sealed MF batteries etc as required | Supply installation testing and commisioning 3.0 kVA online ( 1ph input and 1ph output) UPS with 15 Min power back up complete with in buit Static by pass switch , Mannual external maintenance by pass switch , Rectifiers , Sealed MF batteries etc as required | No. | 1 | 55000 | 55000 | 55000 | 66250 | 66250 | 59000 | 59000 | 75000 | 75000 | 75000 | 75000
9 | 3 | Supply, laying, testing commissioning of following sizes of Al Cu. conductor 1.1 kV grade, armoured, XLPE insulated FRLS LT Cables Control Cables including necessary cleats, clamps etc. (Cables shall be partly laid in Pipes, O H cable tray, on wall as required ) | Supply, laying, testing commissioning of following sizes of Al Cu. conductor 1.1 kV grade, armoured, XLPE insulated FRLS LT Cables Control Cables including necessary cleats, clamps etc. (Cables shall be partly laid in Pipes, O H cable tray, on wall as required )
10 | i | 4C – 10.0 (Cu.) FRLS Armoured XLPE Cable * | 4C – 10.0 (Cu.) FRLS Armoured XLPE Cable * | Mtrs | 40 | 28800 | 720 | 28800 | 787.5 | 31500 | 720 | 28800 | 1350 | 54000 | 1275 | 51000
11 | ii | 3C – 4.0 (Cu.) FRLS Armoured XLPE Cable | 3C – 4.0 (Cu.) FRLS Armoured XLPE Cable | Mtrs | 10 | 3600 | 360 | 3600 | 375 | 3750 | 360 | 3600 | 950 | 9500 | 925 | 9250
12 |  | * Approx and shall be as per point of supply | * Approx and shall be as per point of supply
13 | 4 | Supply, erection, testing commissioning of following sizes of cable end terminations with Double compression gland for 1.1 kV grade, XLPE insulated, Al Cu Conductor cable | Supply, erection, testing commissioning of following sizes of cable end terminations with Double compression gland for 1.1 kV grade, XLPE insulated, Al Cu Conductor cable
14 | i | 4C – 10.0 (Cu.) FRLS Armoured XLPE Cable * | 4C – 10.0 (Cu.) FRLS Armoured XLPE Cable * | Nos. | 2 | 1374 | 700 | 1400 | 687.5 | 1375 | 687 | 1374 | 1500 | 3000 | 1475 | 2950
15 | ii | 3C – 4.0 (Cu.) FRLS Armoured XLPE Cable | 3C – 4.0 (Cu.) FRLS Armoured XLPE Cable | Nos. | 2 | 750 | 500 | 1000 | 375 | 750 | 375 | 750 | 1250 | 2500 | 1200 | 2400
16 | 5 | Wiring for DB Submains with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in surface concealed MS surface concealed conduit including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases as required and making suitable end termination with copper lugs complete as required and as below | Wiring for DB Submains with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in surface concealed MS surface concealed conduit including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases as required and making suitable end termination with copper lugs complete as required and as below
17 | i | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit | 2 x 6 sq.mm + 1 No. 4 Sq. mm in 25 mm dia MS Conduit | Mtrs | 15 | 8700 | 580 | 8700 | 937.5 | 14062.5 | 800 | 12000 | 750 | 11250 | 750 | 11250
18 | ii | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit | Mtrs | 0 | 0 | 0 | 0 | 625 | 0 | 620 | 0 | 550 | 0 | 550 | 0
19 | 6 | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required
20 | i | 25X3 mm GI Strip | 25X3 mm GI Strip | Mtrs | 10 | 1500 | 220 | 2200 | 300 | 3000 | 200 | 2000 | 150 | 1500 | 150 | 1500
21 | ii | 8 SWG GI Wire | 8 SWG GI Wire | Mtrs | 20 | 800 | 40 | 800 | 137.5 | 2750 | 90 | 1800 | 175 | 3500 | 175 | 3500
22 | 7 | Wiring for switch controlled primary light points with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25 mm dia 16 SWG MS concealed surface conduit including cost of cutting and filling chases for recessed conduiting and supports in case of Surface conduit including all bends , saddles , Junction boxes etc. including the cost of running 1.5 sq. mm PVC insulated copper conductor wire for loop earthing etc. and including providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade FRLS wires and including the cost of providing and fixing a 6 amp 240 Volt grid plate mounted switch with moulded cover plate in GI box and complete as required ( Switch shall be as approved by the architect Client) | Wiring for switch controlled primary light points with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25 mm dia 16 SWG MS concealed surface conduit including cost of cutting and filling chases for recessed conduiting and supports in case of Surface conduit including all bends , saddles , Junction boxes etc. including the cost of running 1.5 sq. mm PVC insulated copper conductor wire for loop earthing etc. and including providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade FRLS wires and including the cost of providing and fixing a 6 amp 240 Volt grid plate mounted switch with moulded cover plate in GI box and complete as required ( Switch shall be as approved by the architect Client) | Pt. | 8 | 17000 | 2300 | 18400 | 2125 | 17000 | 2125 | 17000 | 3850 | 30800 | 3650 | 29200
23 | 8 | Wiring for secondary Switch controlled light points ( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS concealed surface conduit including cost of cutting and filling chases for recessed conduiting and supports in case of Surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Wiring for secondary Switch controlled light points ( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS concealed surface conduit including cost of cutting and filling chases for recessed conduiting and supports in case of Surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt. | 10 | 11000 | 1100 | 11000 | 1500 | 15000 | 1100 | 11000 | 3250 | 32500 | 3250 | 32500
24 | 9 | Wiring for a 5 pin 240 volt 6 amp single phase and neutral switch socket outlet with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall ceiling including cost of providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade wires and including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and providing and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires complete as requied( Switch and socket shall be as approved by the architect Client) | Wiring for a 5 pin 240 volt 6 amp single phase and neutral switch socket outlet with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall ceiling including cost of providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade wires and including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and providing and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires complete as requied( Switch and socket shall be as approved by the architect Client) | Pt. | 6 | 15600 | 3500 | 21000 | 2625 | 15750 | 2600 | 15600 | 3850 | 23100 | 3650 | 21900
25 | 10 | Wiring same as in Item 9 above looped from an adjacent 6 amp switch socket outlet Nearest Lighting or power circuit as required and providing and fixing of a modular type 5 pin 240 Volt 6 amp shuttered socket outlet and a modular type 6 amp 240 Volt single pole switch in a recessed GI boxes with internal wiring and moulded front plates complete as required. ( Switch and socket shall be as approved by the architect Client) | Wiring same as in Item 9 above looped from an adjacent 6 amp switch socket outlet Nearest Lighting or power circuit as required and providing and fixing of a modular type 5 pin 240 Volt 6 amp shuttered socket outlet and a modular type 6 amp 240 Volt single pole switch in a recessed GI boxes with internal wiring and moulded front plates complete as required. ( Switch and socket shall be as approved by the architect Client) | Pt. | 10 | 13000 | 1800 | 18000 | 1375 | 13750 | 1300 | 13000 | 3650 | 36500 | 3650 | 36500
26 | 11 | Same as above but switch and socket provided at separate location including wiring berween switch and socket and complete as required | Same as above but switch and socket provided at separate location including wiring berween switch and socket and complete as required | Pt. | 0 | 0 | 0 | 0 | 2250 | 0 | 2250 | 0 | 0 | 0 | 0 | 0
27 | 12 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 2.5 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect Client) | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 2.5 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect Client) | Pt. | 1 | 3125 | 3800 | 3800 | 3125 | 3125 | 3125 | 3125 | 3250 | 3250 | 3250 | 3250
28 | 13 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect Client) | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect Client) | Pt. | 5 | 16250 | 4000 | 20000 | 3625 | 18125 | 3250 | 16250 | 3250 | 16250 | 3250 | 16250
29 | 14 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the second outlet in 25mm dia 16 SWG MS conduit in wall Ceiling including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases and including providing and fixing of two sets of 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted switches with moulded cover plate in a recessed GI box including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch Socket Shall be as per approved sample by Architect) | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the second outlet in 25mm dia 16 SWG MS conduit in wall Ceiling including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases and including providing and fixing of two sets of 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted switches with moulded cover plate in a recessed GI box including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch Socket Shall be as per approved sample by Architect) | Pt. | 2 | 6500 | 4500 | 9000 | 3875 | 7750 | 3250 | 6500 | 3250 | 6500 | 3250 | 6500
30 | 15 | Wiring for primary switch board consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall Ceiling including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral modular switch socket , safety shutters in a recessed surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch Socket Shall be as per approved sample by Architect) | Wiring for primary switch board consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall Ceiling including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral modular switch socket , safety shutters in a recessed surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch Socket Shall be as per approved sample by Architect) | Pt. | 3 | 9750 | 3800 | 11400 | 4625 | 13875 | 3350 | 10050 | 3250 | 9750 | 3250 | 9750
31 | 16 | Wiring for secondary switch board ( Lopped from above) consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall Ceiling including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral modular switch socket , safety shutters in a recessed surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch Socket Shall be as per approved sample by Architect) | Wiring for secondary switch board ( Lopped from above) consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral switch socket outlets with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 2.5 sq FRLS copper wire mm in 25mm dia 16 SWG MS conduit in wall Ceiling including cost of providing saddles etc as required for surface conduiting and or cost of cutting and filling chases and including providing and fixing prewired switch board each consisting of 2 Nos. 5 pin 240 volt 6 amp single phase and neutral modular switch socket , safety shutters in a recessed surface GI box including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch Socket Shall be as per approved sample by Architect) | Pt. | 4 | 6000 | 1500 | 6000 | 2875 | 11500 | 2000 | 8000 | 3150 | 12600 | 3150 | 12600
32 | 17 | Supply and Installation of following in wall mounted MS enclosure | Supply and Installation of following in wall mounted MS enclosure
33 | i | 32A 25A DP RCBO | 32A 25A DP RCBO | Nos | 1 | 600 | 600 | 600 | 8125 | 8125 | 6000 | 6000 | 6500 | 6500 | 6500 | 6500
34 | 18 | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic. Dust cover blank shall be provided to protect unused faceplate openings. Termination caps and plastic cover shall be provided to protect jack wiring. | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic. Dust cover blank shall be provided to protect unused faceplate openings. Termination caps and plastic cover shall be provided to protect jack wiring.
35 | i | Single outlet face plate with RJ-45 Jack with information outlet | Single outlet face plate with RJ-45 Jack with information outlet | Nos. | 2 | 1200 | 600 | 1200 | 750 | 1500 | 600 | 1200 | 1150 | 2300 | 750 | 1500
36 | ii | Duplex outlet face plate with RJ-45 Jack with information outlet | Duplex outlet face plate with RJ-45 Jack with information outlet | Nos. | 7 | 5600 | 800 | 5600 | 1062.5 | 7437.5 | 950 | 6650 | 1150 | 8050 | 1150 | 8050
37 | 19 | Supply, installation, testing, commissioning and laying of Category 6A cable in existing conduits raceways including Numbering-ferruling, bunching, tagging, computerised labeling of utp cable , Input Output termination Punching at both the ends , (both side i.e. user rack) Cable Dressing etc as required . | Supply, installation, testing, commissioning and laying of Category 6A cable in existing conduits raceways including Numbering-ferruling, bunching, tagging, computerised labeling of utp cable , Input Output termination Punching at both the ends , (both side i.e. user rack) Cable Dressing etc as required . | Mtrs | 160 | 14720 | 120 | 19200 | 93.75 | 15000 | 92 | 14720 | 135 | 21600 | 135 | 21600
38 | 20 | Supplying,installation and commisioning of CAT-6A patch cords 2 mtrs. | Supplying,installation and commisioning of CAT-6A patch cords 2 mtrs. | Nos | 16 | 8000 | 500 | 8000 | 687.5 | 11000 | 560 | 8960 | 1800 | 28800 | 1800 | 28800
39 | 21 | Supplying,installation and commisioning of CAT-6A patch cords 1 mtr. | Supplying,installation and commisioning of CAT-6A patch cords 1 mtr. | Nos | 16 | 5600 | 350 | 5600 | 550 | 8800 | 360 | 5760 | 1800 | 28800 | 1000 | 16000
40 | 22 | Supply , fixing Laying 16 SWG MS conduits on surface or concealed complete with PVC junction boxes, cover plates, bends, saddles, base and other accessories all made in PVC with GI screws as required to complete the job. . | Supply , fixing Laying 16 SWG MS conduits on surface or concealed complete with PVC junction boxes, cover plates, bends, saddles, base and other accessories all made in PVC with GI screws as required to complete the job. .
41 | i | 25 mm dia 16 SWG MS conduit | 25 mm dia 16 SWG MS conduit | Mtrs | 35 | 5250 | 180 | 6300 | 187.5 | 6562.5 | 160 | 5600 | 150 | 5250 | 150 | 5250
42 | ii | 20 mm dia 16 SWG MS conduit | 20 mm dia 16 SWG MS conduit | Mtrs | 65 | 8450 | 130 | 8450 | 168.75 | 10968.75 | 150 | 9750 | 135 | 8775 | 130 | 8450
43 | 23 | Installation of following light fixtures including connections and complete in all respects | Installation of following light fixtures including connections and complete in all respects
44 | i | 600mmX600mm 36-48 W LED Light | 600mmX600mm 36-48 W LED Light | No. | 16 | 4000 | 250 | 4000 | 4500 | 72000 | 500 | 8000 | 500 | 8000 | 450 | 7200
45 | ii | Wall Fan | Wall Fan | No. | 4 | 800 | 200 | 800 | 3750 | 15000 | 500 | 2000 | 600 | 2400 | 500 | 2000
46 | iii | Exhaust fan | Exhaust fan | No. | 1 | 200 | 200 | 200 | 2000 | 2000 | 500 | 500 | 750 | 750 | 750 | 750

## FF & FAS
|  | RFQ No: R2045 COST COMPARISON REPORT | RFQ No: R2045 COST COMPARISON REPORT | Comp. Date : 23/10/2024 | Comp. Date : 23/10/2024 | Comp. Date : 23/10/2024 | Vendor Name : VART INFRACON PRIVATE LIMITED | Vendor Name : VART INFRACON PRIVATE LIMITED | Vendor Name : ANJLE MEP PROJECTS PRIVATE LIMITED | Vendor Name : ANJLE MEP PROJECTS PRIVATE LIMITED | Vendor Name : Pioneer Project Solution | Vendor Name : Pioneer Project Solution | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : ZENCO FIRE | Vendor Name : ZENCO FIRE
|  | RFQ No: R2045 COST COMPARISON REPORT | RFQ No: R2045 COST COMPARISON REPORT | RFQ #: R2045 | RFQ #: R2045 | RFQ #: R2045 | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Priyanka/Premkant Rajpoot | Contact Name : Priyanka/Premkant Rajpoot | Contact Name : Asraf | Contact Name : Asraf | Contact Name : JOHN | Contact Name : JOHN | Contact Name : AURANGZEB | Contact Name : AURANGZEB
|  | RFQ No: R2045 COST COMPARISON REPORT | RFQ No: R2045 COST COMPARISON REPORT | RFQ Date : 22/10/2024 12:47:00 | RFQ Date : 22/10/2024 12:47:00 | RFQ Date : 22/10/2024 12:47:00 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R2045 COST COMPARISON REPORT | RFQ No: R2045 COST COMPARISON REPORT | BCD Date : 23/10/2024 11:37:00 | BCD Date : 23/10/2024 11:37:00 | BCD Date : 23/10/2024 11:37:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R2045 COST COMPARISON REPORT | RFQ No: R2045 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 9810634901 | Mobile # : 9810634901 | Mobile # : | Mobile # : | Mobile # : 9930619943 | Mobile # : 9930619943
PR Number : Semolina-2425-00838,Semolina-2425-00839 | PR Number : Semolina-2425-00838,Semolina-2425-00839 | PR Number : Semolina-2425-00838,Semolina-2425-00839 | PR Number : Semolina-2425-00838,Semolina-2425-00839 | PR Number : Semolina-2425-00838,Semolina-2425-00839 | PR Number : Semolina-2425-00838,Semolina-2425-00839 | PR Number : Semolina-2425-00838,Semolina-2425-00839 | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : account.anjle@gmail.com | Email : account.anjle@gmail.com | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : crystalhvac002@gmail.com | Email : crystalhvac002@gmail.com | Email : zencofire@yahoo.com | Email : zencofire@yahoo.com
Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Package / RFQ Name : PR for Fire Sprinkler & FAS for Jaipur Basement... | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Fire Sprinkler | Fire Sprinkler | NOS | 1 |  |  | 149945 |  | 165640 |  | 173650 |  | 182650 |  | 220670
1 | 1 | Providing, Laying, Jointing Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C Heavy Pipe with necessary support anchore fastening from slab. | Providing, Laying, Jointing Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C Heavy Pipe with necessary support anchore fastening from slab.
2 | a. | 25 mm dia | 25 mm dia | Rft. | 30 | 4500 | 800 | 24000 | 850 | 25500 | 750 | 22500 | 150 | 4500 | 850 | 25500
3 | c. | 40 mm dia | 40 mm dia | Rft. | 10 | 9000 | 900 | 9000 | 950 | 9500 | 1050 | 10500 | 1250 | 12500 | 1275 | 12750
4 | d. | 50 mm dia | 50 mm dia | Rft. | 15 | 15750 | 1250 | 18750 | 1050 | 15750 | 1250 | 18750 | 1450 | 21750 | 1700 | 25500
5 | 2 | Synthetic Enamel Paint. | Synthetic Enamel Paint.
6 | a. | 25 mm dia | 25 mm dia | Rft. | 30 | 1350 | 45 | 1350 | 50 | 1500 | 50 | 1500 | 180 | 5400 | 200 | 6000
7 | c. | 40 mm dia | 40 mm dia | Rft. | 10 | 450 | 45 | 450 | 50 | 500 | 50 | 500 | 350 | 3500 | 300 | 3000
8 | d. | 50 mm dia | 50 mm dia | Rft. | 15 | 675 | 45 | 675 | 50 | 750 | 50 | 750 | 550 | 8250 | 400 | 6000
9 | 3 | Providing Fixing of Butterfly Valve. | Providing Fixing of Butterfly Valve.
10 | a. | 50 mm dia | 50 mm dia | No. | 1 | 5000 | 5000 | 5000 | 5650 | 5650 | 5500 | 5500 | 7800 | 7800 | 7500 | 7500
11 | 4 | Providing Fixing of Ball Valve. | Providing Fixing of Ball Valve.
12 | e. | 65 mm dia | 65 mm dia | No. | 1 | 4850 | 5000 | 5000 | 4850 | 4850 | 6500 | 6500 | 8900 | 8900 | 10500 | 10500
13 | 5 | HEADER FITTING. | HEADER FITTING.
14 | a. | Flow Switch | Flow Switch | No. | 1 | 4250 | 4250 | 4250 | 8500 | 8500 | 5500 | 5500 | 7000 | 7000 | 4870 | 4870
15 | b | Pressure Gauge | Pressure Gauge | No. | 1 | 1650 | 1650 | 1650 | 1850 | 1850 | 1850 | 1850 | 8500 | 8500 | 3250 | 3250
16 | c | Air Release Valve | Air Release Valve | No. | 1 | 1050 | 1120 | 1120 | 2250 | 2250 | 1050 | 1050 | 4500 | 4500 | 3500 | 3500
17 | d | 80 mm dia NRV | 80 mm dia NRV | No. | 1 | 4950 | 5000 | 5000 | 7500 | 7500 | 6500 | 6500 | 4950 | 4950 | 9500 | 9500
18 | 6 | Providing Fixing C.P. Brass 68 degree Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved. | Providing Fixing C.P. Brass 68 degree Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved.
19 | a. | Pendant Type | Pendant Type | No. | 12 | 7800 | 750 | 9000 | 850 | 10200 | 1450 | 17400 | 1250 | 15000 | 650 | 7800
20 | b. | UP Right Type | UP Right Type | No. | 0 | 0 | 0 | 0 | 950 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 7 | Providing Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved for high temperature area in Kitchen temprating shall be 79degre | Providing Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make Tyco viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed EN approved for high temperature area in Kitchen temprating shall be 79degre
22 | a. | Pendant Type | Pendant Type | No. | 12 | 10200 | 900 | 10800 | 850 | 10200 | 1650 | 19800 | 1050 | 12600 | 950 | 11400
23 | b. | UP Right Type | UP Right Type | No. | 0 | 0 | 0 | 0 | 950 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 8 | Flexible Sprinkler Drop. | Flexible Sprinkler Drop.
25 | a. | 25mm | 25mm | No. | 24 | 52800 | 2200 | 52800 | 2450 | 58800 | 2250 | 54000 | 2250 | 54000 | 3250 | 78000
26 | 9 | Drain Valve | Drain Valve | No. | 1 | 1050 | 1100 | 1100 | 2340 | 2340 | 1050 | 1050 | 3500 | 3500 | 5600 | 5600
2 |  | FAS | FAS | NOS | 1 |  |  | 53400 |  | 68650 |  | 84300 |  | 93500 |  | 91400
27 | 1 | R1 (RESPONSE INDICATORS) | R1 (RESPONSE INDICATORS)
28 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Response indicators are connected to automatic fire detectors in order to indicate quickly the source of an alarm signal from detectors which are not easily accessible or visible. They light up as soon as the connected fire detector gives an alarm.(Wiring from switches to panel and stair case pressurization not included) | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Response indicators are connected to automatic fire detectors in order to indicate quickly the source of an alarm signal from detectors which are not easily accessible or visible. They light up as soon as the connected fire detector gives an alarm.(Wiring from switches to panel and stair case pressurization not included) | Nos | 2 | 500 | 275 | 550 | 250 | 500 | 5600 | 11200 | 450 | 900 | 850 | 1700
29 | 4 | MCP (MANUAL CALL POINT) | MCP (MANUAL CALL POINT)
30 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Manual call points are used to initiate an alarm signal, and operate by means of a simple button press or when glass is broken revealing a button. They can form part of a manual alarm system or an automatic alarm system.Model Edwards Apollo and FM approved with GI mounting Box | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Manual call points are used to initiate an alarm signal, and operate by means of a simple button press or when glass is broken revealing a button. They can form part of a manual alarm system or an automatic alarm system.Model Edwards Apollo and FM approved with GI mounting Box | Nos | 1 | 4650 | 4650 | 4650 | 7250 | 7250 | 5500 | 5500 | 8500 | 8500 | 8500 | 8500
31 | 5 | H (HOOTER) | H (HOOTER)
32 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Fire Alarm Systems. A fire alarm system is a electrical electronic system which is connected with many type of devices such as main panel, smoke heat detectors, mcp, sounder etc.. to detect the fire event by indiacating audio or visualize signal at the main or individual devices.Model Edwards Apollo with GI mounting Box | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Fire Alarm Systems. A fire alarm system is a electrical electronic system which is connected with many type of devices such as main panel, smoke heat detectors, mcp, sounder etc.. to detect the fire event by indiacating audio or visualize signal at the main or individual devices.Model Edwards Apollo with GI mounting Box | Nos | 1 | 4250 | 4250 | 4250 | 6200 | 6200 | 6500 | 6500 | 8500 | 8500 | 8500 | 8500
33 | 6 | SD (SMOKE DETECTOR ABOVE CEILING) | SD (SMOKE DETECTOR ABOVE CEILING)
34 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay.Model Edwards Apollo. | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay.Model Edwards Apollo. | NOS | 3 | 9750 | 3250 | 9750 | 4650 | 13950 | 5500 | 16500 | 6500 | 19500 | 6500 | 19500
35 | 7 | SD (SMOKE DETECTOR BELOW CEILING) | SD (SMOKE DETECTOR BELOW CEILING)
36 |  | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model Edwards Apollo. | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model Edwards Apollo. | NOS | 6 | 22500 | 3750 | 22500 | 4650 | 27900 | 5500 | 33000 | 6500 | 39000 | 6500 | 39000
37 | 9 | FIRE ALARM SYSTEM LOOPING | FIRE ALARM SYSTEM LOOPING | RMT. | 30 | 4350 | 170 | 5100 | 145 | 4350 | 180 | 5400 | 320 | 9600 | 190 | 5700
38 | 10 | MONITOR MODULE | MONITOR MODULE
39 |  | Providing and fixing Emonitor module . Model Edwards FMM-1 flash scan type UL listed and FM approved. | Providing and fixing Emonitor module . Model Edwards FMM-1 flash scan type UL listed and FM approved. | NOS | 1 | 6200 | 6600 | 6600 | 8500 | 8500 | 6200 | 6200 | 7500 | 7500 | 8500 | 8500