## Price Comparison
RFQ No: R2246 COST COMPARISON REPORT
Item Description | VART INFRACON PRIVATE LIMITED (R0) | VART INFRACON PRIVATE LIMITED (R1) | VART INFRACON PRIVATE LIMITED (R2) | VART INFRACON PRIVATE LIMITED (R3) Auction | VSAS GROUP (R0) | VSAS GROUP (R1) | VSAS GROUP (R2) | VSAS GROUP (R3) Auction | FL GROUP (R0) | FL GROUP (R1) | FL GROUP (R2) | FL GROUP (R2) Auction
Civil Interior work | 1115250 | 867500 | 867500 | 820850 | 939219 | 939219 | 821693 | 821693 | 993225 | 903075 | 890615 | 730615
Plumbing Work | 425350 | 357350 | 247350 | 227895 | 236050 | 236050 | 178250 | 178250 | 334600 | 256951 | 277701 | 277701
Smoke Detector | 27600 | 27600 | 23850 | 23850 | 81000 | 81000 | 56000 | 56000 | 41350 | 41350 | 38850 | 38850
Electrical Work | 495625 | 372350 | 372350 | 352700 | 376860 | 376860 | 312960 | 312960 | 733630 | 410605 | 409168 | 409168
Fire Sprinkler System | 131790 | 131790 | 131940 | 118632 | 271000 | 271000 | 271000 | 271000 | 97373 | 97373 | 87754 | 87754
Total | 2195615 | 1756590 | 1642990 | 1543927 | 1904129 | 1904129 | 1639903 | 1639903 | 2200178 | 1709354 | 1704088 | 1544088
Total with 18% GST | 2590825.7 | 2072776.2 | 1938728.2 | 1821833.86 | 2246872.22 | 2246872.22 | 1935085.54 | 1935085.54 | 2596210.04 | 2017037.72 | 2010823.84 | 1822023.84
L1

## BOQ Price Bid
[5 empty] | 2195615 |  | 1756590 |  | 1642990 |  | 1543927 |  | 1904129 |  | 1904129 |  | 1639903 |  | 1639903 |  | 2200178 |  | 1709354 |  | 1704088 |  | 1544088
| RFQ No: R2246 COST COMPARISON REPORT | Comp. Date : 15/11/2024 | Comp. Date : 15/11/2024 | Vendor Name : VART INFRACON PRIVATE LIMITED | [7 empty] | Vendor Name : VSAS GROUP | [7 empty] | Vendor Name : FL GROUP
| RFQ No: R2246 COST COMPARISON REPORT | RFQ #: R2246 | RFQ #: R2246 | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry | Contact Name : Sameer Darekar/Rohit Mistry |  |  | Contact Name : Shubham Singh | Contact Name : Shubham Singh | Contact Name : Shubham Singh | Contact Name : Shubham Singh | Contact Name : Shubham Singh | Contact Name : Shubham Singh |  |  | Contact Name : | Contact Name : Shubham Singh | Contact Name : | Contact Name : Shubham Singh | Contact Name : | Contact Name : Shubham Singh | Contact Name : | Contact Name : Shubham Singh
| RFQ No: R2246 COST COMPARISON REPORT | RFQ Date : 14/11/2024 17:30:57 | RFQ Date : 14/11/2024 17:30:57 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : |  |  | Vendor City : Lucknow | Vendor City : Lucknow | Vendor City : Lucknow | Vendor City : Lucknow | Vendor City : Lucknow | Vendor City : Lucknow |  |  | Vendor City : | Vendor City : Lucknow | Vendor City : | Vendor City : Lucknow | Vendor City : | Vendor City : Lucknow | Vendor City : | Vendor City : Lucknow
| RFQ No: R2246 COST COMPARISON REPORT | BCD Date : 15/11/2024 17:31:00 | BCD Date : 15/11/2024 17:31:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : |  |  | Telephone # : 8960449433 | Telephone # : 8960449433 | Telephone # : 8960449433 | Telephone # : 8960449433 | Telephone # : 8960449433 | Telephone # : 8960449433 |  |  | Telephone # : | Telephone # : 8960449433 | Telephone # : | Telephone # : 8960449433 | Telephone # : | Telephone # : 8960449433 | Telephone # : | Telephone # : 8960449433
| RFQ No: R2246 COST COMPARISON REPORT |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : |  |  | Mobile # : 8960449433 | Mobile # : 8960449433 | Mobile # : 8960449433 | Mobile # : 8960449433 | Mobile # : 8960449433 | Mobile # : 8960449433 |  |  | Mobile # : | Mobile # : 8960449433 | Mobile # : | Mobile # : 8960449433 | Mobile # : | Mobile # : 8960449433 | Mobile # : | Mobile # : 8960449433
PR Number : Semolina-2425-01085,Semolina-2425-01086,Semolina-2425-01090 | PR Number : Semolina-2425-01085,Semolina-2425-01086,Semolina-2425-01090 | PR Number : Semolina-2425-01085,Semolina-2425-01086,Semolina-2425-01090 | PR Number : Semolina-2425-01085,Semolina-2425-01086,Semolina-2425-01090 | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com | Email : accounts@vartinfra.com |  |  | Email : vsasgroup@gmail.com | Email : vsasgroup@gmail.com | Email : vsasgroup@gmail.com | Email : vsasgroup@gmail.com | Email : vsasgroup@gmail.com | Email : vsasgroup@gmail.com |  |  | Email : | Email : vsasgroup@gmail.com | Email : | Email : vsasgroup@gmail.com | Email : | Email : vsasgroup@gmail.com | Email : | Email : vsasgroup@gmail.com
Package / RFQ Name : Turn-key works- Irish House LKN T3 | Package / RFQ Name : Turn-key works- Irish House LKN T3 | Package / RFQ Name : Turn-key works- Irish House LKN T3 | Package / RFQ Name : Turn-key works- Irish House LKN T3 | Round # : 0 (RFQ) | Round # : 2 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 3 (Auction) | Round # : 2 (RFQ) | Round # : 0 (RFQ) | Round # : 2 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 3 (Auction) | Round # : 2 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (RFQ) | Round # : 3 (Auction) | Round # : 2 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : |  |  | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : |  |  | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : |  |  | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : |  |  | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 2 | Comp. # : 2 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : |  |  | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : |  |  | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Name | UOM | Qty | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount |  |  | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount |  |  | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 | Civil Interior work | NOS | 1 |  | 1115250 |  | 867500 |  | 867500 |  | 820850 |  | 939219 |  | 939219 |  | 821693 |  | 821693 |  | 993225 |  | 903075 |  | 890615 |  | 730615
1 | CINDER or LIGHT WT. SIPORAX BLOCK BATS FILLING
2 | MOH raised floor - Providing and Filling light wt. Siporex block bats to conceal drainage and plumbing lines. The Top layer should be finished properly to receive P.C.C base flooring layer on it. The same shall be completed as per the details are provided in drawings or as directed by Architect. | Sq.m. | 40 | 3300 | 132000 | 2200 | 88000 | 2200 | 88000 | 2100 | 84000 | 1400 | 56000 | 1400 | 56000 | 1400 | 56000 | 1400 | 56000 | 2800 | 112000 | 1700 | 68000 | 1700 | 68000 | 1700 | 68000
3 | PCC Layer - Providing and Laying P.C.C 1 3 6 of average thickness of upto 50mm of M 10 grade of concrete ( 1 cement 3 coarse sand 6 graded stone aggregate 20 mm nominal size) as floor base. | Sq.m. | 40 | 1650 | 66000 | 1650 | 66000 | 1650 | 66000 | 1500 | 60000 | 4200 | 168000 | 4200 | 168000 | 1700 | 68000 | 1700 | 68000 | 1384 | 55360 | 1384 | 55360 | 1000 | 40000 | 1000 | 40000
4 | WOOD WORK - DOOR - FIRE RATED WITH CERTIFICATE
5 | P or F HARD Wood door frames i.e Sal wood or Equivalent 2.5 inch X 5 inch complete with grooves as specified complete polished matching to the laminate as specified, with all necessary hardware such as hold fasts with polish finish of approved shade etc. completed as per design and details given in drawing or Architect instruction. Architect to mention the size and number of HOLD FASTS, door frames to be manufactured with horns minimum 3 inch , rebate size and a temporary wooden strip to retain the shape of the frame etc.including polish of approved shade. Basic cost of wood is Rs..2000.00 per Cu. ft. | Cum | 0.1 | 312500 | 31250 | 200000 | 20000 | 200000 | 20000 | 192000 | 19200 | 100000 | 10000 | 100000 | 10000 | 100000 | 10000 | 100000 | 10000 | 95000 | 9500 | 95000 | 9500 | 95000 | 9500 | 95000 | 9500
6 | Flush door (35 mm thk ply) finished with approved laminate, having vision panel of size 1 ft -0 inch x 1 ft -0 inch at eye level and S.S. Kick Plate (Matt finish). All necessary hardware (i.e. Liver Handle with motrice Latch and Lock high, door stopper, PVC Buffer etc . to be provided. client of size 4 inch x3 inch polished or painted to match dessert recon laminate color and having open door closure fixed on hinges. All to be completed as per the details are provided in drawings or as directed by Architect or Engineer. Door Size 3 ft 6 inch x 7 ft 0 inch . Fire rated doors with certificate. | No | 1 | 75000 | 75000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 18000 | 18000 | 18000 | 18000 | 26000 | 26000 | 26000 | 26000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000 | 48000
7 | Flush door (35 mm thk ply) finished with 1mm thk. LAMINATEon both side, having vision panel of size 1 ft -0 inch x 1 ft -0 inch at eye level and SS Kick Plate ( Matt Finish ). All necessary hardware (i.e. lock, handle, hinges, latch or tower bolt, door stopper, door pvc buffer etc ) to be provided. All to be completed as per the details are provided in drawings or as directed by Architect or Engineer. Door Size 3 ft 0 inch x 7 ft 0 inch . Fire rated doors with certificate. | No | 1 | 75000 | 75000 | 50000 | 50000 | 50000 | 50000 | 50000 | 50000 | 18000 | 18000 | 18000 | 18000 | 25000 | 25000 | 25000 | 25000 | 35000 | 35000 | 35000 | 35000 | 35000 | 35000 | 35000 | 35000
8 | FLOORING and WALL TILLING WORK
9 | KOTA STONE FLOORING - Providing and laying of 25 thk. 560mmX560mm Kota Stone flooring over a bed of 20mm thk. Cement mortar (1 4) jointed with cement slurry mixed with pigment to match the color of kota stone including hole cutting for traps etc. necessary cutting, rubbing, grinding and mirror polishing completed as per the details are provided in drawings or as directed by Architect or Engineer. | Sq.m. | 35 | 2750 | 96250 | 2750 | 96250 | 2750 | 96250 | 2640 | 92400 | 2368 | 82880 | 2368 | 82880 | 2200 | 77000 | 2200 | 77000 | 2800 | 98000 | 2300 | 80500 | 2800 | 98000 | 2800 | 98000
10 | KOTA STONE SKIRTING ( 4 inch high ) - Providing and fixing of 25mm thk. kota stone 4 inch high over a bed of 20 mm thk. Cement mortar ( 1 4 ) jointed with cement slurry mixed with pigment to match the coloure of KOTA including necessary wastage ,cutting ,grinding and polishing completed as per the details are provided in drawings or as directed by Architect or Engineer. | R.M | 35 | 350 | 12250 | 350 | 12250 | 350 | 12250 | 330 | 11550 | 590.4 | 20664 | 590.4 | 20664 | 590 | 20650 | 590 | 20650 | 600 | 21000 | 450 | 15750 | 600 | 21000 | 600 | 21000
11 | Commercial Tiles for Wall TL-04 - Providing and Fixing of 200x300mm Commerical wall tile as appvd with cement-sand mortar bedding of appd proportions as per the design and specifications. Joints to be filled properly with pigmented cement or epoxy grouts matching the tile or stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, cartage, loading, unloading, cutting, fixing and grouting. | Sq.m. | 95 | 2250 | 213750 | 2000 | 190000 | 2000 | 190000 | 1900 | 180500 | 3015 | 286425 | 3015 | 286425 | 2798 | 265810 | 2798 | 265810 | 3767 | 357865 | 3767 | 357865 | 3767 | 357865 | 3767 | 357865
12 | Granite on Jambs, Back counter top ST-02 - Providing and Fixing of 18mm th. Black Granite on wall, Floor jambs and Back counter top as appvd with adhesive as per the design and specifications. Joints to be filled properly with pigmented cement or epoxy grouts matching the tile or stone. Flooring should be fixed in proper plumb line . Job to include cost of labour, material, watage, chmafering, polishing of edges, cartage, loading, unloading, cutting, fixing and grouting. | Sq.m. | 5 | 8500 | 42500 | 7500 | 37500 | 7500 | 37500 | 7000 | 35000 | 8000 | 40000 | 8000 | 40000 | 6996.6 | 34983 | 6996.6 | 34983 | 6500 | 32500 | 6500 | 32500 | 6500 | 32500 | 6500 | 32500
13 | CEILING WORKS
14 | Gypsum False ceiling - Fire rated - Providing and fixing -in position Saint Gobain Gyproc make, Gypsum Board fire rated False Ceiling as per manufacturer ft s specifications and instructions with 12.5 mm thick `Gypboard ft Screw-fixed to the underside Of suspended G.I. grid. G.I. grid should be Constructed and suspended from the main ceiling as per manufacturer ft s instructions and as per specifications using Original Co. Specified GypRock Framework Sections G.I.24 gauge The Gypboard should be fixed to G.I. grid with 25 mm long Drawali Screws. The `Gypboard ft to be used should be 12.5mm thick FireRated Saint-Gobain make Tapered edge boards. The boards should Be taped and filled from underside to give smooth, seamless ceiling. The rate should include necessary additional ceiling sections and intermediate channels openings for light fixtures, A.C. ducts, vertical drops, offsets. etc. Additional Intermediate channels should be fixed to strap hangers for additional support to prevent strap hangers from buckling or swaying at every 1200 mm. Item to be completed in all respect including necessary sleeves for ducts finishing of joints cut outs supports for A.C. grills, light fixtures, speakers etc. | Sq.m. | 35 | 2450 | 85750 | 2000 | 70000 | 2000 | 70000 | 1920 | 67200 | 1750 | 61250 | 1750 | 61250 | 1750 | 61250 | 1750 | 61250 | 2800 | 98000 | 2300 | 80500 | 1750 | 61250 | 1750 | 61250
15 | Providing and fixing Trap door to be made of 19mm fire rated ply, finished with laminate or approved paint to match the shade of false ceiling. The trapdoor edges to be finished with 8mm thick teak wood lipping painted to match ceiling color. The item is inclusive of all fittings, fixtures and hardware; providing and fixing all necessary SS hinges (concealed), approved locking system, tied with safety chain, any frames, necessary support structure from the ceiling for fixing the trap door shutters, shadow gap, tools and tackles etc. Rate shall include all wastage, necessary cutting,all leads and lifts at all levels, loading and unloading, transportation and all other incidental charges, cost of materials, providing patterns,as per design, labour, etc.,complete as per specification, design and details,as per the instructions of the Architect or Engineer in charge.
16 | ( 1500,mm x 750mm ) | No | 1 | 17000 | 17000 | 15000 | 15000 | 15000 | 15000 | 14000 | 14000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 3600 | 3600 | 9600 | 9600 | 9000 | 9000 | 9000 | 9000
17 | ( 1500,mm x 1750mm ) | No | 1 | 45000 | 45000 | 20000 | 20000 | 20000 | 20000 | 18500 | 18500 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 20000 | 8400 | 8400 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000
18 | PAINTING AND POLISHING
19 | Asian Royale Paint Morning Glory- 0765 PT-01 - Sand papering the finished gypsum ceiling surface, filling in the cracks on the surface if any, Apply a coat of cement primer on the surface, Applying enamel putty making the surface smooth, applying one more coat of cement primer on the surface and applying two or more coats of approved Black Royale paint in approved hue to achieve uniform shade. | Sq.m. | 40 | 1150 | 46000 | 950 | 38000 | 950 | 38000 | 900 | 36000 | 750 | 30000 | 750 | 30000 | 750 | 30000 | 750 | 30000 | 700 | 28000 | 500 | 20000 | 500 | 20000 | 500 | 20000
20 | MISCELLANEOUS
21 | Providing and fixing STAINLESS STEEL CORNER GUARD, finished in Black anodized color with all necessary arrangements and hardware, all as per approved sample, as shown in drawing, including all wastage, all incidentals, clamp, cutting, fixing, lead, lift, scaffolding, staging, as shown in drawing, complete in all respect as per drawing, designs and directions by Architect or Project-In-charge. | R.M | 45 | 2500 | 112500 | 1500 | 67500 | 1500 | 67500 | 1400 | 63000 | 2000 | 90000 | 2000 | 90000 | 2000 | 90000 | 2000 | 90000 | 1200 | 54000 | 1200 | 54000 | 1200 | 54000 | 1200 | 54000
22 | Hoods installation with all accessories or fittings such as ms support or anchor fasteners etc in all aspects. | Job | 1 | 15000 | 15000 | 12000 | 12000 | 12000 | 12000 | 11500 | 11500 | 8000 | 8000 | 8000 | 8000 | 7000 | 7000 | 7000 | 7000 | 12000 | 12000 | 6500 | 6500 | 6500 | 6500 | 6500 | 6500
23 | Equipment ft s shifting from terminal outside till outlet with placement, kinldy note proper handling and shifting to be done. | Job | 1 | 50000 | 50000 | 35000 | 35000 | 35000 | 35000 | 28000 | 28000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 20000 | 20000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000
2 | Plumbing Work | NOS | 1 |  | 425350 |  | 357350 |  | 247350 |  | 227895 |  | 236050 |  | 236050 |  | 178250 |  | 178250 |  | 334600 |  | 256951 |  | 277701 |  | 277701
24 | WATER SUPPLY PIPES - CPVC Pipes - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes conforming to CTS (Copper Tube Size) SDR-11 as per (is 15778 ASTM D 2846) with necessary fittings up to the size of 50 mm dia. (Make – SUPREME or KASTA) including all necessary fitting as per site. 20mm dia | R.M. | 40 | 850 | 34000 | 750 | 30000 | 750 | 30000 | 700 | 28000 | 650 | 26000 | 650 | 26000 | 650 | 26000 | 650 | 26000 | 950 | 38000 | 850 | 34000 | 750 | 30000 | 750 | 30000
25 | WATER DRAIN PIPES - UPVC WASTE PIPE - UPVC Pipe for Drainage (Make – SUPREME or KASTA) including all necessary fitting as per site.
26 | 100mm dia | R.M. | 20 | 625 | 12500 | 625 | 12500 | 625 | 12500 | 580 | 11600 | 850 | 17000 | 850 | 17000 | 750 | 15000 | 750 | 15000 | 1900 | 38000 | 1000 | 20000 | 1800 | 36000 | 1800 | 36000
27 | 50mm dia for | R.M. | 3 | 450 | 1350 | 450 | 1350 | 450 | 1350 | 415 | 1245 | 550 | 1650 | 550 | 1650 | 550 | 1650 | 550 | 1650 | 1350 | 4050 | 800 | 2400 | 1100 | 3300 | 1100 | 3300
28 | CHAMBER and GRATING
29 | INSPECTION CHAMBER - Supply, Laying, Testing and Commissioning of Approved SS Inspection Chamber along of Size- 450mmx450mm with SS Cover and SS Grating over it and perforated sheet. Make Jaquar or Ozone. Including trenching and finishing with ceramic tiles as per dwg and details with proper water proofing to avoid any issues | Nos. | 4 | 18500 | 74000 | 15000 | 60000 | 15000 | 60000 | 13950 | 55800 | 12000 | 48000 | 12000 | 48000 | 12000 | 48000 | 12000 | 48000 | 13000 | 52000 | 12000 | 48000 | 12000 | 48000 | 12000 | 48000
30 | OPEN GRATING - Providing and Fixing 20mm heavy quality SS triple layer Grating along with Perforated Mesh and Angle Frame of width 200mm, complete as per detail Drawings. Rate inclusive of chamber construction with water proofing and tiles fixing with grouting etc. Size - 1000mm x 200mm | Nos. | 1 | 19500 | 19500 | 16500 | 16500 | 16500 | 16500 | 15000 | 15000 | 0 | 0 | 0 | 0 | 1200 | 1200 | 1200 | 1200 | 20000 | 20000 | 15000 | 15000 | 20000 | 20000 | 20000 | 20000
31 | FLOOR TRAP - Supply, Laying, Testing and Commissioning of 100x100mm Floor Trap with Approved Make heavy duty round or Square. Cockroach trap to be given. Proper water proffing to be done to avoid any leakages | Nos. | 4 | 3000 | 12000 | 2000 | 8000 | 2000 | 8000 | 1850 | 7400 | 1250 | 5000 | 1250 | 5000 | 1200 | 4800 | 1200 | 4800 | 1200 | 4800 | 1200 | 4800 | 1200 | 4800 | 1200 | 4800
32 | VALVE AND TAP
33 | ANGLE VALVE - Providing and Fixing Angle Valve with connector pipe. | Nos. | 12 | 2500 | 30000 | 2000 | 24000 | 2000 | 24000 | 1800 | 21600 | 1200 | 14400 | 1200 | 14400 | 1150 | 13800 | 1150 | 13800 | 1150 | 13800 | 1150 | 13800 | 1150 | 13800 | 1150 | 13800
34 | LONG BODY TAP for hand wash sink - Providing and Fixing Sink Cock. with foot operated | Nos. | 1 | 5000 | 5000 | 4500 | 4500 | 4500 | 4500 | 4150 | 4150 | 15000 | 15000 | 15000 | 15000 | 6500 | 6500 | 6500 | 6500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500
35 | LONG BODY TAP for sink - Providing and Fixing Sink Cock. | Nos. | 1 | 5000 | 5000 | 2000 | 2000 | 2000 | 2000 | 1850 | 1850 | 12000 | 12000 | 12000 | 12000 | 3200 | 3200 | 3200 | 3200 | 1450 | 1450 | 1450 | 1450 | 1800 | 1800 | 1800 | 1800
36 | Gate Valves - Providing and Fixing PPR Ball Valve ISI mark. (For Inlet) | Nos. | 2 | 3500 | 7000 | 3000 | 6000 | 3000 | 6000 | 2750 | 5500 | 2000 | 4000 | 2000 | 4000 | 2000 | 4000 | 2000 | 4000 | 4250 | 8500 | 4250 | 8500 | 4250 | 8500 | 4250 | 8500
37 | ACCESSORIES
38 | Grease Trap connections - Grease trap connections with all fittings or accessories | Nos. | 1 | 20500 | 20500 | 10000 | 10000 | 10000 | 10000 | 9000 | 9000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000
39 | Handwash sink connections - complete drain and supply connections with all fittings or accessories | Nos. | 1 | 7000 | 7000 | 5000 | 5000 | 5000 | 5000 | 4500 | 4500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500
40 | S.S. Grating or coackroach trap - Providing and Fixingof S.S. cockroach trap with proper water proofing as per drawings. | Nos. | 4 | 3000 | 12000 | 1500 | 6000 | 1500 | 6000 | 1350 | 5400 | 2500 | 10000 | 2500 | 10000 | 900 | 3600 | 900 | 3600 | 750 | 3000 | 750 | 3000 | 750 | 3000 | 750 | 3000
41 | Water Meter - 25mm Dia Water meter | Nos. | 1 | 9500 | 9500 | 9500 | 9500 | 9500 | 9500 | 8800 | 8800 | 12500 | 12500 | 12500 | 12500 | 10000 | 10000 | 10000 | 10000 | 14000 | 14000 | 9500 | 9500 | 11000 | 11000 | 11000 | 11000
42 | GEYSER - 20 LITER GEYSER | Nos. | 1 | 30000 | 30000 | 25000 | 25000 | 25000 | 25000 | 23250 | 23250 | 18000 | 18000 | 18000 | 18000 | 15000 | 15000 | 15000 | 15000 | 14500 | 14500 | 13000 | 13000 | 14000 | 14000 | 14000 | 14000
43 | Water supply connection - water supply connection taken from existing point complete with all necessary fittings or accessories. | Nos. | 1 | 10500 | 10500 | 7500 | 7500 | 7500 | 7500 | 6900 | 6900 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
44 | Drainage connection - Drainage connection connect to existing drain point complete with all necessary fittings including cleanout plug, fittings to be match with CI drain pipe tap off given from airport authority. Testing to be done with sign off from airport authorities engg team. | Nos. | 1 | 10500 | 10500 | 7500 | 7500 | 7500 | 7500 | 6900 | 6900 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
45 | Commercial RO plant - 100 Litre capacity with wall hanging arrangements - Providing and fixing of commercial RO with water storage with all required necessary valves, Fittings and required pressure Pump for the same with automatic cut off sensor or electrical cables or connections. included all fittings or accessories. Also drain point to be given | Nos. | 1 | 110000 | 110000 | 110000 | 110000 | 0 | 0 | 0 | 0 | 25000 | 25000 | 25000 | 25000 | 0 | 0 | 0 | 0 | 39000 | 39000 | 1 | 1 | 1 | 1 | 1 | 1
46 | Water Tank - Providing and fixing of 200 Ltr. Storage Loft Tank on MS Platform with all necessary valves and fitting required. | Nos. | 1 | 15000 | 15000 | 12000 | 12000 | 12000 | 12000 | 11000 | 11000 | 7000 | 7000 | 7000 | 7000 | 5000 | 5000 | 5000 | 5000 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500
3 | Smoke Detector | NOS | 1 |  | 27600 |  | 27600 |  | 23850 |  | 23850 |  | 81000 |  | 81000 |  | 56000 |  | 56000 |  | 41350 |  | 41350 |  | 38850 |  | 38850
47 | R1 (RESPONSE INDICATORS) - Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Response indicators are connected to automatic fire detectors in order to indicate quickly the source of an alarm signal from detectors which are not easily accessible or visible. They light up as soon as the connected fire detector gives an alarm.(Wiring from switches to panel and stair case pressurization not included) | Nos | 1 | 700 | 700 | 700 | 700 | 600 | 600 | 600 | 600 | 4200 | 4200 | 4200 | 4200 | 4200 | 4200 | 4200 | 4200 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000
48 | HD (HEAT DETECTOR) INSTALL NEAR HOOD - Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) A heat detector is a fire alarm device designed to respond when the convected thermal energy of a fire increases the temperature of a heat sensitive element. The thermal mass and conductivity of the element regulate the rate flow of heat into the element. All heat detectors have this thermal lag (Wiring from switches to panel and stair case pressurization not included) Honeywell Notifier | Nos | 1 | 5750 | 5750 | 5750 | 5750 | 5000 | 5000 | 5000 | 5000 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900
49 | Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Manual call points are used to initiate an alarm signal, and operate by means of a simple button press or when glass is broken revealing a button. They can form part of a manual alarm system or an automatic alarm system.Model Honeywell Notifier and FM approved with GI mounting Box | Nos | 1 | 950 | 950 | 950 | 950 | 800 | 800 | 800 | 800 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 7100 | 7100 | 7100 | 7100 | 7100 | 7100 | 7100 | 7100
50 | H (HOOTER) - Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) Fire Alarm Systems. A fire alarm system is a electrical electronic system which is connected with many type of devices such as main panel, smoke heat detectors, mcp, sounder etc.. to detect the fire event by indiacating audio or visualize signal at the main or individual devices.Model Honeywell Notifier with GI mounting Box | Nos | 1 | 3250 | 3250 | 3250 | 3250 | 2750 | 2750 | 2750 | 2750 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 9200 | 9200 | 9200 | 9200 | 9200 | 9200 | 9200 | 9200
51 | SD (SMOKE DETECTOR ABOVE CEILING) - Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay.Model Honeywell Notifier. | NOS | 1 | 4950 | 4950 | 4950 | 4950 | 4200 | 4200 | 4200 | 4200 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4900 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700
52 | SD (SMOKE DETECTOR BELOW CEILING) - Providing and fixing electrically operated flow indicating mechanical foam type (ISI marked) An optical smoke detector. Smoke enters through the slits around the side, triggering an electronic horn, which sounds through the large circular opening on the right. The dark circle in the middle is a test button with a built-in LED that flashes to show the detector is working okay. Model Honeywell Notifier. | NOS | 1 | 5750 | 5750 | 5750 | 5750 | 5000 | 5000 | 5000 | 5000 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 5500 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700 | 4700
53 | FIRE ALARM SYSTEM LOOPING | RMT. | 25 | 250 | 6250 | 250 | 6250 | 220 | 5500 | 220 | 5500 | 2000 | 50000 | 2000 | 50000 | 1000 | 25000 | 1000 | 25000 | 350 | 8750 | 350 | 8750 | 250 | 6250 | 250 | 6250
4 | Electrical Work | NOS | 1 |  | 495625 |  | 372350 |  | 372350 |  | 352700 |  | 376860 |  | 376860 |  | 312960 |  | 312960 |  | 733630 |  | 410605 |  | 409168 |  | 409168
54 | DISTRIBUTION BOARDS - Supply, erection, testing and commissioning of the following sheet steel clad wall recess mounting dust and vermin proof double door type distribution boards constructed from 16 SWG sheet steel IP 42 construction, finished with rust proof duly powder coated in approved shade with hinged gasketed door and housing the following complete with P.V.C. insulated copper busbars rated 200 amp with interconnections, neutral and earth bar assembly per phase, earthing terminals complete as approved by Architects. Note All MCBs in distribuition board for power circuits shall be of C curve
55 | Lighting and Power DB with tagging as per drawings - 1-63 amp FP MCB with 3 single phase banks each comprising of 63A DP RCCB(30 mA) and 8 nos. 6 or 16 or 20 or 25 amps SP 10 kA MCB(Type C) with thermal magnetic protective releases out goings. | Set | 1 | 45000 | 45000 | 35000 | 35000 | 35000 | 35000 | 33000 | 33000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 45000 | 38000 | 38000 | 38000 | 38000 | 38000 | 38000 | 38000 | 38000
56 | Supply, laying, testing and commissioning of following sizes of Al or Cu. conductor 1.1 kV grade, armoured, XLPE insulated FRLS LT Cables or Control Cables including necessary cleats, clamps etc. (Cables shall be partly laid in Pipes, O or H cable tray, on wall as required )
57 | 4C – 16.0 (Cu.) FRLS Armoured XLPE Cable | Mtrs | 20 | 2000 | 40000 | 1500 | 30000 | 1500 | 30000 | 1400 | 28000 | 1990 | 39800 | 1990 | 39800 | 1490 | 29800 | 1490 | 29800 | 15150 | 303000 | 1515 | 30300 | 1515 | 30300 | 1515 | 30300
58 | 3C – 4.0 (Cu.) FRLS Armoured XLPE Cable | Mtrs | 25 | 470 | 11750 | 400 | 10000 | 400 | 10000 | 380 | 9500 | 550 | 13750 | 550 | 13750 | 500 | 12500 | 500 | 12500 | 600 | 15000 | 600 | 15000 | 564 | 14100 | 564 | 14100
59 | Supply, erection, testing and commissioning of following sizes of cable end terminations with Double compression gland for 1.1 kV grade, XLPE insulated, Al or Cu Conductor cable
60 | 4C – 16.0 (Cu.) FRLS Armoured XLPE Cable | Nos. | 2 | 1200 | 2400 | 900 | 1800 | 900 | 1800 | 850 | 1700 | 900 | 1800 | 900 | 1800 | 750 | 1500 | 750 | 1500 | 900 | 1800 | 900 | 1800 | 865 | 1730 | 865 | 1730
61 | 3C – 4.0 (Cu.) FRLS Armoured XLPE Cable | Nos. | 2 | 500 | 1000 | 450 | 900 | 450 | 900 | 430 | 860 | 680 | 1360 | 680 | 1360 | 580 | 1160 | 580 | 1160 | 475 | 950 | 475 | 950 | 460 | 920 | 460 | 920
62 | Wiring for DB Submains with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in surface or concealed MS surface or concealed conduit including cost of providing saddles etc as required for surface conduiting and or or cost of cutting and filling chases as required and making suitable end termination with copper lugs complete as required and as below
63 | 4 x 6 sq.mm + 2 No. 4.0 Sq. mm in 32 mm dia MS Conduit | Mtrs | 25 | 2300 | 57500 | 1650 | 41250 | 1650 | 41250 | 1550 | 38750 | 480 | 12000 | 480 | 12000 | 480 | 12000 | 480 | 12000 | 1600 | 40000 | 1600 | 40000 | 1600 | 40000 | 1600 | 40000
64 | 2 x 4 sq.mm + 1 No. 2.5 Sq. mm in 25 mm dia MS Conduit | Mtrs | 115 | 800 | 92000 | 600 | 69000 | 600 | 69000 | 575 | 66125 | 290 | 33350 | 290 | 33350 | 250 | 28750 | 250 | 28750 | 570 | 65550 | 570 | 65550 | 570 | 65550 | 570 | 65550
65 | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts or in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required
66 | 25X3 mm GI Strip | Mtrs | 25 | 375 | 9375 | 270 | 6750 | 270 | 6750 | 260 | 6500 | 160 | 4000 | 160 | 4000 | 160 | 4000 | 160 | 4000 | 1850 | 46250 | 225 | 5625 | 225 | 5625 | 225 | 5625
67 | 8 SWG Copper Wire | Mtrs | 30 | 350 | 10500 | 300 | 9000 | 300 | 9000 | 280 | 8400 | 400 | 12000 | 400 | 12000 | 350 | 10500 | 350 | 10500 | 350 | 10500 | 350 | 10500 | 193 | 5790 | 193 | 5790
68 | 8 SWG GI Wire | Mtrs | 20 | 175 | 3500 | 120 | 2400 | 120 | 2400 | 110 | 2200 | 150 | 3000 | 150 | 3000 | 150 | 3000 | 150 | 3000 | 85 | 1700 | 85 | 1700 | 35 | 700 | 35 | 700
69 | Supply, erection, testing and commissioning of prefabricated GI Perforated type cable trays including Tees or Bends or Crossing or Reducers or Couping to be laid in cable trench, overhead on wall or hanged from ceiling complete with all accessories as required including support at every 1500mm as required
70 | 150 mm x 40 x 40 x 2 mm thick | Mtrs | 25 | 750 | 18750 | 650 | 16250 | 650 | 16250 | 625 | 15625 | 1050 | 26250 | 1050 | 26250 | 850 | 21250 | 850 | 21250 | 975 | 24375 | 975 | 24375 | 1162 | 29050 | 1162 | 29050
71 | Wiring for MCB controlled normal primary light points or Wall Point or Floor Point with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | Pt | 1 | 3500 | 3500 | 2500 | 2500 | 2500 | 2500 | 2400 | 2400 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 3925 | 3925 | 3925 | 3925 | 3924 | 3924 | 3924 | 3924
72 | Wiring for secondary MCB controlled normal light points or Wall Point or Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt | 2 | 1900 | 3800 | 1500 | 3000 | 1500 | 3000 | 1450 | 2900 | 950 | 1900 | 950 | 1900 | 950 | 1900 | 950 | 1900 | 1645 | 3290 | 1645 | 3290 | 1645 | 3290 | 1645 | 3290
73 | Wiring for MCB controlled Emergency primary light points or Wall Point or Floor Point with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm dia 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq. mm PVC insulated copper conductor wire for loop earthing etc. complete as required. (Cost of MCB included in the item for per DB). | Pt | 1 | 3500 | 3500 | 3000 | 3000 | 3000 | 3000 | 2800 | 2800 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 3925 | 3925 | 3925 | 3925 | 3924 | 3924 | 3924 | 3924
74 | Wiring for secondary MCB controlled Emergency light points or Wall Point or Floor Point( Looped from above point) with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade FRLS wires in 25 mm 16 SWG MS conduit in wall or ceiling including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including the cost of running 1.5 Sq mm PVC insulated copper conductor wire for loop earthing etc. complete as required. | Pt | 1 | 1900 | 1900 | 1500 | 1500 | 1500 | 1500 | 1450 | 1450 | 950 | 950 | 950 | 950 | 950 | 950 | 950 | 950 | 1645 | 1645 | 1645 | 1645 | 1645 | 1645 | 1645 | 1645
75 | Wiring for switch controlled primary light points with 1.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25 mm dia 16 SWG MS concealed or surface conduit including cost of cutting and filling chases for recessed conduiting and supports in case of Surface conduit including all bends , saddles , Junction boxes etc. including the cost of running 1.5 sq. mm PVC insulated copper conductor wire for loop earthing etc. and including providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade FRLS wires and including the cost of providing and fixing a 6 amp 240 Volt grid plate mounted switch with moulded cover plate in GI box and complete as required ( Switch shall be as approved by the architect or Client) | Pt. | 1 | 3000 | 3000 | 2500 | 2500 | 2500 | 2500 | 2400 | 2400 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 4400 | 4400 | 4400 | 4400 | 4500 | 4500 | 4500 | 4500
76 | Wiring for a 5 pin 240 volt 6 amp single phase and neutral switch socket outlet with 2.5 sq. mm PVC insulated stranded copper conductor 1100 Volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall or ceiling including cost of providing circuit wiring with 2.5 sq mm PVC insulated stranded copper conductor 1100 volt grade wires and including cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and providing and fixing of a combined 5 pin 240 volt 6 amp socket outlet with safety shutters and 6 amp 240 volt single pole grid plate mounted switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires complete as requied( Switch and socket shall be as approved by the architect or Client) | Pt. | 3 | 4500 | 13500 | 3000 | 9000 | 3000 | 9000 | 2850 | 8550 | 1500 | 4500 | 1500 | 4500 | 1500 | 4500 | 1500 | 4500 | 4500 | 13500 | 4500 | 13500 | 4500 | 13500 | 4500 | 13500
77 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 2.5 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall or Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 1.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect or Client) | Pt. | 1 | 5000 | 5000 | 3500 | 3500 | 3500 | 3500 | 3350 | 3350 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 2200 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500
78 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (1 outlet wired on 1 circuit) with 4.0 sq. mm PVC insulated stranded copper conductor 1100 volt grade wires (FRLS) in 25mm dia 16 SWG MS conduit in wall or Ceiling including the cost of cutting and filling chases for recessed conduiting and supports in case of surface conduit including all bends , saddles , Junction boxes etc and including providing and fixing 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted modular type switch with moulded cover plate in recessed GI box and including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wires and complete as requied( Switch and socket shall be as approved by the architect or Client) | Pt. | 8 | 5000 | 40000 | 3000 | 24000 | 3000 | 24000 | 2850 | 22800 | 2500 | 20000 | 2500 | 20000 | 2500 | 20000 | 2500 | 20000 | 6400 | 51200 | 6400 | 51200 | 5400 | 43200 | 5400 | 43200
79 | Wiring for 6 pin 240 volt 16 amp single phase and neutral switch socket outlets (2 outlets wired on 1 circuit) with PVC insulated stranded copper conductor 1100 volt grade wires (FRLS), 4.0 sq mm upto the first outlet and 2.5 sq mm from first to the second outlet in 25mm dia 16 SWG MS conduit in wall or Ceiling including cost of providing saddles etc as required for surface conduiting and or or cost of cutting and filling chases and including providing and fixing of two sets of 6 pin 240 volt 16 amp socket outlet with safety shutters and 16 amp 240 volt single pole grid plate mounted switches with moulded cover plate in a recessed GI box including earthing of the 3rd pin with 2.5 sq mm 1100 volt grade PVC insulated stranded copper conductor wire complete as required. (Switch or Socket Shall be as per approved sample by Architect) | Pt. | 3 | 5800 | 17400 | 4000 | 12000 | 4000 | 12000 | 3800 | 11400 | 2500 | 7500 | 2500 | 7500 | 2500 | 7500 | 2500 | 7500 | 6800 | 20400 | 6800 | 20400 | 6400 | 19200 | 6400 | 19200
80 | Supply installation testing and fixing 3 pin 16A or 20A , 240V , single Phase metal Clad industrial socket outlet with 16A or 20A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | Nos. | 3 | 3600 | 10800 | 3000 | 9000 | 3000 | 9000 | 2850 | 8550 | 5000 | 15000 | 5000 | 15000 | 4500 | 13500 | 4500 | 13500 | 1200 | 3600 | 1200 | 3600 | 1200 | 3600 | 1200 | 3600
81 | Supply installation testing and fixing 3 pin 25A or 32A , 240V , single Phase metal Clad industrial socket outlet with 25A or 32A DP MCB and complete in all respects( Wiring Excluded from scope of this item) | Nos. | 4 | 4000 | 16000 | 3000 | 12000 | 3000 | 12000 | 2850 | 11400 | 6000 | 24000 | 6000 | 24000 | 5500 | 22000 | 5500 | 22000 | 1450 | 5800 | 1450 | 5800 | 1450 | 5800 | 1450 | 5800
82 | Supply installation testing and fixing 5 pin 32A , 415V , Three Phase metal Clad industrial socket outlet with 32A FP MCB and complete in all respects( Wiring Excluded from scope of this item) | Nos. | 1 | 22000 | 22000 | 15000 | 15000 | 15000 | 15000 | 14000 | 14000 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 18700 | 18700 | 9000 | 9000 | 18700 | 18700 | 18700 | 18700
83 | Supply and Installation of following in wall mounted MS enclosure - 32A or 25A DP RCBO | Nos | 1 | 10750 | 10750 | 10750 | 10750 | 10750 | 10750 | 10000 | 10000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 750 | 750 | 750 | 750 | 750 | 750 | 750 | 750
84 | Supply and installation of flush mounted (Enhanced Category 6T 568 A or B) outlets with 2 mm thick GI box complete including cutting, chases, fixing of GI boxes and making good. The plastic shall be high impact, flame-retardant, UL rate thermoplastic. Dust cover or blank shall be provided to protect unused faceplate openings. Termination caps and plastic cover shall be provided to protect jack wiring. Single outlet face plate with RJ-45 Jack with information outlet | Nos. | 1 | 950 | 950 | 650 | 650 | 650 | 650 | 600 | 600 | 1200 | 1200 | 1200 | 1200 | 850 | 850 | 850 | 850 | 570 | 570 | 570 | 570 | 570 | 570 | 570 | 570
85 | Supply, installation, testing, commissioning and laying of Category 6A cable in existing conduits or raceways including Numbering-ferruling, bunching, tagging, computerised labeling of utp cable , Input and Output termination or Punching at both the ends , (both side i.e. user and rack) Cable Dressing etc as required . | Mtrs | 30 | 135 | 4050 | 135 | 4050 | 135 | 4050 | 120 | 3600 | 150 | 4500 | 150 | 4500 | 135 | 4050 | 135 | 4050 | 410 | 12300 | 410 | 12300 | 410 | 12300 | 410 | 12300
86 | Supplying,installation and commisioning of CAT-6A patch cords 2 mtrs. | Nos | 1 | 900 | 900 | 850 | 850 | 850 | 850 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100 | 1100
87 | Supplying,installation and commisioning of CAT-6A patch cords 1 mtr. | Nos | 1 | 700 | 700 | 600 | 600 | 600 | 600 | 540 | 540 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550
88 | Supply , fixing and Laying 16 SWG MS conduits on surface or concealed complete with PVC junction boxes, cover plates, bends, saddles, base and other accessories all made in PVC with GI screws as required to complete the job. 20 mm dia 16 SWG MS conduit | Mtrs | 30 | 210 | 6300 | 210 | 6300 | 210 | 6300 | 200 | 6000 | 200 | 6000 | 200 | 6000 | 200 | 6000 | 200 | 6000 | 220 | 6600 | 220 | 6600 | 220 | 6600 | 220 | 6600
89 | Supply and fixing of air curtain with automatic sensor - 4ft - Euronics or Russell | Nos. | 1 | 35000 | 35000 | 25000 | 25000 | 25000 | 25000 | 24000 | 24000 | 35000 | 35000 | 35000 | 35000 | 32000 | 32000 | 32000 | 32000 | 18500 | 18500 | 18500 | 18500 | 18500 | 18500 | 18500 | 18500
90 | Installation of following light fixtures including connections and complete in all respects - 25 or 15 or 12Watt Recessed Down Lighter | No. | 15 | 320 | 4800 | 320 | 4800 | 320 | 4800 | 300 | 4500 | 2900 | 43500 | 2900 | 43500 | 650 | 9750 | 650 | 9750 | 750 | 11250 | 750 | 11250 | 750 | 11250 | 750 | 11250
5 | Fire Sprinkler System | NOS | 1 |  | 131790 |  | 131790 |  | 131940 |  | 118632 |  | 271000 |  | 271000 |  | 271000 |  | 271000 |  | 97373 |  | 97373 |  | 87754 |  | 87754
91 | Providing, Laying, Jointing and Testing of Pipes for Sprinkler System - G.I Pipe confirming IS Codes Class `C Heavy Pipe and with necessary support and anchore fastening from slab.
92 | 25 mm dia | Rmt. | 14 | 400 | 5600 | 400 | 5600 | 350 | 4900 | 300 | 4200 | 1100 | 15400 | 1100 | 15400 | 1100 | 15400 | 1100 | 15400 | 621 | 8694 | 621 | 8694 | 550 | 7700 | 550 | 7700
93 | 40 mm dia | Rmt. | 12 | 475 | 5700 | 475 | 5700 | 400 | 4800 | 350 | 4200 | 1450 | 17400 | 1450 | 17400 | 1450 | 17400 | 1450 | 17400 | 900 | 10800 | 900 | 10800 | 700 | 8400 | 700 | 8400
94 | Synthetic Enamel Paint.
95 | 25 mm dia | Rmt. | 14 | 40 | 560 | 40 | 560 | 40 | 560 | 37 | 518 | 100 | 1400 | 100 | 1400 | 100 | 1400 | 100 | 1400 | 75 | 1050 | 75 | 1050 | 25 | 350 | 25 | 350
96 | 40 mm dia | Rmt. | 12 | 40 | 480 | 40 | 480 | 40 | 480 | 37 | 444 | 100 | 1200 | 100 | 1200 | 100 | 1200 | 100 | 1200 | 120 | 1440 | 120 | 1440 | 40 | 480 | 40 | 480
97 | Providing and Fixing of Butterfly Valve. - 65mm dia | No. | 1 | 6000 | 6000 | 6000 | 6000 | 6000 | 6000 | 5450 | 5450 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 7500 | 7500 | 7500 | 7500 | 5500 | 5500 | 5500 | 5500
98 | Providing and Fixing of Ball Valve. - 65 mm dia | No. | 1 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 6800 | 6800 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5600 | 5600 | 5600 | 5600 | 5600 | 5600 | 5600 | 5600
99 | HEADER FITTING.
100 | Flow Switch | No. | 1 | 11500 | 11500 | 11500 | 11500 | 11500 | 11500 | 10000 | 10000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 9200 | 9200 | 9200 | 9200 | 9200 | 9200 | 9200 | 9200
101 | Pressure Gauge | No. | 1 | 5000 | 5000 | 5000 | 5000 | 8100 | 8100 | 7350 | 7350 | 7000 | 7000 | 7000 | 7000 | 7000 | 7000 | 7000 | 7000 | 2128 | 2128 | 2128 | 2128 | 2128 | 2128 | 2128 | 2128
102 | Air Release Valve | No. | 1 | 3200 | 3200 | 3200 | 3200 | 3000 | 3000 | 2730 | 2730 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 3232 | 3232 | 3232 | 3232 | 3200 | 3200 | 3200 | 3200
103 | 80 mm dia NRV | No. | 1 | 8500 | 8500 | 8500 | 8500 | 7500 | 7500 | 6800 | 6800 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 8585 | 8585 | 8585 | 8585 | 8500 | 8500 | 8500 | 8500
104 | Providing and Fixing C.P. Brass 79 degree(QR) Quartzoid Bulb Sprinklers. Make Tyco or viking temp rating standard coverage discharge coefficent k- 6.6 quick response UL listed and EN approved for high temperature area in Kitchen temprating shall
105 | Pendant Type | No. | 6 | 1500 | 9000 | 1500 | 9000 | 1950 | 11700 | 1775 | 10650 | 2800 | 16800 | 2800 | 16800 | 2800 | 16800 | 2800 | 16800 | 650 | 3900 | 650 | 3900 | 437 | 2622 | 437 | 2622
106 | UP Right Type | No. | 6 | 1500 | 9000 | 1500 | 9000 | 2150 | 12900 | 1965 | 11790 | 2800 | 16800 | 2800 | 16800 | 2800 | 16800 | 2800 | 16800 | 650 | 3900 | 650 | 3900 | 455 | 2730 | 455 | 2730
107 | Flexible Sprinkler Drop. - 25mm | No. | 12 | 4500 | 54000 | 4500 | 54000 | 4000 | 48000 | 3600 | 43200 | 12500 | 150000 | 12500 | 150000 | 12500 | 150000 | 12500 | 150000 | 2358 | 28296 | 2358 | 28296 | 2358 | 28296 | 2358 | 28296
108 | Drain Valve | No. | 1 | 5750 | 5750 | 5750 | 5750 | 5000 | 5000 | 4500 | 4500 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 3048 | 3048 | 3048 | 3048 | 3048 | 3048 | 3048 | 3048