## Summary
| KIMS Foor Kiosk | Costings
SR. NO. | Description of work | New Web Designer | Altitude | Intercare
1 | Kiosk Design & Build | 934910 | 4434000 | 2514000
| Total with 18% GST | 1103193.8 | 5232120 | 2966520
L1

## New Web Designer
NEW DESIGNER WEB PVT LTD
Interiors - Architecture - Exhibitions - Product Design
BOQ for KIMS FOOD KIOSK
Client : KIMS | [5 empty] | Date : 04/09/24
Location : Begumpet, Hyderabad
BOQ for Civil & Plumbing works
S.No | Description | Units | Qty | BOQ Rate | Amount | Remarks
A | Civil & Plumbing
1 | Providing and fixing of tiles on the outside counter front side in approved pattern, Vitrified wall tiles on shera board with size 800 x 1200mm.pasting with tile adhesive (Basic rate of vitrfied tiles Rs 160/- per Sft.) - Make - Somany /Kajaria/ Johnson | Sft | 95 | 270 | 25650
2 | Providing and fixing of dado tiles on Shera board above 600mm height in approved pattern, Vitrified wall tiles of size 600 x 600mm.pasting with tile adhesive (Basic rate of vitrfied tiles Rs 160/- per Sft.) - Make - Somany /Kajaria/ Johnson. | SFT | 62 | 270 | 16740
3 | Supplying and fixing of Nirali Sinks - 350 x 400 mm including taps and fittings | No | 1 | 20000 | 20000
4 | Supply and Fixing of Internal plumbing work by using required pipes and labour charges as per the design (Internal pluming work only ) | No | 1 | 15000 | 15000
5 | Demolition and debris removal making the site to zero excluding existing Ceiling | LS | 1 | 20000 | 20000
6 | Demolition and debris removal making the site to zero including existing Ceiling | LS | R/o | 27500
| Total for Civil and Plumbing |  |  |  | 97390
BOQ for Interiors
S.No | Description | Units | Qty | BOQ Rate | Amount | Remarks
1 | Storages with shutters 18mm HDHMR board with inside 0.8mm laminate and Out side 1mm laminate of approved code, soft close hinges and Concealed Handles as per design | SFT | 120 | 1320 | 158400
2 | Storages with shutters 18mm boilo board with inside 0.8mm laminate and Out side 1mm laminate of approved code, soft close hinges and Concealed Handles as per design (Option) | SFT | R/o | 1620
3 | Aluminium Frame Partition -75 mm (AI Frame + GlassWool + Both Side of one layer gypsum skinning+ Both side of one layer 8mm Shera board) Providing & fixing in place partitions of 75 mm thick full height partition with single layer of 12.5 mm thk. gypsum board upto true ceiling level on both sides of metal framework as per manufacturer's specifications and approval. Providing and fixing of aluminium frame work as per drawing , made of Aluminium extruded sections of size 50x25mmx1.2mm thick in both horizontal and vertical direction at 600 mm c/c spacing. (for partition all the vertical frames shall be continuous and screw fixed in the flooring and bottom of true ceiling and the alternative vertical frames should be anchored in the ceiling RCC slab above the false ceiling at top with additional 'Y' supports). The cost inclusive of of necessary hardware's, wastage, scaffolding, lead and lift to all level etc.; as required for complete the works. Glass Wool : Providing and fixing of Mineral Glass wool of 50mm thick of density 32 kg/m3 blanket wrapped suitably with RP tissue affixed to partition framework using where necessary GI binding wire, duct tape as instructed. Claddings :The framework to be cladded till false ceiling on both sides with 12.5 mm thk. and both sides edge gypsum boards in line and level screw fixed with 25 mm dry wall screws @ 300 mm c/c, boarding with staggered joints so as to avoid through joints, finished with propietory jointing tape and compound as per manufacturer's specifications. Joints to be sand. -papered to achieve smooth and seamless finish. Providing and fixing of 8mm thick Shera board both sides on the installed partition framework of approved make as per the detail drawing. The cost inclusive of necessary hardware's, adhesives, scaffolding, wastages etc.; as required for complete the works. | Sft | 250 | 390 | 97500
4 | Flush Door : Providing & fixing of below mentioned sized doors with wooden Frame : Using 32 mm Thk. Solid core water proof flush door shutter having 1mm thick laminate on both sides as shown in the drwg. The frame of the door to be wrapped with laminate on all exposed sides. The door should include all necessary hardwares like 4 Nos heavy duty brushed steel hinges with counter sunk screws, mortice lock, SS handles, door stopper , door closer of approved make & model. Size : 750 x 2100 mm | No | 1 | 25000 | 25000
5 | Providing & fixing of below mentioned sized doors with wooden Frame : Using 32 mm Thk. Solid core water proof flush door shutter having 1mm thick laminate on both sides as shown in the drwg. The frame of the door to be wrapped with laminate on all exposed sides. The door should include all necessary hardwares like 4 Nos heavy duty brushed steel hinges with counter sunk screws, mortice lock, SS handles, door stopper , door closer of approved make & model. Size : 750 x 1100 mm | No | 1 | 15000 | 15000
6 | Providing and applying of 2 coats of putty, 1 coat of primer and one coat of paint of approved make and shade, luster finish and to give and even and shade, including preparation of surface ,applying cement-primer of approved make etc.Partitions (synthetic enamel paint) | Sft | 210 | 55 | 11550
7 | Granite Running Counter - Providing and fixing of black granite running Counter 900mm high as per detail drawing. with 18 mm thk. granite as per design and detail. Basic cost of granite Rs.250/sft. | Rft | 65 | 745 | 48425
8 | Engineered stone with both side double moulding Basic rate Rs.500/rft | Rft | 12 | 1100 | 13200
9 | CABIN TABLE Main Table Size:L 1500 W X 750 D X 750 HT Side Composite storage Size:L 1050 W X 450 D X 750 HT Table top : 25mm thick Pre-laminate particle board finished with 2mm edge lipping. UnderStructure- MS Powder Coated COLOURS LEGand Supporting on MS Powder Coated Cross beams (40X20). Modesty Panel : plb Modesty Panel of 450 mm ht is considered Wire Management: Aluminium 350mm Flip Up with PVC Cable Dump and Vertebra considerd for wire passage. COMPOSITE STORAGE : Specifications: Table Top: 18mm Thk pre laminated particle board Back: 9mm Thk pre laminated particle board with 2mm PVC edge lipping Shutters: 18mm Thk pre laminated particle board Edge: All exposed area with 2mm thick PVC edge lipping Handle: Finger Groove handle in anodised finish Lock: Regular lock | No.s | 1 | 25000 | 25000
10 | Anatom Medium Back Mesh Chair AC 60 Mesh Fabric Upholstered Cushion Seat Multilock Mechanism Adjustable Lumbar Support One Way Adjustable Arms (Height) Nylon Base FP ANATOM MB ML ADJ ARMS | No.s | 2 | 9600 | 19200
11 | Back lit Logo & Signage | No.s | 1 | 25000 | 25000
12 | Approved 3m graphics with lamination over oil primer and paint | Sft | 204.3 | 300 | 61290
13 | Barricades | SFT | 275 | 140 | 38500
| Total for Interiors |  |  |  | 538065
Electrical works
SL.NO | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
BOQ Rate
I | MCB & INDUSTRIAL SOCKET
A | Supply, Erection, Testing & Commissioning of 20/16A SP MCB | Nos | 8 | 350 | 2800
B | Supply, Erection, Testing & Commissioning of 20A 3 PIN Industrial socket with DP MCB in Enclosour. | Nos | 3 | 2800 | 8400
C | Supply, Erection, Testing & Commissioning of 20A 5 PIN Industrial socket with 4P MCB in Enclosour. | Nos | 2 | 4595 | 9190
| TOTAL |  |  |  | 20390
II | SUBMAINS (RAW POWER)
A | Supply, Laying of 3C 2.5sqmm PVC insulated copper wire in suitable dia pvc conduite with all accessories.(RP) | Mtrs | 200 | 225 | 45000
B | Supply, Laying of 3C 4sqmm PVC insulated copper wire in suitable dia pvc conduite with all accessories.(RP) | Mtrs | 100 | 295 | 29500
C | Supply, Laying of 4C 4sqmm PVC insulated copper wire in suitable dia pvc conduite with all accessories.(RP) | Mtrs | 40 | 375 | 15000
| TOTAL |  |  |  | 89500
III | SOCKETS
D | Supply, Erection, Testing & Commissioning of 1Nos 6/16A uni Sockets Controlled by 1No 16A switch in a single molded front plate but with back box with necessary accessories in the work station as required as per the site conditions. | Nos | 12 | 625 | 7500
| TOTAL |  |  |  | 7500
IV | Modification of Existing DB and dressing etc | LS | 1 | 540 | 540
V | Cutting chiping etc | LS | 1 | 4025 | 4025
| TOTAL |  |  |  | 4565
VI | LIGHT FIXTURES
A | Supply and Installation of Designer Lights. Basic rate Rs 4000 | No | 5 | 5500 | 27500
| TOTAL for Electrical |  |  |  | 149455
BOQ of AV
S No | Description | Units | Quantity | Rate | Amount | Location
1 | SAMSUNG Crystal 4K Vivid 108 cm (43 inch) 4K Ultra HD LED Tizen TV with Crystal Processor 4K | No | 1 | 45000 | 45000
| Total for AV |  |  |  | 45000
Design & Coordination
S No | Description | Units | Quantity | Rate | Amount | Location
1 | Design & coordination charges | No | 1 | 105000 | 105000
| Total fro Design & Coordination |  |  |  | 105000
| Total Before Taxes |  |  |  | 934910
| Grand Total (with 18% GST) |  |  |  | 1103193.8
Miscellenaous and contingency @ 5%
Note :
1) All works not in the scope of works should be approved with rates before execution.
2) Final Billing will be done as per actual quantities of works executed at site.
3) Existing ceiling and wooden Boxing is being retained as per our proposal.

## Altitude
Kisok Design & Fabrication - Life Co-Services, Hyderabad
Sr.No | Partticular | Specifications | Amount
1 | Design of Kisok | Time 1 wk for concept, 12 days for drawing , hence (20-21 days), Note - 2 times revision in deisgn while on concept stage and included in this , after concept the detailed drawings are madeand then if the concept changes then there will be some charges which will depend on the intensity of changes | 195000
2 | Renders of final design | 8-10 angles | 75000
3 | Civil | This to be discussed and cost shared is on basic idea after meeting discussion , deisgned shared in meeting and equipment details shared in CAD file to reiew, | 650000
4 | C&I |  | 2250000
5 | Electrical |  | 225000
6 | Lights |  | 85000
7 | Ventilation - Faber |  | 76500
8 | Plumbing ( With Pump & Sink and other accessories ) |  | 85000
9 | Main Signage's - 1 nos |  | 72500
10 | Menu Clippon - 3 Nos |  | 45000
11 | Other Branding - Vinyl & Non LIT |  | 150000
12 | Finishes |  | 500000
| Transport |  | 25000
| Total |  | 4434000
| Grand Total with 18% GST |  | 5232120

## Intercare(kaium)
Intercare EnterpriseNX
Always thinking of better Civil & Interior work
Date: 25-07-2024
Quotation for Civil & Interior work of Food kiosk Hyderabad project
Sr No. | Item Name | Unit | Qty | Unit Price | Amount
1 | Civil & Interior work | Sq ft | 200 | 9000 | 1800000
2 | Electrical work ( MT panel not include) | Sq ft | 200 | 950 | 190000
3 | Light fixture | LS | 1 | 35000 | 35000
4 | Dry Plumbing work | LS | 1 | 45000 | 45000
5 | Display TV ( 32") | Nos | 3 | 38000 | 114000
6 | CC TV camera work | LS | 1 | 75000 | 75000
7 | Fire fighting system | LS | 1 | 55000 | 55000
8 | Signage & advertising | LS | 1 | 75000 | 75000
9 | Kitchen chimney | Nos | 1 | 35000 | 35000
10 | Designer fees with 3D render | Sq ft | 200 | 450 | 90000
| Total without taxes |  |  |  | 2514000
| Total with 18% GST |  |  |  | 2966520
Our Terms& Conditions:
1. The rate are without texes
2. Need 50% advance of total amount with work order.
3. Balance upto 80% amount should be cleared as per RA bill submission.
4. Work completion period should be as per working schedule.
5. The rate are selected & approved make 710 BWP grade plywood.
6. Temporary electricity should be provided by client.
7. Legal permission or Mathadi Hamal issue should be care taken by client.
8. Quotation valid for 20th days from submitted date.