## decorative lights
COPPER CHIMNEY_R-CITY_GHATKOPAR LIGHTING DOCKET
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE | JORDANS LIGHTING (INDIA0 PRIVATE LIMITED |  | J C Lumieres
[11 empty] | PRICES | AMOUNT | PRICES | AMOUNT | Image
1 | L.E.D FILAMENT BULB | LT6 |  | 49 | HANGING CLEAR led filament bulb light with brass finish holder having 2m long wire - AS PER DWG /APPRD | Above banquet seating , | DIMMABLE | 3000K | 4W each | 75Ø Globe with additional cable | 1450 | 71050 | 950 | 46550
2 | DECORATIVE CEILING HANGING PENDANT LIGHT | LT7 |  | 4 | BRASS Welded metal pipe with milky glass globe hanging fixture | above curtain wall seating area | DIMMABLE | 3000 K | 40W each | 600mm Dia and height 300mm | 20000 | 80000 | 15750 | 63000
3 | DECORATIVE CEILING HANGING LIGHT | LT8 |  | 1 | BRASS Welded metal pipe with milky glass globe hanging fixture | Entrance area | DIMMABLE | 3000 K | 40W each | 450mm Land height200mm | 18500 | 18500 | 5750 | 5750
4 | WALL MOUNTED LIGHT | LT9 |  | 4 | 150mm white frosted glass globe with brass fixture | Wallpaper Wall | DIMMABLE | 3000 K | 40W each | 150 Ø Globe 200 Ø base plate | 4500 | 18000 | 2500 | 10000
[11 empty] | Total | 187550 | Total | 125300
[11 empty] | Packing | 3000 | Packing | 2250
[11 empty] | Freight | 6000 | Freight
[11 empty] | GST 18% | 35379 | GST 18% | 22959
[11 empty] | Grand Total | 231929 | Grand Total | 150509

## commercial + decorative
COPPER CHIMNEY_R-CITY_GHATKOPAR LIGHTING DOCKET
S.N | DESCRIPTION | CODE | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE | JORDANS LIGHTING (INDIA0 PRIVATE LIMITED |  | J C Lumieres |  | Cenzer |  | Fusion Design
[11 empty] | PRICES | AMOUNT | PRICES | AMOUNT | PRICES | AMOUNT | PRICES | AMOUNT
1 | SPOT LIGHT | LT1 |  | 11 | Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | Near Live Kitchen | DIMMABLE | 3000 K | 12W | 60 mm ring | 2250 | 24750 | 1250 | 13750 | 1850 | 20350 | 1100 | 12100
2 | CEILING SUSPENDED HANGING SPOT LIGHT | LT2 |  | 15 | ceiling suspended hanging spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | Restaurant area | DIMMABLE | 3000 K | 12W | 60 mm ring | 2450 | 36750 | 1850 | 27750 | 2200 | 33000 | 2000 | 30000
3 | 2' x 2' CONCEALED LIGHT | LT3 |  | 4 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | live kitchen & liquor store | NON DIMMABLE | 3000K | 36 W | 595 mm | 1450 | 5800 | 1550 | 6200 | 1500 | 6000 | 1550 | 6200
4 | 2' x 2' CONCEALED LIGHT | LT4 |  | 10 | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Kitchen area | NON DIMMABLE | 6000K | 36 W | 595 mm | 1450 | 14500 | 1550 | 15500 | 1500 | 15000 | 1550 | 15500
5 | FLEXIBLE L.E.D COVE LIGHT | LT5 |  | 30 | flexible led cove | Bar Display | DIMMABLE | 3000K | 5W each | - | 750 | 22500 | 200 | 6000 | 750 | 22500 | 350 | 10500
6 | PROFILE FOR STRIP LED | LT5 |  | 30 | Aluminium profile with diffuser | Bar Display | - | - | - | 8 mm profile | 220 | 6600 | 100 | 3000 | 750 | 22500 |  | 0
7 | TRACK LIGHT | TL1 |  | 2 | ceiling suspended Antique brass track | Bar Counter |  |  |  | 1200MM LENGTH | 1500 | 3000 | 1050 | 2100 | 5500 | 11000 | 1600 | 3200
8 | TRACK LIGHT | TL1 |  | 8 | Antique brass Cylindric lights with inbuild driver | Bar Counter | DIMMABLE | 3000K | 10 W | Ø 55 mm | 2250 | 18000 | 2250 | 18000 | 5500 | 44000 | 1560 | 12480
9 | TRACK LIGHT | TL2 |  | 7 | ceiling suspended Antique brass track | Curtain Wall, Story Wall & wallpaper wall. |  |  |  | 1000MM LENGTH | 700 | 4900 | 750 | 5250 | 5500 | 38500 | 1400 | 9800
10 | TRACK LIGHT | TL2 |  | 21 | Antique brass Cylindric lights with inbuild driver | Curtain Wall, Story Wall & wallpaper wall. | DIMMABLE | 3000K | 10 W | Ø 55 mm | 2250 | 47250 | 2250 | 47250 | 5500 | 115500 | 1560 | 32760
1 | L.E.D FILAMENT BULB | LT6 |  | 49 | HANGING CLEAR led filament bulb light with brass finish holder having 2m long wire - AS PER DWG /APPRD | Above banquet seating , | DIMMABLE | 3000K | 4W each | 75Ø Globe with additional cable | 1450 | 71050 | 950 | 46550 | 680 | 33320 | 1025 | 50225
2 | DECORATIVE CEILING HANGING PENDANT LIGHT | LT7 |  | 4 | BRASS Welded metal pipe with milky glass globe hanging fixture | above curtain wall seating area | DIMMABLE | 3000 K | 40W each | 600mm Dia and height 300mm | 20000 | 80000 | 15750 | 63000 | 0 | 0 | 16250 | 65000
3 | DECORATIVE CEILING HANGING LIGHT | LT8 |  | 1 | BRASS Welded metal pipe with milky glass globe hanging fixture | Entrance area | DIMMABLE | 3000 K | 40W each | 450mm Land height200mm | 18500 | 18500 | 5750 | 5750 | 18750 | 18750 | 17000 | 17000
4 | WALL MOUNTED LIGHT | LT9 |  | 4 | 150mm white frosted glass globe with brass fixture | Wallpaper Wall | DIMMABLE | 3000 K | 40W each | 150 Ø Globe 200 Ø base plate | 4500 | 18000 | 2500 | 10000 | 3500 | 14000 | 3150 | 12600
[11 empty] | Total | 371600 | Total | 270100 |  | 394420 |  | 277365
[11 empty] | Packing | 7000 | Packing | 2250 |  | 3900 |  | 14482
[11 empty] | Freight | 8000 | Freight |  |  | 4000
[11 empty] | GST 18% | 69588 | GST 18% | 49023 |  | 72417.6 |  | 52532.46
[11 empty] | Grand Total | 456188 | Grand Total | 321373 |  | 474737.6 |  | 344379.46