## PR 195
For TRAVEL FOOD SERVICES CHENNAI PVT. LTD. | [6 empty] | Date: | 2024-03-13
Comparative for Safal PR 00195 -23-24
[5 empty] | SAFETECH INNOVATION |  | Best Enterprises
Sl.No. | Materials Description | Qty | UOM | GST | Rate | Amount | Rate | Amount
1 | PR for Main kitchen Firefighting system and Fire alarm system servicing General sevice Addressable Fire Alarm system with complete testing of main panel ,display ,keypad,status of device working condition,battery condition ,loop current rating | 1.00 | Job | 18% | 8500 | 8500 | 12000 | 12000
2 | Main kitchen Firefighting system and Fire alarm system servicing Checked and cleaned for All the floor Devices - 1job | 1.00 | Job | 18% | 6200 | 6200 | 12000 | 12000
3 | Main kitchen Firefighting system and Fire alarm system servicing, Complete General service Fire main pump | 3.00 | SET | 18% | 6200 | 18600 | 30000 | 90000
4 | PR for Main kitchen Firefighting system and Fire alarm system servicing Gland Rope leakage | 1.00 | SET | 18% | 2000 | 2000 | 6000 | 6000
5 | Main kitchen Firefighting system and Fire alarm system servicing Foot valve service | 1.00 | SET | 18% | 4800 | 4800 | 7000 | 7000
6 | Main kitchen Firefighting system and Fire alarm system servicing Fire drain line including support , rod channel bend ,100 mm 3 meter pipe flange butterfly valve with painting | 2.00 | Job | 18% | 28200 | 56400 | 35000 | 70000
7 | Main kitchen Firefighting system and Fire alarm system servicing Testing and commissioning pressure alignment for main and jckey pumps | 1.00 | Job | 18% | 4500 | 4500 | 11500 | 11500
8 | Main kitchen Firefighting system and Fire alarm system servicing Civil work (core cutting) | 1.00 | Job | 18% | 12500 | 12500 | 10000 | 10000
[6 empty] | 113500 |  | 218500
Discount %
| After Discount Total |  |  |  |  | 113500 |  | 218500
| CGST/SGST/IGST @ 5% |  |  |  |  | 0 |  | 0
| CGST/SGST/IGST @ 12% |  |  |  |  | 0 |  | 0
| CGST/SGST/IGST @ 18% |  |  |  | 113500 | 20430 | 218500 | 39330
| CGST/SGST/IGST @ 28% |  |  |  |  | 0 |  | 0
| Total |  |  |  |  | 133930 |  | 257830
Other Parameters
| Delivery /Work Completion |  |  |  | Immediate |  | Immediate
| Payment Terms |  |  |  | After Delivery |  | After Delivery
| Remarks | SAFETECH INNOVATION