## BOQ
Sr. Nos. | Fixture Ref. No. | Light Fixture Description | Fixture Image | Control | Area | Approved Make Manufacturer/ Model No | Qty | Units | Jorden Amount (R0) |  | Jorden Amount (R1) |  | Clarity amount |  | Proserve Marketing |  | Remarks
1 | XSF2 | Pedestal mounted Spot light 10W-15W , 24 Deg, 3000K ,CRI>80, IP 67 Dimensions: Dia- 64mm, H-83mm |  | Non Dimmable | Buddha Statue | Bconnect Spot light Led 10watt, 3000K IP67, non dimmable | 2 | Nos. | 1850 | 3700 | 1450 | 2900 | 9000 | 18000 | 1400 | 2800
2 | XRB1 | Surface Mounted linear fixture 45 deg beam with corner profile , 10W/m, 1000lm/m, 3000K, CRI>80, IP 67 Dimensions: L- As Required, W- 11mm, H- 10.5mm |  | Non Dimmable | Casacade Wall | IN LED Technology | 6.6 | Mtrs. | 2500 | 16500 | 1450 | 9570 | 6500 | 42900 | 250 | 1650 | IP65
3 |  | 1 driver outdoor rated |  |  |  |  | 1 | Nos. | 2500 | 2500 | 2000 | 2000 | 3000 | 3000 | 0 | 0 | Included
5 |  | Kitchen Hanging lights |  | Non dimmable | Kitchen |  | 20 | Nos. | 2550 | 51000 | 2050 | 41000 | 2800 | 56000 | 1800 | 36000
|  | Packaging |  |  |  |  | 1 | Lot | 1500 | 1500 | 1500 | 1500 |  |  | 0 | 0 | Not needed
|  | Transportation |  |  |  |  | 1 | Lot | 3000 | 3000 | 3000 | 3000 |  |  | 700 | 700
Total amount | [8 empty] | 78200 |  | 59970 |  | 119900 |  | 41150
Taxable amount | [8 empty] | 92276 |  | 70764.6 |  | 141482 |  | 48557
[11 empty] | L2 |  |  |  | L1
[7 empty] | Warranty |  | 3 years | [5 empty] | 2 years