## Summary
| CENZER | LIGHTIQUE | FUSION DESIGNS
Total
COMMERCIAL | 181420.122 | 128515 | 216600
DECORATIVE | 220750 | 245840 | 170500
Transportation | 6200 | 1000 | 38710
Installation
GST 18% | 73506.622 | 67563.9 | 76645.8
Grand Total | 481876.7439 | 442918.9 | 502455.8
374355

## commercial lights
COPPER CHIMNEY_OBEROI MALL_GOREGAON - LIGHTING DOCKET | [6 empty] | DATE: 19/12/23 |  |  |  |  | CENZER |  |  |  |  | LIGHTIQUE |  | FUSION DESIGNS
S.N | DESCRIPTION | CODE | IMAGE | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE | QUANTITY | Uom | Specs | Image |  | Rate | Amount | Rate | Amount | Rate | Amount
1 | PULL OUT RECESSED LIGHT | LT1 |  | Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | Near Live Kitchen and bar | DIMMABLE | 3000 K | 12W | 60 mm ring | 10 | Nos | Model - Adjustable COB light Power – 12w Voltage - 220V Color Temp – 3000k Driver – Dimmable (Phase-Cut) Beam Angle – 40 degree Fixture Color - White | Adjustable COB light |  | 2200 | 22000 | 2280 | 22800 | 2000 | 20000
2 | SPOT LIGHT | LT2 |  | Recessed Adjustable spot light, 3 Step MacAdam, >50,000 hours, Die Cast Aluminium, Power factor > 0.5, 70lm/w Class 2, IP20 | Restaurant low ht. area | DIMMABLE | 3000 K | 12W | 60 mm ring | 24 | Nos | Model - Rimless Connie Power – 12w Voltage - 220V Size - Outer 85 mm, Cutout 75 mm Color Temp – 3000k Driver – Dimmable (Phase-Cut) Beam Angle – 40 degree Fixture Color - White | Rimless Connie COB |  | 1650 | 39600 | 1020 | 24480 | 1200 | 28800
3 | 2' x 2' CONCEALED LIGHT | LT3 |  | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | live kitchen | NON DIMMABLE | 3000K | 36 W | 595 mm | 2 | Nos | Power – 36W Voltage - 220V Color Temp – 3000k Driver – BISTEC (Non-Dimmable) Fixture Color - White | 2x2 Led Panel |  | 1700 | 3400 | 1950 | 3900 | 1550 | 3100
4 | 2' x 2' CONCEALED LIGHT | LT4 |  | Recessed backlite box light with Apstar led & Indian driver…... Epistar smd led+driver | Kitchen area | NON DIMMABLE | 6000K | 36 W | 595 mm | 13 | Nos | Power – 36W Voltage - 220V Color Temp – 6000k Driver – BISTEC (Non-Dimmable) Fixture Color - White | 2x2 Led Panel |  | 1700 | 22100 | 1695 | 22035 | 1550 | 20150
5 | FLEXIBLE L.E.D COVE LIGHT | LT5 |  | flexible led cove RFT - 37 (to be checked on site) | Bar Display | DIMMABLE | 3000K | 5W each | TBD | 37 | RFT | Power – 05W/meter, 24V Color Temp – 3000K (Warm White) Dimmable (Phase-Cut) IP Rating - IP 20 | Led Strips |  | 76.2195 | 2820.122 | 332.4324 | 12300 | 250 | 9250
[12 empty] | Driver, 100W, 24V (Phase-Cut Dimming) | For 5 meters led strips 1 driver will be used. Additional drivers cost will be extra | 3 | 2500 | 7500 |  |  | 2800 | 2800
6 | TRACK LIGHT (900mm) | TL1 |  | ceiling suspended Antique brass track | Curtain Wall, Story Wall & wallpaper wall. |  |  |  | 900MM LENGTH | 10 | Nos | Model - Decorative light Power – 5w X GU10 (Non Dimmable) Size - Dia 990 mm, Height 1225 mm Color Temp – 3000k (Non Dimmable) Material – Metal Fixture Color - Brass X Black | Decorative light |  | 1400 | 14000 | 700 | 7000 | 450 | 4500
| TRACK LIGHT | TL1 |  | Antique brass Cylindric lights with inbuild driver | Curtain Wall, Story Wall & wallpaper wall. | DIMMABLE | 3000K | 10 W | Ø 55 mm | 20 | Nos | Model - Decorative light Power – 5w X GU10 (Non Dimmable) Size - Dia 990 mm, Height 1225 mm Color Temp – 3000k (Non Dimmable) Material – Metal Fixture Color - Brass X Black | Decorative light |  | 3500 | 70000 | 1800 | 36000 | 6400 | 128000
[10 empty] | Subtotal | [5 empty] | 181420.122 |  | 128515 |  | 216600
[10 empty] | Transportation | [5 empty] | 4400 |  |  |  | 21660
Installation
[10 empty] | GST 18% | [5 empty] | 33447.622 |  | 23132.7 |  | 42886.8
[10 empty] | Grand Total | [5 empty] | 219267.7439 |  | 151647.7 |  | 281146.8

## decorative lights
COPPER CHIMNEY-OBEROI MALL_GOREGAON- LIGHTING DOCKET | [6 empty] | DATE: 19/12/23 |  |  |  |  | CENZER |  |  |  | LIGHTIQUE |  | FUSION DESIGNS
S.N | DESCRIPTION | CODE | IMAGE | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE | QUANTITY (nos.) | Uom | Specs | Image | Rate | Amount | Rate | Amount | Rate | Amount
1 | L.E.D FILAMENT BULB | LT6 |  | HANGING CLEAR led filament bulb light with brass finish holder having 2m long wire - AS PER DWG /APPRD | Above banquet seating , | DIMMABLE | 3000K | 4W each | 75Ø Globe with additional cable | 56 | Nos | Power – 04W E27 Holder (Filament Lamp) Description - Led Filament Color Temp – 3000K Base & Holder Included (Black) |  | 750 | 42000 | 1065 | 59640 | 1050 | 58800
2 | DECORATIVE CEILING HANGING PENDANT LIGHT | LT7 |  | BRASS Welded metal pipe with milky glass globe hanging fixture | above curtain wall seating area | DIMMABLE | 3000 K | 40W each | 450mm Dia and height 300mm | 4 | Nos | NA | NA | 33000 | 132000 | 33000 | 132000 | 16250 | 65000
3 | DECORATIVE CEILING HANGING LIGHT | LT8 |  | BRASS Welded metal pipe with milky glass globe hanging fixture | Entrance area | DIMMABLE | 3000 K | 40W each | 550mm Land height200mm | 1 | Nos | Power – Led 36W Description - Hanging Color Temp – 3000K (Non Dimmable) Size - Dia 400 mm, Height - 1200 mm Fixture Color - White Material - Metal + Acrylic | Decorative Pendant | 18750 | 18750 | 27000 | 27000 | 21500 | 21500
4 | WALL MOUNTED LIGHT | LT9 |  | 100mm white frosted glass globe with brass fixture | Wallpaper Wall | DIMMABLE | 3000 K | 40W each | 150 Ø Globe | 8 | Nos | Power – 01W Description - G9 Lamp Color Temp – 3000K (Non Dimmable) Size - Width 100 mm, Dia 120 mm Finish - Antique Brass Material - Metal + Glass |  | 3500 | 28000 | 3400 | 27200 | 3150 | 25200
[10 empty] | Subtotal |  |  |  |  | 220750 |  | 245840 |  | 170500
[10 empty] | Transportation |  |  |  |  | 1800 |  | 1000 |  | 17050
Installation
[10 empty] | GST 18% |  |  |  |  | 40059 |  | 44431.2 |  | 33759
[10 empty] | Grand Total |  |  |  |  | 262609 |  | 291271.2 |  | 221309