## LIGHTING
AJ1881 CAFÉ AHMEDABAD AIRPORT - LIGHT DETAILS | [8 empty] | Jalaram Lights |  |  |  | Jalaram Lights R1 |  | LIGHTIQUE |  |  | FALLOW |  | LOWEST
NO | IMAGE | QUANTITY (nos.) | DESCRIPTION | LOCATION | TRANSFORMER TYPE | COLOUR TEMPERATURE | WATTAGE | SIZE |  | IMAGE | Rate | Amount | Rate | Amount | Rate | Amount | IMAGE | Rate | Amount | Rate | Amount
1 |  | 6 | Locally purchased (if available) or Custom made Golden painted designer pendant lamp with Neutral White Light | Dinning Area | Dimmable | 4000 K | 18 W | 460 (DIA) x 200 (H) MM |  |  | 7500 | 45000 | 7500 | 45000 | 35000 | 210000 |  | 7560 | 45360 | 7500 | 45000
2 |  | 11 | Glass Globe Pendant with Neutral White Light | Dinning Area | Dimmable | 4000 K | 18 W | 200 DIA. MM |  |  | 3500 | 38500 | 3500 | 38500 | 4500 | 49500 |  | 7400 | 81400 | 3500 | 38500
3 |  | 7 | Designer Wall Lamp with Warm White light | Dinning Area | Dimmable | 3000 K | 18 W | 220 (L) X 200 (D) X 600 (H) MM |  | will be same as per photo | 6500 | 45500 | 7900 | 55300 | 12500 | 87500 |  | 4200 | 29400 | 4200 | 29400
4 |  | 7 | Downlight | Counter | Dimmable | 4000 K | 12 W | 130 Dia. MM |  |  | 1050 | 7350 | 1050 | 7350 | 1080 | 7560 |  | 1200 | 8400 | 1050 | 7350
5 |  | 1 | LED Circular Panel Light | BOH |  | 4000 K | 22 W | 300 Dia. MM |  |  | 350 | 350 | 350 | 350 | 1250 | 1250 |  | 850 | 850 | 350 | 350
6 |  | 2 | LED Square Panel Light | BOH |  | 4000 K | 30 W | 600 X 600 MM |  |  | 1550 | 3100 | 1550 | 3100 | 1695 | 3390 |  | 2400 | 4800 | 1550 | 3100
7 |  | 40 | Yellow LED Strip | Counter & False ceiling |  | 3000 K | 22 W/ mtr |  |  |  | 175 | 7000 | 175 | 7000 | 180 | 7200 |  | 450 | 18000 | 175 | 7000
8 |  |  | LED STRIP DRVIER | [5 empty] | 8 |  | 950 | 7600 | 950 | 7600 |  | 0 |  |  | 0 |  | 0
[7 empty] | Sub Total |  |  |  |  | 154400 |  | 164200 |  | 366400 |  |  | 188210 |  | 130700
[7 empty] | Transportation | [8 empty] | 5000
[7 empty] | GST 18% |  |  |  |  | 27792 |  | 29556 |  | 66852 |  |  | 33877.8 |  | 23526
[7 empty] | Grand Total |  |  |  |  | 182192 |  | 193756 |  | 438252 |  |  | 222087.8 |  | 154226

## CALCULATION PAINT (hidden)
| 403 | 443.3 | 444 | 67.66 | 6.1 | 73.76 | 517.76 | 518
| 6.6 | 2.1 | 13.86
| 2.6 | 2.1 | 5.46
19.32
|  |  | 21.252 | 22
2.8 | 19.32 | 2.8 | 24.92
|  |  | 27.412 | 28
[6 empty] | 3.3 | 1.2 | 2.1
12 | 3 |  | 36
2.4 | 2 | 1.8 | 8.64
|  |  | 44.64 | 49.104
49