## Summary
FINAL COMPARISON STATEMENT - CHAI POINT
Category | Pikture Perfect | Colosseum Associates | VART Infracon
Water Proofing | 88510 | 80160 | 116900
Unloading & Shifting | 35000 | 35000 | 50000
Flooring & Wall Tiling | 37500 | 33750 | 41250
Wall Treatments (Plaster, Painting & Polishing) | 13500 | 21000 | 22500
Partition and Paneling | 82712.5 | 46225 | 49500
Counters | 381250 | 423000 | 410000
Wiring | 191000 | 187900 | 368600
Switch & socket | 121130 | 54950 | 76150
Electrical Panel | 59726 | 47200 | 271000
Fixture installation | 132500 | 119750 | 112250
UPS (For Sigange/Lighting) | 87000 | 59900 | 59900
Drain | 0 | 0 | 0
Plumbing Fixture and installation | 54000 | 13000 | 19000
Light fixtures | 44300 | 49050 | 43950
Music System | 0 | 0 | 0
Signage | 0 | 0 | 0
Furniture
BASIC - TOTAL | 1328128.5 | 1170885 | 1641000

## Standard BOQ
|  |  | Pikture Perfect |  | Colosseum |  | VART Infracon |  | Target |  | LL
Description | Unit | Qty | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount
Boardout
Providing and fixing MS framing with GI pre-painted corrugated sheet (3m high) to cover construction portion including all fixing material as per requirement of the PMC, provision of secured pedestrian access doors through barricade including all civil work and foundation etc. The barricade will have to be retained and maintained by the contractor till the end of the project. The barricade must be structurally sound to withstand wind and other applicable loads. (ONLY ACTUAL SURFACE AREA OF THE COVERING TO BE MEASURED FOR PAYMENT ONCE UPTO THE COMPLETION OF THE WORK) | Sqft. | 334 | 265 | 88510 | 240 | 80160 | 350 | 116900 | 200 | 66800 | 240 | 80160
Total |  |  |  | 88510 |  | 80160 |  | 116900 |  | 66800 | 0 | 80160
Provide labours for Equipment unloading and shifting till outlet location | job | 1 | 35000 | 35000 | 35000 | 35000 | 50000 | 50000 | 25000 | 25000 | 35000 | 35000
Total |  |  |  | 35000 |  | 35000 |  | 50000 |  | 25000 | 0 | 35000
Flooring | [10 empty] | 0
Providing & Fixing of Vinyl flooring with 25mm wide edge beading | Sft | 150 | 250 | 37500 | 225 | 33750 | 275 | 41250 | 225 | 33750 | 225 | 33750
Total |  |  |  | 37500 |  | 33750 |  | 41250 |  | 33750 | 0 | 33750
Wall Treatments (Plaster, Painting & Polishing) | [10 empty] | 0
Providing and fixing Melamine Polish on existing wooden surfaces/plywood/ or any other surface , surface to have smooth finish,surface area shall be measured and paid for. Make- Asian | Sqft | 75 | 180 | 13500 | 280 | 21000 | 300 | 22500 | 180 | 13500 | 180 | 13500
Total |  |  |  | 13500 |  | 21000 |  | 22500 |  | 13500 | 0 | 13500
Partition and Paneling | [10 empty] | 0
Providing and fixing 500 mm wide fire rated plywood partition made out of 40x40 aluminium tube, 1.2 mm thick with 19mm thick ply on both sides finished with black laminate on 3 sides and bottom to have acrylic and LED light, as per drawing. Refer drg no A 131 | Sqft | 0 |  | 0 | 750 | 0 | 950 | 0 | 750 | 0 | 750 | 0
Providing and fixing rubber wood beading cladding on the existing counter. Fix 12mm thick rubber wood sheet on the existing counter and install 19 X 19mm thich beading over the 12 mm sheet and gap between beading is 19mm. Refer dwg A 128 | Sqft | 75 | 750 | 56250 | 350 | 26250 | 350 | 26250 | 350 | 26250 | 350 | 26250
Providing and fixing MS Square tube for bulkhead support with black powder coat of size 40mmx 40mm x 1650mm (length) | No | 0 |  | 0 |  | 0 | 45000 | 0 |  | 0 | 45000 | 0
Providing and fixing TV MS frame with fire rated Plywood boxing with laminate - 3.2m length 300mm height box and metal support or same with 50x50 MS frame finished in black. | Rft | 10.5 | 1050 | 11025 | 950 | 9975 | 1500 | 15750 | 950 | 9975 | 950 | 9975
Providing and fixing 10mm thick toughen glass | Sqft | 0 |  | 0 | 300 | 0 | 450 | 0 | 300 | 0 | 300 | 0
Providing and fixing 6mm thick MS partition 150 height finished with powder coated on the front counter for the POS, Coffee M/C counter (450mm height for coffee M/C). Refer dwg A 127, A128 | Rmt | 5 | 3087.5 | 15437.5 | 2000 | 10000 | 1500 | 7500 | 2000 | 10000 | 1500 | 7500
Total |  |  |  | 82712.5 |  | 46225 |  | 49500 |  | 46225 | 0 | 43725
Counters | [10 empty] | 0
Providing & Fixing of Counter top made of 20mm thk White Quartz finish (Basic Cost of 850/-per Sft) please refer counter detail drawing A126 | Sqft | 75 | 1950 | 146250 | 2900 | 217500 | 1800 | 135000 | 1800 | 135000 | 1800 | 135000
Providing and fixing fire rated Wooden counter 750mm & 900mm deep made out of 19mm thick commercial/MR ply finished with frosty white laminate , and shutters finished with laminate as per approved color, counter to have drawer units wherever required with lock provision in all shutters/drawers, Hardware make: Hettich, elevation area to be considered for measurement, Edge to be finished with 2mm thick PVC beading / marandi wood beading finished /Polish matching to laminate. refer dwg no A 126 to A 129 | Sqft | 75 | 2800 | 210000 | 2500 | 187500 | 3000 | 225000 | 2500 | 187500 | 2500 | 187500
Proving and fixing Merchandise rack made of MS square tube and rubber wooden finished with Melamince polish. Refer dwg A127 | No | 1 | 25000 | 25000 | 18000 | 18000 | 50000 | 50000 | 18000 | 18000 | 18000 | 18000
Total |  |  |  | 381250 |  | 423000 |  | 410000 |  | 340500 | 0 | 340500
0
All supplied and installed wirings should be Polycab Havells RR kabel make. cable numbering ferrules to be used for all the wiring. | [10 empty] | 0
Wiring | [10 empty] | 0
Providing and laying 1.5 sqmmx 3run (Copper wiring FRLS )Wirings including wall chipping making groves, MS pipe casing clams bend etc complete, Wirings for lights fly trap, freezer,cooler, fans, signages etc complete Make should Polycab Havells RR kabel | Rmt | 150 | 185 | 27750 | 180 | 27000 | 385 | 57750 | 180 | 27000 | 180 | 27000
Providing and laying 2.5 sqmmx 2run 1.5 Sq.mm X 1 run for earthing (Copper wiring FRLS )Wirings including wall chipping making groves, MS pipe casing clams bend etc complete, Wirings for lights fly trap, freezer,cooler, fans, signages etc complete Make should Polycab Havells RR kabel | Rmt | 250 | 225 | 56250 | 220 | 55000 | 475 | 118750 | 220 | 55000 | 220 | 55000
Providing and laying 4.0 sqmm x 2 runs and 2.5 sqmmX 1 run for Earthing (copper wires FRLS )Wirings including wall chipping making grooves, MSpipe Casing, clams bend etc complete,for power sockets like Induction pad HM HW,industrical sockets geyser etc | Rmt | 180 | 295 | 53100 | 290 | 52200 | 550 | 99000 | 290 | 52200 | 290 | 52200
Providing and laying 4.0 sqmm x 4 runs and 2.5 sqmmX 1 run for Earthing (copper wires FRLS )Wirings including wall chipping making grooves, MS pipe Casing, clams bend etc complete. Brand should Polycab Havells RR kabel | Rmt | 40 | 295 | 11800 | 290 | 11600 | 625 | 25000 | 290 | 11600 | 290 | 11600
Providing and Laying of 14guage Speaker wiring including wall chipping making groves, MS pipe casing clams bend etc complete. Philips Havells. | Rmt | 180 | 95 | 17100 | 95 | 17100 | 195 | 35100 | 95 | 17100 | 95 | 17100
Proving and laying CCTV wiring with Cat6, Wirings including wall chipping making groves, MS pipe casing clams bend etc complete D link | Rmt | 200 | 125 | 25000 | 125 | 25000 | 165 | 33000 | 125 | 25000 | 125 | 25000
Total |  |  |  | 191000 |  | 187900 |  | 368600 |  | 187900 | 0 | 187900
Switch & socket | [10 empty] | 0
Providing and fixing of 15 Amps 6 module 2 + 2 switch and sockets with MS box etc complete, Make Anchor Roma. | No's | 12 | 1400 | 16800 | 1300 | 15600 | 2450 | 29400 | 1300 | 15600 | 1300 | 15600
Providing and fixing of 15 Amps 3 module 1+1 switch and sockets with MS box etc complete, Make Anchor Roma | No's | 6 | 700 | 4200 | 700 | 4200 | 1800 | 10800 | 700 | 4200 | 700 | 4200
Providing and fixing of 5 Amps 6module 2+2 switch and sockets with MS box etc complete, Make Anchor Roma. | No's | 5 | 1120 | 5600 | 950 | 4750 | 950 | 4750 | 950 | 4750 | 950 | 4750
Providing and fixing of 5 Amps 3 module 1+1 switch and sockets with MS box etc complete, with PVC or MS box etc complete, Make Anchor Roma. | No's | 4 | 560 | 2240 | 550 | 2200 | 750 | 3000 | 550 | 2200 | 550 | 2200
Providing and fixing of 20 Amps industrial socket Legrand, Schneider make with 20amps DP Mcb | No's | 18 | 4750 | 85500 | 1500 | 27000 | 1500 | 27000 | 1500 | 27000 | 1500 | 27000
Providing and fixing 32A 5Pin 3 Phase Plug and Socket with TPN MCB | No's | 1 | 6790 | 6790 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200 | 1200
Total |  |  |  | 121130 |  | 54950 |  | 76150 |  | 54950 | 0 | 54950
Electrical Panel | [10 empty] | 0
Supply of Main Electrical pannel as per shared SLD. Refer dwg no A 119 | No's | 1 | 29488 | 29488 | 28000 | 28000 | 195000 | 195000 | 25000 | 25000 | 28000 | 28000
Installation / Testing / Commissioning of Electrical Panel as per SLD | Nos | 1 | 7500 | 7500 | 5000 | 5000 | 25000 | 25000 | 5000 | 5000 | 5000 | 5000
Providing and fixing fire rated floor mat for electrical DB room(4'x4') | Nos | 1 | 8388 | 8388 | 8200 | 8200 | 45000 | 45000 | 8200 | 8200 | 8200 | 8200
Providing and installing 100amp Bus Bar | Nos | 1 | 13500 | 13500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500
Providing and instaling glow Danger sign for Electrical DB | Nos | 1 | 850 | 850 | 3500 | 3500 | 3500 | 3500 | 3500 | 3500 | 850 | 850
Total |  |  |  | 59726 |  | 47200 |  | 271000 |  | 44200 | 0 | 44550
Fixture installation | [10 empty] | 0
Supply / Installation / Testing / Commissioning of all Light fixtures/ Fans/ wall shelfs/Fire extinguishers/Misc items as directed | Nos | 1 | 20000 | 20000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000 | 15000
Supply and fixing of TV screens- Panasonic 32 inch - LH32AN3ND | Nos | 5 | 21500 | 107500 | 20000 | 100000 | 18500 | 92500 | 20000 | 100000 | 18500 | 92500
Supply and fixing of tv wall bracket | Nos | 5 | 1000 | 5000 | 950 | 4750 | 950 | 4750 | 950 | 4750 | 950 | 4750
Total |  |  |  | 132500 |  | 119750 |  | 112250 |  | 119750 | 0 | 112250
UPS (For Sigange/Lighting) | [10 empty] | 0
Supply / Installation / Testing / Commissioning of 3.0 kVA capacity single phase UPS with 30 minutes built-in battery backup (APC/Emerson make) | Nos | 1 | 85000 | 85000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000
Supply & fixing of UPS Stand | No's | 1 | 2000 | 2000 | 1900 | 1900 | 1900 | 1900 | 1900 | 1900 | 1900 | 1900
Total |  |  |  | 87000 |  | 59900 |  | 59900 |  | 59900 | 0 | 59900
PVC Drain Line | [10 empty] | 0
Supply / Installation / Testing / Commissioning of complete Drainage & water supply works with following specifications, |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Supply and laying of all drainage works to be done with PVC SWR grade medium duty pipes, of following diameters, including all pipe fittings, specials, traps etc., including 1:2:4 concrete bed around drain pipes on full length, complete in all respect (Astral make) |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Supply and laying of 75mm outside diameter | Rm | 0 |  | 0 | 350 | 0 | 350 | 0 | 350 | 0 | 350 | 0
Supply and laying 50mm outside diameter | Rm | 0 |  | 0 | 300 | 0 | 300 | 0 | 300 | 0 | 300 | 0
Total |  |  |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
uPVC Pipe Water Inlet Line | [10 empty] | 0
Supply/Installation/Testing/Commissioning of Grease trap New Green make (NGT-14) including for all necessary pvc fittings, complete in all respect | Job | 1 | 49500 | 49500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500 | 8500
Providing and fixing of Chaipoint equipment (sink) to bubble can/drain with all fitting accessories. | JOB | 1 | 4500 | 4500 | 4500 | 4500 | 10500 | 10500 | 4500 | 4500 | 4500 | 4500
Total |  |  |  | 54000 |  | 13000 |  | 19000 |  | 13000 | 0 | 13000
Supply and fixing of TRACK MOUNTED LED SPOT LIGHT MADE OF ALUMINIUM DIA CAST COMPLETE upto 20watts LAMP WT LED 4000K Color Temperature, Philips/Wipro/Havells Make | No's | 9 | 2800 | 25200 | 3000 | 27000 | 1650 | 14850 | 2500 | 22500 | 1650 | 14850
Supply and fixing of TRACK IN ONE MTR | No's | 3 | 1300 | 3900 | 950 | 2850 | 8500 | 25500 | 900 | 2700 | 950 | 2850
Supply and fixing of Led strip - 22w , Philips/wipro/havells make | RMT | 16 | 950 | 15200 | 1200 | 19200 | 225 | 3600 | 850 | 13600 | 225 | 3600
Total |  |  |  | 44300 |  | 49050 |  | 43950 |  | 38800 |  | 21300