## Summery (Fire)
| PR Budget | 550000
| Timeline | 55 Days
Copper Chimney, Prestige Park BLR
Round | Description | Event | Mahamaya Engineering | Crystal Aircool | Pioneer Projects | Anjle MEP | Zenco Fire
1 | FAS & Fire Sprinkler | RFQ 1 | 726480 | 584823 | 541100 | 532400 | 638288
2 |  | Auction | 726480 | 465000 | 488150 | 512400 | 638288
3 |  | Final RFQ | 465000 | 465000 | 488150 | 512400 | 638288
| Grand Total ( with GST) |  | 548700 | 548700 | 576017 | 604632 | 753179.84
|  | Rank | L1 | L1 | L2 | L3 | L4

## Summery (AC)
| PR Budget | 1000000
| Timeline | 55 Days
Copper Chimney, Prestige Park BLR
Round | Description | Event | Mahamaya Engineering | Crystal Aircool | Pioneer Projects | Anjle MEP
1 | Air Condition (Low & High Side) | RFQ 1 | 1006350 | No Quote | 1097274.5763 | 1129484.7458
2 |  | Auction | 720000 | 740000 | 950000 | 1129485
3 |  | Final RFQ | 720000 | 700000 | 1011550 | 1129485
| Total (Low side) |  | 479600 | 330000 | 481550 | 618685
| Total with 18% GST(Low side) |  | 565928 | 389400 | 568229 | 730048.3
| Total (Hi side) |  | 240400 | 370000 | 530000 | 510800
| Total with 28% GST(Low side) |  | 307712 | 473600 | 678400 | 653824
| Grand Total |  | 873640 | 863000 | 1246629 | 1383872.3 | 0
|  | Rank | L2 | L1 | L3 | L4

## Summery (Ventilation)
| PR Budget | 1000000
| Timeline | 55 Days
Copper Chimney, Prestige Park BLR
Round | Description | Event | APC Air Control | Mahamaya Engineering | Crystal Aircool | Pioneer Projects | Anjle MEP
1 | Kitchen Ventilation | RFQ 1 | 743250 | 1342969.4915 | No Quote | 766750 | 978000
2 |  | Auction | 743250 | 589000 | 580000 | 700000 | 978000
3 |  | Final RFQ | 743250 | 589000 | 580000 | 700000 | 978000
| Grand Total ( with GST) |  | 877035 | 695020 | 684400 | 826000 | 1154040
|  | Rank | L4 | L2 | L1 | L3 | L5

## Fire
|  | RFQ No: R1984 COST COMPARISON REPORT | RFQ No: R1984 COST COMPARISON REPORT | Comp. Date : 18/10/2024 | Comp. Date : 18/10/2024 | Comp. Date : 18/10/2024 | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : ZENCO FIRE | Vendor Name : ZENCO FIRE | Vendor Name : Mahamaya Engineering | Vendor Name : Mahamaya Engineering
|  | RFQ No: R1984 COST COMPARISON REPORT | RFQ No: R1984 COST COMPARISON REPORT | RFQ #: R1984 | RFQ #: R1984 | RFQ #: R1984 | Contact Name : PREMKANT | Contact Name : PREMKANT | Contact Name : Asraf | Contact Name : Asraf | Contact Name : John | Contact Name : John | Contact Name : AURANGZEB | Contact Name : AURANGZEB | Contact Name : Yash Katoch | Contact Name : Yash Katoch
|  | RFQ No: R1984 COST COMPARISON REPORT | RFQ No: R1984 COST COMPARISON REPORT | RFQ Date : 16/10/2024 23:21:41 | RFQ Date : 16/10/2024 23:21:41 | RFQ Date : 16/10/2024 23:21:41 | Vendor City : | Vendor City : | Vendor City : DELHI | Vendor City : DELHI | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : Delhi | Vendor City : Delhi
|  | RFQ No: R1984 COST COMPARISON REPORT | RFQ No: R1984 COST COMPARISON REPORT | BCD Date : 17/10/2024 23:24:00 | BCD Date : 17/10/2024 23:24:00 | BCD Date : 17/10/2024 23:24:00 | Telephone # : | Telephone # : | Telephone # : 9810634901 | Telephone # : 9810634901 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R1984 COST COMPARISON REPORT | RFQ No: R1984 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : 9810634901 | Mobile # : 9810634901 | Mobile # : 9004000048 | Mobile # : 9004000048 | Mobile # : 9930619943 | Mobile # : 9930619943 | Mobile # : 9205300857 | Mobile # : 9205300857
PR Number : DCPL-2425-00166 | PR Number : DCPL-2425-00166 | PR Number : DCPL-2425-00166 | PR Number : DCPL-2425-00166 | PR Number : DCPL-2425-00166 | PR Number : DCPL-2425-00166 | PR Number : DCPL-2425-00166 | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : crystalaircool@gmail.com | Email : crystalaircool@gmail.com | Email : zencofire@yahoo.com | Email : zencofire@yahoo.com | Email : mahamaya.engineering1@gmail.com | Email : mahamaya.engineering1@gmail.com
Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Package / RFQ Name : FAS & Fire Sprinkler work- CC Prestige Park BLR... | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | BUDGET PRICE :550,000.00 | BUDGET PRICE :550,000.00 | BUDGET PRICE :550,000.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Fire Sprinkler | Fire Sprinkler works | EA | 1 |  |  | 101900 |  | 113150 |  | 100000 |  | 107018 |  | 100000
1 |  | Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Nos | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 25 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | 25 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Rmt | 20 | 15000 | 750 | 15000 | 750 | 15000 | 1000 | 20000 | 775 | 15500 | 1000 | 20000
3 |  | 32 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | 32 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Rmt | 4 | 3800 | 950 | 3800 | 950 | 3800 | 1063 | 4252 | 968 | 3872 | 1063 | 4252
4 |  | 40 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | 40 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Rmt | 5 | 5250 | 1050 | 5250 | 1050 | 5250 | 1313 | 6565 | 1162 | 5810 | 1313 | 6565
5 |  | 50 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | 50 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Rmt | 3 | 3750 | 1250 | 3750 | 1250 | 3750 | 1500 | 4500 | 1550 | 4650 | 1500 | 4500
6 |  | 65 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | 65 mm dia - Supply and Installation of GI PIPE C CLASS (MAKE - TATA JINDAL) | Rmt | 3 | 4350 | 1450 | 4350 | 1450 | 4350 | 1750 | 5250 | 1937 | 5811 | 1750 | 5250
7 |  | Flow Switch 80mm - Supply and Installation of FHC - UL Listed FM Approved | Flow Switch 80mm - Supply and Installation of FHC - UL Listed FM Approved | No. | 1 | 6500 | 8500 | 8500 | 6500 | 6500 | 9375 | 9375 | 8700 | 8700 | 9375 | 9375
8 |  | Temper Switch 80mm - Supply and Installation of FHC - UL Listed FM Approved | Temper Switch 80mm - Supply and Installation of FHC - UL Listed FM Approved | No. | 1 | 4500 | 4500 | 4500 | 6500 | 6500 | 9500 | 9500 | 7500 | 7500 | 9500 | 9500
9 |  | Pressure Guage 25MM (0-18KG GLYCERIN Filled) - Supply and Installation of FHC - UL Listed FM Approved | Pressure Guage 25MM (0-18KG GLYCERIN Filled) - Supply and Installation of FHC - UL Listed FM Approved | No. | 1 | 1850 | 3600 | 3600 | 1850 | 1850 | 4369 | 4369 | 2850 | 2850 | 4369 | 4369
10 |  | P fixing C.P.brass Quartzoid bulb sprinklers (Make - TYCO)UL FM Approved | P fixing C.P.brass Quartzoid bulb sprinklers (Make - TYCO)UL FM Approved | no | 0 | 0 | 950 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  | Pendant type Sprinkler 79 Degree (for Kitchen) - P fixing C.P.brass Quartzoid bulb sprinklers (Make - TYCO)UL FM Approved | Pendant type Sprinkler 79 Degree (for Kitchen) - P fixing C.P.brass Quartzoid bulb sprinklers (Make - TYCO)UL FM Approved | No. | 3 | 2325 | 1050 | 3150 | 1450 | 4350 | 1188 | 3564 | 775 | 2325 | 1188 | 3564
12 |  | Pendant type Sprinkler 90 Degree (for Live Kitchen) - P fixing C.P.brass Quartzoid bulb sprinklers (Make - TYCO)UL FM Approved | Pendant type Sprinkler 90 Degree (for Live Kitchen) - P fixing C.P.brass Quartzoid bulb sprinklers (Make - TYCO)UL FM Approved | No. | 3 | 3750 | 1250 | 3750 | 1850 | 5550 | 1500 | 4500 | 1250 | 3750 | 1500 | 4500
13 |  | P fixing FLEXIBALE DROPS - 1 Mtr LONG UL Listed and FM APPROVED | P fixing FLEXIBALE DROPS - 1 Mtr LONG UL Listed and FM APPROVED | No. | 25 | 28125 | 1850 | 46250 | 2250 | 56250 | 1125 | 28125 | 1850 | 46250 | 1125 | 28125
2 |  | Fire Detection System | Fire Detection System Works | EA | 1 |  |  | 410500 |  | 375000 |  | 365000 |  | 531270 |  | 365000
14 |  | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall. Make - Polycab | S I T C of 2c X 1.5mm2, 1100V copper conductor, MS insulated and sheilded armoured and overall FRLS PVC sheathed cable for fire Alarm system.Cable shall be cleated to wall, ceiling as per mall. Make - Polycab | Mts. | 250 | 36250 | 145 | 36250 | 150 | 37500 | 175 | 43750 | 175 | 43750 | 175 | 43750
15 |  | Supply Installation of Smoke Detector. Smoke Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Supply Installation of Smoke Detector. Smoke Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Nos | 7 | 24850 | 4650 | 32550 | 3550 | 24850 | 3700 | 25900 | 4800 | 33600 | 3700 | 25900
16 |  | Supply Installation of Smoke Detector. Smoke Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Supply Installation of Smoke Detector. Smoke Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Nos | 6 | 21300 | 4650 | 27900 | 3550 | 21300 | 3700 | 22200 | 4800 | 28800 | 3700 | 22200
17 |  | Supply Installation of Heat Detector. Heat Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Supply Installation of Heat Detector. Heat Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Nos | 3 | 12150 | 4850 | 14550 | 4050 | 12150 | 4100 | 12300 | 6500 | 19500 | 4100 | 12300
18 |  | Supply Installation of Multi Detector. Multi Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Supply Installation of Multi Detector. Multi Detector should be UL listed and FM Approved (MAKE - Agni Honeywell) | Nos | 3 | 13650 | 5050 | 15150 | 4550 | 13650 | 4800 | 14400 | 5900 | 17700 | 4800 | 14400
19 |  | Supply Installation of Manual Breakglass Unit (MAKE - Agni Honeywell). MCP should be UL listed and FM Approved | Supply Installation of Manual Breakglass Unit (MAKE - Agni Honeywell). MCP should be UL listed and FM Approved | Nos | 3 | 7200 | 5650 | 16950 | 3500 | 10500 | 2400 | 7200 | 6700 | 20100 | 2400 | 7200
20 |  | Supply Installation of Response Indicator and should be UL listed and FM approved | Supply Installation of Response Indicator and should be UL listed and FM approved | No. | 6 | 1500 | 250 | 1500 | 450 | 2700 | 4300 | 25800 | 475 | 2850 | 4300 | 25800
21 |  | Supply Installation of Addresable Fire Alarm Panel with Auto Dialing Facility .Fire alarm system to be on 02 hrs. battery backup.(MAKE - Agni Honeywell). Fire Alarm Panel should be UL listed and FM approved | Supply Installation of Addresable Fire Alarm Panel with Auto Dialing Facility .Fire alarm system to be on 02 hrs. battery backup.(MAKE - Agni Honeywell). Fire Alarm Panel should be UL listed and FM approved | No. | 1 | 81000 | 125000 | 125000 | 115000 | 115000 | 81000 | 81000 | 145000 | 145000 | 81000 | 81000
22 |  | Supply Installation of integration Module of Exhaust Fresh air Blower (Suitable as per approved shop drawing) | Supply Installation of integration Module of Exhaust Fresh air Blower (Suitable as per approved shop drawing) | Nos | 3 | 12600 | 7250 | 21750 | 4200 | 12600 | 4800 | 14400 | 6700 | 20100 | 4800 | 14400
23 |  | Supply Installation of integration Module of Hood Suppression System | Supply Installation of integration Module of Hood Suppression System | Nos | 2 | 8400 | 7250 | 14500 | 4200 | 8400 | 5300 | 10600 | 8800 | 17600 | 5300 | 10600
24 |  | Supply Installation of integration Module of Gas leaked Detector | Supply Installation of integration Module of Gas leaked Detector | Nos | 2 | 8400 | 7250 | 14500 | 4200 | 8400 | 5500 | 11000 | 6500 | 13000 | 5500 | 11000
25 |  | Supply Installation of integration Module of Fire Sprinkler Temper Switch | Supply Installation of integration Module of Fire Sprinkler Temper Switch | Nos | 1 | 4200 | 7250 | 7250 | 4200 | 4200 | 8000 | 8000 | 6490 | 6490 | 8000 | 8000
26 |  | Supply Installation of integration Module of Solenoid Valve | Supply Installation of integration Module of Solenoid Valve | Nos | 1 | 4200 | 7250 | 7250 | 4200 | 4200 | 5300 | 5300 | 7350 | 7350 | 5300 | 5300
27 |  | Supply Installation of integration Module of AHU UNIT (Suitable as per approved shop drawing) | Supply Installation of integration Module of AHU UNIT (Suitable as per approved shop drawing) | Nos | 2 | 8400 | 7250 | 14500 | 4200 | 8400 | 6300 | 12600 | 6900 | 13800 | 6300 | 12600
28 |  | Supply Installation of integration Module of Mall main fire alarm system panel | Supply Installation of integration Module of Mall main fire alarm system panel | No | 1 | 4200 | 8250 | 8250 | 4200 | 4200 | 10600 | 10600 | 6900 | 6900 | 10600 | 10600
29 |  | Supply Installation of integration Module for Flow switch, Temper Switch and commissioning with Fire Alarm Panel | Supply Installation of integration Module for Flow switch, Temper Switch and commissioning with Fire Alarm Panel | No | 2 | 8400 | 7250 | 14500 | 4200 | 8400 | 9700 | 19400 | 7700 | 15400 | 9700 | 19400
30 |  | Supply Installation CEILING MOUNTED AUOMATIC FIRE EXITINGUISHER - CEILING MOUNTED AUTOMATIC FIRE EXTINGUISHER (CAPACITY - 4KG) with 3 years refilling warranty | Supply Installation CEILING MOUNTED AUOMATIC FIRE EXITINGUISHER - CEILING MOUNTED AUTOMATIC FIRE EXTINGUISHER (CAPACITY - 4KG) with 3 years refilling warranty | No | 3 | 29100 | 14500 | 43500 | 14500 | 43500 | 9700 | 29100 | 28500 | 85500 | 9700 | 29100
31 |  | ABC - AUTO GLOW Signage type Fire Extinguisher size 100mm X 100mm | ABC - AUTO GLOW Signage type Fire Extinguisher size 100mm X 100mm | No | 3 | 1950 | 950 | 2850 | 6000 | 18000 | 650 | 1950 | 1850 | 5550 | 650 | 1950
32 |  | CO2 - AUTO GLOW Signage type Fire Extinguisher size 100mm X 100mm | CO2 - AUTO GLOW Signage type Fire Extinguisher size 100mm X 100mm | No | 3 | 1950 | 950 | 2850 | 8500 | 25500 | 650 | 1950 | 1850 | 5550 | 650 | 1950
33 |  | K type - AUTO GLOW Signage type Fire Extinguisher size 100mm X 100mm | K type - AUTO GLOW Signage type Fire Extinguisher size 100mm X 100mm | No | 3 | 2250 | 950 | 2850 | 10500 | 31500 | 750 | 2250 | 1850 | 5550 | 750 | 2250
34 |  | (THIS PREMISES IS FIRE SAFETY COMPLIANT) with Local Language - Mentioning AUTO GLOW Signage type 300mmX150Mmm | (THIS PREMISES IS FIRE SAFETY COMPLIANT) with Local Language - Mentioning AUTO GLOW Signage type 300mmX150Mmm | No | 2 | 1500 | 950 | 1900 | 1500 | 3000 | 750 | 1500 | 2990 | 5980 | 750 | 1500
35 |  | Metal Rectangular Emergency Exit Signage, For Indoor, Board Thickness 5mm | Metal Rectangular Emergency Exit Signage, For Indoor, Board Thickness 5mm | No | 4 | 3800 | 1050 | 4200 | 2500 | 10000 | 950 | 3800 | 2800 | 11200 | 950 | 3800

## Air Condition
|  | RFQ No: R1994 COST COMPARISON REPORT | RFQ No: R1994 COST COMPARISON REPORT | Comp. Date : 18/10/2024 | Comp. Date : 18/10/2024 | Comp. Date : 18/10/2024 | Vendor Name : Mahamaya Engineering | Vendor Name : Mahamaya Engineering | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : CRYSTAL AIRCOOL
|  | RFQ No: R1994 COST COMPARISON REPORT | RFQ No: R1994 COST COMPARISON REPORT | RFQ #: R1994 | RFQ #: R1994 | RFQ #: R1994 | Contact Name : Yash Katoch | Contact Name : Yash Katoch | Contact Name : Asraf | Contact Name : Asraf | Contact Name : PREMKANT | Contact Name : PREMKANT | Contact Name : John | Contact Name : John
|  | RFQ No: R1994 COST COMPARISON REPORT | RFQ No: R1994 COST COMPARISON REPORT | RFQ Date : 17/10/2024 16:45:23 | RFQ Date : 17/10/2024 16:45:23 | RFQ Date : 17/10/2024 16:45:23 | Vendor City : Delhi | Vendor City : Delhi | Vendor City : DELHI | Vendor City : DELHI | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R1994 COST COMPARISON REPORT | RFQ No: R1994 COST COMPARISON REPORT | BCD Date : 18/10/2024 16:45:00 | BCD Date : 18/10/2024 16:45:00 | BCD Date : 18/10/2024 16:45:00 | Telephone # : | Telephone # : | Telephone # : 9810634901 | Telephone # : 9810634901 | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R1994 COST COMPARISON REPORT | RFQ No: R1994 COST COMPARISON REPORT |  |  |  | Mobile # : 9205300857 | Mobile # : 9205300857 | Mobile # : 9810634901 | Mobile # : 9810634901 | Mobile # : | Mobile # : | Mobile # : 9004000048 | Mobile # : 9004000048
PR Number : DCPL-2425-00168 | PR Number : DCPL-2425-00168 | PR Number : DCPL-2425-00168 | PR Number : DCPL-2425-00168 | PR Number : DCPL-2425-00168 | PR Number : DCPL-2425-00168 | PR Number : DCPL-2425-00168 | Email : mahamaya.engineering1@gmail.com | Email : mahamaya.engineering1@gmail.com | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com | Email : crystalaircool@gmail.com | Email : crystalaircool@gmail.com
Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Package / RFQ Name : Air Condition Work- CC Prestige Park BLR | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | BUDGET PRICE :1,000,000.00 | BUDGET PRICE :1,000,000.00 | BUDGET PRICE :1,000,000.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Air Conditioning | Air Conditioning Work | EA | 1 |  |  | 720000 |  | 1011550 |  | 1129485 |  | 700000
1 |  | CHILLED WATER TYPE CSU AHU UNITS 11.0TR - (4400CFM) static-50mm - Supply, installation, testing commissioning of Double skin construction draw thru type AIR HANDELING UNIT. Direct Driven Backward Curved Plug Fans with VFD, with Squirrel cage IE2 induction motor, GSS frame supporting frame work, Plug type fan, vibration isolators, base frame, Motor shall be suitable for operation of Variable Frequency Drive operation with 415±10% volts, 3 phase AC supply.cost included for VFD. Coils shall have 12.5 to 15 mm dia (O.D )tubes minimum 0.35 mm thick with sine wave aluminium fins firmly bonded to copper tubes assembled in zinc coated steel frame. Face and surface areas shall be such as to ensure rated capacity from each unit and such that the air velocity across the coil shall not exceed 150 meters per minute. The coil shall be pitched in the unit casing for proper drainage. The coil shall have suitable size header with Chilled water COIL supply return connections protruding out of AHU casing by minimum 150 mm. Each coil shall be factory-tested at 21 kg per sq. m air pressure under water. Tube shall be mechanically expanded for minimum thermal contact resistance with fins. Fin spacing shall be 8 - 12 fins per cm. Water pressure drop in coil shall not exceed 10 PSIG. (Including THERMOSTAT WITH REMOTE CONTROL cable) | CHILLED WATER TYPE CSU AHU UNITS 11.0TR - (4400CFM) static-50mm - Supply, installation, testing commissioning of Double skin construction draw thru type AIR HANDELING UNIT. Direct Driven Backward Curved Plug Fans with VFD, with Squirrel cage IE2 induction motor, GSS frame supporting frame work, Plug type fan, vibration isolators, base frame, Motor shall be suitable for operation of Variable Frequency Drive operation with 415±10% volts, 3 phase AC supply.cost included for VFD. Coils shall have 12.5 to 15 mm dia (O.D )tubes minimum 0.35 mm thick with sine wave aluminium fins firmly bonded to copper tubes assembled in zinc coated steel frame. Face and surface areas shall be such as to ensure rated capacity from each unit and such that the air velocity across the coil shall not exceed 150 meters per minute. The coil shall be pitched in the unit casing for proper drainage. The coil shall have suitable size header with Chilled water COIL supply return connections protruding out of AHU casing by minimum 150 mm. Each coil shall be factory-tested at 21 kg per sq. m air pressure under water. Tube shall be mechanically expanded for minimum thermal contact resistance with fins. Fin spacing shall be 8 - 12 fins per cm. Water pressure drop in coil shall not exceed 10 PSIG. (Including THERMOSTAT WITH REMOTE CONTROL cable) | Nos | 2 | 240400 | 120200 | 240400 | 265000 | 530000 | 255400 | 510800 | 185000 | 370000
2 |  | 65 mm dia - CHILLED WATER PIPING - Supply, delivery, installation, testing of MS C class piping complete with fittings (bends, Tees, reducers, flanges etc.)of class O elastomeric 13mm Nitrile Rubber with 2 coats – one on the insulated surface along with Glass Cloth | 65 mm dia - CHILLED WATER PIPING - Supply, delivery, installation, testing of MS C class piping complete with fittings (bends, Tees, reducers, flanges etc.)of class O elastomeric 13mm Nitrile Rubber with 2 coats – one on the insulated surface along with Glass Cloth | Rmt | 18 | 27900 | 1950 | 35100 | 1850 | 33300 | 2050 | 36900 | 1550 | 27900
3 |  | 40 mm dia - CHILLED WATER PIPING - Supply, delivery, installation, testing of MS C class piping complete with fittings (bends, Tees, reducers, flanges etc.)of class O elastomeric 13mm Nitrile Rubber with 2 coats – one on the insulated surface along with Glass Cloth | 40 mm dia - CHILLED WATER PIPING - Supply, delivery, installation, testing of MS C class piping complete with fittings (bends, Tees, reducers, flanges etc.)of class O elastomeric 13mm Nitrile Rubber with 2 coats – one on the insulated surface along with Glass Cloth | Rmt | 10 | 13500 | 1570 | 15700 | 1450 | 14500 | 1450 | 14500 | 1350 | 13500
4 |  | 65 mm dia - Butterfly Valves with steel shaft and cast iron body (PN 10) - Supply, delivery, Installation testing of Valves with insulation as per specifications.Approved Make - Zoloto | 65 mm dia - Butterfly Valves with steel shaft and cast iron body (PN 10) - Supply, delivery, Installation testing of Valves with insulation as per specifications.Approved Make - Zoloto | Nos | 2 | 4010 | 6500 | 13000 | 6500 | 13000 | 7850 | 15700 | 2005 | 4010
5 |  | 40 mm dia - Butterfly Valves with steel shaft and cast iron body (PN 10) - Supply, delivery, Installation testing of Valves with insulation as per specifications.Approved Make - Zoloto | 40 mm dia - Butterfly Valves with steel shaft and cast iron body (PN 10) - Supply, delivery, Installation testing of Valves with insulation as per specifications.Approved Make - Zoloto | Nos | 4 | 10000 | 6000 | 24000 | 4500 | 18000 | 4850 | 19400 | 2500 | 10000
6 |  | 40 mm dia - Y Strainers with cast iron fabricated steel body (PN 10) - Butterfly Valves with steel shaft and cast iron body (PN 10) - Supply, delivery, Installation testing of Valves with insulation as per specifications.Approved Make - Zoloto | 40 mm dia - Y Strainers with cast iron fabricated steel body (PN 10) - Butterfly Valves with steel shaft and cast iron body (PN 10) - Supply, delivery, Installation testing of Valves with insulation as per specifications.Approved Make - Zoloto | Nos | 2 | 7000 | 6500 | 13000 | 4500 | 9000 | 4450 | 8900 | 3500 | 7000
7 |  | 40 mm dia 2 way Control valve - Supply, installation, testing and commissioning of complete set of control valve kit comprising of Two Way Control Valve of C.I body of PN16 ratings, motorized modulating actuators with linear stroke of minimum 15 mm, AHU room,one thermowell,one power supply unit of 230Vac 24Vac.Tranparent IP55 Control box for mounting Digital controller and power supply unit.The valve size shall be suitable for pipe size coil capacity | 40 mm dia 2 way Control valve - Supply, installation, testing and commissioning of complete set of control valve kit comprising of Two Way Control Valve of C.I body of PN16 ratings, motorized modulating actuators with linear stroke of minimum 15 mm, AHU room,one thermowell,one power supply unit of 230Vac 24Vac.Tranparent IP55 Control box for mounting Digital controller and power supply unit.The valve size shall be suitable for pipe size coil capacity | Nos | 4 | 50000 | 20000 | 80000 | 26500 | 106000 | 55600 | 222400 | 12500 | 50000
8 |  | Supply and Installation of Auto Air Vents with ball valve - 25 mm dia. | Supply and Installation of Auto Air Vents with ball valve - 25 mm dia. | Nos | 4 | 6000 | 1500 | 6000 | 2250 | 9000 | 2250 | 9000 | 2250 | 9000
9 |  | Supply and Installation of Purge valve - 25 mm dia. | Supply and Installation of Purge valve - 25 mm dia. | Nos | 4 | 2200 | 1500 | 6000 | 550 | 2200 | 2250 | 9000 | 2250 | 9000
10 |  | Pressure gauges as per specification for mounting on chilled water pipe (Range 0 - 10 kg cm2) with cock and U pipe with ball valve. | Pressure gauges as per specification for mounting on chilled water pipe (Range 0 - 10 kg cm2) with cock and U pipe with ball valve. | Nos | 4 | 7400 | 2000 | 8000 | 1850 | 7400 | 1850 | 7400 | 2250 | 9000
11 |  | Temperature gauges as per specification for mounting on pipe. (Range 0 - 50°C) with brass thermowells for mounting temperature gauges on chilled water line. | Temperature gauges as per specification for mounting on pipe. (Range 0 - 50°C) with brass thermowells for mounting temperature gauges on chilled water line. | Nos | 4 | 4200 | 2500 | 10000 | 1050 | 4200 | 2240 | 8960 | 2250 | 9000
12 |  | drain pipe PVC complete with fitting, U trap, Support, receiving funnel preformed 3mm insulation. 32 mm | drain pipe PVC complete with fitting, U trap, Support, receiving funnel preformed 3mm insulation. 32 mm | Rmt | 20 | 3300 | 550 | 11000 | 180 | 3600 | 350 | 7000 | 165 | 3300
13 |  | 0.63 mm (24 SWG) GSS ducting (601mm-750mm) - OVAL Ducting in Galvanised Steel - Supply, fabrication, installation and testing of GSS metal ducts as per IS-277 (120 GSM both sides, LFQ confirming to Class VIII) for GS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications. | 0.63 mm (24 SWG) GSS ducting (601mm-750mm) - OVAL Ducting in Galvanised Steel - Supply, fabrication, installation and testing of GSS metal ducts as per IS-277 (120 GSM both sides, LFQ confirming to Class VIII) for GS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications. | Sqmt | 45 | 56250 | 1400 | 63000 | 1850 | 83250 | 1250 | 56250 | 1300 | 58500
14 |  | 13 mm thick - Insulation of Duct - Supplying and fixing of following thickness under deck Nitrie Rubber (Class O type of fire retadancy). (Make - Hira Technologies) | 13 mm thick - Insulation of Duct - Supplying and fixing of following thickness under deck Nitrie Rubber (Class O type of fire retadancy). (Make - Hira Technologies) | Sqmt | 50 | 22500 | 1050 | 52500 | 650 | 32500 | 850 | 42500 | 450 | 22500
15 |  | 1.09 mm (18 MSG) MS ducting (PLENUM) - Rectangular Ducting in Galvanised Steel Supply, fabrication, installation and testing of MS SS metal ducts as per IS-277 (120 GSM both sides, LFQ confirming to Class VIII) for MS SS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications. | 1.09 mm (18 MSG) MS ducting (PLENUM) - Rectangular Ducting in Galvanised Steel Supply, fabrication, installation and testing of MS SS metal ducts as per IS-277 (120 GSM both sides, LFQ confirming to Class VIII) for MS SS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications. | Sqm | 17 | 22100 | 1700 | 28900 | 1650 | 28050 | 3650 | 62050 | 1300 | 22100
16 |  | 13 mm thick - Insulation of Duct - Supplying and fixing of following thickness under deck Nitrie Rubber (Class O type of fire retadancy). (Make - Hira Technologies) | 13 mm thick - Insulation of Duct - Supplying and fixing of following thickness under deck Nitrie Rubber (Class O type of fire retadancy). (Make - Hira Technologies) | Sqmt | 20 | 9000 | 600 | 12000 | 650 | 13000 | 850 | 17000 | 450 | 9000
17 |  | VOLUME CONTROL DAMPER IN DUCTING -= Supply, installation and testing of GI construction louver dampers within ducts to be provided with suitable links, levers and quadrants for manual control of volume of air flow and for proper balancing of the air distribution system | VOLUME CONTROL DAMPER IN DUCTING -= Supply, installation and testing of GI construction louver dampers within ducts to be provided with suitable links, levers and quadrants for manual control of volume of air flow and for proper balancing of the air distribution system | Sqm | 1.5 | 6750 | 10000 | 15000 | 10500 | 15750 | 8750 | 13125 | 4500 | 6750
18 |  | 450 x 150mm - Extruded Aluminum Powder Coated Grilles Of Required Airflow Angles With Coller Damper- EP -00 15 30 with four side flanges as following sizes. | 450 x 150mm - Extruded Aluminum Powder Coated Grilles Of Required Airflow Angles With Coller Damper- EP -00 15 30 with four side flanges as following sizes. | Nos. | 24 | 31200 | 1600 | 38400 | 2200 | 52800 | 1650 | 39600 | 1300 | 31200
19 |  | 150mm Width - Extruded Aluminum Powder Coated Continuous Linear Grilles Of Required Airflow Angles Without V.C.D- EP -00 15 30 with four side flanges as per requirements. | 150mm Width - Extruded Aluminum Powder Coated Continuous Linear Grilles Of Required Airflow Angles Without V.C.D- EP -00 15 30 with four side flanges as per requirements. | Rmt | 20 | 28240 | 2400 | 48000 | 1800 | 36000 | 1450 | 29000 | 1412 | 28240

## Ventilation
|  | RFQ No: R1973 COST COMPARISON REPORT | RFQ No: R1973 COST COMPARISON REPORT | Comp. Date : 18/10/2024 | Comp. Date : 18/10/2024 | Comp. Date : 18/10/2024 | Vendor Name : APC Air Control | Vendor Name : APC Air Control | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : CRYSTAL AIRCOOL | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : Mahamaya Engineering | Vendor Name : Mahamaya Engineering
|  | RFQ No: R1973 COST COMPARISON REPORT | RFQ No: R1973 COST COMPARISON REPORT | RFQ #: R1973 | RFQ #: R1973 | RFQ #: R1973 | Contact Name : Rajvinder | Contact Name : Rajvinder | Contact Name : John | Contact Name : John | Contact Name : Asraf | Contact Name : Asraf | Contact Name : PREMKANT | Contact Name : PREMKANT | Contact Name : Yash Katoch | Contact Name : Yash Katoch
|  | RFQ No: R1973 COST COMPARISON REPORT | RFQ No: R1973 COST COMPARISON REPORT | RFQ Date : 17/10/2024 18:39:16 | RFQ Date : 17/10/2024 18:39:16 | RFQ Date : 17/10/2024 18:39:16 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : DELHI | Vendor City : DELHI | Vendor City : | Vendor City : | Vendor City : Delhi | Vendor City : Delhi
|  | RFQ No: R1973 COST COMPARISON REPORT | RFQ No: R1973 COST COMPARISON REPORT | BCD Date : 18/10/2024 18:39:00 | BCD Date : 18/10/2024 18:39:00 | BCD Date : 18/10/2024 18:39:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : 9810634901 | Telephone # : 9810634901 | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R1973 COST COMPARISON REPORT | RFQ No: R1973 COST COMPARISON REPORT |  |  |  | Mobile # : 7837249094 | Mobile # : 7837249094 | Mobile # : 9004000048 | Mobile # : 9004000048 | Mobile # : 9810634901 | Mobile # : 9810634901 | Mobile # : | Mobile # : | Mobile # : 9205300857 | Mobile # : 9205300857
PR Number : DCPL-2425-00167 | PR Number : DCPL-2425-00167 | PR Number : DCPL-2425-00167 | PR Number : DCPL-2425-00167 | PR Number : DCPL-2425-00167 | PR Number : DCPL-2425-00167 | PR Number : DCPL-2425-00167 | Email : apcmumbai@gmail.com | Email : apcmumbai@gmail.com | Email : crystalaircool@gmail.com | Email : crystalaircool@gmail.com | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com | Email : mahamaya.engineering1@gmail.com | Email : mahamaya.engineering1@gmail.com
Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Package / RFQ Name : Ventilation works- CC Prestige Park BLR | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ) | Round # : 8 (RFQ)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | Comp. # : 8 | BUDGET PRICE :1,000,000.00 | BUDGET PRICE :1,000,000.00 | BUDGET PRICE :1,000,000.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Ventilation Work | Ventilation Works | EA | 1 |  |  | 743250 |  | 580000 |  | 700000 |  | 978000 |  | 589000
1 |  | Electrostatic Precipitator Filter for Kitchen Exhaust Air Treatment (Scrubber), Exhaust Air Qty - 5500CFM (Approved make - APC-DS-2) - Construction Made of 16 gauge galvanized sheet, high bake epoxy powder coated or 2 mm mild steel plate oil proof of IP 54. - Operating Voltage 220V 1Ph 50Hz - Power consumption 50 watts per module unit up to 5000 cfm. - Pre Filter Washable type aluminum mesh pre-filter - Ionizer spring loaded Tungsten wires to create high voltage DC field 12-13 kV - Collector Plate High grade Aluminum collector plates which should be alternatively charged positive negative with large collecting area. Collector cell should be of permanent type and slide out facility for easy removal for cleaning. - Insulator Teaflon insulator. - Access door to filter section shall be equipped with safety limit switch. | Electrostatic Precipitator Filter for Kitchen Exhaust Air Treatment (Scrubber), Exhaust Air Qty - 5500CFM (Approved make - APC-DS-2) - Construction Made of 16 gauge galvanized sheet, high bake epoxy powder coated or 2 mm mild steel plate oil proof of IP 54. - Operating Voltage 220V 1Ph 50Hz - Power consumption 50 watts per module unit up to 5000 cfm. - Pre Filter Washable type aluminum mesh pre-filter - Ionizer spring loaded Tungsten wires to create high voltage DC field 12-13 kV - Collector Plate High grade Aluminum collector plates which should be alternatively charged positive negative with large collecting area. Collector cell should be of permanent type and slide out facility for easy removal for cleaning. - Insulator Teaflon insulator. - Access door to filter section shall be equipped with safety limit switch. | Nos | 2 | 344774 | 245000 | 490000 | 172387 | 344774 | 235000 | 470000 | 345000 | 690000 | 450000 | 900000
2 |  | 0.80 mm (22 SWG) GSS ducting (751mm-1500mm) - Supply, fabrication, installation and testing of MS SS metal ducts as per IS-277 (120 GSM both sides, LFQ confirming to Class VIII) for MS SS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications. | 0.80 mm (22 SWG) GSS ducting (751mm-1500mm) - Supply, fabrication, installation and testing of MS SS metal ducts as per IS-277 (120 GSM both sides, LFQ confirming to Class VIII) for MS SS Sheets and IS-655 for fabrication of following thicknesses including necessary G.I. hangers supports, volume control duct dampers, accessories, vanes, 3 mm neoprene rubber gasket etc. complete as per specifications in accordance with the approved shop drawings. No slip joints shall be allowed. Flanges shall be Rolamate or equivalent and ducts upto 1500 mm width shall be with rigid support (Gripple support to be provided wherever required) as per technical specifications. | Sqmt | 105 | 133140 | 1450 | 152250 | 1268 | 133140 | 1850 | 194250 | 1450 | 152250 | 1650 | 173250
3 |  | Insulation of duct 13 mm thick - Supplying and fixing of following thickness duly laminated aluminum foil of mat finish. (Make - K Flex Technologies) | Insulation of duct 13 mm thick - Supplying and fixing of following thickness duly laminated aluminum foil of mat finish. (Make - K Flex Technologies) | Sqmt | 50 | 27650 | 700 | 35000 | 553 | 27650 | 650 | 32500 | 950 | 47500 | 800 | 40000
4 |  | Volume Control Damper In Ducting - Supply, installation and adjusting of GSS Volume Control Damper within ducts complete as specified and with suitable links, levers. Blades should be opposed blade type. The blades should be mounted in nylon bushes operated by an interior wheel gear system. Manual quadrant control with position indicator to be provided to enable adjust volume of air as required. | Volume Control Damper In Ducting - Supply, installation and adjusting of GSS Volume Control Damper within ducts complete as specified and with suitable links, levers. Blades should be opposed blade type. The blades should be mounted in nylon bushes operated by an interior wheel gear system. Manual quadrant control with position indicator to be provided to enable adjust volume of air as required. | Sqmt | 4 | 23532 | 6000 | 24000 | 5883 | 23532 | 10500 | 42000 | 6750 | 27000 | 16500 | 66000
5 |  | Supplying fixing of black mat finish extruded aluminium opposed blade volume control dampers in supply air duct collars as per approved shop drawings and specifications | Supplying fixing of black mat finish extruded aluminium opposed blade volume control dampers in supply air duct collars as per approved shop drawings and specifications | Nos | 7 | 5600 | 2000 | 14000 | 5524 | 38668 | 800 | 5600 | 4250 | 29750 | 2800 | 19600
6 |  | Grilles 300mmX300mm - Extruded Aluminum Powder Coated Grilles Of Required Airflow Angles Without V.C.D- EP -00 15 30 with four side flanges as following sizes. | Grilles 300mmX300mm - Extruded Aluminum Powder Coated Grilles Of Required Airflow Angles Without V.C.D- EP -00 15 30 with four side flanges as following sizes. | Nos | 14 | 12236 | 2000 | 28000 | 874 | 12236 | 1600 | 22400 | 2250 | 31500 | 2800 | 39200