## Price Comparison
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | Comp. Date : 15/01/2024 | Comp. Date : 15/01/2024 | Comp. Date : 15/01/2024 | Vendor Name : Electech Enterprises (RV232412099) | [20 empty] | Vendor Name : Shah Enterprises (RV232412871) | [20 empty] | Vendor Name : Arrow Electrical (T051604)
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ #: R0069 | RFQ #: R0069 | RFQ #: R0069 | Contact Name : | [20 empty] | Contact Name : Sabir Ali Shah | [20 empty] | Contact Name : Alam Khan
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ Date : 15/01/2024 13:53:41 | RFQ Date : 15/01/2024 13:53:41 | RFQ Date : 15/01/2024 13:53:41 | Vendor City : | [20 empty] | Vendor City : | [20 empty] | Vendor City :
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | [20 empty] | Telephone # : | [20 empty] | Telephone # :
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT |  |  |  | Mobile # : | [20 empty] | Mobile # : | [20 empty] | Mobile # :
PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | Email : alam@electechenterprises.net | [20 empty] | Email : shahenterindia@gmail.com | [20 empty] | Email : project.arrowelectricals@gmail.com
Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Round # : 1 (RFQ) |  |  |  |  | Round # : 2 (RFQ) |  |  |  |  | Round # : 3 (RFQ) |  |  |  |  | Round # : 4 (Auction) | [5 empty] | Round # : 1 (RFQ) |  |  |  |  | Round # : 2 (RFQ) |  |  |  |  | Round # : 3 (RFQ) |  |  |  |  | Round # : 4 (Auction) | [5 empty] | Round # : 1 (RFQ) |  |  |  |  | Round # : 2 (RFQ) |  |  |  |  | Round # : 3 (RFQ) |  |  |  |  | Round # : 4 (Auction)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : |  |  |  |  | Buyer Remark : |  |  |  |  | Buyer Remark : . |  |  |  |  | Buyer Remark : . | [5 empty] | Buyer Remark : |  |  |  |  | Buyer Remark : |  |  |  |  | Buyer Remark : |  |  |  |  | Buyer Remark : | [5 empty] | Buyer Remark : |  |  |  |  | Buyer Remark : |  |  |  |  | Buyer Remark : |  |  |  |  | Buyer Remark :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR | [5 empty] | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR | [5 empty] | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR |  |  |  |  | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Technical | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Technical | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Unit Price | Total | Price | Disc % | GST % | Technical | Unit Price | Total
1 |  | PR for Electrical for DEL Budweiser Bar | NOS | 1.00 |  | 1670770.00 | Electech Enterprises | 1780270.00 | 0.00 | 18.00 | 1,780,270.00 | 1,780,270.00 | 1780270.00 | 0.00 | 18.00 | 1,780,270.00 | 1,780,270.00 | 1780270.00 | 0.00 | 18.00 | 1,670,770.00 | 1,670,770.00 | 1780270.00 | 0.00 | 0.00 |  | 1,670,770.00 | 1,670,770.00 | 1892648.00 | 0.00 | 18.00 | 1,892,648.00 | 1,892,648.00 | 1892648.00 | 0.00 | 18.00 | 1,892,648.00 | 1,892,648.00 | 1892648.00 | 0.00 | 18.00 | 1,892,648.00 | 1,892,648.00 | 1892648.00 | 0.00 | 0.00 |  | 1,892,648.00 | 1,892,648.00 | 1802848.00 | 0.00 | 18.00 | 1,802,848.00 | 1,802,848.00 | 1802848.00 | 0.00 | 18.00 | 1,979,148.00 | 1,979,148.00 | 1802848.00 | 0.00 | 18.00 | 1,979,148.00 | 1,979,148.00 | 1802848.00 | 0.00 | 0.00 |  | 1,979,148.00 | 1,979,148.00
Item Total | [8 empty] | .00 | 320,448.60 |  | 1,780,270.00 |  | .00 | 320,448.60 |  | 1,780,270.00 |  | .00 | 300,738.60 |  | 1,670,770.00 |  | .00 | .00 |  |  | 1,670,770.00 |  | .00 | 340,676.64 |  | 1,892,648.00 |  | .00 | 340,676.64 |  | 1,892,648.00 |  | .00 | 340,676.64 |  | 1,892,648.00 |  | .00 | .00 |  |  | 1,892,648.00 |  | .00 | 324,512.64 |  | 1,802,848.00 |  | .00 | 356,246.64 |  | 1,979,148.00 |  | .00 | 356,246.64 |  | 1,979,148.00 |  | .00 | .00 |  |  | 1,979,148.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [11 empty] | 320,448.60 |  |  |  |  | 320,448.60 |  |  |  |  | 300,738.60 | [5 empty] | .00 |  |  |  |  | 340,676.64 |  |  |  |  | 340,676.64 |  |  |  |  | 340,676.64 | [5 empty] | .00 |  |  |  |  | 324,512.64 |  |  |  |  | 356,246.64 |  |  |  |  | 356,246.64 | [5 empty] | .00
Net Landed Cost | [10 empty] | INR | 2,100,718.60 |  |  |  | INR | 2,100,718.60 |  |  |  | INR | 1,971,508.60 |  |  |  |  | INR | 1,670,770.00 |  |  |  | INR | 2,233,324.64 |  |  |  | INR | 2,233,324.64 |  |  |  | INR | 2,233,324.64 |  |  |  |  | INR | 1,892,648.00 |  |  |  | INR | 2,127,360.64 |  |  |  | INR | 2,335,394.64 |  |  |  | INR | 2,335,394.64 |  |  |  |  | INR | 1,979,148.00
Vendor Status | [7 empty] | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 4 (Auction) | Round # : 4 (Auction)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks | Status | Remarks | Status | Remarks | Status | Remarks
1 | T051604 | Arrow Electrical | [5 empty] | Participate |  | Participate |  | Participate |  | Participate
2 | RV232412871 | Shah Enterprises | [5 empty] | Participate |  | Participate |  | Participate |  | Participate
3 | RV232412099 | Electech Enterprises | [5 empty] | Participate |  | Participate |  | Participate |  | Participate

## BOQ Price Bid
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | Comp. Date : 15/01/2024 | Comp. Date : 15/01/2024 | Comp. Date : 15/01/2024 | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises | Vendor Name : Shah Enterprises | Vendor Name : Shah Enterprises | Vendor Name : Arrow Electrical | Vendor Name : Arrow Electrical
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ #: R0069 | RFQ #: R0069 | RFQ #: R0069 | Contact Name : | Contact Name : | Contact Name : Sabir Ali Shah | Contact Name : Sabir Ali Shah | Contact Name : Alam Khan | Contact Name : Alam Khan
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ Date : 15/01/2024 13:53:41 | RFQ Date : 15/01/2024 13:53:41 | RFQ Date : 15/01/2024 13:53:41 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net | Email : shahenterindia@gmail.com | Email : shahenterindia@gmail.com | Email : project.arrowelectricals@gmail.com | Email : project.arrowelectricals@gmail.com
Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | PR for Electrical for DEL Budweiser Bar | PR for Electrical for DEL Budweiser Bar | NOS | 1.000 |  |  | 1,670,770.00 |  | 1,892,648.00 |  | 1,979,148.00
1 | A | INCOMER ISOLATOR MCCB PANEL | INCOMER ISOLATOR MCCB PANEL
2 | A.1 | Supply, Installation, Testing Commissioning of Incomer Isolator MCCB Panel complete with Enclosure (If required as per site condition Airport TDM). Make Brand selection as per Airport TDM listed. | Supply, Installation, Testing Commissioning of Incomer Isolator MCCB Panel complete with Enclosure (If required as per site condition Airport TDM). Make Brand selection as per Airport TDM listed.
3 | A1.1 | 250A ISOLATOR MCCB PANEL | 250A ISOLATOR MCCB PANEL | No. | 1.000 | .00 | 42000.00 | 42,000.00 | 0.00 | .00 | 261300.00 | 261,300.00
4 | B | METER METER PANEL | METER METER PANEL
5 | B.1 | Supply, Installation, Testing Commissioning of Energy Meter Meter Panel (Prepaid Type) complete with Enclosure (If required as per site condition Airport TDM). Make Brand selection as per Airport TDM listed. | Supply, Installation, Testing Commissioning of Energy Meter Meter Panel (Prepaid Type) complete with Enclosure (If required as per site condition Airport TDM). Make Brand selection as per Airport TDM listed.
6 | B.1.1 | 250A 5A PREPAID ENERGY METER (CT Type) | 250A 5A PREPAID ENERGY METER (CT Type) | No. | 1.000 | .00 | 0.00 | .00 | 18500.00 | 18,500.00 | 35000.00 | 35,000.00
7 | C | LV CABLING | LV CABLING
8 | C.1 | Supply, Installation, Testing Commissioning of Fire Rated LSH LSZH PVC insulated PVC sheathed, Copper conductor, Steel Tape Wire Armoured, 1100V grade cable, complete with Termination of the same with Single Compression Brass Glands, Solderless Tinned Copper Lugs, Gland earthing, etc. The cable shall be laid Underground on Cable Tray in Pipe on Wall Trench as required. For cables laid on Cable Tray in Pipe on Wall Trench - the rate shall include necessary supporting clamping arrangements. | Supply, Installation, Testing Commissioning of Fire Rated LSH LSZH PVC insulated PVC sheathed, Copper conductor, Steel Tape Wire Armoured, 1100V grade cable, complete with Termination of the same with Single Compression Brass Glands, Solderless Tinned Copper Lugs, Gland earthing, etc. The cable shall be laid Underground on Cable Tray in Pipe on Wall Trench as required. For cables laid on Cable Tray in Pipe on Wall Trench - the rate shall include necessary supporting clamping arrangements.
9 | C.1.1 | 4C x 95 MM2 | 4C x 95 MM2 | Mtr. | 12.000 | 45,300.00 | 3775.00 | 45,300.00 | 4860.00 | 58,320.00 | 4610.00 | 55,320.00
10 | C.1.2 | 4C x 35 MM2 | 4C x 35 MM2 | Mtr. | 20.000 | 35,700.00 | 1785.00 | 35,700.00 | 3116.00 | 62,320.00 | 2120.00 | 42,400.00
11 | C.1.3 | 4C x 16 MM2 | 4C x 16 MM2 | Mtr. | 24.000 | 22,800.00 | 1050.00 | 25,200.00 | 1825.00 | 43,800.00 | 950.00 | 22,800.00
12 | C.1.4 | 4C x 6 MM2 | 4C x 6 MM2 | Mtr. | 50.000 | 25,750.00 | 580.00 | 29,000.00 | 1476.00 | 73,800.00 | 515.00 | 25,750.00
13 | C.1.5 | 4C x 4 MM2 | 4C x 4 MM2 | Mtr. | 30.000 | 11,550.00 | 495.00 | 14,850.00 | 583.00 | 17,490.00 | 385.00 | 11,550.00
14 | C.1.6 | 2C x 4 MM2 | 2C x 4 MM2 | Mtr. | 100.000 | 21,000.00 | 280.00 | 28,000.00 | 495.00 | 49,500.00 | 210.00 | 21,000.00
15 | D | DISTRIBUTION BOARDS | DISTRIBUTION BOARDS
16 | D.1 | Supply, Installation, Testing Commissioning of Surface Flush mounting 10kA 25kA (As per Panel requirement) Phase segregated Distribution Boards. The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate knock out at the top and bottom. The DB shall have hinged lockable door. The busbar shall be tinned copper, for phases mounted on fork type Insulator, Independent neutral busbar for each phase including inter connecting wiring earth bus on insulation mount. Make Brand selection as per Airport TDM listed. All DB s must named as per the SLD Load Calculation Sheet. Laminated SLD Load Calculation Sheet shall be placed near to DB Panel Locations. The RCCB RCBO shall be Hpi Si series MCB s shall be B C Curve (As per requirement). | Supply, Installation, Testing Commissioning of Surface Flush mounting 10kA 25kA (As per Panel requirement) Phase segregated Distribution Boards. The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate knock out at the top and bottom. The DB shall have hinged lockable door. The busbar shall be tinned copper, for phases mounted on fork type Insulator, Independent neutral busbar for each phase including inter connecting wiring earth bus on insulation mount. Make Brand selection as per Airport TDM listed. All DB s must named as per the SLD Load Calculation Sheet. Laminated SLD Load Calculation Sheet shall be placed near to DB Panel Locations. The RCCB RCBO shall be Hpi Si series MCB s shall be B C Curve (As per requirement).
17 |  | SMDB | SMDB
18 | D.1.1 | 8 Way TPN Panel Board with 250A TP MCCB incomer and 8 Nos. outgoings as per SLD Load Calculation Sheet complete with Starter Panels. Make Brand selection as per Airport TDM listed. | 8 Way TPN Panel Board with 250A TP MCCB incomer and 8 Nos. outgoings as per SLD Load Calculation Sheet complete with Starter Panels. Make Brand selection as per Airport TDM listed. | No. | 1.000 | 3,550.00 | 335000.00 | 335,000.00 | 3550.00 | 3,550.00 | 95000.00 | 95,000.00
19 |  | LPDB | LPDB
20 | D.1.2 | 16Way TPN Panel Board with 125A TPN Isolator incomer, 2 Nos. RCBO Sections and outgoings as per SLD Load Calculation Sheet. Make Brand selection as per Airport TDM listed. | 16Way TPN Panel Board with 125A TPN Isolator incomer, 2 Nos. RCBO Sections and outgoings as per SLD Load Calculation Sheet. Make Brand selection as per Airport TDM listed. | No. | 1.000 | 22,500.00 | 34000.00 | 34,000.00 | 22500.00 | 22,500.00 | 110000.00 | 110,000.00
21 |  | UPS DB | UPS DB
22 | D.1.3 | 6 Way SPN Panel Board with 20A 2P RCBO incomer and outgoings as per SLD Load Calculation Sheet. Make Brand selection as per Airport TDM listed. | 6 Way SPN Panel Board with 20A 2P RCBO incomer and outgoings as per SLD Load Calculation Sheet. Make Brand selection as per Airport TDM listed. | No. | 1.000 | 11,000.00 | 11000.00 | 11,000.00 | 12500.00 | 12,500.00 | 17500.00 | 17,500.00
23 | E | CIRCUIT MAINS EARTH | CIRCUIT MAINS EARTH
24 | E.1 | Supply, Installation, Testing Commissioning of Sub Circuit Mains Earth wires with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back Boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires, etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. Circuit mains shall be measured from DB to switch board, looping between switch board to outlets lights, and looping from switch board to switch board. | Supply, Installation, Testing Commissioning of Sub Circuit Mains Earth wires with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back Boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires, etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. Circuit mains shall be measured from DB to switch board, looping between switch board to outlets lights, and looping from switch board to switch board.
25 | E.1.1 | 1C x 50 MM2 | 1C x 50 MM2 | Mtr. | 12.000 | 1,800.00 | 750.00 | 9,000.00 | 150.00 | 1,800.00 | 455.00 | 5,460.00
26 | E.1.2 | 1C x 16 MM2 | 1C x 16 MM2 | Mtr. | 22.000 | 4,180.00 | 190.00 | 4,180.00 | 210.00 | 4,620.00 | 389.00 | 8,558.00
27 | E.1.3 | 2R X 6 SQ MM+1R X 4 SQ MM FRLSH WIRES | 2R X 6 SQ MM+1R X 4 SQ MM FRLSH WIRES | Mtr. | 80.000 | 22,400.00 | 280.00 | 22,400.00 | 325.00 | 26,000.00 | 485.00 | 38,800.00
28 | E.1.4 | 2R X 4 SQ MM+1R X 2.5 SQ MM FRLSH WIRES | 2R X 4 SQ MM+1R X 2.5 SQ MM FRLSH WIRES | Mtr. | 600.000 | 99,000.00 | 165.00 | 99,000.00 | 190.00 | 114,000.00 | 385.00 | 231,000.00
29 | E.1.5 | 2R X 2.5 SQ MM+1R X 1.5 SQ MM FRLSH WIRES | 2R X 2.5 SQ MM+1R X 1.5 SQ MM FRLSH WIRES | Mtr. | 300.000 | 40,500.00 | 135.00 | 40,500.00 | 145.00 | 43,500.00 | 290.00 | 87,000.00
30 | E.1.6 | 2R X 1.5 SQ MM+1R X 1.5 SQ MM FRLSH WIRES | 2R X 1.5 SQ MM+1R X 1.5 SQ MM FRLSH WIRES | Mtr. | 50.000 | 4,750.00 | 95.00 | 4,750.00 | 185.00 | 9,250.00 | 245.00 | 12,250.00
31 | F | LIGHT FIXTURES POINT WIRING | LIGHT FIXTURES POINT WIRING
32 | F.1 | Supply, Installation, Testing Commissioning of Light Fixture Point wiring (Light Fixtures to be as approved by Architect Design BOQ) with Lamps, Ballasts Drivers Starters, Switches Lighting Control Switch Board with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Brand selection by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. | Supply, Installation, Testing Commissioning of Light Fixture Point wiring (Light Fixtures to be as approved by Architect Design BOQ) with Lamps, Ballasts Drivers Starters, Switches Lighting Control Switch Board with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Brand selection by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension.
33 | F.1.1 | Ceiling Suspended Linear Lights (1200mm long) (Point Wiring only) | Ceiling Suspended Linear Lights (1200mm long) (Point Wiring only) | Nos. | 73.000 | 62,050.00 | 2000.00 | 146,000.00 | 850.00 | 62,050.00 | 3050.00 | 222,650.00
34 | F.1.2 | Designer Hanging LED Light (Point Wiring only) | Designer Hanging LED Light (Point Wiring only) | No. | 1.000 | 3,250.00 | 3500.00 | 3,500.00 | 3550.00 | 3,550.00 | 3250.00 | 3,250.00
35 | F.1.3 | Hanging LED Display (Point Wiring only) | Hanging LED Display (Point Wiring only) | No. | 1.000 | 2,850.00 | 3500.00 | 3,500.00 | 4500.00 | 4,500.00 | 2850.00 | 2,850.00
36 | F.1.4 | 600 x 600mm LED Panel Light (Point Wiring only) | 600 x 600mm LED Panel Light (Point Wiring only) | Nos. | 13.000 | 32,500.00 | 2500.00 | 32,500.00 | 3200.00 | 41,600.00 | 2850.00 | 37,050.00
37 | F.1.5 | Exit Light (Wall Ceiling Mounted) (Point Wiring only) | Exit Light (Wall Ceiling Mounted) (Point Wiring only) | Nos. | 6.000 | 13,500.00 | 2500.00 | 15,000.00 | 6500.00 | 39,000.00 | 2250.00 | 13,500.00
38 | F.1.6 | Lighting Control Switch board with switches as required (Point Wiring only) | Lighting Control Switch board with switches as required (Point Wiring only) | Nos. | 3.000 | 5,550.00 | 2100.00 | 6,300.00 | 8500.00 | 25,500.00 | 1850.00 | 5,550.00
39 | G | WIRING DEVICES (SWITCHES SOCKETS) | WIRING DEVICES (SWITCHES SOCKETS)
40 | G.1 | Supply, Installation, Testing Commissioning of Wiring Devices (Switches Sockets - Face Plate Finish as approved by Architect Matching to Architecture Finishes) with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. | Supply, Installation, Testing Commissioning of Wiring Devices (Switches Sockets - Face Plate Finish as approved by Architect Matching to Architecture Finishes) with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension.
41 | G.1.1 | 13A SINGLE SWITCHED SOCKET OUTLET | 13A SINGLE SWITCHED SOCKET OUTLET | Nos. | 24.000 | 18,000.00 | 750.00 | 18,000.00 | 4550.00 | 109,200.00 | 850.00 | 20,400.00
42 | G.1.2 | 13A SINGLE UNSWITCHED SOCKET OUTLET | 13A SINGLE UNSWITCHED SOCKET OUTLET | Nos. | 13.000 | 9,750.00 | 800.00 | 10,400.00 | 3150.00 | 40,950.00 | 750.00 | 9,750.00
43 | G.1.3 | 13A SINGLE UNSWITCHED SOCKET OUTLET (FLOOR BOX) | 13A SINGLE UNSWITCHED SOCKET OUTLET (FLOOR BOX) | No. | 1.000 | 750.00 | 750.00 | 750.00 | 3850.00 | 3,850.00 | 750.00 | 750.00
44 | G.1.4 | 13A SINGLE SWITCHED UNIVERSAL SOCKET OUTLET + USB PORT | 13A SINGLE SWITCHED UNIVERSAL SOCKET OUTLET + USB PORT | Nos. | 8.000 | 19,600.00 | 2800.00 | 22,400.00 | 18500.00 | 148,000.00 | 2450.00 | 19,600.00
45 | G.1.5 | 13A DUAL SWITCHED SOCKET OUTLET | 13A DUAL SWITCHED SOCKET OUTLET | Nos. | 2.000 | 2,800.00 | 1400.00 | 2,800.00 | 10500.00 | 21,000.00 | 1420.00 | 2,840.00
46 | G.1.6 | 20A SINGLE SWITCHED SOCKET OUTLET | 20A SINGLE SWITCHED SOCKET OUTLET | Nos. | 6.000 | 5,400.00 | 900.00 | 5,400.00 | 6500.00 | 39,000.00 | 1160.00 | 6,960.00
47 | G.1.7 | 25A SINGLE SWITCHED SOCKET OUTLET | 25A SINGLE SWITCHED SOCKET OUTLET | No. | 1.000 | 950.00 | 950.00 | 950.00 | 2550.00 | 2,550.00 | 1510.00 | 1,510.00
48 | G.1.8 | 16A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) | 16A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) | Nos. | 8.000 | 20,800.00 | 2600.00 | 20,800.00 | 3500.00 | 28,000.00 | 3450.00 | 27,600.00
49 | G.1.9 | 20A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) | 20A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) | Nos. | 9.000 | 25,200.00 | 2800.00 | 25,200.00 | 4580.00 | 41,220.00 | 3220.00 | 28,980.00
50 | G.1.10 | 32A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) | 32A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) | Nos. | 2.000 | 5,800.00 | 2900.00 | 5,800.00 | 5580.00 | 11,160.00 | 4550.00 | 9,100.00
51 | G.1.11 | 32A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) | 32A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) | Nos. | 2.000 | 9,760.00 | 12000.00 | 24,000.00 | 4880.00 | 9,760.00 | 12500.00 | 25,000.00
52 | G.1.12 | 63A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) | 63A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) | No. | 1.000 | 5,980.00 | 12500.00 | 12,500.00 | 5980.00 | 5,980.00 | 16500.00 | 16,500.00
53 | G.1.13 | 20A DOUBLE POLE SWITCH WITH NEON INDICATOR | 20A DOUBLE POLE SWITCH WITH NEON INDICATOR | No. | 1.000 | 950.00 | 950.00 | 950.00 | 7580.00 | 7,580.00 | 2110.00 | 2,110.00
54 | G.1.14 | 20A SINGLE UNSWITCHED SOCKET OUTLET | 20A SINGLE UNSWITCHED SOCKET OUTLET | No. | 1.000 | 800.00 | 800.00 | 800.00 | 3623.00 | 3,623.00 | 1710.00 | 1,710.00
55 | G.1.15 | 16A SINGLE PHASE INDICATOR | 16A SINGLE PHASE INDICATOR | Nos. | 3.000 | 1,650.00 | 600.00 | 1,800.00 | 1550.00 | 4,650.00 | 550.00 | 1,650.00
56 | G.1.16 | 20A THREE PHASE INDICATOR | 20A THREE PHASE INDICATOR | Nos. | 2.000 | 1,800.00 | 900.00 | 1,800.00 | 1875.00 | 3,750.00 | 1250.00 | 2,500.00
57 | H | CONTAINMENT (CABLE TRAY, TRUNKING, CONDUITS) | CONTAINMENT (CABLE TRAY, TRUNKING, CONDUITS)
58 | H.1 | Supply Installation of GI Cable Tray, GI Cable Trunking, GI Heavy Duty PVC conduits through wall ceiling floor as per drawings, complete with standard accessories factory made fittings, earthing throughout the run with copper braids, wall ceiling suspended supports, etc. Make Brand selection as per Airport TDM listed by Client. | Supply Installation of GI Cable Tray, GI Cable Trunking, GI Heavy Duty PVC conduits through wall ceiling floor as per drawings, complete with standard accessories factory made fittings, earthing throughout the run with copper braids, wall ceiling suspended supports, etc. Make Brand selection as per Airport TDM listed by Client.
59 | H.1 | 450 x 25 MM CABLE TRAY | 450 x 25 MM CABLE TRAY | Mtr. | 6.000 | 9,600.00 | 1600.00 | 9,600.00 | 2450.00 | 14,700.00 | 1650.00 | 9,900.00
60 | H.2 | 300 x 25 MM CABLE TRAY | 300 x 25 MM CABLE TRAY | Mtr. | 50.000 | 65,000.00 | 1300.00 | 65,000.00 | 2050.00 | 102,500.00 | 1350.00 | 67,500.00
61 | H.3 | 150 x 25 MM CABLE TRAY | 150 x 25 MM CABLE TRAY | Mtr. | 6.000 | 3,300.00 | 600.00 | 3,600.00 | 1450.00 | 8,700.00 | 550.00 | 3,300.00
62 | H.4 | 100 x 25 MM CABLE TRAY | 100 x 25 MM CABLE TRAY | Mtr. | 15.000 | 7,500.00 | 500.00 | 7,500.00 | 1275.00 | 19,125.00 | 520.00 | 7,800.00
63 | H.5 | 50 x 25 MM CABLE TRAY | 50 x 25 MM CABLE TRAY | Mtr. | 9.000 | 2,880.00 | 320.00 | 2,880.00 | 850.00 | 7,650.00 | 450.00 | 4,050.00
64 | H.6 | 100 x 50 MM CABLE TRUNKING | 100 x 50 MM CABLE TRUNKING | Mtr. | 30.000 | 25,500.00 | 850.00 | 25,500.00 | 1275.00 | 38,250.00 | 1320.00 | 39,600.00
65 | H.7 | 25 MM GI CONDUIT | 25 MM GI CONDUIT | Mtr. | 450.000 | 101,250.00 | 240.00 | 108,000.00 | 230.00 | 103,500.00 | 225.00 | 101,250.00
66 | H.8 | 20 MM PVC CONDUIT | 20 MM PVC CONDUIT | Mtr. | 50.000 | 4,750.00 | 190.00 | 9,500.00 | 275.00 | 13,750.00 | 95.00 | 4,750.00
67 | H.9 | 25 MM PVC CONDUIT | 25 MM PVC CONDUIT | Mtr. | 10.000 | 600.00 | 60.00 | 600.00 | 125.00 | 1,250.00 | 110.00 | 1,100.00
68 | I | UPS SYSTEM | UPS SYSTEM
69 | I.1 | Supply, Installation, Testing Commisioning of 2KVA Single phase UPS with 30 Minute Back-up with SMF Battery Bank + Battery Stand. | Supply, Installation, Testing Commisioning of 2KVA Single phase UPS with 30 Minute Back-up with SMF Battery Bank + Battery Stand. | No. | 1.000 | 65,000.00 | 75000.00 | 75,000.00 | 85000.00 | 85,000.00 | 65000.00 | 65,000.00
70 | J | CCTV SYSTEM | CCTV SYSTEM
71 | J.1 | Supply, Installation, Testing Commissioning of CCTV System with required cabling through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with CCTV console DVR, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. | Supply, Installation, Testing Commissioning of CCTV System with required cabling through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with CCTV console DVR, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension.
72 | J.1.1 | CCTV Dome Camera, 4 Megapixel As approved or confirmed by client, Real Day Night, Exir, IR LED, IP 67, with all neccessary accessories, Power supply units etc. | CCTV Dome Camera, 4 Megapixel As approved or confirmed by client, Real Day Night, Exir, IR LED, IP 67, with all neccessary accessories, Power supply units etc. | Nos. | 10.000 | .00 | 8500.00 | 85,000.00 | 8500.00 | 85,000.00 | 0.00 | .00
73 | J.1.2 | DVR with 45 Days Back-up | DVR with 45 Days Back-up | No. | 1.000 | .00 | 48000.00 | 48,000.00 | 28550.00 | 28,550.00 | 0.00 | .00
74 | J.1.3 | 4+1 CCTV Cable | 4+1 CCTV Cable | Mtr. | 300.000 | 33,000.00 | 110.00 | 33,000.00 | 145.00 | 43,500.00 | 110.00 | 33,000.00
75 | K | DATA NETWORK SYSTEM | DATA NETWORK SYSTEM
76 | K.1 | Supply, Installation, Testing Commissioning of Data Telephone Network System with required cabling through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with IDF Rack, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. | Supply, Installation, Testing Commissioning of Data Telephone Network System with required cabling through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with IDF Rack, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension.
77 | K.1.1 | Dual Data outlet (RJ45) Jack | Dual Data outlet (RJ45) Jack | Nos. | 3.000 | 1,620.00 | 540.00 | 1,620.00 | 2800.00 | 8,400.00 | 550.00 | 1,650.00
78 | K.1.4 | Telephone (RJ11)+ Data outlet (RJ45) | Telephone (RJ11)+ Data outlet (RJ45) | No. | 1.000 | 540.00 | 540.00 | 540.00 | 3500.00 | 3,500.00 | 650.00 | 650.00
79 | K.1.5 | Wifi Router Data Outlet | Wifi Router Data Outlet | No. | 1.000 | 2,500.00 | 12000.00 | 12,000.00 | 6550.00 | 6,550.00 | 2500.00 | 2,500.00
80 | K.1.3 | Patch Cords (1.5 meters length) | Patch Cords (1.5 meters length) | Nos. | 8.000 | 2,400.00 | 300.00 | 2,400.00 | 1850.00 | 14,800.00 | 450.00 | 3,600.00
81 | K.1.6 | IDF Rack with all necesssary accessories power distribution units | IDF Rack with all necesssary accessories power distribution units | No. | 1.000 | 7,500.00 | 16000.00 | 16,000.00 | 7500.00 | 7,500.00 | 25000.00 | 25,000.00
82 | K.1.1 | CAT 6 Cable | CAT 6 Cable | Mtr. | 300.000 | 24,000.00 | 80.00 | 24,000.00 | 275.00 | 82,500.00 | 220.00 | 66,000.00

## Technical Score Detail
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | Comp. Date : 15/01/2024 | Comp. Date : 15/01/2024 | Comp. Date : 15/01/2024 | Vendor Name : Electech Enterprises | [7 empty] | Vendor Name : Shah Enterprises | [7 empty] | Vendor Name : Arrow Electrical
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ #: R0069 | RFQ #: R0069 | RFQ #: R0069 | Contact Name : | [7 empty] | Contact Name : Sabir Ali Shah | [7 empty] | Contact Name : Alam Khan
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ Date : 15/01/2024 13:53:41 | RFQ Date : 15/01/2024 13:53:41 | RFQ Date : 15/01/2024 13:53:41 | Vendor City : | [7 empty] | Vendor City : | [7 empty] | Vendor City :
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | [7 empty] | Telephone # : | [7 empty] | Telephone # :
|  | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT | RFQ No: R0069 COST COMPARISON REPORT |  |  |  | Mobile # : | [7 empty] | Mobile # : | [7 empty] | Mobile # :
PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | PR Number : TFSPL-2324-00056 | Email : alam@electechenterprises.net | [7 empty] | Email : shahenterindia@gmail.com | [7 empty] | Email : project.arrowelectricals@gmail.com
Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Package / RFQ Name : Electrical for DEL Budweiser Bar | Round # : 1 (RFQ) |  | Round # : 2 (RFQ) |  | Round # : 3 (RFQ) |  | Round # : 4 (Auction) |  | Round # : 1 (RFQ) |  | Round # : 2 (RFQ) |  | Round # : 3 (RFQ) |  | Round # : 4 (Auction) |  | Round # : 1 (RFQ) |  | Round # : 2 (RFQ) |  | Round # : 3 (RFQ) |  | Round # : 4 (Auction)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | PR for Electrical for DEL Budweiser Bar |  | NOS | 1.000 | 0.00 | 0.00
2 | A | INCOMER ISOLATOR MCCB PANEL |  |  | 0.000 | 0.00 | 0.00
3 | A.1 | Supply, Installation, Testing Commissioning of Incomer Isolator MCCB Panel complete with Enclosure (If required as per site condition Airport TDM). Make Brand selection as per Airport TDM listed. |  |  | 0.000 | 0.00 | 0.00
4 | A1.1 | 250A ISOLATOR MCCB PANEL |  | No. | 1.000 | 0.00 | 0.00
5 | B | METER METER PANEL |  |  | 0.000 | 0.00 | 0.00
6 | B.1 | Supply, Installation, Testing Commissioning of Energy Meter Meter Panel (Prepaid Type) complete with Enclosure (If required as per site condition Airport TDM). Make Brand selection as per Airport TDM listed. |  |  | 0.000 | 0.00 | 0.00
7 | B.1.1 | 250A 5A PREPAID ENERGY METER (CT Type) |  | No. | 1.000 | 0.00 | 0.00
8 | C | LV CABLING |  |  | 0.000 | 0.00 | 0.00
9 | C.1 | Supply, Installation, Testing Commissioning of Fire Rated LSH LSZH PVC insulated PVC sheathed, Copper conductor, Steel Tape Wire Armoured, 1100V grade cable, complete with Termination of the same with Single Compression Brass Glands, Solderless Tinned Copper Lugs, Gland earthing, etc. The cable shall be laid Underground on Cable Tray in Pipe on Wall Trench as required. For cables laid on Cable Tray in Pipe on Wall Trench - the rate shall include necessary supporting clamping arrangements. |  |  | 0.000 | 0.00 | 0.00
10 | C.1.1 | 4C x 95 MM2 |  | Mtr. | 12.000 | 0.00 | 0.00
11 | C.1.2 | 4C x 35 MM2 |  | Mtr. | 20.000 | 0.00 | 0.00
12 | C.1.3 | 4C x 16 MM2 |  | Mtr. | 24.000 | 0.00 | 0.00
13 | C.1.4 | 4C x 6 MM2 |  | Mtr. | 50.000 | 0.00 | 0.00
14 | C.1.5 | 4C x 4 MM2 |  | Mtr. | 30.000 | 0.00 | 0.00
15 | C.1.6 | 2C x 4 MM2 |  | Mtr. | 100.000 | 0.00 | 0.00
16 | D | DISTRIBUTION BOARDS |  |  | 0.000 | 0.00 | 0.00
17 | D.1 | Supply, Installation, Testing Commissioning of Surface Flush mounting 10kA 25kA (As per Panel requirement) Phase segregated Distribution Boards. The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate knock out at the top and bottom. The DB shall have hinged lockable door. The busbar shall be tinned copper, for phases mounted on fork type Insulator, Independent neutral busbar for each phase including inter connecting wiring earth bus on insulation mount. Make Brand selection as per Airport TDM listed. All DB s must named as per the SLD Load Calculation Sheet. Laminated SLD Load Calculation Sheet shall be placed near to DB Panel Locations. The RCCB RCBO shall be Hpi Si series MCB s shall be B C Curve (As per requirement). |  |  | 0.000 | 0.00 | 0.00
18 |  | SMDB |  |  | 0.000 | 0.00 | 0.00
19 | D.1.1 | 8 Way TPN Panel Board with 250A TP MCCB incomer and 8 Nos. outgoings as per SLD Load Calculation Sheet complete with Starter Panels. Make Brand selection as per Airport TDM listed. |  | No. | 1.000 | 0.00 | 0.00
20 |  | LPDB |  |  | 0.000 | 0.00 | 0.00
21 | D.1.2 | 16Way TPN Panel Board with 125A TPN Isolator incomer, 2 Nos. RCBO Sections and outgoings as per SLD Load Calculation Sheet. Make Brand selection as per Airport TDM listed. |  | No. | 1.000 | 0.00 | 0.00
22 |  | UPS DB |  |  | 0.000 | 0.00 | 0.00
23 | D.1.3 | 6 Way SPN Panel Board with 20A 2P RCBO incomer and outgoings as per SLD Load Calculation Sheet. Make Brand selection as per Airport TDM listed. |  | No. | 1.000 | 0.00 | 0.00
24 | E | CIRCUIT MAINS EARTH |  |  | 0.000 | 0.00 | 0.00
25 | E.1 | Supply, Installation, Testing Commissioning of Sub Circuit Mains Earth wires with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back Boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires, etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. Circuit mains shall be measured from DB to switch board, looping between switch board to outlets lights, and looping from switch board to switch board. |  |  | 0.000 | 0.00 | 0.00
26 | E.1.1 | 1C x 50 MM2 |  | Mtr. | 12.000 | 0.00 | 0.00
27 | E.1.2 | 1C x 16 MM2 |  | Mtr. | 22.000 | 0.00 | 0.00
28 | E.1.3 | 2R X 6 SQ MM+1R X 4 SQ MM FRLSH WIRES |  | Mtr. | 80.000 | 0.00 | 0.00
29 | E.1.4 | 2R X 4 SQ MM+1R X 2.5 SQ MM FRLSH WIRES |  | Mtr. | 600.000 | 0.00 | 0.00
30 | E.1.5 | 2R X 2.5 SQ MM+1R X 1.5 SQ MM FRLSH WIRES |  | Mtr. | 300.000 | 0.00 | 0.00
31 | E.1.6 | 2R X 1.5 SQ MM+1R X 1.5 SQ MM FRLSH WIRES |  | Mtr. | 50.000 | 0.00 | 0.00
32 | F | LIGHT FIXTURES POINT WIRING |  |  | 0.000 | 0.00 | 0.00
33 | F.1 | Supply, Installation, Testing Commissioning of Light Fixture Point wiring (Light Fixtures to be as approved by Architect Design BOQ) with Lamps, Ballasts Drivers Starters, Switches Lighting Control Switch Board with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Brand selection by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. |  |  | 0.000 | 0.00 | 0.00
34 | F.1.1 | Ceiling Suspended Linear Lights (1200mm long) (Point Wiring only) |  | Nos. | 73.000 | 0.00 | 0.00
35 | F.1.2 | Designer Hanging LED Light (Point Wiring only) |  | No. | 1.000 | 0.00 | 0.00
36 | F.1.3 | Hanging LED Display (Point Wiring only) |  | No. | 1.000 | 0.00 | 0.00
37 | F.1.4 | 600 x 600mm LED Panel Light (Point Wiring only) |  | Nos. | 13.000 | 0.00 | 0.00
38 | F.1.5 | Exit Light (Wall Ceiling Mounted) (Point Wiring only) |  | Nos. | 6.000 | 0.00 | 0.00
39 | F.1.6 | Lighting Control Switch board with switches as required (Point Wiring only) |  | Nos. | 3.000 | 0.00 | 0.00
40 | G | WIRING DEVICES (SWITCHES SOCKETS) |  |  | 0.000 | 0.00 | 0.00
41 | G.1 | Supply, Installation, Testing Commissioning of Wiring Devices (Switches Sockets - Face Plate Finish as approved by Architect Matching to Architecture Finishes) with Fire Rated LSH LSZH PVC insulated Flexible Copper Wires 660 1100V grade through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with Solderless Tinned Copper Lugs, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Wiring shall be as per IS 732. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. |  |  | 0.000 | 0.00 | 0.00
42 | G.1.1 | 13A SINGLE SWITCHED SOCKET OUTLET |  | Nos. | 24.000 | 0.00 | 0.00
43 | G.1.2 | 13A SINGLE UNSWITCHED SOCKET OUTLET |  | Nos. | 13.000 | 0.00 | 0.00
44 | G.1.3 | 13A SINGLE UNSWITCHED SOCKET OUTLET (FLOOR BOX) |  | No. | 1.000 | 0.00 | 0.00
45 | G.1.4 | 13A SINGLE SWITCHED UNIVERSAL SOCKET OUTLET + USB PORT |  | Nos. | 8.000 | 0.00 | 0.00
46 | G.1.5 | 13A DUAL SWITCHED SOCKET OUTLET |  | Nos. | 2.000 | 0.00 | 0.00
47 | G.1.6 | 20A SINGLE SWITCHED SOCKET OUTLET |  | Nos. | 6.000 | 0.00 | 0.00
48 | G.1.7 | 25A SINGLE SWITCHED SOCKET OUTLET |  | No. | 1.000 | 0.00 | 0.00
49 | G.1.8 | 16A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) |  | Nos. | 8.000 | 0.00 | 0.00
50 | G.1.9 | 20A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) |  | Nos. | 9.000 | 0.00 | 0.00
51 | G.1.10 | 32A SINGLE PHASE INDUSTRIAL SWITCHED SOCKET (3 PIN) |  | Nos. | 2.000 | 0.00 | 0.00
52 | G.1.11 | 32A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) |  | Nos. | 2.000 | 0.00 | 0.00
53 | G.1.12 | 63A THREE PHASE INDUSTRIAL SWITCHED SOCKET (5 PIN) |  | No. | 1.000 | 0.00 | 0.00
54 | G.1.13 | 20A DOUBLE POLE SWITCH WITH NEON INDICATOR |  | No. | 1.000 | 0.00 | 0.00
55 | G.1.14 | 20A SINGLE UNSWITCHED SOCKET OUTLET |  | No. | 1.000 | 0.00 | 0.00
56 | G.1.15 | 16A SINGLE PHASE INDICATOR |  | Nos. | 3.000 | 0.00 | 0.00
57 | G.1.16 | 20A THREE PHASE INDICATOR |  | Nos. | 2.000 | 0.00 | 0.00
58 | H | CONTAINMENT (CABLE TRAY, TRUNKING, CONDUITS) |  |  | 0.000 | 0.00 | 0.00
59 | H.1 | Supply Installation of GI Cable Tray, GI Cable Trunking, GI Heavy Duty PVC conduits through wall ceiling floor as per drawings, complete with standard accessories factory made fittings, earthing throughout the run with copper braids, wall ceiling suspended supports, etc. Make Brand selection as per Airport TDM listed by Client. |  |  | 0.000 | 0.00 | 0.00
60 | H.1 | 450 x 25 MM CABLE TRAY |  | Mtr. | 6.000 | 0.00 | 0.00
61 | H.2 | 300 x 25 MM CABLE TRAY |  | Mtr. | 50.000 | 0.00 | 0.00
62 | H.3 | 150 x 25 MM CABLE TRAY |  | Mtr. | 6.000 | 0.00 | 0.00
63 | H.4 | 100 x 25 MM CABLE TRAY |  | Mtr. | 15.000 | 0.00 | 0.00
64 | H.5 | 50 x 25 MM CABLE TRAY |  | Mtr. | 9.000 | 0.00 | 0.00
65 | H.6 | 100 x 50 MM CABLE TRUNKING |  | Mtr. | 30.000 | 0.00 | 0.00
66 | H.7 | 25 MM GI CONDUIT |  | Mtr. | 450.000 | 0.00 | 0.00
67 | H.8 | 20 MM PVC CONDUIT |  | Mtr. | 50.000 | 0.00 | 0.00
68 | H.9 | 25 MM PVC CONDUIT |  | Mtr. | 10.000 | 0.00 | 0.00
69 | I | UPS SYSTEM |  |  | 0.000 | 0.00 | 0.00
70 | I.1 | Supply, Installation, Testing Commisioning of 2KVA Single phase UPS with 30 Minute Back-up with SMF Battery Bank + Battery Stand. |  | No. | 1.000 | 0.00 | 0.00
71 | J | CCTV SYSTEM |  |  | 0.000 | 0.00 | 0.00
72 | J.1 | Supply, Installation, Testing Commissioning of CCTV System with required cabling through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with CCTV console DVR, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. |  |  | 0.000 | 0.00 | 0.00
73 | J.1.1 | CCTV Dome Camera, 4 Megapixel As approved or confirmed by client, Real Day Night, Exir, IR LED, IP 67, with all neccessary accessories, Power supply units etc. |  | Nos. | 10.000 | 0.00 | 0.00
74 | J.1.2 | DVR with 45 Days Back-up |  | No. | 1.000 | 0.00 | 0.00
75 | J.1.3 | 4+1 CCTV Cable |  | Mtr. | 300.000 | 0.00 | 0.00
76 | K | DATA NETWORK SYSTEM |  |  | 0.000 | 0.00 | 0.00
77 | K.1 | Supply, Installation, Testing Commissioning of Data Telephone Network System with required cabling through suitable size GI Conduit Heavy Duty PVC Conduit GI Trunking (Containment size Type selection as per site requirement), complete with suitable GI Back boxes, Earthing, accessories, flexible conduits, glands, saddles, supports, ropes for future wire pulling, Labeling of wires etc. with Termination of the same with IDF Rack, etc. carrying out Surface Concealed wiring as per site condition maintain aesthetic of the unit. Make Brand selection as per Airport TDM listed by Client. The rate shall include wall chasing, chipping of floors, rough plastering, providing suitable supports brackets for conduit and Trunking suspension. |  |  | 0.000 | 0.00 | 0.00
78 | K.1.1 | Dual Data outlet (RJ45) Jack |  | Nos. | 3.000 | 0.00 | 0.00
79 | K.1.4 | Telephone (RJ11)+ Data outlet (RJ45) |  | No. | 1.000 | 0.00 | 0.00
80 | K.1.5 | Wifi Router Data Outlet |  | No. | 1.000 | 0.00 | 0.00
81 | K.1.3 | Patch Cords (1.5 meters length) |  | Nos. | 8.000 | 0.00 | 0.00
82 | K.1.6 | IDF Rack with all necesssary accessories power distribution units |  | No. | 1.000 | 0.00 | 0.00
83 | K.1.1 | CAT 6 Cable |  | Mtr. | 300.000 | 0.00 | 0.00