## Price Comparison
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | Comp. Date : 22/01/2024 | Comp. Date : 22/01/2024 | Comp. Date : 22/01/2024 | Vendor Name : BAY INTERIORS PRIVATE LIMITED (RV232420169) | [5 empty] | Vendor Name : Pikture Perfect Design Studio (T051925)
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ #: R0091 | RFQ #: R0091 | RFQ #: R0091 | Contact Name : Mehran Raza | [5 empty] | Contact Name : Pavan Sharma
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ Date : 19/01/2024 19:36:21 | RFQ Date : 19/01/2024 19:36:21 | RFQ Date : 19/01/2024 19:36:21 | Vendor City : SAMBHAL | [5 empty] | Vendor City :
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | BCD Date : 22/01/2024 11:31:00 | BCD Date : 22/01/2024 11:31:00 | BCD Date : 22/01/2024 11:31:00 | Telephone # : 9548609567 | [5 empty] | Telephone # :
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT |  |  |  | Mobile # : 9548609567 | [5 empty] | Mobile # :
PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | Email : bayinteriorsltd@gmail.com | [5 empty] | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Round # : 3 (RFQ) | [5 empty] | Round # : 3 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Plumbing Works | EA | 1.00 |  | 455744.00 | BAY INTERIORS PRIVATE LIMITED | 478464.00 | 0.00 | 18.00 |  | 455,744.00 | 455,744.00 | 781455.00 | 0.00 | 18.00 |  | 781,455.00 | 781,455.00
Item Total | [8 empty] | .00 | 82,033.92 |  |  | 455,744.00 |  | .00 | 140,661.90 |  |  | 781,455.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 82,033.92 | [5 empty] | 140,661.90
Net Landed Cost | [11 empty] | INR | 537,777.92 |  |  |  |  | INR | 922,116.90
Vendor Status | [7 empty] | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232420188 | Shah Enterprises | [5 empty] | Participate
2 | T051925 | Pikture Perfect Design Studio | [5 empty] | Participate
3 | RV232420169 | BAY INTERIORS PRIVATE LIMITED | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | Comp. Date : 22/01/2024 | Comp. Date : 22/01/2024 | Comp. Date : 22/01/2024 | Vendor Name : BAY INTERIORS PRIVATE LIMITED | Vendor Name : BAY INTERIORS PRIVATE LIMITED | Vendor Name : Pikture Perfect Design Studio | Vendor Name : Pikture Perfect Design Studio
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ #: R0091 | RFQ #: R0091 | RFQ #: R0091 | Contact Name : Mehran Raza | Contact Name : Mehran Raza | Contact Name : Pavan Sharma | Contact Name : Pavan Sharma
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ Date : 19/01/2024 19:36:21 | RFQ Date : 19/01/2024 19:36:21 | RFQ Date : 19/01/2024 19:36:21 | Vendor City : SAMBHAL | Vendor City : SAMBHAL | Vendor City : | Vendor City :
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | BCD Date : 22/01/2024 11:31:00 | BCD Date : 22/01/2024 11:31:00 | BCD Date : 22/01/2024 11:31:00 | Telephone # : 9548609567 | Telephone # : 9548609567 | Telephone # : | Telephone # :
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT |  |  |  | Mobile # : 9548609567 | Mobile # : 9548609567 | Mobile # : | Mobile # :
PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | Email : bayinteriorsltd@gmail.com | Email : bayinteriorsltd@gmail.com | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Banchmark Rates
Sr No. | Item Code | RFQ No: R0091 COST COMPARISON REPORT | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Plumbing Works |  | EA | 1.000 |  |  | 455,744.00 |  | 781,455.00 |  | 326270
1 |  | 20 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | 20 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 222.000 | 23,310.00 | 105.00 | 23,310.00 | 175.00 | 38,850.00 | 250 | 55500
2 |  | 25 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | 25 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 88.000 | 11,000.00 | 125.00 | 11,000.00 | 195.00 | 17,160.00 | 300 | 26400
3 |  | 32 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | 32 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform | rft | 15.000 | 2,220.00 | 148.00 | 2,220.00 | 225.00 | 3,375.00 | 350 | 5250
4 |  | 20 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver | 20 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver | rft | 84.000 | 10,500.00 | 125.00 | 10,500.00 | 175.00 | 14,700.00 | 250 | 21000
5 |  | 25 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver | 25 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver | rft | 8.000 | 1,160.00 | 145.00 | 1,160.00 | 195.00 | 1,560.00 | 300 | 2400
6 |  | 20 mm dia - Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin | 20 mm dia - Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin | rft | 84.000 | 6,300.00 | 112.00 | 9,408.00 | 75.00 | 6,300.00 |  | 0
7 |  | 25 mm dia - Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin | 25 mm dia - Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin | rft | 8.000 | 720.00 | 132.00 | 1,056.00 | 90.00 | 720.00 |  | 0
8 |  | 20 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | 20 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | nos | 23.000 | 21,850.00 | 950.00 | 21,850.00 | 2150.00 | 49,450.00 | 930 | 21390
9 |  | 25 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | 25 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | nos | 1.000 | 1,050.00 | 1050.00 | 1,050.00 | 2550.00 | 2,550.00 | 1080 | 1080
10 |  | 32 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | 32 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. | nos | 2.000 | 3,150.00 | 1575.00 | 3,150.00 | 2850.00 | 5,700.00 | 1300 | 2600
11 |  | 100mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | 100mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | rft | 63.000 | 18,270.00 | 650.00 | 40,950.00 | 290.00 | 18,270.00 |  | 0
12 |  | 75mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | 75mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | rft | 37.000 | 7,770.00 | 425.00 | 15,725.00 | 210.00 | 7,770.00 |  | 0
13 |  | 50mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | 50mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG | rft | 55.000 | 9,625.00 | 365.00 | 20,075.00 | 175.00 | 9,625.00 |  | 0
14 |  | 50 mm dia - Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in | 50 mm dia - Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in | rft | 15.000 | 825.00 | 105.00 | 1,575.00 | 55.00 | 825.00 |  | 0
15 |  | Supply, laying, testing commissioning of approved Cast iron FLOOR TRAP MULTI FLOOR TRAP with aproved make leavy duty round or square s.s. grating etc. complete. | Supply, laying, testing commissioning of approved Cast iron FLOOR TRAP MULTI FLOOR TRAP with aproved make leavy duty round or square s.s. grating etc. complete. | nos | 7.000 | 7,875.00 | 1125.00 | 7,875.00 | 2250.00 | 15,750.00 | 1200 | 8400
16 |  | Jali with cokroch trap above nhani trap clean out POP up type | Jali with cokroch trap above nhani trap clean out POP up type | nos | 7.000 | 4,025.00 | 575.00 | 4,025.00 | 1850.00 | 12,950.00 | 750 | 5250
17 |  | SIZE 14 X 14 - Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN | SIZE 14 X 14 - Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN | nos | 6.000 | 31,500.00 | 5250.00 | 31,500.00 | 9500.00 | 57,000.00 | 9500 | 57000
18 |  | SIZE 87 X 08 - Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN | SIZE 87 X 08 - Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN | nos | 2.000 | 33,400.00 | 16700.00 | 33,400.00 | 29500.00 | 59,000.00 | 35000 | 70000
19 |  | Providing and fixing Bib cock with wall flange | Providing and fixing Bib cock with wall flange | nos | 11.000 | 26,950.00 | 2450.00 | 26,950.00 | 2750.00 | 30,250.00 |  | 0
20 |  | Providing and fixing Stop cock with wall flange | Providing and fixing Stop cock with wall flange | nos | 4.000 | 6,720.00 | 1680.00 | 6,720.00 | 1850.00 | 7,400.00 |  | 0
21 |  | Providing and fixing Angle cock with wall flange | Providing and fixing Angle cock with wall flange | nos | 17.000 | 31,450.00 | 1875.00 | 31,875.00 | 1850.00 | 31,450.00 |  | 0
22 |  | Providing and supplying 25 litrs geyser with c.p angle cock of hot and cold pvc connection coupper pipes c.p elbows non return valves mounting bolts etc | Providing and supplying 25 litrs geyser with c.p angle cock of hot and cold pvc connection coupper pipes c.p elbows non return valves mounting bolts etc | nos | 2.000 | 27,000.00 | 13500.00 | 27,000.00 | 21500.00 | 43,000.00 | 25000 | 50000
23 |  | Providing and fixing Sink mixture (Swan Neck) | Providing and fixing Sink mixture (Swan Neck) | nos | 3.000 | 13,950.00 | 4650.00 | 13,950.00 | 6650.00 | 19,950.00 |  | 0
24 |  | Providing and fixing counter top tap ( Swan Neck ) | Providing and fixing counter top tap ( Swan Neck ) | nos | 3.000 | 11,520.00 | 3840.00 | 11,520.00 | 7950.00 | 23,850.00 |  | 0
25 |  | Providing and fixing Rinse Mixture | Providing and fixing Rinse Mixture | nos | 2.000 | 10,000.00 | 5000.00 | 10,000.00 | 9500.00 | 19,000.00 |  | 0
26 |  | Doing Equipment connection And Insallation (labour charges only) | Doing Equipment connection And Insallation (labour charges only) | nos | 10.000 | 10,000.00 | 1000.00 | 10,000.00 | 10000.00 | 100,000.00 |  | 0
27 |  | Providing fixing Sink Drain outlet Connection with valve drain pipe complete with all necessary fittings | Providing fixing Sink Drain outlet Connection with valve drain pipe complete with all necessary fittings | nos | 6.000 | 14,400.00 | 2400.00 | 14,400.00 | 3500.00 | 21,000.00 |  | 0
28 |  | Size 18 X 24 - Providing fixing SS MADE Greece Trap MAKE Bombay Iron Works or any approved make. OR CONSTRUCTING THE SAME AS PER DRAWING | Size 18 X 24 - Providing fixing SS MADE Greece Trap MAKE Bombay Iron Works or any approved make. OR CONSTRUCTING THE SAME AS PER DRAWING | nos | 3.000 | 37,500.00 | 12500.00 | 37,500.00 | 38500.00 | 115,500.00 |  | 0
29 |  | RO connection only | RO connection only | nos | 2.000 | 2,000.00 | 1000.00 | 2,000.00 | 7500.00 | 15,000.00 |  | 0
30 |  | Providing and fixing 500 LTR water tank for RO water | Providing and fixing 500 LTR water tank for RO water | nos | 1.000 | 12,000.00 | 12000.00 | 12,000.00 | 15000.00 | 15,000.00 |  | 0
31 |  | Providing and fixing of 1HP pressure pump in RO water line | Providing and fixing of 1HP pressure pump in RO water line | nos | 1.000 | 12,000.00 | 12000.00 | 12,000.00 | 18500.00 | 18,500.00 |  | 0

## Technical Score Detail
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | Comp. Date : 22/01/2024 | Comp. Date : 22/01/2024 | Comp. Date : 22/01/2024 | Vendor Name : BAY INTERIORS PRIVATE LIMITED |  | Vendor Name : Pikture Perfect Design Studio
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ #: R0091 | RFQ #: R0091 | RFQ #: R0091 | Contact Name : Mehran Raza |  | Contact Name : Pavan Sharma
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ Date : 19/01/2024 19:36:21 | RFQ Date : 19/01/2024 19:36:21 | RFQ Date : 19/01/2024 19:36:21 | Vendor City : SAMBHAL |  | Vendor City :
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | BCD Date : 22/01/2024 11:31:00 | BCD Date : 22/01/2024 11:31:00 | BCD Date : 22/01/2024 11:31:00 | Telephone # : 9548609567 |  | Telephone # :
|  | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT | RFQ No: R0091 COST COMPARISON REPORT |  |  |  | Mobile # : 9548609567 |  | Mobile # :
PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | PR Number : DCPL-2324-00009 | Email : bayinteriorsltd@gmail.com |  | Email : piktureperfectdesignstudio@gmail.com
Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Package / RFQ Name : Plumbing Works | Round # : 3 (RFQ) |  | Round # : 3 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification
1 |  | Plumbing Works |  | EA | 1.000 | 0.00 | 0.00
2 |  | 20 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform |  | rft | 222.000 | 0.00 | 0.00
3 |  | 25 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform |  | rft | 88.000 | 0.00 | 0.00
4 |  | 32 mm dia - Supply, laying, testing and commissioning of FOOD GRADE CPVC pipes FOR RO WATER PIPING conforming to CTS (copper tube size) SDR-11 as per ASTM D 2846 with necessary fittings up to the size of 50 mm dia , jointing with CPVC solvent cement of medium body IPS brand or equivalent conform |  | rft | 15.000 | 0.00 | 0.00
5 |  | 20 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver |  | rft | 84.000 | 0.00 | 0.00
6 |  | 25 mm dia - Supply, laying, testing and commissioning of CPVC - Schedule 80 pipes and fittings suitable for domestic hot water application (max. temp.85 Deg.C) rated for a working pressure of 5 kg cm2 and conforming to latest Indian International Standards for Ver |  | rft | 8.000 | 0.00 | 0.00
7 |  | 20 mm dia - Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin |  | rft | 84.000 | 0.00 | 0.00
8 |  | 25 mm dia - Supply and covering (Thermal Insulation) hot water pipes with 13 mm thick performed closed cell nitrite rubber pipe section insulation having density not less than 60 kg cm2 and K valve not more than 0.034 w m Deg. K @ 20 Deg C mean temperature, jointin |  | rft | 8.000 | 0.00 | 0.00
9 |  | 20 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. |  | nos | 23.000 | 0.00 | 0.00
10 |  | 25 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. |  | nos | 1.000 | 0.00 | 0.00
11 |  | 32 mm dia - Supply, installing testing and commissioning of ISI marked gun metal screwed pattern non-return Valve conforming to IS 778 Class 1 including jointing, supporting etc. complete and as directed. |  | nos | 2.000 | 0.00 | 0.00
12 |  | 100mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG |  | rft | 63.000 | 0.00 | 0.00
13 |  | 75mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG |  | rft | 37.000 | 0.00 | 0.00
14 |  | 50mm dia Supply, laying , testing commissioning of UPVC-SWR pipes conforming to IS 13592 92 and fittings conforming to IS-14935 99, cutting the pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in TYPE B 6 KG |  | rft | 55.000 | 0.00 | 0.00
15 |  | 50 mm dia - Supply, laying ,OF FLEXIBALE PIPES pipes to required lengths, laying in position to required grade and level, jointing, making holes, pockets, chases in |  | rft | 15.000 | 0.00 | 0.00
16 |  | Supply, laying, testing commissioning of approved Cast iron FLOOR TRAP MULTI FLOOR TRAP with aproved make leavy duty round or square s.s. grating etc. complete. |  | nos | 7.000 | 0.00 | 0.00
17 |  | Jali with cokroch trap above nhani trap clean out POP up type |  | nos | 7.000 | 0.00 | 0.00
18 |  | SIZE 14 X 14 - Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN |  | nos | 6.000 | 0.00 | 0.00
19 |  | SIZE 87 X 08 - Supply, laying, creating commissioning of SS chamber 16 G SS PLATE WITH SUITABLE DEPTH 5MM THK MS PIPE WELDED TO CHAMBER WITH SUITABLE THREAD AND LOCATION AS PER DRAWING WITH TOP GRATING AND PERFOARETED JALI AS PER DESIGN |  | nos | 2.000 | 0.00 | 0.00
20 |  | Providing and fixing Bib cock with wall flange |  | nos | 11.000 | 0.00 | 0.00
21 |  | Providing and fixing Stop cock with wall flange |  | nos | 4.000 | 0.00 | 0.00
22 |  | Providing and fixing Angle cock with wall flange |  | nos | 17.000 | 0.00 | 0.00
23 |  | Providing and supplying 25 litrs geyser with c.p angle cock of hot and cold pvc connection coupper pipes c.p elbows non return valves mounting bolts etc |  | nos | 2.000 | 0.00 | 0.00
24 |  | Providing and fixing Sink mixture (Swan Neck) |  | nos | 3.000 | 0.00 | 0.00
25 |  | Providing and fixing counter top tap ( Swan Neck ) |  | nos | 3.000 | 0.00 | 0.00
26 |  | Providing and fixing Rinse Mixture |  | nos | 2.000 | 0.00 | 0.00
27 |  | Doing Equipment connection And Insallation (labour charges only) |  | nos | 10.000 | 0.00 | 0.00
28 |  | Providing fixing Sink Drain outlet Connection with valve drain pipe complete with all necessary fittings |  | nos | 6.000 | 0.00 | 0.00
29 |  | Size 18 X 24 - Providing fixing SS MADE Greece Trap MAKE Bombay Iron Works or any approved make. OR CONSTRUCTING THE SAME AS PER DRAWING |  | nos | 3.000 | 0.00 | 0.00
30 |  | RO connection only |  | nos | 2.000 | 0.00 | 0.00
31 |  | Providing and fixing 500 LTR water tank for RO water |  | nos | 1.000 | 0.00 | 0.00
32 |  | Providing and fixing of 1HP pressure pump in RO water line |  | nos | 1.000 | 0.00 | 0.00