## Price Comparison
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | Comp. Date : 28/03/2024 | Comp. Date : 28/03/2024 | Comp. Date : 28/03/2024 | Vendor Name : SM INFRA (RV232420160) | [5 empty] | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd (RV232413816) | [5 empty] | Vendor Name : Rudra Ineriors (RV232421261) | [5 empty] | Vendor Name : Shah Enterprises (RV232420188) | [5 empty] | Vendor Name : Intercare Enterprises (RV232412517)
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ #: R0101 | RFQ #: R0101 | RFQ #: R0101 | Contact Name : Alisha | [5 empty] | Contact Name : Gangadhar Sharma | [5 empty] | Contact Name : Manoj | [5 empty] | Contact Name : Sabir | [5 empty] | Contact Name : Attahar Ali Shaikh
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ Date : 18/03/2024 09:51:23 | RFQ Date : 18/03/2024 09:51:23 | RFQ Date : 18/03/2024 09:51:23 | Vendor City : FARIDABAD | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | BCD Date : 19/03/2024 14:25:00 | BCD Date : 19/03/2024 14:25:00 | BCD Date : 19/03/2024 14:25:00 | Telephone # : 8700207243 | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT |  |  |  | Mobile # : 8700207243 | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | Email : sales@sminfra.net | [5 empty] | Email : piktureperfectdesignstudio@gmail.com | [5 empty] | Email : manoj@rudrasip.com | [5 empty] | Email : shahenterindia@gmail.com | [5 empty] | Email : info@intercareenterprise.in
Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Plumbing | NOS | 1.00 |  | 1002202.00 | Rudra Ineriors | 773830.00 | 0.00 | 0.00 |  | 1,135,225.00 | 1,135,225.00 | 783723.00 | 0.00 | 18.00 |  | 1,064,080.00 | 1,064,080.00 | 1126070.00 | 0.00 | 0.00 |  | 1,002,202.00 | 1,002,202.00 | 1129850.00 | 0.00 | 0.00 |  | 1,129,850.00 | 1,129,850.00 | 942350.00 | 0.00 | 0.00 |  | 1,342,350.00 | 1,342,350.00
Item Total | [8 empty] | .00 | .00 |  |  | 1,135,225.00 |  | .00 | 191,534.40 |  |  | 1,064,080.00 |  | .00 | .00 |  |  | 1,002,202.00 |  | .00 | .00 |  |  | 1,129,850.00 |  | .00 | .00 |  |  | 1,342,350.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | .00 | [5 empty] | 191,534.40 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | .00
Net Landed Cost | [11 empty] | INR | 1,135,225.00 |  |  |  |  | INR | 1,255,614.40 |  |  |  |  | INR | 1,002,202.00 |  |  |  |  | INR | 1,129,850.00 |  |  |  |  | INR | 1,342,350.00
Vendor Status | [7 empty] | Round # : 6 (RFQ) | Round # : 6 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232420160 | SM INFRA | [5 empty] | Participate
2 | RV232420188 | Shah Enterprises | [5 empty] | Participate
3 | RV232413816 | Pikture Perfect Design Studio Pvt. Ltd | [5 empty] | Participate
4 | RV232412517 | Intercare Enterprises | [5 empty] | Participate
5 | RV232421261 | Rudra Ineriors | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | Comp. Date : 28/03/2024 | Comp. Date : 28/03/2024 | Comp. Date : 28/03/2024 | Vendor Name : SM INFRA | Vendor Name : SM INFRA | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd | Vendor Name : Rudra Ineriors | Vendor Name : Rudra Ineriors | Vendor Name : Shah Enterprises | Vendor Name : Shah Enterprises | Vendor Name : Intercare Enterprises | Vendor Name : Intercare Enterprises
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ #: R0101 | RFQ #: R0101 | RFQ #: R0101 | Contact Name : Alisha | Contact Name : Alisha | Contact Name : Gangadhar Sharma | Contact Name : Gangadhar Sharma | Contact Name : Manoj | Contact Name : Manoj | Contact Name : Sabir | Contact Name : Sabir | Contact Name : Attahar Ali Shaikh | Contact Name : Attahar Ali Shaikh
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ Date : 18/03/2024 09:51:23 | RFQ Date : 18/03/2024 09:51:23 | RFQ Date : 18/03/2024 09:51:23 | Vendor City : FARIDABAD | Vendor City : FARIDABAD | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | BCD Date : 19/03/2024 14:25:00 | BCD Date : 19/03/2024 14:25:00 | BCD Date : 19/03/2024 14:25:00 | Telephone # : 8700207243 | Telephone # : 8700207243 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT |  |  |  | Mobile # : 8700207243 | Mobile # : 8700207243 | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | Email : sales@sminfra.net | Email : sales@sminfra.net | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com | Email : manoj@rudrasip.com | Email : manoj@rudrasip.com | Email : shahenterindia@gmail.com | Email : shahenterindia@gmail.com | Email : info@intercareenterprise.in | Email : info@intercareenterprise.in
Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Plumbing | PR for Plumbing for Delhi T1-Dilli Streat | NOS | 1.000 |  |  | 1,135,225.00 |  | 1,064,080.00 |  | 1,002,202.00 |  | 1,129,850.00 |  | 1,342,350.00
1 | A | DRAINAGE SYSTEM | DRAINAGE SYSTEM
2 |  | INTERCEPTORS SEPERATORS | INTERCEPTORS SEPERATORS
3 | A.1 | Supplying, Installing, Testing Commissioning of Greese Trap or Grease Interceptor (Above Ground floor) of 304 grade stainless steel material with interceptor body, preforated bucket, baffles, integral trap, inlet outlep pipe sleeve and stainless steel interceptor cover of approved make and with all necessary fittings connectors etc. (Make Nugreen , Kessel and Concessionaire can propose another make in SS material.) | Supplying, Installing, Testing Commissioning of Greese Trap or Grease Interceptor (Above Ground floor) of 304 grade stainless steel material with interceptor body, preforated bucket, baffles, integral trap, inlet outlep pipe sleeve and stainless steel interceptor cover of approved make and with all necessary fittings connectors etc. (Make Nugreen , Kessel and Concessionaire can propose another make in SS material.)
4 | A.1.1 | NGT 8 - Flow Rate (0.30 LPS 18 LPM) | NGT 8 - Flow Rate (0.30 LPS 18 LPM) | Nos | 2.000 | 83,750.00 | 45000.00 | 90,000.00 | 48500.00 | 97,000.00 | 41875.00 | 83,750.00 | 69575.00 | 139,150.00 | 55000.00 | 110,000.00
5 | A.1.2 | NGT 14 - Flow Rate (0.46 LPS 28 LPM) | NGT 14 - Flow Rate (0.46 LPS 28 LPM) | Nos | 3.000 | 165,000.00 | 55000.00 | 165,000.00 | 64500.00 | 193,500.00 | 56875.00 | 170,625.00 | 75000.00 | 225,000.00 | 65000.00 | 195,000.00
6 | A.1.3 | NGT 70 - Flow Rate (2.20 LPS 132 LPM) | NGT 70 - Flow Rate (2.20 LPS 132 LPM) | Nos | 1.000 | 92,720.00 | 115000.00 | 115,000.00 | 92720.00 | 92,720.00 | 108125.00 | 108,125.00 | 157650.00 | 157,650.00 | 125000.00 | 125,000.00
7 |  | VALVES ACCESSORIES | VALVES ACCESSORIES
8 | A.2 | Supplying, Installing, Testing Commissioning of ABS Air Admittance Valve conforming to EN 12380, with an air admittance air flow rate of 6.1 L s and a temperature range of operation from -20 C to + 60 C of approved make with all necessary adapters, fittings and connectors etc. (Make Astral Supreme for Pipe and Fittings) | Supplying, Installing, Testing Commissioning of ABS Air Admittance Valve conforming to EN 12380, with an air admittance air flow rate of 6.1 L s and a temperature range of operation from -20 C to + 60 C of approved make with all necessary adapters, fittings and connectors etc. (Make Astral Supreme for Pipe and Fittings)
9 | A.2.1 | 32 mm Dia | 32 mm Dia | Nos | 9.000 | 44,100.00 | 6500.00 | 58,500.00 | 6500.00 | 58,500.00 | 7500.00 | 67,500.00 | 6575.00 | 59,175.00 | 4900.00 | 44,100.00
10 |  | DRAINS, TRAPS CLEANOUTS | DRAINS, TRAPS CLEANOUTS
11 | A.3 | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 300 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made) | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 300 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made)
12 | A.3.1 | 75 mm Dia - Outlet | 75 mm Dia - Outlet | Nos | 9.000 | 35,550.00 | 20500.00 | 184,500.00 | 18500.00 | 166,500.00 | 23000.00 | 207,000.00 | 3950.00 | 35,550.00 | 35000.00 | 315,000.00
13 | A.3 | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 600 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made) | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 600 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made)
14 | A.3.1 | 75 mm Dia - Outlet | 75 mm Dia - Outlet | Nos | 5.000 |  | 35000.00 | 175,000.00 | 26500.00 | 132,500.00 | 33000.00 | 165,000.00 | 7590.00 | 37,950.00 | 48000.00 | 240,000.00
15 | A.4 | Supplying, Installing Testing of cast iron Floor Trap (150 mmx 150 mm) with Stainless Steel slotted top cover, odour water seal trap of approved make with all necessary adapters, fittings and connectors etc. (Makes NECO or equivalent with Airport approval) | Supplying, Installing Testing of cast iron Floor Trap (150 mmx 150 mm) with Stainless Steel slotted top cover, odour water seal trap of approved make with all necessary adapters, fittings and connectors etc. (Makes NECO or equivalent with Airport approval)
16 | A.4.1 | 100 mm Dia - Outlet | 100 mm Dia - Outlet | Nos | 3.000 | 6,300.00 | 4500.00 | 13,500.00 | 5500.00 | 16,500.00 | 2100.00 | 6,300.00 | 6575.00 | 19,725.00 | 4500.00 | 13,500.00
17 |  | DRAINAGE SYSTEMS PIPING | DRAINAGE SYSTEMS PIPING
18 | A.5 | Supplying, Installing, Testing, and Commissioning of uPVC Pipe, for drainage with all necessary fittings such as bends, wye s, reducers, san tee s, double wye s, double combinations, san cross, and cleanout plugs etc, of approved make. and with all necessary supports clamps for the above-raised floor pipes as per standards and site conditions requirements. (Make Astral Supreme for Pipe and Fittings) | Supplying, Installing, Testing, and Commissioning of uPVC Pipe, for drainage with all necessary fittings such as bends, wye s, reducers, san tee s, double wye s, double combinations, san cross, and cleanout plugs etc, of approved make. and with all necessary supports clamps for the above-raised floor pipes as per standards and site conditions requirements. (Make Astral Supreme for Pipe and Fittings)
19 | A.5.1 | 32 mm Dia | 32 mm Dia | Mtr | 10.000 | 4,750.00 | 580.00 | 5,800.00 | 475.00 | 4,750.00 | 865.00 | 8,650.00 | 1068.00 | 10,680.00 | 1350.00 | 13,500.00
20 | A.5.2 | 40 mm Dia | 40 mm Dia | Mtr | 20.000 | 10,500.00 | 650.00 | 13,000.00 | 525.00 | 10,500.00 | 920.00 | 18,400.00 | 1336.00 | 26,720.00 | 1520.00 | 30,400.00
21 | A.5.3 | 50 mm Dia | 50 mm Dia | Mtr | 22.000 | 14,850.00 | 750.00 | 16,500.00 | 675.00 | 14,850.00 | 1050.00 | 23,100.00 | 1675.00 | 36,850.00 | 1650.00 | 36,300.00
22 | A.5.4 | 75 mm Dia | 75 mm Dia | Mtr | 35.000 | 34,125.00 | 975.00 | 34,125.00 | 1013.00 | 35,455.00 | 1250.00 | 43,750.00 | 2050.00 | 71,750.00 | 1900.00 | 66,500.00
23 | A.5.4 | 100 mm Dia | 100 mm Dia | Mtr | 6.000 | 7,500.00 | 1250.00 | 7,500.00 | 1280.00 | 7,680.00 | 2145.00 | 12,870.00 | 2250.00 | 13,500.00 | 2200.00 | 13,200.00
24 | B | WATER SUPPLY SYSTEM | WATER SUPPLY SYSTEM
25 |  | WATER SUPPLY EQUIPMENTS | WATER SUPPLY EQUIPMENTS
26 | B.1 | Supply, Installation, Testing Commissioning of Electric Water Heater with safety valve arrangement and accessories like angle valve, flexible pipes, C.P bolts, screws, washers, etc. and proper supports necessary as per standards and site condition requirements. (Make Crompton Bajaj or equivalent with Airport approval) | Supply, Installation, Testing Commissioning of Electric Water Heater with safety valve arrangement and accessories like angle valve, flexible pipes, C.P bolts, screws, washers, etc. and proper supports necessary as per standards and site condition requirements. (Make Crompton Bajaj or equivalent with Airport approval)
27 | B.1.1 | 30 Liters vertical storage water heater | 30 Liters vertical storage water heater | Nos | 1.000 | 21,000.00 | 21000.00 | 21,000.00 | 22500.00 | 22,500.00 | 25000.00 | 25,000.00 | 38000.00 | 38,000.00 | 25000.00 | 25,000.00
28 | B.2 | Supply, Installation, Testing Commissioning of RO Filteration Unit for supplying pure filtered potable water to equipments like Combi-steamers baking ovens, Fresh water taps Coolers, Coffee Espresso machines, Dish-washers, Post-mix machines, Ice-machines, and Boiling-water taps etc. with necessary prefilters, filter cartridges, manifold heads, mounting brackets, shutoff valves, flushing valves, pressure gauges, and suitable connectors etc. Final make, model and details to be finalized by specialist vendor after examining the water test report of incoming water supply provided at site. (Make Eco Smart Aquaguard or equivalent with Airport approval) | Supply, Installation, Testing Commissioning of RO Filteration Unit for supplying pure filtered potable water to equipments like Combi-steamers baking ovens, Fresh water taps Coolers, Coffee Espresso machines, Dish-washers, Post-mix machines, Ice-machines, and Boiling-water taps etc. with necessary prefilters, filter cartridges, manifold heads, mounting brackets, shutoff valves, flushing valves, pressure gauges, and suitable connectors etc. Final make, model and details to be finalized by specialist vendor after examining the water test report of incoming water supply provided at site. (Make Eco Smart Aquaguard or equivalent with Airport approval)
29 | B.2.1 | 15 Ltrs Hr - Flow Rate | 15 Ltrs Hr - Flow Rate | Nos | 5.000 | .00 | 27500.00 | 137,500.00 | 24500.00 | 122,500.00 | 18000.00 | 90,000.00 | 12575.00 | 62,875.00 | 0.00 | .00
30 |  | WATER SUPPLY PIPE VALVES ACCESSORIES | WATER SUPPLY PIPE VALVES ACCESSORIES
31 | B.3 | Supply, Installation, Testing Commissioning of Brass Ball Valve with full bore lever operated, SS ball and stem with a pressure rating of 16 Bar of approved make and with all necessary fittings. (Makes NECO or equivalent with Airport approval) | Supply, Installation, Testing Commissioning of Brass Ball Valve with full bore lever operated, SS ball and stem with a pressure rating of 16 Bar of approved make and with all necessary fittings. (Makes NECO or equivalent with Airport approval)
32 | B.3.1 | 15 mm Dia | 15 mm Dia | Nos | 8.000 | 14,800.00 | 2500.00 | 20,000.00 | 1850.00 | 14,800.00 | 2850.00 | 22,800.00 | 3250.00 | 26,000.00 | 2500.00 | 20,000.00
33 | B.4 | Supply, Installation, Testing, and Commissioning of chrome plated Angle Valve with wall flange rosette for all plumbing equipment fixtures with a pressure rating of 16 Bar of approved make and with all necessary fittings. Including making good the wall partition as per Architectural Interior Design and as per relevant standards. (Makes NECO or equivalent with Airport approval) | Supply, Installation, Testing, and Commissioning of chrome plated Angle Valve with wall flange rosette for all plumbing equipment fixtures with a pressure rating of 16 Bar of approved make and with all necessary fittings. Including making good the wall partition as per Architectural Interior Design and as per relevant standards. (Makes NECO or equivalent with Airport approval)
34 | B.4.1 | 15 mm Dia Inlet (Outlet size to fit with plumbing eqp fixture connection) | 15 mm Dia Inlet (Outlet size to fit with plumbing eqp fixture connection) | Nos | 19.000 | 29,450.00 | 1550.00 | 29,450.00 | 1650.00 | 31,350.00 | 1650.00 | 31,350.00 | 3575.00 | 67,925.00 | 1850.00 | 35,150.00
35 |  | COLD WATER SUPPLY PIPING | COLD WATER SUPPLY PIPING
36 | B.5 | Supply, Installation, Testing Commissioning of (Chlorinated Poly Vinyl Chloride) CPVC Pipe conforming to IS 15778, ASTM D 2846, in SDR 11 Class 1, (temperature range of maximum 82°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Astral Supreme for Pipe and Fittings) | Supply, Installation, Testing Commissioning of (Chlorinated Poly Vinyl Chloride) CPVC Pipe conforming to IS 15778, ASTM D 2846, in SDR 11 Class 1, (temperature range of maximum 82°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Astral Supreme for Pipe and Fittings)
37 | B.5.1 | 15 mm Dia | 15 mm Dia | Mtr | 25.000 | 7,750.00 | 405.00 | 10,125.00 | 375.00 | 9,375.00 | 310.00 | 7,750.00 | 998.00 | 24,950.00 | 550.00 | 13,750.00
38 | B.5.2 | 20 mm Dia | 20 mm Dia | Mtr | 25.000 | 9,925.00 | 465.00 | 11,625.00 | 425.00 | 10,625.00 | 397.00 | 9,925.00 | 890.00 | 22,250.00 | 610.00 | 15,250.00
39 | B.5.3 | 25 mm Dia | 25 mm Dia | Mtr | 35.000 | 16,625.00 | 560.00 | 19,600.00 | 475.00 | 16,625.00 | 515.00 | 18,025.00 | 1050.00 | 36,750.00 | 650.00 | 22,750.00
40 | B.6 | Supply, Installation, Testing Commissioning of Copper Pipe conforming to BS 2871 EN 1057, (continous operating temperature range of maximum 90°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Manibhadra fittings or equivalent with Airport approval) | Supply, Installation, Testing Commissioning of Copper Pipe conforming to BS 2871 EN 1057, (continous operating temperature range of maximum 90°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Manibhadra fittings or equivalent with Airport approval)
41 | B.6.1 | 15 mm Dia | 15 mm Dia | Mtr | 3.000 | 5,550.00 | 2000.00 | 6,000.00 | 1850.00 | 5,550.00 | 1900.00 | 5,700.00 | 3850.00 | 11,550.00 | 2500.00 | 7,500.00
42 |  | PIPING THERMAL INSULATION | PIPING THERMAL INSULATION
43 | B.7 | Supply fixing of Pipe Insulation of 13 mm thick, with Polyethylene-based, closed-cell foam pipe insulation and polymer protective coating to prevent external mechanical damage of approved make for Hot water pipe with a operating temperature range of 0°C to 100°C, Thermal conductivity (?) 0.038 W m-K @ 40°C including suitable adhesives to fix the insulation to pipe. (Make Thermax, Maxima, Fuelpac or equivalent) | Supply fixing of Pipe Insulation of 13 mm thick, with Polyethylene-based, closed-cell foam pipe insulation and polymer protective coating to prevent external mechanical damage of approved make for Hot water pipe with a operating temperature range of 0°C to 100°C, Thermal conductivity (?) 0.038 W m-K @ 40°C including suitable adhesives to fix the insulation to pipe. (Make Thermax, Maxima, Fuelpac or equivalent)
44 | B.7.1 | 15 mm Dia | 15 mm Dia | Mtr | 3.000 | 300.00 | 500.00 | 1,500.00 | 100.00 | 300.00 | 150.00 | 450.00 | 1950.00 | 5,850.00 | 150.00 | 450.00

## Technical Score Detail
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | Comp. Date : 28/03/2024 | Comp. Date : 28/03/2024 | Comp. Date : 28/03/2024 | Vendor Name : SM INFRA |  | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd |  | Vendor Name : Rudra Ineriors |  | Vendor Name : Shah Enterprises |  | Vendor Name : Intercare Enterprises
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ #: R0101 | RFQ #: R0101 | RFQ #: R0101 | Contact Name : Alisha |  | Contact Name : Gangadhar Sharma |  | Contact Name : Manoj |  | Contact Name : Sabir |  | Contact Name : Attahar Ali Shaikh
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ Date : 18/03/2024 09:51:23 | RFQ Date : 18/03/2024 09:51:23 | RFQ Date : 18/03/2024 09:51:23 | Vendor City : FARIDABAD |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | BCD Date : 19/03/2024 14:25:00 | BCD Date : 19/03/2024 14:25:00 | BCD Date : 19/03/2024 14:25:00 | Telephone # : 8700207243 |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT | RFQ No: R0101 COST COMPARISON REPORT |  |  |  | Mobile # : 8700207243 |  | Mobile # : |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | PR Number : TFSPL-2324-00192 | Email : sales@sminfra.net |  | Email : piktureperfectdesignstudio@gmail.com |  | Email : manoj@rudrasip.com |  | Email : shahenterindia@gmail.com |  | Email : info@intercareenterprise.in
Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Package / RFQ Name : Plumbing - Delhi Steat | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | Plumbing |  | NOS | 1.000 | 0.00 | 0.00
2 | A | DRAINAGE SYSTEM |  |  | 0.000 | 0.00 | 0.00
3 |  | INTERCEPTORS SEPERATORS |  |  | 0.000 | 0.00 | 0.00
4 | A.1 | Supplying, Installing, Testing Commissioning of Greese Trap or Grease Interceptor (Above Ground floor) of 304 grade stainless steel material with interceptor body, preforated bucket, baffles, integral trap, inlet outlep pipe sleeve and stainless steel interceptor cover of approved make and with all necessary fittings connectors etc. (Make Nugreen , Kessel and Concessionaire can propose another make in SS material.) |  |  | 0.000 | 0.00 | 0.00
5 | A.1.1 | NGT 8 - Flow Rate (0.30 LPS 18 LPM) |  | Nos | 2.000 | 0.00 | 0.00
6 | A.1.2 | NGT 14 - Flow Rate (0.46 LPS 28 LPM) |  | Nos | 3.000 | 0.00 | 0.00
7 | A.1.3 | NGT 70 - Flow Rate (2.20 LPS 132 LPM) |  | Nos | 1.000 | 0.00 | 0.00
8 |  | VALVES ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
9 | A.2 | Supplying, Installing, Testing Commissioning of ABS Air Admittance Valve conforming to EN 12380, with an air admittance air flow rate of 6.1 L s and a temperature range of operation from -20 C to + 60 C of approved make with all necessary adapters, fittings and connectors etc. (Make Astral Supreme for Pipe and Fittings) |  |  | 0.000 | 0.00 | 0.00
10 | A.2.1 | 32 mm Dia |  | Nos | 9.000 | 0.00 | 0.00
11 |  | DRAINS, TRAPS CLEANOUTS |  |  | 0.000 | 0.00 | 0.00
12 | A.3 | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 300 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made) |  |  | 0.000 | 0.00 | 0.00
13 | A.3.1 | 75 mm Dia - Outlet |  | Nos | 9.000 | 0.00 | 0.00
14 | A.3 | Supplying, Installing, and testing of AISI 304 grade Stainless Steel Floor Drain with top square anti-slip mesh grating drain cover of 600 X 300 mm, lateral horizontal outlet, with removable waste basket, odor water seal trap of approved make with all necessary adapters, fittings, and connectors etc. (Make Custom made) |  |  | 0.000 | 0.00 | 0.00
15 | A.3.1 | 75 mm Dia - Outlet |  | Nos | 5.000 | 0.00 | 0.00
16 | A.4 | Supplying, Installing Testing of cast iron Floor Trap (150 mmx 150 mm) with Stainless Steel slotted top cover, odour water seal trap of approved make with all necessary adapters, fittings and connectors etc. (Makes NECO or equivalent with Airport approval) |  |  | 0.000 | 0.00 | 0.00
17 | A.4.1 | 100 mm Dia - Outlet |  | Nos | 3.000 | 0.00 | 0.00
18 |  | DRAINAGE SYSTEMS PIPING |  |  | 0.000 | 0.00 | 0.00
19 | A.5 | Supplying, Installing, Testing, and Commissioning of uPVC Pipe, for drainage with all necessary fittings such as bends, wye s, reducers, san tee s, double wye s, double combinations, san cross, and cleanout plugs etc, of approved make. and with all necessary supports clamps for the above-raised floor pipes as per standards and site conditions requirements. (Make Astral Supreme for Pipe and Fittings) |  |  | 0.000 | 0.00 | 0.00
20 | A.5.1 | 32 mm Dia |  | Mtr | 10.000 | 0.00 | 0.00
21 | A.5.2 | 40 mm Dia |  | Mtr | 20.000 | 0.00 | 0.00
22 | A.5.3 | 50 mm Dia |  | Mtr | 22.000 | 0.00 | 0.00
23 | A.5.4 | 75 mm Dia |  | Mtr | 35.000 | 0.00 | 0.00
24 | A.5.4 | 100 mm Dia |  | Mtr | 6.000 | 0.00 | 0.00
25 | B | WATER SUPPLY SYSTEM |  |  | 0.000 | 0.00 | 0.00
26 |  | WATER SUPPLY EQUIPMENTS |  |  | 0.000 | 0.00 | 0.00
27 | B.1 | Supply, Installation, Testing Commissioning of Electric Water Heater with safety valve arrangement and accessories like angle valve, flexible pipes, C.P bolts, screws, washers, etc. and proper supports necessary as per standards and site condition requirements. (Make Crompton Bajaj or equivalent with Airport approval) |  |  | 0.000 | 0.00 | 0.00
28 | B.1.1 | 30 Liters vertical storage water heater |  | Nos | 1.000 | 0.00 | 0.00
29 | B.2 | Supply, Installation, Testing Commissioning of RO Filteration Unit for supplying pure filtered potable water to equipments like Combi-steamers baking ovens, Fresh water taps Coolers, Coffee Espresso machines, Dish-washers, Post-mix machines, Ice-machines, and Boiling-water taps etc. with necessary prefilters, filter cartridges, manifold heads, mounting brackets, shutoff valves, flushing valves, pressure gauges, and suitable connectors etc. Final make, model and details to be finalized by specialist vendor after examining the water test report of incoming water supply provided at site. (Make Eco Smart Aquaguard or equivalent with Airport approval) |  |  | 0.000 | 0.00 | 0.00
30 | B.2.1 | 15 Ltrs Hr - Flow Rate |  | Nos | 5.000 | 0.00 | 0.00
31 |  | WATER SUPPLY PIPE VALVES ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
32 | B.3 | Supply, Installation, Testing Commissioning of Brass Ball Valve with full bore lever operated, SS ball and stem with a pressure rating of 16 Bar of approved make and with all necessary fittings. (Makes NECO or equivalent with Airport approval) |  |  | 0.000 | 0.00 | 0.00
33 | B.3.1 | 15 mm Dia |  | Nos | 8.000 | 0.00 | 0.00
34 | B.4 | Supply, Installation, Testing, and Commissioning of chrome plated Angle Valve with wall flange rosette for all plumbing equipment fixtures with a pressure rating of 16 Bar of approved make and with all necessary fittings. Including making good the wall partition as per Architectural Interior Design and as per relevant standards. (Makes NECO or equivalent with Airport approval) |  |  | 0.000 | 0.00 | 0.00
35 | B.4.1 | 15 mm Dia Inlet (Outlet size to fit with plumbing eqp fixture connection) |  | Nos | 19.000 | 0.00 | 0.00
36 |  | COLD WATER SUPPLY PIPING |  |  | 0.000 | 0.00 | 0.00
37 | B.5 | Supply, Installation, Testing Commissioning of (Chlorinated Poly Vinyl Chloride) CPVC Pipe conforming to IS 15778, ASTM D 2846, in SDR 11 Class 1, (temperature range of maximum 82°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Astral Supreme for Pipe and Fittings) |  |  | 0.000 | 0.00 | 0.00
38 | B.5.1 | 15 mm Dia |  | Mtr | 25.000 | 0.00 | 0.00
39 | B.5.2 | 20 mm Dia |  | Mtr | 25.000 | 0.00 | 0.00
40 | B.5.3 | 25 mm Dia |  | Mtr | 35.000 | 0.00 | 0.00
41 | B.6 | Supply, Installation, Testing Commissioning of Copper Pipe conforming to BS 2871 EN 1057, (continous operating temperature range of maximum 90°C) with all necessary fittings such as sockets, bends, elbows, tees, reducers, unions etc, and proper supports necessary as per standards and site condition requirements. (Make Manibhadra fittings or equivalent with Airport approval) |  |  | 0.000 | 0.00 | 0.00
42 | B.6.1 | 15 mm Dia |  | Mtr | 3.000 | 0.00 | 0.00
43 |  | PIPING THERMAL INSULATION |  |  | 0.000 | 0.00 | 0.00
44 | B.7 | Supply fixing of Pipe Insulation of 13 mm thick, with Polyethylene-based, closed-cell foam pipe insulation and polymer protective coating to prevent external mechanical damage of approved make for Hot water pipe with a operating temperature range of 0°C to 100°C, Thermal conductivity (?) 0.038 W m-K @ 40°C including suitable adhesives to fix the insulation to pipe. (Make Thermax, Maxima, Fuelpac or equivalent) |  |  | 0.000 | 0.00 | 0.00
45 | B.7.1 | 15 mm Dia |  | Mtr | 3.000 | 0.00 | 0.00