## Price Comparison
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | Comp. Date : 09/02/2024 | Comp. Date : 09/02/2024 | Comp. Date : 09/02/2024 | Vendor Name : FALLOW DEZIENCE TREE LLP (RV232417181) | [5 empty] | Vendor Name : INVENTECH SOLUTIONS (RV232417192) | [5 empty] | Vendor Name : ALTITUDE MARKETING LLP (RV232417272) | [5 empty] | Vendor Name : Pioneer Infra And Turnkey Solutions (RV232417609)
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ #: R0148 | RFQ #: R0148 | RFQ #: R0148 | Contact Name : Khursheed Ahmad/Jasmine Grover | [5 empty] | Contact Name : Shirish Awati | [5 empty] | Contact Name : Lalit Kumar/Vickram Chaudhary | [5 empty] | Contact Name : Pankaj Upadhyay/Bipin Upadhyay
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ Date : 09/02/2024 11:59:06 | RFQ Date : 09/02/2024 11:59:06 | RFQ Date : 09/02/2024 11:59:06 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | BCD Date : 09/02/2024 15:00:00 | BCD Date : 09/02/2024 15:00:00 | BCD Date : 09/02/2024 15:00:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | Email : accounts@fallowdezience.com | [5 empty] | Email : inventechsolutionspune@gmail.com | [5 empty] | Email : vickram@altitudemarketing.in | [5 empty] | Email : bipinu@pioneerindinfra.com
Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Round # : 4 (RFQ) | [5 empty] | Round # : 4 (RFQ) | [5 empty] | Round # : 4 (RFQ) | [5 empty] | Round # : 4 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | ELECTRICAL WORK- KFC FORECOURT AREA, AHEMDABAD | no | 1.00 |  | 93500.00 | FALLOW DEZIENCE TREE LLP | 93500.00 | 0.00 | 18.00 |  | 93,500.00 | 93,500.00 | 153750.00 | 0.00 | 18.00 |  | 153,750.00 | 153,750.00 | 174040.00 | 0.00 | 18.00 |  | 174,040.00 | 174,040.00 | 214350.00 | 0.00 | 18.00 |  | 214,350.00 | 214,350.00
Item Total | [8 empty] | .00 | 16,830.00 |  |  | 93,500.00 |  | .00 | 27,675.00 |  |  | 153,750.00 |  | .00 | 31,327.20 |  |  | 174,040.00 |  | .00 | 38,583.00 |  |  | 214,350.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 16,830.00 | [5 empty] | 27,675.00 | [5 empty] | 31,327.20 | [5 empty] | 38,583.00
Net Landed Cost | [11 empty] | INR | 110,330.00 |  |  |  |  | INR | 181,425.00 |  |  |  |  | INR | 205,367.20 |  |  |  |  | INR | 252,933.00
Vendor Status | [7 empty] | Round # : 4 (RFQ) | Round # : 4 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | T052000 | Star & Merit | [5 empty] | Not Participate
2 | T051926 | Keystone Solutions | [5 empty] | Not Participate
3 | RV232419814 | VSAS GROUP | [5 empty] | Participate
4 | RV232419793 | MT DECOR LLP | [5 empty] | Not Participate
5 | RV232417609 | Pioneer Infra And Turnkey Solutions | [5 empty] | Participate
6 | RV232417353 | VART INFRACON PRIVATE LIMITED | [5 empty] | Not Participate
7 | RV232417272 | ALTITUDE MARKETING LLP | [5 empty] | Participate
8 | RV232417192 | INVENTECH SOLUTIONS | [5 empty] | Participate
9 | RV232417181 | FALLOW DEZIENCE TREE LLP | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | Comp. Date : 09/02/2024 | Comp. Date : 09/02/2024 | Comp. Date : 09/02/2024 | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : INVENTECH SOLUTIONS | Vendor Name : INVENTECH SOLUTIONS | Vendor Name : ALTITUDE MARKETING LLP | Vendor Name : ALTITUDE MARKETING LLP | Vendor Name : Pioneer Infra And Turnkey Solutions | Vendor Name : Pioneer Infra And Turnkey Solutions
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ #: R0148 | RFQ #: R0148 | RFQ #: R0148 | Contact Name : Khursheed Ahmad/Jasmine Grover | Contact Name : Khursheed Ahmad/Jasmine Grover | Contact Name : Shirish Awati | Contact Name : Shirish Awati | Contact Name : Lalit Kumar/Vickram Chaudhary | Contact Name : Lalit Kumar/Vickram Chaudhary | Contact Name : Pankaj Upadhyay/Bipin Upadhyay | Contact Name : Pankaj Upadhyay/Bipin Upadhyay
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ Date : 09/02/2024 11:59:06 | RFQ Date : 09/02/2024 11:59:06 | RFQ Date : 09/02/2024 11:59:06 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | BCD Date : 09/02/2024 15:00:00 | BCD Date : 09/02/2024 15:00:00 | BCD Date : 09/02/2024 15:00:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | Email : accounts@fallowdezience.com | Email : accounts@fallowdezience.com | Email : inventechsolutionspune@gmail.com | Email : inventechsolutionspune@gmail.com | Email : vickram@altitudemarketing.in | Email : vickram@altitudemarketing.in | Email : bipinu@pioneerindinfra.com | Email : bipinu@pioneerindinfra.com
Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ) | Round # : 4 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | ELECTRICAL WORK- KFC FORECOURT AREA, AHEMDABAD | BOQ for ELECTRICAL WORK- KFC FORECOURT AREA, AHEMDABAD | no | 1.000 |  |  | 93,500.00 |  | 153,750.00 |  | 174,040.00 |  | 214,350.00
1 |  | Electrical Control Panel | Electrical Control Panel
2 |  | Supply, installation, testing and commissioning of panel boards made of 2.0 mm thick steel sheet duly powder coated with voltmeter, ammeter, electronic energy meter, indicating lights, Stop manual Auto selector switch in each, outgoing current operated single phase preventer. The starters should have potential free contacts for connection to Building Automation System. The panel shall include contactors over load relay with built in single phase protection Time delay relay for delayed automatic start of the motor. All panels should have spare NO NC Contacts for BMS applications as required. | Supply, installation, testing and commissioning of panel boards made of 2.0 mm thick steel sheet duly powder coated with voltmeter, ammeter, electronic energy meter, indicating lights, Stop manual Auto selector switch in each, outgoing current operated single phase preventer. The starters should have potential free contacts for connection to Building Automation System. The panel shall include contactors over load relay with built in single phase protection Time delay relay for delayed automatic start of the motor. All panels should have spare NO NC Contacts for BMS applications as required.
3 |  | Panel-P01 (Kitchen Ventilation) (2 x 1.1 KW + 1 x 3.75 KW ) INCOMER 1 No. incoming 32 Amps TP+N MCB 1 No. Digital Type voltmeter with selector switch with control MCB 1 No. Digital Type Ammeter 0-40 A with C.T. s and selector switch. 1 Set of RYB indication lamps with control MCB 1 No. of 40 Amps Aluminium conductor 25kA bus bar duly sleeved as required. OUTGOING 3 Nos. 16 Amps TPN MCB 1 No. DOL starter for 3.75 KW Motor 2 No. DOL starter for 1.1 KW Motor 3 Nos. of single phase preventor (current based-MPRD2) 3 Nos. Digital Type Ammeter Each star-delta DOL starter consists of current operated MN type over load relay, contactor, push button, ON OFF indication light | Panel-P01 (Kitchen Ventilation) (2 x 1.1 KW + 1 x 3.75 KW ) INCOMER 1 No. incoming 32 Amps TP+N MCB 1 No. Digital Type voltmeter with selector switch with control MCB 1 No. Digital Type Ammeter 0-40 A with C.T. s and selector switch. 1 Set of RYB indication lamps with control MCB 1 No. of 40 Amps Aluminium conductor 25kA bus bar duly sleeved as required. OUTGOING 3 Nos. 16 Amps TPN MCB 1 No. DOL starter for 3.75 KW Motor 2 No. DOL starter for 1.1 KW Motor 3 Nos. of single phase preventor (current based-MPRD2) 3 Nos. Digital Type Ammeter Each star-delta DOL starter consists of current operated MN type over load relay, contactor, push button, ON OFF indication light | Set | 1.000 | 24,500.00 | 24500.00 | 24,500.00 | 45000.00 | 45,000.00 | 75000.00 | 75,000.00 | 120000.00 | 120,000.00
4 |  | Panel-P06 (Ceiling Suspended AHU-2000 CFM) (1 x 1.1 KW ) OUTGOING 1 Nos. 16 Amps TPN MCB 1 No. DOL starter for 1.1 KW Motor 1 Nos. of single phase preventor (current based-MPRD2) 1 Nos. Digital Type Ammeter Each star-delta DOL starter consists of current operated MN type over load relay, contactor, push button, ON OFF indication light | Panel-P06 (Ceiling Suspended AHU-2000 CFM) (1 x 1.1 KW ) OUTGOING 1 Nos. 16 Amps TPN MCB 1 No. DOL starter for 1.1 KW Motor 1 Nos. of single phase preventor (current based-MPRD2) 1 Nos. Digital Type Ammeter Each star-delta DOL starter consists of current operated MN type over load relay, contactor, push button, ON OFF indication light | Set | 1.000 | 25,000.00 | 25000.00 | 25,000.00 | 28000.00 | 28,000.00 | 37500.00 | 37,500.00 | 25000.00 | 25,000.00
5 |  | Cables | Cables
6 |  | Supplying, laying, testing and commissioning of XLPE insulated aluminium conductor armored cables of 1.1 KV grade of following sizes directly on wall structural frame cable trays or racks using approved type of clamps,End terminations with Double Compression type glands on both ends, double earthing with GI strip wire of suitable size and hardware as per specifications. 3 C x 4 Sq. mm | Supplying, laying, testing and commissioning of XLPE insulated aluminium conductor armored cables of 1.1 KV grade of following sizes directly on wall structural frame cable trays or racks using approved type of clamps,End terminations with Double Compression type glands on both ends, double earthing with GI strip wire of suitable size and hardware as per specifications. 3 C x 4 Sq. mm | Mtrs | 100.000 | 30,000.00 | 300.00 | 30,000.00 | 550.00 | 55,000.00 | 425.00 | 42,500.00 | 555.00 | 55,500.00
7 |  | Control Transmission Wiring | Control Transmission Wiring
8 |  | Providing fixing control cum transmission wiring of 2 core x 1.5 sqmm copper in MS conduits between indoor and out door unit and between indoor units and their remote sensor controller. | Providing fixing control cum transmission wiring of 2 core x 1.5 sqmm copper in MS conduits between indoor and out door unit and between indoor units and their remote sensor controller. | RM | 40.000 | 5,000.00 | 150.00 | 6,000.00 | 350.00 | 14,000.00 | 196.00 | 7,840.00 | 125.00 | 5,000.00
9 |  | Power Cabling | Power Cabling
10 |  | Indoor Units | Indoor Units
11 |  | Providing and fixing flexible power cable of 3 core x 1.5 sqmm copper between Indoor units and their power points | Providing and fixing flexible power cable of 3 core x 1.5 sqmm copper between Indoor units and their power points | RM | 10.000 | 2,000.00 | 200.00 | 2,000.00 | 250.00 | 2,500.00 | 285.00 | 2,850.00 | 225.00 | 2,250.00
12 |  | Providing and fixing flexible power cable of 3 core x 2.5 sqmm copper between Indoor units and their power points | Providing and fixing flexible power cable of 3 core x 2.5 sqmm copper between Indoor units and their power points | RM | 10.000 | 2,450.00 | 250.00 | 2,500.00 | 375.00 | 3,750.00 | 465.00 | 4,650.00 | 245.00 | 2,450.00
13 |  | Earthing | Earthing
14 |  | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required
15 |  | 25 mm x 3 mm GI strip | 25 mm x 3 mm GI strip | RM | 10.000 | 1,500.00 | 150.00 | 1,500.00 | 175.00 | 1,750.00 | 225.00 | 2,250.00 | 350.00 | 3,500.00
16 |  | 8 SWG GI Wire | 8 SWG GI Wire | RM | 10.000 | 650.00 | 200.00 | 2,000.00 | 375.00 | 3,750.00 | 145.00 | 1,450.00 | 65.00 | 650.00

## Technical Score Detail
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | Comp. Date : 09/02/2024 | Comp. Date : 09/02/2024 | Comp. Date : 09/02/2024 | Vendor Name : FALLOW DEZIENCE TREE LLP |  | Vendor Name : INVENTECH SOLUTIONS |  | Vendor Name : ALTITUDE MARKETING LLP |  | Vendor Name : Pioneer Infra And Turnkey Solutions
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ #: R0148 | RFQ #: R0148 | RFQ #: R0148 | Contact Name : Khursheed Ahmad/Jasmine Grover |  | Contact Name : Shirish Awati |  | Contact Name : Lalit Kumar/Vickram Chaudhary |  | Contact Name : Pankaj Upadhyay/Bipin Upadhyay
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ Date : 09/02/2024 11:59:06 | RFQ Date : 09/02/2024 11:59:06 | RFQ Date : 09/02/2024 11:59:06 | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | BCD Date : 09/02/2024 15:00:00 | BCD Date : 09/02/2024 15:00:00 | BCD Date : 09/02/2024 15:00:00 | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT | RFQ No: R0148 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | PR Number : Semolina-2324-00262 | Email : accounts@fallowdezience.com |  | Email : inventechsolutionspune@gmail.com |  | Email : vickram@altitudemarketing.in |  | Email : bipinu@pioneerindinfra.com
Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Package / RFQ Name : TFAS / RFQ / Semolina-2324-00262 | Round # : 4 (RFQ) |  | Round # : 4 (RFQ) |  | Round # : 4 (RFQ) |  | Round # : 4 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | ELECTRICAL WORK- KFC FORECOURT AREA, AHEMDABAD |  | no | 1.000 | 0.00 | 0.00
2 |  | Electrical Control Panel |  |  | 0.000 | 0.00 | 0.00
3 |  | Supply, installation, testing and commissioning of panel boards made of 2.0 mm thick steel sheet duly powder coated with voltmeter, ammeter, electronic energy meter, indicating lights, Stop manual Auto selector switch in each, outgoing current operated single phase preventer. The starters should have potential free contacts for connection to Building Automation System. The panel shall include contactors over load relay with built in single phase protection Time delay relay for delayed automatic start of the motor. All panels should have spare NO NC Contacts for BMS applications as required. |  |  | 0.000 | 0.00 | 0.00
4 |  | Panel-P01 (Kitchen Ventilation) (2 x 1.1 KW + 1 x 3.75 KW ) INCOMER 1 No. incoming 32 Amps TP+N MCB 1 No. Digital Type voltmeter with selector switch with control MCB 1 No. Digital Type Ammeter 0-40 A with C.T. s and selector switch. 1 Set of RYB indication lamps with control MCB 1 No. of 40 Amps Aluminium conductor 25kA bus bar duly sleeved as required. OUTGOING 3 Nos. 16 Amps TPN MCB 1 No. DOL starter for 3.75 KW Motor 2 No. DOL starter for 1.1 KW Motor 3 Nos. of single phase preventor (current based-MPRD2) 3 Nos. Digital Type Ammeter Each star-delta DOL starter consists of current operated MN type over load relay, contactor, push button, ON OFF indication light |  | Set | 1.000 | 0.00 | 0.00
5 |  | Panel-P06 (Ceiling Suspended AHU-2000 CFM) (1 x 1.1 KW ) OUTGOING 1 Nos. 16 Amps TPN MCB 1 No. DOL starter for 1.1 KW Motor 1 Nos. of single phase preventor (current based-MPRD2) 1 Nos. Digital Type Ammeter Each star-delta DOL starter consists of current operated MN type over load relay, contactor, push button, ON OFF indication light |  | Set | 1.000 | 0.00 | 0.00
6 |  | Cables |  |  | 0.000 | 0.00 | 0.00
7 |  | Supplying, laying, testing and commissioning of XLPE insulated aluminium conductor armored cables of 1.1 KV grade of following sizes directly on wall structural frame cable trays or racks using approved type of clamps,End terminations with Double Compression type glands on both ends, double earthing with GI strip wire of suitable size and hardware as per specifications. 3 C x 4 Sq. mm |  | Mtrs | 100.000 | 0.00 | 0.00
8 |  | Control Transmission Wiring |  |  | 0.000 | 0.00 | 0.00
9 |  | Providing fixing control cum transmission wiring of 2 core x 1.5 sqmm copper in MS conduits between indoor and out door unit and between indoor units and their remote sensor controller. |  | RM | 40.000 | 0.00 | 0.00
10 |  | Power Cabling |  |  | 0.000 | 0.00 | 0.00
11 |  | Indoor Units |  |  | 0.000 | 0.00 | 0.00
12 |  | Providing and fixing flexible power cable of 3 core x 1.5 sqmm copper between Indoor units and their power points |  | RM | 10.000 | 0.00 | 0.00
13 |  | Providing and fixing flexible power cable of 3 core x 2.5 sqmm copper between Indoor units and their power points |  | RM | 10.000 | 0.00 | 0.00
14 |  | Earthing |  |  | 0.000 | 0.00 | 0.00
15 |  | Supplying and laying of the following earthing clamped to wall with suitable clamps saddles and fixing bolts in ground including the cost of digging and back filling as required and complete as required to comply with IS 3043 1987. All copper joints shall be tinned. The rates shall be inclusive of making test joints where ever required |  |  | 0.000 | 0.00 | 0.00
16 |  | 25 mm x 3 mm GI strip |  | RM | 10.000 | 0.00 | 0.00
17 |  | 8 SWG GI Wire |  | RM | 10.000 | 0.00 | 0.00