## Price Comparison
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | Comp. Date : 17/02/2024 | Comp. Date : 17/02/2024 | Comp. Date : 17/02/2024 | Vendor Name : FALLOW DEZIENCE TREE LLP (RV232417181) | [5 empty] | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd. (RV232417617) | [5 empty] | Vendor Name : Distint India Enterprises LLP (RV232421254) | [5 empty] | Vendor Name : Arrow Electricals (RV232417622)
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ #: R0154 | RFQ #: R0154 | RFQ #: R0154 | Contact Name : Khursheed Ahmad/Jasmine Grover | [5 empty] | Contact Name : Sonali Dhadve | [5 empty] | Contact Name : Sanjay Jain | [5 empty] | Contact Name : Ather Iqbal
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ Date : 13/02/2024 14:49:42 | RFQ Date : 13/02/2024 14:49:42 | RFQ Date : 13/02/2024 14:49:42 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | BCD Date : 14/02/2024 23:50:00 | BCD Date : 14/02/2024 23:50:00 | BCD Date : 14/02/2024 23:50:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : 98102 60645 | [5 empty] | Mobile # :
PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | Email : accounts@fallowdezience.com | [5 empty] | Email : piktureperfectdesignstudio@gmail.com | [5 empty] | Email : di.sanjayjain@gmail.com | [5 empty] | Email : khakesantosh10@gmail.com
Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Round # : 3 (RFQ) | [5 empty] | Round # : 3 (RFQ) | [5 empty] | Round # : 3 (RFQ) | [5 empty] | Round # : 3 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Civil and Interior work - GWH Kitchen | no | 1.00 |  | 800000.00 | Distint India Enterprises LLP | 986250.00 | 0.00 | 18.00 |  | 986,250.00 | 986,250.00 | 1116697.00 | 0.00 | 18.00 |  | 1,116,697.00 | 1,116,697.00 | 867150.00 | 0.00 | 18.00 |  | 800,000.00 | 800,000.00 |  |  | Regreted | Regreted | Regreted
2 |  | Plumbing work - GWH Kitchen | no | 1.00 |  | 121700.00 | Distint India Enterprises LLP | 361950.00 | 0.00 | 18.00 |  | 361,950.00 | 361,950.00 | 183155.00 | 0.00 | 18.00 |  | 183,155.00 | 183,155.00 | 298805.00 | 0.00 | 18.00 |  | 121,700.00 | 121,700.00 |  |  | Regreted | Regreted | Regreted
3 |  | Electrical Work - GWH Kitchen | no | 1.00 |  | 1113050.00 | Distint India Enterprises LLP | 761900.00 | 0.00 | 18.00 |  | 1,500,500.00 | 1,500,500.00 | 0.00 | 0.00 | 18.00 |  | 1,623,730.00 | 1,623,730.00 | 1771130.00 | 0.00 | 18.00 |  | 1,113,050.00 | 1,113,050.00 | 1213945.00 | 0.00 | 18.00 |  | 1,213,945.00 | 1,213,945.00
Item Total | [8 empty] | .00 | 512,766.00 |  |  | 2,848,700.00 |  | .00 | 526,244.76 |  |  | 2,923,582.00 |  | .00 | 366,255.00 |  |  | 2,034,750.00 |  | .00 | 218,510.10 |  |  | 1,213,945.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 512,766.00 | [5 empty] | 526,244.76 | [5 empty] | 366,255.00 | [5 empty] | 218,510.10
Net Landed Cost | [11 empty] | INR | 3,361,466.00 |  |  |  |  | INR | 3,449,826.76 |  |  |  |  | INR | 2,401,005.00 |  |  |  |  | INR | 1,432,455.10
Vendor Status | [7 empty] | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | T052020 | Sterling Interiors | [5 empty] | Not Participate
2 | RV232421261 | Rudra Ineriors | [5 empty] | Not Participate
3 | RV232417617 | Pikture Perfect Design Studio Pvt. Ltd. | [5 empty] | Participate
4 | RV232417609 | Pioneer Infra And Turnkey Solutions | [5 empty] | Not Participate
5 | RV232417575 | Luster Enterprises | [5 empty] | Not Participate
6 | RV232417353 | VART INFRACON PRIVATE LIMITED | [5 empty] | Not Participate
7 | RV232417272 | ALTITUDE MARKETING LLP | [5 empty] | Not Participate
8 | RV232417192 | INVENTECH SOLUTIONS | [5 empty] | Not Participate
9 | RV232417181 | FALLOW DEZIENCE TREE LLP | [5 empty] | Participate
10 | RV232421254 | Distint India Enterprises LLP | [5 empty] | Participate
11 | RV232417522 | Snehangi Traders | [5 empty] | Not Participate
12 | RV232417622 | Arrow Electricals | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | Comp. Date : 17/02/2024 | Comp. Date : 17/02/2024 | Comp. Date : 17/02/2024 | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : FALLOW DEZIENCE TREE LLP | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd. | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd. | Vendor Name : Distint India Enterprises LLP | Vendor Name : Distint India Enterprises LLP | Vendor Name : Arrow Electricals | Vendor Name : Arrow Electricals
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ #: R0154 | RFQ #: R0154 | RFQ #: R0154 | Contact Name : Khursheed Ahmad/Jasmine Grover | Contact Name : Khursheed Ahmad/Jasmine Grover | Contact Name : Sonali Dhadve | Contact Name : Sonali Dhadve | Contact Name : Sanjay Jain | Contact Name : Sanjay Jain | Contact Name : Ather Iqbal | Contact Name : Ather Iqbal
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ Date : 13/02/2024 14:49:42 | RFQ Date : 13/02/2024 14:49:42 | RFQ Date : 13/02/2024 14:49:42 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | BCD Date : 14/02/2024 23:50:00 | BCD Date : 14/02/2024 23:50:00 | BCD Date : 14/02/2024 23:50:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 98102 60645 | Mobile # : 98102 60645 | Mobile # : | Mobile # :
PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | Email : accounts@fallowdezience.com | Email : accounts@fallowdezience.com | Email : piktureperfectdesignstudio@gmail.com | Email : piktureperfectdesignstudio@gmail.com | Email : di.sanjayjain@gmail.com | Email : di.sanjayjain@gmail.com | Email : khakesantosh10@gmail.com | Email : khakesantosh10@gmail.com
Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Civil and Interior work - GWH Kitchen | BOQ for Civil and Interior work - GWH Kitchen | no | 1.000 |  |  | 986,250.00 |  | 1,116,697.00 |  | 800,000.00 | Regreted
1 |  | Demolition work- Plaster Demolition Removing of existing plaster of upto required height as per instruction from Eng. Incharge | Demolition work- Plaster Demolition Removing of existing plaster of upto required height as per instruction from Eng. Incharge | Sq.mtr | 54.000 | 13,500.00 | 250.00 | 13,500.00 | 540.00 | 29,160.00 | 660.00 | 35,640.00 | Regreted
2 |  | Demolition work- Wall Tiles Demolition Removing of existing Wall Tiles of upto required height as per instruction from Eng. Incharge | Demolition work- Wall Tiles Demolition Removing of existing Wall Tiles of upto required height as per instruction from Eng. Incharge | Sq.mtr | 7.000 | 3,780.00 | 550.00 | 3,850.00 | 540.00 | 3,780.00 | 660.00 | 4,620.00 | Regreted
3 |  | Pest Control treatment | Pest Control treatment | LS | 1.000 | 9,500.00 | 18000.00 | 18,000.00 | 9500.00 | 9,500.00 | 19400.00 | 19,400.00 | Regreted
4 |  | Debris Removal from site - Removal of debris from site post construction | Debris Removal from site - Removal of debris from site post construction | LS | 1.000 | 15,000.00 | 15000.00 | 15,000.00 | 33000.00 | 33,000.00 | 32320.00 | 32,320.00 | Regreted
5 |  | Water proofing on the mother slab and Wall - Providing and laying proprietary chemical water proofing system consisting of polymer modified acrylic base coating in two coats in form of slurry (total consumption of 1.5 Kg Sqm) as approved by the PM and as directed by the approved manufacturer of waterproofing coating, with sandwiched fibre mesh and protective screed. The work shall include cleaning of surface, grouting porous surfaces including making ‘V’ grooves at junctions, cracks with non shrink crystalline base cementitious grout etc. Further including horizontal and vertical surfaces protected with 20mm.screeding in 1 4 mortar (1 cement 4 sand), finished in ready to receive Architectural finish, in correct line, level and plumb, curing, grouting, testing, etc. all complete to entire satisfaction of the PM, contractor to provide guarantee for 10 years Rs.100 - stamp paper in approved proforma. MAKE WPM 002-AROEX ENDURA. CONTRCTING HAS TO FOLLOW THE DETAILED METHODOLOGY OF THE MANUFCATURERS INSTRUCTION. ONLY FOR WET AREA. | Water proofing on the mother slab and Wall - Providing and laying proprietary chemical water proofing system consisting of polymer modified acrylic base coating in two coats in form of slurry (total consumption of 1.5 Kg Sqm) as approved by the PM and as directed by the approved manufacturer of waterproofing coating, with sandwiched fibre mesh and protective screed. The work shall include cleaning of surface, grouting porous surfaces including making ‘V’ grooves at junctions, cracks with non shrink crystalline base cementitious grout etc. Further including horizontal and vertical surfaces protected with 20mm.screeding in 1 4 mortar (1 cement 4 sand), finished in ready to receive Architectural finish, in correct line, level and plumb, curing, grouting, testing, etc. all complete to entire satisfaction of the PM, contractor to provide guarantee for 10 years Rs.100 - stamp paper in approved proforma. MAKE WPM 002-AROEX ENDURA. CONTRCTING HAS TO FOLLOW THE DETAILED METHODOLOGY OF THE MANUFCATURERS INSTRUCTION. ONLY FOR WET AREA.
6 |  | A) Base_ Mother Slab | A) Base_ Mother Slab | Sq.Mt | 35.000 | 43,750.00 | 1250.00 | 43,750.00 | 2106.00 | 73,710.00 | 1535.00 | 53,725.00 | Regreted
7 |  | B) Walls upto 900mm ht. | B) Walls upto 900mm ht. | Sq.Mt | 32.000 | 48,000.00 | 1500.00 | 48,000.00 | 2106.00 | 67,392.00 | 1535.00 | 49,120.00 | Regreted
8 |  | Blockwork - Providing and constructing concrete block masonry made out from AAC concrete blocks conforming to IS 2185 (Part-III) having minimum crushing strength 30 Kg Sq. cm and maximum water absorption 10%, in cement mortar CM 1 4 (1 cement 4 sand) mixed with approved non-shrinking compound as per manufacturer’s instructions, including providing RCC patli beam of 150mm x 100mm at every 1.00m C C with 2 nos. 8 mm dia Tor bars and 6 mm dia links at 300 c c in cement concrete of mix M 20, required formwork complete with raking out joints, curing, doing independent double legged scaffolding as per specifications etc. at all heights, depths and leads as directed by the PM to his entire satisfaction. (Patli beam is including reinforcement part of the item) for 150mm thick concrete block masonry (UPTO 3000MM HEIGHT False Ceiling ht) | Blockwork - Providing and constructing concrete block masonry made out from AAC concrete blocks conforming to IS 2185 (Part-III) having minimum crushing strength 30 Kg Sq. cm and maximum water absorption 10%, in cement mortar CM 1 4 (1 cement 4 sand) mixed with approved non-shrinking compound as per manufacturer’s instructions, including providing RCC patli beam of 150mm x 100mm at every 1.00m C C with 2 nos. 8 mm dia Tor bars and 6 mm dia links at 300 c c in cement concrete of mix M 20, required formwork complete with raking out joints, curing, doing independent double legged scaffolding as per specifications etc. at all heights, depths and leads as directed by the PM to his entire satisfaction. (Patli beam is including reinforcement part of the item) for 150mm thick concrete block masonry (UPTO 3000MM HEIGHT False Ceiling ht) | Sqm | 28.000 | 26,600.00 | 950.00 | 26,600.00 | 1998.00 | 55,944.00 | 2730.00 | 76,440.00 | Regreted
9 |  | Light Weight Coba Filling work - Providing and laying Light Weight block filling, cm 1 3 base coat, Light weight coba filling as per site requirement 1 4 top-finish coat. the mortar for the Light weight koba filling shall be cm 1 4 and admixed with integral waterproofing compound and mortar plasticizer, properly compacted, curing, complete. The top-finish coat shall be broom-finished suitable for laying tiles. The cost should include sealing the annular space between the pipe and the masonary, making khurras, river sand screened and washed, at all leads, lifts, heights, with proper slope to drain-off water entirely, complete, etc. Curing shall be done for maximum for 7 days by ponding with water or after getting checked satisfied by Site Engineer . | Light Weight Coba Filling work - Providing and laying Light Weight block filling, cm 1 3 base coat, Light weight coba filling as per site requirement 1 4 top-finish coat. the mortar for the Light weight koba filling shall be cm 1 4 and admixed with integral waterproofing compound and mortar plasticizer, properly compacted, curing, complete. The top-finish coat shall be broom-finished suitable for laying tiles. The cost should include sealing the annular space between the pipe and the masonary, making khurras, river sand screened and washed, at all leads, lifts, heights, with proper slope to drain-off water entirely, complete, etc. Curing shall be done for maximum for 7 days by ponding with water or after getting checked satisfied by Site Engineer . | Cu.mtr | 13.000 | 4,550.00 | 350.00 | 4,550.00 | 8091.00 | 105,183.00 | 2620.00 | 34,060.00 | Regreted
10 |  | PCC - Providing Laying Plain cement concrete of thickness 75 to 100mm, specified grade (M10) including the cost of centering and shuttering required curing. Approved make cement is PPC (ACC, Ultra tech , Birla) | PCC - Providing Laying Plain cement concrete of thickness 75 to 100mm, specified grade (M10) including the cost of centering and shuttering required curing. Approved make cement is PPC (ACC, Ultra tech , Birla) | Sqm | 52.000 | 18,200.00 | 350.00 | 18,200.00 | 1350.00 | 70,200.00 | 870.00 | 45,240.00 | Regreted
11 |  | Plaster for Masonary Walls - Providing and applying 12mm thick plaster with premix mortar mix of ratio CM 1 4 (1 cement 4 sand) with air entraining agent Cebex 112, 150ml per bag of cement, to internal surfaces of concrete and masonry work; including raking out joints, hacking concrete surfaces and applying approved chemical bonding agent for receiving cement finished dash coat plaster and applying a scratch coat over concrete surfaces by bonding adhesive chemical coat as directed by approved manufacturer to create a key, cleaning grooving deep junctions of concrete masonry, grouting then back by mortar mixed with non shrinking compound along with packing of clean, fresh square cut aggregate; also providing and fixing 20 gauge PVC mesh @ 150 mm wide to junctions of concrete and masonry, preparing jambs, sills, grooves, pattas, wattas, rounding of corners, all complete as per architectural drawings, specifications and finished smooth with wooden rundha or as specified by the PM at all leads, depth and lifts, doing independent double-legged scaffolding, cleaning of surfaces, curing, complete as per specification and to the approval of the PM. (Location Vertical wall partition wall of any type) | Plaster for Masonary Walls - Providing and applying 12mm thick plaster with premix mortar mix of ratio CM 1 4 (1 cement 4 sand) with air entraining agent Cebex 112, 150ml per bag of cement, to internal surfaces of concrete and masonry work; including raking out joints, hacking concrete surfaces and applying approved chemical bonding agent for receiving cement finished dash coat plaster and applying a scratch coat over concrete surfaces by bonding adhesive chemical coat as directed by approved manufacturer to create a key, cleaning grooving deep junctions of concrete masonry, grouting then back by mortar mixed with non shrinking compound along with packing of clean, fresh square cut aggregate; also providing and fixing 20 gauge PVC mesh @ 150 mm wide to junctions of concrete and masonry, preparing jambs, sills, grooves, pattas, wattas, rounding of corners, all complete as per architectural drawings, specifications and finished smooth with wooden rundha or as specified by the PM at all leads, depth and lifts, doing independent double-legged scaffolding, cleaning of surfaces, curing, complete as per specification and to the approval of the PM. (Location Vertical wall partition wall of any type) | Sqm | 90.000 | 34,650.00 | 825.00 | 74,250.00 | 810.00 | 72,900.00 | 385.00 | 34,650.00 | Regreted
12 |  | Finishesh | Finishesh
13 |  | Kota Stone Flooring - Laying machine cut, machine polished approved 25mm thick Kota stone flooring, stone to be machine cut, machine polished, laid in pattern and sizes as detailed in drawing or as directed by PM, bedded over cement sand mortar of mix ratio of 1 6 (1 cement 6 sand) including cleaning and preparing the surface for bedding, spreading neat cement slurry by using minimum cement about 2 kg sqm prior to bedding and spreading cement paste using minimum cement about 4.5 kg sqm over bedding, joints to be cleaned and grouted with matching colour approved quality polymer based readymade grout, curing, machine polishing, cleaning, etc. to required line, level, etc. all complete at all depths, heights and leads to the satisfaction of the PM. Basic rate of Kota @60 - Sqft | Kota Stone Flooring - Laying machine cut, machine polished approved 25mm thick Kota stone flooring, stone to be machine cut, machine polished, laid in pattern and sizes as detailed in drawing or as directed by PM, bedded over cement sand mortar of mix ratio of 1 6 (1 cement 6 sand) including cleaning and preparing the surface for bedding, spreading neat cement slurry by using minimum cement about 2 kg sqm prior to bedding and spreading cement paste using minimum cement about 4.5 kg sqm over bedding, joints to be cleaned and grouted with matching colour approved quality polymer based readymade grout, curing, machine polishing, cleaning, etc. to required line, level, etc. all complete at all depths, heights and leads to the satisfaction of the PM. Basic rate of Kota @60 - Sqft | Sqm | 52.000 | 70,980.00 | 2200.00 | 114,400.00 | 3024.00 | 157,248.00 | 1365.00 | 70,980.00 | Regreted
14 |  | Skirting-KOTA skirting - Fixing 150mm high and 25mm thick approved machine cut, semi machine polished Kota Stone skirting of uniform shade as detailed in drawing. Stone fixed over plastered surface with approved compatible adhesive (Bal Laticrete or equivalent approved) to correct line, level and plumb. Joints are well cleaned grouted with matching colour approved quality polymer based readymade grout, curing, cleaned and where specified or shown in drawing exposed faces edge of stone rounded chamfered and polished etc., at all levels and locations. complete to the entire satisfaction of the PM. | Skirting-KOTA skirting - Fixing 150mm high and 25mm thick approved machine cut, semi machine polished Kota Stone skirting of uniform shade as detailed in drawing. Stone fixed over plastered surface with approved compatible adhesive (Bal Laticrete or equivalent approved) to correct line, level and plumb. Joints are well cleaned grouted with matching colour approved quality polymer based readymade grout, curing, cleaned and where specified or shown in drawing exposed faces edge of stone rounded chamfered and polished etc., at all levels and locations. complete to the entire satisfaction of the PM. | Rmt | 24.000 | 2,040.00 | 450.00 | 10,800.00 | 520.00 | 12,480.00 | 85.00 | 2,040.00 | Regreted
15 |  | Wall Tiles - Providing Fixing of commercial wall tile (Vitrified Tiles at Kitchen Area up to 2400mm Height.) in kitchen as per schedule and design and detail.(10% wastage included) | Wall Tiles - Providing Fixing of commercial wall tile (Vitrified Tiles at Kitchen Area up to 2400mm Height.) in kitchen as per schedule and design and detail.(10% wastage included) | Sqm | 90.000 | 181,800.00 | 2800.00 | 252,000.00 | 2750.00 | 247,500.00 | 2020.00 | 181,800.00 | Regreted
16 |  | Paint on Walls Ceiling - P A of Luster Paint, approved make shade on POP punning finished wall with sand papering cleaning the surface, applying double boiled linseed acrylic oil cement primer Lambi putty to surface 3 times, there after painting the surface in three finishing coats over base primer coat to achieve even finish. Complete up to the mark site engineer s instruction. | Paint on Walls Ceiling - P A of Luster Paint, approved make shade on POP punning finished wall with sand papering cleaning the surface, applying double boiled linseed acrylic oil cement primer Lambi putty to surface 3 times, there after painting the surface in three finishing coats over base primer coat to achieve even finish. Complete up to the mark site engineer s instruction. | Sqm | 65.000 | 21,775.00 | 950.00 | 61,750.00 | 756.00 | 49,140.00 | 335.00 | 21,775.00 | Regreted
17 |  | False Ceiling- Metal Grid Ceiling - Fitting of false ceiling consisting of 20g Aluminium planks made of pre coated ( Top Bottom ) Size 600mmx600mm tiles . False Ceiling with necessary supports , hangers etc. provided to install light fitting , fresh air grill etc. ( from Hunter Douglas or Armstrong ) Armstrong ceiling solutions- Celio c9 | False Ceiling- Metal Grid Ceiling - Fitting of false ceiling consisting of 20g Aluminium planks made of pre coated ( Top Bottom ) Size 600mmx600mm tiles . False Ceiling with necessary supports , hangers etc. provided to install light fitting , fresh air grill etc. ( from Hunter Douglas or Armstrong ) Armstrong ceiling solutions- Celio c9 | Sqm | 32.000 | 77,760.00 | 7800.00 | 249,600.00 | 2430.00 | 77,760.00 | 2600.00 | 83,200.00 | Regreted
18 |  | Counters, Cabinates, Chairs, Tables and Doors | Counters, Cabinates, Chairs, Tables and Doors
19 |  | Doors - Fire rated galvanised steel door-Double shutter with size of 1.2mx2.1m design matching to the exsisting infra doors - Supplying and fixing 120 minute fire rated galvanized steel door (Sukriti Navair Promat Shaktimet) conforming to IS 3614 (Part II) of approved make with door frame made of 1.6mm thick galvanized steel sheet conforming to IS 277, 1992 formed to double rebate profile of size 143mm X 58mm (+ - 0.3mm ) with a maximum bending radius of 1.4mm.The shutter shall be made of 1.2mm thick galvanized steel sheet conforming to IS 277, 1992 formed to provide a 46mm thick fully flush double skin door shell with lock seam joints at stile edges and filled with mineral wool. Double leaf door of size 1.8m X 2.1m Clear fire rated vision glass 6mm thick of size 200 x 300mm, S.S.Butt hinges, external lever handle, door closer with standard arm, panic bar, Vertical Pullman latch with rod cover, door coordinator, S.S. Gasket fire rated, smoke seal etc. complete. Complete the works as per drawings and directions from site in charge. | Doors - Fire rated galvanised steel door-Double shutter with size of 1.2mx2.1m design matching to the exsisting infra doors - Supplying and fixing 120 minute fire rated galvanized steel door (Sukriti Navair Promat Shaktimet) conforming to IS 3614 (Part II) of approved make with door frame made of 1.6mm thick galvanized steel sheet conforming to IS 277, 1992 formed to double rebate profile of size 143mm X 58mm (+ - 0.3mm ) with a maximum bending radius of 1.4mm.The shutter shall be made of 1.2mm thick galvanized steel sheet conforming to IS 277, 1992 formed to provide a 46mm thick fully flush double skin door shell with lock seam joints at stile edges and filled with mineral wool. Double leaf door of size 1.8m X 2.1m Clear fire rated vision glass 6mm thick of size 200 x 300mm, S.S.Butt hinges, external lever handle, door closer with standard arm, panic bar, Vertical Pullman latch with rod cover, door coordinator, S.S. Gasket fire rated, smoke seal etc. complete. Complete the works as per drawings and directions from site in charge. | No | 1.000 | 32,000.00 | 32000.00 | 32,000.00 | 51800.00 | 51,800.00 | 54990.00 | 54,990.00 | Regreted
2 |  | Plumbing work - GWH Kitchen | BOQ for plumbing work - GWH Kitchen | no | 1.000 |  |  | 361,950.00 |  | 183,155.00 |  | 121,700.00 | Regreted
20 |  | WATER SUPPLY PIPING | WATER SUPPLY PIPING
21 |  | CPVC Pipes conforming to ASTM D-2846, SDR-11 grade and CPVC solvent weld fittings like elbows, tees, couplars, brass threaded adaptors, insert ring etc. suitable for (domestic and flushing) cold applications rated, concealed piping within wall floor including jointing with fittings using solvent cement, brass threaded end fittings for making connection to fixtures. The work shall also include chasing the walls with machine wherever required for concealed piping and making good the same after laying of pipes necessary pressure testing Chasing finishing shall be done with 1 1 cement mixed mortar, restore the same original condition for internal and shaft piping, including necessary hot deep galvanised supports vertical horizontal, as per direction of Site incharge direction. [The rate shall include supply of S.S.screws and nut bolts etc.chasing in walls done by machine] (For Domestic and Flushing water-Toilet internal) (Pipe shall be tested with 1.5 times working pressure as covered in specifications) | CPVC Pipes conforming to ASTM D-2846, SDR-11 grade and CPVC solvent weld fittings like elbows, tees, couplars, brass threaded adaptors, insert ring etc. suitable for (domestic and flushing) cold applications rated, concealed piping within wall floor including jointing with fittings using solvent cement, brass threaded end fittings for making connection to fixtures. The work shall also include chasing the walls with machine wherever required for concealed piping and making good the same after laying of pipes necessary pressure testing Chasing finishing shall be done with 1 1 cement mixed mortar, restore the same original condition for internal and shaft piping, including necessary hot deep galvanised supports vertical horizontal, as per direction of Site incharge direction. [The rate shall include supply of S.S.screws and nut bolts etc.chasing in walls done by machine] (For Domestic and Flushing water-Toilet internal) (Pipe shall be tested with 1.5 times working pressure as covered in specifications)
22 |  | 20 mm Dia | 20 mm Dia | R.mt | 30.000 | 4,500.00 | 150.00 | 4,500.00 | 415.00 | 12,450.00 | 180.00 | 5,400.00 | Regreted
23 |  | 25 mm Dia | 25 mm Dia | R.mt | 20.000 | 4,000.00 | 200.00 | 4,000.00 | 475.00 | 9,500.00 | 270.00 | 5,400.00 | Regreted
24 |  | 32mm Dia | 32mm Dia | R.mt | 10.000 | 3,000.00 | 300.00 | 3,000.00 | 550.00 | 5,500.00 | 460.00 | 4,600.00 | Regreted
25 |  | Providing Fixing of gun metal heavy Ball Valves-PN-16 (approved makes as covered in specification) screwed type for water system of the following diameters. Valve shall have with unions. | Providing Fixing of gun metal heavy Ball Valves-PN-16 (approved makes as covered in specification) screwed type for water system of the following diameters. Valve shall have with unions.
26 |  | 20mm Dia | 20mm Dia | Nos. | 2.000 | 500.00 | 250.00 | 500.00 | 1850.00 | 3,700.00 | 595.00 | 1,190.00 | Regreted
27 |  | 25mm Dia | 25mm Dia | Nos. | 2.000 | 700.00 | 350.00 | 700.00 | 2050.00 | 4,100.00 | 745.00 | 1,490.00 | Regreted
28 |  | 32mm Dia | 32mm Dia | Nos. | 1.000 | 450.00 | 450.00 | 450.00 | 2350.00 | 2,350.00 | 875.00 | 875.00 | Regreted
29 |  | Providing ,fixing, testing and commissioning capstan make Water Meter including providing fixing matching Isolation valves ,strainer, non-return valve,complete with all necessary fittings etc screwed type(15Kgs Sq.cm). Valve shall have with union. | Providing ,fixing, testing and commissioning capstan make Water Meter including providing fixing matching Isolation valves ,strainer, non-return valve,complete with all necessary fittings etc screwed type(15Kgs Sq.cm). Valve shall have with union.
30 |  | 32 mm Dia incoming line | 32 mm Dia incoming line | Nos. | 1.000 | 7,460.00 | 8000.00 | 8,000.00 | 16500.00 | 16,500.00 | 7460.00 | 7,460.00 | Regreted
31 |  | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories |  | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | Regreted
32 |  | 20 L Capacity- | 20 L Capacity- | Nos. | 1.000 | 14,920.00 | 180000.00 | 180,000.00 | 23500.00 | 23,500.00 | 14920.00 | 14,920.00 | Regreted
33 |  | SITC of Eco smart RO-50 with all required accessories | SITC of Eco smart RO-50 with all required accessories | Nos | 1.000 | .00 | 50000.00 | 50,000.00 | 0.00 | .00 | 24870.00 | 24,870.00 | Regreted
34 |  | SITC of ACO grease trap -model Lipumobil S -Capacity -32 lit ( 0.5 LPS) with all required accessories ( Optional if not part of kitchen consultant Scope) | SITC of ACO grease trap -model Lipumobil S -Capacity -32 lit ( 0.5 LPS) with all required accessories ( Optional if not part of kitchen consultant Scope) | Nos | 3.000 | .00 | 22000.00 | 66,000.00 | 0.00 | .00 | 6500.00 | 19,500.00 | Regreted
35 |  | DRAINAGE | DRAINAGE
36 |  | uPVC-SWR pipes conforming to IS 13592 92 including fittings conforming to IS-14935 99 and agri type pipes above 100 mm dia. conforming to IS 4985, cutting the pipes to required lengths, laying in the position to required grade and level, jointing, supporting with PVC cleat,hot deep galvanised bracket supports,hot deep galvanised nut-bolts, anchor fastners, PVC coated U-clamp, testing and rectifying leakages for piping within vertical shafts supported on wall hung below slab etc. with all material labor complete and as directed. [The Rate shall include supply and fixing of hotdip galvanised bracket nut bolts PVC Coated U-Clamp and screws] Vertical line bracket shall be fixed at every 0.8 mtr to 1.00 mtr.] (For Waste, Vent -Internal and vertical shaft ). | uPVC-SWR pipes conforming to IS 13592 92 including fittings conforming to IS-14935 99 and agri type pipes above 100 mm dia. conforming to IS 4985, cutting the pipes to required lengths, laying in the position to required grade and level, jointing, supporting with PVC cleat,hot deep galvanised bracket supports,hot deep galvanised nut-bolts, anchor fastners, PVC coated U-clamp, testing and rectifying leakages for piping within vertical shafts supported on wall hung below slab etc. with all material labor complete and as directed. [The Rate shall include supply and fixing of hotdip galvanised bracket nut bolts PVC Coated U-Clamp and screws] Vertical line bracket shall be fixed at every 0.8 mtr to 1.00 mtr.] (For Waste, Vent -Internal and vertical shaft ).
37 |  | 40mm Dia | 40mm Dia | R.mt | 5.000 | 1,400.00 | 350.00 | 1,750.00 | 550.00 | 2,750.00 | 280.00 | 1,400.00 | Regreted
38 |  | 50mm Dia | 50mm Dia | R.mt | 5.000 | 1,625.00 | 450.00 | 2,250.00 | 675.00 | 3,375.00 | 325.00 | 1,625.00 | Regreted
39 |  | 75mm Dia | 75mm Dia | R.mt | 10.000 | 4,100.00 | 600.00 | 6,000.00 | 1013.00 | 10,130.00 | 410.00 | 4,100.00 | Regreted
40 |  | 100 mm Dia | 100 mm Dia | R.mt | 10.000 | 6,050.00 | 800.00 | 8,000.00 | 1250.00 | 12,500.00 | 605.00 | 6,050.00 | Regreted
41 |  | Supply, Install PVC Floor Trap for the following pipes including making all approved quality Solvent cement joints with material labour etc. all complete as per direction of the engineer-in-charge. | Supply, Install PVC Floor Trap for the following pipes including making all approved quality Solvent cement joints with material labour etc. all complete as per direction of the engineer-in-charge. | Nos. | 8.000 | 4,040.00 | 850.00 | 6,800.00 | 1850.00 | 14,800.00 | 505.00 | 4,040.00 | Regreted
42 |  | S.S. GRATING | S.S. GRATING
43 |  | Only installations testing and commissioning of S.S.Gratings | Only installations testing and commissioning of S.S.Gratings
44 |  | Making chamber in brick work including internal tiling etc for S.S Grating size, 450mm x 200mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. | Making chamber in brick work including internal tiling etc for S.S Grating size, 450mm x 200mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. | Nos. | 4.000 | 18,780.00 | 5000.00 | 20,000.00 | 15500.00 | 62,000.00 | 4695.00 | 18,780.00 | Regreted
3 |  | Electrical Work - GWH Kitchen | BOQ for Electrical Work - GWH Kitchen | no | 1.000 |  |  | 1,500,500.00 |  | 1,623,730.00 |  | 1,113,050.00 |  | 1,213,945.00
45 |  | PANELS, SWITCHGEARS DISTRIBUTION BOARD | PANELS, SWITCHGEARS DISTRIBUTION BOARD
46 |  | MAIN PANEL Incomer 100 AMPS 4P MCCB Microprocessor Based, 25kA with TM Based O C SC Release. Meter Protection ELR Microprocessor based with CBCT; 100 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG) Indication Phase indicating lamps with 6A MCB, ON OFF TRIP Indication Busbar 150A TPN Cu Busbar Outgoings a) 25A 4P RCBO, 100mA-5 Nos.b) MPCB Suitable for 5.5kW FA Ex. Fan-2 Nos. Incomer 63 AMPS 4P MCB 10kA Busbar 75A TPN Cu Busbar Sub Incomer 63A DP RCCB 100 mA – 3 No. Outgoings 16 20 A SP MCB C Type - 24 Nos. | MAIN PANEL Incomer 100 AMPS 4P MCCB Microprocessor Based, 25kA with TM Based O C SC Release. Meter Protection ELR Microprocessor based with CBCT; 100 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG) Indication Phase indicating lamps with 6A MCB, ON OFF TRIP Indication Busbar 150A TPN Cu Busbar Outgoings a) 25A 4P RCBO, 100mA-5 Nos.b) MPCB Suitable for 5.5kW FA Ex. Fan-2 Nos. Incomer 63 AMPS 4P MCB 10kA Busbar 75A TPN Cu Busbar Sub Incomer 63A DP RCCB 100 mA – 3 No. Outgoings 16 20 A SP MCB C Type - 24 Nos. | Nos. | 1.000 | 98,000.00 | 98000.00 | 98,000.00 | 385000.00 | 385,000.00 | 111000.00 | 111,000.00 | 235000.00 | 235,000.00
47 |  | SWITCHGEARS | SWITCHGEARS
48 |  | Supply, installation, testing and commissioning of sheet metal enclosures for the following switchgears. | Supply, installation, testing and commissioning of sheet metal enclosures for the following switchgears.
49 |  | 63 40 32 25 amps 4P MCB C TYPE with complete with all mounting accessories – for Indoor Legrand make | 63 40 32 25 amps 4P MCB C TYPE with complete with all mounting accessories – for Indoor Legrand make | Nos. | 4.000 | 28,000.00 | 12000.00 | 48,000.00 | 7000.00 | 28,000.00 | 10320.00 | 41,280.00 | 9500.00 | 38,000.00
50 |  | 63 40 32 20 amps DP MCB C TYPE with complete with all mounting accessories – IP-65 | 63 40 32 20 amps DP MCB C TYPE with complete with all mounting accessories – IP-65 | Nos. | 2.000 | 11,400.00 | 9500.00 | 19,000.00 | 18500.00 | 37,000.00 | 9120.00 | 18,240.00 | 5700.00 | 11,400.00
51 |  | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | Nos. | 1.000 | 9,000.00 | 9000.00 | 9,000.00 | 18500.00 | 18,500.00 | 11125.00 | 11,125.00 | 14550.00 | 14,550.00
52 |  | 25 amps DP MCB with 25A 3 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | 25 amps DP MCB with 25A 3 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | Nos. | 15.000 | 41,250.00 | 2750.00 | 41,250.00 | 13500.00 | 202,500.00 | 10010.00 | 150,150.00 | 6200.00 | 93,000.00
53 |  | 16 amps DP MCB with 15A 3 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | 16 amps DP MCB with 15A 3 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | Nos. | 2.000 | 7,000.00 | 3500.00 | 7,000.00 | 3800.00 | 7,600.00 | 9300.00 | 18,600.00 | 5750.00 | 11,500.00
54 |  | 5 15 amps Switch Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | 5 15 amps Switch Socket complete with all mounting accessories waterproof (IP-65) for Kitchen | Nos. | 15.000 | 18,750.00 | 1250.00 | 18,750.00 | 3800.00 | 57,000.00 | 2000.00 | 30,000.00 | 2650.00 | 39,750.00
55 |  | MV CABLES | MV CABLES
56 |  | POWER CABLING - Supply and laying, effecting proper connections, testing commissioning of the following sizes of 1.1 KV XLPE FRLSH armoured unarmoured PVC insulated PVC sheathed aluminium copper conductor cables conforming to IS 1554 and IS 694 for Flexible copper cable Part I - 1976 with latest amendments laid over MS supports in existing RCC ducts laid in ground laid on Cable Trays including clamping the cables to supports in an approved manner as required complete with all accessories.All cables shall have thermo setting insulation XLPE and low emission of smoke and corrosive gas when affected by fire. Necessary Markers shall be provided at the intervals as per the specifications. | POWER CABLING - Supply and laying, effecting proper connections, testing commissioning of the following sizes of 1.1 KV XLPE FRLSH armoured unarmoured PVC insulated PVC sheathed aluminium copper conductor cables conforming to IS 1554 and IS 694 for Flexible copper cable Part I - 1976 with latest amendments laid over MS supports in existing RCC ducts laid in ground laid on Cable Trays including clamping the cables to supports in an approved manner as required complete with all accessories.All cables shall have thermo setting insulation XLPE and low emission of smoke and corrosive gas when affected by fire. Necessary Markers shall be provided at the intervals as per the specifications.
57 |  | Aluminium cables - 4C x 25 Sq.mm. | Aluminium cables - 4C x 25 Sq.mm. | Mtr. | 50.000 | 17,750.00 | 1250.00 | 62,500.00 | 775.00 | 38,750.00 | 500.00 | 25,000.00 | 355.00 | 17,750.00
58 |  | do - but for copper cables - 4C x 6 Sq.mm. | do - but for copper cables - 4C x 6 Sq.mm. | Mtr. | 60.000 | 27,900.00 | 650.00 | 39,000.00 | 695.00 | 41,700.00 | 465.00 | 27,900.00 | 650.00 | 39,000.00
59 |  | CU Flexible Cables | CU Flexible Cables
60 |  | 4C x 6 + 2C x 2.5 Sq.mm. | 4C x 6 + 2C x 2.5 Sq.mm. | Mtr. | 15.000 | 6,000.00 | 550.00 | 8,250.00 | 970.00 | 14,550.00 | 400.00 | 6,000.00 | 780.00 | 11,700.00
61 |  | 4C x 2.5 + 2C x 2.5 Sq.mm. | 4C x 2.5 + 2C x 2.5 Sq.mm. | Mtr. | 30.000 | 8,400.00 | 450.00 | 13,500.00 | 685.00 | 20,550.00 | 280.00 | 8,400.00 | 610.00 | 18,300.00
62 |  | 3C x 4 Sq.mm. | 3C x 4 Sq.mm. | Mtr. | 500.000 | 175,000.00 | 350.00 | 175,000.00 | 510.00 | 255,000.00 | 440.00 | 220,000.00 | 380.00 | 190,000.00
63 |  | 3C x 2.5 Sq.mm. | 3C x 2.5 Sq.mm. | Mtr. | 50.000 | 14,500.00 | 290.00 | 14,500.00 | 350.00 | 17,500.00 | 350.00 | 17,500.00 | 290.00 | 14,500.00
64 |  | , - do - but for copper flexible cables 1c x 4 Sq.mm PVC insulated PVC flexible copper conductor cables alongwith termination (GREEN COLOUR) | , - do - but for copper flexible cables 1c x 4 Sq.mm PVC insulated PVC flexible copper conductor cables alongwith termination (GREEN COLOUR) | Mtr. | 50.000 | 3,250.00 | 120.00 | 6,000.00 | 220.00 | 11,000.00 | 160.00 | 8,000.00 | 65.00 | 3,250.00
65 |  | CABLE TERMINATION | CABLE TERMINATION
66 |  | Making cable and terminations including brass single compression glands and crimping type copper lugs for cable sizes mentioned below for aluminium or copper. | Making cable and terminations including brass single compression glands and crimping type copper lugs for cable sizes mentioned below for aluminium or copper.
67 |  | 4C x 25 Sq.mm. | 4C x 25 Sq.mm. | Nos. | 2.000 | 1,000.00 | 650.00 | 1,300.00 | 775.00 | 1,550.00 | 500.00 | 1,000.00 | 750.00 | 1,500.00
68 |  | 4C x 6 Sq.mm. | 4C x 6 Sq.mm. | Nos. | 4.000 | 1,620.00 | 650.00 | 2,600.00 | 695.00 | 2,780.00 | 405.00 | 1,620.00 | 950.00 | 3,800.00
69 |  | 4C x 6 + 2C x 2.5 Sq.mm. | 4C x 6 + 2C x 2.5 Sq.mm. | Nos. | 2.000 | 760.00 | 650.00 | 1,300.00 | 970.00 | 1,940.00 | 380.00 | 760.00 | 710.00 | 1,420.00
70 |  | 4C x 2.5 + 2C x 2.5 Sq.mm. | 4C x 2.5 + 2C x 2.5 Sq.mm. | Nos. | 6.000 | 2,130.00 | 650.00 | 3,900.00 | 685.00 | 4,110.00 | 355.00 | 2,130.00 | 550.00 | 3,300.00
71 |  | 3C x 2.5 Sq.mm. (Lighting) | 3C x 2.5 Sq.mm. (Lighting) | Nos. | 2.000 | 560.00 | 650.00 | 1,300.00 | 350.00 | 700.00 | 280.00 | 560.00 | 450.00 | 900.00
72 |  | DATA NETWORK | DATA NETWORK
73 |  | Wiring with CAT6A cable | Wiring with CAT6A cable | Rmt | 180.000 | 11,700.00 | 65.00 | 11,700.00 | 150.00 | 27,000.00 | 100.00 | 18,000.00 | 220.00 | 39,600.00
74 |  | Providing DATA wiring inside 25mm dia GI conduit from each Data outlet to ICT CP Point by using Indoor Type CAT6A, Rosenberger RM make. | Providing DATA wiring inside 25mm dia GI conduit from each Data outlet to ICT CP Point by using Indoor Type CAT6A, Rosenberger RM make.
75 |  | Supply Installation of Internet Jack Unit RJ-45 suitable for CAT6A Rosenberger make. | Supply Installation of Internet Jack Unit RJ-45 suitable for CAT6A Rosenberger make. | Nos. | 3.000 | .00 | 850.00 | 2,550.00 | 1050.00 | 3,150.00 | 1335.00 | 4,005.00 | 0.00 | .00
76 |  | Installation, testing commissioning of Data Jack Unit RJ-45 With shutter including concealed modular switchboard assembly including concealed hot-dipped GI box and front plates in white color of poly carbonate material, necessary wiring etc. complete for Internet Point. Cost of Supply of RJ45 , back box, front plate, cover to be included. | Installation, testing commissioning of Data Jack Unit RJ-45 With shutter including concealed modular switchboard assembly including concealed hot-dipped GI box and front plates in white color of poly carbonate material, necessary wiring etc. complete for Internet Point. Cost of Supply of RJ45 , back box, front plate, cover to be included.
77 |  | Supply Installation of Rosenberger make Cat 6A, UTP Patch Cords, with snagless boots, color matched, Blue, 3 Feet | Supply Installation of Rosenberger make Cat 6A, UTP Patch Cords, with snagless boots, color matched, Blue, 3 Feet | Nos. | 3.000 | 1,650.00 | 850.00 | 2,550.00 | 550.00 | 1,650.00 | 1555.00 | 4,665.00 | 750.00 | 2,250.00
78 |  | RACEWAYS AND CABLE TRAYS | RACEWAYS AND CABLE TRAYS
79 |  | TRUNKING Fabricating supplying to site of installation, installation on ceiling surface 1.6 mm thick G.I. Trunking of height 50 mm and 2.0 mm thick openable cover, totally enclosed, the joints between two lengths of channels or between channel and junction box shall be joined together with 3 mm thick G.I. coupler plates Reducers as per requirement. The cost shall including all supporting and fixing accessories with 8 10mm threaded Ros Clamps etc. including dash fasteners. 50 mm (wide) x 50 mm (height) | TRUNKING Fabricating supplying to site of installation, installation on ceiling surface 1.6 mm thick G.I. Trunking of height 50 mm and 2.0 mm thick openable cover, totally enclosed, the joints between two lengths of channels or between channel and junction box shall be joined together with 3 mm thick G.I. coupler plates Reducers as per requirement. The cost shall including all supporting and fixing accessories with 8 10mm threaded Ros Clamps etc. including dash fasteners. 50 mm (wide) x 50 mm (height) | Mtr. | 20.000 | 10,600.00 | 950.00 | 19,000.00 | 950.00 | 19,000.00 | 530.00 | 10,600.00 | 680.00 | 13,600.00
80 |  | RACEWAY Fabricating, supplying to site of installation, installation in the floor before the flooring from 2 mm thick pregalvanised MS CRCA sheet, totally enclosed, height 40 mm . The two lengths of raceways shall be fitted with Collars , 50 mm wide, 3 mm thick. The raceways shall be clamped to the floor slab with GI clamps 3mm thick and shall be screwed to the floor slab. The joint between raceway and junction box will be made with GI cover which will be nut bolted to the Junction box to cover the entire Junction box side walls complete as required etc. all the Raceways sections shall be earthed. | RACEWAY Fabricating, supplying to site of installation, installation in the floor before the flooring from 2 mm thick pregalvanised MS CRCA sheet, totally enclosed, height 40 mm . The two lengths of raceways shall be fitted with Collars , 50 mm wide, 3 mm thick. The raceways shall be clamped to the floor slab with GI clamps 3mm thick and shall be screwed to the floor slab. The joint between raceway and junction box will be made with GI cover which will be nut bolted to the Junction box to cover the entire Junction box side walls complete as required etc. all the Raceways sections shall be earthed.
81 |  | 100 mm (wide) x 40 mm (height) | 100 mm (wide) x 40 mm (height) | Mtr. | 10.000 | 6,950.00 | 1250.00 | 12,500.00 | 1350.00 | 13,500.00 | 695.00 | 6,950.00 | 810.00 | 8,100.00
82 |  | 65 mm (wide) x 40 mm (height) | 65 mm (wide) x 40 mm (height) | Mtr. | 10.000 | 5,250.00 | 950.00 | 9,500.00 | 1050.00 | 10,500.00 | 525.00 | 5,250.00 | 650.00 | 6,500.00
83 |  | JUNCTION BOXES Fabricating supplying to site of installation, Junction boxes made from 2 mm thick pregalvanised sheet, with 3.0 mm thick pregalvanised cover including providing neoprene gaskets between the cover and the junction box, cadmium plated flat round head screws, height as per site condition,totally enclosed. Proper cutouts shall be made in the side walls for raceway entry wherever required. The floor junction box shall be all side walls should be welded expect top cover and all side walls shall have suitable size of rectangular knock out holes for taking raceways conduits as required and not a complete cut out. The top cover should be sealed with M Seal to make it dust and water proof complete as required etc. (variation in height may be considered for quoting as floor thickness may vary) 150 mm x 150 x 60 50 mm (height) | JUNCTION BOXES Fabricating supplying to site of installation, Junction boxes made from 2 mm thick pregalvanised sheet, with 3.0 mm thick pregalvanised cover including providing neoprene gaskets between the cover and the junction box, cadmium plated flat round head screws, height as per site condition,totally enclosed. Proper cutouts shall be made in the side walls for raceway entry wherever required. The floor junction box shall be all side walls should be welded expect top cover and all side walls shall have suitable size of rectangular knock out holes for taking raceways conduits as required and not a complete cut out. The top cover should be sealed with M Seal to make it dust and water proof complete as required etc. (variation in height may be considered for quoting as floor thickness may vary) 150 mm x 150 x 60 50 mm (height) | Mtr. | 6.000 | 2,430.00 | 3000.00 | 18,000.00 | 700.00 | 4,200.00 | 405.00 | 2,430.00 | 950.00 | 5,700.00
84 |  | CABLE TRAY Design manufacture , supply and fixing in position the cable trays of the following sizes for supporting 1.1 KV grade armoured unarmoured aluminium copper conductor cables. Fabricate the cable trays from perforated 1.6 2mm thick M.S. CRCA sheet duly galvanised with expansion coupler plates duly galvanised, with bolts, washer and nuts. Knock out holes for cable connections as per approved design. The tray should comply with the specification of NEC (National Electric Codes) and NEMA (National Electric Manufacturers Association). The steel should be as per IS 226 and galvanising as per IS 2629 BS 729 ASTM 123. The rate shall also include for supporting steel , fish plates , fixing accessories , nuts bolts, supporting down rods , dash fastener, cutting the RCC etc. complete as required. (the horizontal and vertical bends, T s should be factory fabricated and the rate should include for the same) | CABLE TRAY Design manufacture , supply and fixing in position the cable trays of the following sizes for supporting 1.1 KV grade armoured unarmoured aluminium copper conductor cables. Fabricate the cable trays from perforated 1.6 2mm thick M.S. CRCA sheet duly galvanised with expansion coupler plates duly galvanised, with bolts, washer and nuts. Knock out holes for cable connections as per approved design. The tray should comply with the specification of NEC (National Electric Codes) and NEMA (National Electric Manufacturers Association). The steel should be as per IS 226 and galvanising as per IS 2629 BS 729 ASTM 123. The rate shall also include for supporting steel , fish plates , fixing accessories , nuts bolts, supporting down rods , dash fastener, cutting the RCC etc. complete as required. (the horizontal and vertical bends, T s should be factory fabricated and the rate should include for the same)
85 |  | 300 mm wide x 50 mm x 2.0 mm thk | 300 mm wide x 50 mm x 2.0 mm thk | Mtr. | 10.000 | 13,500.00 | 1500.00 | 15,000.00 | 1800.00 | 18,000.00 | 1420.00 | 14,200.00 | 1350.00 | 13,500.00
86 |  | 150 mm wide x 50 mm x 2.0 mm thk | 150 mm wide x 50 mm x 2.0 mm thk | Mtr. | 20.000 | 14,200.00 | 1250.00 | 25,000.00 | 1350.00 | 27,000.00 | 800.00 | 16,000.00 | 710.00 | 14,200.00
87 |  | POINT WIRING | POINT WIRING
88 |  | Point wiring LENGTH from DB to SB or First Light point control be MCB shall be avg. of 15Mtr. of 3C x 2.5 sq mm FRLS PVC insulated stranded copper conductor wires. For SB to SB the length shall be measured in Mtr. The secondary Loop point length shall be 10Mtr from Light fixture to light fixture. If secondary point shall be operated from MCB then the length shall be 10 Mtr. All sockets to be checked with a Check Plug socket tester for live-neutral reverse, no earth,neutral fault, live earth reverse, neutral earth reverse. The Circuit No. and DB no. label shall be provided on all UPS, RAW sockets and switchboards with label printer. The Length shall be paid as per the actual measurements as per following manner. | Point wiring LENGTH from DB to SB or First Light point control be MCB shall be avg. of 15Mtr. of 3C x 2.5 sq mm FRLS PVC insulated stranded copper conductor wires. For SB to SB the length shall be measured in Mtr. The secondary Loop point length shall be 10Mtr from Light fixture to light fixture. If secondary point shall be operated from MCB then the length shall be 10 Mtr. All sockets to be checked with a Check Plug socket tester for live-neutral reverse, no earth,neutral fault, live earth reverse, neutral earth reverse. The Circuit No. and DB no. label shall be provided on all UPS, RAW sockets and switchboards with label printer. The Length shall be paid as per the actual measurements as per following manner.
89 |  | Wiring for the Primary light points with 3C x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in GI conduits in F.ceiling walls ceiling as direc­ted from Distribution Board to Switch Board including providing 6 amps flush type switches, 5 sided G.I Boxes for housing switc­hes and earth­ing complete as required. Rates shall exclusive of Switches Switch boxes. | Wiring for the Primary light points with 3C x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in GI conduits in F.ceiling walls ceiling as direc­ted from Distribution Board to Switch Board including providing 6 amps flush type switches, 5 sided G.I Boxes for housing switc­hes and earth­ing complete as required. Rates shall exclusive of Switches Switch boxes.
90 |  | From DB to Normal Switch Board | From DB to Normal Switch Board | Mtr. | 20.000 | 8,800.00 | 950.00 | 19,000.00 | 440.00 | 8,800.00 | 1220.00 | 24,400.00 | 485.00 | 9,700.00
91 |  | From DB to Emergency Switch Board | From DB to Emergency Switch Board | Mtr. | 15.000 | 6,600.00 | 1250.00 | 18,750.00 | 440.00 | 6,600.00 | 1220.00 | 18,300.00 | 485.00 | 7,275.00
92 |  | Wiring for the following light points with 3 x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in GI conduits in F.ceiling walls ceiling as direc­ted including providing 6 amps flush type switches, 5 sided G.I Boxes for housing switc­hes and earth­ing complete as required from the above switch board. Rates shall exclusive of Switches Switch Box. (FROM SB TO LIGHT) | Wiring for the following light points with 3 x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in GI conduits in F.ceiling walls ceiling as direc­ted including providing 6 amps flush type switches, 5 sided G.I Boxes for housing switc­hes and earth­ing complete as required from the above switch board. Rates shall exclusive of Switches Switch Box. (FROM SB TO LIGHT)
93 |  | First point controlled by one no. 6 amp switch. (upto 10Mtr.) | First point controlled by one no. 6 amp switch. (upto 10Mtr.) | Nos. | 4.000 | 3,560.00 | 1500.00 | 6,000.00 | 2100.00 | 8,400.00 | 890.00 | 3,560.00 | 3250.00 | 13,000.00
94 |  | First point controlled by one no. 6 amp switch. For Emergency Light (upto 10Mtr.) | First point controlled by one no. 6 amp switch. For Emergency Light (upto 10Mtr.) | Nos. | 1.000 | 890.00 | 1500.00 | 1,500.00 | 2100.00 | 2,100.00 | 890.00 | 890.00 | 3250.00 | 3,250.00
95 |  | Same as item No. 4.2.1 4.2.2 above but LOOP POINT i.e. wiring of point looped from first point with 3C x 2.5 sq. mm FRLS PVC insulated copper conductor wire in concealed exposed GI conduit and earthing | Same as item No. 4.2.1 4.2.2 above but LOOP POINT i.e. wiring of point looped from first point with 3C x 2.5 sq. mm FRLS PVC insulated copper conductor wire in concealed exposed GI conduit and earthing | Nos. | 6.000 | 2,760.00 | 1200.00 | 7,200.00 | 990.00 | 5,940.00 | 460.00 | 2,760.00 | 1950.00 | 11,700.00
96 |  | Same as item No. 4.2.3 4.2.4 above but LOOP POINT i.e. wiring of point looped from first point with 3C x 2.5 sq. mm FRLS PVC insulated copper conductor wire in concealed exposed GI conduit and earthing For Emergency Light | Same as item No. 4.2.3 4.2.4 above but LOOP POINT i.e. wiring of point looped from first point with 3C x 2.5 sq. mm FRLS PVC insulated copper conductor wire in concealed exposed GI conduit and earthing For Emergency Light | Nos. | 2.000 | 920.00 | 1200.00 | 2,400.00 | 990.00 | 1,980.00 | 460.00 | 920.00 | 1950.00 | 3,900.00
97 |  | Wiring for UPS Raw plug outlets points with 3C x 4 sqmm FRLS PVC Insulated and PVC sheathed flexible cable with bright annealed electrolytic copper conductor , 1100 volt grade confirming to IS 694-1990 with latest amendments, in existing Channels conduit in ceiling walls floor including all cable termination accessories) (including body earth for GI boxes) | Wiring for UPS Raw plug outlets points with 3C x 4 sqmm FRLS PVC Insulated and PVC sheathed flexible cable with bright annealed electrolytic copper conductor , 1100 volt grade confirming to IS 694-1990 with latest amendments, in existing Channels conduit in ceiling walls floor including all cable termination accessories) (including body earth for GI boxes) | Mtr. | 300.000 | 115,500.00 | 750.00 | 225,000.00 | 490.00 | 147,000.00 | 445.00 | 133,500.00 | 385.00 | 115,500.00
98 |  | Providing and fixing in position the following GI RIGID conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. 25 mm dia GI Conduit | Providing and fixing in position the following GI RIGID conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. 25 mm dia GI Conduit | Mtr. | 250.000 | 40,000.00 | 650.00 | 162,500.00 | 280.00 | 70,000.00 | 160.00 | 40,000.00 | 230.00 | 57,500.00
99 |  | Providing and fixing in position the following GI FLEXIBLE conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. 25 mm dia GI Conduit | Providing and fixing in position the following GI FLEXIBLE conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. 25 mm dia GI Conduit | Mtr. | 60.000 | 4,500.00 | 300.00 | 18,000.00 | 250.00 | 15,000.00 | 190.00 | 11,400.00 | 75.00 | 4,500.00
100 |  | MODULAR SWITCHES | MODULAR SWITCHES
101 |  | Supply, installation, testing commissioning of following types of modular switches, cover plates, 5 sided G.I. Boxes for housing the modular switches earthing complete as required. GI Boxes to have earth pin for body earthing. The Circuit No. and DB no. label shall be provided on all UPS ,RAW sockets and switchboards with label printer.(Make- Legrand Aretor Series) | Supply, installation, testing commissioning of following types of modular switches, cover plates, 5 sided G.I. Boxes for housing the modular switches earthing complete as required. GI Boxes to have earth pin for body earthing. The Circuit No. and DB no. label shall be provided on all UPS ,RAW sockets and switchboards with label printer.(Make- Legrand Aretor Series)
102 |  | 6A One Way Switch | 6A One Way Switch | Nos. | 10.000 | 2,800.00 | 750.00 | 7,500.00 | 330.00 | 3,300.00 | 305.00 | 3,050.00 | 280.00 | 2,800.00
103 |  | 6A 5 pin Socket - 1Nos. 6A Switch - 1Nos. | 6A 5 pin Socket - 1Nos. 6A Switch - 1Nos. | Nos. | 6.000 | 3,960.00 | 950.00 | 5,700.00 | 880.00 | 5,280.00 | 660.00 | 3,960.00 | 750.00 | 4,500.00
104 |  | 6 16A Socket outlet - 1Nos. 16A Switch - 1Nos.(Raw UPS Power) | 6 16A Socket outlet - 1Nos. 16A Switch - 1Nos.(Raw UPS Power) | Nos. | 20.000 | 17,400.00 | 1200.00 | 24,000.00 | 870.00 | 17,400.00 | 890.00 | 17,800.00 | 890.00 | 17,800.00
105 |  | GENERAL EARTHING | GENERAL EARTHING
106 |  | Supplying and erecting following GI strip used for earthing on wall with necessary MS clamps fixed on wall Cable trays Hume pipes etc. The jointes shall be Bolted Welded. The joints shall be painted with bituminous paint in an approved manner. - 25 x 3 mm | Supplying and erecting following GI strip used for earthing on wall with necessary MS clamps fixed on wall Cable trays Hume pipes etc. The jointes shall be Bolted Welded. The joints shall be painted with bituminous paint in an approved manner. - 25 x 3 mm | Mtr. | 100.000 | 16,000.00 | 750.00 | 75,000.00 | 160.00 | 16,000.00 | 190.00 | 19,000.00 | 350.00 | 35,000.00
107 |  | Supplying and erecting bare Copper conductor of following sizes - 8 SWG | Supplying and erecting bare Copper conductor of following sizes - 8 SWG | Mtr. | 120.000 | 7,200.00 | 750.00 | 90,000.00 | 60.00 | 7,200.00 | 100.00 | 12,000.00 | 120.00 | 14,400.00
108 |  | LIGHT FIXTURES INSTALLATION | LIGHT FIXTURES INSTALLATION
109 |  | Receiving from Store, Installation, testing commissioning of following light fixtures with complete installation hardwares including Anchor fastner, supporting Hook Rods as per final approval from Architect Client Consultant 2 X 2 18W LED GRID LIGHTS Including EMG. Light | Receiving from Store, Installation, testing commissioning of following light fixtures with complete installation hardwares including Anchor fastner, supporting Hook Rods as per final approval from Architect Client Consultant 2 X 2 18W LED GRID LIGHTS Including EMG. Light | Nos. | 11.000 | 2,750.00 | 4000.00 | 44,000.00 | 250.00 | 2,750.00 | 750.00 | 8,250.00 | 350.00 | 3,850.00
110 |  | MISCELLANEOUS WORKS | MISCELLANEOUS WORKS
111 |  | Supply fixing in position approved shock treatment chart written in English, Hindi and Local language. These charts shall be framed in wooden frame covered with clear glass. | Supply fixing in position approved shock treatment chart written in English, Hindi and Local language. These charts shall be framed in wooden frame covered with clear glass. | Nos. | 1.000 | 500.00 | 12000.00 | 12,000.00 | 3000.00 | 3,000.00 | 500.00 | 500.00 | 1250.00 | 1,250.00
112 |  | Supply fixing in position the best quality danger notice boards of approved shape size as reqd. by the local Electrical Inspecting Authority written in English, Hindi local language. | Supply fixing in position the best quality danger notice boards of approved shape size as reqd. by the local Electrical Inspecting Authority written in English, Hindi local language. | Nos. | 1.000 | 500.00 | 6000.00 | 6,000.00 | 750.00 | 750.00 | 500.00 | 500.00 | 950.00 | 950.00
113 |  | UPS | UPS
114 |  | 1kVA UPS System Supply Install of EMERSON make Model - UPS LEGEND 650; Capacity 650VA 360W (1 Phase In 1 Phase out) with SMF Battery 12V 7AHx1 Battery. | 1kVA UPS System Supply Install of EMERSON make Model - UPS LEGEND 650; Capacity 650VA 360W (1 Phase In 1 Phase out) with SMF Battery 12V 7AHx1 Battery. | Set | 1.000 | 30,895.00 | 90000.00 | 90,000.00 | 32500.00 | 32,500.00 | 30895.00 | 30,895.00 | 55000.00 | 55,000.00

## Technical Score Detail
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | Comp. Date : 17/02/2024 | Comp. Date : 17/02/2024 | Comp. Date : 17/02/2024 | Vendor Name : FALLOW DEZIENCE TREE LLP |  | Vendor Name : Pikture Perfect Design Studio Pvt. Ltd. |  | Vendor Name : Distint India Enterprises LLP |  | Vendor Name : Arrow Electricals
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ #: R0154 | RFQ #: R0154 | RFQ #: R0154 | Contact Name : Khursheed Ahmad/Jasmine Grover |  | Contact Name : Sonali Dhadve |  | Contact Name : Sanjay Jain |  | Contact Name : Ather Iqbal
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ Date : 13/02/2024 14:49:42 | RFQ Date : 13/02/2024 14:49:42 | RFQ Date : 13/02/2024 14:49:42 | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | BCD Date : 14/02/2024 23:50:00 | BCD Date : 14/02/2024 23:50:00 | BCD Date : 14/02/2024 23:50:00 | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT | RFQ No: R0154 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # : 98102 60645 |  | Mobile # :
PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | PR Number : Semolina-2324-00266,Semolina-2324-00267,Semolina-2324-00271 | Email : accounts@fallowdezience.com |  | Email : piktureperfectdesignstudio@gmail.com |  | Email : di.sanjayjain@gmail.com |  | Email : khakesantosh10@gmail.com
Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Package / RFQ Name : GWH Central Kitchen | Round # : 3 (RFQ) |  | Round # : 3 (RFQ) |  | Round # : 3 (RFQ) |  | Round # : 3 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | Civil and Interior work - GWH Kitchen |  | no | 1.000 | 0.00 | 0.00
2 |  | Demolition work- Plaster Demolition Removing of existing plaster of upto required height as per instruction from Eng. Incharge |  | Sq.mtr | 54.000 | 0.00 | 0.00
3 |  | Demolition work- Wall Tiles Demolition Removing of existing Wall Tiles of upto required height as per instruction from Eng. Incharge |  | Sq.mtr | 7.000 | 0.00 | 0.00
4 |  | Pest Control treatment |  | LS | 1.000 | 0.00 | 0.00
5 |  | Debris Removal from site - Removal of debris from site post construction |  | LS | 1.000 | 0.00 | 0.00
6 |  | Water proofing on the mother slab and Wall - Providing and laying proprietary chemical water proofing system consisting of polymer modified acrylic base coating in two coats in form of slurry (total consumption of 1.5 Kg Sqm) as approved by the PM and as directed by the approved manufacturer of waterproofing coating, with sandwiched fibre mesh and protective screed. The work shall include cleaning of surface, grouting porous surfaces including making ‘V’ grooves at junctions, cracks with non shrink crystalline base cementitious grout etc. Further including horizontal and vertical surfaces protected with 20mm.screeding in 1 4 mortar (1 cement 4 sand), finished in ready to receive Architectural finish, in correct line, level and plumb, curing, grouting, testing, etc. all complete to entire satisfaction of the PM, contractor to provide guarantee for 10 years Rs.100 - stamp paper in approved proforma. MAKE WPM 002-AROEX ENDURA. CONTRCTING HAS TO FOLLOW THE DETAILED METHODOLOGY OF THE MANUFCATURERS INSTRUCTION. ONLY FOR WET AREA. |  |  | 0.000 | 0.00 | 0.00
7 |  | A) Base_ Mother Slab |  | Sq.Mt | 35.000 | 0.00 | 0.00
8 |  | B) Walls upto 900mm ht. |  | Sq.Mt | 32.000 | 0.00 | 0.00
9 |  | Blockwork - Providing and constructing concrete block masonry made out from AAC concrete blocks conforming to IS 2185 (Part-III) having minimum crushing strength 30 Kg Sq. cm and maximum water absorption 10%, in cement mortar CM 1 4 (1 cement 4 sand) mixed with approved non-shrinking compound as per manufacturer’s instructions, including providing RCC patli beam of 150mm x 100mm at every 1.00m C C with 2 nos. 8 mm dia Tor bars and 6 mm dia links at 300 c c in cement concrete of mix M 20, required formwork complete with raking out joints, curing, doing independent double legged scaffolding as per specifications etc. at all heights, depths and leads as directed by the PM to his entire satisfaction. (Patli beam is including reinforcement part of the item) for 150mm thick concrete block masonry (UPTO 3000MM HEIGHT False Ceiling ht) |  | Sqm | 28.000 | 0.00 | 0.00
10 |  | Light Weight Coba Filling work - Providing and laying Light Weight block filling, cm 1 3 base coat, Light weight coba filling as per site requirement 1 4 top-finish coat. the mortar for the Light weight koba filling shall be cm 1 4 and admixed with integral waterproofing compound and mortar plasticizer, properly compacted, curing, complete. The top-finish coat shall be broom-finished suitable for laying tiles. The cost should include sealing the annular space between the pipe and the masonary, making khurras, river sand screened and washed, at all leads, lifts, heights, with proper slope to drain-off water entirely, complete, etc. Curing shall be done for maximum for 7 days by ponding with water or after getting checked satisfied by Site Engineer . |  | Cu.mtr | 13.000 | 0.00 | 0.00
11 |  | PCC - Providing Laying Plain cement concrete of thickness 75 to 100mm, specified grade (M10) including the cost of centering and shuttering required curing. Approved make cement is PPC (ACC, Ultra tech , Birla) |  | Sqm | 52.000 | 0.00 | 0.00
12 |  | Plaster for Masonary Walls - Providing and applying 12mm thick plaster with premix mortar mix of ratio CM 1 4 (1 cement 4 sand) with air entraining agent Cebex 112, 150ml per bag of cement, to internal surfaces of concrete and masonry work; including raking out joints, hacking concrete surfaces and applying approved chemical bonding agent for receiving cement finished dash coat plaster and applying a scratch coat over concrete surfaces by bonding adhesive chemical coat as directed by approved manufacturer to create a key, cleaning grooving deep junctions of concrete masonry, grouting then back by mortar mixed with non shrinking compound along with packing of clean, fresh square cut aggregate; also providing and fixing 20 gauge PVC mesh @ 150 mm wide to junctions of concrete and masonry, preparing jambs, sills, grooves, pattas, wattas, rounding of corners, all complete as per architectural drawings, specifications and finished smooth with wooden rundha or as specified by the PM at all leads, depth and lifts, doing independent double-legged scaffolding, cleaning of surfaces, curing, complete as per specification and to the approval of the PM. (Location Vertical wall partition wall of any type) |  | Sqm | 90.000 | 0.00 | 0.00
13 |  | Finishesh |  |  | 0.000 | 0.00 | 0.00
14 |  | Kota Stone Flooring - Laying machine cut, machine polished approved 25mm thick Kota stone flooring, stone to be machine cut, machine polished, laid in pattern and sizes as detailed in drawing or as directed by PM, bedded over cement sand mortar of mix ratio of 1 6 (1 cement 6 sand) including cleaning and preparing the surface for bedding, spreading neat cement slurry by using minimum cement about 2 kg sqm prior to bedding and spreading cement paste using minimum cement about 4.5 kg sqm over bedding, joints to be cleaned and grouted with matching colour approved quality polymer based readymade grout, curing, machine polishing, cleaning, etc. to required line, level, etc. all complete at all depths, heights and leads to the satisfaction of the PM. Basic rate of Kota @60 - Sqft |  | Sqm | 52.000 | 0.00 | 0.00
15 |  | Skirting-KOTA skirting - Fixing 150mm high and 25mm thick approved machine cut, semi machine polished Kota Stone skirting of uniform shade as detailed in drawing. Stone fixed over plastered surface with approved compatible adhesive (Bal Laticrete or equivalent approved) to correct line, level and plumb. Joints are well cleaned grouted with matching colour approved quality polymer based readymade grout, curing, cleaned and where specified or shown in drawing exposed faces edge of stone rounded chamfered and polished etc., at all levels and locations. complete to the entire satisfaction of the PM. |  | Rmt | 24.000 | 0.00 | 0.00
16 |  | Wall Tiles - Providing Fixing of commercial wall tile (Vitrified Tiles at Kitchen Area up to 2400mm Height.) in kitchen as per schedule and design and detail.(10% wastage included) |  | Sqm | 90.000 | 0.00 | 0.00
17 |  | Paint on Walls Ceiling - P A of Luster Paint, approved make shade on POP punning finished wall with sand papering cleaning the surface, applying double boiled linseed acrylic oil cement primer Lambi putty to surface 3 times, there after painting the surface in three finishing coats over base primer coat to achieve even finish. Complete up to the mark site engineer s instruction. |  | Sqm | 65.000 | 0.00 | 0.00
18 |  | False Ceiling- Metal Grid Ceiling - Fitting of false ceiling consisting of 20g Aluminium planks made of pre coated ( Top Bottom ) Size 600mmx600mm tiles . False Ceiling with necessary supports , hangers etc. provided to install light fitting , fresh air grill etc. ( from Hunter Douglas or Armstrong ) Armstrong ceiling solutions- Celio c9 |  | Sqm | 32.000 | 0.00 | 0.00
19 |  | Counters, Cabinates, Chairs, Tables and Doors |  |  | 0.000 | 0.00 | 0.00
20 |  | Doors - Fire rated galvanised steel door-Double shutter with size of 1.2mx2.1m design matching to the exsisting infra doors - Supplying and fixing 120 minute fire rated galvanized steel door (Sukriti Navair Promat Shaktimet) conforming to IS 3614 (Part II) of approved make with door frame made of 1.6mm thick galvanized steel sheet conforming to IS 277, 1992 formed to double rebate profile of size 143mm X 58mm (+ - 0.3mm ) with a maximum bending radius of 1.4mm.The shutter shall be made of 1.2mm thick galvanized steel sheet conforming to IS 277, 1992 formed to provide a 46mm thick fully flush double skin door shell with lock seam joints at stile edges and filled with mineral wool. Double leaf door of size 1.8m X 2.1m Clear fire rated vision glass 6mm thick of size 200 x 300mm, S.S.Butt hinges, external lever handle, door closer with standard arm, panic bar, Vertical Pullman latch with rod cover, door coordinator, S.S. Gasket fire rated, smoke seal etc. complete. Complete the works as per drawings and directions from site in charge. |  | No | 1.000 | 0.00 | 0.00
21 |  | Plumbing work - GWH Kitchen |  | no | 1.000 | 0.00 | 0.00
22 |  | WATER SUPPLY PIPING |  |  | 0.000 | 0.00 | 0.00
23 |  | CPVC Pipes conforming to ASTM D-2846, SDR-11 grade and CPVC solvent weld fittings like elbows, tees, couplars, brass threaded adaptors, insert ring etc. suitable for (domestic and flushing) cold applications rated, concealed piping within wall floor including jointing with fittings using solvent cement, brass threaded end fittings for making connection to fixtures. The work shall also include chasing the walls with machine wherever required for concealed piping and making good the same after laying of pipes necessary pressure testing Chasing finishing shall be done with 1 1 cement mixed mortar, restore the same original condition for internal and shaft piping, including necessary hot deep galvanised supports vertical horizontal, as per direction of Site incharge direction. [The rate shall include supply of S.S.screws and nut bolts etc.chasing in walls done by machine] (For Domestic and Flushing water-Toilet internal) (Pipe shall be tested with 1.5 times working pressure as covered in specifications) |  |  | 0.000 | 0.00 | 0.00
24 |  | 20 mm Dia |  | R.mt | 30.000 | 0.00 | 0.00
25 |  | 25 mm Dia |  | R.mt | 20.000 | 0.00 | 0.00
26 |  | 32mm Dia |  | R.mt | 10.000 | 0.00 | 0.00
27 |  | Providing Fixing of gun metal heavy Ball Valves-PN-16 (approved makes as covered in specification) screwed type for water system of the following diameters. Valve shall have with unions. |  |  | 0.000 | 0.00 | 0.00
28 |  | 20mm Dia |  | Nos. | 2.000 | 0.00 | 0.00
29 |  | 25mm Dia |  | Nos. | 2.000 | 0.00 | 0.00
30 |  | 32mm Dia |  | Nos. | 1.000 | 0.00 | 0.00
31 |  | Providing ,fixing, testing and commissioning capstan make Water Meter including providing fixing matching Isolation valves ,strainer, non-return valve,complete with all necessary fittings etc screwed type(15Kgs Sq.cm). Valve shall have with union. |  |  | 0.000 | 0.00 | 0.00
32 |  | 32 mm Dia incoming line |  | Nos. | 1.000 | 0.00 | 0.00
33 |  | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories |  |  | 0.000 | 0.00 | 0.00
34 |  | 20 L Capacity- |  | Nos. | 1.000 | 0.00 | 0.00
35 |  | SITC of Eco smart RO-50 with all required accessories |  | Nos | 1.000 | 0.00 | 0.00
36 |  | SITC of ACO grease trap -model Lipumobil S -Capacity -32 lit ( 0.5 LPS) with all required accessories ( Optional if not part of kitchen consultant Scope) |  | Nos | 3.000 | 0.00 | 0.00
37 |  | DRAINAGE |  |  | 0.000 | 0.00 | 0.00
38 |  | uPVC-SWR pipes conforming to IS 13592 92 including fittings conforming to IS-14935 99 and agri type pipes above 100 mm dia. conforming to IS 4985, cutting the pipes to required lengths, laying in the position to required grade and level, jointing, supporting with PVC cleat,hot deep galvanised bracket supports,hot deep galvanised nut-bolts, anchor fastners, PVC coated U-clamp, testing and rectifying leakages for piping within vertical shafts supported on wall hung below slab etc. with all material labor complete and as directed. [The Rate shall include supply and fixing of hotdip galvanised bracket nut bolts PVC Coated U-Clamp and screws] Vertical line bracket shall be fixed at every 0.8 mtr to 1.00 mtr.] (For Waste, Vent -Internal and vertical shaft ). |  |  | 0.000 | 0.00 | 0.00
39 |  | 40mm Dia |  | R.mt | 5.000 | 0.00 | 0.00
40 |  | 50mm Dia |  | R.mt | 5.000 | 0.00 | 0.00
41 |  | 75mm Dia |  | R.mt | 10.000 | 0.00 | 0.00
42 |  | 100 mm Dia |  | R.mt | 10.000 | 0.00 | 0.00
43 |  | Supply, Install PVC Floor Trap for the following pipes including making all approved quality Solvent cement joints with material labour etc. all complete as per direction of the engineer-in-charge. |  | Nos. | 8.000 | 0.00 | 0.00
44 |  | S.S. GRATING |  |  | 0.000 | 0.00 | 0.00
45 |  | Only installations testing and commissioning of S.S.Gratings |  |  | 0.000 | 0.00 | 0.00
46 |  | Making chamber in brick work including internal tiling etc for S.S Grating size, 450mm x 200mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. |  | Nos. | 4.000 | 0.00 | 0.00
47 |  | Electrical Work - GWH Kitchen |  | no | 1.000 | 0.00 | 0.00
48 |  | PANELS, SWITCHGEARS DISTRIBUTION BOARD |  |  | 0.000 | 0.00 | 0.00
49 |  | MAIN PANEL Incomer 100 AMPS 4P MCCB Microprocessor Based, 25kA with TM Based O C SC Release. Meter Protection ELR Microprocessor based with CBCT; 100 5A, 15VA, CL-1 CT s -3 Nos. for Schneider make Digital Load Manager (EM 6400 NG) Indication Phase indicating lamps with 6A MCB, ON OFF TRIP Indication Busbar 150A TPN Cu Busbar Outgoings a) 25A 4P RCBO, 100mA-5 Nos.b) MPCB Suitable for 5.5kW FA Ex. Fan-2 Nos. Incomer 63 AMPS 4P MCB 10kA Busbar 75A TPN Cu Busbar Sub Incomer 63A DP RCCB 100 mA – 3 No. Outgoings 16 20 A SP MCB C Type - 24 Nos. |  | Nos. | 1.000 | 0.00 | 0.00
50 |  | SWITCHGEARS |  |  | 0.000 | 0.00 | 0.00
51 |  | Supply, installation, testing and commissioning of sheet metal enclosures for the following switchgears. |  |  | 0.000 | 0.00 | 0.00
52 |  | 63 40 32 25 amps 4P MCB C TYPE with complete with all mounting accessories – for Indoor Legrand make |  | Nos. | 4.000 | 0.00 | 0.00
53 |  | 63 40 32 20 amps DP MCB C TYPE with complete with all mounting accessories – IP-65 |  | Nos. | 2.000 | 0.00 | 0.00
54 |  | 32 amps 4P MCB with 32A 5 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen |  | Nos. | 1.000 | 0.00 | 0.00
55 |  | 25 amps DP MCB with 25A 3 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen |  | Nos. | 15.000 | 0.00 | 0.00
56 |  | 16 amps DP MCB with 15A 3 Pin Ray Roll Socket complete with all mounting accessories waterproof (IP-65) for Kitchen |  | Nos. | 2.000 | 0.00 | 0.00
57 |  | 5 15 amps Switch Socket complete with all mounting accessories waterproof (IP-65) for Kitchen |  | Nos. | 15.000 | 0.00 | 0.00
58 |  | MV CABLES |  |  | 0.000 | 0.00 | 0.00
59 |  | POWER CABLING - Supply and laying, effecting proper connections, testing commissioning of the following sizes of 1.1 KV XLPE FRLSH armoured unarmoured PVC insulated PVC sheathed aluminium copper conductor cables conforming to IS 1554 and IS 694 for Flexible copper cable Part I - 1976 with latest amendments laid over MS supports in existing RCC ducts laid in ground laid on Cable Trays including clamping the cables to supports in an approved manner as required complete with all accessories.All cables shall have thermo setting insulation XLPE and low emission of smoke and corrosive gas when affected by fire. Necessary Markers shall be provided at the intervals as per the specifications. |  |  | 0.000 | 0.00 | 0.00
60 |  | Aluminium cables - 4C x 25 Sq.mm. |  | Mtr. | 50.000 | 0.00 | 0.00
61 |  | do - but for copper cables - 4C x 6 Sq.mm. |  | Mtr. | 60.000 | 0.00 | 0.00
62 |  | CU Flexible Cables |  |  | 0.000 | 0.00 | 0.00
63 |  | 4C x 6 + 2C x 2.5 Sq.mm. |  | Mtr. | 15.000 | 0.00 | 0.00
64 |  | 4C x 2.5 + 2C x 2.5 Sq.mm. |  | Mtr. | 30.000 | 0.00 | 0.00
65 |  | 3C x 4 Sq.mm. |  | Mtr. | 500.000 | 0.00 | 0.00
66 |  | 3C x 2.5 Sq.mm. |  | Mtr. | 50.000 | 0.00 | 0.00
67 |  | , - do - but for copper flexible cables 1c x 4 Sq.mm PVC insulated PVC flexible copper conductor cables alongwith termination (GREEN COLOUR) |  | Mtr. | 50.000 | 0.00 | 0.00
68 |  | CABLE TERMINATION |  |  | 0.000 | 0.00 | 0.00
69 |  | Making cable and terminations including brass single compression glands and crimping type copper lugs for cable sizes mentioned below for aluminium or copper. |  |  | 0.000 | 0.00 | 0.00
70 |  | 4C x 25 Sq.mm. |  | Nos. | 2.000 | 0.00 | 0.00
71 |  | 4C x 6 Sq.mm. |  | Nos. | 4.000 | 0.00 | 0.00
72 |  | 4C x 6 + 2C x 2.5 Sq.mm. |  | Nos. | 2.000 | 0.00 | 0.00
73 |  | 4C x 2.5 + 2C x 2.5 Sq.mm. |  | Nos. | 6.000 | 0.00 | 0.00
74 |  | 3C x 2.5 Sq.mm. (Lighting) |  | Nos. | 2.000 | 0.00 | 0.00
75 |  | DATA NETWORK |  |  | 0.000 | 0.00 | 0.00
76 |  | Wiring with CAT6A cable |  | Rmt | 180.000 | 0.00 | 0.00
77 |  | Providing DATA wiring inside 25mm dia GI conduit from each Data outlet to ICT CP Point by using Indoor Type CAT6A, Rosenberger RM make. |  |  | 0.000 | 0.00 | 0.00
78 |  | Supply Installation of Internet Jack Unit RJ-45 suitable for CAT6A Rosenberger make. |  | Nos. | 3.000 | 0.00 | 0.00
79 |  | Installation, testing commissioning of Data Jack Unit RJ-45 With shutter including concealed modular switchboard assembly including concealed hot-dipped GI box and front plates in white color of poly carbonate material, necessary wiring etc. complete for Internet Point. Cost of Supply of RJ45 , back box, front plate, cover to be included. |  |  | 0.000 | 0.00 | 0.00
80 |  | Supply Installation of Rosenberger make Cat 6A, UTP Patch Cords, with snagless boots, color matched, Blue, 3 Feet |  | Nos. | 3.000 | 0.00 | 0.00
81 |  | RACEWAYS AND CABLE TRAYS |  |  | 0.000 | 0.00 | 0.00
82 |  | TRUNKING Fabricating supplying to site of installation, installation on ceiling surface 1.6 mm thick G.I. Trunking of height 50 mm and 2.0 mm thick openable cover, totally enclosed, the joints between two lengths of channels or between channel and junction box shall be joined together with 3 mm thick G.I. coupler plates Reducers as per requirement. The cost shall including all supporting and fixing accessories with 8 10mm threaded Ros Clamps etc. including dash fasteners. 50 mm (wide) x 50 mm (height) |  | Mtr. | 20.000 | 0.00 | 0.00
83 |  | RACEWAY Fabricating, supplying to site of installation, installation in the floor before the flooring from 2 mm thick pregalvanised MS CRCA sheet, totally enclosed, height 40 mm . The two lengths of raceways shall be fitted with Collars , 50 mm wide, 3 mm thick. The raceways shall be clamped to the floor slab with GI clamps 3mm thick and shall be screwed to the floor slab. The joint between raceway and junction box will be made with GI cover which will be nut bolted to the Junction box to cover the entire Junction box side walls complete as required etc. all the Raceways sections shall be earthed. |  |  | 0.000 | 0.00 | 0.00
84 |  | 100 mm (wide) x 40 mm (height) |  | Mtr. | 10.000 | 0.00 | 0.00
85 |  | 65 mm (wide) x 40 mm (height) |  | Mtr. | 10.000 | 0.00 | 0.00
86 |  | JUNCTION BOXES Fabricating supplying to site of installation, Junction boxes made from 2 mm thick pregalvanised sheet, with 3.0 mm thick pregalvanised cover including providing neoprene gaskets between the cover and the junction box, cadmium plated flat round head screws, height as per site condition,totally enclosed. Proper cutouts shall be made in the side walls for raceway entry wherever required. The floor junction box shall be all side walls should be welded expect top cover and all side walls shall have suitable size of rectangular knock out holes for taking raceways conduits as required and not a complete cut out. The top cover should be sealed with M Seal to make it dust and water proof complete as required etc. (variation in height may be considered for quoting as floor thickness may vary) 150 mm x 150 x 60 50 mm (height) |  | Mtr. | 6.000 | 0.00 | 0.00
87 |  | CABLE TRAY Design manufacture , supply and fixing in position the cable trays of the following sizes for supporting 1.1 KV grade armoured unarmoured aluminium copper conductor cables. Fabricate the cable trays from perforated 1.6 2mm thick M.S. CRCA sheet duly galvanised with expansion coupler plates duly galvanised, with bolts, washer and nuts. Knock out holes for cable connections as per approved design. The tray should comply with the specification of NEC (National Electric Codes) and NEMA (National Electric Manufacturers Association). The steel should be as per IS 226 and galvanising as per IS 2629 BS 729 ASTM 123. The rate shall also include for supporting steel , fish plates , fixing accessories , nuts bolts, supporting down rods , dash fastener, cutting the RCC etc. complete as required. (the horizontal and vertical bends, T s should be factory fabricated and the rate should include for the same) |  |  | 0.000 | 0.00 | 0.00
88 |  | 300 mm wide x 50 mm x 2.0 mm thk |  | Mtr. | 10.000 | 0.00 | 0.00
89 |  | 150 mm wide x 50 mm x 2.0 mm thk |  | Mtr. | 20.000 | 0.00 | 0.00
90 |  | POINT WIRING |  |  | 0.000 | 0.00 | 0.00
91 |  | Point wiring LENGTH from DB to SB or First Light point control be MCB shall be avg. of 15Mtr. of 3C x 2.5 sq mm FRLS PVC insulated stranded copper conductor wires. For SB to SB the length shall be measured in Mtr. The secondary Loop point length shall be 10Mtr from Light fixture to light fixture. If secondary point shall be operated from MCB then the length shall be 10 Mtr. All sockets to be checked with a Check Plug socket tester for live-neutral reverse, no earth,neutral fault, live earth reverse, neutral earth reverse. The Circuit No. and DB no. label shall be provided on all UPS, RAW sockets and switchboards with label printer. The Length shall be paid as per the actual measurements as per following manner. |  |  | 0.000 | 0.00 | 0.00
92 |  | Wiring for the Primary light points with 3C x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in GI conduits in F.ceiling walls ceiling as direc­ted from Distribution Board to Switch Board including providing 6 amps flush type switches, 5 sided G.I Boxes for housing switc­hes and earth­ing complete as required. Rates shall exclusive of Switches Switch boxes. |  |  | 0.000 | 0.00 | 0.00
93 |  | From DB to Normal Switch Board |  | Mtr. | 20.000 | 0.00 | 0.00
94 |  | From DB to Emergency Switch Board |  | Mtr. | 15.000 | 0.00 | 0.00
95 |  | Wiring for the following light points with 3 x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in GI conduits in F.ceiling walls ceiling as direc­ted including providing 6 amps flush type switches, 5 sided G.I Boxes for housing switc­hes and earth­ing complete as required from the above switch board. Rates shall exclusive of Switches Switch Box. (FROM SB TO LIGHT) |  |  | 0.000 | 0.00 | 0.00
96 |  | First point controlled by one no. 6 amp switch. (upto 10Mtr.) |  | Nos. | 4.000 | 0.00 | 0.00
97 |  | First point controlled by one no. 6 amp switch. For Emergency Light (upto 10Mtr.) |  | Nos. | 1.000 | 0.00 | 0.00
98 |  | Same as item No. 4.2.1 4.2.2 above but LOOP POINT i.e. wiring of point looped from first point with 3C x 2.5 sq. mm FRLS PVC insulated copper conductor wire in concealed exposed GI conduit and earthing |  | Nos. | 6.000 | 0.00 | 0.00
99 |  | Same as item No. 4.2.3 4.2.4 above but LOOP POINT i.e. wiring of point looped from first point with 3C x 2.5 sq. mm FRLS PVC insulated copper conductor wire in concealed exposed GI conduit and earthing For Emergency Light |  | Nos. | 2.000 | 0.00 | 0.00
100 |  | Wiring for UPS Raw plug outlets points with 3C x 4 sqmm FRLS PVC Insulated and PVC sheathed flexible cable with bright annealed electrolytic copper conductor , 1100 volt grade confirming to IS 694-1990 with latest amendments, in existing Channels conduit in ceiling walls floor including all cable termination accessories) (including body earth for GI boxes) |  | Mtr. | 300.000 | 0.00 | 0.00
101 |  | Providing and fixing in position the following GI RIGID conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. 25 mm dia GI Conduit |  | Mtr. | 250.000 | 0.00 | 0.00
102 |  | Providing and fixing in position the following GI FLEXIBLE conduits including all accessories concealed in F. ceiling wall floor as required including pull boxes with 3mm thick perspex sheet cover plate complete with 1.6 mm dia. G.I. pull wires in the length of conduit. 25 mm dia GI Conduit |  | Mtr. | 60.000 | 0.00 | 0.00
103 |  | MODULAR SWITCHES |  |  | 0.000 | 0.00 | 0.00
104 |  | Supply, installation, testing commissioning of following types of modular switches, cover plates, 5 sided G.I. Boxes for housing the modular switches earthing complete as required. GI Boxes to have earth pin for body earthing. The Circuit No. and DB no. label shall be provided on all UPS ,RAW sockets and switchboards with label printer.(Make- Legrand Aretor Series) |  |  | 0.000 | 0.00 | 0.00
105 |  | 6A One Way Switch |  | Nos. | 10.000 | 0.00 | 0.00
106 |  | 6A 5 pin Socket - 1Nos. 6A Switch - 1Nos. |  | Nos. | 6.000 | 0.00 | 0.00
107 |  | 6 16A Socket outlet - 1Nos. 16A Switch - 1Nos.(Raw UPS Power) |  | Nos. | 20.000 | 0.00 | 0.00
108 |  | GENERAL EARTHING |  |  | 0.000 | 0.00 | 0.00
109 |  | Supplying and erecting following GI strip used for earthing on wall with necessary MS clamps fixed on wall Cable trays Hume pipes etc. The jointes shall be Bolted Welded. The joints shall be painted with bituminous paint in an approved manner. - 25 x 3 mm |  | Mtr. | 100.000 | 0.00 | 0.00
110 |  | Supplying and erecting bare Copper conductor of following sizes - 8 SWG |  | Mtr. | 120.000 | 0.00 | 0.00
111 |  | LIGHT FIXTURES INSTALLATION |  |  | 0.000 | 0.00 | 0.00
112 |  | Receiving from Store, Installation, testing commissioning of following light fixtures with complete installation hardwares including Anchor fastner, supporting Hook Rods as per final approval from Architect Client Consultant 2 X 2 18W LED GRID LIGHTS Including EMG. Light |  | Nos. | 11.000 | 0.00 | 0.00
113 |  | MISCELLANEOUS WORKS |  |  | 0.000 | 0.00 | 0.00
114 |  | Supply fixing in position approved shock treatment chart written in English, Hindi and Local language. These charts shall be framed in wooden frame covered with clear glass. |  | Nos. | 1.000 | 0.00 | 0.00
115 |  | Supply fixing in position the best quality danger notice boards of approved shape size as reqd. by the local Electrical Inspecting Authority written in English, Hindi local language. |  | Nos. | 1.000 | 0.00 | 0.00
116 |  | UPS |  |  | 0.000 | 0.00 | 0.00
117 |  | 1kVA UPS System Supply Install of EMERSON make Model - UPS LEGEND 650; Capacity 650VA 360W (1 Phase In 1 Phase out) with SMF Battery 12V 7AHx1 Battery. |  | Set | 1.000 | 0.00 | 0.00