## Price Comparison
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | Comp. Date : 04/03/2024 | Comp. Date : 04/03/2024 | Comp. Date : 04/03/2024 | Vendor Name : Dear Infra (RV232414692) | [5 empty] | Vendor Name : Arrow Electricals (RV232411833) | [5 empty] | Vendor Name : Electech Enterprises (RV232412099)
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ #: R0207 | RFQ #: R0207 | RFQ #: R0207 | Contact Name : Rizwan/Rohit | [5 empty] | Contact Name : | [5 empty] | Contact Name :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ Date : 02/03/2024 12:55:23 | RFQ Date : 02/03/2024 12:55:23 | RFQ Date : 02/03/2024 12:55:23 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | BCD Date : 03/03/2024 16:45:00 | BCD Date : 03/03/2024 16:45:00 | BCD Date : 03/03/2024 16:45:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | Email : rohit@dearinfra.in | [5 empty] | Email : khakesantosh10@gmail.com | [5 empty] | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ) | [5 empty] | Round # : 5 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | PR for Electrical for Delhi T1 BOH Space | NOS | 1.00 |  | 261140.00 | Dear Infra | 261140.00 | 0.00 | 18.00 |  | 261,140.00 | 261,140.00 | 332710.00 | 0.00 | 18.00 |  | 332,710.00 | 332,710.00 | 334200.00 | 0.00 | 18.00 |  | 334,200.00 | 334,200.00
Item Total | [8 empty] | .00 | 47,005.20 |  |  | 261,140.00 |  | .00 | 59,887.80 |  |  | 332,710.00 |  | .00 | 60,156.00 |  |  | 334,200.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 47,005.20 | [5 empty] | 59,887.80 | [5 empty] | 60,156.00
Net Landed Cost | [11 empty] | INR | 308,145.20 |  |  |  |  | INR | 392,597.80 |  |  |  |  | INR | 394,356.00
Vendor Status | [7 empty] | Round # : 5 (RFQ) | Round # : 5 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232412099 | Electech Enterprises | [5 empty] | Participate
2 | RV232411833 | Arrow Electricals | [5 empty] | Participate
3 | RV232420111 | VIKAT VINAYAK18 SERVICES PVT LTD | [5 empty] | Participate
4 | RV232414692 | Dear Infra | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | Comp. Date : 04/03/2024 | Comp. Date : 04/03/2024 | Comp. Date : 04/03/2024 | Vendor Name : Dear Infra | Vendor Name : Dear Infra | Vendor Name : Arrow Electricals | Vendor Name : Arrow Electricals | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ #: R0207 | RFQ #: R0207 | RFQ #: R0207 | Contact Name : Rizwan/Rohit | Contact Name : Rizwan/Rohit | Contact Name : | Contact Name : | Contact Name : | Contact Name :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ Date : 02/03/2024 12:55:23 | RFQ Date : 02/03/2024 12:55:23 | RFQ Date : 02/03/2024 12:55:23 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | BCD Date : 03/03/2024 16:45:00 | BCD Date : 03/03/2024 16:45:00 | BCD Date : 03/03/2024 16:45:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | Email : rohit@dearinfra.in | Email : rohit@dearinfra.in | Email : khakesantosh10@gmail.com | Email : khakesantosh10@gmail.com | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ) | Round # : 5 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | PR for Electrical for Delhi T1 BOH Space | PR for Electrical for Delhi T1 BOH Space | NOS | 1.000 |  |  | 261,140.00 |  | 332,710.00 |  | 334,200.00
1 | 1 | DBs | DBs
2 | 1.1 | Suply and installation of Four -Tier, Multi-Way, TPN, | Suply and installation of Four -Tier, Multi-Way, TPN,
3 |  | Distribution Board for Lighting Power distribution, surface | Distribution Board for Lighting Power distribution, surface
4 |  | mounted on wall, sheet metal fabricated,powder coated, | mounted on wall, sheet metal fabricated,powder coated,
5 |  | having dust-proof and vermin proof, gasketed and hinged | having dust-proof and vermin proof, gasketed and hinged
6 |  | acrylic door with all internals such as DIN rails, neutral-link, | acrylic door with all internals such as DIN rails, neutral-link,
7 |  | interconnected wiring complete with earthing lugs housing | interconnected wiring complete with earthing lugs housing
8 |  | switchgears (IP-43 with Metal Door) | switchgears (IP-43 with Metal Door)
9 |  | LIGHTING POWER DB (6 way TPN DB) | LIGHTING POWER DB (6 way TPN DB)
10 |  | a) 1 No., 32A, 4P MCB (INCOMER) | a) 1 No., 32A, 4P MCB (INCOMER)
11 |  | b) 1 No., 16A, 4P MCB (SUB INCOMER) | b) 1 No., 16A, 4P MCB (SUB INCOMER)
12 |  | c) 3 Nos., 32A, DP, ELCB(30mA) Incomer(One per phase) | c) 3 Nos., 32A, DP, ELCB(30mA) Incomer(One per phase)
13 |  | d) 12 Nos, 10A, SP, MCB outgoing | d) 12 Nos, 10A, SP, MCB outgoing
14 |  | (Make Legrand-Ekinoxe Hager Schneider | (Make Legrand-Ekinoxe Hager Schneider
15 |  | Full Set as above | Full Set as above | Set | 1.000 | .00 | 0.00 | .00 | 30500.00 | 30,500.00 | 32000.00 | 32,000.00
16 |  | UPS DB (12 way SPN) | UPS DB (12 way SPN)
17 |  | a) 1 No., 32 A DP RCBO | a) 1 No., 32 A DP RCBO
18 |  | b) 10 Nos, 16A, SP, MCB outgoing | b) 10 Nos, 16A, SP, MCB outgoing
19 |  | (Make Legrand-Ekinoxe Hager Schneider | (Make Legrand-Ekinoxe Hager Schneider
20 |  | Full Set as above | Full Set as above | Set | 1.000 | 11,000.00 | 30500.00 | 30,500.00 | 11000.00 | 11,000.00 | 12000.00 | 12,000.00
21 |  | Sub Total of 1.0 | Sub Total of 1.0
22 | 2 | CABLES | CABLES
23 | 2.1 | S I of 1100V grade armoured unarmoured flexible cable | S I of 1100V grade armoured unarmoured flexible cable
24 |  | having sector circular shaped Aluminum copper conductor, | having sector circular shaped Aluminum copper conductor,
25 |  | XLPE insulated cores, laid up, PVC tape wrapped, | XLPE insulated cores, laid up, PVC tape wrapped,
26 |  | inner sheathed, GI strip wire armoured and overall | inner sheathed, GI strip wire armoured and overall
27 |  | extruded FRLS PVC sheathed confirming to IS IS 1554 IS 7098 | extruded FRLS PVC sheathed confirming to IS IS 1554 IS 7098
28 |  | IS 694, laid on Cable Trays wall ceiling including the | IS 694, laid on Cable Trays wall ceiling including the
29 |  | clamps spacers required as per route in the drawing and | clamps spacers required as per route in the drawing and
30 |  | further as directed at site in the following sizes | further as directed at site in the following sizes
31 |  | 3R x 1C x 4 Sq.mm, Copper, Flexible, Bunched together - FROM UPS TO UPSDB | 3R x 1C x 4 Sq.mm, Copper, Flexible, Bunched together - FROM UPS TO UPSDB | mtr. | 15.000 | 3,300.00 | 220.00 | 3,300.00 | 270.00 | 4,050.00 | 220.00 | 3,300.00
32 |  | 4 C x 6 Sq.mm, Copper, Armoured cable - FOR LPDB | 4 C x 6 Sq.mm, Copper, Armoured cable - FOR LPDB | mtr. | 35.000 | 18,025.00 | 515.00 | 18,025.00 | 515.00 | 18,025.00 | 600.00 | 21,000.00
33 |  | 4 C x 2.5Sq.mm, Copper, Armoured cable - FOR AHU | 4 C x 2.5Sq.mm, Copper, Armoured cable - FOR AHU | mtr. | 25.000 | 5,750.00 | 230.00 | 5,750.00 | 230.00 | 5,750.00 | 310.00 | 7,750.00
34 |  | 3 C x 4.0Sq.mm, Copper, Armoured cable- FROM LPDB TO UPS | 3 C x 4.0Sq.mm, Copper, Armoured cable- FROM LPDB TO UPS | mtr. | 15.000 | 3,825.00 | 255.00 | 3,825.00 | 255.00 | 3,825.00 | 350.00 | 5,250.00
35 |  | 3 C x 2.5 Sq.mm, Copper, Armoured cable FOR ELV SERVICES | 3 C x 2.5 Sq.mm, Copper, Armoured cable FOR ELV SERVICES | mtr. | 20.000 | 4,200.00 | 210.00 | 4,200.00 | 210.00 | 4,200.00 | 300.00 | 6,000.00
36 | 2.2 | S I of End Termination of above mentioned cables | S I of End Termination of above mentioned cables
37 |  | including compressed type brass gland, crimping type | including compressed type brass gland, crimping type
38 |  | copper lugs, insulation tape etc. as required complete | copper lugs, insulation tape etc. as required complete
39 |  | with earthing of glands where ever required | with earthing of glands where ever required
40 |  | 3R x 1C x 4 Sq.mm, Copper, Flexible, Bunched together - FROM UPS TO UPSDB | 3R x 1C x 4 Sq.mm, Copper, Flexible, Bunched together - FROM UPS TO UPSDB | Nos | 2.000 | 400.00 | 200.00 | 400.00 | 350.00 | 700.00 | 200.00 | 400.00
41 |  | 4 C x 6 Sq.mm, Copper, Armoured cable - FOR LPDB | 4 C x 6 Sq.mm, Copper, Armoured cable - FOR LPDB | Nos | 2.000 | 800.00 | 400.00 | 800.00 | 550.00 | 1,100.00 | 400.00 | 800.00
42 |  | 4 C x 2.5Sq.mm, Copper, Armoured cable - FOR AHU | 4 C x 2.5Sq.mm, Copper, Armoured cable - FOR AHU | Nos | 2.000 | 600.00 | 300.00 | 600.00 | 350.00 | 700.00 | 300.00 | 600.00
43 |  | 3 C x 4.0Sq.mm, Copper, Armoured cable- FROM LPDB TO UPS | 3 C x 4.0Sq.mm, Copper, Armoured cable- FROM LPDB TO UPS | Nos | 2.000 | 700.00 | 350.00 | 700.00 | 450.00 | 900.00 | 350.00 | 700.00
44 |  | 3 C x 2.5 Sq.mm, Copper, Armoured cable FOR ELV SERVICES | 3 C x 2.5 Sq.mm, Copper, Armoured cable FOR ELV SERVICES | Nos | 2.000 | 400.00 | 200.00 | 400.00 | 250.00 | 500.00 | 200.00 | 400.00
45 |  | Sub Total of 2.0 | Sub Total of 2.0
46 | 3 | POINT WIRING | POINT WIRING
47 | 3.1 | Supply Installation of concealed point wiring using 1100V grade 2.5 sqmm copper conductor PVC insulated wires (with proper R,Y,B color code ) pulled through PVC MMS conduits (including flexible conduits for drops to light fittings) laid concealed over | Supply Installation of concealed point wiring using 1100V grade 2.5 sqmm copper conductor PVC insulated wires (with proper R,Y,B color code ) pulled through PVC MMS conduits (including flexible conduits for drops to light fittings) laid concealed over
48 |  | Wiring for the Primary light points with 3 x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in PVC conduits in F.ceiling walls ceiling as direc­ted from Distribution Board to Switch Board including providing 6 amps flush type switches, 5 | Wiring for the Primary light points with 3 x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in PVC conduits in F.ceiling walls ceiling as direc­ted from Distribution Board to Switch Board including providing 6 amps flush type switches, 5 | Mtr. | 20.000 | 5,800.00 | 290.00 | 5,800.00 | 358.00 | 7,160.00 | 290.00 | 5,800.00
49 |  | Wiring with 3R x 1.5 Sq.mm for 5A Plug points on wall skirting etc. for general purpose through existing Raceway (Circuit shall be taken from the PDBs . Only 4 points looped in one circuit) (Conduits shall be paid separately) | Wiring with 3R x 1.5 Sq.mm for 5A Plug points on wall skirting etc. for general purpose through existing Raceway (Circuit shall be taken from the PDBs . Only 4 points looped in one circuit) (Conduits shall be paid separately) | Mtr. | 50.000 | 10,500.00 | 210.00 | 10,500.00 | 240.00 | 12,000.00 | 210.00 | 10,500.00
50 |  | Wiring with 3R x 2.5 Sq.mm for 15A Plug points on wall skirting etc. for general purpose through existing Raceway (Circuit shall be taken from the PDBs . Only 4 points looped in one circuit) (Conduits shall be paid separately) | Wiring with 3R x 2.5 Sq.mm for 15A Plug points on wall skirting etc. for general purpose through existing Raceway (Circuit shall be taken from the PDBs . Only 4 points looped in one circuit) (Conduits shall be paid separately) | Mtr. | 25.000 | 5,750.00 | 230.00 | 5,750.00 | 230.00 | 5,750.00 | 290.00 | 7,250.00
51 |  | S I of point wiring for Computer Power plug points on | S I of point wiring for Computer Power plug points on | Mtr. | 25.000 | 7,250.00 | 290.00 | 7,250.00 | 360.00 | 9,000.00 | 290.00 | 7,250.00
52 |  | workstations table for computers using 3C X 2.5 Sqmm | workstations table for computers using 3C X 2.5 Sqmm
53 |  | copper conductor PVC sheathed white color flexible cable | copper conductor PVC sheathed white color flexible cable
54 |  | pulled through already laid floor raceways and taken | pulled through already laid floor raceways and taken
55 |  | upto table top using metal rigid or flexible conduits run within | upto table top using metal rigid or flexible conduits run within
56 |  | partitions.Each point consisting of 3 nos.of international | partitions.Each point consisting of 3 nos.of international
57 |  | sockets controlled by 1no 16A, switch located below the table | sockets controlled by 1no 16A, switch located below the table
58 |  | wired together forming one point including back-boxes. | wired together forming one point including back-boxes.
59 |  | The earth wire of 3 core flexible cable to be of yellow-green color | The earth wire of 3 core flexible cable to be of yellow-green color
60 |  | only. Cost to include white colour flexible cable | only. Cost to include white colour flexible cable
61 |  | + flex conduit. Each table to be taken as one point. | + flex conduit. Each table to be taken as one point.
62 |  | (Max. 4 6 tables served by one circiut from UPSDB) | (Max. 4 6 tables served by one circiut from UPSDB)
63 | 3.2 | S I of 5A Raw,Power point wiring for points on workstations table for Mobile charger using 3C X 1.5 Sqmm copper conductor PVC sheathed Black color flexible cable pulled through already laid floor raceways and taken upto table top using PVC rigid or | S I of 5A Raw,Power point wiring for points on workstations table for Mobile charger using 3C X 1.5 Sqmm copper conductor PVC sheathed Black color flexible cable pulled through already laid floor raceways and taken upto table top using PVC rigid or | Mtr. | 25.000 | 5,250.00 | 210.00 | 5,250.00 | 340.00 | 8,500.00 | 210.00 | 5,250.00
64 | 3.3 | S I of PVC conduits including all | S I of PVC conduits including all
65 |  | accessories, clamps, spacers, bends, tee, cross etc. | accessories, clamps, spacers, bends, tee, cross etc.
66 |  | as required at site for miscellaneous use in following sizes | as required at site for miscellaneous use in following sizes
67 |  | 20mm dia | 20mm dia | Mtr | 0.000 | .00 | 0.00 | .00 | 95.00 | .00 | 0.00 | .00
68 |  | 25mm dia | 25mm dia | Mtr | 50.000 | 2,250.00 | 45.00 | 2,250.00 | 110.00 | 5,500.00 | 220.00 | 11,000.00
69 | 3.4 | S I of flexible PVC conduits including all | S I of flexible PVC conduits including all
70 |  | accessories, clamps, spacers, end adopters (Glands) etc. | accessories, clamps, spacers, end adopters (Glands) etc.
71 |  | as required at site in following sizes | as required at site in following sizes
72 |  | 20mm dia | 20mm dia | Mtr | 0.000 | .00 | 0.00 | .00 | 30.00 | .00 | 0.00 | .00
73 |  | 25mm dia | 25mm dia | Mtr | 50.000 | 2,250.00 | 45.00 | 2,250.00 | 45.00 | 2,250.00 | 60.00 | 3,000.00
74 | 3.5 | Supply, Installation testing and commission of 240V-AC, wiring devices and its accessories such as modular type switch socket outlets with modular front plate, modular box, G.I. back box and all required accessories etc. Supply Installation scope includ | Supply, Installation testing and commission of 240V-AC, wiring devices and its accessories such as modular type switch socket outlets with modular front plate, modular box, G.I. back box and all required accessories etc. Supply Installation scope includ
75 | 1 | 6A One way plate type switch (Provision) | 6A One way plate type switch (Provision) | Nos. | 7.000 | 1,750.00 | 250.00 | 1,750.00 | 250.00 | 1,750.00 | 300.00 | 2,100.00
76 | 2 | 6A 5pin switch socket outlet (Raw power UPS) | 6A 5pin switch socket outlet (Raw power UPS) | Nos. | 10.000 | 6,500.00 | 650.00 | 6,500.00 | 650.00 | 6,500.00 | 700.00 | 7,000.00
77 | 3 | 3 nos. 6 13A Flat pin Universal socket 1no. 16A switch with indicatior (UPS power) | 3 nos. 6 13A Flat pin Universal socket 1no. 16A switch with indicatior (UPS power) | Sets | 7.000 | 9,800.00 | 1400.00 | 9,800.00 | 1730.00 | 12,110.00 | 1400.00 | 9,800.00
78 | 4 | 13A Flat pin Universal switch socket outlet ( Raw Power UPS ) | 13A Flat pin Universal switch socket outlet ( Raw Power UPS ) | Nos. | 0.000 | .00 | 0.00 | .00 | 550.00 | .00 | 0.00 | .00
79 | 5 | 6 16A switch socket outlet ( Raw Power UPS ) | 6 16A switch socket outlet ( Raw Power UPS ) | Nos. | 5.000 | 3,750.00 | 750.00 | 3,750.00 | 750.00 | 3,750.00 | 850.00 | 4,250.00
80 | 6 | 6 16A switch socket outlet with indication ( Raw Power UPS) | 6 16A switch socket outlet with indication ( Raw Power UPS) | Nos. | 5.000 | 3,950.00 | 790.00 | 3,950.00 | 790.00 | 3,950.00 | 850.00 | 4,250.00
81 | 7 | data cum telephone back GI BACK box 2”x2” suitable for data socket | data cum telephone back GI BACK box 2”x2” suitable for data socket | Nos. | 15.000 | 1,500.00 | 100.00 | 1,500.00 | 150.00 | 2,250.00 | 100.00 | 1,500.00
82 |  | Sub Total of 3.0 | Sub Total of 3.0
83 | 4 | RACEWAYS CABLE TRAYS | RACEWAYS CABLE TRAYS
84 | 4.1 | S I of trunking same as above but of size 100mm x 38mm | S I of trunking same as above but of size 100mm x 38mm | Mtr | 0.000 | .00 | 0.00 | .00 | 940.00 | .00 | 0.00 | .00
85 |  | x1.6 mm for power data cables. | x1.6 mm for power data cables.
86 |  | (PROFAB ASIAN Approved equivalent) | (PROFAB ASIAN Approved equivalent)
87 | 4.2 | S I of trunking same as above but of size 68mm x 38mm | S I of trunking same as above but of size 68mm x 38mm | Mtr | 50.000 | 30,500.00 | 610.00 | 30,500.00 | 610.00 | 30,500.00 | 700.00 | 35,000.00
88 |  | x1.6 mm thick for power data cables. | x1.6 mm thick for power data cables.
89 |  | (PROFAB ASIAN Approved equivalent) | (PROFAB ASIAN Approved equivalent)
90 | 4.3 | S I of floor raceways similar to above but consisting 1 Run x 25mm dia, PVC Conduit pipe medium guage | S I of floor raceways similar to above but consisting 1 Run x 25mm dia, PVC Conduit pipe medium guage | Mtr | 0.000 | .00 | 0.00 | .00 | 220.00 | .00 | 0.00 | .00
91 | 4.4 | S I of floor junction boxes similar to above but size 450mm x 450mm x 60 mm | S I of floor junction boxes similar to above but size 450mm x 450mm x 60 mm | Nos | 0.000 | .00 | 0.00 | .00 | 1550.00 | .00 | 0.00 | .00
92 | 4.5 | S I of floor junction boxes similar to above but size 350mm x 350mm x 60 mm | S I of floor junction boxes similar to above but size 350mm x 350mm x 60 mm | Nos | 0.000 | .00 | 0.00 | .00 | 1050.00 | .00 | 0.00 | .00
93 | 4.6 | S I of floor junction boxes similar to above but size 250mm x 250mm x 60 mm | S I of floor junction boxes similar to above but size 250mm x 250mm x 60 mm | Nos | 0.000 | .00 | 0.00 | .00 | 750.00 | .00 | 0.00 | .00
94 | 4.7 | S I of floor junction boxes similar to above but size 150mm x 150mm x 60 mm | S I of floor junction boxes similar to above but size 150mm x 150mm x 60 mm | Nos | 0.000 | .00 | 0.00 | .00 | 550.00 | .00 | 0.00 | .00
95 | 4.8 | S I of GI Pregalvanizd Perforated type Cable Tay | S I of GI Pregalvanizd Perforated type Cable Tay
96 |  | of following sizes suspended from ceiling or fixed | of following sizes suspended from ceiling or fixed
97 |  | vertically on wall column as per route directed at site | vertically on wall column as per route directed at site
98 |  | including all necessary bends, tees, crosses and also | including all necessary bends, tees, crosses and also
99 |  | including all necessary supporting arrangement. | including all necessary supporting arrangement.
100 |  | All supporting hardware including nuts, bolts etc. | All supporting hardware including nuts, bolts etc.
101 |  | shall be also of galvanised M.S. as approved | shall be also of galvanised M.S. as approved
102 |  | (PROFAB INDIANA ASIAN approved equivalent) | (PROFAB INDIANA ASIAN approved equivalent)
103 |  | 100mm x 50mm X 1.6mm | 100mm x 50mm X 1.6mm | Mtr | 0.000 | .00 | 0.00 | .00 | 750.00 | .00 | 0.00 | .00
104 |  | 300mm x 50mm x1.6mm | 300mm x 50mm x1.6mm | Mtr | 0.000 | .00 | 0.00 | .00 | 1350.00 | .00 | 0.00 | .00
105 |  | 450mm x 75mm x 2.0mm | 450mm x 75mm x 2.0mm | Mtr | 0.000 | .00 | 0.00 | .00 | 1650.00 | .00 | 0.00 | .00
106 |  | Sub Total of 4.0 | Sub Total of 4.0
107 | 5 | LIGHT FIXTURES CONTROLS | LIGHT FIXTURES CONTROLS
108 | 5.1 | Providing Installation of lighting fixtures with lamps as per the details below including necessary hardware such as clamps, nuts, bolts, nails screws and suspension rods as required for fixing the fixtures in position as directed by architect consul | Providing Installation of lighting fixtures with lamps as per the details below including necessary hardware such as clamps, nuts, bolts, nails screws and suspension rods as required for fixing the fixtures in position as directed by architect consul
109 |  | TUBE LIGHT | TUBE LIGHT | Nos | 12.000 | 3,000.00 | 250.00 | 3,000.00 | 250.00 | 3,000.00 | 700.00 | 8,400.00
110 |  | Sub Total of 5.0 | Sub Total of 5.0
111 | 6 | EARTHING | EARTHING
112 | 6.1 | S I of earth pit comprising of specially designed SEE Ashlok brand Earth Electrode system 3.00 meter long including necessary materials like side fill compound etc. as required with standard brick masonary chamber with hinged cover and watering arra | S I of earth pit comprising of specially designed SEE Ashlok brand Earth Electrode system 3.00 meter long including necessary materials like side fill compound etc. as required with standard brick masonary chamber with hinged cover and watering arra | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
113 | 6.2 | S I of copper GI earthing wires strips in following sizes | S I of copper GI earthing wires strips in following sizes
114 | 6.3 | 8 SWG copper bare wire | 8 SWG copper bare wire | Mtr | 0.000 | .00 | 0.00 | .00 | 120.00 | .00 | 0.00 | .00
115 | 6.4 | 12 SWG copper bare wire | 12 SWG copper bare wire | Mtr | 0.000 | .00 | 0.00 | .00 | 110.00 | .00 | 0.00 | .00
116 | 6.5 | 25mm x 5mm thick GI strip welded painted green | 25mm x 5mm thick GI strip welded painted green | Mtr | 50.000 | 6,500.00 | 130.00 | 6,500.00 | 450.00 | 22,500.00 | 130.00 | 6,500.00
117 | 6.6 | S I of isolated dedicated earthing grounding system for computers etc.using insulated green-yellow copper earthing wire laid fixed bare on wall ceiling from separately made earth pit to the equipment in following sizes | S I of isolated dedicated earthing grounding system for computers etc.using insulated green-yellow copper earthing wire laid fixed bare on wall ceiling from separately made earth pit to the equipment in following sizes
118 |  | 70 Sqmm copper, yellow-green green insulation | 70 Sqmm copper, yellow-green green insulation | Mtr | 0.000 | .00 | 0.00 | .00 | 510.00 | .00 | 0.00 | .00
119 | 6.7 | S I of Crimp type copper lugs for the above earth | S I of Crimp type copper lugs for the above earth
120 |  | wires in sizes | wires in sizes
121 |  | 50 70 sqmm | 50 70 sqmm | Nos | 0.000 | .00 | 0.00 | .00 | 250.00 | .00 | 0.00 | .00
122 | 6.8 | S I of Main bus for isolated earth comprising of 300mm x 50 mm x 6mm thick Tinned copper bar fixed on insulated support and having 30 nos of holes and nut bolts studs for clamping the earth leads,all contained in MS PVC box of size 400mm x 200mm x 60mm | S I of Main bus for isolated earth comprising of 300mm x 50 mm x 6mm thick Tinned copper bar fixed on insulated support and having 30 nos of holes and nut bolts studs for clamping the earth leads,all contained in MS PVC box of size 400mm x 200mm x 60mm | Nos | 0.000 | .00 | 0.00 | .00 | 10500.00 | .00 | 0.00 | .00
123 |  | Sub Total of 6.0 | Sub Total of 6.0
124 | 7 | Miscellaneous Item | Miscellaneous Item
125 | 7.1 | Supply Install. Of RG 6 TV Cable in existing 25mm PVC Conduit | Supply Install. Of RG 6 TV Cable in existing 25mm PVC Conduit | Mtr. | 0.000 | .00 | 0.00 | .00 | 110.00 | .00 | 0.00 | .00
126 | 7.2 | Supply Laying of RG11 use for Main Cable TV | Supply Laying of RG11 use for Main Cable TV | Mtr. | 0.000 | .00 | 0.00 | .00 | 105.00 | .00 | 0.00 | .00
127 | 7.3 | Install. Of TV Stand - Only Installation | Install. Of TV Stand - Only Installation | Nos. | 0.000 | .00 | 0.00 | .00 | 550.00 | .00 | 0.00 | .00
128 |  | Sub Total of 7.0 | Sub Total of 7.0
129 | 8 | FIRE DETECTION SYSTEM (ANALOGUE ADDRESSABLE) | FIRE DETECTION SYSTEM (ANALOGUE ADDRESSABLE)
130 |  | Note | Note
131 |  | The Main Fire Panel shall have 2 way communication. In case of fire signal all the access control doors shall deactivate. | The Main Fire Panel shall have 2 way communication. In case of fire signal all the access control doors shall deactivate.
132 |  | The access control doors will get de activated for people evacuation | The access control doors will get de activated for people evacuation
133 |  | Emergency evacuation message will pass through public address system | Emergency evacuation message will pass through public address system
134 |  | Dampers will get deactivated through the modules to close the air movement. | Dampers will get deactivated through the modules to close the air movement.
135 |  | Control Module for lift pressurization fans and ventilation fans to be actuated by Main Fire Alarm Panel. | Control Module for lift pressurization fans and ventilation fans to be actuated by Main Fire Alarm Panel.
136 | 8.1 | Supply, installation, connecting, testing and commissioning of addressable photoelectric type Smoke Detectors (AFC BFC) with mounting base, blinking LED etc. complete as required. | Supply, installation, connecting, testing and commissioning of addressable photoelectric type Smoke Detectors (AFC BFC) with mounting base, blinking LED etc. complete as required. | Nos. | 2.000 | 12,000.00 | 6000.00 | 12,000.00 | 7800.00 | 15,600.00 | 6000.00 | 12,000.00
137 | 8.2 | Supply, installation, connecting, testing and commissioning of addressable Type Multi Sensor Smoke Detectors with mounting base etc. complete as required. | Supply, installation, connecting, testing and commissioning of addressable Type Multi Sensor Smoke Detectors with mounting base etc. complete as required. | Nos. | 0.000 | .00 | 0.00 | .00 | 7200.00 | .00 | 0.00 | .00
138 | 8.3 | Supply, installation, connecting, testing and commissioning of addressable rate of rise cum fixed temperature Heat Detectors with mounting base, blinking LED etc. complete as required. | Supply, installation, connecting, testing and commissioning of addressable rate of rise cum fixed temperature Heat Detectors with mounting base, blinking LED etc. complete as required. | Nos. | 0.000 | .00 | 0.00 | .00 | 8100.00 | .00 | 0.00 | .00
139 | 8.4 | Supply, installation, connecting, testing and commissioning of Addressable Hooters cum strobe min. 80 db output and 110 candelas complete with control modules. The strobes shall be synchronised for better evacuation. | Supply, installation, connecting, testing and commissioning of Addressable Hooters cum strobe min. 80 db output and 110 candelas complete with control modules. The strobes shall be synchronised for better evacuation. | Nos. | 1.000 | 9,700.00 | 9700.00 | 9,700.00 | 9700.00 | 9,700.00 | 12000.00 | 12,000.00
140 | 8.5 | Supply, installation, connecting, testing and commissioning of Addressable Manual Call Box in ABS plastic as required complete. | Supply, installation, connecting, testing and commissioning of Addressable Manual Call Box in ABS plastic as required complete. | Nos. | 1.000 | 9,500.00 | 9500.00 | 9,500.00 | 9500.00 | 9,500.00 | 10000.00 | 10,000.00
141 | 8.6 | Supply, installation, connecting, testing and commissioning of addressable fault Isolator | Supply, installation, connecting, testing and commissioning of addressable fault Isolator | Nos. | 0.000 | .00 | 0.00 | .00 | 4500.00 | .00 | 0.00 | .00
142 | 8.7 | Supply, installation, connecting, testing and commissioning of addressable control module for HVAC Panel, Fire damper Electrical panel, PA system Access Control System | Supply, installation, connecting, testing and commissioning of addressable control module for HVAC Panel, Fire damper Electrical panel, PA system Access Control System | Nos. | 0.000 | .00 | 0.00 | .00 | 7600.00 | .00 | 0.00 | .00
143 | 8.9 | Supply, installation, connecting, testing and commissioning of addressable control module for Hooter | Supply, installation, connecting, testing and commissioning of addressable control module for Hooter | Nos. | 0.000 | .00 | 0.00 | .00 | 5100.00 | .00 | 0.00 | .00
144 | 8.1 | Supply, installation, connecting, testing and commissioning of addressable monitor module for integration of builder panel to main fire panel | Supply, installation, connecting, testing and commissioning of addressable monitor module for integration of builder panel to main fire panel | Nos. | 0.000 | .00 | 0.00 | .00 | 4950.00 | .00 | 0.00 | .00
145 | 8.11 | Supply, installation, connecting, testing and commissioning of addressable control module for integration of builder panel to main fire panel | Supply, installation, connecting, testing and commissioning of addressable control module for integration of builder panel to main fire panel | Nos. | 0.000 | .00 | 0.00 | .00 | 7650.00 | .00 | 0.00 | .00
146 | 8.12 | Supply,installation ,testing and commissioning of Microprocessor based 2 loop panel,Networkable analog addressable type fire alarm control panel with 640 character LCD display.The panel shall equiped with sufficient no. of loops,each loop shall have capac | Supply,installation ,testing and commissioning of Microprocessor based 2 loop panel,Networkable analog addressable type fire alarm control panel with 640 character LCD display.The panel shall equiped with sufficient no. of loops,each loop shall have capac |  | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
147 |  | Necessary Integration Facility with BMS for following functions - | Necessary Integration Facility with BMS for following functions - | Set | 0.000 | .00 | 0.00 | .00 | 140000.00 | .00 | 0.00 | .00
148 |  | Alarm, Trouble condition,Supervisory alerts to BMS | Alarm, Trouble condition,Supervisory alerts to BMS
149 |  | Share Graphics of Security, Fire and HVAC | Share Graphics of Security, Fire and HVAC
150 |  | Web Interface | Web Interface
151 |  | As the number of hooters are 43, additional power supplies to be provided as required. | As the number of hooters are 43, additional power supplies to be provided as required.
152 | 8.13 | Supply, Installation , Testing and commissioning of Fire Alarm Graphics Software (FAS) as per specifications. The PC will be provided by the IT team. The specifications will be provided by you for the same. | Supply, Installation , Testing and commissioning of Fire Alarm Graphics Software (FAS) as per specifications. The PC will be provided by the IT team. The specifications will be provided by you for the same. | Set | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
153 | 8.14 | Providing and fixing in position 1.2mm thick M.S. rectangular outlet boxes for housing smoke detectors heat detectors on the true Ceiling complete with all fixing accessories as required | Providing and fixing in position 1.2mm thick M.S. rectangular outlet boxes for housing smoke detectors heat detectors on the true Ceiling complete with all fixing accessories as required | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
154 | 8.15 | Supply laying of following grade with copper conductor armoured FIRE SURVIVAL cable with (EPR) Ethylene Propylene rubber insulation as per IEC-60502 2004 Part-1 (Armoured), Retain circuit integrity as per BS 6387 C.W.Z (armoured), BS 8434-2 2009 (arm | Supply laying of following grade with copper conductor armoured FIRE SURVIVAL cable with (EPR) Ethylene Propylene rubber insulation as per IEC-60502 2004 Part-1 (Armoured), Retain circuit integrity as per BS 6387 C.W.Z (armoured), BS 8434-2 2009 (arm
155 |  | 2 Core x 1.5 sq. mm | 2 Core x 1.5 sq. mm | RM | 15.000 | 1,950.00 | 130.00 | 1,950.00 | 140.00 | 2,100.00 | 130.00 | 1,950.00
156 |  | Sub Total of 8.0 | Sub Total of 8.0
157 | 9 | CCTV SYSTEM | CCTV SYSTEM
158 | 9.1 | Supply Installation of 2 Megapixel IR-20Mtr. IP Indoor Dome Camera (Make Honeywell Hikvision) | Supply Installation of 2 Megapixel IR-20Mtr. IP Indoor Dome Camera (Make Honeywell Hikvision) | Nos. | 2.000 | 15,000.00 | 7500.00 | 15,000.00 | 7500.00 | 15,000.00 | 9500.00 | 19,000.00
159 | 9.2 | Supply Installation of 16 Channel NVR with 4 Sata Hard Disk Slot (Make Honeywell Hikvision) | Supply Installation of 16 Channel NVR with 4 Sata Hard Disk Slot (Make Honeywell Hikvision) | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
160 | 9.2 | Supply Installation of 8 Channel NVR with 2 Sata Hard Disk Slot (Make Honeywell Hikvision) | Supply Installation of 8 Channel NVR with 2 Sata Hard Disk Slot (Make Honeywell Hikvision) | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
161 | 9.3 | Supply Installation of 24Port PoE Switch (Make Systimax) | Supply Installation of 24Port PoE Switch (Make Systimax) | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
162 | 9.4 | 4 TB HDD Hard Disk | 4 TB HDD Hard Disk | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
163 | 9.5 | Supply Installation of CAT-6 Cable for Camera Signal | Supply Installation of CAT-6 Cable for Camera Signal | Mtr. | 50.000 | 4,000.00 | 80.00 | 4,000.00 | 210.00 | 10,500.00 | 80.00 | 4,000.00
164 | 9.6 | Supply and laying of 25mm Dia. PVC Conduit complete with support brackets clamps, junction boxes etc. complete. | Supply and laying of 25mm Dia. PVC Conduit complete with support brackets clamps, junction boxes etc. complete. | Mtr. | 50.000 | 6,000.00 | 120.00 | 6,000.00 | 120.00 | 6,000.00 | 220.00 | 11,000.00
165 |  | Sub Total of 9.0 | Sub Total of 9.0
166 | 10 | TELEPHONE AND DATA DISTRIBUTION | TELEPHONE AND DATA DISTRIBUTION
167 | 11.1 | Supply laying indoors multipair 0.5mm dia copper PVC insulated and sheathed,armoured Unarmoured telephone CAT 5 cables on walls, ceiling, cable trays complete with clamps, cable markers etc. from MDF to the various tag blocks as specified | Supply laying indoors multipair 0.5mm dia copper PVC insulated and sheathed,armoured Unarmoured telephone CAT 5 cables on walls, ceiling, cable trays complete with clamps, cable markers etc. from MDF to the various tag blocks as specified
168 |  | 10 pair cable armoured Cable | 10 pair cable armoured Cable | Mtr. | 50.000 | 6,000.00 | 120.00 | 6,000.00 | 250.00 | 12,500.00 | 120.00 | 6,000.00
169 | 11.2 | Multipair cable end termination including brass glands compression nut, flat check nut soldering of connections on both sides of the tag block etc. as specified complete for | Multipair cable end termination including brass glands compression nut, flat check nut soldering of connections on both sides of the tag block etc. as specified complete for
170 |  | 10 pair cable armoured Cable | 10 pair cable armoured Cable | Each | 2.000 | 300.00 | 150.00 | 300.00 | 850.00 | 1,700.00 | 150.00 | 300.00
171 | 11.3 | Supply installation of telephone tag block with KRONE terminal connectors, G.I.J.B as specified complete with all interconnections and jumper connections between the two tag blocks on all floors as shown on drgs. | Supply installation of telephone tag block with KRONE terminal connectors, G.I.J.B as specified complete with all interconnections and jumper connections between the two tag blocks on all floors as shown on drgs.
172 |  | 10 pair tel. tag block | 10 pair tel. tag block | Nos. | 1.000 | 890.00 | 890.00 | 890.00 | 890.00 | 890.00 | 2400.00 | 2,400.00
173 | 11.4 | Supply installation of PVC RIGID conduits with junction boxes, reducer etc. complete concealed surface mounting as required. | Supply installation of PVC RIGID conduits with junction boxes, reducer etc. complete concealed surface mounting as required.
174 |  | 25 dia conduit | 25 dia conduit | Mtr. | 50.000 | 6,000.00 | 120.00 | 6,000.00 | 120.00 | 6,000.00 | 220.00 | 11,000.00
175 | 11.5 | Supply providing of CAT 6 UTP cables in the already laid raceways Conduits including terminations | Supply providing of CAT 6 UTP cables in the already laid raceways Conduits including terminations | Mtr. | 50.000 | 4,000.00 | 80.00 | 4,000.00 | 90.00 | 4,500.00 | 80.00 | 4,000.00
176 | 11.6 | Supply Installation of Single Face Plate. | Supply Installation of Single Face Plate. | Nos. | 10.000 | 1,000.00 | 100.00 | 1,000.00 | 750.00 | 7,500.00 | 100.00 | 1,000.00
177 | 11.7 | Supply Installation of Dual Face Plate. | Supply Installation of Dual Face Plate. | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
178 | 11.8 | Supply Installation of Quadra Face Plate. | Supply Installation of Quadra Face Plate. | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
179 | 11.9 | Supply Installation of I O DATA Outlet (RJ-45) | Supply Installation of I O DATA Outlet (RJ-45) | Nos. | 10.000 | 4,500.00 | 450.00 | 4,500.00 | 650.00 | 6,500.00 | 450.00 | 4,500.00
180 | 11.1 | Supply Installation of I O TELEPHONE Outlet (RJ-11) | Supply Installation of I O TELEPHONE Outlet (RJ-11) | Nos. | 10.000 | 4,000.00 | 400.00 | 4,000.00 | 550.00 | 5,500.00 | 400.00 | 4,000.00
181 | 11.11 | Installation of Wi-Fi Access Point | Installation of Wi-Fi Access Point | Nos. | 1.000 | 1,500.00 | 1500.00 | 1,500.00 | 1500.00 | 1,500.00 | 12000.00 | 12,000.00

## Technical Score Detail
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | Comp. Date : 04/03/2024 | Comp. Date : 04/03/2024 | Comp. Date : 04/03/2024 | Vendor Name : Dear Infra |  | Vendor Name : Arrow Electricals |  | Vendor Name : Electech Enterprises
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ #: R0207 | RFQ #: R0207 | RFQ #: R0207 | Contact Name : Rizwan/Rohit |  | Contact Name : |  | Contact Name :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ Date : 02/03/2024 12:55:23 | RFQ Date : 02/03/2024 12:55:23 | RFQ Date : 02/03/2024 12:55:23 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | BCD Date : 03/03/2024 16:45:00 | BCD Date : 03/03/2024 16:45:00 | BCD Date : 03/03/2024 16:45:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT | RFQ No: R0207 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | PR Number : TFSPL-2324-00280 | Email : rohit@dearinfra.in |  | Email : khakesantosh10@gmail.com |  | Email : alam@electechenterprises.net
Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Package / RFQ Name : Electrical for Delhi T1 BOH Spac | Round # : 5 (RFQ) |  | Round # : 5 (RFQ) |  | Round # : 5 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | Comp. # : 5 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | PR for Electrical for Delhi T1 BOH Space |  | NOS | 1.000 | 0.00 | 0.00
2 | 1 | DBs |  |  | 0.000 | 0.00 | 0.00
3 | 1.1 | Suply and installation of Four -Tier, Multi-Way, TPN, |  |  | 0.000 | 0.00 | 0.00
4 |  | Distribution Board for Lighting Power distribution, surface |  |  | 0.000 | 0.00 | 0.00
5 |  | mounted on wall, sheet metal fabricated,powder coated, |  |  | 0.000 | 0.00 | 0.00
6 |  | having dust-proof and vermin proof, gasketed and hinged |  |  | 0.000 | 0.00 | 0.00
7 |  | acrylic door with all internals such as DIN rails, neutral-link, |  |  | 0.000 | 0.00 | 0.00
8 |  | interconnected wiring complete with earthing lugs housing |  |  | 0.000 | 0.00 | 0.00
9 |  | switchgears (IP-43 with Metal Door) |  |  | 0.000 | 0.00 | 0.00
10 |  | LIGHTING POWER DB (6 way TPN DB) |  |  | 0.000 | 0.00 | 0.00
11 |  | a) 1 No., 32A, 4P MCB (INCOMER) |  |  | 0.000 | 0.00 | 0.00
12 |  | b) 1 No., 16A, 4P MCB (SUB INCOMER) |  |  | 0.000 | 0.00 | 0.00
13 |  | c) 3 Nos., 32A, DP, ELCB(30mA) Incomer(One per phase) |  |  | 0.000 | 0.00 | 0.00
14 |  | d) 12 Nos, 10A, SP, MCB outgoing |  |  | 0.000 | 0.00 | 0.00
15 |  | (Make Legrand-Ekinoxe Hager Schneider |  |  | 0.000 | 0.00 | 0.00
16 |  | Full Set as above |  | Set | 1.000 | 0.00 | 0.00
17 |  | UPS DB (12 way SPN) |  |  | 0.000 | 0.00 | 0.00
18 |  | a) 1 No., 32 A DP RCBO |  |  | 0.000 | 0.00 | 0.00
19 |  | b) 10 Nos, 16A, SP, MCB outgoing |  |  | 0.000 | 0.00 | 0.00
20 |  | (Make Legrand-Ekinoxe Hager Schneider |  |  | 0.000 | 0.00 | 0.00
21 |  | Full Set as above |  | Set | 1.000 | 0.00 | 0.00
22 |  | Sub Total of 1.0 |  |  | 0.000 | 0.00 | 0.00
23 | 2 | CABLES |  |  | 0.000 | 0.00 | 0.00
24 | 2.1 | S I of 1100V grade armoured unarmoured flexible cable |  |  | 0.000 | 0.00 | 0.00
25 |  | having sector circular shaped Aluminum copper conductor, |  |  | 0.000 | 0.00 | 0.00
26 |  | XLPE insulated cores, laid up, PVC tape wrapped, |  |  | 0.000 | 0.00 | 0.00
27 |  | inner sheathed, GI strip wire armoured and overall |  |  | 0.000 | 0.00 | 0.00
28 |  | extruded FRLS PVC sheathed confirming to IS IS 1554 IS 7098 |  |  | 0.000 | 0.00 | 0.00
29 |  | IS 694, laid on Cable Trays wall ceiling including the |  |  | 0.000 | 0.00 | 0.00
30 |  | clamps spacers required as per route in the drawing and |  |  | 0.000 | 0.00 | 0.00
31 |  | further as directed at site in the following sizes |  |  | 0.000 | 0.00 | 0.00
32 |  | 3R x 1C x 4 Sq.mm, Copper, Flexible, Bunched together - FROM UPS TO UPSDB |  | mtr. | 15.000 | 0.00 | 0.00
33 |  | 4 C x 6 Sq.mm, Copper, Armoured cable - FOR LPDB |  | mtr. | 35.000 | 0.00 | 0.00
34 |  | 4 C x 2.5Sq.mm, Copper, Armoured cable - FOR AHU |  | mtr. | 25.000 | 0.00 | 0.00
35 |  | 3 C x 4.0Sq.mm, Copper, Armoured cable- FROM LPDB TO UPS |  | mtr. | 15.000 | 0.00 | 0.00
36 |  | 3 C x 2.5 Sq.mm, Copper, Armoured cable FOR ELV SERVICES |  | mtr. | 20.000 | 0.00 | 0.00
37 | 2.2 | S I of End Termination of above mentioned cables |  |  | 0.000 | 0.00 | 0.00
38 |  | including compressed type brass gland, crimping type |  |  | 0.000 | 0.00 | 0.00
39 |  | copper lugs, insulation tape etc. as required complete |  |  | 0.000 | 0.00 | 0.00
40 |  | with earthing of glands where ever required |  |  | 0.000 | 0.00 | 0.00
41 |  | 3R x 1C x 4 Sq.mm, Copper, Flexible, Bunched together - FROM UPS TO UPSDB |  | Nos | 2.000 | 0.00 | 0.00
42 |  | 4 C x 6 Sq.mm, Copper, Armoured cable - FOR LPDB |  | Nos | 2.000 | 0.00 | 0.00
43 |  | 4 C x 2.5Sq.mm, Copper, Armoured cable - FOR AHU |  | Nos | 2.000 | 0.00 | 0.00
44 |  | 3 C x 4.0Sq.mm, Copper, Armoured cable- FROM LPDB TO UPS |  | Nos | 2.000 | 0.00 | 0.00
45 |  | 3 C x 2.5 Sq.mm, Copper, Armoured cable FOR ELV SERVICES |  | Nos | 2.000 | 0.00 | 0.00
46 |  | Sub Total of 2.0 |  |  | 0.000 | 0.00 | 0.00
47 | 3 | POINT WIRING |  |  | 0.000 | 0.00 | 0.00
48 | 3.1 | Supply Installation of concealed point wiring using 1100V grade 2.5 sqmm copper conductor PVC insulated wires (with proper R,Y,B color code ) pulled through PVC MMS conduits (including flexible conduits for drops to light fittings) laid concealed over |  |  | 0.000 | 0.00 | 0.00
49 |  | Wiring for the Primary light points with 3 x 2.5 Sq.mm FRLS PVC insulated stranded copper conductor wires in PVC conduits in F.ceiling walls ceiling as direc­ted from Distribution Board to Switch Board including providing 6 amps flush type switches, 5 |  | Mtr. | 20.000 | 0.00 | 0.00
50 |  | Wiring with 3R x 1.5 Sq.mm for 5A Plug points on wall skirting etc. for general purpose through existing Raceway (Circuit shall be taken from the PDBs . Only 4 points looped in one circuit) (Conduits shall be paid separately) |  | Mtr. | 50.000 | 0.00 | 0.00
51 |  | Wiring with 3R x 2.5 Sq.mm for 15A Plug points on wall skirting etc. for general purpose through existing Raceway (Circuit shall be taken from the PDBs . Only 4 points looped in one circuit) (Conduits shall be paid separately) |  | Mtr. | 25.000 | 0.00 | 0.00
52 |  | S I of point wiring for Computer Power plug points on |  | Mtr. | 25.000 | 0.00 | 0.00
53 |  | workstations table for computers using 3C X 2.5 Sqmm |  |  | 0.000 | 0.00 | 0.00
54 |  | copper conductor PVC sheathed white color flexible cable |  |  | 0.000 | 0.00 | 0.00
55 |  | pulled through already laid floor raceways and taken |  |  | 0.000 | 0.00 | 0.00
56 |  | upto table top using metal rigid or flexible conduits run within |  |  | 0.000 | 0.00 | 0.00
57 |  | partitions.Each point consisting of 3 nos.of international |  |  | 0.000 | 0.00 | 0.00
58 |  | sockets controlled by 1no 16A, switch located below the table |  |  | 0.000 | 0.00 | 0.00
59 |  | wired together forming one point including back-boxes. |  |  | 0.000 | 0.00 | 0.00
60 |  | The earth wire of 3 core flexible cable to be of yellow-green color |  |  | 0.000 | 0.00 | 0.00
61 |  | only. Cost to include white colour flexible cable |  |  | 0.000 | 0.00 | 0.00
62 |  | + flex conduit. Each table to be taken as one point. |  |  | 0.000 | 0.00 | 0.00
63 |  | (Max. 4 6 tables served by one circiut from UPSDB) |  |  | 0.000 | 0.00 | 0.00
64 | 3.2 | S I of 5A Raw,Power point wiring for points on workstations table for Mobile charger using 3C X 1.5 Sqmm copper conductor PVC sheathed Black color flexible cable pulled through already laid floor raceways and taken upto table top using PVC rigid or |  | Mtr. | 25.000 | 0.00 | 0.00
65 | 3.3 | S I of PVC conduits including all |  |  | 0.000 | 0.00 | 0.00
66 |  | accessories, clamps, spacers, bends, tee, cross etc. |  |  | 0.000 | 0.00 | 0.00
67 |  | as required at site for miscellaneous use in following sizes |  |  | 0.000 | 0.00 | 0.00
68 |  | 20mm dia |  | Mtr | 0.000 | 0.00 | 0.00
69 |  | 25mm dia |  | Mtr | 50.000 | 0.00 | 0.00
70 | 3.4 | S I of flexible PVC conduits including all |  |  | 0.000 | 0.00 | 0.00
71 |  | accessories, clamps, spacers, end adopters (Glands) etc. |  |  | 0.000 | 0.00 | 0.00
72 |  | as required at site in following sizes |  |  | 0.000 | 0.00 | 0.00
73 |  | 20mm dia |  | Mtr | 0.000 | 0.00 | 0.00
74 |  | 25mm dia |  | Mtr | 50.000 | 0.00 | 0.00
75 | 3.5 | Supply, Installation testing and commission of 240V-AC, wiring devices and its accessories such as modular type switch socket outlets with modular front plate, modular box, G.I. back box and all required accessories etc. Supply Installation scope includ |  |  | 0.000 | 0.00 | 0.00
76 | 1 | 6A One way plate type switch (Provision) |  | Nos. | 7.000 | 0.00 | 0.00
77 | 2 | 6A 5pin switch socket outlet (Raw power UPS) |  | Nos. | 10.000 | 0.00 | 0.00
78 | 3 | 3 nos. 6 13A Flat pin Universal socket 1no. 16A switch with indicatior (UPS power) |  | Sets | 7.000 | 0.00 | 0.00
79 | 4 | 13A Flat pin Universal switch socket outlet ( Raw Power UPS ) |  | Nos. | 0.000 | 0.00 | 0.00
80 | 5 | 6 16A switch socket outlet ( Raw Power UPS ) |  | Nos. | 5.000 | 0.00 | 0.00
81 | 6 | 6 16A switch socket outlet with indication ( Raw Power UPS) |  | Nos. | 5.000 | 0.00 | 0.00
82 | 7 | data cum telephone back GI BACK box 2”x2” suitable for data socket |  | Nos. | 15.000 | 0.00 | 0.00
83 |  | Sub Total of 3.0 |  |  | 0.000 | 0.00 | 0.00
84 | 4 | RACEWAYS CABLE TRAYS |  |  | 0.000 | 0.00 | 0.00
85 | 4.1 | S I of trunking same as above but of size 100mm x 38mm |  | Mtr | 0.000 | 0.00 | 0.00
86 |  | x1.6 mm for power data cables. |  |  | 0.000 | 0.00 | 0.00
87 |  | (PROFAB ASIAN Approved equivalent) |  |  | 0.000 | 0.00 | 0.00
88 | 4.2 | S I of trunking same as above but of size 68mm x 38mm |  | Mtr | 50.000 | 0.00 | 0.00
89 |  | x1.6 mm thick for power data cables. |  |  | 0.000 | 0.00 | 0.00
90 |  | (PROFAB ASIAN Approved equivalent) |  |  | 0.000 | 0.00 | 0.00
91 | 4.3 | S I of floor raceways similar to above but consisting 1 Run x 25mm dia, PVC Conduit pipe medium guage |  | Mtr | 0.000 | 0.00 | 0.00
92 | 4.4 | S I of floor junction boxes similar to above but size 450mm x 450mm x 60 mm |  | Nos | 0.000 | 0.00 | 0.00
93 | 4.5 | S I of floor junction boxes similar to above but size 350mm x 350mm x 60 mm |  | Nos | 0.000 | 0.00 | 0.00
94 | 4.6 | S I of floor junction boxes similar to above but size 250mm x 250mm x 60 mm |  | Nos | 0.000 | 0.00 | 0.00
95 | 4.7 | S I of floor junction boxes similar to above but size 150mm x 150mm x 60 mm |  | Nos | 0.000 | 0.00 | 0.00
96 | 4.8 | S I of GI Pregalvanizd Perforated type Cable Tay |  |  | 0.000 | 0.00 | 0.00
97 |  | of following sizes suspended from ceiling or fixed |  |  | 0.000 | 0.00 | 0.00
98 |  | vertically on wall column as per route directed at site |  |  | 0.000 | 0.00 | 0.00
99 |  | including all necessary bends, tees, crosses and also |  |  | 0.000 | 0.00 | 0.00
100 |  | including all necessary supporting arrangement. |  |  | 0.000 | 0.00 | 0.00
101 |  | All supporting hardware including nuts, bolts etc. |  |  | 0.000 | 0.00 | 0.00
102 |  | shall be also of galvanised M.S. as approved |  |  | 0.000 | 0.00 | 0.00
103 |  | (PROFAB INDIANA ASIAN approved equivalent) |  |  | 0.000 | 0.00 | 0.00
104 |  | 100mm x 50mm X 1.6mm |  | Mtr | 0.000 | 0.00 | 0.00
105 |  | 300mm x 50mm x1.6mm |  | Mtr | 0.000 | 0.00 | 0.00
106 |  | 450mm x 75mm x 2.0mm |  | Mtr | 0.000 | 0.00 | 0.00
107 |  | Sub Total of 4.0 |  |  | 0.000 | 0.00 | 0.00
108 | 5 | LIGHT FIXTURES CONTROLS |  |  | 0.000 | 0.00 | 0.00
109 | 5.1 | Providing Installation of lighting fixtures with lamps as per the details below including necessary hardware such as clamps, nuts, bolts, nails screws and suspension rods as required for fixing the fixtures in position as directed by architect consul |  |  | 0.000 | 0.00 | 0.00
110 |  | TUBE LIGHT |  | Nos | 12.000 | 0.00 | 0.00
111 |  | Sub Total of 5.0 |  |  | 0.000 | 0.00 | 0.00
112 | 6 | EARTHING |  |  | 0.000 | 0.00 | 0.00
113 | 6.1 | S I of earth pit comprising of specially designed SEE Ashlok brand Earth Electrode system 3.00 meter long including necessary materials like side fill compound etc. as required with standard brick masonary chamber with hinged cover and watering arra |  | Nos | 0.000 | 0.00 | 0.00
114 | 6.2 | S I of copper GI earthing wires strips in following sizes |  |  | 0.000 | 0.00 | 0.00
115 | 6.3 | 8 SWG copper bare wire |  | Mtr | 0.000 | 0.00 | 0.00
116 | 6.4 | 12 SWG copper bare wire |  | Mtr | 0.000 | 0.00 | 0.00
117 | 6.5 | 25mm x 5mm thick GI strip welded painted green |  | Mtr | 50.000 | 0.00 | 0.00
118 | 6.6 | S I of isolated dedicated earthing grounding system for computers etc.using insulated green-yellow copper earthing wire laid fixed bare on wall ceiling from separately made earth pit to the equipment in following sizes |  |  | 0.000 | 0.00 | 0.00
119 |  | 70 Sqmm copper, yellow-green green insulation |  | Mtr | 0.000 | 0.00 | 0.00
120 | 6.7 | S I of Crimp type copper lugs for the above earth |  |  | 0.000 | 0.00 | 0.00
121 |  | wires in sizes |  |  | 0.000 | 0.00 | 0.00
122 |  | 50 70 sqmm |  | Nos | 0.000 | 0.00 | 0.00
123 | 6.8 | S I of Main bus for isolated earth comprising of 300mm x 50 mm x 6mm thick Tinned copper bar fixed on insulated support and having 30 nos of holes and nut bolts studs for clamping the earth leads,all contained in MS PVC box of size 400mm x 200mm x 60mm |  | Nos | 0.000 | 0.00 | 0.00
124 |  | Sub Total of 6.0 |  |  | 0.000 | 0.00 | 0.00
125 | 7 | Miscellaneous Item |  |  | 0.000 | 0.00 | 0.00
126 | 7.1 | Supply Install. Of RG 6 TV Cable in existing 25mm PVC Conduit |  | Mtr. | 0.000 | 0.00 | 0.00
127 | 7.2 | Supply Laying of RG11 use for Main Cable TV |  | Mtr. | 0.000 | 0.00 | 0.00
128 | 7.3 | Install. Of TV Stand - Only Installation |  | Nos. | 0.000 | 0.00 | 0.00
129 |  | Sub Total of 7.0 |  |  | 0.000 | 0.00 | 0.00
130 | 8 | FIRE DETECTION SYSTEM (ANALOGUE ADDRESSABLE) |  |  | 0.000 | 0.00 | 0.00
131 |  | Note |  |  | 0.000 | 0.00 | 0.00
132 |  | The Main Fire Panel shall have 2 way communication. In case of fire signal all the access control doors shall deactivate. |  |  | 0.000 | 0.00 | 0.00
133 |  | The access control doors will get de activated for people evacuation |  |  | 0.000 | 0.00 | 0.00
134 |  | Emergency evacuation message will pass through public address system |  |  | 0.000 | 0.00 | 0.00
135 |  | Dampers will get deactivated through the modules to close the air movement. |  |  | 0.000 | 0.00 | 0.00
136 |  | Control Module for lift pressurization fans and ventilation fans to be actuated by Main Fire Alarm Panel. |  |  | 0.000 | 0.00 | 0.00
137 | 8.1 | Supply, installation, connecting, testing and commissioning of addressable photoelectric type Smoke Detectors (AFC BFC) with mounting base, blinking LED etc. complete as required. |  | Nos. | 2.000 | 0.00 | 0.00
138 | 8.2 | Supply, installation, connecting, testing and commissioning of addressable Type Multi Sensor Smoke Detectors with mounting base etc. complete as required. |  | Nos. | 0.000 | 0.00 | 0.00
139 | 8.3 | Supply, installation, connecting, testing and commissioning of addressable rate of rise cum fixed temperature Heat Detectors with mounting base, blinking LED etc. complete as required. |  | Nos. | 0.000 | 0.00 | 0.00
140 | 8.4 | Supply, installation, connecting, testing and commissioning of Addressable Hooters cum strobe min. 80 db output and 110 candelas complete with control modules. The strobes shall be synchronised for better evacuation. |  | Nos. | 1.000 | 0.00 | 0.00
141 | 8.5 | Supply, installation, connecting, testing and commissioning of Addressable Manual Call Box in ABS plastic as required complete. |  | Nos. | 1.000 | 0.00 | 0.00
142 | 8.6 | Supply, installation, connecting, testing and commissioning of addressable fault Isolator |  | Nos. | 0.000 | 0.00 | 0.00
143 | 8.7 | Supply, installation, connecting, testing and commissioning of addressable control module for HVAC Panel, Fire damper Electrical panel, PA system Access Control System |  | Nos. | 0.000 | 0.00 | 0.00
144 | 8.9 | Supply, installation, connecting, testing and commissioning of addressable control module for Hooter |  | Nos. | 0.000 | 0.00 | 0.00
145 | 8.1 | Supply, installation, connecting, testing and commissioning of addressable monitor module for integration of builder panel to main fire panel |  | Nos. | 0.000 | 0.00 | 0.00
146 | 8.11 | Supply, installation, connecting, testing and commissioning of addressable control module for integration of builder panel to main fire panel |  | Nos. | 0.000 | 0.00 | 0.00
147 | 8.12 | Supply,installation ,testing and commissioning of Microprocessor based 2 loop panel,Networkable analog addressable type fire alarm control panel with 640 character LCD display.The panel shall equiped with sufficient no. of loops,each loop shall have capac |  |  | 0.000 | 0.00 | 0.00
148 |  | Necessary Integration Facility with BMS for following functions - |  | Set | 0.000 | 0.00 | 0.00
149 |  | Alarm, Trouble condition,Supervisory alerts to BMS |  |  | 0.000 | 0.00 | 0.00
150 |  | Share Graphics of Security, Fire and HVAC |  |  | 0.000 | 0.00 | 0.00
151 |  | Web Interface |  |  | 0.000 | 0.00 | 0.00
152 |  | As the number of hooters are 43, additional power supplies to be provided as required. |  |  | 0.000 | 0.00 | 0.00
153 | 8.13 | Supply, Installation , Testing and commissioning of Fire Alarm Graphics Software (FAS) as per specifications. The PC will be provided by the IT team. The specifications will be provided by you for the same. |  | Set | 0.000 | 0.00 | 0.00
154 | 8.14 | Providing and fixing in position 1.2mm thick M.S. rectangular outlet boxes for housing smoke detectors heat detectors on the true Ceiling complete with all fixing accessories as required |  | Nos | 0.000 | 0.00 | 0.00
155 | 8.15 | Supply laying of following grade with copper conductor armoured FIRE SURVIVAL cable with (EPR) Ethylene Propylene rubber insulation as per IEC-60502 2004 Part-1 (Armoured), Retain circuit integrity as per BS 6387 C.W.Z (armoured), BS 8434-2 2009 (arm |  |  | 0.000 | 0.00 | 0.00
156 |  | 2 Core x 1.5 sq. mm |  | RM | 15.000 | 0.00 | 0.00
157 |  | Sub Total of 8.0 |  |  | 0.000 | 0.00 | 0.00
158 | 9 | CCTV SYSTEM |  |  | 0.000 | 0.00 | 0.00
159 | 9.1 | Supply Installation of 2 Megapixel IR-20Mtr. IP Indoor Dome Camera (Make Honeywell Hikvision) |  | Nos. | 2.000 | 0.00 | 0.00
160 | 9.2 | Supply Installation of 16 Channel NVR with 4 Sata Hard Disk Slot (Make Honeywell Hikvision) |  | Nos. | 0.000 | 0.00 | 0.00
161 | 9.2 | Supply Installation of 8 Channel NVR with 2 Sata Hard Disk Slot (Make Honeywell Hikvision) |  | Nos. | 0.000 | 0.00 | 0.00
162 | 9.3 | Supply Installation of 24Port PoE Switch (Make Systimax) |  | Nos. | 0.000 | 0.00 | 0.00
163 | 9.4 | 4 TB HDD Hard Disk |  | Nos. | 0.000 | 0.00 | 0.00
164 | 9.5 | Supply Installation of CAT-6 Cable for Camera Signal |  | Mtr. | 50.000 | 0.00 | 0.00
165 | 9.6 | Supply and laying of 25mm Dia. PVC Conduit complete with support brackets clamps, junction boxes etc. complete. |  | Mtr. | 50.000 | 0.00 | 0.00
166 |  | Sub Total of 9.0 |  |  | 0.000 | 0.00 | 0.00
167 | 10 | TELEPHONE AND DATA DISTRIBUTION |  |  | 0.000 | 0.00 | 0.00
168 | 11.1 | Supply laying indoors multipair 0.5mm dia copper PVC insulated and sheathed,armoured Unarmoured telephone CAT 5 cables on walls, ceiling, cable trays complete with clamps, cable markers etc. from MDF to the various tag blocks as specified |  |  | 0.000 | 0.00 | 0.00
169 |  | 10 pair cable armoured Cable |  | Mtr. | 50.000 | 0.00 | 0.00
170 | 11.2 | Multipair cable end termination including brass glands compression nut, flat check nut soldering of connections on both sides of the tag block etc. as specified complete for |  |  | 0.000 | 0.00 | 0.00
171 |  | 10 pair cable armoured Cable |  | Each | 2.000 | 0.00 | 0.00
172 | 11.3 | Supply installation of telephone tag block with KRONE terminal connectors, G.I.J.B as specified complete with all interconnections and jumper connections between the two tag blocks on all floors as shown on drgs. |  |  | 0.000 | 0.00 | 0.00
173 |  | 10 pair tel. tag block |  | Nos. | 1.000 | 0.00 | 0.00
174 | 11.4 | Supply installation of PVC RIGID conduits with junction boxes, reducer etc. complete concealed surface mounting as required. |  |  | 0.000 | 0.00 | 0.00
175 |  | 25 dia conduit |  | Mtr. | 50.000 | 0.00 | 0.00
176 | 11.5 | Supply providing of CAT 6 UTP cables in the already laid raceways Conduits including terminations |  | Mtr. | 50.000 | 0.00 | 0.00
177 | 11.6 | Supply Installation of Single Face Plate. |  | Nos. | 10.000 | 0.00 | 0.00
178 | 11.7 | Supply Installation of Dual Face Plate. |  | Nos. | 0.000 | 0.00 | 0.00
179 | 11.8 | Supply Installation of Quadra Face Plate. |  | Nos. | 0.000 | 0.00 | 0.00
180 | 11.9 | Supply Installation of I O DATA Outlet (RJ-45) |  | Nos. | 10.000 | 0.00 | 0.00
181 | 11.1 | Supply Installation of I O TELEPHONE Outlet (RJ-11) |  | Nos. | 10.000 | 0.00 | 0.00
182 | 11.11 | Installation of Wi-Fi Access Point |  | Nos. | 1.000 | 0.00 | 0.00