## Price Comparison
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | Comp. Date : 13/03/2024 | Comp. Date : 13/03/2024 | Comp. Date : 13/03/2024 | Vendor Name : Arrow Electrical (T051604) | [5 empty] | Vendor Name : Best Enterprises (RV232422519) | [5 empty] | Vendor Name : Best Enterprises (RV232415979) | [5 empty] | Vendor Name : Electech Enterprises (RV232422514) | [5 empty] | Vendor Name : FL Group (RV232422484)
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ #: R0373 | RFQ #: R0373 | RFQ #: R0373 | Contact Name : Alam Khan | [5 empty] | Contact Name : Ashok | [5 empty] | Contact Name : ELUMALAI ASHOKKUMAR | [5 empty] | Contact Name : Alam | [5 empty] | Contact Name : Julia
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ Date : 12/03/2024 12:45:04 | RFQ Date : 12/03/2024 12:45:04 | RFQ Date : 12/03/2024 12:45:04 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | Email : project.arrowelectricals@gmail.com | [5 empty] | Email : bestenter2016@gmail.com | [5 empty] | Email : bestenter2016@Gmail.com | [5 empty] | Email : alam@electechenterprises.net | [5 empty] | Email : julia.roberts@flgroup.in
Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Round # : 9 (Auction) | [5 empty] | Round # : 9 (Auction) | [5 empty] | Round # : 9 (Auction) | [5 empty] | Round # : 9 (Auction) | [5 empty] | Round # : 9 (Auction)
Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Buyer : Mrunal Joshi / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | Electrical | NOS | 1.00 |  | 622000.00 | Best Enterprises , Best Enterprises | 542540.00 | 0.00 | 0.00 |  | 656,750.00 | 656,750.00 | 622000.00 | 0.00 | 0.00 |  | 622,000.00 | 622,000.00 | 622000.00 | 0.00 | 0.00 |  | 622,000.00 | 622,000.00 | 443430.00 | 0.00 | 0.00 |  | 637,280.00 | 637,280.00 | 667314.00 | 0.00 | 0.00 |  | 667,314.00 | 667,314.00
Item Total | [8 empty] | .00 | .00 |  |  | 656,750.00 |  | .00 | .00 |  |  | 622,000.00 |  | .00 | .00 |  |  | 622,000.00 |  | .00 | .00 |  |  | 637,280.00 |  | .00 | .00 |  |  | 667,314.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | .00 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | .00
Net Landed Cost | [11 empty] | INR | 656,750.00 |  |  |  |  | INR | 622,000.00 |  |  |  |  | INR | 622,000.00 |  |  |  |  | INR | 637,280.00 |  |  |  |  | INR | 667,314.00
Vendor Status | [7 empty] | Round # : 9 (Auction) | Round # : 9 (Auction)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232422514 | Electech Enterprises | [5 empty] | Participate
2 | T051604 | Arrow Electrical | [5 empty] | Participate
3 | RV232422484 | FL Group | [5 empty] | Participate
4 | RV232416226 | Shah Enterprises | [5 empty] | Not Participate
5 | RV232422519 | Best Enterprises | [5 empty] | Participate
6 | RV232415979 | Best Enterprises | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | Comp. Date : 13/03/2024 | Comp. Date : 13/03/2024 | Comp. Date : 13/03/2024 | Vendor Name : Arrow Electrical | Vendor Name : Arrow Electrical | Vendor Name : Best Enterprises | Vendor Name : Best Enterprises | Vendor Name : Best Enterprises | Vendor Name : Best Enterprises | Vendor Name : Electech Enterprises | Vendor Name : Electech Enterprises | Vendor Name : FL Group | Vendor Name : FL Group
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ #: R0373 | RFQ #: R0373 | RFQ #: R0373 | Contact Name : Alam Khan | Contact Name : Alam Khan | Contact Name : Ashok | Contact Name : Ashok | Contact Name : ELUMALAI ASHOKKUMAR | Contact Name : ELUMALAI ASHOKKUMAR | Contact Name : Alam | Contact Name : Alam | Contact Name : Julia | Contact Name : Julia
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ Date : 12/03/2024 12:45:04 | RFQ Date : 12/03/2024 12:45:04 | RFQ Date : 12/03/2024 12:45:04 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | Email : project.arrowelectricals@gmail.com | Email : project.arrowelectricals@gmail.com | Email : bestenter2016@gmail.com | Email : bestenter2016@gmail.com | Email : bestenter2016@Gmail.com | Email : bestenter2016@Gmail.com | Email : alam@electechenterprises.net | Email : alam@electechenterprises.net | Email : julia.roberts@flgroup.in | Email : julia.roberts@flgroup.in
Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction) | Round # : 9 (Auction)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | Electrical | Electrical | NOS | 1.000 |  |  | 656,750.00 |  | 622,000.00 |  | 622,000.00 |  | 637,280.00 |  | 667,314.00
1 | A | ELECTRICAL | ELECTRICAL
2 |  | Notes | Notes
3 |  | All materials and workman ship shall be to standards consultants approval and shall comply with Local electrical rules Electrical Inspectorate. | All materials and workman ship shall be to standards consultants approval and shall comply with Local electrical rules Electrical Inspectorate.
4 |  | Colour conduits should be used for data, raw power, UPS access control as listed below coding | Colour conduits should be used for data, raw power, UPS access control as listed below coding
5 |  | Data - Grey | Data - Grey
6 |  | Raw Power and Lighting - Blue | Raw Power and Lighting - Blue
7 |  | UPS - Black | UPS - Black
8 |  | All Civil work required for the electrical work such as chipping of walls, floor, etc and rough plastering with chicken mesh shall be deemed included. | All Civil work required for the electrical work such as chipping of walls, floor, etc and rough plastering with chicken mesh shall be deemed included.
9 | 1 | MV Cables | MV Cables
10 | 1.1 | Copper Cables | Copper Cables
11 |  | Supplying, laying, testing and commissioning of YY YFY insulated PVC sheathed, Cu. conductor steel armoured 1100V grade cable. The cable shall be laid underground OR on wall in pipe trench as required as per site condition. For cables laid underground | Supplying, laying, testing and commissioning of YY YFY insulated PVC sheathed, Cu. conductor steel armoured 1100V grade cable. The cable shall be laid underground OR on wall in pipe trench as required as per site condition. For cables laid underground
12 |  | Standards applicable For below cable | Standards applicable For below cable
13 |  | YY YFY AYFY - IS 1554 PART I | YY YFY AYFY - IS 1554 PART I
14 | 1.1 | Armoured type Copper cables | Armoured type Copper cables
15 | 1.1.2 | 3.5C X 35 Sq.mm Aluminium Armour Cable | 3.5C X 35 Sq.mm Aluminium Armour Cable | Mtr | 70.000 | 29,820.00 | 510.00 | 35,700.00 | 465.00 | 32,550.00 | 465.00 | 32,550.00 | 1050.00 | 73,500.00 | 426.00 | 29,820.00
16 | 1.2 | PVC Cable End Termination | PVC Cable End Termination
17 |  | Providing and termination for the below listed cross | Providing and termination for the below listed cross
18 |  | section cable with single compression brass glands, | section cable with single compression brass glands,
19 |  | solderless tinned Cu crimping type lugs, gland earthing, | solderless tinned Cu crimping type lugs, gland earthing,
20 |  | etc., complete. | etc., complete.
21 |  | Armoured type Copper cables | Armoured type Copper cables
22 | 2 | MAIN INCOMER ISOLATOR BOX | MAIN INCOMER ISOLATOR BOX
23 |  | Supply, Erection and commissioning of Cubical type dust and vermin proof free standing floor mounting panel board as per technical specifications and drawing consisting of the following complete with all interconnections, painting and control wiring etc., | Supply, Erection and commissioning of Cubical type dust and vermin proof free standing floor mounting panel board as per technical specifications and drawing consisting of the following complete with all interconnections, painting and control wiring etc.,
24 | 2.1 | Incomer | Incomer | Nos | 1.000 | .00 | 75000.00 | 75,000.00 | 0.00 | .00 | 0.00 | .00 | 115000.00 | 115,000.00 | 152766.00 | 152,766.00
25 |  | 100A 4P 36kA MCCB(Microprocessor based) - 1 No | 100A 4P 36kA MCCB(Microprocessor based) - 1 No
26 |  | Out going | Out going
27 |  | 100A 4P ISOLATOR - 1 No | 100A 4P ISOLATOR - 1 No
28 |  | 32A 4P ISOLATOR - 2 No | 32A 4P ISOLATOR - 2 No
29 |  | Bus bar 1 set TPN AL bus bar suitably rated for 125A. | Bus bar 1 set TPN AL bus bar suitably rated for 125A.
30 | 3 | DISTRIBUTION BOARDS | DISTRIBUTION BOARDS
31 |  | S I T C of surface mounting flush mounting 10kA phase segregated TPN MCB distribution boards (MCB DB). The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate with knock out at the top bottom. | S I T C of surface mounting flush mounting 10kA phase segregated TPN MCB distribution boards (MCB DB). The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate with knock out at the top bottom.
32 |  | The RCCB RCBO shall be Hpi Si series MCBs shall be C Curve for UPS DBs (UDB) and C Curve for other application. | The RCCB RCBO shall be Hpi Si series MCBs shall be C Curve for UPS DBs (UDB) and C Curve for other application.
33 | 3.1 | 8way SPN DB with 25A DP RCBO 100mA as incomer, and outgoings-10A-5Nos. SP C curve MCB and 16A-1Nos. SP C curve MCB as outgoings as per SLD drawing. | 8way SPN DB with 25A DP RCBO 100mA as incomer, and outgoings-10A-5Nos. SP C curve MCB and 16A-1Nos. SP C curve MCB as outgoings as per SLD drawing. | Nos | 1.000 | 8,234.00 | 11000.00 | 11,000.00 | 9600.00 | 9,600.00 | 9600.00 | 9,600.00 | 11000.00 | 11,000.00 | 8234.00 | 8,234.00
34 | 3.2 | 12way VTPN MCCB DB with 100A 4P MCCB as incomer, and outgoings- 36nos. 10 16 20A SP C curve MCB-25nos,25A DP MCB-1nos,20A TP MCB-3nos.as outgoings as per SLD drawing. | 12way VTPN MCCB DB with 100A 4P MCCB as incomer, and outgoings- 36nos. 10 16 20A SP C curve MCB-25nos,25A DP MCB-1nos,20A TP MCB-3nos.as outgoings as per SLD drawing. | Nos | 1.000 | 16,500.00 | 45000.00 | 45,000.00 | 16500.00 | 16,500.00 | 16500.00 | 16,500.00 | 45000.00 | 45,000.00 | 38939.00 | 38,939.00
35 | 4 | CIRCUIT MAINS | CIRCUIT MAINS
36 |  | Supply and laying of sub circuit mains using 2mm thick MS conduit, access- ories like pvc bends, M.S junction boxes, GI cleat and saddles etc., 660 1100V grade FRLS flexible copper wires and wiring accessories, terminating wires on either ends by prov | Supply and laying of sub circuit mains using 2mm thick MS conduit, access- ories like pvc bends, M.S junction boxes, GI cleat and saddles etc., 660 1100V grade FRLS flexible copper wires and wiring accessories, terminating wires on either ends by prov
37 |  | The rate shall include grooving of walls, floors chipping, rough plastering, providing MS brackets for conduit suspension. Circuit mains shall be measured from DB to switch board and looping from switch board to switch board | The rate shall include grooving of walls, floors chipping, rough plastering, providing MS brackets for conduit suspension. Circuit mains shall be measured from DB to switch board and looping from switch board to switch board
38 | 4.1 | 3C x 6.0 qmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | 3C x 6.0 qmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | Mtr | 40.000 | 11,200.00 | 280.00 | 11,200.00 | 365.00 | 14,600.00 | 365.00 | 14,600.00 | 350.00 | 14,000.00 | 322.00 | 12,880.00
39 | 4.2 | 3C x 4.0 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | 3C x 4.0 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | Mtr | 90.000 | 19,710.00 | 350.00 | 31,500.00 | 285.00 | 25,650.00 | 285.00 | 25,650.00 | 320.00 | 28,800.00 | 219.00 | 19,710.00
40 | 4.3 | 3C x 2.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-ups | 3C x 2.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-ups | Mtr | 130.000 | 19,500.00 | 260.00 | 33,800.00 | 210.00 | 27,300.00 | 210.00 | 27,300.00 | 260.00 | 33,800.00 | 150.00 | 19,500.00
41 | 4.4 | 3C x 2.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | 3C x 2.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | Mtr | 100.000 | 15,000.00 | 210.00 | 21,000.00 | 210.00 | 21,000.00 | 210.00 | 21,000.00 | 240.00 | 24,000.00 | 150.00 | 15,000.00
42 | 4.5 | 3C x 1.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | 3C x 1.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power | Mtr | 60.000 | 9,000.00 | 180.00 | 10,800.00 | 180.00 | 10,800.00 | 180.00 | 10,800.00 | 200.00 | 12,000.00 | 150.00 | 9,000.00
43 | 5 | POINT WIRING | POINT WIRING
44 |  | Wiring of light points, fan points, socket outlets by using 2mm thick FRLS conduit of required dia as per IS 732, PVC conduit accessories, flexible conduit with PVC gland for drops with accessories 2R X 1.5Sqmm + 1 Sqmm FRLS Cu. Wire approved 5A modular | Wiring of light points, fan points, socket outlets by using 2mm thick FRLS conduit of required dia as per IS 732, PVC conduit accessories, flexible conduit with PVC gland for drops with accessories 2R X 1.5Sqmm + 1 Sqmm FRLS Cu. Wire approved 5A modular
45 |  | All points shall be earthed with 1sqmm FRLS flexible copper wire. Points shall be terminated at light fixtures with ferrules, 15A 4 way connector; wire ends shall not be loose bare. | All points shall be earthed with 1sqmm FRLS flexible copper wire. Points shall be terminated at light fixtures with ferrules, 15A 4 way connector; wire ends shall not be loose bare.
46 |  | The rate shall include necessary civil works for embedding conduits and boxes. | The rate shall include necessary civil works for embedding conduits and boxes.
47 |  | Note Ceiling height is 2.7mt. Point wiring shall not be measured on RM basis. | Note Ceiling height is 2.7mt. Point wiring shall not be measured on RM basis.
48 | 5.1 | 1 light points controlled by 6 16A switch Socket | 1 light points controlled by 6 16A switch Socket | Nos | 15.000 | 30,360.00 | 3550.00 | 53,250.00 | 2650.00 | 39,750.00 | 2650.00 | 39,750.00 | 3000.00 | 45,000.00 | 2024.00 | 30,360.00
49 | 5.2 | 2 light points controlled by 6 16A switch Socket | 2 light points controlled by 6 16A switch Socket | Nos | 15.000 | 36,000.00 | 4860.00 | 72,900.00 | 2400.00 | 36,000.00 | 2400.00 | 36,000.00 | 3500.00 | 52,500.00 | 2680.00 | 40,200.00
50 | 6 | SWITCH AND SOCKETS AND MS ENCLOSURE UNITS | SWITCH AND SOCKETS AND MS ENCLOSURE UNITS
51 | 6.1 | S I T C of the following components like approved make type switches, socket etc,. housed in MS GI enclosure, duly wired and painted. All the switch sockets are without boxes since the same is covered under different item | S I T C of the following components like approved make type switches, socket etc,. housed in MS GI enclosure, duly wired and painted. All the switch sockets are without boxes since the same is covered under different item
52 | 6.1.1 | 1no. 5A controlled by 5A SP Switch with indicator and different colour front plates with box. (General) | 1no. 5A controlled by 5A SP Switch with indicator and different colour front plates with box. (General) | Nos | 4.000 | 1,800.00 | 450.00 | 1,800.00 | 650.00 | 2,600.00 | 650.00 | 2,600.00 | 850.00 | 3,400.00 | 863.00 | 3,452.00
53 | 6.1.2 | 1no. 5 15A controlled by 5 15A SP Switch with indicator and different colour front plates with box. (Raw power) | 1no. 5 15A controlled by 5 15A SP Switch with indicator and different colour front plates with box. (Raw power) | Nos | 9.000 | 4,590.00 | 510.00 | 4,590.00 | 750.00 | 6,750.00 | 750.00 | 6,750.00 | 1500.00 | 13,500.00 | 1139.00 | 10,251.00
54 | 7 | EARTHING | EARTHING
55 |  | Supply and laying of earth wire in PVC conduit | Supply and laying of earth wire in PVC conduit
56 | 7.1.1 | GI wire for double earthing | GI wire for double earthing | Mtr | 80.000 | 2,800.00 | 110.00 | 8,800.00 | 65.00 | 5,200.00 | 65.00 | 5,200.00 | 90.00 | 7,200.00 | 35.00 | 2,800.00
57 | 8 | SAFETY ITEMS | SAFETY ITEMS
58 |  | Providing and laying fixing the below mentioned safety items | Providing and laying fixing the below mentioned safety items
59 | 8.1 | Shock and First Aid charts in T W frame | Shock and First Aid charts in T W frame | Nos | 1.000 | 2,500.00 | 2500.00 | 2,500.00 | 3500.00 | 3,500.00 | 3500.00 | 3,500.00 | 2500.00 | 2,500.00 | 2530.00 | 2,530.00
60 | 8.2 | First Aid Box | First Aid Box | Nos | 1.000 | 2,000.00 | 3500.00 | 3,500.00 | 2000.00 | 2,000.00 | 2000.00 | 2,000.00 | 4000.00 | 4,000.00 | 3105.00 | 3,105.00
61 | 8.3 | 415V 150mm x 150mm enamel type danger board | 415V 150mm x 150mm enamel type danger board | Nos | 1.000 | 403.00 | 450.00 | 450.00 | 2500.00 | 2,500.00 | 2500.00 | 2,500.00 | 500.00 | 500.00 | 403.00 | 403.00
62 | 8.4 | Drawing display board suitable for A3 size with As built drawing laminated. | Drawing display board suitable for A3 size with As built drawing laminated. | Set | 1.000 | 2,000.00 | 2500.00 | 2,500.00 | 2000.00 | 2,000.00 | 2000.00 | 2,000.00 | 2000.00 | 2,000.00 | 3105.00 | 3,105.00
63 | 8.5 | No Admission board | No Admission board | Nos | 1.000 | 500.00 | 850.00 | 850.00 | 750.00 | 750.00 | 750.00 | 750.00 | 500.00 | 500.00 | 1093.00 | 1,093.00
64 | 8.6 | Rubber Mat on floor for Electricric DB Panels | Rubber Mat on floor for Electricric DB Panels | Nos | 1.000 | 1,610.00 | 2500.00 | 2,500.00 | 3500.00 | 3,500.00 | 3500.00 | 3,500.00 | 3000.00 | 3,000.00 | 1610.00 | 1,610.00
65 | 9 | MISCELLANEOUS ITEMS | MISCELLANEOUS ITEMS
66 | 9.1 | Temporary lighting during the construction of the project sockets, ELCB, MCB fuse cut-outs, wiring, etc., complete. | Temporary lighting during the construction of the project sockets, ELCB, MCB fuse cut-outs, wiring, etc., complete. | Set | 1.000 | 15,000.00 | 15000.00 | 15,000.00 | 40000.00 | 40,000.00 | 40000.00 | 40,000.00 | 15000.00 | 15,000.00 | 71300.00 | 71,300.00
67 | 9.2 | Fabrication and providing MS items, like angles, channels, plates and flats with hardware, duly painted powder coated etc., | Fabrication and providing MS items, like angles, channels, plates and flats with hardware, duly painted powder coated etc., | Kg | 25.000 | 3,750.00 | 250.00 | 6,250.00 | 220.00 | 5,500.00 | 220.00 | 5,500.00 | 150.00 | 3,750.00 | 207.00 | 5,175.00
68 | 9.3 | Supply and installation of 2kVA UPS 1 Phase input 1ph output with SMF Battery bank with stand for 30min.Backup | Supply and installation of 2kVA UPS 1 Phase input 1ph output with SMF Battery bank with stand for 30min.Backup | Nos | 1.000 | 60,000.00 | 75000.00 | 75,000.00 | 110000.00 | 110,000.00 | 110000.00 | 110,000.00 | 60000.00 | 60,000.00 | 66884.00 | 66,884.00
69 | 9.4 | 25mm PVC heavy duty conduit 2mm thick FRLS as per IS 732 for connectivity of the wires. | 25mm PVC heavy duty conduit 2mm thick FRLS as per IS 732 for connectivity of the wires. | Mtr | 100.000 | 6,000.00 | 120.00 | 12,000.00 | 60.00 | 6,000.00 | 60.00 | 6,000.00 | 105.00 | 10,500.00 | 92.00 | 9,200.00
70 | 9.5 | Cable tray - (As per site conditions) | Cable tray - (As per site conditions) | Lot | 1.000 | .00 | 16500.00 | 16,500.00 | 20000.00 | 20,000.00 | 20000.00 | 20,000.00 | 0.00 | .00 | 1.00 | 1.00
71 | 9.6 | Electrical race way for floor conduit - 150mm width | Electrical race way for floor conduit - 150mm width | Mtr | 10.000 | 1,600.00 | 160.00 | 1,600.00 | 850.00 | 8,500.00 | 850.00 | 8,500.00 | 2500.00 | 25,000.00 | 1173.00 | 11,730.00
72 | 10 | Light Fittings | Light Fittings
73 | 10.1 | Providing Fixing of approved spot lights - 12 Watts | Providing Fixing of approved spot lights - 12 Watts | Nos | 6.000 | 2,400.00 | 2410.00 | 14,460.00 | 6500.00 | 39,000.00 | 6500.00 | 39,000.00 | 400.00 | 2,400.00 | 3922.00 | 23,532.00
74 | 10.2 | Providing Fixing of approved hanging lights | Providing Fixing of approved hanging lights | Nos | 10.000 | 10,000.00 | 3050.00 | 30,500.00 | 8500.00 | 85,000.00 | 8500.00 | 85,000.00 | 1000.00 | 10,000.00 | 4520.00 | 45,200.00
75 | B | CCTV SYSTEM | CCTV SYSTEM
76 |  | NOTES 1. CCTV cameras as per the design. 2. Location of the DVR NVR in the services closet as per the design | NOTES 1. CCTV cameras as per the design. 2. Location of the DVR NVR in the services closet as per the design
77 | C | IT NETWORKING SYSTEM | IT NETWORKING SYSTEM
78 |  | NOTES 1. 24 port switch panel provided as per the design and location in the service closet. 2. Wifi location as per the design. | NOTES 1. 24 port switch panel provided as per the design and location in the service closet. 2. Wifi location as per the design.
79 | 1 | 8 Port Network Switch for the Wifi and LAN networks for the store | 8 Port Network Switch for the Wifi and LAN networks for the store | Nos | 1.000 | .00 | 7000.00 | 7,000.00 | 15000.00 | 15,000.00 | 15000.00 | 15,000.00 | 0.00 | .00 | 12110.00 | 12,110.00
80 | 2 | CAT 6 cable for the Wifi and networking of the store | CAT 6 cable for the Wifi and networking of the store | Mtr | 210.000 | 12,180.00 | 220.00 | 46,200.00 | 125.00 | 26,250.00 | 125.00 | 26,250.00 | 75.00 | 15,750.00 | 58.00 | 12,180.00
81 | 3 | Data outlet with RJ-45 jack | Data outlet with RJ-45 jack | Nos | 4.000 | 2,200.00 | 550.00 | 2,200.00 | 800.00 | 3,200.00 | 800.00 | 3,200.00 | 600.00 | 2,400.00 | 1012.00 | 4,048.00
82 | 4 | Patch Cords of 1.5 meters length | Patch Cords of 1.5 meters length | Nos | 4.000 | 1,000.00 | 350.00 | 1,400.00 | 250.00 | 1,000.00 | 250.00 | 1,000.00 | 320.00 | 1,280.00 | 299.00 | 1,196.00

## Technical Score Detail
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | Comp. Date : 13/03/2024 | Comp. Date : 13/03/2024 | Comp. Date : 13/03/2024 | Vendor Name : Arrow Electrical |  | Vendor Name : Best Enterprises |  | Vendor Name : Best Enterprises |  | Vendor Name : Electech Enterprises |  | Vendor Name : FL Group
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ #: R0373 | RFQ #: R0373 | RFQ #: R0373 | Contact Name : Alam Khan |  | Contact Name : Ashok |  | Contact Name : ELUMALAI ASHOKKUMAR |  | Contact Name : Alam |  | Contact Name : Julia
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ Date : 12/03/2024 12:45:04 | RFQ Date : 12/03/2024 12:45:04 | RFQ Date : 12/03/2024 12:45:04 | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT | RFQ No: R0373 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | PR Number : TFSCPL-2324-00252 | Email : project.arrowelectricals@gmail.com |  | Email : bestenter2016@gmail.com |  | Email : bestenter2016@Gmail.com |  | Email : alam@electechenterprises.net |  | Email : julia.roberts@flgroup.in
Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Package / RFQ Name : PR for Electrical for CHN Good Times Bar T4 Dom... | Round # : 9 (Auction) |  | Round # : 9 (Auction) |  | Round # : 9 (Auction) |  | Round # : 9 (Auction) |  | Round # : 9 (Auction)
Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Buyer : Mrunal Joshi | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | Comp. # : 9 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | Electrical |  | NOS | 1.000 | 0.00 | 0.00
2 | A | ELECTRICAL |  |  | 0.000 | 0.00 | 0.00
3 |  | Notes |  |  | 0.000 | 0.00 | 0.00
4 |  | All materials and workman ship shall be to standards consultants approval and shall comply with Local electrical rules Electrical Inspectorate. |  |  | 0.000 | 0.00 | 0.00
5 |  | Colour conduits should be used for data, raw power, UPS access control as listed below coding |  |  | 0.000 | 0.00 | 0.00
6 |  | Data - Grey |  |  | 0.000 | 0.00 | 0.00
7 |  | Raw Power and Lighting - Blue |  |  | 0.000 | 0.00 | 0.00
8 |  | UPS - Black |  |  | 0.000 | 0.00 | 0.00
9 |  | All Civil work required for the electrical work such as chipping of walls, floor, etc and rough plastering with chicken mesh shall be deemed included. |  |  | 0.000 | 0.00 | 0.00
10 | 1 | MV Cables |  |  | 0.000 | 0.00 | 0.00
11 | 1.1 | Copper Cables |  |  | 0.000 | 0.00 | 0.00
12 |  | Supplying, laying, testing and commissioning of YY YFY insulated PVC sheathed, Cu. conductor steel armoured 1100V grade cable. The cable shall be laid underground OR on wall in pipe trench as required as per site condition. For cables laid underground |  |  | 0.000 | 0.00 | 0.00
13 |  | Standards applicable For below cable |  |  | 0.000 | 0.00 | 0.00
14 |  | YY YFY AYFY - IS 1554 PART I |  |  | 0.000 | 0.00 | 0.00
15 | 1.1 | Armoured type Copper cables |  |  | 0.000 | 0.00 | 0.00
16 | 1.1.2 | 3.5C X 35 Sq.mm Aluminium Armour Cable |  | Mtr | 70.000 | 0.00 | 0.00
17 | 1.2 | PVC Cable End Termination |  |  | 0.000 | 0.00 | 0.00
18 |  | Providing and termination for the below listed cross |  |  | 0.000 | 0.00 | 0.00
19 |  | section cable with single compression brass glands, |  |  | 0.000 | 0.00 | 0.00
20 |  | solderless tinned Cu crimping type lugs, gland earthing, |  |  | 0.000 | 0.00 | 0.00
21 |  | etc., complete. |  |  | 0.000 | 0.00 | 0.00
22 |  | Armoured type Copper cables |  |  | 0.000 | 0.00 | 0.00
23 | 2 | MAIN INCOMER ISOLATOR BOX |  |  | 0.000 | 0.00 | 0.00
24 |  | Supply, Erection and commissioning of Cubical type dust and vermin proof free standing floor mounting panel board as per technical specifications and drawing consisting of the following complete with all interconnections, painting and control wiring etc., |  |  | 0.000 | 0.00 | 0.00
25 | 2.1 | Incomer |  | Nos | 1.000 | 0.00 | 0.00
26 |  | 100A 4P 36kA MCCB(Microprocessor based) - 1 No |  |  | 0.000 | 0.00 | 0.00
27 |  | Out going |  |  | 0.000 | 0.00 | 0.00
28 |  | 100A 4P ISOLATOR - 1 No |  |  | 0.000 | 0.00 | 0.00
29 |  | 32A 4P ISOLATOR - 2 No |  |  | 0.000 | 0.00 | 0.00
30 |  | Bus bar 1 set TPN AL bus bar suitably rated for 125A. |  |  | 0.000 | 0.00 | 0.00
31 | 3 | DISTRIBUTION BOARDS |  |  | 0.000 | 0.00 | 0.00
32 |  | S I T C of surface mounting flush mounting 10kA phase segregated TPN MCB distribution boards (MCB DB). The DB shall be made out of 1.2 mm CRCA sheet steel enclosure and powder coated complete with cable gland plate with knock out at the top bottom. |  |  | 0.000 | 0.00 | 0.00
33 |  | The RCCB RCBO shall be Hpi Si series MCBs shall be C Curve for UPS DBs (UDB) and C Curve for other application. |  |  | 0.000 | 0.00 | 0.00
34 | 3.1 | 8way SPN DB with 25A DP RCBO 100mA as incomer, and outgoings-10A-5Nos. SP C curve MCB and 16A-1Nos. SP C curve MCB as outgoings as per SLD drawing. |  | Nos | 1.000 | 0.00 | 0.00
35 | 3.2 | 12way VTPN MCCB DB with 100A 4P MCCB as incomer, and outgoings- 36nos. 10 16 20A SP C curve MCB-25nos,25A DP MCB-1nos,20A TP MCB-3nos.as outgoings as per SLD drawing. |  | Nos | 1.000 | 0.00 | 0.00
36 | 4 | CIRCUIT MAINS |  |  | 0.000 | 0.00 | 0.00
37 |  | Supply and laying of sub circuit mains using 2mm thick MS conduit, access- ories like pvc bends, M.S junction boxes, GI cleat and saddles etc., 660 1100V grade FRLS flexible copper wires and wiring accessories, terminating wires on either ends by prov |  |  | 0.000 | 0.00 | 0.00
38 |  | The rate shall include grooving of walls, floors chipping, rough plastering, providing MS brackets for conduit suspension. Circuit mains shall be measured from DB to switch board and looping from switch board to switch board |  |  | 0.000 | 0.00 | 0.00
39 | 4.1 | 3C x 6.0 qmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power |  | Mtr | 40.000 | 0.00 | 0.00
40 | 4.2 | 3C x 4.0 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power |  | Mtr | 90.000 | 0.00 | 0.00
41 | 4.3 | 3C x 2.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-ups |  | Mtr | 130.000 | 0.00 | 0.00
42 | 4.4 | 3C x 2.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power |  | Mtr | 100.000 | 0.00 | 0.00
43 | 4.5 | 3C x 1.5 Sqmm FRLS insulated copper flexible cables in Existing Conduit raceway-Lighting general raw power |  | Mtr | 60.000 | 0.00 | 0.00
44 | 5 | POINT WIRING |  |  | 0.000 | 0.00 | 0.00
45 |  | Wiring of light points, fan points, socket outlets by using 2mm thick FRLS conduit of required dia as per IS 732, PVC conduit accessories, flexible conduit with PVC gland for drops with accessories 2R X 1.5Sqmm + 1 Sqmm FRLS Cu. Wire approved 5A modular |  |  | 0.000 | 0.00 | 0.00
46 |  | All points shall be earthed with 1sqmm FRLS flexible copper wire. Points shall be terminated at light fixtures with ferrules, 15A 4 way connector; wire ends shall not be loose bare. |  |  | 0.000 | 0.00 | 0.00
47 |  | The rate shall include necessary civil works for embedding conduits and boxes. |  |  | 0.000 | 0.00 | 0.00
48 |  | Note Ceiling height is 2.7mt. Point wiring shall not be measured on RM basis. |  |  | 0.000 | 0.00 | 0.00
49 | 5.1 | 1 light points controlled by 6 16A switch Socket |  | Nos | 15.000 | 0.00 | 0.00
50 | 5.2 | 2 light points controlled by 6 16A switch Socket |  | Nos | 15.000 | 0.00 | 0.00
51 | 6 | SWITCH AND SOCKETS AND MS ENCLOSURE UNITS |  |  | 0.000 | 0.00 | 0.00
52 | 6.1 | S I T C of the following components like approved make type switches, socket etc,. housed in MS GI enclosure, duly wired and painted. All the switch sockets are without boxes since the same is covered under different item |  |  | 0.000 | 0.00 | 0.00
53 | 6.1.1 | 1no. 5A controlled by 5A SP Switch with indicator and different colour front plates with box. (General) |  | Nos | 4.000 | 0.00 | 0.00
54 | 6.1.2 | 1no. 5 15A controlled by 5 15A SP Switch with indicator and different colour front plates with box. (Raw power) |  | Nos | 9.000 | 0.00 | 0.00
55 | 7 | EARTHING |  |  | 0.000 | 0.00 | 0.00
56 |  | Supply and laying of earth wire in PVC conduit |  |  | 0.000 | 0.00 | 0.00
57 | 7.1.1 | GI wire for double earthing |  | Mtr | 80.000 | 0.00 | 0.00
58 | 8 | SAFETY ITEMS |  |  | 0.000 | 0.00 | 0.00
59 |  | Providing and laying fixing the below mentioned safety items |  |  | 0.000 | 0.00 | 0.00
60 | 8.1 | Shock and First Aid charts in T W frame |  | Nos | 1.000 | 0.00 | 0.00
61 | 8.2 | First Aid Box |  | Nos | 1.000 | 0.00 | 0.00
62 | 8.3 | 415V 150mm x 150mm enamel type danger board |  | Nos | 1.000 | 0.00 | 0.00
63 | 8.4 | Drawing display board suitable for A3 size with As built drawing laminated. |  | Set | 1.000 | 0.00 | 0.00
64 | 8.5 | No Admission board |  | Nos | 1.000 | 0.00 | 0.00
65 | 8.6 | Rubber Mat on floor for Electricric DB Panels |  | Nos | 1.000 | 0.00 | 0.00
66 | 9 | MISCELLANEOUS ITEMS |  |  | 0.000 | 0.00 | 0.00
67 | 9.1 | Temporary lighting during the construction of the project sockets, ELCB, MCB fuse cut-outs, wiring, etc., complete. |  | Set | 1.000 | 0.00 | 0.00
68 | 9.2 | Fabrication and providing MS items, like angles, channels, plates and flats with hardware, duly painted powder coated etc., |  | Kg | 25.000 | 0.00 | 0.00
69 | 9.3 | Supply and installation of 2kVA UPS 1 Phase input 1ph output with SMF Battery bank with stand for 30min.Backup |  | Nos | 1.000 | 0.00 | 0.00
70 | 9.4 | 25mm PVC heavy duty conduit 2mm thick FRLS as per IS 732 for connectivity of the wires. |  | Mtr | 100.000 | 0.00 | 0.00
71 | 9.5 | Cable tray - (As per site conditions) |  | Lot | 1.000 | 0.00 | 0.00
72 | 9.6 | Electrical race way for floor conduit - 150mm width |  | Mtr | 10.000 | 0.00 | 0.00
73 | 10 | Light Fittings |  |  | 0.000 | 0.00 | 0.00
74 | 10.1 | Providing Fixing of approved spot lights - 12 Watts |  | Nos | 6.000 | 0.00 | 0.00
75 | 10.2 | Providing Fixing of approved hanging lights |  | Nos | 10.000 | 0.00 | 0.00
76 | B | CCTV SYSTEM |  |  | 0.000 | 0.00 | 0.00
77 |  | NOTES 1. CCTV cameras as per the design. 2. Location of the DVR NVR in the services closet as per the design |  |  | 0.000 | 0.00 | 0.00
78 | C | IT NETWORKING SYSTEM |  |  | 0.000 | 0.00 | 0.00
79 |  | NOTES 1. 24 port switch panel provided as per the design and location in the service closet. 2. Wifi location as per the design. |  |  | 0.000 | 0.00 | 0.00
80 | 1 | 8 Port Network Switch for the Wifi and LAN networks for the store |  | Nos | 1.000 | 0.00 | 0.00
81 | 2 | CAT 6 cable for the Wifi and networking of the store |  | Mtr | 210.000 | 0.00 | 0.00
82 | 3 | Data outlet with RJ-45 jack |  | Nos | 4.000 | 0.00 | 0.00
83 | 4 | Patch Cords of 1.5 meters length |  | Nos | 4.000 | 0.00 | 0.00