## Price Comparison
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Vendor Name : V S CONSTRUCTION (RV232410155) | [5 empty] | Vendor Name : KMS INTERIOR (RV232410212) | [5 empty] | Vendor Name : Red Room Referesh interiors Pvt. Ltd. (RV232409799) | [5 empty] | Vendor Name : ANJLE MEP PROJECT PVT LTD (T051996) | [5 empty] | Vendor Name : VYAN VENTURES PRIVATE LIMITED (RV232410150) | [5 empty] | Vendor Name : PIONEER PROJECT SOLUTION (RV232410106) | [5 empty] | Vendor Name : Distint India Enterprises LLP (RV232421254)
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ #: R0421 | RFQ #: R0421 | RFQ #: R0421 | Contact Name : Ritesh Saini/Ramesh Singh | [5 empty] | Contact Name : Kundan Suthar | [5 empty] | Contact Name : Jayant | [5 empty] | Contact Name : | [5 empty] | Contact Name : Santosh Kumar/Ved Prakash Pandey | [5 empty] | Contact Name : Mohd Ashraf/Rayyan Javed | [5 empty] | Contact Name : Sanjay Jain
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ Date : 02/04/2024 17:42:39 | RFQ Date : 02/04/2024 17:42:39 | RFQ Date : 02/04/2024 17:42:39 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : Delhi | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | BCD Date : 02/04/2024 17:50:00 | BCD Date : 02/04/2024 17:50:00 | BCD Date : 02/04/2024 17:50:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : 9999984384 | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : 9999984384 | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : 98102 60645
PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | Email : ramesh@vsconstructionindia.com | [5 empty] | Email : pravin.takle@kapcocatering.com | [5 empty] | Email : info.rrrinteriors@gmail.com | [5 empty] | Email : anjlemepprojects@gmail.com | [5 empty] | Email : vyanventures01@gmail.com | [5 empty] | Email : projectspioneer@gmail.com | [5 empty] | Email : di.sanjayjain@gmail.com
Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ) | [5 empty] | Round # : 6 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | COMMON AREA FAS WORK | LOT | 1.00 |  | 84250.00 | V S CONSTRUCTION | 62750.00 | 0.00 | 18.00 |  | 84,250.00 | 84,250.00 | 170625.00 | 0.00 | 18.00 |  | 170,625.00 | 170,625.00 | 183046.00 | 0.00 | 18.00 |  | 170,536.00 | 170,536.00 | 193675.00 | 0.00 | 18.00 |  | 193,675.00 | 193,675.00 | 213250.00 | 0.00 | 18.00 |  | 213,250.00 | 213,250.00 | 243850.00 | 0.00 | 18.00 |  | 243,850.00 | 243,850.00 | 399175.00 | 0.00 | 18.00 |  | 399,175.00 | 399,175.00
Item Total | [8 empty] | .00 | 15,165.00 |  |  | 84,250.00 |  | .00 | 30,712.50 |  |  | 170,625.00 |  | .00 | 30,696.48 |  |  | 170,536.00 |  | .00 | 34,861.50 |  |  | 193,675.00 |  | .00 | 38,385.00 |  |  | 213,250.00 |  | .00 | 43,893.00 |  |  | 243,850.00 |  | .00 | 71,851.50 |  |  | 399,175.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 15,165.00 | [5 empty] | 30,712.50 | [5 empty] | 30,696.48 | [5 empty] | 34,861.50 | [5 empty] | 38,385.00 | [5 empty] | 43,893.00 | [5 empty] | 71,851.50
Net Landed Cost | [11 empty] | INR | 99,415.00 |  |  |  |  | INR | 201,337.50 |  |  |  |  | INR | 201,232.48 |  |  |  |  | INR | 228,536.50 |  |  |  |  | INR | 251,635.00 |  |  |  |  | INR | 287,743.00 |  |  |  |  | INR | 471,026.50
Vendor Status | [7 empty] | Round # : 6 (RFQ) | Round # : 6 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421254 | Distint India Enterprises LLP | [5 empty] | Participate
2 | RV232409799 | Red Room Referesh interiors Pvt. Ltd. | [5 empty] | Participate
3 | RV232410212 | KMS INTERIOR | [5 empty] | Participate
4 | RV232410150 | VYAN VENTURES PRIVATE LIMITED | [5 empty] | Participate
5 | RV232410155 | V S CONSTRUCTION | [5 empty] | Participate
6 | T051996 | ANJLE MEP PROJECT PVT LTD | [5 empty] | Participate
7 | RV232410106 | PIONEER PROJECT SOLUTION | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Vendor Name : V S CONSTRUCTION | Vendor Name : V S CONSTRUCTION | Vendor Name : KMS INTERIOR | Vendor Name : KMS INTERIOR | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : Distint India Enterprises LLP | Vendor Name : Distint India Enterprises LLP
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ #: R0421 | RFQ #: R0421 | RFQ #: R0421 | Contact Name : Ritesh Saini/Ramesh Singh | Contact Name : Ritesh Saini/Ramesh Singh | Contact Name : Kundan Suthar | Contact Name : Kundan Suthar | Contact Name : Jayant | Contact Name : Jayant | Contact Name : | Contact Name : | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Mohd Ashraf/Rayyan Javed | Contact Name : Mohd Ashraf/Rayyan Javed | Contact Name : Sanjay Jain | Contact Name : Sanjay Jain
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ Date : 02/04/2024 17:42:39 | RFQ Date : 02/04/2024 17:42:39 | RFQ Date : 02/04/2024 17:42:39 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : Delhi | Vendor City : Delhi | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | BCD Date : 02/04/2024 17:50:00 | BCD Date : 02/04/2024 17:50:00 | BCD Date : 02/04/2024 17:50:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : 9999984384 | Telephone # : 9999984384 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 9999984384 | Mobile # : 9999984384 | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 98102 60645 | Mobile # : 98102 60645
PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | Email : ramesh@vsconstructionindia.com | Email : ramesh@vsconstructionindia.com | Email : pravin.takle@kapcocatering.com | Email : pravin.takle@kapcocatering.com | Email : info.rrrinteriors@gmail.com | Email : info.rrrinteriors@gmail.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com | Email : vyanventures01@gmail.com | Email : vyanventures01@gmail.com | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : di.sanjayjain@gmail.com | Email : di.sanjayjain@gmail.com
Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ) | Round # : 6 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | COMMON AREA FAS WORK | COMMON AREA FAS WORK | LOT | 1.000 |  |  | 84,250.00 |  | 170,625.00 |  | 170,536.00 |  | 193,675.00 |  | 213,250.00 |  | 243,850.00 |  | 399,175.00
1 | 1 | SITC of conventional type Manual call point complete with Glass, hammer and chain etc. as required. | SITC of conventional type Manual call point complete with Glass, hammer and chain etc. as required. | Nos. | 1.000 | 299.00 | 1000.00 | 1,000.00 | 1850.00 | 1,850.00 | 299.00 | 299.00 | 850.00 | 850.00 | 1500.00 | 1,500.00 | 2200.00 | 2,200.00 | 5500.00 | 5,500.00
2 | 2 | SITC of conventional type Smoke Detector complete. as required. | SITC of conventional type Smoke Detector complete. as required. | Nos. | 20.000 | 19,000.00 | 950.00 | 19,000.00 | 1350.00 | 27,000.00 | 1250.00 | 25,000.00 | 1850.00 | 37,000.00 | 1850.00 | 37,000.00 | 2600.00 | 52,000.00 | 3250.00 | 65,000.00
3 | 3 | SITC of conventional type Heat Detector complete. as required. | SITC of conventional type Heat Detector complete. as required. | Nos. | 9.000 | 9,000.00 | 1000.00 | 9,000.00 | 1450.00 | 13,050.00 | 1250.00 | 11,250.00 | 2050.00 | 18,450.00 | 2000.00 | 18,000.00 | 2800.00 | 25,200.00 | 2950.00 | 26,550.00
4 | 4 | SITC of electronic hooters with LMT (hooters shall also be able to work as public address system sounders) housed in sheet steel Polymer housing suitable for wall ceiling and surface recess mounting including making connections with wires complete in all respects and as per specifications. | SITC of electronic hooters with LMT (hooters shall also be able to work as public address system sounders) housed in sheet steel Polymer housing suitable for wall ceiling and surface recess mounting including making connections with wires complete in all respects and as per specifications. | Nos. | 1.000 | 487.00 | 1000.00 | 1,000.00 | 2850.00 | 2,850.00 | 487.00 | 487.00 | 1250.00 | 1,250.00 | 3000.00 | 3,000.00 | 2200.00 | 2,200.00 | 6500.00 | 6,500.00
5 | 5 | SITC of wall floor type following zone (each zone accessing minimum 20 units (detectors devices ) Conventional Type microprocessor based with LCD display main control panel fabricated from 16 SWG CRCA sheet steel sealed maintenance free (SMF) batteries of min 2 X 7AH of 12 V or as required. | SITC of wall floor type following zone (each zone accessing minimum 20 units (detectors devices ) Conventional Type microprocessor based with LCD display main control panel fabricated from 16 SWG CRCA sheet steel sealed maintenance free (SMF) batteries of min 2 X 7AH of 12 V or as required.
6 | 6 | 2 zone | 2 zone | Nos. | 1.000 | 10,000.00 | 10000.00 | 10,000.00 | 13500.00 | 13,500.00 | 13500.00 | 13,500.00 | 16500.00 | 16,500.00 | 25000.00 | 25,000.00 | 18500.00 | 18,500.00 | 30000.00 | 30,000.00
7 | 7 | SITC of conventional type microprocessor based Remote Annunciator panel of following zones for wall mounting type fabricated out of 16 SWG CRCA sheet steel incorporating audio visual indication for each zone without battery bank and battery charger . | SITC of conventional type microprocessor based Remote Annunciator panel of following zones for wall mounting type fabricated out of 16 SWG CRCA sheet steel incorporating audio visual indication for each zone without battery bank and battery charger . | Nos. | 1.000 | 14,500.00 | 22500.00 | 22,500.00 | 14500.00 | 14,500.00 | 21400.00 | 21,400.00 | 14500.00 | 14,500.00 | 20000.00 | 20,000.00 | 35000.00 | 35,000.00 | 30000.00 | 30,000.00
8 | 8 | Supply and drawing FRLS Fire Alarm Cable As Per IS . | Supply and drawing FRLS Fire Alarm Cable As Per IS .
9 | 9 | 2 x 1.5 sq mm | 2 x 1.5 sq mm | Mtr | 725.000 | 21,750.00 | 30.00 | 21,750.00 | 135.00 | 97,875.00 | 136.00 | 98,600.00 | 145.00 | 105,125.00 | 150.00 | 108,750.00 | 150.00 | 108,750.00 | 325.00 | 235,625.00

## Technical Score Detail
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Vendor Name : V S CONSTRUCTION |  | Vendor Name : KMS INTERIOR |  | Vendor Name : Red Room Referesh interiors Pvt. Ltd. |  | Vendor Name : ANJLE MEP PROJECT PVT LTD |  | Vendor Name : VYAN VENTURES PRIVATE LIMITED |  | Vendor Name : PIONEER PROJECT SOLUTION |  | Vendor Name : Distint India Enterprises LLP
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ #: R0421 | RFQ #: R0421 | RFQ #: R0421 | Contact Name : Ritesh Saini/Ramesh Singh |  | Contact Name : Kundan Suthar |  | Contact Name : Jayant |  | Contact Name : |  | Contact Name : Santosh Kumar/Ved Prakash Pandey |  | Contact Name : Mohd Ashraf/Rayyan Javed |  | Contact Name : Sanjay Jain
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ Date : 02/04/2024 17:42:39 | RFQ Date : 02/04/2024 17:42:39 | RFQ Date : 02/04/2024 17:42:39 | Vendor City : |  | Vendor City : |  | Vendor City : Delhi |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | BCD Date : 02/04/2024 17:50:00 | BCD Date : 02/04/2024 17:50:00 | BCD Date : 02/04/2024 17:50:00 | Telephone # : |  | Telephone # : |  | Telephone # : 9999984384 |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT | RFQ No: R0421 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # : 9999984384 |  | Mobile # : |  | Mobile # : |  | Mobile # : |  | Mobile # : 98102 60645
PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | PR Number : TFS-2324-00128 | Email : ramesh@vsconstructionindia.com |  | Email : pravin.takle@kapcocatering.com |  | Email : info.rrrinteriors@gmail.com |  | Email : anjlemepprojects@gmail.com |  | Email : vyanventures01@gmail.com |  | Email : projectspioneer@gmail.com |  | Email : di.sanjayjain@gmail.com
Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Package / RFQ Name : COMMON AREA FAS WORK | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ) |  | Round # : 6 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | Comp. # : 6 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | COMMON AREA FAS WORK |  | LOT | 1.000 | 0.00 | 0.00
2 | 1 | SITC of conventional type Manual call point complete with Glass, hammer and chain etc. as required. |  | Nos. | 1.000 | 0.00 | 0.00
3 | 2 | SITC of conventional type Smoke Detector complete. as required. |  | Nos. | 20.000 | 0.00 | 0.00
4 | 3 | SITC of conventional type Heat Detector complete. as required. |  | Nos. | 9.000 | 0.00 | 0.00
5 | 4 | SITC of electronic hooters with LMT (hooters shall also be able to work as public address system sounders) housed in sheet steel Polymer housing suitable for wall ceiling and surface recess mounting including making connections with wires complete in all respects and as per specifications. |  | Nos. | 1.000 | 0.00 | 0.00
6 | 5 | SITC of wall floor type following zone (each zone accessing minimum 20 units (detectors devices ) Conventional Type microprocessor based with LCD display main control panel fabricated from 16 SWG CRCA sheet steel sealed maintenance free (SMF) batteries of min 2 X 7AH of 12 V or as required. |  |  | 0.000 | 0.00 | 0.00
7 | 6 | 2 zone |  | Nos. | 1.000 | 0.00 | 0.00
8 | 7 | SITC of conventional type microprocessor based Remote Annunciator panel of following zones for wall mounting type fabricated out of 16 SWG CRCA sheet steel incorporating audio visual indication for each zone without battery bank and battery charger . |  | Nos. | 1.000 | 0.00 | 0.00
9 | 8 | Supply and drawing FRLS Fire Alarm Cable As Per IS . |  |  | 0.000 | 0.00 | 0.00
10 | 9 | 2 x 1.5 sq mm |  | Mtr | 725.000 | 0.00 | 0.00