## Price Comparison
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Vendor Name : KMS INTERIOR (RV232410212) | [5 empty] | Vendor Name : PIONEER PROJECT SOLUTION (RV232410106) | [5 empty] | Vendor Name : Distint India Enterprises LLP (RV232421254) | [5 empty] | Vendor Name : Red Room Referesh interiors Pvt. Ltd. (RV232409799) | [5 empty] | Vendor Name : VYAN VENTURES PRIVATE LIMITED (RV232410150) | [5 empty] | Vendor Name : Mahamaya Engineering (RV232420123) | [5 empty] | Vendor Name : ANJLE MEP PROJECT PVT LTD (T051996)
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ #: R0441 | RFQ #: R0441 | RFQ #: R0441 | Contact Name : Kundan Suthar | [5 empty] | Contact Name : Mohd Ashraf/Rayyan Javed | [5 empty] | Contact Name : Sanjay Jain | [5 empty] | Contact Name : Jayant | [5 empty] | Contact Name : Santosh Kumar/Ved Prakash Pandey | [5 empty] | Contact Name : Yash Katoch | [5 empty] | Contact Name :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ Date : 05/03/2024 15:26:37 | RFQ Date : 05/03/2024 15:26:37 | RFQ Date : 05/03/2024 15:26:37 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : Delhi | [5 empty] | Vendor City : | [5 empty] | Vendor City : delhi | [5 empty] | Vendor City :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : 9999984384 | [5 empty] | Telephone # : | [5 empty] | Telephone # : 9810360460 | [5 empty] | Telephone # :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : 98102 60645 | [5 empty] | Mobile # : 9999984384 | [5 empty] | Mobile # : | [5 empty] | Mobile # : 9810360460 | [5 empty] | Mobile # :
PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | Email : pravin.takle@kapcocatering.com | [5 empty] | Email : projectspioneer@gmail.com | [5 empty] | Email : di.sanjayjain@gmail.com | [5 empty] | Email : info.rrrinteriors@gmail.com | [5 empty] | Email : vyanventures01@gmail.com | [5 empty] | Email : mahamaya.engineering1@gmail.com | [5 empty] | Email : anjlemepprojects@gmail.com
Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Round # : 4 (Auction) | [5 empty] | Round # : 4 (Auction) | [5 empty] | Round # : 4 (Auction) | [5 empty] | Round # : 4 (Auction) | [5 empty] | Round # : 4 (Auction) | [5 empty] | Round # : 4 (Auction) | [5 empty] | Round # : 4 (Auction)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : | [5 empty] | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | FIRE WORK FOR BIKANERVALA | EA | 1.00 |  | 38350.00 | PIONEER PROJECT SOLUTION | 52400.00 | 0.00 | 0.00 |  | 52,400.00 | 52,400.00 | 54600.00 | 0.00 | 0.00 |  | 38,350.00 | 38,350.00 | 55800.00 | 0.00 | 0.00 |  | 50,000.00 | 50,000.00 | 56040.00 | 0.00 | 18.00 |  | 46,500.00 | 46,500.00 | 63450.00 | 0.00 | 0.00 |  | 63,450.00 | 63,450.00 | 95500.00 | 0.00 | 0.00 |  | 45,000.00 | 45,000.00 | 126500.00 | 0.00 | 0.00 |  | 38,750.00 | 38,750.00
Item Total | [8 empty] | .00 | .00 |  |  | 52,400.00 |  | .00 | .00 |  |  | 38,350.00 |  | .00 | .00 |  |  | 50,000.00 |  | .00 | 18,457.20 |  |  | 46,500.00 |  | .00 | .00 |  |  | 63,450.00 |  | .00 | .00 |  |  | 45,000.00 |  | .00 | .00 |  |  | 38,750.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | .00 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | 8,370.00 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | .00
Net Landed Cost | [11 empty] | INR | 52,400.00 |  |  |  |  | INR | 38,350.00 |  |  |  |  | INR | 50,000.00 |  |  |  |  | INR | 54,870.00 |  |  |  |  | INR | 63,450.00 |  |  |  |  | INR | 45,000.00 |  |  |  |  | INR | 38,750.00
Vendor Status | [7 empty] | Round # : 4 (Auction) | Round # : 4 (Auction)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | T053067 | Carrier | [5 empty] | Not Participate
2 | T051996 | ANJLE MEP PROJECT PVT LTD | [5 empty] | Participate
3 | RV232420123 | Mahamaya Engineering | [5 empty] | Participate
4 | RV232421254 | Distint India Enterprises LLP | [5 empty] | Participate
5 | RV232409799 | Red Room Referesh interiors Pvt. Ltd. | [5 empty] | Participate
6 | RV232410212 | KMS INTERIOR | [5 empty] | Participate
7 | RV232410155 | V S CONSTRUCTION | [5 empty] | Participate
8 | RV232410150 | VYAN VENTURES PRIVATE LIMITED | [5 empty] | Participate
9 | RV232410106 | PIONEER PROJECT SOLUTION | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Vendor Name : KMS INTERIOR | Vendor Name : KMS INTERIOR | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : Distint India Enterprises LLP | Vendor Name : Distint India Enterprises LLP | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : Mahamaya Engineering | Vendor Name : Mahamaya Engineering | Vendor Name : ANJLE MEP PROJECT PVT LTD | Vendor Name : ANJLE MEP PROJECT PVT LTD
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ #: R0441 | RFQ #: R0441 | RFQ #: R0441 | Contact Name : Kundan Suthar | Contact Name : Kundan Suthar | Contact Name : Mohd Ashraf/Rayyan Javed | Contact Name : Mohd Ashraf/Rayyan Javed | Contact Name : Sanjay Jain | Contact Name : Sanjay Jain | Contact Name : Jayant | Contact Name : Jayant | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Yash Katoch | Contact Name : Yash Katoch | Contact Name : | Contact Name :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ Date : 05/03/2024 15:26:37 | RFQ Date : 05/03/2024 15:26:37 | RFQ Date : 05/03/2024 15:26:37 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : Delhi | Vendor City : Delhi | Vendor City : | Vendor City : | Vendor City : delhi | Vendor City : delhi | Vendor City : | Vendor City :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : 9999984384 | Telephone # : 9999984384 | Telephone # : | Telephone # : | Telephone # : 9810360460 | Telephone # : 9810360460 | Telephone # : | Telephone # :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 98102 60645 | Mobile # : 98102 60645 | Mobile # : 9999984384 | Mobile # : 9999984384 | Mobile # : | Mobile # : | Mobile # : 9810360460 | Mobile # : 9810360460 | Mobile # : | Mobile # :
PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | Email : pravin.takle@kapcocatering.com | Email : pravin.takle@kapcocatering.com | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : di.sanjayjain@gmail.com | Email : di.sanjayjain@gmail.com | Email : info.rrrinteriors@gmail.com | Email : info.rrrinteriors@gmail.com | Email : vyanventures01@gmail.com | Email : vyanventures01@gmail.com | Email : mahamaya.engineering1@gmail.com | Email : mahamaya.engineering1@gmail.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com
Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction) | Round # : 4 (Auction)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | FIRE WORK FOR BIKANERVALA | FIRE WORK FOR BIKANERVALA | EA | 1.000 |  |  | 52,400.00 |  | 54,600.00 |  | 55,800.00 |  | 56,040.00 |  | 63,450.00 |  | 95,500.00 |  | 38,750.00
1 |  | Supply, laying, testing Commissioning of C class heavy duty MS pipe conforming to IS 3589 1239 for hydrent and sprinkler applications including fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. fixing the pipe on the wall ceiling with suitable clamps, U bolt and including painting of two coats of Red Oxide , painting with two or more coats of synthetic enamel paint of Post office red shade complete as required.The installation includes all civil openings , breakages and making good the same. ( Final Quantity Measure as per site after working ) | Supply, laying, testing Commissioning of C class heavy duty MS pipe conforming to IS 3589 1239 for hydrent and sprinkler applications including fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. fixing the pipe on the wall ceiling with suitable clamps, U bolt and including painting of two coats of Red Oxide , painting with two or more coats of synthetic enamel paint of Post office red shade complete as required.The installation includes all civil openings , breakages and making good the same. ( Final Quantity Measure as per site after working )
2 |  | 25 mm dia | 25 mm dia | Mtr. | 13.000 | .00 | 670.00 | 8,710.00 | 550.00 | 7,150.00 | 775.00 | 10,075.00 | 430.00 | 5,590.00 | 850.00 | 11,050.00 | 0.00 | .00 | 750.00 | 9,750.00
3 |  | 32 mm dia | 32 mm dia | Mtr. | 7.000 | .00 | 770.00 | 5,390.00 | 750.00 | 5,250.00 | 975.00 | 6,825.00 | 510.00 | 3,570.00 | 1100.00 | 7,700.00 | 0.00 | .00 | 950.00 | 6,650.00
4 |  | 40 mm dia | 40 mm dia | Mtr. | 5.000 | .00 | 900.00 | 4,500.00 | 850.00 | 4,250.00 | 1070.00 | 5,350.00 | 710.00 | 3,550.00 | 1300.00 | 6,500.00 | 0.00 | .00 | 1150.00 | 5,750.00
5 |  | 50 mm dia | 50 mm dia | Mtr. | 3.000 | .00 | 1100.00 | 3,300.00 | 950.00 | 2,850.00 | 1350.00 | 4,050.00 | 850.00 | 2,550.00 | 1550.00 | 4,650.00 | 0.00 | .00 | 1350.00 | 4,050.00
6 |  | 65 mm dia | 65 mm dia | Mtr. | 0.000 | .00 | 1250.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 1650.00 | .00
7 |  | 80 mm dia | 80 mm dia | Mtr. | 0.000 | .00 | 1750.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 1850.00 | .00
8 |  | 100 mm dia | 100 mm dia | Mtr. | 0.000 | .00 | 2000.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 2050.00 | .00
9 |  | 150 mm dia | 150 mm dia | Mtr. | 0.000 | .00 | 2650.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 2540.00 | .00
10 |  | 200 mm dia, 6.0 mm thick | 200 mm dia, 6.0 mm thick | Mtr. | 0.000 | .00 | 3800.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 3250.00 | .00
11 |  | Supply, laying, testing Commissioning of C class heavy duty MS pipe conforming to IS 3589 and 1239 for hydrent and sprinkler underground rings including all accessories such as screwed welded flanges, tees, reducers etc. Conforming to IS 1239 3589 complete including , welding, jointing with compressed asbestos gaskets, nuts, bolts etc. as required. with cleaning, wrapping and coating of the pipe with 4 mm thick tar based plymaric corrosion protection tape or equivalent including applying uniform coat of cold pipekot primer as per IS; 10221 for protection against corrsion suitable for all kind of soil at 1.0 M depth including excavation and making good the same as required at site . ( Final Quantity Measure as per site after working ) | Supply, laying, testing Commissioning of C class heavy duty MS pipe conforming to IS 3589 and 1239 for hydrent and sprinkler underground rings including all accessories such as screwed welded flanges, tees, reducers etc. Conforming to IS 1239 3589 complete including , welding, jointing with compressed asbestos gaskets, nuts, bolts etc. as required. with cleaning, wrapping and coating of the pipe with 4 mm thick tar based plymaric corrosion protection tape or equivalent including applying uniform coat of cold pipekot primer as per IS; 10221 for protection against corrsion suitable for all kind of soil at 1.0 M depth including excavation and making good the same as required at site . ( Final Quantity Measure as per site after working )
12 |  | 80 mm dia | 80 mm dia | Mtr. | 0.000 | .00 | 2000.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 1850.00 | .00
13 |  | 100 mm dia | 100 mm dia | Mtr. | 0.000 | .00 | 2350.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 2050.00 | .00
14 |  | 150 mm dia | 150 mm dia | Mtr. | 0.000 | .00 | 2900.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 2450.00 | .00
15 |  | Supply, installation, testing and commissioning of Brass ball valves of following sizes as required. | Supply, installation, testing and commissioning of Brass ball valves of following sizes as required.
16 |  | 25 mm dia. | 25 mm dia. | Each | 0.000 | .00 | 1450.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 1840.00 | .00
17 |  | 32 mm dia. | 32 mm dia. | Each | 0.000 | .00 | 1850.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 3250.00 | .00
18 |  | 40 mm dia. | 40 mm dia. | Each | 0.000 | .00 | 2800.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 4450.00 | .00
19 |  | 50 mm dia | 50 mm dia | Each | 1.000 | .00 | 4000.00 | 4,000.00 | 4500.00 | 4,500.00 | 3000.00 | 3,000.00 | 3300.00 | 3,300.00 | 4000.00 | 4,000.00 | 0.00 | .00 | 5750.00 | 5,750.00
20 |  | 65mm dia. | 65mm dia. | Each | 0.000 | .00 | 6500.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 7250.00 | .00
21 |  | Supply, fixing, testing commissioning of 15 mm dia size ,quartzoid bulb sprinkler heads suitable for 68 degree centigrade rating of the following type | Supply, fixing, testing commissioning of 15 mm dia size ,quartzoid bulb sprinkler heads suitable for 68 degree centigrade rating of the following type
22 |  | Pendant type | Pendant type | Each | 8.000 | 4,000.00 | 550.00 | 4,400.00 | 850.00 | 6,800.00 | 500.00 | 4,000.00 | 2150.00 | 17,200.00 | 750.00 | 6,000.00 | 6500.00 | 52,000.00 | 850.00 | 6,800.00
23 |  | Upright type | Upright type | Each | 0.000 | .00 | 550.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 950.00 | .00
24 |  | Side wall type | Side wall type | Each | 0.000 | .00 | 850.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 1250.00 | .00
25 |  | Supply Fixing ISI marked ( IS 15683 ) Portable Fire Exitnguisher, ABC type,finished externally with red enamel paint, complete in all respects including initial fill and wall suspension of following capacity. | Supply Fixing ISI marked ( IS 15683 ) Portable Fire Exitnguisher, ABC type,finished externally with red enamel paint, complete in all respects including initial fill and wall suspension of following capacity.
26 |  | 6 kg | 6 kg | Each | 1.000 | .00 | 5800.00 | 5,800.00 | 5200.00 | 5,200.00 | 4000.00 | 4,000.00 | 1920.00 | 1,920.00 | 8500.00 | 8,500.00 | 8500.00 | 8,500.00 | 0.00 | .00
27 |  | Supply Fixing ISI marked ( IS 15683 ) Portable fire Extinguisher, Carbon-dioxide type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long complete in all respects including initial fill with C02 gas confirming to IS 307-1966 filled to a filling ratio of not more than 0.667and wall suspension bracket. Capacity 5 Kg. | Supply Fixing ISI marked ( IS 15683 ) Portable fire Extinguisher, Carbon-dioxide type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long complete in all respects including initial fill with C02 gas confirming to IS 307-1966 filled to a filling ratio of not more than 0.667and wall suspension bracket. Capacity 5 Kg. | Each | 1.000 | .00 | 6800.00 | 6,800.00 | 5600.00 | 5,600.00 | 8000.00 | 8,000.00 | 6360.00 | 6,360.00 | 5550.00 | 5,550.00 | 16500.00 | 16,500.00 | 0.00 | .00
28 |  | Supply Fixing ISI marked ( IS 15683 ) Portable fire Extinguisher, k type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long complete in all respects including initial fill. Capacity 6kg | Supply Fixing ISI marked ( IS 15683 ) Portable fire Extinguisher, k type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long complete in all respects including initial fill. Capacity 6kg | Each | 1.000 | .00 | 9500.00 | 9,500.00 | 11500.00 | 11,500.00 | 10500.00 | 10,500.00 | 12000.00 | 12,000.00 | 9500.00 | 9,500.00 | 18500.00 | 18,500.00 | 0.00 | .00
29 |  | Supply and fixing M.S. structural work fabricated from standard sections i.e. rounds, solid angles, slotted angles, channels including cutting to size, drilling, welding, fixing and welding to insert plates in RCC structural members as directed by Engineer-in-charge including cutting and making good the walls and floors (for hangers, supports, clamps, etc.) | Supply and fixing M.S. structural work fabricated from standard sections i.e. rounds, solid angles, slotted angles, channels including cutting to size, drilling, welding, fixing and welding to insert plates in RCC structural members as directed by Engineer-in-charge including cutting and making good the walls and floors (for hangers, supports, clamps, etc.) | Kg | 0.000 | .00 | 140.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
30 |  | Supplying, installation, testing commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes complete as required. | Supplying, installation, testing commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes complete as required.
31 |  | 700 MM LONG | 700 MM LONG | Each | 0.000 | .00 | 1500.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 1650.00 | .00

## Technical Score Detail
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Vendor Name : KMS INTERIOR |  | Vendor Name : PIONEER PROJECT SOLUTION |  | Vendor Name : Distint India Enterprises LLP |  | Vendor Name : Red Room Referesh interiors Pvt. Ltd. |  | Vendor Name : VYAN VENTURES PRIVATE LIMITED |  | Vendor Name : Mahamaya Engineering |  | Vendor Name : ANJLE MEP PROJECT PVT LTD
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ #: R0441 | RFQ #: R0441 | RFQ #: R0441 | Contact Name : Kundan Suthar |  | Contact Name : Mohd Ashraf/Rayyan Javed |  | Contact Name : Sanjay Jain |  | Contact Name : Jayant |  | Contact Name : Santosh Kumar/Ved Prakash Pandey |  | Contact Name : Yash Katoch |  | Contact Name :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ Date : 05/03/2024 15:26:37 | RFQ Date : 05/03/2024 15:26:37 | RFQ Date : 05/03/2024 15:26:37 | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City : Delhi |  | Vendor City : |  | Vendor City : delhi |  | Vendor City :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # : 9999984384 |  | Telephone # : |  | Telephone # : 9810360460 |  | Telephone # :
|  | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT | RFQ No: R0441 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # : 98102 60645 |  | Mobile # : 9999984384 |  | Mobile # : |  | Mobile # : 9810360460 |  | Mobile # :
PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | PR Number : TFS-2324-00041 | Email : pravin.takle@kapcocatering.com |  | Email : projectspioneer@gmail.com |  | Email : di.sanjayjain@gmail.com |  | Email : info.rrrinteriors@gmail.com |  | Email : vyanventures01@gmail.com |  | Email : mahamaya.engineering1@gmail.com |  | Email : anjlemepprojects@gmail.com
Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Package / RFQ Name : FIRE WORK FOR BIKANERVALA | Round # : 4 (Auction) |  | Round # : 4 (Auction) |  | Round # : 4 (Auction) |  | Round # : 4 (Auction) |  | Round # : 4 (Auction) |  | Round # : 4 (Auction) |  | Round # : 4 (Auction)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | Comp. # : 4 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | FIRE WORK FOR BIKANERVALA |  | EA | 1.000 | 0.00 | 0.00
2 |  | Supply, laying, testing Commissioning of C class heavy duty MS pipe conforming to IS 3589 1239 for hydrent and sprinkler applications including fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. fixing the pipe on the wall ceiling with suitable clamps, U bolt and including painting of two coats of Red Oxide , painting with two or more coats of synthetic enamel paint of Post office red shade complete as required.The installation includes all civil openings , breakages and making good the same. ( Final Quantity Measure as per site after working ) |  |  | 0.000 | 0.00 | 0.00
3 |  | 25 mm dia |  | Mtr. | 13.000 | 0.00 | 0.00
4 |  | 32 mm dia |  | Mtr. | 7.000 | 0.00 | 0.00
5 |  | 40 mm dia |  | Mtr. | 5.000 | 0.00 | 0.00
6 |  | 50 mm dia |  | Mtr. | 3.000 | 0.00 | 0.00
7 |  | 65 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
8 |  | 80 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
9 |  | 100 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
10 |  | 150 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
11 |  | 200 mm dia, 6.0 mm thick |  | Mtr. | 0.000 | 0.00 | 0.00
12 |  | Supply, laying, testing Commissioning of C class heavy duty MS pipe conforming to IS 3589 and 1239 for hydrent and sprinkler underground rings including all accessories such as screwed welded flanges, tees, reducers etc. Conforming to IS 1239 3589 complete including , welding, jointing with compressed asbestos gaskets, nuts, bolts etc. as required. with cleaning, wrapping and coating of the pipe with 4 mm thick tar based plymaric corrosion protection tape or equivalent including applying uniform coat of cold pipekot primer as per IS; 10221 for protection against corrsion suitable for all kind of soil at 1.0 M depth including excavation and making good the same as required at site . ( Final Quantity Measure as per site after working ) |  |  | 0.000 | 0.00 | 0.00
13 |  | 80 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
14 |  | 100 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
15 |  | 150 mm dia |  | Mtr. | 0.000 | 0.00 | 0.00
16 |  | Supply, installation, testing and commissioning of Brass ball valves of following sizes as required. |  |  | 0.000 | 0.00 | 0.00
17 |  | 25 mm dia. |  | Each | 0.000 | 0.00 | 0.00
18 |  | 32 mm dia. |  | Each | 0.000 | 0.00 | 0.00
19 |  | 40 mm dia. |  | Each | 0.000 | 0.00 | 0.00
20 |  | 50 mm dia |  | Each | 1.000 | 0.00 | 0.00
21 |  | 65mm dia. |  | Each | 0.000 | 0.00 | 0.00
22 |  | Supply, fixing, testing commissioning of 15 mm dia size ,quartzoid bulb sprinkler heads suitable for 68 degree centigrade rating of the following type |  |  | 0.000 | 0.00 | 0.00
23 |  | Pendant type |  | Each | 8.000 | 0.00 | 0.00
24 |  | Upright type |  | Each | 0.000 | 0.00 | 0.00
25 |  | Side wall type |  | Each | 0.000 | 0.00 | 0.00
26 |  | Supply Fixing ISI marked ( IS 15683 ) Portable Fire Exitnguisher, ABC type,finished externally with red enamel paint, complete in all respects including initial fill and wall suspension of following capacity. |  |  | 0.000 | 0.00 | 0.00
27 |  | 6 kg |  | Each | 1.000 | 0.00 | 0.00
28 |  | Supply Fixing ISI marked ( IS 15683 ) Portable fire Extinguisher, Carbon-dioxide type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long complete in all respects including initial fill with C02 gas confirming to IS 307-1966 filled to a filling ratio of not more than 0.667and wall suspension bracket. Capacity 5 Kg. |  | Each | 1.000 | 0.00 | 0.00
29 |  | Supply Fixing ISI marked ( IS 15683 ) Portable fire Extinguisher, k type flat base including valve, discharge hose of not less than 10 mm dia. min. 600 mm long complete in all respects including initial fill. Capacity 6kg |  | Each | 1.000 | 0.00 | 0.00
30 |  | Supply and fixing M.S. structural work fabricated from standard sections i.e. rounds, solid angles, slotted angles, channels including cutting to size, drilling, welding, fixing and welding to insert plates in RCC structural members as directed by Engineer-in-charge including cutting and making good the walls and floors (for hangers, supports, clamps, etc.) |  | Kg | 0.000 | 0.00 | 0.00
31 |  | Supplying, installation, testing commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets, center bracket, stockbar of following sizes complete as required. |  |  | 0.000 | 0.00 | 0.00
32 |  | 700 MM LONG |  | Each | 0.000 | 0.00 | 0.00