## Price Comparison
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Vendor Name : Red Room Referesh interiors Pvt. Ltd. (RV232409799) | [5 empty] | Vendor Name : V S CONSTRUCTION (RV232410155) | [5 empty] | Vendor Name : KMS INTERIOR (RV232410212) | [5 empty] | Vendor Name : VYAN VENTURES PRIVATE LIMITED (RV232410150) | [5 empty] | Vendor Name : Distint India Enterprises LLP (RV232421254)
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ #: R0442 | RFQ #: R0442 | RFQ #: R0442 | Contact Name : Jayant | [5 empty] | Contact Name : Ritesh Saini/Ramesh Singh | [5 empty] | Contact Name : Kundan Suthar | [5 empty] | Contact Name : Santosh Kumar/Ved Prakash Pandey | [5 empty] | Contact Name : Sanjay Jain
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ Date : 05/03/2024 15:35:18 | RFQ Date : 05/03/2024 15:35:18 | RFQ Date : 05/03/2024 15:35:18 | Vendor City : Delhi | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : 9999984384 | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT |  |  |  | Mobile # : 9999984384 | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # : 98102 60645
PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | Email : info.rrrinteriors@gmail.com | [5 empty] | Email : ramesh@vsconstructionindia.com | [5 empty] | Email : pravin.takle@kapcocatering.com | [5 empty] | Email : vyanventures01@gmail.com | [5 empty] | Email : di.sanjayjain@gmail.com
Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Round # : 3 (Auction) | [5 empty] | Round # : 3 (Auction) | [5 empty] | Round # : 3 (Auction) | [5 empty] | Round # : 3 (Auction) | [5 empty] | Round # : 3 (Auction)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | PLUMBING WORK FOR BIKARNERVALA | EA | 1.00 |  | 317865.00 | Red Room Referesh interiors Pvt. Ltd. | 324065.00 | 0.00 | 0.00 |  | 317,865.00 | 317,865.00 | 359500.00 | 0.00 | 0.00 |  | 359,500.00 | 359,500.00 | 620225.00 | 0.00 | 0.00 |  | 620,225.00 | 620,225.00 | 717550.00 | 0.00 | 0.00 |  | 717,550.00 | 717,550.00 | 785835.00 | 0.00 | 0.00 |  | 700,000.00 | 700,000.00
Item Total | [8 empty] | .00 | .00 |  |  | 317,865.00 |  | .00 | .00 |  |  | 359,500.00 |  | .00 | .00 |  |  | 620,225.00 |  | .00 | .00 |  |  | 717,550.00 |  | .00 | .00 |  |  | 700,000.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | .00 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | .00 | [5 empty] | .00
Net Landed Cost | [11 empty] | INR | 317,865.00 |  |  |  |  | INR | 359,500.00 |  |  |  |  | INR | 620,225.00 |  |  |  |  | INR | 717,550.00 |  |  |  |  | INR | 700,000.00
Vendor Status | [7 empty] | Round # : 3 (Auction) | Round # : 3 (Auction)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421254 | Distint India Enterprises LLP | [5 empty] | Participate
2 | RV232409799 | Red Room Referesh interiors Pvt. Ltd. | [5 empty] | Participate
3 | RV232410212 | KMS INTERIOR | [5 empty] | Participate
4 | RV232410155 | V S CONSTRUCTION | [5 empty] | Participate
5 | RV232410150 | VYAN VENTURES PRIVATE LIMITED | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : V S CONSTRUCTION | Vendor Name : V S CONSTRUCTION | Vendor Name : KMS INTERIOR | Vendor Name : KMS INTERIOR | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : Distint India Enterprises LLP | Vendor Name : Distint India Enterprises LLP
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ #: R0442 | RFQ #: R0442 | RFQ #: R0442 | Contact Name : Jayant | Contact Name : Jayant | Contact Name : Ritesh Saini/Ramesh Singh | Contact Name : Ritesh Saini/Ramesh Singh | Contact Name : Kundan Suthar | Contact Name : Kundan Suthar | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Sanjay Jain | Contact Name : Sanjay Jain
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ Date : 05/03/2024 15:35:18 | RFQ Date : 05/03/2024 15:35:18 | RFQ Date : 05/03/2024 15:35:18 | Vendor City : Delhi | Vendor City : Delhi | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : 9999984384 | Telephone # : 9999984384 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT |  |  |  | Mobile # : 9999984384 | Mobile # : 9999984384 | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : 98102 60645 | Mobile # : 98102 60645
PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | Email : info.rrrinteriors@gmail.com | Email : info.rrrinteriors@gmail.com | Email : ramesh@vsconstructionindia.com | Email : ramesh@vsconstructionindia.com | Email : pravin.takle@kapcocatering.com | Email : pravin.takle@kapcocatering.com | Email : vyanventures01@gmail.com | Email : vyanventures01@gmail.com | Email : di.sanjayjain@gmail.com | Email : di.sanjayjain@gmail.com
Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction) | Round # : 3 (Auction)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | PLUMBING WORK FOR BIKARNERVALA | PLUMBING WORK FOR BIKARNERVALA | EA | 1.000 |  |  | 324,065.00 |  | 359,500.00 |  | 620,225.00 |  | 717,550.00 |  | 785,835.00
1 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes SDR 11, having thermal stability for hot cold water supply including all CPVC plain brass threaded fittings i c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (Concealed work including cutting chases and making good the walls etc.,) Pressure Testing (Pipe shall be tested with 1.5 times working pressure as covered in specifications) | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes SDR 11, having thermal stability for hot cold water supply including all CPVC plain brass threaded fittings i c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (Concealed work including cutting chases and making good the walls etc.,) Pressure Testing (Pipe shall be tested with 1.5 times working pressure as covered in specifications)
2 |  | 15 mm Dia | 15 mm Dia | R.mt | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 200.00 | .00 | 0.00 | .00 | 0.00 | .00
3 |  | 20 mm Dia | 20 mm Dia | R.mt | 50.000 | 10,000.00 | 330.00 | 16,500.00 | 200.00 | 10,000.00 | 225.00 | 11,250.00 | 450.00 | 22,500.00 | 210.00 | 10,500.00
4 |  | 25 mm Dia | 25 mm Dia | R.mt | 35.000 | 9,625.00 | 420.00 | 14,700.00 | 380.00 | 13,300.00 | 275.00 | 9,625.00 | 500.00 | 17,500.00 | 345.00 | 12,075.00
5 |  | 32mm Dia | 32mm Dia | R.mt | 0.000 | .00 | 0.00 | .00 | 500.00 | .00 | 350.00 | .00 | 0.00 | .00 | 0.00 | .00
6 |  | Providing fixing gun metal lever operated ball valve. Tested to a pressure of 15 Kg Sqcm. Including flanges union, nuts, bolts, washer etc. Complete as required. | Providing fixing gun metal lever operated ball valve. Tested to a pressure of 15 Kg Sqcm. Including flanges union, nuts, bolts, washer etc. Complete as required.
7 |  | 20mm Dia | 20mm Dia | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 1000.00 | .00 | 0.00 | .00 | 0.00 | .00
8 |  | 25mm Dia | 25mm Dia | Nos. | 2.000 | 1,500.00 | 1375.00 | 2,750.00 | 1000.00 | 2,000.00 | 1500.00 | 3,000.00 | 850.00 | 1,700.00 | 750.00 | 1,500.00
9 |  | 32mm Dia | 32mm Dia | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 2000.00 | .00 | 0.00 | .00 | 0.00 | .00
10 |  | 40mm Dia | 40mm Dia | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 2500.00 | .00 | 0.00 | .00 | 0.00 | .00
11 |  | Providing, fixing, testing and commissioning of NRV with forged brass body, brass diaphram and SS seal in water supply pipes. Complete as required. | Providing, fixing, testing and commissioning of NRV with forged brass body, brass diaphram and SS seal in water supply pipes. Complete as required.
12 |  | 25mm Dia | 25mm Dia | Nos. | 1.000 | 1,200.00 | 1200.00 | 1,200.00 | 1500.00 | 1,500.00 | 2200.00 | 2,200.00 | 2000.00 | 2,000.00 | 1500.00 | 1,500.00
13 |  | Providing, fixing, testing and commissioning of Y STRAINER FLANGED END EPOXY COATED WITH SS SCREEN (CR16B) | Providing, fixing, testing and commissioning of Y STRAINER FLANGED END EPOXY COATED WITH SS SCREEN (CR16B)
14 |  | 25mm Dia | 25mm Dia | Nos. | 1.000 | 750.00 | 750.00 | 750.00 | 1200.00 | 1,200.00 | 3000.00 | 3,000.00 | 5000.00 | 5,000.00 | 1800.00 | 1,800.00
15 |  | Providing and fixing of brass multijet water meters with magnetic transmision of IS-779 1994 including with rubber gasket, flanges unions, nuts, bolts, washers, etc. complete as required. Make Kranti | Providing and fixing of brass multijet water meters with magnetic transmision of IS-779 1994 including with rubber gasket, flanges unions, nuts, bolts, washers, etc. complete as required. Make Kranti
16 |  | 25 mm Dia incoming line | 25 mm Dia incoming line | Nos. | 1.000 | 3,500.00 | 6500.00 | 6,500.00 | 5500.00 | 5,500.00 | 3500.00 | 3,500.00 | 5000.00 | 5,000.00 | 10500.00 | 10,500.00
17 |  | 32 mm Dia incoming line | 32 mm Dia incoming line | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 4000.00 | .00 | 0.00 | .00 | 0.00 | .00
18 |  | 40 mm Dia incoming line | 40 mm Dia incoming line | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 5000.00 | .00 | 0.00 | .00 | 0.00 | .00
19 |  | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories |  | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
20 |  | 5 L Capacity- | 5 L Capacity- | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 7500.00 | .00 | 0.00 | .00 | 0.00 | .00
21 |  | 20 L Capacity | 20 L Capacity | Nos. | 2.000 | .00 | 11000.00 | 22,000.00 | 0.00 | .00 | 15500.00 | 31,000.00 | 12500.00 | 25,000.00 | 35000.00 | 70,000.00
22 |  | 25 L Capacity- | 25 L Capacity- | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 18500.00 | .00 | 0.00 | .00 | 0.00 | .00
23 |  | SITC of Eco smart RO 50 LPH Capacity with all required accessories | SITC of Eco smart RO 50 LPH Capacity with all required accessories | Nos | 1.000 | .00 | 0.00 | .00 | 45000.00 | 45,000.00 | 125000.00 | 125,000.00 | 75000.00 | 75,000.00 | 45000.00 | 45,000.00
24 |  | SITC of grease trap -model NGT-14 Capacity -25.5 lit ( 28 LPM) with all required accessories( SIZE - | SITC of grease trap -model NGT-14 Capacity -25.5 lit ( 28 LPM) with all required accessories( SIZE - | Nos | 3.000 | 90,000.00 | 30000.00 | 90,000.00 | 35000.00 | 105,000.00 | 38500.00 | 115,500.00 | 45000.00 | 135,000.00 | 120000.00 | 360,000.00
25 |  | SITC of grease trap -model NGT-30 Capacity -47.5 lit ( 57 LPM) with all required accessories( SIZE - | SITC of grease trap -model NGT-30 Capacity -47.5 lit ( 57 LPM) with all required accessories( SIZE - | Nos | 1.000 | 40,000.00 | 40000.00 | 40,000.00 | 55000.00 | 55,000.00 | 65000.00 | 65,000.00 | 65000.00 | 65,000.00 | 135000.00 | 135,000.00
26 |  | DRAINAGE | DRAINAGE
27 |  | Providing and fixing Upvc SWR pipes ( Class B Heavy Type) including all fittings (plain or door) e.g. bends, junction, cowls, offsets, access pieces, jointing with rubber ring solvent cement joints,jali,clamps including cutting chase or holes in walls and floors and making good where required.( Inside the building) | Providing and fixing Upvc SWR pipes ( Class B Heavy Type) including all fittings (plain or door) e.g. bends, junction, cowls, offsets, access pieces, jointing with rubber ring solvent cement joints,jali,clamps including cutting chase or holes in walls and floors and making good where required.( Inside the building)
28 |  | 50mm Dia | 50mm Dia | R.mt | 7.000 | 1,050.00 | 335.00 | 2,345.00 | 150.00 | 1,050.00 | 400.00 | 2,800.00 | 450.00 | 3,150.00 | 325.00 | 2,275.00
29 |  | 75mm Dia | 75mm Dia | R.mt | 4.000 | 1,200.00 | 405.00 | 1,620.00 | 300.00 | 1,200.00 | 550.00 | 2,200.00 | 550.00 | 2,200.00 | 415.00 | 1,660.00
30 |  | 110 mm Dia | 110 mm Dia | R.mt | 20.000 | 8,000.00 | 460.00 | 9,200.00 | 400.00 | 8,000.00 | 950.00 | 19,000.00 | 650.00 | 13,000.00 | 610.00 | 12,200.00
31 |  | 150 mm Dia | 150 mm Dia | R.mt | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 1450.00 | .00 | 0.00 | .00 | 0.00 | .00
32 |  | Providing fixing in position pipe trap of self cleaning design of following sizes for the embedded areas. Making proper connection with , cutting chase hole in floors slabs and bringing the same in proper condition in cement concrete 1 2 4 mix complete as required. including cost of cutting and making good the walls and floors where required. Make | Providing fixing in position pipe trap of self cleaning design of following sizes for the embedded areas. Making proper connection with , cutting chase hole in floors slabs and bringing the same in proper condition in cement concrete 1 2 4 mix complete as required. including cost of cutting and making good the walls and floors where required. Make
33 |  | P-trap 110 mm dia | P-trap 110 mm dia | Each | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 1150.00 | .00 | 0.00 | .00 | 0.00 | .00
34 |  | Multi trap 110 mm dia with square grating (Outlet 75MM dia) | Multi trap 110 mm dia with square grating (Outlet 75MM dia) | Each | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 1400.00 | .00 | 0.00 | .00 | 0.00 | .00
35 |  | Floor trap 110 mm dia with grating(Outlet 75MM dia) | Floor trap 110 mm dia with grating(Outlet 75MM dia) | Each | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 1250.00 | .00 | 0.00 | .00 | 0.00 | .00
36 |  | Nahani trap 110 mm dia with grating(Outlet 75MM dia) | Nahani trap 110 mm dia with grating(Outlet 75MM dia) | Each | 7.000 | 3,675.00 | 1250.00 | 8,750.00 | 750.00 | 5,250.00 | 1350.00 | 9,450.00 | 1000.00 | 7,000.00 | 525.00 | 3,675.00
37 |  | SANITARY AND C. P. FITTINGS FIXTURES | SANITARY AND C. P. FITTINGS FIXTURES
38 |  | Only installation, testing and commissioning of sanitary and C.P. fittings | Only installation, testing and commissioning of sanitary and C.P. fittings
39 |  | Providing and Fixing of Handwash foot oprating S.S. sink without drain board over all size 600Wx700Dx850H mm +100 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Providing and Fixing of Handwash foot oprating S.S. sink without drain board over all size 600Wx700Dx850H mm +100 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Nos | 1.000 | .00 | 0.00 | .00 | 0.00 | .00 | 25500.00 | 25,500.00 | 7000.00 | 7,000.00 | 10500.00 | 10,500.00
40 |  | Providing and Fixing of RO S.S. sink without drain board over all size 600Wx700Dx850H mm +200 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Providing and Fixing of RO S.S. sink without drain board over all size 600Wx700Dx850H mm +200 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Nos | 1.000 | .00 | 0.00 | .00 | 0.00 | .00 | 31500.00 | 31,500.00 | 5000.00 | 5,000.00 | 14500.00 | 14,500.00
41 |  | Providing and Fixing of Handwash foot oprating S.S. sink without drain board over all size 450Wx450Dx850H mm +200 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Providing and Fixing of Handwash foot oprating S.S. sink without drain board over all size 450Wx450Dx850H mm +200 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Nos | 1.000 | .00 | 0.00 | .00 | 0.00 | .00 | 22500.00 | 22,500.00 | 7000.00 | 7,000.00 | 13500.00 | 13,500.00
42 |  | Providing and Fixing of Three Bowl S.S. sink without drain board over all size 1500Wx700Dx850H mm +100 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Providing and Fixing of Three Bowl S.S. sink without drain board over all size 1500Wx700Dx850H mm +100 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. | Nos | 1.000 | .00 | 0.00 | .00 | 0.00 | .00 | 55000.00 | 55,000.00 | 25000.00 | 25,000.00 | 22500.00 | 22,500.00
43 |  | Providing and Fixing C.P. brass wall mounted table top sink mixer with swinging spout, wall mounted type complete as required. | Providing and Fixing C.P. brass wall mounted table top sink mixer with swinging spout, wall mounted type complete as required. | Nos | 6.000 | 21,000.00 | 5500.00 | 33,000.00 | 3500.00 | 21,000.00 | 4800.00 | 28,800.00 | 5000.00 | 30,000.00 | 4200.00 | 25,200.00
44 |  | Angle Cock with PVC pipe connection upto sink Geyser RO connection | Angle Cock with PVC pipe connection upto sink Geyser RO connection | Nos | 19.000 | 9,500.00 | 1250.00 | 23,750.00 | 500.00 | 9,500.00 | 1600.00 | 30,400.00 | 12500.00 | 237,500.00 | 1200.00 | 22,800.00
45 |  | S.S. GRATING | S.S. GRATING
46 |  | SITC of , testing and commissioning of S.S.Gratings | SITC of , testing and commissioning of S.S.Gratings
47 |  | Making chamber in brick work including internal tiling etc for S.S Grating size, 300mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. | Making chamber in brick work including internal tiling etc for S.S Grating size, 300mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. | Nos. | 6.000 | 9,150.00 | 8500.00 | 51,000.00 | 12500.00 | 75,000.00 | 4000.00 | 24,000.00 | 4500.00 | 27,000.00 | 1525.00 | 9,150.00

## Technical Score Detail
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Comp. Date : 05/03/2024 | Vendor Name : Red Room Referesh interiors Pvt. Ltd. |  | Vendor Name : V S CONSTRUCTION |  | Vendor Name : KMS INTERIOR |  | Vendor Name : VYAN VENTURES PRIVATE LIMITED |  | Vendor Name : Distint India Enterprises LLP
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ #: R0442 | RFQ #: R0442 | RFQ #: R0442 | Contact Name : Jayant |  | Contact Name : Ritesh Saini/Ramesh Singh |  | Contact Name : Kundan Suthar |  | Contact Name : Santosh Kumar/Ved Prakash Pandey |  | Contact Name : Sanjay Jain
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ Date : 05/03/2024 15:35:18 | RFQ Date : 05/03/2024 15:35:18 | RFQ Date : 05/03/2024 15:35:18 | Vendor City : Delhi |  | Vendor City : |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | BCD Date : | BCD Date : | BCD Date : | Telephone # : 9999984384 |  | Telephone # : |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT | RFQ No: R0442 COST COMPARISON REPORT |  |  |  | Mobile # : 9999984384 |  | Mobile # : |  | Mobile # : |  | Mobile # : |  | Mobile # : 98102 60645
PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | PR Number : TFS-2324-00040 | Email : info.rrrinteriors@gmail.com |  | Email : ramesh@vsconstructionindia.com |  | Email : pravin.takle@kapcocatering.com |  | Email : vyanventures01@gmail.com |  | Email : di.sanjayjain@gmail.com
Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Package / RFQ Name : PLUMBING WORK FOR BIKARNERVALA | Round # : 3 (Auction) |  | Round # : 3 (Auction) |  | Round # : 3 (Auction) |  | Round # : 3 (Auction) |  | Round # : 3 (Auction)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | PLUMBING WORK FOR BIKARNERVALA |  | EA | 1.000 | 0.00 | 0.00
2 |  | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes SDR 11, having thermal stability for hot cold water supply including all CPVC plain brass threaded fittings i c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. (Concealed work including cutting chases and making good the walls etc.,) Pressure Testing (Pipe shall be tested with 1.5 times working pressure as covered in specifications) |  |  | 0.000 | 0.00 | 0.00
3 |  | 15 mm Dia |  | R.mt | 0.000 | 0.00 | 0.00
4 |  | 20 mm Dia |  | R.mt | 50.000 | 0.00 | 0.00
5 |  | 25 mm Dia |  | R.mt | 35.000 | 0.00 | 0.00
6 |  | 32mm Dia |  | R.mt | 0.000 | 0.00 | 0.00
7 |  | Providing fixing gun metal lever operated ball valve. Tested to a pressure of 15 Kg Sqcm. Including flanges union, nuts, bolts, washer etc. Complete as required. |  |  | 0.000 | 0.00 | 0.00
8 |  | 20mm Dia |  | Nos. | 0.000 | 0.00 | 0.00
9 |  | 25mm Dia |  | Nos. | 2.000 | 0.00 | 0.00
10 |  | 32mm Dia |  | Nos. | 0.000 | 0.00 | 0.00
11 |  | 40mm Dia |  | Nos. | 0.000 | 0.00 | 0.00
12 |  | Providing, fixing, testing and commissioning of NRV with forged brass body, brass diaphram and SS seal in water supply pipes. Complete as required. |  |  | 0.000 | 0.00 | 0.00
13 |  | 25mm Dia |  | Nos. | 1.000 | 0.00 | 0.00
14 |  | Providing, fixing, testing and commissioning of Y STRAINER FLANGED END EPOXY COATED WITH SS SCREEN (CR16B) |  |  | 0.000 | 0.00 | 0.00
15 |  | 25mm Dia |  | Nos. | 1.000 | 0.00 | 0.00
16 |  | Providing and fixing of brass multijet water meters with magnetic transmision of IS-779 1994 including with rubber gasket, flanges unions, nuts, bolts, washers, etc. complete as required. Make Kranti |  |  | 0.000 | 0.00 | 0.00
17 |  | 25 mm Dia incoming line |  | Nos. | 1.000 | 0.00 | 0.00
18 |  | 32 mm Dia incoming line |  | Nos. | 0.000 | 0.00 | 0.00
19 |  | 40 mm Dia incoming line |  | Nos. | 0.000 | 0.00 | 0.00
20 |  | Supply, installation,testing commissioning of Storage Type Electric Hot Water Generator of mentioned capacity, suitable for 3 KG cm2 pressure, Wall Mounted Floor standing type, with Auto Shut-off Thermostat, along with isoltion Valves, Air Release valve, SS flexible connections andall other std accessories |  |  | 0.000 | 0.00 | 0.00
21 |  | 5 L Capacity- |  | Nos. | 0.000 | 0.00 | 0.00
22 |  | 20 L Capacity |  | Nos. | 2.000 | 0.00 | 0.00
23 |  | 25 L Capacity- |  | Nos. | 0.000 | 0.00 | 0.00
24 |  | SITC of Eco smart RO 50 LPH Capacity with all required accessories |  | Nos | 1.000 | 0.00 | 0.00
25 |  | SITC of grease trap -model NGT-14 Capacity -25.5 lit ( 28 LPM) with all required accessories( SIZE - |  | Nos | 3.000 | 0.00 | 0.00
26 |  | SITC of grease trap -model NGT-30 Capacity -47.5 lit ( 57 LPM) with all required accessories( SIZE - |  | Nos | 1.000 | 0.00 | 0.00
27 |  | DRAINAGE |  |  | 0.000 | 0.00 | 0.00
28 |  | Providing and fixing Upvc SWR pipes ( Class B Heavy Type) including all fittings (plain or door) e.g. bends, junction, cowls, offsets, access pieces, jointing with rubber ring solvent cement joints,jali,clamps including cutting chase or holes in walls and floors and making good where required.( Inside the building) |  |  | 0.000 | 0.00 | 0.00
29 |  | 50mm Dia |  | R.mt | 7.000 | 0.00 | 0.00
30 |  | 75mm Dia |  | R.mt | 4.000 | 0.00 | 0.00
31 |  | 110 mm Dia |  | R.mt | 20.000 | 0.00 | 0.00
32 |  | 150 mm Dia |  | R.mt | 0.000 | 0.00 | 0.00
33 |  | Providing fixing in position pipe trap of self cleaning design of following sizes for the embedded areas. Making proper connection with , cutting chase hole in floors slabs and bringing the same in proper condition in cement concrete 1 2 4 mix complete as required. including cost of cutting and making good the walls and floors where required. Make |  |  | 0.000 | 0.00 | 0.00
34 |  | P-trap 110 mm dia |  | Each | 0.000 | 0.00 | 0.00
35 |  | Multi trap 110 mm dia with square grating (Outlet 75MM dia) |  | Each | 0.000 | 0.00 | 0.00
36 |  | Floor trap 110 mm dia with grating(Outlet 75MM dia) |  | Each | 0.000 | 0.00 | 0.00
37 |  | Nahani trap 110 mm dia with grating(Outlet 75MM dia) |  | Each | 7.000 | 0.00 | 0.00
38 |  | SANITARY AND C. P. FITTINGS FIXTURES |  |  | 0.000 | 0.00 | 0.00
39 |  | Only installation, testing and commissioning of sanitary and C.P. fittings |  |  | 0.000 | 0.00 | 0.00
40 |  | Providing and Fixing of Handwash foot oprating S.S. sink without drain board over all size 600Wx700Dx850H mm +100 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. |  | Nos | 1.000 | 0.00 | 0.00
41 |  | Providing and Fixing of RO S.S. sink without drain board over all size 600Wx700Dx850H mm +200 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. |  | Nos | 1.000 | 0.00 | 0.00
42 |  | Providing and Fixing of Handwash foot oprating S.S. sink without drain board over all size 450Wx450Dx850H mm +200 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. |  | Nos | 1.000 | 0.00 | 0.00
43 |  | Providing and Fixing of Three Bowl S.S. sink without drain board over all size 1500Wx700Dx850H mm +100 High Single bowl size - with C.P. Brass waste assembly, bottle Trap For sinks with horizontal outlet, (1 1 2 X 40mm) with extension piece wall flange rubbre adopters complete as required. |  | Nos | 1.000 | 0.00 | 0.00
44 |  | Providing and Fixing C.P. brass wall mounted table top sink mixer with swinging spout, wall mounted type complete as required. |  | Nos | 6.000 | 0.00 | 0.00
45 |  | Angle Cock with PVC pipe connection upto sink Geyser RO connection |  | Nos | 19.000 | 0.00 | 0.00
46 |  | S.S. GRATING |  |  | 0.000 | 0.00 | 0.00
47 |  | SITC of , testing and commissioning of S.S.Gratings |  |  | 0.000 | 0.00 | 0.00
48 |  | Making chamber in brick work including internal tiling etc for S.S Grating size, 300mm x 300mm, in 16 swg 25mm x25mm Square Pipe around the Frame and 20mmX 20mm Square pipe in center of frame with SS perforated tray (304 SWR). Complete as per architectural detail drawing Site Engineer s instruction. |  | Nos. | 6.000 | 0.00 | 0.00