## Price Comparison
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | Comp. Date : 11/03/2024 | Comp. Date : 11/03/2024 | Comp. Date : 11/03/2024 | Vendor Name : Red Room Referesh interiors Pvt. Ltd. (RV232409799) | [5 empty] | Vendor Name : KMS INTERIOR (RV232410212) | [5 empty] | Vendor Name : Distint India Enterprises LLP (RV232421254) | [5 empty] | Vendor Name : VYAN VENTURES PRIVATE LIMITED (RV232410150)
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ #: R0445 | RFQ #: R0445 | RFQ #: R0445 | Contact Name : Jayant | [5 empty] | Contact Name : Kundan Suthar | [5 empty] | Contact Name : Sanjay Jain | [5 empty] | Contact Name : Santosh Kumar/Ved Prakash Pandey
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ Date : 23/02/2024 18:20:43 | RFQ Date : 23/02/2024 18:20:43 | RFQ Date : 23/02/2024 18:20:43 | Vendor City : Delhi | [5 empty] | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | BCD Date : 29/02/2024 23:22:00 | BCD Date : 29/02/2024 23:22:00 | BCD Date : 29/02/2024 23:22:00 | Telephone # : 9999984384 | [5 empty] | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT |  |  |  | Mobile # : 9999984384 | [5 empty] | Mobile # : | [5 empty] | Mobile # : 98102 60645 | [5 empty] | Mobile # :
PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | Email : info.rrrinteriors@gmail.com | [5 empty] | Email : pravin.takle@kapcocatering.com | [5 empty] | Email : di.sanjayjain@gmail.com | [5 empty] | Email : vyanventures01@gmail.com
Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Round # : 1 (RFQ) | [5 empty] | Round # : 1 (RFQ) | [5 empty] | Round # : 1 (RFQ) | [5 empty] | Round # : 1 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | DOMINOS ELECTRICAL WORK | LOT | 1.00 |  | 56500.00 | Red Room Referesh interiors Pvt. Ltd. | 56500.00 | 0.00 | 18.00 |  | 56,500.00 | 56,500.00 | 70520.00 | 0.00 | 18.00 |  | 70,520.00 | 70,520.00 | 75675.00 | 0.00 | 18.00 |  | 75,675.00 | 75,675.00 | 93500.00 | 0.00 | 18.00 |  | 93,500.00 | 93,500.00
Item Total | [8 empty] | .00 | 10,170.00 |  |  | 56,500.00 |  | .00 | 12,693.60 |  |  | 70,520.00 |  | .00 | 13,621.50 |  |  | 75,675.00 |  | .00 | 16,830.00 |  |  | 93,500.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 10,170.00 | [5 empty] | 12,693.60 | [5 empty] | 13,621.50 | [5 empty] | 16,830.00
Net Landed Cost | [11 empty] | INR | 66,670.00 |  |  |  |  | INR | 83,213.60 |  |  |  |  | INR | 89,296.50 |  |  |  |  | INR | 110,330.00
Vendor Status | [7 empty] | Round # : 1 (RFQ) | Round # : 1 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421254 | Distint India Enterprises LLP | [5 empty] | Participate
2 | RV232409799 | Red Room Referesh interiors Pvt. Ltd. | [5 empty] | Participate
3 | RV232410212 | KMS INTERIOR | [5 empty] | Participate
4 | RV232410155 | V S CONSTRUCTION | [5 empty] | Participate
5 | RV232410150 | VYAN VENTURES PRIVATE LIMITED | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | Comp. Date : 11/03/2024 | Comp. Date : 11/03/2024 | Comp. Date : 11/03/2024 | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : Red Room Referesh interiors Pvt. Ltd. | Vendor Name : KMS INTERIOR | Vendor Name : KMS INTERIOR | Vendor Name : Distint India Enterprises LLP | Vendor Name : Distint India Enterprises LLP | Vendor Name : VYAN VENTURES PRIVATE LIMITED | Vendor Name : VYAN VENTURES PRIVATE LIMITED
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ #: R0445 | RFQ #: R0445 | RFQ #: R0445 | Contact Name : Jayant | Contact Name : Jayant | Contact Name : Kundan Suthar | Contact Name : Kundan Suthar | Contact Name : Sanjay Jain | Contact Name : Sanjay Jain | Contact Name : Santosh Kumar/Ved Prakash Pandey | Contact Name : Santosh Kumar/Ved Prakash Pandey
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ Date : 23/02/2024 18:20:43 | RFQ Date : 23/02/2024 18:20:43 | RFQ Date : 23/02/2024 18:20:43 | Vendor City : Delhi | Vendor City : Delhi | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | BCD Date : 29/02/2024 23:22:00 | BCD Date : 29/02/2024 23:22:00 | BCD Date : 29/02/2024 23:22:00 | Telephone # : 9999984384 | Telephone # : 9999984384 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT |  |  |  | Mobile # : 9999984384 | Mobile # : 9999984384 | Mobile # : | Mobile # : | Mobile # : 98102 60645 | Mobile # : 98102 60645 | Mobile # : | Mobile # :
PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | Email : info.rrrinteriors@gmail.com | Email : info.rrrinteriors@gmail.com | Email : pravin.takle@kapcocatering.com | Email : pravin.takle@kapcocatering.com | Email : di.sanjayjain@gmail.com | Email : di.sanjayjain@gmail.com | Email : vyanventures01@gmail.com | Email : vyanventures01@gmail.com
Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ) | Round # : 1 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | DOMINOS ELECTRICAL WORK | DOMINOS ELECTRICAL WORK | LOT | 1.000 |  |  | 56,500.00 |  | 70,520.00 |  | 75,675.00 |  | 93,500.00
1 |  | VTPN DB | VTPN DB | Each | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
2 |  | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following -
3 |  | Incomer | Incomer
4 |  | 100A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No | 100A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No
5 |  | Outgoing | Outgoing
6 |  | 6 32A SP MCB - 24 Nos | 6 32A SP MCB - 24 Nos
7 |  | 6 32 Amp TP MCB- 8 Nos | 6 32 Amp TP MCB- 8 Nos
8 |  | With all necessary connections | With all necessary connections | Each | 0.000 | .00 | 0.00 | .00 | 36000.00 | .00 | 0.00 | .00 | 0.00 | .00
9 |  | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following -
10 |  | Incomer | Incomer
11 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No
12 |  | Outgoing | Outgoing
13 |  | 6 32A SP MCB - 18 Nos | 6 32A SP MCB - 18 Nos
14 |  | 6 32 Amp TP MCB- 6 Nos | 6 32 Amp TP MCB- 6 Nos
15 |  | With all necessary connections | With all necessary connections | Each | 0.000 | .00 | 0.00 | .00 | 29500.00 | .00 | 0.00 | .00 | 0.00 | .00
16 |  | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following -
17 |  | Incomer | Incomer
18 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No
19 |  | Outgoing | Outgoing
20 |  | 6 32A SP MCB - 12 Nos | 6 32A SP MCB - 12 Nos
21 |  | 6 32 Amp TP MCB- 4 Nos | 6 32 Amp TP MCB- 4 Nos
22 |  | With all necessary connections | With all necessary connections
23 |  | TPN DB | TPN DB | Each | 0.000 | .00 | 0.00 | .00 | 26500.00 | .00 | 0.00 | .00 | 0.00 | .00
24 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A.
25 |  | Incomer | Incomer
26 |  | 63A FP, MCB of 10kA - 01 No | 63A FP, MCB of 10kA - 01 No
27 |  | Sub Incomer | Sub Incomer
28 |  | 3Nos, DP, 63A, RCBO (30mA). | 3Nos, DP, 63A, RCBO (30mA).
29 |  | Outgoing | Outgoing
30 |  | 6 32A SP MCB - 30 Nos | 6 32A SP MCB - 30 Nos
31 |  | With all necessary connections | With all necessary connections | Each | 0.000 | .00 | 0.00 | .00 | 23500.00 | .00 | 0.00 | .00 | 0.00 | .00
32 |  | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 8 way (4+ 24 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 8 way (4+ 24 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following -
33 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A.
34 |  | 8 Way TPN Double door type DB for Power comprising of following - | 8 Way TPN Double door type DB for Power comprising of following -
35 |  | Incomer | Incomer
36 |  | 40A FP MCB,10kA - 01 No | 40A FP MCB,10kA - 01 No
37 |  | Sub Incomer | Sub Incomer
38 |  | 3Nos, DP, 40A, RCBO (30mA). | 3Nos, DP, 40A, RCBO (30mA).
39 |  | Outgoing | Outgoing
40 |  | 6 32A SP MCB - 18 Nos | 6 32A SP MCB - 18 Nos
41 |  | With all necessary connections | With all necessary connections | Each | 0.000 | .00 | 0.00 | .00 | 21500.00 | .00 | 0.00 | .00 | 0.00 | .00
42 |  | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 6 way (4+ 18 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 6 way (4+ 18 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following -
43 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A.
44 |  | 8 Way TPN Double door type DB for Power comprising of following - | 8 Way TPN Double door type DB for Power comprising of following -
45 |  | Incomer | Incomer
46 |  | 40A FP MCB,10kA - 01 No | 40A FP MCB,10kA - 01 No
47 |  | Sub Incomer | Sub Incomer
48 |  | 3Nos, DP, 40A, RCBO (30mA). | 3Nos, DP, 40A, RCBO (30mA).
49 |  | Outgoing | Outgoing
50 |  | 6 32A SP MCB - 12 Nos | 6 32A SP MCB - 12 Nos
51 |  | With all necessary connections | With all necessary connections
52 |  | SPN DB | SPN DB | Each | 0.000 | .00 | 0.00 | .00 | 19500.00 | .00 | 0.00 | .00 | 0.00 | .00
53 |  | 12 Way SPN Double door type DB for Power comprising of following - | 12 Way SPN Double door type DB for Power comprising of following -
54 |  | Incomer | Incomer
55 |  | 32A DP MCB - 01 No | 32A DP MCB - 01 No
56 |  | Outgoing | Outgoing
57 |  | 6 32A SP MCB - 12 Nos | 6 32A SP MCB - 12 Nos
58 |  | 16A SP MCB -05 Nos | 16A SP MCB -05 Nos
59 |  | With all necessary connections | With all necessary connections | Each | 2.000 | 21,000.00 | 10500.00 | 21,000.00 | 13500.00 | 27,000.00 | 14500.00 | 29,000.00 | 12000.00 | 24,000.00
60 |  | 8 Way SPN Double door type DB for Power comprising of following - | 8 Way SPN Double door type DB for Power comprising of following -
61 |  | Incomer | Incomer
62 |  | 25A DP MCB - 01 No | 25A DP MCB - 01 No
63 |  | Outgoing | Outgoing
64 |  | 16A SP MCB - 04 Nos | 16A SP MCB - 04 Nos
65 |  | 10A SP MCB - 02 Nos | 10A SP MCB - 02 Nos
66 |  | With all necessary connections | With all necessary connections | Each | 0.000 | .00 | 0.00 | .00 | 10500.00 | .00 | 0.00 | .00 | 0.00 | .00
67 |  | 6 Way SPN Double door type DB for Power comprising of following - | 6 Way SPN Double door type DB for Power comprising of following -
68 |  | Incomer | Incomer
69 |  | 16A DP MCB - 01 No | 16A DP MCB - 01 No
70 |  | Outgoing | Outgoing
71 |  | 10A SP MCB - 03 Nos | 10A SP MCB - 03 Nos
72 |  | 16A SP MCB - 1 No | 16A SP MCB - 1 No
73 |  | With all necessary connections | With all necessary connections
74 |  | Isolators ELCB RCBO SWITCH SOCKETS | Isolators ELCB RCBO SWITCH SOCKETS | Each | 0.000 | .00 | 0.00 | .00 | 8000.00 | .00 | 0.00 | .00 | 0.00 | .00
75 |  | Supply , installation, testing comissioning of DP isolator of 25 A | Supply , installation, testing comissioning of DP isolator of 25 A | Each | 0.000 | .00 | 0.00 | .00 | 1150.00 | .00 | 0.00 | .00 | 0.00 | .00
76 |  | Supply , installation, testing comissioning of DP isolator of 32 A | Supply , installation, testing comissioning of DP isolator of 32 A | Each | 0.000 | .00 | 0.00 | .00 | 1250.00 | .00 | 0.00 | .00 | 0.00 | .00
77 |  | Supply , installation, testing comissioning of DP isolator of 40 A | Supply , installation, testing comissioning of DP isolator of 40 A | Each | 0.000 | .00 | 0.00 | .00 | 1350.00 | .00 | 0.00 | .00 | 0.00 | .00
78 |  | Supply , installation, testing comissioning of DP MCB of 25 A | Supply , installation, testing comissioning of DP MCB of 25 A | Each | 0.000 | .00 | 0.00 | .00 | 1250.00 | .00 | 0.00 | .00 | 0.00 | .00
79 |  | Supply , installation, testing comissioning of DP MCB of 32 A | Supply , installation, testing comissioning of DP MCB of 32 A | Each | 0.000 | .00 | 0.00 | .00 | 1300.00 | .00 | 0.00 | .00 | 0.00 | .00
80 |  | Supply , installation, testing comissioning of DP MCB of 40 A | Supply , installation, testing comissioning of DP MCB of 40 A | Each | 0.000 | .00 | 0.00 | .00 | 1300.00 | .00 | 0.00 | .00 | 0.00 | .00
81 |  | Supply , installation, testing comissioning of FP ELCB of 25 A, 100mA | Supply , installation, testing comissioning of FP ELCB of 25 A, 100mA | Each | 0.000 | .00 | 0.00 | .00 | 3200.00 | .00 | 0.00 | .00 | 0.00 | .00
82 |  | Supply , installation, testing comissioning of FP ELCB of 40 A, 100mA | Supply , installation, testing comissioning of FP ELCB of 40 A, 100mA | Each | 0.000 | .00 | 0.00 | .00 | 3900.00 | .00 | 0.00 | .00 | 0.00 | .00
83 |  | Supply , installation, testing comissioning of FP RCBO of 63 A, 100mA | Supply , installation, testing comissioning of FP RCBO of 63 A, 100mA | Each | 0.000 | .00 | 0.00 | .00 | 4600.00 | .00 | 0.00 | .00 | 0.00 | .00
84 |  | Supply, Installation, testing comissioning of 10 amp TPN MCB | Supply, Installation, testing comissioning of 10 amp TPN MCB | Each | 0.000 | .00 | 0.00 | .00 | 1700.00 | .00 | 0.00 | .00 | 0.00 | .00
85 |  | Supply, Installation, testing comissioning of 32 amp TPN MCB | Supply, Installation, testing comissioning of 32 amp TPN MCB | Each | 0.000 | .00 | 0.00 | .00 | 1800.00 | .00 | 0.00 | .00 | 0.00 | .00
86 |  | Supply, Installation, testing comissioning of 40 amp TPN MCB | Supply, Installation, testing comissioning of 40 amp TPN MCB | Each | 0.000 | .00 | 0.00 | .00 | 800.00 | .00 | 0.00 | .00 | 0.00 | .00
87 |  | Providing and fixing TPN DP enclosure box for indoor purpose | Providing and fixing TPN DP enclosure box for indoor purpose | Each | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
88 |  | Providing and fixing TPN DP enclosure box (Wheather Proof) for outdoor purposes | Providing and fixing TPN DP enclosure box (Wheather Proof) for outdoor purposes | Each | 0.000 | .00 | 0.00 | .00 | 1200.00 | .00 | 0.00 | .00 | 0.00 | .00
89 |  | Providing and Fixing 16 amp single phase Industrial socket | Providing and Fixing 16 amp single phase Industrial socket | Each | 0.000 | .00 | 0.00 | .00 | 1600.00 | .00 | 0.00 | .00 | 0.00 | .00
90 |  | Providing and Fixing 25 amp single phase Industrial socket | Providing and Fixing 25 amp single phase Industrial socket | Each | 0.000 | .00 | 0.00 | .00 | 1700.00 | .00 | 0.00 | .00 | 0.00 | .00
91 |  | Providing and Fixing 25 amp three phase Industrial socket | Providing and Fixing 25 amp three phase Industrial socket
92 |  | ISOLATOR - (BEFORE SERVO STABILIZER) | ISOLATOR - (BEFORE SERVO STABILIZER) | Each | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
93 |  | 125A FP, 25kA Thermal Magnetic based MCCB with LSIG Protection with Box (As per the instruction of the Engineer Inchrge) | 125A FP, 25kA Thermal Magnetic based MCCB with LSIG Protection with Box (As per the instruction of the Engineer Inchrge) | Each | 1.000 | 12,500.00 | 12500.00 | 12,500.00 | 13500.00 | 13,500.00 | 19500.00 | 19,500.00 | 15000.00 | 15,000.00
94 |  | 100A FP, 25kA Thermal magneticr based MCCB with LSIG Protection with Box(As per the instruction of the Engineer Inchrge) | 100A FP, 25kA Thermal magneticr based MCCB with LSIG Protection with Box(As per the instruction of the Engineer Inchrge) | Each | 0.000 | .00 | 0.00 | .00 | 12500.00 | .00 | 0.00 | .00 | 0.00 | .00
95 |  | 6 16 Amp Electrical Top | 6 16 Amp Electrical Top
96 |  | Point wiring shall include FRLS wire with all necessary MMS PVC CONDUIT , with all fittings , accessories , couplings,collars etc., junction pull inspection boxes, wires, supports,bushings lamp holders, ceiling rose, flexible conduit, fan hooks wher | Point wiring shall include FRLS wire with all necessary MMS PVC CONDUIT , with all fittings , accessories , couplings,collars etc., junction pull inspection boxes, wires, supports,bushings lamp holders, ceiling rose, flexible conduit, fan hooks wher
97 |  | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MMS PVC conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 s | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MMS PVC conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 s | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
98 |  | Primary (First) light point controlled by a 6A switch. | Primary (First) light point controlled by a 6A switch. | Nos | 0.000 | .00 | 1200.00 | .00 | 1200.00 | .00 | 0.00 | .00 | 0.00 | .00
99 |  | Primary (First) light point controlled by a MCB in the DB. | Primary (First) light point controlled by a MCB in the DB. | Nos | 0.000 | .00 | 1150.00 | .00 | 1450.00 | .00 | 0.00 | .00 | 0.00 | .00
100 |  | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | RMT | 0.000 | .00 | 1150.00 | .00 | 130.00 | .00 | 0.00 | .00 | 0.00 | .00
101 |  | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per sp | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per sp | RMT | 0.000 | .00 | 130.00 | .00 | 145.00 | .00 | 0.00 | .00 | 0.00 | .00
102 |  | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.20 mm dia,including all required accessories,etc as per specification. | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.20 mm dia,including all required accessories,etc as per specification. | RMT | 0.000 | .00 | 150.00 | .00 | 160.00 | .00 | 0.00 | .00 | 0.00 | .00
103 |  | Supplying erecting mains with 2x4 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire laid with conduit trunking inside pole Bus bars or any other places. | Supplying erecting mains with 2x4 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire laid with conduit trunking inside pole Bus bars or any other places.
104 |  | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MS conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 sided | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MS conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 sided | Nos. | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
105 |  | Primary (First) light point controlled by a 6A switch. | Primary (First) light point controlled by a 6A switch. | Nos. | 0.000 | .00 | 0.00 | .00 | 1850.00 | .00 | 0.00 | .00 | 0.00 | .00
106 |  | Primary (First) light point controlled by a MCB in the DB. | Primary (First) light point controlled by a MCB in the DB. | Nos. | 0.000 | .00 | 0.00 | .00 | 2200.00 | .00 | 0.00 | .00 | 0.00 | .00
107 |  | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length | Rmtr | 0.000 | .00 | 0.00 | .00 | 165.00 | .00 | 0.00 | .00 | 0.00 | .00
108 |  | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per specifi | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per specifi | Rmtr | 0.000 | .00 | 0.00 | .00 | 95.00 | .00 | 0.00 | .00 | 0.00 | .00
109 |  | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.20 mm dia,including all required accessories,etc as per specification. | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.20 mm dia,including all required accessories,etc as per specification.
110 |  | Power Point wiring | Power Point wiring
111 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in PVC Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheislin | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in PVC Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheislin | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
112 |  | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | Nos | 0.000 | .00 | 1400.00 | .00 | 1850.00 | .00 | 0.00 | .00 | 0.00 | .00
113 |  | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Nos | 0.000 | .00 | 1100.00 | .00 | 950.00 | .00 | 0.00 | .00 | 0.00 | .00
114 |  | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | Nos | 0.000 | .00 | 1800.00 | .00 | 2650.00 | .00 | 0.00 | .00 | 0.00 | .00
115 |  | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Nos | 0.000 | .00 | 1300.00 | .00 | 1350.00 | .00 | 0.00 | .00 | 0.00 | .00
116 |  | Additional 6 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) Wire will be paid in R | Additional 6 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) Wire will be paid in R
117 |  | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in PVC Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in PVC Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
118 |  | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | Nos | 0.000 | .00 | 1900.00 | .00 | 3200.00 | .00 | 0.00 | .00 | 0.00 | .00
119 |  | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring | Nos | 0.000 | .00 | 1300.00 | .00 | 2800.00 | .00 | 0.00 | .00 | 0.00 | .00
120 |  | Additional 16 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) . Wire will be paid i | Additional 16 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) . Wire will be paid i | Rmtr | 0.000 | .00 | 1200.00 | .00 | 230.00 | .00 | 0.00 | .00 | 0.00 | .00
121 |  | Supply and Laying of Wiring for light power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core wire in surface recessed medium class MMS PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for lo | Supply and Laying of Wiring for light power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core wire in surface recessed medium class MMS PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for lo
122 |  | Power Point wiring(MS conduit) | Power Point wiring(MS conduit)
123 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in MS Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in MS Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
124 |  | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch | Nos | 0.000 | .00 | 0.00 | .00 | 2250.00 | .00 | 0.00 | .00 | 0.00 | .00
125 |  | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length | Nos | 0.000 | .00 | 0.00 | .00 | 1150.00 | .00 | 0.00 | .00 | 0.00 | .00
126 |  | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch | Nos | 0.000 | .00 | 0.00 | .00 | 2850.00 | .00 | 0.00 | .00 | 0.00 | .00
127 |  | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length
128 |  | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in MS Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling a | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in MS Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling a | Nos | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
129 |  | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. | Nos | 0.000 | .00 | 0.00 | .00 | 4800.00 | .00 | 0.00 | .00 | 0.00 | .00
130 |  | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring
131 |  | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface recess including cutting the wall floor and making good the same in case of recessed conduit as required. | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface recess including cutting the wall floor and making good the same in case of recessed conduit as required. | Rmtr | 50.000 | .00 | 65.00 | 3,250.00 | 70.00 | 3,500.00 | 80.00 | 4,000.00 | 0.00 | .00
132 |  | 20 mm | 20 mm | Rmtr | 50.000 | 3,700.00 | 74.00 | 3,700.00 | 80.00 | 4,000.00 | 80.00 | 4,000.00 | 400.00 | 20,000.00
133 |  | 25 mm | 25 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 90.00 | .00 | 110.00 | .00 | 0.00 | .00
134 |  | 32 mm | 32 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 105.00 | .00 | 0.00 | .00 | 0.00 | .00
135 |  | 40 mm | 40 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 120.00 | .00 | 0.00 | .00 | 0.00 | .00
136 |  | 50 mm | 50 mm
137 |  | Supplying and fixing of following sizes of MS conduit along with accessories in surface recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | Supplying and fixing of following sizes of MS conduit along with accessories in surface recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | Rmtr | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
138 |  | 20 mm | 20 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 120.00 | .00 | 0.00 | .00 | 0.00 | .00
139 |  | 25 mm | 25 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 135.00 | .00 | 0.00 | .00 | 0.00 | .00
140 |  | 32 mm | 32 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 145.00 | .00 | 0.00 | .00 | 0.00 | .00
141 |  | 40 mm | 40 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 170.00 | .00 | 0.00 | .00 | 0.00 | .00
142 |  | 50 mm | 50 mm | Rmtr | 0.000 | .00 | 0.00 | .00 | 200.00 | .00 | 0.00 | .00 | 0.00 | .00
143 |  | Supplying erecting MMS PVC flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Supplying erecting MMS PVC flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr | 0.000 | .00 | 0.00 | .00 | 60.00 | .00 | 0.00 | .00 | 0.00 | .00
144 |  | Supplying erecting M.S flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Supplying erecting M.S flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr | 10.000 | 700.00 | 70.00 | 700.00 | 75.00 | 750.00 | 260.00 | 2,600.00 | 350.00 | 3,500.00
145 |  | Supplying erecting PVC flexible Conduit 50 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Supplying erecting PVC flexible Conduit 50 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. | Rmtr | 0.000 | .00 | 0.00 | .00 | 80.00 | .00 | 0.00 | .00 | 0.00 | .00
146 |  | Supply, Installation, Testing Commissioning of G.I Conduit 32mm dia with necessary accessories in wall floor with chiselling appropriately as per specification. | Supply, Installation, Testing Commissioning of G.I Conduit 32mm dia with necessary accessories in wall floor with chiselling appropriately as per specification. | Rmtr | 0.000 | .00 | 0.00 | .00 | 130.00 | .00 | 0.00 | .00 | 0.00 | .00
147 |  | Supply, Installation, Testing Commissioning of G.I conduit 25 mm in dia with necessary accessories in RCC work false ceiling false flooring as per specification | Supply, Installation, Testing Commissioning of G.I conduit 25 mm in dia with necessary accessories in RCC work false ceiling false flooring as per specification
148 |  | LT CABLES TERMINATIONS | LT CABLES TERMINATIONS
149 |  | Supply, Errecting, Termination Commissioning of following sizes of 1.1 KV grade FRLS Armoured Unarmoured Copper Aluminum conductor cables laid over MS supports cable racks trays or fixing on walls including clamping the cable to supports cable racks or | Supply, Errecting, Termination Commissioning of following sizes of 1.1 KV grade FRLS Armoured Unarmoured Copper Aluminum conductor cables laid over MS supports cable racks trays or fixing on walls including clamping the cable to supports cable racks or | Rmtr | 0.000 | .00 | 0.00 | .00 | 350.00 | .00 | 0.00 | .00 | 0.00 | .00
150 |  | 4Cx16 Sq.mm AL Arm. XLPE | 4Cx16 Sq.mm AL Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 460.00 | .00 | 0.00 | .00 | 0.00 | .00
151 |  | 4Cx25 Sq.mm AL Arm. XLPE | 4Cx25 Sq.mm AL Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 240.00 | .00 | 0.00 | .00 | 0.00 | .00
152 |  | 3Cx2.5 Sqmm Cu. Arm. XLPE | 3Cx2.5 Sqmm Cu. Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 320.00 | .00 | 0.00 | .00 | 0.00 | .00
153 |  | 3Cx4 Sqmm Cu. Arm. XLPE | 3Cx4 Sqmm Cu. Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 420.00 | .00 | 0.00 | .00 | 0.00 | .00
154 |  | 3.5Cx35 Sq.mm AL Arm. XLPE | 3.5Cx35 Sq.mm AL Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 500.00 | .00 | 0.00 | .00 | 0.00 | .00
155 |  | 3.5Cx50 Sq.mm AL Arm. XLPE | 3.5Cx50 Sq.mm AL Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 850.00 | .00 | 0.00 | .00 | 0.00 | .00
156 |  | 3.5Cx70 Sq.mm AL Arm. XLPE | 3.5Cx70 Sq.mm AL Arm. XLPE | Rmtr | 0.000 | .00 | 837.00 | .00 | 1100.00 | .00 | 0.00 | .00 | 0.00 | .00
157 |  | 3.5Cx95 Sq.mm AL Arm. XLPE | 3.5Cx95 Sq.mm AL Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 250.00 | .00 | 0.00 | .00 | 0.00 | .00
158 |  | 4Cx2.5 Sq.mm Cu. Arm. XLPE | 4Cx2.5 Sq.mm Cu. Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 330.00 | .00 | 0.00 | .00 | 0.00 | .00
159 |  | 4Cx4 Sq.mm Cu. Arm. XLPE | 4Cx4 Sq.mm Cu. Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 460.00 | .00 | 0.00 | .00 | 0.00 | .00
160 |  | 4C x 6 sq.mm Cu. Arm. XLPE | 4C x 6 sq.mm Cu. Arm. XLPE | Rmtr | 0.000 | .00 | 0.00 | .00 | 775.00 | .00 | 0.00 | .00 | 0.00 | .00
161 |  | 4Cx10 Sq.mm Cu. Arm. XLPE | 4Cx10 Sq.mm Cu. Arm. XLPE | Rmtr | 0.000 | .00 | 749.00 | .00 | 1200.00 | .00 | 0.00 | .00 | 0.00 | .00
162 |  | 4C x 16 sq.mm Cu. Arm. XLPE | 4C x 16 sq.mm Cu. Arm. XLPE
163 |  | Supplying and making indoor Cable end Termination of following sizes 1.1kV grade LT XLPE insulated, HR PVC sheathed, stranded Aluminum copper conductor, Armoured Unarmoured cables as per IS 7098 part-I including cost of tinned copper Aluminium heavy du | Supplying and making indoor Cable end Termination of following sizes 1.1kV grade LT XLPE insulated, HR PVC sheathed, stranded Aluminum copper conductor, Armoured Unarmoured cables as per IS 7098 part-I including cost of tinned copper Aluminium heavy du
164 |  | 2 3 3.5 4 CORES AL. CABLE WITH AL. LUGS | 2 3 3.5 4 CORES AL. CABLE WITH AL. LUGS | Jt | 0.000 | .00 | 0.00 | .00 | 800.00 | .00 | 0.00 | .00 | 0.00 | .00
165 |  | 35 sq.mm. | 35 sq.mm. | Jt | 0.000 | .00 | 0.00 | .00 | 950.00 | .00 | 0.00 | .00 | 0.00 | .00
166 |  | 50 sq.mm. | 50 sq.mm. | Jt | 0.000 | .00 | 0.00 | .00 | 1000.00 | .00 | 0.00 | .00 | 0.00 | .00
167 |  | 70 sq.mm. | 70 sq.mm. | Rmtr | 0.000 | .00 | 0.00 | .00 | 1650.00 | .00 | 0.00 | .00 | 0.00 | .00
168 |  | Multicore Flexible Cables 1100 Volt Annealed Bare Electrolytic High, Conductivity Copper Conductor Flexible PVC Type A Insulated PVC ST-1 Sheathed Cables in existing Conduit. Conforming to IS 694 1990 including Making Both End terminations with cop | Multicore Flexible Cables 1100 Volt Annealed Bare Electrolytic High, Conductivity Copper Conductor Flexible PVC Type A Insulated PVC ST-1 Sheathed Cables in existing Conduit. Conforming to IS 694 1990 including Making Both End terminations with cop | Rmtr | 0.000 | .00 | 0.00 | .00 | 195.00 | .00 | 0.00 | .00 | 0.00 | .00
169 |  | 3C x 2.5mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | 3C x 2.5mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | Rmtr | 0.000 | .00 | 0.00 | .00 | 290.00 | .00 | 0.00 | .00 | 0.00 | .00
170 |  | 3C x 4.0mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. | 3C x 4.0mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990.
171 |  | EARTHING (In absence of D.G.Vendor) | EARTHING (In absence of D.G.Vendor) | Mtrs | 0.000 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00 | 0.00 | .00
172 |  | Supply Laying of 25mmX3mm GI strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Supply Laying of 25mmX3mm GI strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.000 | .00 | 0.00 | .00 | 185.00 | .00 | 0.00 | .00 | 0.00 | .00
173 |  | Supply Laying of 25mmX3mm CU strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Supply Laying of 25mmX3mm CU strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.000 | .00 | 0.00 | .00 | 800.00 | .00 | 0.00 | .00 | 0.00 | .00
174 |  | 25X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | 25X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.000 | .00 | 0.00 | .00 | 290.00 | .00 | 0.00 | .00 | 0.00 | .00
175 |  | 35X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | 35X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.000 | .00 | 0.00 | .00 | 330.00 | .00 | 0.00 | .00 | 0.00 | .00
176 |  | 8 SWG GI Earth Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | 8 SWG GI Earth Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | Mtrs | 0.000 | .00 | 0.00 | .00 | 180.00 | .00 | 0.00 | .00 | 0.00 | .00
177 |  | 8 SWG Cu Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | 8 SWG Cu Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. | No. s | 0.000 | .00 | 0.00 | .00 | 220.00 | .00 | 0.00 | .00 | 0.00 | .00
178 |  | Supply, Installation, Testing Commissioning of long life, Maintenance Free advance chemical Earthing System with 20 year service warranty with 8 feet Vertical Pipe in pipe GI Not less than 1.5” (40mm) ID and not less than 1.5mm wall thickness, 20x | Supply, Installation, Testing Commissioning of long life, Maintenance Free advance chemical Earthing System with 20 year service warranty with 8 feet Vertical Pipe in pipe GI Not less than 1.5” (40mm) ID and not less than 1.5mm wall thickness, 20x | No. s | 0.000 | .00 | 0.00 | .00 | 15000.00 | .00 | 0.00 | .00 | 0.00 | .00
179 |  | Supply, Installation, testing and commissioning of earth pits comprising 600x600x 3mm thick G.I. electrode plate 25 mm dia medium class watering G.I. pipe, G.I. funnel with 20 gauge GI wire mesh, masonary chamber with concrete base, CI manhole cover with | Supply, Installation, testing and commissioning of earth pits comprising 600x600x 3mm thick G.I. electrode plate 25 mm dia medium class watering G.I. pipe, G.I. funnel with 20 gauge GI wire mesh, masonary chamber with concrete base, CI manhole cover with | Rmtr | 0.000 | .00 | 0.00 | .00 | 17000.00 | .00 | 0.00 | .00 | 0.00 | .00
180 |  | 4.0 sq.mm. Cu. Flexible cable | 4.0 sq.mm. Cu. Flexible cable | Rmtr | 0.000 | .00 | 0.00 | .00 | 140.00 | .00 | 0.00 | .00 | 0.00 | .00
181 |  | 6.0 sq.mm. Cu. Flexible cable | 6.0 sq.mm. Cu. Flexible cable | Rmtr | 0.000 | .00 | 0.00 | .00 | 165.00 | .00 | 0.00 | .00 | 0.00 | .00
182 |  | 10 sq.mm. Cu. Flexible cable | 10 sq.mm. Cu. Flexible cable | Sqft | 0.000 | .00 | 0.00 | .00 | 190.00 | .00 | 0.00 | .00 | 0.00 | .00
183 |  | Generator bedding incl of floor raising with debris (4 to 6 )with necessary brickwork at all sides with 1 2 4 cement sand metal morter bed as PCC IPS plaster on vertical edges, complete in all respects | Generator bedding incl of floor raising with debris (4 to 6 )with necessary brickwork at all sides with 1 2 4 cement sand metal morter bed as PCC IPS plaster on vertical edges, complete in all respects
184 |  | Cable Trays | Cable Trays | Rmtr | 0.000 | .00 | 0.00 | .00 | 395.00 | .00 | 0.00 | .00 | 0.00 | .00
185 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner. Including Paints | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner. Including Paints | Rmtr | 0.000 | .00 | 0.00 | .00 | 900.00 | .00 | 0.00 | .00 | 0.00 | .00
186 |  | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner Including Paint | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner Including Paint | Rmtr | 0.000 | .00 | 1190.00 | .00 | 1200.00 | .00 | 0.00 | .00 | 0.00 | .00
187 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.000 | .00 | 0.00 | .00 | 1040.00 | .00 | 0.00 | .00 | 0.00 | .00
188 |  | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.000 | .00 | 0.00 | .00 | 1090.00 | .00 | 0.00 | .00 | 0.00 | .00
189 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.000 | .00 | 0.00 | .00 | 775.00 | .00 | 0.00 | .00 | 0.00 | .00
190 |  | Providing erecting Hot deeped Galvanised Non- Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Providing erecting Hot deeped Galvanised Non- Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.000 | .00 | 0.00 | .00 | 840.00 | .00 | 0.00 | .00 | 0.00 | .00
191 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Rmtr | 0.000 | .00 | 0.00 | .00 | 600.00 | .00 | 0.00 | .00 | 0.00 | .00
192 |  | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint
193 |  | Provind and laying of 2MM thick GI factory fabricated raceways in partition of the following sizes including providing removable 3 mm thick GI cover knock our holes and fixing accessories complete required including floor supports, bends, access boxes and | Provind and laying of 2MM thick GI factory fabricated raceways in partition of the following sizes including providing removable 3 mm thick GI cover knock our holes and fixing accessories complete required including floor supports, bends, access boxes and | Rmtr | 0.000 | .00 | 0.00 | .00 | 1100.00 | .00 | 0.00 | .00 | 0.00 | .00
194 |  | 300mm wide x 40mm deep | 300mm wide x 40mm deep | Rmtr | 0.000 | .00 | 0.00 | .00 | 1000.00 | .00 | 0.00 | .00 | 0.00 | .00
195 |  | 150mm wide x 40mm deep | 150mm wide x 40mm deep | Rmtr | 0.000 | .00 | 0.00 | .00 | 750.00 | .00 | 0.00 | .00 | 0.00 | .00
196 |  | 100mm wide x 40mm deep | 100mm wide x 40mm deep | Rmtr | 0.000 | .00 | 0.00 | .00 | 600.00 | .00 | 0.00 | .00 | 0.00 | .00
197 |  | 50mm wide x 40mm deep | 50mm wide x 40mm deep
198 |  | Electrical Related Civil work | Electrical Related Civil work | Sq.Mtr | 21.000 | 1,575.00 | 350.00 | 7,350.00 | 370.00 | 7,770.00 | 75.00 | 1,575.00 | 1000.00 | 21,000.00
199 |  | Excavation Cheselling under floor for laying cables conduits in wall or floor as per requirement, complete with finishing etc | Excavation Cheselling under floor for laying cables conduits in wall or floor as per requirement, complete with finishing etc
200 |  | Geyser | Geyser | No. | 0.000 | .00 | 0.00 | .00 | 9000.00 | .00 | 0.00 | .00 | 0.00 | .00
201 |  | SITC of Digital instant GEYSER ABOVE SINK 3 ltr (Ao Smith or equivalent)instant with required accessories) | SITC of Digital instant GEYSER ABOVE SINK 3 ltr (Ao Smith or equivalent)instant with required accessories) | No | 1.000 | 8,000.00 | 8000.00 | 8,000.00 | 14000.00 | 14,000.00 | 15000.00 | 15,000.00 | 10000.00 | 10,000.00
202 |  | SITC of Storage Geyser (25 ltr) AO smith or equivalent used above 3 way sink with required accessories | SITC of Storage Geyser (25 ltr) AO smith or equivalent used above 3 way sink with required accessories

## Technical Score Detail
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | Comp. Date : 11/03/2024 | Comp. Date : 11/03/2024 | Comp. Date : 11/03/2024 | Vendor Name : Red Room Referesh interiors Pvt. Ltd. |  | Vendor Name : KMS INTERIOR |  | Vendor Name : Distint India Enterprises LLP |  | Vendor Name : VYAN VENTURES PRIVATE LIMITED
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ #: R0445 | RFQ #: R0445 | RFQ #: R0445 | Contact Name : Jayant |  | Contact Name : Kundan Suthar |  | Contact Name : Sanjay Jain |  | Contact Name : Santosh Kumar/Ved Prakash Pandey
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ Date : 23/02/2024 18:20:43 | RFQ Date : 23/02/2024 18:20:43 | RFQ Date : 23/02/2024 18:20:43 | Vendor City : Delhi |  | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | BCD Date : 29/02/2024 23:22:00 | BCD Date : 29/02/2024 23:22:00 | BCD Date : 29/02/2024 23:22:00 | Telephone # : 9999984384 |  | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT | RFQ No: R0445 COST COMPARISON REPORT |  |  |  | Mobile # : 9999984384 |  | Mobile # : |  | Mobile # : 98102 60645 |  | Mobile # :
PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | PR Number : TFS-2324-00037 | Email : info.rrrinteriors@gmail.com |  | Email : pravin.takle@kapcocatering.com |  | Email : di.sanjayjain@gmail.com |  | Email : vyanventures01@gmail.com
Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Package / RFQ Name : DOMINOS ELECTRICAL WORK | Round # : 1 (RFQ) |  | Round # : 1 (RFQ) |  | Round # : 1 (RFQ) |  | Round # : 1 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | Comp. # : 1 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification | Score | Justification
1 |  | DOMINOS ELECTRICAL WORK |  | LOT | 1.000 | 0.00 | 0.00
2 |  | VTPN DB |  | Each | 0.000 | 0.00 | 0.00
3 |  | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - |  |  | 0.000 | 0.00 | 0.00
4 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
5 |  | 100A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  |  | 0.000 | 0.00 | 0.00
6 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
7 |  | 6 32A SP MCB - 24 Nos |  |  | 0.000 | 0.00 | 0.00
8 |  | 6 32 Amp TP MCB- 8 Nos |  |  | 0.000 | 0.00 | 0.00
9 |  | With all necessary connections |  | Each | 0.000 | 0.00 | 0.00
10 |  | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - |  |  | 0.000 | 0.00 | 0.00
11 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
12 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  |  | 0.000 | 0.00 | 0.00
13 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
14 |  | 6 32A SP MCB - 18 Nos |  |  | 0.000 | 0.00 | 0.00
15 |  | 6 32 Amp TP MCB- 6 Nos |  |  | 0.000 | 0.00 | 0.00
16 |  | With all necessary connections |  | Each | 0.000 | 0.00 | 0.00
17 |  | Triple pole and neutral distribution board (VTPNDB with vertical busbar) with Double door surface flush mounted comprising of following - |  |  | 0.000 | 0.00 | 0.00
18 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
19 |  | 63A , TM based MCCB of 25kA with O L, S C E F Protection - 01 No |  |  | 0.000 | 0.00 | 0.00
20 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
21 |  | 6 32A SP MCB - 12 Nos |  |  | 0.000 | 0.00 | 0.00
22 |  | 6 32 Amp TP MCB- 4 Nos |  |  | 0.000 | 0.00 | 0.00
23 |  | With all necessary connections |  |  | 0.000 | 0.00 | 0.00
24 |  | TPN DB |  | Each | 0.000 | 0.00 | 0.00
25 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  |  | 0.000 | 0.00 | 0.00
26 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
27 |  | 63A FP, MCB of 10kA - 01 No |  |  | 0.000 | 0.00 | 0.00
28 |  | Sub Incomer |  |  | 0.000 | 0.00 | 0.00
29 |  | 3Nos, DP, 63A, RCBO (30mA). |  |  | 0.000 | 0.00 | 0.00
30 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
31 |  | 6 32A SP MCB - 30 Nos |  |  | 0.000 | 0.00 | 0.00
32 |  | With all necessary connections |  | Each | 0.000 | 0.00 | 0.00
33 |  | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 8 way (4+ 24 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - |  |  | 0.000 | 0.00 | 0.00
34 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  |  | 0.000 | 0.00 | 0.00
35 |  | 8 Way TPN Double door type DB for Power comprising of following - |  |  | 0.000 | 0.00 | 0.00
36 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
37 |  | 40A FP MCB,10kA - 01 No |  |  | 0.000 | 0.00 | 0.00
38 |  | Sub Incomer |  |  | 0.000 | 0.00 | 0.00
39 |  | 3Nos, DP, 40A, RCBO (30mA). |  |  | 0.000 | 0.00 | 0.00
40 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
41 |  | 6 32A SP MCB - 18 Nos |  |  | 0.000 | 0.00 | 0.00
42 |  | With all necessary connections |  | Each | 0.000 | 0.00 | 0.00
43 |  | Triple pole and neutral distribution board (TPNDB) with Double door surface flush mounted of 6 way (4+ 18 Module) 4 Horizontal Rows in 4 Vertical tiers configuration comprising of following - |  |  | 0.000 | 0.00 | 0.00
44 |  | DB shall have separate neutral links of rating not less than 100A for each phase. The main incoming neutral link shall be in addition to three outgoing neutral links and shall be of 125A. |  |  | 0.000 | 0.00 | 0.00
45 |  | 8 Way TPN Double door type DB for Power comprising of following - |  |  | 0.000 | 0.00 | 0.00
46 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
47 |  | 40A FP MCB,10kA - 01 No |  |  | 0.000 | 0.00 | 0.00
48 |  | Sub Incomer |  |  | 0.000 | 0.00 | 0.00
49 |  | 3Nos, DP, 40A, RCBO (30mA). |  |  | 0.000 | 0.00 | 0.00
50 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
51 |  | 6 32A SP MCB - 12 Nos |  |  | 0.000 | 0.00 | 0.00
52 |  | With all necessary connections |  |  | 0.000 | 0.00 | 0.00
53 |  | SPN DB |  | Each | 0.000 | 0.00 | 0.00
54 |  | 12 Way SPN Double door type DB for Power comprising of following - |  |  | 0.000 | 0.00 | 0.00
55 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
56 |  | 32A DP MCB - 01 No |  |  | 0.000 | 0.00 | 0.00
57 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
58 |  | 6 32A SP MCB - 12 Nos |  |  | 0.000 | 0.00 | 0.00
59 |  | 16A SP MCB -05 Nos |  |  | 0.000 | 0.00 | 0.00
60 |  | With all necessary connections |  | Each | 2.000 | 0.00 | 0.00
61 |  | 8 Way SPN Double door type DB for Power comprising of following - |  |  | 0.000 | 0.00 | 0.00
62 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
63 |  | 25A DP MCB - 01 No |  |  | 0.000 | 0.00 | 0.00
64 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
65 |  | 16A SP MCB - 04 Nos |  |  | 0.000 | 0.00 | 0.00
66 |  | 10A SP MCB - 02 Nos |  |  | 0.000 | 0.00 | 0.00
67 |  | With all necessary connections |  | Each | 0.000 | 0.00 | 0.00
68 |  | 6 Way SPN Double door type DB for Power comprising of following - |  |  | 0.000 | 0.00 | 0.00
69 |  | Incomer |  |  | 0.000 | 0.00 | 0.00
70 |  | 16A DP MCB - 01 No |  |  | 0.000 | 0.00 | 0.00
71 |  | Outgoing |  |  | 0.000 | 0.00 | 0.00
72 |  | 10A SP MCB - 03 Nos |  |  | 0.000 | 0.00 | 0.00
73 |  | 16A SP MCB - 1 No |  |  | 0.000 | 0.00 | 0.00
74 |  | With all necessary connections |  |  | 0.000 | 0.00 | 0.00
75 |  | Isolators ELCB RCBO SWITCH SOCKETS |  | Each | 0.000 | 0.00 | 0.00
76 |  | Supply , installation, testing comissioning of DP isolator of 25 A |  | Each | 0.000 | 0.00 | 0.00
77 |  | Supply , installation, testing comissioning of DP isolator of 32 A |  | Each | 0.000 | 0.00 | 0.00
78 |  | Supply , installation, testing comissioning of DP isolator of 40 A |  | Each | 0.000 | 0.00 | 0.00
79 |  | Supply , installation, testing comissioning of DP MCB of 25 A |  | Each | 0.000 | 0.00 | 0.00
80 |  | Supply , installation, testing comissioning of DP MCB of 32 A |  | Each | 0.000 | 0.00 | 0.00
81 |  | Supply , installation, testing comissioning of DP MCB of 40 A |  | Each | 0.000 | 0.00 | 0.00
82 |  | Supply , installation, testing comissioning of FP ELCB of 25 A, 100mA |  | Each | 0.000 | 0.00 | 0.00
83 |  | Supply , installation, testing comissioning of FP ELCB of 40 A, 100mA |  | Each | 0.000 | 0.00 | 0.00
84 |  | Supply , installation, testing comissioning of FP RCBO of 63 A, 100mA |  | Each | 0.000 | 0.00 | 0.00
85 |  | Supply, Installation, testing comissioning of 10 amp TPN MCB |  | Each | 0.000 | 0.00 | 0.00
86 |  | Supply, Installation, testing comissioning of 32 amp TPN MCB |  | Each | 0.000 | 0.00 | 0.00
87 |  | Supply, Installation, testing comissioning of 40 amp TPN MCB |  | Each | 0.000 | 0.00 | 0.00
88 |  | Providing and fixing TPN DP enclosure box for indoor purpose |  | Each | 0.000 | 0.00 | 0.00
89 |  | Providing and fixing TPN DP enclosure box (Wheather Proof) for outdoor purposes |  | Each | 0.000 | 0.00 | 0.00
90 |  | Providing and Fixing 16 amp single phase Industrial socket |  | Each | 0.000 | 0.00 | 0.00
91 |  | Providing and Fixing 25 amp single phase Industrial socket |  | Each | 0.000 | 0.00 | 0.00
92 |  | Providing and Fixing 25 amp three phase Industrial socket |  |  | 0.000 | 0.00 | 0.00
93 |  | ISOLATOR - (BEFORE SERVO STABILIZER) |  | Each | 0.000 | 0.00 | 0.00
94 |  | 125A FP, 25kA Thermal Magnetic based MCCB with LSIG Protection with Box (As per the instruction of the Engineer Inchrge) |  | Each | 1.000 | 0.00 | 0.00
95 |  | 100A FP, 25kA Thermal magneticr based MCCB with LSIG Protection with Box(As per the instruction of the Engineer Inchrge) |  | Each | 0.000 | 0.00 | 0.00
96 |  | 6 16 Amp Electrical Top |  |  | 0.000 | 0.00 | 0.00
97 |  | Point wiring shall include FRLS wire with all necessary MMS PVC CONDUIT , with all fittings , accessories , couplings,collars etc., junction pull inspection boxes, wires, supports,bushings lamp holders, ceiling rose, flexible conduit, fan hooks wher |  |  | 0.000 | 0.00 | 0.00
98 |  | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MMS PVC conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 s |  | Nos | 0.000 | 0.00 | 0.00
99 |  | Primary (First) light point controlled by a 6A switch. |  | Nos | 0.000 | 0.00 | 0.00
100 |  | Primary (First) light point controlled by a MCB in the DB. |  | Nos | 0.000 | 0.00 | 0.00
101 |  | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length |  | RMT | 0.000 | 0.00 | 0.00
102 |  | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per sp |  | RMT | 0.000 | 0.00 | 0.00
103 |  | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MMS PVC conduit min.20 mm dia,including all required accessories,etc as per specification. |  | RMT | 0.000 | 0.00 | 0.00
104 |  | Supplying erecting mains with 2x4 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire laid with conduit trunking inside pole Bus bars or any other places. |  |  | 0.000 | 0.00 | 0.00
105 |  | Wiring for the following light points with 2X1.5 sq mm PVC insulated copper conductor 650V grade FRLS wires in concealed or surface mounted 20 25mm dia MS conduit as required including providing 6 amps flush type PVC moulded switches, cover plate,5 sided |  | Nos. | 0.000 | 0.00 | 0.00
106 |  | Primary (First) light point controlled by a 6A switch. |  | Nos. | 0.000 | 0.00 | 0.00
107 |  | Primary (First) light point controlled by a MCB in the DB. |  | Nos. | 0.000 | 0.00 | 0.00
108 |  | Secondary (Loop) light point looped to first point and so on.(upto 6 mtr) wire length |  | Rmtr | 0.000 | 0.00 | 0.00
109 |  | Supply, Installation, Testing Commissioning of mains with 2 X 1.5 sq.mm and earth wire 1.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.25 mm dia, for light fan exhaust point from DB to point including all required accessories,etc as per specifi |  | Rmtr | 0.000 | 0.00 | 0.00
110 |  | Supply, Installation, Testing Commissioning of mains with 2 X 2.5 sq.mm and earth wire 2.5 sqmm FRLS PVC copper wire ,in rigid MS conduit min.20 mm dia,including all required accessories,etc as per specification. |  |  | 0.000 | 0.00 | 0.00
111 |  | Power Point wiring |  |  | 0.000 | 0.00 | 0.00
112 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in PVC Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheislin |  | Nos | 0.000 | 0.00 | 0.00
113 |  | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch |  | Nos | 0.000 | 0.00 | 0.00
114 |  | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length |  | Nos | 0.000 | 0.00 | 0.00
115 |  | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch |  | Nos | 0.000 | 0.00 | 0.00
116 |  | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length |  | Nos | 0.000 | 0.00 | 0.00
117 |  | Additional 6 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) Wire will be paid in R |  |  | 0.000 | 0.00 | 0.00
118 |  | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in PVC Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling |  | Nos | 0.000 | 0.00 | 0.00
119 |  | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. |  | Nos | 0.000 | 0.00 | 0.00
120 |  | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring |  | Nos | 0.000 | 0.00 | 0.00
121 |  | Additional 16 Amp Switch socket outlet in G.I. Box on modular cover plate adjoining and looped from the existing point. (Note -additional means switch socket in modular box and plate adjoining the existing one on the same circuit.) . Wire will be paid i |  | Rmtr | 0.000 | 0.00 | 0.00
122 |  | Supply and Laying of Wiring for light power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core wire in surface recessed medium class MMS PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for lo |  |  | 0.000 | 0.00 | 0.00
123 |  | Power Point wiring(MS conduit) |  |  | 0.000 | 0.00 | 0.00
124 |  | All switch socket wiring shall be carried out for primary point using 3x2.5 sq mm wire in MS Conduit for connection of 6 16amp socket. Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling |  | Nos | 0.000 | 0.00 | 0.00
125 |  | First Point wiring with 6A,5pin wall socket outlet and controlled by a 6A switch |  | Nos | 0.000 | 0.00 | 0.00
126 |  | Extra loop point wiring with 6A, 5 pin wall socket outlet and controlled by a 6A switch upto 6 mtr length |  | Nos | 0.000 | 0.00 | 0.00
127 |  | First Point wiring with 16A,5pin wall socket outlet and controlled by a 16A switch |  | Nos | 0.000 | 0.00 | 0.00
128 |  | Extra loop point wiring with 16A, 5 pin wall socket outlet and controlled by a 16A switch upto 6 mtr length |  |  | 0.000 | 0.00 | 0.00
129 |  | All switch socket wiring shall be carried out for primary point using 3X4 sq mm wire in MS Conduit for connection of 16 amp socket . Individual junction inspection boxes shall be provided for each Power Point for the purpose of looping with cheisling a |  | Nos | 0.000 | 0.00 | 0.00
130 |  | First Point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator. |  | Nos | 0.000 | 0.00 | 0.00
131 |  | Extra loop point wiring with 16A, 3Pin combined shuttered wall socket outlet and controlled by a 16A one way switch with indicator.upto 6 mtr wiring |  |  | 0.000 | 0.00 | 0.00
132 |  | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface recess including cutting the wall floor and making good the same in case of recessed conduit as required. |  | Rmtr | 50.000 | 0.00 | 0.00
133 |  | 20 mm |  | Rmtr | 50.000 | 0.00 | 0.00
134 |  | 25 mm |  | Rmtr | 0.000 | 0.00 | 0.00
135 |  | 32 mm |  | Rmtr | 0.000 | 0.00 | 0.00
136 |  | 40 mm |  | Rmtr | 0.000 | 0.00 | 0.00
137 |  | 50 mm |  |  | 0.000 | 0.00 | 0.00
138 |  | Supplying and fixing of following sizes of MS conduit along with accessories in surface recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. |  | Rmtr | 0.000 | 0.00 | 0.00
139 |  | 20 mm |  | Rmtr | 0.000 | 0.00 | 0.00
140 |  | 25 mm |  | Rmtr | 0.000 | 0.00 | 0.00
141 |  | 32 mm |  | Rmtr | 0.000 | 0.00 | 0.00
142 |  | 40 mm |  | Rmtr | 0.000 | 0.00 | 0.00
143 |  | 50 mm |  | Rmtr | 0.000 | 0.00 | 0.00
144 |  | Supplying erecting MMS PVC flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. |  | Rmtr | 0.000 | 0.00 | 0.00
145 |  | Supplying erecting M.S flexible Conduit 25 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. |  | Rmtr | 10.000 | 0.00 | 0.00
146 |  | Supplying erecting PVC flexible Conduit 50 mm dia.conforming to I.S. and approved make with required number of couplings, bushes, check nuts etc. |  | Rmtr | 0.000 | 0.00 | 0.00
147 |  | Supply, Installation, Testing Commissioning of G.I Conduit 32mm dia with necessary accessories in wall floor with chiselling appropriately as per specification. |  | Rmtr | 0.000 | 0.00 | 0.00
148 |  | Supply, Installation, Testing Commissioning of G.I conduit 25 mm in dia with necessary accessories in RCC work false ceiling false flooring as per specification |  |  | 0.000 | 0.00 | 0.00
149 |  | LT CABLES TERMINATIONS |  |  | 0.000 | 0.00 | 0.00
150 |  | Supply, Errecting, Termination Commissioning of following sizes of 1.1 KV grade FRLS Armoured Unarmoured Copper Aluminum conductor cables laid over MS supports cable racks trays or fixing on walls including clamping the cable to supports cable racks or |  | Rmtr | 0.000 | 0.00 | 0.00
151 |  | 4Cx16 Sq.mm AL Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
152 |  | 4Cx25 Sq.mm AL Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
153 |  | 3Cx2.5 Sqmm Cu. Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
154 |  | 3Cx4 Sqmm Cu. Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
155 |  | 3.5Cx35 Sq.mm AL Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
156 |  | 3.5Cx50 Sq.mm AL Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
157 |  | 3.5Cx70 Sq.mm AL Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
158 |  | 3.5Cx95 Sq.mm AL Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
159 |  | 4Cx2.5 Sq.mm Cu. Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
160 |  | 4Cx4 Sq.mm Cu. Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
161 |  | 4C x 6 sq.mm Cu. Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
162 |  | 4Cx10 Sq.mm Cu. Arm. XLPE |  | Rmtr | 0.000 | 0.00 | 0.00
163 |  | 4C x 16 sq.mm Cu. Arm. XLPE |  |  | 0.000 | 0.00 | 0.00
164 |  | Supplying and making indoor Cable end Termination of following sizes 1.1kV grade LT XLPE insulated, HR PVC sheathed, stranded Aluminum copper conductor, Armoured Unarmoured cables as per IS 7098 part-I including cost of tinned copper Aluminium heavy du |  |  | 0.000 | 0.00 | 0.00
165 |  | 2 3 3.5 4 CORES AL. CABLE WITH AL. LUGS |  | Jt | 0.000 | 0.00 | 0.00
166 |  | 35 sq.mm. |  | Jt | 0.000 | 0.00 | 0.00
167 |  | 50 sq.mm. |  | Jt | 0.000 | 0.00 | 0.00
168 |  | 70 sq.mm. |  | Rmtr | 0.000 | 0.00 | 0.00
169 |  | Multicore Flexible Cables 1100 Volt Annealed Bare Electrolytic High, Conductivity Copper Conductor Flexible PVC Type A Insulated PVC ST-1 Sheathed Cables in existing Conduit. Conforming to IS 694 1990 including Making Both End terminations with cop |  | Rmtr | 0.000 | 0.00 | 0.00
170 |  | 3C x 2.5mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. |  | Rmtr | 0.000 | 0.00 | 0.00
171 |  | 3C x 4.0mm2 1100V grade flexible copper conductor sheathed FLRS PVC cable (P, N, IG)- IS 694 1990. |  |  | 0.000 | 0.00 | 0.00
172 |  | EARTHING (In absence of D.G.Vendor) |  | Mtrs | 0.000 | 0.00 | 0.00
173 |  | Supply Laying of 25mmX3mm GI strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. |  | Mtrs | 0.000 | 0.00 | 0.00
174 |  | Supply Laying of 25mmX3mm CU strips with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. |  | Mtrs | 0.000 | 0.00 | 0.00
175 |  | 25X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. |  | Mtrs | 0.000 | 0.00 | 0.00
176 |  | 35X4 sqmm Earth Alu.Armd cable(For RoofTop) with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. |  | Mtrs | 0.000 | 0.00 | 0.00
177 |  | 8 SWG GI Earth Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. |  | Mtrs | 0.000 | 0.00 | 0.00
178 |  | 8 SWG Cu Wire with necessary G. I. Clamps fixed on wall cable conduit with screws in an approved manner. |  | No. s | 0.000 | 0.00 | 0.00
179 |  | Supply, Installation, Testing Commissioning of long life, Maintenance Free advance chemical Earthing System with 20 year service warranty with 8 feet Vertical Pipe in pipe GI Not less than 1.5” (40mm) ID and not less than 1.5mm wall thickness, 20x |  | No. s | 0.000 | 0.00 | 0.00
180 |  | Supply, Installation, testing and commissioning of earth pits comprising 600x600x 3mm thick G.I. electrode plate 25 mm dia medium class watering G.I. pipe, G.I. funnel with 20 gauge GI wire mesh, masonary chamber with concrete base, CI manhole cover with |  | Rmtr | 0.000 | 0.00 | 0.00
181 |  | 4.0 sq.mm. Cu. Flexible cable |  | Rmtr | 0.000 | 0.00 | 0.00
182 |  | 6.0 sq.mm. Cu. Flexible cable |  | Rmtr | 0.000 | 0.00 | 0.00
183 |  | 10 sq.mm. Cu. Flexible cable |  | Sqft | 0.000 | 0.00 | 0.00
184 |  | Generator bedding incl of floor raising with debris (4 to 6 )with necessary brickwork at all sides with 1 2 4 cement sand metal morter bed as PCC IPS plaster on vertical edges, complete in all respects |  |  | 0.000 | 0.00 | 0.00
185 |  | Cable Trays |  | Rmtr | 0.000 | 0.00 | 0.00
186 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner. Including Paints |  | Rmtr | 0.000 | 0.00 | 0.00
187 |  | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 300 mm width 50 mm height complete with necessary coupler plates hardware in approved manner Including Paint |  | Rmtr | 0.000 | 0.00 | 0.00
188 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint |  | Rmtr | 0.000 | 0.00 | 0.00
189 |  | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 200 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint |  | Rmtr | 0.000 | 0.00 | 0.00
190 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint |  | Rmtr | 0.000 | 0.00 | 0.00
191 |  | Providing erecting Hot deeped Galvanised Non- Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 100 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint |  | Rmtr | 0.000 | 0.00 | 0.00
192 |  | Providing erecting Hot deeped Galvanised Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint |  | Rmtr | 0.000 | 0.00 | 0.00
193 |  | Providing erecting Hot deeped Galvanised Non -Perforated type Cable tray manufactured from 18 swg (1.6 mm thick) GI sheet of 50 mm width 50 mm height complete with necessary coupler plates hardware in approved manner.Including Paint |  |  | 0.000 | 0.00 | 0.00
194 |  | Provind and laying of 2MM thick GI factory fabricated raceways in partition of the following sizes including providing removable 3 mm thick GI cover knock our holes and fixing accessories complete required including floor supports, bends, access boxes and |  | Rmtr | 0.000 | 0.00 | 0.00
195 |  | 300mm wide x 40mm deep |  | Rmtr | 0.000 | 0.00 | 0.00
196 |  | 150mm wide x 40mm deep |  | Rmtr | 0.000 | 0.00 | 0.00
197 |  | 100mm wide x 40mm deep |  | Rmtr | 0.000 | 0.00 | 0.00
198 |  | 50mm wide x 40mm deep |  |  | 0.000 | 0.00 | 0.00
199 |  | Electrical Related Civil work |  | Sq.Mtr | 21.000 | 0.00 | 0.00
200 |  | Excavation Cheselling under floor for laying cables conduits in wall or floor as per requirement, complete with finishing etc |  |  | 0.000 | 0.00 | 0.00
201 |  | Geyser |  | No. | 0.000 | 0.00 | 0.00
202 |  | SITC of Digital instant GEYSER ABOVE SINK 3 ltr (Ao Smith or equivalent)instant with required accessories) |  | No | 1.000 | 0.00 | 0.00
203 |  | SITC of Storage Geyser (25 ltr) AO smith or equivalent used above 3 way sink with required accessories |  |  | 0.000 | 0.00 | 0.00