## Price Comparison
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION (RV232414136) | [5 empty] | Vendor Name : Rudra Ineriors (RV232421261) | [5 empty] | Vendor Name : ANJLE MEP PROJECTS PVT LTD (RV232413533)
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ #: R0654 | RFQ #: R0654 | RFQ #: R0654 | Contact Name : Mohd Ashraf | [5 empty] | Contact Name : Manoj | [5 empty] | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ Date : 01/04/2024 18:17:29 | RFQ Date : 01/04/2024 18:17:29 | RFQ Date : 01/04/2024 18:17:29 | Vendor City : | [5 empty] | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | BCD Date : 02/04/2024 17:44:00 | BCD Date : 02/04/2024 17:44:00 | BCD Date : 02/04/2024 17:44:00 | Telephone # : | [5 empty] | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | Email : projectspioneer@gmail.com | [5 empty] | Email : manoj@rudrasip.com | [5 empty] | Email : anjlemepprojects@gmail.com
Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Round # : 3 (RFQ) | [5 empty] | Round # : 3 (RFQ) | [5 empty] | Round # : 3 (RFQ)
Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Buyer : Binu Balachandran / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark : | [5 empty] | Buyer Remark :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | HVAC - High Side | NOS | 1.00 |  | 1732000.00 | PIONEER PROJECT SOLUTION | 1797000.00 | 0.00 | 18.00 |  | 1,732,000.00 | 1,732,000.00 | 2012500.00 | 0.00 | 18.00 |  | 2,012,500.00 | 2,012,500.00 | 2402500.00 | 0.00 | 18.00 |  | 2,402,500.00 | 2,402,500.00
2 |  | HVAC-Low side | NOS | 1.00 |  | 746500.00 | PIONEER PROJECT SOLUTION | 795050.00 | 0.00 | 18.00 |  | 746,500.00 | 746,500.00 | 1134378.00 | 0.00 | 18.00 |  | 1,134,378.00 | 1,134,378.00 | 1002430.00 | 0.00 | 18.00 |  | 1,002,430.00 | 1,002,430.00
Item Total | [8 empty] | .00 | 446,130.00 |  |  | 2,478,500.00 |  | .00 | 566,438.04 |  |  | 3,146,878.00 |  | .00 | 612,887.40 |  |  | 3,404,930.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 446,130.00 | [5 empty] | 566,438.04 | [5 empty] | 612,887.40
Net Landed Cost | [11 empty] | INR | 2,924,630.00 |  |  |  |  | INR | 3,713,316.04 |  |  |  |  | INR | 4,017,817.40
Vendor Status | [7 empty] | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232421261 | Rudra Ineriors | [5 empty] | Participate
2 | RV232420160 | SM INFRA | [5 empty] | Participate
3 | RV232414136 | PIONEER PROJECT SOLUTION | [5 empty] | Participate
4 | RV232413533 | ANJLE MEP PROJECTS PVT LTD | [5 empty] | Participate

## BOQ Price Bid
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : Rudra Ineriors | Vendor Name : Rudra Ineriors | Vendor Name : ANJLE MEP PROJECTS PVT LTD | Vendor Name : ANJLE MEP PROJECTS PVT LTD
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ #: R0654 | RFQ #: R0654 | RFQ #: R0654 | Contact Name : Mohd Ashraf | Contact Name : Mohd Ashraf | Contact Name : Manoj | Contact Name : Manoj | Contact Name : Priyanka/Premkant Rajpoot | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ Date : 01/04/2024 18:17:29 | RFQ Date : 01/04/2024 18:17:29 | RFQ Date : 01/04/2024 18:17:29 | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | BCD Date : 02/04/2024 17:44:00 | BCD Date : 02/04/2024 17:44:00 | BCD Date : 02/04/2024 17:44:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : manoj@rudrasip.com | Email : manoj@rudrasip.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com
Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ) | Round # : 3 (RFQ)
Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount | Unit Price | Amount
1 |  | HVAC - High Side | HVAC- High Side | NOS | 1.000 |  |  | 1,732,000.00 |  | 2,012,500.00 |  | 2,402,500.00
1 | A | HVAC SYSTEM EQUIPMENTS | HVAC SYSTEM EQUIPMENTS
2 |  | HVAC EQUIPMENTS ( CHILLED WATER TYPE ) | HVAC EQUIPMENTS ( CHILLED WATER TYPE )
3 | A.1 | Supply, Installation, Testing, and Commissioning of Chilled water type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. | Supply, Installation, Testing, and Commissioning of Chilled water type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment.
4 | A.1.1 | 5.0 TR - (2000 CFM) | 5.0 TR - (2000 CFM) | Nos | 1.000 | 99,092.00 | 115000.00 | 115,000.00 | 99092.00 | 99,092.00 | 145000.00 | 145,000.00
5 | A.1.2 | 7.5 TR - (3000 CFM) | 7.5 TR - (3000 CFM) | Nos | 2.000 | 236,768.00 | 135000.00 | 270,000.00 | 118384.00 | 236,768.00 | 165000.00 | 330,000.00
6 |  | KITCHEN EQUIPMENTS | KITCHEN EQUIPMENTS
7 | A.2 | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings. | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings.
8 | A.2.1 | 5250 CFM | 5250 CFM | Nos | 1.000 | 132,000.00 | 132000.00 | 132,000.00 | 135100.00 | 135,100.00 | 185500.00 | 185,500.00
9 | A.2.2 | 3450 CFM | 3450 CFM | Nos | 1.000 | 114,030.00 | 125000.00 | 125,000.00 | 114030.00 | 114,030.00 | 168500.00 | 168,500.00
10 | A.2.3 | 5000 CFM | 5000 CFM | Nos | 1.000 | 130,000.00 | 130000.00 | 130,000.00 | 133322.00 | 133,322.00 | 185500.00 | 185,500.00
11 | A.3 | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make Rydair, Trion or equivalent with airport approval). | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make Rydair, Trion or equivalent with airport approval).
12 | A.3.1 | 5250 CFM | 5250 CFM | Nos | 1.000 | 225,000.00 | 225000.00 | 225,000.00 | 244860.00 | 244,860.00 | 265000.00 | 265,000.00
13 | A.3.2 | 3450 CFM | 3450 CFM | Nos | 1.000 | 165,000.00 | 165000.00 | 165,000.00 | 323400.00 | 323,400.00 | 324500.00 | 324,500.00
14 | A.3.3 | 5000 CFM | 5000 CFM | Nos | 1.000 | .00 | 165000.00 | 165,000.00 | 0.00 | .00 | 0.00 | .00
15 | A.4 | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit with all necessary supports and fittings. | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit with all necessary supports and fittings.
16 | A.4.1 | 4200 CFM | 4200 CFM | Nos | 1.000 | 114,709.00 | 145000.00 | 145,000.00 | 114709.00 | 114,709.00 | 125000.00 | 125,000.00
17 | A.4.2 | 2760 CFM | 2760 CFM | Nos | 1.000 | 125,000.00 | 125000.00 | 125,000.00 | 143238.00 | 143,238.00 | 172500.00 | 172,500.00
18 | A.4.3 | 4000 CFM | 4000 CFM | Nos | 1.000 | .00 | 135000.00 | 135,000.00 | 0.00 | .00 | 0.00 | .00
2 |  | HVAC-Low side | HVAC-Low side | NOS | 1.000 |  |  | 746,500.00 |  | 1,134,378.00 |  | 1,002,430.00
19 | B | AC PIPING | AC PIPING
20 |  | HVAC CONDENSATE DRAIN PIPE | HVAC CONDENSATE DRAIN PIPE
21 | B.1 | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval). | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval).
22 | B.1.1 | 25 mm Ø | 25 mm Ø | Mtr | 20.000 | 2,400.00 | 120.00 | 2,400.00 | 252.00 | 5,040.00 | 250.00 | 5,000.00
23 | B.1.1 | 32 mm Ø | 32 mm Ø | Mtr | 25.000 | 3,500.00 | 140.00 | 3,500.00 | 308.00 | 7,700.00 | 310.00 | 7,750.00
24 |  | HVAC WATER PIPING | HVAC WATER PIPING
25 | B.2 | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe with Poly urethane foam (PUF) insulation of minimum 36 kg cu.m density and AL jacket or cladding with all necessary fittings, connections, flanges and all necessary pipe supports, clamps as applicable and as per site conditions. (Make Jindal (Hissar), Tata Steel, SAIL or equivalent with airport approval). | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe with Poly urethane foam (PUF) insulation of minimum 36 kg cu.m density and AL jacket or cladding with all necessary fittings, connections, flanges and all necessary pipe supports, clamps as applicable and as per site conditions. (Make Jindal (Hissar), Tata Steel, SAIL or equivalent with airport approval).
26 | B.2. | 40 mm Ø (Insulation thickness - 32 mm) | 40 mm Ø (Insulation thickness - 32 mm) | Mtr | 36.000 | 48,600.00 | 1350.00 | 48,600.00 | 1876.00 | 67,536.00 | 1450.00 | 52,200.00
27 | B.2.2 | 32 mm Ø (Insulation thickness - 32 mm) | 32 mm Ø (Insulation thickness - 32 mm) | Mtr | 26.000 | 29,900.00 | 1150.00 | 29,900.00 | 2184.00 | 56,784.00 | 1250.00 | 32,500.00
28 | C | AIR DISTRIBUTION DUCTS | AIR DISTRIBUTION DUCTS
29 |  | RECTANGULAR DUCTS | RECTANGULAR DUCTS
30 | C.1 | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval).
31 | C.1.1 | 22 Gauge - (0.85 mm Thick) - Supply Air Duct | 22 Gauge - (0.85 mm Thick) - Supply Air Duct | Sq.Mtr | 40.000 | 54,000.00 | 1350.00 | 54,000.00 | 1645.00 | 65,800.00 | 1450.00 | 58,000.00
32 | C.1.2 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | Sq.Mtr | 23.000 | 26,450.00 | 1150.00 | 26,450.00 | 1470.00 | 33,810.00 | 1250.00 | 28,750.00
33 | C.1.3 | 22 Gauge - (0.85 mm Thick) - Make-Up Air Duct | 22 Gauge - (0.85 mm Thick) - Make-Up Air Duct | Sq.Mtr | 40.000 | 54,000.00 | 1350.00 | 54,000.00 | 1645.00 | 65,800.00 | 1450.00 | 58,000.00
34 | C.1.4 | 24 Gauge - (0.70 mm Thick) - Make-Up Air Duct | 24 Gauge - (0.70 mm Thick) - Make-Up Air Duct | Sq.Mtr | 40.000 | 46,000.00 | 1150.00 | 46,000.00 | 1470.00 | 58,800.00 | 1250.00 | 50,000.00
35 | C.1.5 | 22 Gauge - (0.85 mm Thick) - Return Air Duct | 22 Gauge - (0.85 mm Thick) - Return Air Duct | Sq.Mtr | 20.000 | 27,000.00 | 1350.00 | 27,000.00 | 1645.00 | 32,900.00 | 1450.00 | 29,000.00
36 | C.2 | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval).
37 | C.2.1 | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct | Sq.Mtr | 60.000 | 105,000.00 | 1750.00 | 105,000.00 | 3430.00 | 205,800.00 | 3250.00 | 195,000.00
38 |  | ROUND DUCTS | ROUND DUCTS
39 | C.3 | Supply, installation, and testing of Galvanized Iron (GI) Galvanized Steel (GS) factory fabricated Spiral Round Ducts with all necessary fittings, round connectors, duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. | Supply, installation, and testing of Galvanized Iron (GI) Galvanized Steel (GS) factory fabricated Spiral Round Ducts with all necessary fittings, round connectors, duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction.
40 | C.3.1 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | Sq.Mtr | 22.000 | 31,900.00 | 1450.00 | 31,900.00 | 1890.00 | 41,580.00 | 1850.00 | 40,700.00
41 |  | FLEXIBLE DUCTS | FLEXIBLE DUCTS
42 | C.4 | Supply, installation, and testing of aluminium-polyester casig Round Flexible Duct reinforced with spiral wound steel wire, Temperature range -20° C to +140° C, with a standard insulation thickness of 25 mm and with all necessary connections, fixing and support arrangements of approved make. | Supply, installation, and testing of aluminium-polyester casig Round Flexible Duct reinforced with spiral wound steel wire, Temperature range -20° C to +140° C, with a standard insulation thickness of 25 mm and with all necessary connections, fixing and support arrangements of approved make.
43 | C.4.1 | 300 mm Ø | 300 mm Ø | Mtr | 28.000 | 15,400.00 | 550.00 | 15,400.00 | 1330.00 | 37,240.00 | 1450.00 | 40,600.00
44 | C.5 | Supply, installation, and testing of Flexible Duct Connectors to isolate vibrations and noises caused by air handling units , fans or any other equipments connected to the duct with air tight fittings with all necessary accessories. | Supply, installation, and testing of Flexible Duct Connectors to isolate vibrations and noises caused by air handling units , fans or any other equipments connected to the duct with air tight fittings with all necessary accessories.
45 | C.5.1 | For AHU | For AHU | Nos | 3.000 | 7,500.00 | 2500.00 | 7,500.00 | 4200.00 | 12,600.00 | 2850.00 | 8,550.00
46 | D | AIR DISTRIBUTION DUCT INSULATION LINNING | AIR DISTRIBUTION DUCT INSULATION LINNING
47 |  | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS
48 | D.1 | Supply, installation, and testing of Thermal Insulation of ducting using closed cell antimicrobial Class “O” BS 476 and part 6 7 FM approved nitrile rubber elastomeric insulation thermal conductivity 0.033 watts per meter-kelvin (W (M·K)) at 0°C. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation, and testing of Thermal Insulation of ducting using closed cell antimicrobial Class “O” BS 476 and part 6 7 FM approved nitrile rubber elastomeric insulation thermal conductivity 0.033 watts per meter-kelvin (W (M·K)) at 0°C. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval).
49 | D.1.1 | 19 mm thicknesses - (SAD) - External Duct Insulation | 19 mm thicknesses - (SAD) - External Duct Insulation | Sq.Mtr | 60.000 | 36,000.00 | 600.00 | 36,000.00 | 1190.00 | 71,400.00 | 850.00 | 51,000.00
50 | D.1.2 | 19 mm thicknesses - (MUAD) - External Duct Insulation | 19 mm thicknesses - (MUAD) - External Duct Insulation | Sq.Mtr | 75.000 | 45,000.00 | 600.00 | 45,000.00 | 1190.00 | 89,250.00 | 850.00 | 63,750.00
51 | D.13 | 19 mm thicknesses - (RAD) - External Duct Insulation | 19 mm thicknesses - (RAD) - External Duct Insulation | Sq.Mtr | 20.000 | 12,000.00 | 600.00 | 12,000.00 | 1190.00 | 23,800.00 | 850.00 | 17,000.00
52 | D.2 | Supply, installation testing of Thermal Insulation of ducting using Aluminium foil faced resin bonded fibre Glass wool of density not less than 48 kg m3. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation testing of Thermal Insulation of ducting using Aluminium foil faced resin bonded fibre Glass wool of density not less than 48 kg m3. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval).
53 | D.2.1 | 80 mm thicknesses - (KED) - External Duct Insulation | 80 mm thicknesses - (KED) - External Duct Insulation | Sq.Mtr | 50.000 | 47,500.00 | 950.00 | 47,500.00 | 1435.00 | 71,750.00 | 1250.00 | 62,500.00
54 |  | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS
55 | D.3 | Supply, installation testing of Acoustic Insulation of ducts using opencell processed elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.045 W (m-K) at 0° C and Fire performance according to building regulations - Class 1 as per BS 476, with very good sound absorption, damping and barrier properties. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation testing of Acoustic Insulation of ducts using opencell processed elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.045 W (m-K) at 0° C and Fire performance according to building regulations - Class 1 as per BS 476, with very good sound absorption, damping and barrier properties. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval).
56 | D.3.1 | 15 mm thicknesses - (SAD) - Internal Duct Lining | 15 mm thicknesses - (SAD) - Internal Duct Lining | Sq.Mtr | 18.000 | 18,900.00 | 1050.00 | 18,900.00 | 1330.00 | 23,940.00 | 1450.00 | 26,100.00
57 | E | AIR DISTRIBUTION DUCT ACCESSORIES | AIR DISTRIBUTION DUCT ACCESSORIES
58 |  | DUCT AIR CONTROL DAMPERS | DUCT AIR CONTROL DAMPERS
59 | E.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Opposed Blade Damper Collar Damper with Nylon gears and lever on face side for smooth operation. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) | Supply, installation, tetsing and commissioning of Extruded Aluminium Opposed Blade Damper Collar Damper with Nylon gears and lever on face side for smooth operation. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval)
60 | E.1.1 | Size - 500 x 500 mm | Size - 500 x 500 mm | Nos | 7.000 | 9,310.00 | 2250.00 | 15,750.00 | 1330.00 | 9,310.00 | 2850.00 | 19,950.00
61 | E.1.2 | Size - 500 x 250 mm | Size - 500 x 250 mm | Nos | 1.000 | 665.00 | 2050.00 | 2,050.00 | 665.00 | 665.00 | 2250.00 | 2,250.00
62 | E.1.3 | Size - 300 x 250 mm | Size - 300 x 250 mm | Nos | 10.000 | 4,060.00 | 1250.00 | 12,500.00 | 406.00 | 4,060.00 | 2050.00 | 20,500.00
63 | E.1.4 | Size - 300 x 200 mm | Size - 300 x 200 mm | Nos | 1.000 | 371.00 | 1050.00 | 1,050.00 | 371.00 | 371.00 | 2050.00 | 2,050.00
64 | E.1.5 | Size - 250 x 250 mm | Size - 250 x 250 mm | Nos | 9.000 | 3,024.00 | 850.00 | 7,650.00 | 336.00 | 3,024.00 | 1850.00 | 16,650.00
65 | E.1.6 | Size - 250 x 200 mm | Size - 250 x 200 mm | Nos | 1.000 | 308.00 | 850.00 | 850.00 | 308.00 | 308.00 | 1650.00 | 1,650.00
66 | F | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS LOUVERS) | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS LOUVERS)
67 |  | GRILLES | GRILLES
68 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Square Grille with fixed Aerofoil Blades, with 30° deflection - 1 Way with rigid frame of 16mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Square Grille with fixed Aerofoil Blades, with 30° deflection - 1 Way with rigid frame of 16mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
69 | F.1.1 | Neck Size - 500 x 500 mm | Neck Size - 500 x 500 mm | Nos | 7.000 | 13,475.00 | 2250.00 | 15,750.00 | 1925.00 | 13,475.00 | 2250.00 | 15,750.00
70 | F.1.2 | Neck Size - 200 x 200 mm | Neck Size - 200 x 200 mm | Nos | 1.000 | 693.00 | 850.00 | 850.00 | 693.00 | 693.00 | 1450.00 | 1,450.00
71 | F.2 | Supply, installation, tetsing and commissioning of Extruded Aluminium Rectangular Grille with fixed Aerofoil Blades, with 30° deflection - 1 Way with rigid frame of 16mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Rectangular Grille with fixed Aerofoil Blades, with 30° deflection - 1 Way with rigid frame of 16mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
72 | F.2.1 | Neck Size - 900 x 400 mm | Neck Size - 900 x 400 mm | Nos | 2.000 | 6,552.00 | 4550.00 | 9,100.00 | 3276.00 | 6,552.00 | 3540.00 | 7,080.00
73 | F.2.2 | Neck Size - 800 x 400 mm | Neck Size - 800 x 400 mm | Nos | 1.000 | 2,940.00 | 4250.00 | 4,250.00 | 2940.00 | 2,940.00 | 3350.00 | 3,350.00
74 |  | CEILING DIFFUSERS | CEILING DIFFUSERS
75 | F.2 | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and inbuild butter fly damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and inbuild butter fly damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
76 | F.2.1 | Neck Size - 350 mm Ø | Neck Size - 350 mm Ø | Nos | 21.000 | 51,450.00 | 2650.00 | 55,650.00 | 2450.00 | 51,450.00 | 3350.00 | 70,350.00
77 | G | TESTING COMMISIONING | TESTING COMMISIONING
78 | G.1 | Air Balancing Chilled Water Testing Commisioning | Air Balancing Chilled Water Testing Commisioning | Lot | 1.000 | 10,000.00 | 10000.00 | 10,000.00 | 70000.00 | 70,000.00 | 15000.00 | 15,000.00

## Technical Score Detail
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Comp. Date : 02/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION |  | Vendor Name : Rudra Ineriors |  | Vendor Name : ANJLE MEP PROJECTS PVT LTD
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ #: R0654 | RFQ #: R0654 | RFQ #: R0654 | Contact Name : Mohd Ashraf |  | Contact Name : Manoj |  | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ Date : 01/04/2024 18:17:29 | RFQ Date : 01/04/2024 18:17:29 | RFQ Date : 01/04/2024 18:17:29 | Vendor City : |  | Vendor City : |  | Vendor City :
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | BCD Date : 02/04/2024 17:44:00 | BCD Date : 02/04/2024 17:44:00 | BCD Date : 02/04/2024 17:44:00 | Telephone # : |  | Telephone # : |  | Telephone # :
|  | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT | RFQ No: R0654 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | PR Number : TFSPL-2324-00193 | Email : projectspioneer@gmail.com |  | Email : manoj@rudrasip.com |  | Email : anjlemepprojects@gmail.com
Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Package / RFQ Name : HVAC for Delhi T1-Dilli Streat | Round # : 3 (RFQ) |  | Round # : 3 (RFQ) |  | Round # : 3 (RFQ)
Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Buyer : Binu Balachandran | Quotation Date : |  | Quotation Date : |  | Quotation Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | Comp. # : 3 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification | Score | Justification
1 |  | HVAC - High Side |  | NOS | 1.000 | 0.00 | 0.00
2 | A | HVAC SYSTEM EQUIPMENTS |  |  | 0.000 | 0.00 | 0.00
3 |  | HVAC EQUIPMENTS ( CHILLED WATER TYPE ) |  |  | 0.000 | 0.00 | 0.00
4 | A.1 | Supply, Installation, Testing, and Commissioning of Chilled water type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. |  |  | 0.000 | 0.00 | 0.00
5 | A.1.1 | 5.0 TR - (2000 CFM) |  | Nos | 1.000 | 0.00 | 0.00
6 | A.1.2 | 7.5 TR - (3000 CFM) |  | Nos | 2.000 | 0.00 | 0.00
7 |  | KITCHEN EQUIPMENTS |  |  | 0.000 | 0.00 | 0.00
8 | A.2 | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings. |  |  | 0.000 | 0.00 | 0.00
9 | A.2.1 | 5250 CFM |  | Nos | 1.000 | 0.00 | 0.00
10 | A.2.2 | 3450 CFM |  | Nos | 1.000 | 0.00 | 0.00
11 | A.2.3 | 5000 CFM |  | Nos | 1.000 | 0.00 | 0.00
12 | A.3 | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make Rydair, Trion or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
13 | A.3.1 | 5250 CFM |  | Nos | 1.000 | 0.00 | 0.00
14 | A.3.2 | 3450 CFM |  | Nos | 1.000 | 0.00 | 0.00
15 | A.3.3 | 5000 CFM |  | Nos | 1.000 | 0.00 | 0.00
16 | A.4 | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit with all necessary supports and fittings. |  |  | 0.000 | 0.00 | 0.00
17 | A.4.1 | 4200 CFM |  | Nos | 1.000 | 0.00 | 0.00
18 | A.4.2 | 2760 CFM |  | Nos | 1.000 | 0.00 | 0.00
19 | A.4.3 | 4000 CFM |  | Nos | 1.000 | 0.00 | 0.00
20 |  | HVAC-Low side |  | NOS | 1.000 | 0.00 | 0.00
21 | B | AC PIPING |  |  | 0.000 | 0.00 | 0.00
22 |  | HVAC CONDENSATE DRAIN PIPE |  |  | 0.000 | 0.00 | 0.00
23 | B.1 | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
24 | B.1.1 | 25 mm Ø |  | Mtr | 20.000 | 0.00 | 0.00
25 | B.1.1 | 32 mm Ø |  | Mtr | 25.000 | 0.00 | 0.00
26 |  | HVAC WATER PIPING |  |  | 0.000 | 0.00 | 0.00
27 | B.2 | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe with Poly urethane foam (PUF) insulation of minimum 36 kg cu.m density and AL jacket or cladding with all necessary fittings, connections, flanges and all necessary pipe supports, clamps as applicable and as per site conditions. (Make Jindal (Hissar), Tata Steel, SAIL or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
28 | B.2. | 40 mm Ø (Insulation thickness - 32 mm) |  | Mtr | 36.000 | 0.00 | 0.00
29 | B.2.2 | 32 mm Ø (Insulation thickness - 32 mm) |  | Mtr | 26.000 | 0.00 | 0.00
30 | C | AIR DISTRIBUTION DUCTS |  |  | 0.000 | 0.00 | 0.00
31 |  | RECTANGULAR DUCTS |  |  | 0.000 | 0.00 | 0.00
32 | C.1 | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
33 | C.1.1 | 22 Gauge - (0.85 mm Thick) - Supply Air Duct |  | Sq.Mtr | 40.000 | 0.00 | 0.00
34 | C.1.2 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct |  | Sq.Mtr | 23.000 | 0.00 | 0.00
35 | C.1.3 | 22 Gauge - (0.85 mm Thick) - Make-Up Air Duct |  | Sq.Mtr | 40.000 | 0.00 | 0.00
36 | C.1.4 | 24 Gauge - (0.70 mm Thick) - Make-Up Air Duct |  | Sq.Mtr | 40.000 | 0.00 | 0.00
37 | C.1.5 | 22 Gauge - (0.85 mm Thick) - Return Air Duct |  | Sq.Mtr | 20.000 | 0.00 | 0.00
38 | C.2 | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
39 | C.2.1 | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct |  | Sq.Mtr | 60.000 | 0.00 | 0.00
40 |  | ROUND DUCTS |  |  | 0.000 | 0.00 | 0.00
41 | C.3 | Supply, installation, and testing of Galvanized Iron (GI) Galvanized Steel (GS) factory fabricated Spiral Round Ducts with all necessary fittings, round connectors, duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. |  |  | 0.000 | 0.00 | 0.00
42 | C.3.1 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct |  | Sq.Mtr | 22.000 | 0.00 | 0.00
43 |  | FLEXIBLE DUCTS |  |  | 0.000 | 0.00 | 0.00
44 | C.4 | Supply, installation, and testing of aluminium-polyester casig Round Flexible Duct reinforced with spiral wound steel wire, Temperature range -20° C to +140° C, with a standard insulation thickness of 25 mm and with all necessary connections, fixing and support arrangements of approved make. |  |  | 0.000 | 0.00 | 0.00
45 | C.4.1 | 300 mm Ø |  | Mtr | 28.000 | 0.00 | 0.00
46 | C.5 | Supply, installation, and testing of Flexible Duct Connectors to isolate vibrations and noises caused by air handling units , fans or any other equipments connected to the duct with air tight fittings with all necessary accessories. |  |  | 0.000 | 0.00 | 0.00
47 | C.5.1 | For AHU |  | Nos | 3.000 | 0.00 | 0.00
48 | D | AIR DISTRIBUTION DUCT INSULATION LINNING |  |  | 0.000 | 0.00 | 0.00
49 |  | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS |  |  | 0.000 | 0.00 | 0.00
50 | D.1 | Supply, installation, and testing of Thermal Insulation of ducting using closed cell antimicrobial Class “O” BS 476 and part 6 7 FM approved nitrile rubber elastomeric insulation thermal conductivity 0.033 watts per meter-kelvin (W (M·K)) at 0°C. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
51 | D.1.1 | 19 mm thicknesses - (SAD) - External Duct Insulation |  | Sq.Mtr | 60.000 | 0.00 | 0.00
52 | D.1.2 | 19 mm thicknesses - (MUAD) - External Duct Insulation |  | Sq.Mtr | 75.000 | 0.00 | 0.00
53 | D.13 | 19 mm thicknesses - (RAD) - External Duct Insulation |  | Sq.Mtr | 20.000 | 0.00 | 0.00
54 | D.2 | Supply, installation testing of Thermal Insulation of ducting using Aluminium foil faced resin bonded fibre Glass wool of density not less than 48 kg m3. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
55 | D.2.1 | 80 mm thicknesses - (KED) - External Duct Insulation |  | Sq.Mtr | 50.000 | 0.00 | 0.00
56 |  | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS |  |  | 0.000 | 0.00 | 0.00
57 | D.3 | Supply, installation testing of Acoustic Insulation of ducts using opencell processed elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.045 W (m-K) at 0° C and Fire performance according to building regulations - Class 1 as per BS 476, with very good sound absorption, damping and barrier properties. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
58 | D.3.1 | 15 mm thicknesses - (SAD) - Internal Duct Lining |  | Sq.Mtr | 18.000 | 0.00 | 0.00
59 | E | AIR DISTRIBUTION DUCT ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
60 |  | DUCT AIR CONTROL DAMPERS |  |  | 0.000 | 0.00 | 0.00
61 | E.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Opposed Blade Damper Collar Damper with Nylon gears and lever on face side for smooth operation. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) |  |  | 0.000 | 0.00 | 0.00
62 | E.1.1 | Size - 500 x 500 mm |  | Nos | 7.000 | 0.00 | 0.00
63 | E.1.2 | Size - 500 x 250 mm |  | Nos | 1.000 | 0.00 | 0.00
64 | E.1.3 | Size - 300 x 250 mm |  | Nos | 10.000 | 0.00 | 0.00
65 | E.1.4 | Size - 300 x 200 mm |  | Nos | 1.000 | 0.00 | 0.00
66 | E.1.5 | Size - 250 x 250 mm |  | Nos | 9.000 | 0.00 | 0.00
67 | E.1.6 | Size - 250 x 200 mm |  | Nos | 1.000 | 0.00 | 0.00
68 | F | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS LOUVERS) |  |  | 0.000 | 0.00 | 0.00
69 |  | GRILLES |  |  | 0.000 | 0.00 | 0.00
70 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Square Grille with fixed Aerofoil Blades, with 30° deflection - 1 Way with rigid frame of 16mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
71 | F.1.1 | Neck Size - 500 x 500 mm |  | Nos | 7.000 | 0.00 | 0.00
72 | F.1.2 | Neck Size - 200 x 200 mm |  | Nos | 1.000 | 0.00 | 0.00
73 | F.2 | Supply, installation, tetsing and commissioning of Extruded Aluminium Rectangular Grille with fixed Aerofoil Blades, with 30° deflection - 1 Way with rigid frame of 16mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
74 | F.2.1 | Neck Size - 900 x 400 mm |  | Nos | 2.000 | 0.00 | 0.00
75 | F.2.2 | Neck Size - 800 x 400 mm |  | Nos | 1.000 | 0.00 | 0.00
76 |  | CEILING DIFFUSERS |  |  | 0.000 | 0.00 | 0.00
77 | F.2 | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and inbuild butter fly damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
78 | F.2.1 | Neck Size - 350 mm Ø |  | Nos | 21.000 | 0.00 | 0.00
79 | G | TESTING COMMISIONING |  |  | 0.000 | 0.00 | 0.00
80 | G.1 | Air Balancing Chilled Water Testing Commisioning |  | Lot | 1.000 | 0.00 | 0.00