## Price Comparison
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION (RV232414136) | [5 empty] | Vendor Name : ANJLE MEP PROJECTS PVT LTD (RV232413533)
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ #: R0770 | RFQ #: R0770 | RFQ #: R0770 | Contact Name : Mohd Ashraf | [5 empty] | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ Date : 08/04/2024 12:07:59 | RFQ Date : 08/04/2024 12:07:59 | RFQ Date : 08/04/2024 12:07:59 | Vendor City : | [5 empty] | Vendor City :
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | BCD Date : 12/04/2024 18:43:00 | BCD Date : 12/04/2024 18:43:00 | BCD Date : 12/04/2024 18:43:00 | Telephone # : | [5 empty] | Telephone # :
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT |  |  |  | Mobile # : | [5 empty] | Mobile # :
PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | Email : projectspioneer@gmail.com | [5 empty] | Email : anjlemepprojects@gmail.com
Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Round # : 2 (RFQ) | [5 empty] | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Buyer : Jogeswar Sahu / Technical : / Approver : | Quotation Date : |  |  | Quotation Validity Date : |  |  | Quotation Date : |  |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Buyer Remark : . | [5 empty] | Buyer Remark :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : INR | [5 empty] | Quote Currency : INR
# | Item Code | Item Description | Unit | Qty | Last PO Details | Lowest Unit Rate | Lowest Vendor | First Bid | Disc % | GST % | Technical | Unit Price | Total | First Bid | Disc % | GST % | Technical | Unit Price | Total
1 |  | high side | NOS | 1.00 |  | 1160000.00 | PIONEER PROJECT SOLUTION | 1223000.00 | 0.00 | 28.00 |  | 1,160,000.00 | 1,160,000.00 | 3174600.00 | 0.00 | 28.00 |  | 1,256,000.00 | 1,256,000.00
2 |  | HVAC-Low side | NOS | 1.00 |  | 952800.00 | PIONEER PROJECT SOLUTION | 1002200.00 | 0.00 | 18.00 |  | 952,800.00 | 952,800.00 | 1467000.00 | 0.00 | 18.00 |  | 1,239,008.00 | 1,239,008.00
Item Total | [8 empty] | .00 | 496,304.00 |  |  | 2,112,800.00 |  | .00 | 574,701.44 |  |  | 2,495,008.00
Discount Total Value | [7 empty] | Grand Dis. Amt | .00 |  |  |  | .00 | Grand Dis. Amt | .00 |  |  |  | .00
GST Total Amount | [12 empty] | 496,304.00 | [5 empty] | 574,701.44
Net Landed Cost | [11 empty] | INR | 2,609,104.00 |  |  |  |  | INR | 3,069,709.44
Vendor Status | [7 empty] | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Sr No. | Vendor Code | Vendor Name | [5 empty] | Status | Remarks
1 | RV232414136 | PIONEER PROJECT SOLUTION | [5 empty] | Participate
2 | RV232413816 | Pikture Perfect Design Studio Pvt. Ltd | [5 empty] | Participate
3 | RV232413533 | ANJLE MEP PROJECTS PVT LTD | [5 empty] | Participate
4 | RV242522470 | SM Infra Services llp | [5 empty] | Not Participate

## BOQ Price Bid
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : PIONEER PROJECT SOLUTION | Vendor Name : ANJLE MEP PROJECTS PVT LTD | Vendor Name : ANJLE MEP PROJECTS PVT LTD
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ #: R0770 | RFQ #: R0770 | RFQ #: R0770 | Contact Name : Mohd Ashraf | Contact Name : Mohd Ashraf | Contact Name : Priyanka/Premkant Rajpoot | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ Date : 08/04/2024 12:07:59 | RFQ Date : 08/04/2024 12:07:59 | RFQ Date : 08/04/2024 12:07:59 | Vendor City : | Vendor City : | Vendor City : | Vendor City :
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | BCD Date : 12/04/2024 18:43:00 | BCD Date : 12/04/2024 18:43:00 | BCD Date : 12/04/2024 18:43:00 | Telephone # : | Telephone # : | Telephone # : | Telephone # :
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT |  |  |  | Mobile # : | Mobile # : | Mobile # : | Mobile # :
PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | Email : projectspioneer@gmail.com | Email : projectspioneer@gmail.com | Email : anjlemepprojects@gmail.com | Email : anjlemepprojects@gmail.com
Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ) | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Techanical Score : | Techanical Score : | Techanical Score : | Techanical Score :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Date : | Quotation Date : | Quotation Date : | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | BUDGET PRICE :.00 | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date : | Quotation Validity Date :
Sr No. | Item Code | Item Name | Item Description | UOM | Qty | Minimum Amount | Unit Price | Amount | Unit Price | Amount
1 |  | high side | Hvac - High Side | NOS | 1.000 |  |  | 1,160,000.00 |  | 1,256,000.00
1 | A | HVAC SYSTEM EQUIPMENTS | HVAC SYSTEM EQUIPMENTS
2 | A.1 | Supply, Installation, Testing commisioning of pedestal mounted compact Top discharge Air Cooled type VRF VRV outdoor units having inverter driven scroll type compressors insulated refrigeration piping, power control wiring, multi-connection kit, earthing, external wiring between Indoor outdoor units, system controls-safety. The system should have flexibility to handle total 1000 Rmt of ref. piping. Outdoor units with high low pressure switch, fan driver overload protector, phase preventer over current relay, Inverter overload protector fusible plug (or equivalent). The unit shall be suitable for 415 ± 10 % volts, 50 Hz, 3 phase AC supply, and IP 55 protection. The refrigerant shall be R-410 A only. (Make Daikin,mitsubishi electric or equivalent with airport approval) | Supply, Installation, Testing commisioning of pedestal mounted compact Top discharge Air Cooled type VRF VRV outdoor units having inverter driven scroll type compressors insulated refrigeration piping, power control wiring, multi-connection kit, earthing, external wiring between Indoor outdoor units, system controls-safety. The system should have flexibility to handle total 1000 Rmt of ref. piping. Outdoor units with high low pressure switch, fan driver overload protector, phase preventer over current relay, Inverter overload protector fusible plug (or equivalent). The unit shall be suitable for 415 ± 10 % volts, 50 Hz, 3 phase AC supply, and IP 55 protection. The refrigerant shall be R-410 A only. (Make Daikin,mitsubishi electric or equivalent with airport approval)
3 | A.1.1 | 18 HP | 18 HP | Nos | 1.000 | 360,000.00 | 360000.00 | 360,000.00 | 395000.00 | 395,000.00
4 | A.2 | Supply, Installation, Testing, and Commissioning of VRF type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. Quote shall be inclusive of AHU kit for connecting VRF Outdoor.(Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval) | Supply, Installation, Testing, and Commissioning of VRF type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. Quote shall be inclusive of AHU kit for connecting VRF Outdoor.(Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval)
5 | A.2.1 | 5.0 TR - (1750 CFM) | 5.0 TR - (1750 CFM) | Nos | 1.000 | 85,000.00 | 85000.00 | 85,000.00 | 95000.00 | 95,000.00
6 | A.2.2 | 9.0 TR - (3150 CFM) | 9.0 TR - (3150 CFM) | Nos | 1.000 | 115,000.00 | 115000.00 | 115,000.00 | 155000.00 | 155,000.00
7 | A.3 | Supply, Installation, Testing, and Commissioning of Chilled water type Double Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment.Quote shall be inclusive of flexible connector ,Dielectric union drain valve. (Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval) | Supply, Installation, Testing, and Commissioning of Chilled water type Double Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment.Quote shall be inclusive of flexible connector ,Dielectric union drain valve. (Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval)
8 | A.3.1 | 4.5 TR - (1350 CFM) for Kitchen | 4.5 TR - (1350 CFM) for Kitchen | Nos | 1.000 | 115,000.00 | 125000.00 | 125,000.00 | 115000.00 | 115,000.00
9 |  | KITCHEN EQUIPMENTS | KITCHEN EQUIPMENTS
10 | A.4 | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings. | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings.
11 | A.4.1 | 4550 CFM | 4550 CFM | Nos | 1.000 | 135,600.00 | 155000.00 | 155,000.00 | 135600.00 | 135,600.00
12 | A.5 | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make Rydair, Trion or equivalent with airport approval). | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make Rydair, Trion or equivalent with airport approval).
13 | A.5.1 | 4550 CFM | 4550 CFM | Nos | 1.000 | 175,000.00 | 175000.00 | 175,000.00 | 215000.00 | 215,000.00
14 | A.6 | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit inluding fan for Make up air with all necessary supports and fittings. | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit inluding fan for Make up air with all necessary supports and fittings.
15 | A.4.1 | 4550 CFM | 4550 CFM | Nos | 1.000 | 145,000.00 | 145000.00 | 145,000.00 | 145400.00 | 145,400.00
2 |  | HVAC-Low side | HVAC-Low side | NOS | 1.000 |  |  | 952,800.00 |  | 1,239,008.00
16 | B | AC PIPING | AC PIPING
17 |  | VRF REFRIGERANT PIPING | VRF REFRIGERANT PIPING
18 | B.1 | Supply, installation, testing and commissioning of seamless heavy gauge hard drawn Copper piping for VRF system duly insulated with 19mm thick and 13mm thick nitrile rubber insulation for gas line and liquid line respectively.Polyshield coating for outdoor piping shall be considered. Quote shall be inclusive of communication cabling, refnet joints,required refrigerant gas and all necessary items. | Supply, installation, testing and commissioning of seamless heavy gauge hard drawn Copper piping for VRF system duly insulated with 19mm thick and 13mm thick nitrile rubber insulation for gas line and liquid line respectively.Polyshield coating for outdoor piping shall be considered. Quote shall be inclusive of communication cabling, refnet joints,required refrigerant gas and all necessary items.
19 | B.1.1 | VRF refrigerant piping system | VRF refrigerant piping system | Lot | 1.000 | 60,000.00 | 60000.00 | 60,000.00 | 215000.00 | 215,000.00
20 |  | HVAC CONDENSATE DRAIN PIPE | HVAC CONDENSATE DRAIN PIPE
21 | B.1 | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval). | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval).
22 | B.1.1 | 25 mm Ø | 25 mm Ø | Mtr | 20.000 | 2,800.00 | 140.00 | 2,800.00 | 230.00 | 4,600.00
23 | B.1.1 | 32 mm Ø | 32 mm Ø | Mtr | 20.000 | 3,600.00 | 180.00 | 3,600.00 | 270.00 | 5,400.00
24 |  | HVAC CHILLED WATER PIPING | HVAC CHILLED WATER PIPING
25 | B.2 | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe with Poly urethane foam (PUF) insulation of minimum 36 kg cu.m density and AL jacket or cladding with all necessary fittings, connections, flanges and all necessary pipe supports, clamps as applicable and as per site conditions. (Make Jindal (Hissar), Tata Steel, SAIL or equivalent with airport approval). | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe with Poly urethane foam (PUF) insulation of minimum 36 kg cu.m density and AL jacket or cladding with all necessary fittings, connections, flanges and all necessary pipe supports, clamps as applicable and as per site conditions. (Make Jindal (Hissar), Tata Steel, SAIL or equivalent with airport approval).
26 | B.2.2 | 32 mm Ø (Insulation thickness - 32 mm) | 32 mm Ø (Insulation thickness - 32 mm) | Mtr | 36.000 | 41,400.00 | 1450.00 | 52,200.00 | 1150.00 | 41,400.00
27 | B.2 | Supply, Installation, Testing, and Commissioning of Pressure Independent Control Valve (PICV) with Electric actuators with selectable control modes, with a pressure rating of PN 16 of approved make with threaded or flange connection ends with all necessary fixing arrangements. (Make Danfoss,Siemen,Flowcon,Honeywell,Anergy,Belimo,Johnsons Control ) | Supply, Installation, Testing, and Commissioning of Pressure Independent Control Valve (PICV) with Electric actuators with selectable control modes, with a pressure rating of PN 16 of approved make with threaded or flange connection ends with all necessary fixing arrangements. (Make Danfoss,Siemen,Flowcon,Honeywell,Anergy,Belimo,Johnsons Control )
28 | B.2.2 | 32 mm Ø (10.8 gpm) | 32 mm Ø (10.8 gpm) | Nos | 1.000 | 26,500.00 | 26500.00 | 26,500.00 | 38500.00 | 38,500.00
29 | B.2 | Supply, Installation, Testing, and Commissioning of Forged Brass Y - Strainer with removable perforated SS mesh screen with a pressure rating of PN 16 of approved make, insulation shall be same thickness for corresponding size as chilled water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Emerald, Rapidcool or equivalent with airport approval). | Supply, Installation, Testing, and Commissioning of Forged Brass Y - Strainer with removable perforated SS mesh screen with a pressure rating of PN 16 of approved make, insulation shall be same thickness for corresponding size as chilled water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Emerald, Rapidcool or equivalent with airport approval).
30 | B.2.2 | 32 mm Ø | 32 mm Ø | Nos | 1.000 | 3,650.00 | 4050.00 | 4,050.00 | 3650.00 | 3,650.00
31 | B.2 | Supply, Installation, Testing, and Commissioning of Forged Brass Ball Valve with full bore lever operated with a pressure rating of PN 16 of approved make, Valve insulation shall be same thickness for corresponding size as chilled water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool, RB, Emerald, Sant, Zoloto.) | Supply, Installation, Testing, and Commissioning of Forged Brass Ball Valve with full bore lever operated with a pressure rating of PN 16 of approved make, Valve insulation shall be same thickness for corresponding size as chilled water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool, RB, Emerald, Sant, Zoloto.)
32 | B.2.2 | 32 mm Ø | 32 mm Ø | Nos | 2.000 | 6,500.00 | 3850.00 | 7,700.00 | 3250.00 | 6,500.00
33 | B.2 | Supply, Installation, Testing, and Commissioning of Analog type Pressure Gauge of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald.) | Supply, Installation, Testing, and Commissioning of Analog type Pressure Gauge of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald.)
34 | B.2.2 | 100 mm Ø Dial | 100 mm Ø Dial | Nos | 2.000 | 3,300.00 | 1850.00 | 3,700.00 | 1650.00 | 3,300.00
35 | B.2 | Supply, Installation, Testing, and Commissioning of Analog type Thermometer of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald.) | Supply, Installation, Testing, and Commissioning of Analog type Thermometer of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald.)
36 | B.2.2 | 100 mm Ø Dial | 100 mm Ø Dial | Nos | 2.000 | 2,100.00 | 1050.00 | 2,100.00 | 2250.00 | 4,500.00
37 | C | AIR DISTRIBUTION DUCTS | AIR DISTRIBUTION DUCTS
38 |  | RECTANGULAR DUCTS | RECTANGULAR DUCTS
39 | C.1 | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval).
40 | C.1.1 | 22 Gauge - (0.85 mm Thick) - Supply Air Duct | 22 Gauge - (0.85 mm Thick) - Supply Air Duct | Sq.Mtr | 10.000 | 13,500.00 | 1450.00 | 14,500.00 | 1350.00 | 13,500.00
41 | C.1.2 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | 24 Gauge - (0.70 mm Thick) - Supply Air Duct | Sq.Mtr | 60.000 | 69,000.00 | 1250.00 | 75,000.00 | 1150.00 | 69,000.00
42 | C.1.3 | 22 Gauge - (0.85 mm Thick) - Make-Up Air Duct | 22 Gauge - (0.85 mm Thick) - Make-Up Air Duct | Sq.Mtr | 20.000 | 27,000.00 | 1450.00 | 29,000.00 | 1350.00 | 27,000.00
43 | C.1.4 | 24 Gauge - (0.70 mm Thick) - Make-Up Air Duct | 24 Gauge - (0.70 mm Thick) - Make-Up Air Duct | Sq.Mtr | 80.000 | 92,000.00 | 1250.00 | 100,000.00 | 1150.00 | 92,000.00
44 | C.2 | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval).
45 | C.2.1 | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct | Sq.Mtr | 80.000 | 196,000.00 | 2450.00 | 196,000.00 | 2950.00 | 236,000.00
46 |  | FLEXIBLE DUCTS | FLEXIBLE DUCTS
47 | C.4 | Supply, installation, and testing of aluminium-polyester casig Round Flexible Duct reinforced with spiral wound steel wire, Temperature range -20° C to +140° C, with a standard insulation thickness of 25 mm and with all necessary connections, fixing and support arrangements of approved make. | Supply, installation, and testing of aluminium-polyester casig Round Flexible Duct reinforced with spiral wound steel wire, Temperature range -20° C to +140° C, with a standard insulation thickness of 25 mm and with all necessary connections, fixing and support arrangements of approved make.
48 | C.4.1 | 250 mm Ø | 250 mm Ø | Mtr | 15.000 | 8,250.00 | 550.00 | 8,250.00 | 1150.00 | 17,250.00
49 | C.5 | Supply, installation, and testing of Insulated Flexible Duct Connectors to isolate vibrations caused by air handling units , fans or any other equipments connected to the duct with air tight fittings with all necessary accessories. | Supply, installation, and testing of Insulated Flexible Duct Connectors to isolate vibrations caused by air handling units , fans or any other equipments connected to the duct with air tight fittings with all necessary accessories.
50 | C.5.1 | For AHU | For AHU | Nos | 3.000 | 7,500.00 | 2500.00 | 7,500.00 | 2650.00 | 7,950.00
51 | C.5.1 | For FAN | For FAN | Nos | 1.000 | 2,500.00 | 2500.00 | 2,500.00 | 2550.00 | 2,550.00
52 | D | AIR DISTRIBUTION DUCT INSULATION LINNING | AIR DISTRIBUTION DUCT INSULATION LINNING
53 |  | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS
54 | D.1 | Supply, installation, and testing of Thermal Insulation of ducting using closed cell antimicrobial Class “O” BS 476 and part 6 7 FM approved nitrile rubber elastomeric insulation thermal conductivity 0.033 watts per meter-kelvin (W (M·K)) at 0°C. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation, and testing of Thermal Insulation of ducting using closed cell antimicrobial Class “O” BS 476 and part 6 7 FM approved nitrile rubber elastomeric insulation thermal conductivity 0.033 watts per meter-kelvin (W (M·K)) at 0°C. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval).
55 | D.1.1 | 19 mm thicknesses - (SAD) | 19 mm thicknesses - (SAD) | Sq.Mtr | 70.000 | 45,500.00 | 650.00 | 45,500.00 | 850.00 | 59,500.00
56 | D.1.2 | 19 mm thicknesses - (MUAD) | 19 mm thicknesses - (MUAD) | Sq.Mtr | 100.000 | 65,000.00 | 650.00 | 65,000.00 | 850.00 | 85,000.00
57 | D.2 | Supply, installation testing of Thermal Insulation of ducting using Aluminium foil faced resin bonded fibre Glass wool of density not less than 48 kg m3. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation testing of Thermal Insulation of ducting using Aluminium foil faced resin bonded fibre Glass wool of density not less than 48 kg m3. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval).
58 | D.2.1 | 80 mm thicknesses - (KED) - External Duct Insulation | 80 mm thicknesses - (KED) - External Duct Insulation | Sq.Mtr | 80.000 | 84,000.00 | 1050.00 | 84,000.00 | 1150.00 | 92,000.00
59 |  | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS
60 | D.3 | Supply, installation testing of Acoustic Insulation of ducts using opencell processed elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.045 W (m-K) at 0° C and Fire performance according to building regulations - Class 1 as per BS 476, with very good sound absorption, damping and barrier properties. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). | Supply, installation testing of Acoustic Insulation of ducts using opencell processed elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.045 W (m-K) at 0° C and Fire performance according to building regulations - Class 1 as per BS 476, with very good sound absorption, damping and barrier properties. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval).
61 | D.3.1 | 15 mm thicknesses - (SAD) | 15 mm thicknesses - (SAD) | Sq.Mtr | 20.000 | 25,000.00 | 1250.00 | 25,000.00 | 1250.00 | 25,000.00
62 | E | AIR DISTRIBUTION DUCT ACCESSORIES | AIR DISTRIBUTION DUCT ACCESSORIES
63 |  | DUCT AIR CONTROL DAMPERS | DUCT AIR CONTROL DAMPERS
64 | E.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Low Leakage Square Rectangular Volume Control Damper with aero-foil opposed blades and nylon gears system outside air stream with adjustable handle with position arresting bolt. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) | Supply, installation, tetsing and commissioning of Extruded Aluminium Low Leakage Square Rectangular Volume Control Damper with aero-foil opposed blades and nylon gears system outside air stream with adjustable handle with position arresting bolt. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval)
65 | E.1.1 | Size - 600 x 400 mm | Size - 600 x 400 mm | Nos | 1.000 | 3,500.00 | 3500.00 | 3,500.00 | 4850.00 | 4,850.00
66 | E.1.2 | Size - 600 x 300 mm | Size - 600 x 300 mm | Nos | 1.000 | 3,500.00 | 3500.00 | 3,500.00 | 4850.00 | 4,850.00
67 | E.1.3 | Size - 450 x 350 mm | Size - 450 x 350 mm | Nos | 1.000 | 2,800.00 | 2800.00 | 2,800.00 | 4050.00 | 4,050.00
68 | E.1.4 | Size - 450 x 300 mm | Size - 450 x 300 mm | Nos | 1.000 | 2,800.00 | 2800.00 | 2,800.00 | 4050.00 | 4,050.00
69 | E.1.5 | Size - 300 x 300 mm | Size - 300 x 300 mm | Nos | 2.000 | 3,700.00 | 1850.00 | 3,700.00 | 3554.00 | 7,108.00
70 | E.1.6 | Size - 200 x 300 mm | Size - 200 x 300 mm | Nos | 1.000 | 1,650.00 | 1650.00 | 1,650.00 | 3450.00 | 3,450.00
71 | E.1.6 | Size - 200 x 200 mm | Size - 200 x 200 mm | Nos | 1.000 | 1,550.00 | 1550.00 | 1,550.00 | 3250.00 | 3,250.00
72 | E.1.6 | Size - 150 x 150 mm | Size - 150 x 150 mm | Nos | 1.000 | 1,050.00 | 1050.00 | 1,050.00 | 2250.00 | 2,250.00
73 | E.1 | Supply, installation, tetsing and commissioning of Circular Volume Control Damper with high quality Galvanized steel and Flap Blade fixed with nylon bushes, with hand locking quadrant. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) | Supply, installation, tetsing and commissioning of Circular Volume Control Damper with high quality Galvanized steel and Flap Blade fixed with nylon bushes, with hand locking quadrant. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval)
74 | E.1.1 | Size - 350 mm | Size - 350 mm | Nos | 10.000 | 22,500.00 | 2250.00 | 22,500.00 | 2850.00 | 28,500.00
75 | F | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS DAMPERS) | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS DAMPERS)
76 |  | GRILLES | GRILLES
77 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Square Grille with opposed blade collar damper fixed Aerofoil Blades, fixed Aerofoil Blades, with 15° deflection - 2 Way with rigid frame of 20mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Square Grille with opposed blade collar damper fixed Aerofoil Blades, fixed Aerofoil Blades, with 15° deflection - 2 Way with rigid frame of 20mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
78 | F.1.1 | Neck Size - 400 x 400 mm | Neck Size - 400 x 400 mm | Nos | 6.000 | 15,900.00 | 2650.00 | 15,900.00 | 4650.00 | 27,900.00
79 | F.2 | Supply, installation, tetsing and commissioning of Extruded Aluminium Rectangular Grille with opposed blade collar damper fixed Aerofoil Blades, fixed Aerofoil Blades, with 15° deflection - 1 Way with rigid frame of 20mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Rectangular Grille with opposed blade collar damper fixed Aerofoil Blades, fixed Aerofoil Blades, with 15° deflection - 1 Way with rigid frame of 20mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
80 | F.2.1 | Neck Size - 450 x 200 mm | Neck Size - 450 x 200 mm | Nos | 4.000 | 7,400.00 | 1850.00 | 7,400.00 | 2650.00 | 10,600.00
81 | F.2.2 | Neck Size - 350 x 300 mm | Neck Size - 350 x 300 mm | Nos | 1.000 | 1,850.00 | 1850.00 | 1,850.00 | 2450.00 | 2,450.00
82 | F.2.2 | Neck Size - 200 x 100 mm | Neck Size - 200 x 100 mm | Nos | 1.000 | 1,250.00 | 1250.00 | 1,250.00 | 2050.00 | 2,050.00
83 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Curved linear Grille with opposed blade collar damper fixed Aerofoil Blades, with 15° deflection - 1 Way with rigid frame of 20mm flange as standard. Curve of the grille shall be taken from the tender drawings .Quote shall be inclusive of plenum box and fittings. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Extruded Aluminium Curved linear Grille with opposed blade collar damper fixed Aerofoil Blades, with 15° deflection - 1 Way with rigid frame of 20mm flange as standard. Curve of the grille shall be taken from the tender drawings .Quote shall be inclusive of plenum box and fittings. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
84 | F.2.1 | Neck Size - 1050 x 150 mm | Neck Size - 1050 x 150 mm | Nos | 5.000 | 12,250.00 | 2450.00 | 12,250.00 | 2850.00 | 14,250.00
85 | F.2.1 | Neck Size - 1050 x 150 mm without damper. | Neck Size - 1050 x 150 mm without damper. | Nos | 2.000 | 3,300.00 | 1650.00 | 3,300.00 | 2250.00 | 4,500.00
86 |  | CEILING DIFFUSERS | CEILING DIFFUSERS
87 | F.2 | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and with volume control damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. Quote shall be inclusive of Plenum box and fittings. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and with volume control damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. Quote shall be inclusive of Plenum box and fittings. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
88 | F.2.1 | Neck Size - 350 mm Ø | Neck Size - 350 mm Ø | Nos | 10.000 | 28,500.00 | 2850.00 | 28,500.00 | 3250.00 | 32,500.00
89 | F.2 | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and without volume control damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and without volume control damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval).
90 | F.2.1 | Neck Size - 350 mm Ø | Neck Size - 350 mm Ø | Nos | 8.000 | 14,400.00 | 1800.00 | 14,400.00 | 2850.00 | 22,800.00
91 | G | TESTING COMMISIONING | TESTING COMMISIONING
92 | G.1 | Air Balancing Chilled Water Testing Commisioning | Air Balancing Chilled Water Testing Commisioning | Lot | 1.000 | 10,000.00 | 10000.00 | 10,000.00 | 10000.00 | 10,000.00

## Technical Score Detail
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Comp. Date : 12/04/2024 | Vendor Name : PIONEER PROJECT SOLUTION |  | Vendor Name : ANJLE MEP PROJECTS PVT LTD
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ #: R0770 | RFQ #: R0770 | RFQ #: R0770 | Contact Name : Mohd Ashraf |  | Contact Name : Priyanka/Premkant Rajpoot
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ Date : 08/04/2024 12:07:59 | RFQ Date : 08/04/2024 12:07:59 | RFQ Date : 08/04/2024 12:07:59 | Vendor City : |  | Vendor City :
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | BCD Date : 12/04/2024 18:43:00 | BCD Date : 12/04/2024 18:43:00 | BCD Date : 12/04/2024 18:43:00 | Telephone # : |  | Telephone # :
|  | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT | RFQ No: R0770 COST COMPARISON REPORT |  |  |  | Mobile # : |  | Mobile # :
PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | PR Number : TFSPL-2324-00477 | Email : projectspioneer@gmail.com |  | Email : anjlemepprojects@gmail.com
Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Package / RFQ Name : HVAC, Fas & Fire work for Irish house | Round # : 2 (RFQ) |  | Round # : 2 (RFQ)
Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Buyer : Jogeswar Sahu | Quotation Date : |  | Quotation Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Currency :INR | Currency :INR | Currency :INR | Quotation Validity Date : |  | Quotation Validity Date :
Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | Comp. # : 2 | BUDGET PRICE : | .00 |  | Quote Currency : |  | Quote Currency :
# | Item Code | Item Description | Last PO Details | Unit | Qty | Last PO Unit Rate | Last PO Total Value | Score | Justification | Score | Justification
1 |  | high side |  | NOS | 1.000 | 0.00 | 0.00
2 | A | HVAC SYSTEM EQUIPMENTS |  |  | 0.000 | 0.00 | 0.00
3 | A.1 | Supply, Installation, Testing commisioning of pedestal mounted compact Top discharge Air Cooled type VRF VRV outdoor units having inverter driven scroll type compressors insulated refrigeration piping, power control wiring, multi-connection kit, earthing, external wiring between Indoor outdoor units, system controls-safety. The system should have flexibility to handle total 1000 Rmt of ref. piping. Outdoor units with high low pressure switch, fan driver overload protector, phase preventer over current relay, Inverter overload protector fusible plug (or equivalent). The unit shall be suitable for 415 ± 10 % volts, 50 Hz, 3 phase AC supply, and IP 55 protection. The refrigerant shall be R-410 A only. (Make Daikin,mitsubishi electric or equivalent with airport approval) |  |  | 0.000 | 0.00 | 0.00
4 | A.1.1 | 18 HP |  | Nos | 1.000 | 0.00 | 0.00
5 | A.2 | Supply, Installation, Testing, and Commissioning of VRF type Single Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment. Quote shall be inclusive of AHU kit for connecting VRF Outdoor.(Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval) |  |  | 0.000 | 0.00 | 0.00
6 | A.2.1 | 5.0 TR - (1750 CFM) |  | Nos | 1.000 | 0.00 | 0.00
7 | A.2.2 | 9.0 TR - (3150 CFM) |  | Nos | 1.000 | 0.00 | 0.00
8 | A.3 | Supply, Installation, Testing, and Commissioning of Chilled water type Double Skin Ceiling Suspended Air Handling Unit (AHU) of approved make with all necessary mounting and fixing arrangements for the equipment, including hanging arrangements with vibration isolation as required based on the hanging structure above with a suitably sized stainless steel insulated drip tray below the AC equipment.Quote shall be inclusive of flexible connector ,Dielectric union drain valve. (Make Waves, System Air, Daikin, Voltas, Caryaire,Blue Star or equivalent with airport approval) |  |  | 0.000 | 0.00 | 0.00
9 | A.3.1 | 4.5 TR - (1350 CFM) for Kitchen |  | Nos | 1.000 | 0.00 | 0.00
10 |  | KITCHEN EQUIPMENTS |  |  | 0.000 | 0.00 | 0.00
11 | A.4 | Supply, installation, testing, commissioning and field performance of ceiling suspended Kitchen Exhaust Fan with all necessary supports and fittings. |  |  | 0.000 | 0.00 | 0.00
12 | A.4.1 | 4550 CFM |  | Nos | 1.000 | 0.00 | 0.00
13 | A.5 | Supply, installation, testing, commissioning and field performance of ceiling suspended Electrostatic Precipitator (for removal of Kitchen Grease and Smoke particles) with all necessary supports and fittings. (Make Rydair, Trion or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
14 | A.5.1 | 4550 CFM |  | Nos | 1.000 | 0.00 | 0.00
15 | A.6 | Supply, installation, testing, commissioning and field performance of ceiling suspended Air Washer Unit inluding fan for Make up air with all necessary supports and fittings. |  |  | 0.000 | 0.00 | 0.00
16 | A.4.1 | 4550 CFM |  | Nos | 1.000 | 0.00 | 0.00
17 |  | HVAC-Low side |  | NOS | 1.000 | 0.00 | 0.00
18 | B | AC PIPING |  |  | 0.000 | 0.00 | 0.00
19 |  | VRF REFRIGERANT PIPING |  |  | 0.000 | 0.00 | 0.00
20 | B.1 | Supply, installation, testing and commissioning of seamless heavy gauge hard drawn Copper piping for VRF system duly insulated with 19mm thick and 13mm thick nitrile rubber insulation for gas line and liquid line respectively.Polyshield coating for outdoor piping shall be considered. Quote shall be inclusive of communication cabling, refnet joints,required refrigerant gas and all necessary items. |  |  | 0.000 | 0.00 | 0.00
21 | B.1.1 | VRF refrigerant piping system |  | Lot | 1.000 | 0.00 | 0.00
22 |  | HVAC CONDENSATE DRAIN PIPE |  |  | 0.000 | 0.00 | 0.00
23 | B.1 | Supply and fixing in position of Rigid PVC condensate drain water piping with necessary supports and fittings like, U-traps, elbows, tees and reducers insulated with 9mm nitrile rubber and BOPP tape. (Make Astral, Supreme or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
24 | B.1.1 | 25 mm Ø |  | Mtr | 20.000 | 0.00 | 0.00
25 | B.1.1 | 32 mm Ø |  | Mtr | 20.000 | 0.00 | 0.00
26 |  | HVAC CHILLED WATER PIPING |  |  | 0.000 | 0.00 | 0.00
27 | B.2 | Supply, installation and testing of MS class (C) Pre-Insulated Chilled Water Pipe with Poly urethane foam (PUF) insulation of minimum 36 kg cu.m density and AL jacket or cladding with all necessary fittings, connections, flanges and all necessary pipe supports, clamps as applicable and as per site conditions. (Make Jindal (Hissar), Tata Steel, SAIL or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
28 | B.2.2 | 32 mm Ø (Insulation thickness - 32 mm) |  | Mtr | 36.000 | 0.00 | 0.00
29 | B.2 | Supply, Installation, Testing, and Commissioning of Pressure Independent Control Valve (PICV) with Electric actuators with selectable control modes, with a pressure rating of PN 16 of approved make with threaded or flange connection ends with all necessary fixing arrangements. (Make Danfoss,Siemen,Flowcon,Honeywell,Anergy,Belimo,Johnsons Control ) |  |  | 0.000 | 0.00 | 0.00
30 | B.2.2 | 32 mm Ø (10.8 gpm) |  | Nos | 1.000 | 0.00 | 0.00
31 | B.2 | Supply, Installation, Testing, and Commissioning of Forged Brass Y - Strainer with removable perforated SS mesh screen with a pressure rating of PN 16 of approved make, insulation shall be same thickness for corresponding size as chilled water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Emerald, Rapidcool or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
32 | B.2.2 | 32 mm Ø |  | Nos | 1.000 | 0.00 | 0.00
33 | B.2 | Supply, Installation, Testing, and Commissioning of Forged Brass Ball Valve with full bore lever operated with a pressure rating of PN 16 of approved make, Valve insulation shall be same thickness for corresponding size as chilled water pipe insulation with threaded connection ends with all necessary fixing arrangements. (Make Rapidcool, RB, Emerald, Sant, Zoloto.) |  |  | 0.000 | 0.00 | 0.00
34 | B.2.2 | 32 mm Ø |  | Nos | 2.000 | 0.00 | 0.00
35 | B.2 | Supply, Installation, Testing, and Commissioning of Analog type Pressure Gauge of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald.) |  |  | 0.000 | 0.00 | 0.00
36 | B.2.2 | 100 mm Ø Dial |  | Nos | 2.000 | 0.00 | 0.00
37 | B.2 | Supply, Installation, Testing, and Commissioning of Analog type Thermometer of approved make with all necessary fixing arrangements. (Make H.Guru, Fiebig, Emerald.) |  |  | 0.000 | 0.00 | 0.00
38 | B.2.2 | 100 mm Ø Dial |  | Nos | 2.000 | 0.00 | 0.00
39 | C | AIR DISTRIBUTION DUCTS |  |  | 0.000 | 0.00 | 0.00
40 |  | RECTANGULAR DUCTS |  |  | 0.000 | 0.00 | 0.00
41 | C.1 | Supply, installation, and testing of Galvanized Iron (GI) factory fabricated Square Rectagular Ducts with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, slotted rails, threaded rods, anchor bols, nuts, bots, structural beam clamps as applicable. The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
42 | C.1.1 | 22 Gauge - (0.85 mm Thick) - Supply Air Duct |  | Sq.Mtr | 10.000 | 0.00 | 0.00
43 | C.1.2 | 24 Gauge - (0.70 mm Thick) - Supply Air Duct |  | Sq.Mtr | 60.000 | 0.00 | 0.00
44 | C.1.3 | 22 Gauge - (0.85 mm Thick) - Make-Up Air Duct |  | Sq.Mtr | 20.000 | 0.00 | 0.00
45 | C.1.4 | 24 Gauge - (0.70 mm Thick) - Make-Up Air Duct |  | Sq.Mtr | 80.000 | 0.00 | 0.00
46 | C.2 | Supply, installation, and testing of Mild Steel (MS) Ducts fabricated with hot rolled or cold rolled black steel sheets Square Rectagular Ducts with fully welded leak proof construction with Fire rated spay coat or painted with multiple coats of Red Oxide along with Rock wool insulation conforming to NFPA 96 Standards. with all necessary fittings, connections, vanes, flanges, bracings,gaskets,duct collars, splitter dampers, and all necessary duct supports like MS Angle bars, threaded rods, anchor bols, nuts, bolts, structural beam clamps as applicable. Duct and all other acessaries shall be fire resistant, The ducts shall be fabricated and installed in line with SMACNA or DW-144 as required by Airport local regulatory or approval body having jurisdiction. (Make Zeco, Ductofab, Waves, Rolastar or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
47 | C.2.1 | 18 Gauge - (1.31 mm Thick) - Kitchen Exhaust Air Duct |  | Sq.Mtr | 80.000 | 0.00 | 0.00
48 |  | FLEXIBLE DUCTS |  |  | 0.000 | 0.00 | 0.00
49 | C.4 | Supply, installation, and testing of aluminium-polyester casig Round Flexible Duct reinforced with spiral wound steel wire, Temperature range -20° C to +140° C, with a standard insulation thickness of 25 mm and with all necessary connections, fixing and support arrangements of approved make. |  |  | 0.000 | 0.00 | 0.00
50 | C.4.1 | 250 mm Ø |  | Mtr | 15.000 | 0.00 | 0.00
51 | C.5 | Supply, installation, and testing of Insulated Flexible Duct Connectors to isolate vibrations caused by air handling units , fans or any other equipments connected to the duct with air tight fittings with all necessary accessories. |  |  | 0.000 | 0.00 | 0.00
52 | C.5.1 | For AHU |  | Nos | 3.000 | 0.00 | 0.00
53 | C.5.1 | For FAN |  | Nos | 1.000 | 0.00 | 0.00
54 | D | AIR DISTRIBUTION DUCT INSULATION LINNING |  |  | 0.000 | 0.00 | 0.00
55 |  | AIR DISTRIBUTION DUCT - THERMAL INSULATIONS |  |  | 0.000 | 0.00 | 0.00
56 | D.1 | Supply, installation, and testing of Thermal Insulation of ducting using closed cell antimicrobial Class “O” BS 476 and part 6 7 FM approved nitrile rubber elastomeric insulation thermal conductivity 0.033 watts per meter-kelvin (W (M·K)) at 0°C. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
57 | D.1.1 | 19 mm thicknesses - (SAD) |  | Sq.Mtr | 70.000 | 0.00 | 0.00
58 | D.1.2 | 19 mm thicknesses - (MUAD) |  | Sq.Mtr | 100.000 | 0.00 | 0.00
59 | D.2 | Supply, installation testing of Thermal Insulation of ducting using Aluminium foil faced resin bonded fibre Glass wool of density not less than 48 kg m3. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
60 | D.2.1 | 80 mm thicknesses - (KED) - External Duct Insulation |  | Sq.Mtr | 80.000 | 0.00 | 0.00
61 |  | AIR DISTRIBUTION DUCT - ACCOUSTIC LININGS |  |  | 0.000 | 0.00 | 0.00
62 | D.3 | Supply, installation testing of Acoustic Insulation of ducts using opencell processed elastomeric nitrile rubber, Black Colour with Thermal Conductivity ? - 0.045 W (m-K) at 0° C and Fire performance according to building regulations - Class 1 as per BS 476, with very good sound absorption, damping and barrier properties. (Make Armacell, K-Flex, A-Flex or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
63 | D.3.1 | 15 mm thicknesses - (SAD) |  | Sq.Mtr | 20.000 | 0.00 | 0.00
64 | E | AIR DISTRIBUTION DUCT ACCESSORIES |  |  | 0.000 | 0.00 | 0.00
65 |  | DUCT AIR CONTROL DAMPERS |  |  | 0.000 | 0.00 | 0.00
66 | E.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Low Leakage Square Rectangular Volume Control Damper with aero-foil opposed blades and nylon gears system outside air stream with adjustable handle with position arresting bolt. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) |  |  | 0.000 | 0.00 | 0.00
67 | E.1.1 | Size - 600 x 400 mm |  | Nos | 1.000 | 0.00 | 0.00
68 | E.1.2 | Size - 600 x 300 mm |  | Nos | 1.000 | 0.00 | 0.00
69 | E.1.3 | Size - 450 x 350 mm |  | Nos | 1.000 | 0.00 | 0.00
70 | E.1.4 | Size - 450 x 300 mm |  | Nos | 1.000 | 0.00 | 0.00
71 | E.1.5 | Size - 300 x 300 mm |  | Nos | 2.000 | 0.00 | 0.00
72 | E.1.6 | Size - 200 x 300 mm |  | Nos | 1.000 | 0.00 | 0.00
73 | E.1.6 | Size - 200 x 200 mm |  | Nos | 1.000 | 0.00 | 0.00
74 | E.1.6 | Size - 150 x 150 mm |  | Nos | 1.000 | 0.00 | 0.00
75 | E.1 | Supply, installation, tetsing and commissioning of Circular Volume Control Damper with high quality Galvanized steel and Flap Blade fixed with nylon bushes, with hand locking quadrant. (Make Greenheck, System Air, JCI, Caryaire or equivalent with airport approval) |  |  | 0.000 | 0.00 | 0.00
76 | E.1.1 | Size - 350 mm |  | Nos | 10.000 | 0.00 | 0.00
77 | F | AIR TERMINALS - (GRILLES, REGISTERS, DIFFUSERS DAMPERS) |  |  | 0.000 | 0.00 | 0.00
78 |  | GRILLES |  |  | 0.000 | 0.00 | 0.00
79 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Square Grille with opposed blade collar damper fixed Aerofoil Blades, fixed Aerofoil Blades, with 15° deflection - 2 Way with rigid frame of 20mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
80 | F.1.1 | Neck Size - 400 x 400 mm |  | Nos | 6.000 | 0.00 | 0.00
81 | F.2 | Supply, installation, tetsing and commissioning of Extruded Aluminium Rectangular Grille with opposed blade collar damper fixed Aerofoil Blades, fixed Aerofoil Blades, with 15° deflection - 1 Way with rigid frame of 20mm flange as standard. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
82 | F.2.1 | Neck Size - 450 x 200 mm |  | Nos | 4.000 | 0.00 | 0.00
83 | F.2.2 | Neck Size - 350 x 300 mm |  | Nos | 1.000 | 0.00 | 0.00
84 | F.2.2 | Neck Size - 200 x 100 mm |  | Nos | 1.000 | 0.00 | 0.00
85 | F.1 | Supply, installation, tetsing and commissioning of Extruded Aluminium Curved linear Grille with opposed blade collar damper fixed Aerofoil Blades, with 15° deflection - 1 Way with rigid frame of 20mm flange as standard. Curve of the grille shall be taken from the tender drawings .Quote shall be inclusive of plenum box and fittings. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
86 | F.2.1 | Neck Size - 1050 x 150 mm |  | Nos | 5.000 | 0.00 | 0.00
87 | F.2.1 | Neck Size - 1050 x 150 mm without damper. |  | Nos | 2.000 | 0.00 | 0.00
88 |  | CEILING DIFFUSERS |  |  | 0.000 | 0.00 | 0.00
89 | F.2 | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and with volume control damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. Quote shall be inclusive of Plenum box and fittings. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
90 | F.2.1 | Neck Size - 350 mm Ø |  | Nos | 10.000 | 0.00 | 0.00
91 | F.2 | Supply, installation, tetsing and commissioning of Aluminium Round Diffuser with circular cones for throw in circular patern and without volume control damper, Powder coated finish with RAL Colour as required by ID Designer Architect of approved make and with all necessary fixing arrangements. (Make System Air, Caryaire, Dynacraft, Airmaster or equivalent with airport approval). |  |  | 0.000 | 0.00 | 0.00
92 | F.2.1 | Neck Size - 350 mm Ø |  | Nos | 8.000 | 0.00 | 0.00
93 | G | TESTING COMMISIONING |  |  | 0.000 | 0.00 | 0.00
94 | G.1 | Air Balancing Chilled Water Testing Commisioning |  | Lot | 1.000 | 0.00 | 0.00